## Stepped Field Ref Stds & Scale
Please input your experimental effective length in cell C4 and your tune mix ion measurments in the table below. This spreadsheet needs to be completed for each day of data acquisition.
Experimental Effective Length (cm):
Experimental Replicate 1 m/z | Experimental Replicate 2 m/z | Experimental Replicate 3 m/z | Experimental Replicate 1 CCS | Experimental Replicate 2 CCS | Experimental Replicate 3 CCS | Reference Standard m/z | Reference Standard CCS | Experimental Average m/z | mz error (ppm) | Experimental Average CCS | CCS Std Dev | CCS % RSD | Scale Factor | New Effective Length | Polarity
[6 empty] | 118.086 | 121.3 | [7 empty] | +
[6 empty] | 322.048 | 153.73 | [7 empty] | +
[6 empty] | 622.029 | 202.96 | [7 empty] | +
[6 empty] | 922.01 | 243.64 | [7 empty] | +
[6 empty] | 1221.991 | 282.2 | [7 empty] | +
[6 empty] | 1521.971 | 316.96 | [7 empty] | +
[6 empty] | 1821.952 | 351.25 | [7 empty] | +
[6 empty] | 2121.933 | 383.03 | [7 empty] | +
[6 empty] | 2421.914 | 412.96 | [7 empty] | +
[6 empty] | 2721.895 | 441.21 | [7 empty] | +
[6 empty] | 112.986 | 108.23 | [7 empty] | -
[6 empty] | 301.998 | 140.04 | [7 empty] | -
[6 empty] | 601.979 | 180.77 | [7 empty] | -
[6 empty] | 1033.969 | 255.34 | [7 empty] | -
[6 empty] | 1333.969 | 284.76 | [7 empty] | -
[6 empty] | 1633.95 | 319.03 | [7 empty] | -
[6 empty] | 1933.931 | 352.55 | [7 empty] | -
[6 empty] | 2233.911 | 380.74 | [7 empty] | -
[6 empty] | 2533.892 | 412.99 | [7 empty] | -
[6 empty] | 2833.873 | 432.62 | [7 empty] | -
[10 empty] | Averages: |  |  | Averages:

## Stepped Field Data Format
Compound | Formula | CAS | Adduct | Charge | Experimental Replicate 1 m/z | Experimental Replicate 2 m/z | Experimental Replicate 3 m/z | Experimental Replicate 1 CCS | Experimental Replicate 2 CCS | Experimental Replicate 3 CCS | Average Experimental m/z | Average Experimental CCS | Std. Dev | % RSD | Scaled CCS | CCS/z | Peak Number | Kingdom | Super.Class | Class | Subclass | Source | DOI
Example Lipid | C45H73NO8P | 5634-86-6 | [M-H] | -1 | 786.507 | 786.5074 | 786.5109 | 277.3038 | 277.33 | 277.27 | 𝜇 m/z | 𝜇 CCS | 𝜎 | =𝜎/𝜇CCS*100 | =𝜇*(old effective length/ new effective length)^2 | 277.3038 | 1 | Organic compounds | Lipids and lipid-like molecules | Glycerophospholipids | Glycerophosphoethanolamines | Research Group | If unpublished, please fill in as "unpublished".