This Journal is © The Royal Society of Chemistry 2002

Table S1. Mean recovery (%), relative standard deviation (%, in parenthesis) and detection limits of THMs and other volatile chlorination by-products at six concentration levels (n=5) with the GC-ECD method

|  | Concentration levels (μg/l) |  |  |  |  |  |  |  |  |  | Detection limit |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| THMs | 0.25 | 0.5 |  | 1.0 |  | 2.0 |  | 5.0 |  | 10.0 | (μg/l) |
| Chloroform | 112 (15.9) | 104 (8.6) |  | 86 (13.2) |  | 90 (14.2) |  | 97.2 (3.4) |  | 92.4 (11.2) | 0.010 |
| Dichlorobromomethane | 104 (34.4) | 108 (10.1) |  | 130 (16.3) |  | 109 (9.9) |  | 87.6 (9.0) |  | 108.6 (16.9) | 0.005 |
| Dibromochloromethane | 104 (21.1) | 104 (8.6) |  | 88 (9.5) |  | 96 (4.3) |  | 96.4 (2.7) |  | 92.4 (9.9) | 0.007 |
| Bromoform | 104 (21.1) | 104 (8.6) |  | 88 (9.5) |  | 99 (2.3) |  | 95.6 (3.1) |  | 91.6 (8.9) | 0.010 |
|  | Concentration levels (μg/l) |  |  |  |  |  |  |  |  |  | Detection limit |
| Volatile DBPs | 0.5 |  | 2.0 |  | 5.0 |  | 10.0 |  | 20.0 |  | (μg/l) |
| Monochloroacetonitrile | 60.4 (5.4) |  | 101.4 (4.9) |  | 139.0 (4.9) |  | 114.8 (7.1) |  | 98.5 (6.1) |  | 0.040 |
| Trichloroacetonitrile | 97.2 (28.3) |  | 97.7 (14.7) |  | 111.0 (14.7) |  | 118.2 (8.2) |  | 114.2 (5.3) |  | 0.070 |
| Dichloroacetonitrile | 80 (3.9) |  | 62.6 (27.7) |  | 124.3 (3.4) |  | 118.7 (6.5) |  | 101.3 (4.5) |  | 0.007 |
| Chloral hydrate | 88.8 (2.0) |  | 86.7 (8.3) |  | 144.5 (1.8) |  | 119.2 (6.3) |  | 101.9 (4.4) |  | 0.007 |
| 1,1-Dichloropropanone | 120 (2.6) |  | 83.7 (5.6) |  | 112.48 (1.7) |  | 107.0 (4.5) |  | 102.54 (6.1) |  | 0.040 |
| Monobromoacetonitrile | 131.2 (12.2) |  | 101.3 (24.2) |  | 87.9 (18.7) |  | 104.1 (10.4) |  | 107.1 (5.4) |  | 0.040 |
| Chloropicrin | 83.2 (2.7) |  | 58.7 (3.4) |  | 124.2 (6.8) |  | 120.7 (8.4) |  | 106.5 (6.5) |  | 0.040 |
| Bromochloroacetonitrile | 143.2 (20.3) |  | 82.5 (2.1) |  | 112.9 (12.4) |  | 110.4 (14.3) |  | 104.8 (7.8) |  | 0.040 |
| 1,1,1-Trichloropropanone | 108 (7.29) |  | 75.8 (5.6) |  | 111.3 (5.3) |  | 111.7 (1.3) |  | 105.5 (4.9) |  | 0.040 |
| 1,3-Dichloropropanone | -† |  | 100.7 (13.0) |  | 98.4 (15.8) |  | 88.0 (20.9) |  | 97.5 (3.2) |  | 0.070 |
| Dibromoacetonitrile | 121.2 (13.5) |  | 92.6 (8.5) |  | 94.8 (3.2) |  | 94.9 (5.3) |  | 100.5 (3.4) |  | 0.070 |

† not recovered

Table S2. Mean recovery, relative standard deviation (in parenthesis) and detection limits of the acidic methanol esterification – GC – ECD method at five concentration levels (n = 7 replicates)

| Compound | Concentration (μg/l) | Recovery (RSD) (%) | Concentration (μg/l) | Recovery (RSD) (%) | Concentration (μg/l) | Recovery (RSD) (%) | Concentration (μg/l) | Recovery (RSD) (%) | Concentration (μg/l) | Recovery (RSD) (%) | Detection limit (μg/l) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| MCA | 0.75 | 126.3 (0.8) | 1.5 | 117.1 (1.2) | 3 | 60.2 (0.8) | 6 | 35.8 (1.8) | 9 | 24.9 (1.3) | 0.20 |
| MBA | 0.5 | 123.7 (36.2) | 1 | 109.0 (23.8) | 2 | 103.8 (7.1) | 4 | 78.8 (8.3) | 6 | 83.6 (6.9) | 0.05 |
| DCA | 0.75 | 93.7 (11.5) | 1.5 | 104.8 (8.2) | 3 | 104.7 (1.7) | 6 | 90.9 (2.1) | 9 | 89.7 (2.7) | 0.02 |
| BCA | 0.5 | 109.4 (5.0) | 1 | 94.7 (3.7) | 2 | 98.4 (2.6) | 4 | 96.5 (2.2) | 6 | 96.4 (2.1) | 0.02 |
| TCA | 0.25 | 117.7 (6.5) | 0.5 | 90.7 (8.9) | 1 | 121.7 (1.0) | 2 | 87.8 (3.4) | 3 | 92.8 (4.0) | 0.01 |
| DBA | 0.25 | 141.1 (6.69) | 0.5 | 105.1 (5.1) | 1 | 97.7 (5.5) | 2 | 96.4 (6.0) | 3 | 97.1 (4.8) | 0.02 |
| BDCA | 0.5 | 126 (10.9) | 1 | 94.4 (3.9) | 2 | 89.9 (5.6) | 4 | 95.4 (9.6) | 6 | 101.7 (8.4) | 0.10 |
| DBCA | 1.25 | 135.9 (10.3) | 2.5 | 88.2 (7.3) | 5 | 78.1 (2.9) | 10 | 91.1 (14.3) | 15 | 107.6 (6.9) | 0.20 |
| TBA | 2.5 | 109.0 (4.6) | 5 | 89.5 (7.5) | 10 | 94.7 (5.4) | 20 | 97.1 (11.2) | 30 | 104.7 (3.3) | 0.20 |

Table S3. Correlations of total THM and total HAA concentrations to UV-254, UV-272 and UV-280 measurements (before chlorination)

|  | UV – 254 | UV-272 | UV-280 |
| --- | --- | --- | --- |
| Chlorine dose 5 mg/l (six water sources) |  |  |  |
| TTHM | Y = 8107x-25.454, R2=0.88 | Y = 3083.5x +2.9383, R2=0.87 | Y = 3326.7x –19.203, R2=0.86 |
| THAAs | Y=16554x+91.1, R2=0.95 | Y=5245.6x+160.79, R2=0.92 | Y=5694.9x+119.33, R2=0.93 |
| Chlorine dose 20 mg/l (four water sources) |  |  |  |
| TTHM | Y = 14316x -53.837, R2=0.98 | Y = 4539.6x -3.798, R2=0.99 | Y = 4913.5x –37.543, R2=0.99 |
| THAAs | Y = 71589x -159.77, R2=0.90 | Y = 23504x +70.878, R2=0.90 | Y = 25390x –101.42, R2=0.96 |