Fig. S1 Long term stability of Pb isotope ratios of NIST 981.

The horizontal axis is the date of measurement.  The vertical axis is the difference (%) from the total average of 16.9417, 15.4988 and 36.7196 for 206Pb/204Pb (●), 207Pb/204Pb (■) and 208Pb/204Pb (▲) based on all measurements.  The total reproducibility is 0.014, 0.014 and 0.019 % (2RSD, n=35) for 206Pb/204Pb, 207Pb/204Pb and 208Pb/204Pb, respectively.

The error bar shows 2m in each measurement.