Electronic Supplementary Information:

##### Renewable Amperometric Immunosensor Based on Paraffin-graphite-transferrin antiserum Biocomposite for Transferrin Assay

Guo-dong  Liu   ke-sheng Hu   Wei Li   Guo-Li Shen   Ru-Qin Yu  *

College of Chemistry and Chemical Engineering, Institute for Chemometrics and Sensing Technology, Hunan University, Changsha, 410082, P. R. China

2

1

3

4

5

Fig. S1 Configuration of amperometric immunosensor: (1) PVC nut, (2) PVC tube (6mm i.d, 50mm length), (3) conducting graphite rod, (4) biocomposite,  (5) electric wire connected with graphite rod.

Fig. S2  The effect of pH of substrate solution on response current.  Conditions as in Fig.4 of the text.

(A)                                                                          (B)

( C )                                                                              ( D )

Fig. S3 The Effect of experimental parameters on the amperometric response of papraffin-graphite-transferrin antiserum electrodes. (A) the immobilized transferrin antiserum loading with in the biocomposite; (B) the amount of labeled transferring; ( C ) the incubation time;  (D) the incubation temperature .  Other conditions as in Fig.4 of the text.