{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["Table S1","Table S2"],"not_rendered":{"charts":8,"images":0,"macros":0,"external_links":3,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Table S1","index":0,"n_rows":61,"n_cols":13,"rows_kept":61,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
["Methods"]
[]
["45min",{"$nulls":8},"180min"]
[]
["Time (min)","%A","%B","Flow (mL/min)",{"$nulls":5},"Time (min)","%A","%B","Flow (mL/min)"]
[0,100,0,0.003,{"$nulls":5},0,100,0,0.003]
[10,100,0,0.003,{"$nulls":5},10,100,0,0.003]
[10.1,90,10,0.3,{"$nulls":5},10.1,85,15,0.3]
[30,56,44,0.3,{"$nulls":5},165,60,40,0.3]
[33,0,100,0.3,{"$nulls":5},168,0,100,0.3]
[34,0,100,0.3,{"$nulls":5},169,0,100,0.3]
[35,100,0,0.3,{"$nulls":5},170,100,0,0.3]
[44,100,0,0.3,{"$nulls":5},179,100,0,0.3]
[44.4,100,0,0.003,{"$nulls":5},179.4,100,0,0.003]
[45,100,0,0.003,{"$nulls":5},180,100,0,0.003]
[]
[]
["60min",{"$nulls":8},"240min"]
[]
["Time (min)","%A","%B","Flow (mL/min)",{"$nulls":5},"Time (min)","%A","%B","Flow (mL/min)"]
[0,100,0,0.003,{"$nulls":5},0,100,0,0.003]
[10,100,0,0.003,{"$nulls":5},10,100,0,0.003]
[10.1,90,10,0.3,{"$nulls":5},10.1,85,15,0.3]
[45,59,41,0.3,{"$nulls":5},225,60,40,0.3]
[48,0,100,0.3,{"$nulls":5},228,0,100,0.3]
[49,0,100,0.3,{"$nulls":5},229,0,100,0.3]
[50,100,0,0.3,{"$nulls":5},230,100,0,0.3]
[59,100,0,0.3,{"$nulls":5},239,100,0,0.3]
[59.4,100,0,0.003,{"$nulls":5},239.4,100,0,0.003]
[60,100,0,0.003,{"$nulls":5},240,100,0,0.003]
[]
[]
["90min",{"$nulls":8},"360min"]
[]
["Time (min)","%A","%B","Flow (mL/min)",{"$nulls":5},"Time (min)","%A","%B","Flow (mL/min)"]
[0,100,0,0.003,{"$nulls":5},0,100,0,0.003]
[10,100,0,0.003,{"$nulls":5},10,100,0,0.003]
[10.1,85,15,0.3,{"$nulls":5},10.1,85,15,0.3]
[75,60,40,0.3,{"$nulls":5},345,60,40,0.3]
[78,0,100,0.3,{"$nulls":5},348,0,100,0.3]
[79,0,100,0.3,{"$nulls":5},349,0,100,0.3]
[80,100,0,0.3,{"$nulls":5},350,100,0,0.3]
[89.7,100,0,0.3,{"$nulls":5},359,100,0,0.3]
[89.8,100,0,0.003,{"$nulls":5},359.4,100,0,0.003]
[90,100,0,0.003,{"$nulls":5},360,100,0,0.003]
[]
[]
["120min",{"$nulls":8},"480min"]
[]
["Time (min)","%A","%B","Flow (mL/min)",{"$nulls":5},"Time (min)","%A","%B","Flow (mL/min)"]
[0,100,0,0.003,{"$nulls":5},0,100,0,0.003]
[10,100,0,0.003,{"$nulls":5},10,100,0,0.003]
[10.1,85,15,0.3,{"$nulls":5},10.1,85,15,0.3]
[105,60,40,0.3,{"$nulls":5},465,60,40,0.3]
[108,0,100,0.3,{"$nulls":5},468,0,100,0.3]
[109,0,100,0.3,{"$nulls":5},469,0,100,0.3]
[110,100,0,0.3,{"$nulls":5},470,100,0,0.3]
[119.2,100,0,0.3,{"$nulls":5},479,100,0,0.3]
[119.3,100,0,0.003,{"$nulls":5},479.4,100,0,0.003]
[120,100,0,0.003,{"$nulls":5},480,100,0,0.003]

{"sheet":"Table S2","index":1,"n_rows":21,"n_cols":13,"rows_kept":21,"cut":false,"hidden":false,"merged":[[3,1,3,4],[3,5,3,8],[3,9,3,12]],"flags":["formulas_cached_only"]}
[]
["Width and capacity of different peaks"]
[]
[null,"480min",null,null,null,"180min",null,null,null,"90min"]
[null,"1/2 width","Rt (min)","4sigma","Intensity","1/2 width","Rt (min)","4sigma","Intensity","1/2 width","Rt (min)","4sigma","Intensity"]
[479.26,0.139,20.63,0.240748,6330000,0.141,20.81,0.24421199999999996,4960000,0.22,20.58,0.38104,13200000]
[642.83,0.286,35.53,0.49535199999999996,715000,0.235,32.25,0.40702,343000,0.081,28.76,0.140292,997000]
[601.84,0.39,43.69,0.67548,4600000,0.3,37.72,0.5196,2760000,0.2,32.14,0.3464,11500000]
[561.25,0.56,60.34,0.96992,7950000,0.29,44.52,0.50228,8000000,0.13,34.48,0.22515999999999997,54200000]
[592.95,0.59,71.26,1.02188,3200000,0.32,48.31,0.55424,4590000,0.132,35.91,0.22862400000000002,20700000]
[493.29,0.5,82.28,0.866,12700000,0.36,56.04,0.62352,16100000,0.16,40.94,0.27712,62600000]
[693.4,0.78,104.12,1.35096,21000000,0.49,62.87,0.84868,30200000,0.28,43.5,0.48496,80200000]
[574.62,0.57,155.5,0.9872399999999999,6630000,0.54,78.49,0.9352800000000001,12600000,0.22,48.87,0.38104,47300000]
[638.81,1.65,168.21,2.8577999999999997,7150000,0.54,87.12,0.9352800000000001,21100000,0.26,53.72,0.45031999999999994,57400000]
[439.25,0.48,194.99,0.83136,3930000,0.33,102.08,0.57156,3660000,0.19,62.64,0.32908000000000004,8910000]
[734.38,1.04,233.84,1.8012799999999998,4820000,0.45,109.43,0.7794,11800000,0.238,63.28,0.41221599999999997,22100000]
[606.86,0.495,325.05,0.85734,2490000,0.46,141.43,0.79672,5920000,0.265,76.87,0.45897999999999994,9150000]
[776.94,0.74,336.64,1.2816799999999997,5420000,0.48,144.82,0.83136,7230000,0.269,79.33,0.465908,11200000]
[null,null,null,1.0951569230769231,null,null,null,0.6576270769230769,null,null,null,0.35239538461538467]
[null,"Gradient time",null,458,null,"Gradient time",null,158,null,"Gradient time",null,68]
[null,"Peak capacity",null,419.20490776172574,null,"Peak capacity",null,241.25774720112594,null,"Peak capacity",null,193.96506982978033]