{"text_format":"2","workbook":"xls","n_sheets":4,"sheets":["Pro","Threonine","Component","mdlCalcs"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"mdlCalcs","index":3,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Pro","index":0,"n_rows":32,"n_cols":47,"rows_kept":32,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
["Component Name",null,"Curve Index","Weighting Index","Origin Index","Equation"]
["Pro",null,"Linear","Equal","Force","Y = 1.22048e+006*X   R^2 = 0.9966"]
[]
["Filename","Sample Type","Sample Name","Sample ID","Exp Amt","Calc Amt","Units","%Diff","Level","%RSD-AMT","Peak Status","Response","Response Type","Equation ","Area","Height","ISTD Area","ISTD Ht","RT","Rel RT","Del RT","S/N","Start Time","End Time","Start Height","End Height","Integ Code","Search Window","Threshold","Smooth","Acq Date","Duration","Exp Method","Proc Method","Vial","Inj Vol","Sample Wt","Sample Vol","ISTD Base Amt","ISTD Calc Amt","Dilution Factor","Study","Client","Laboratory","Company","Phone","Comment"]
["Pro_Thr_100ppm","Std Bracket Sample",null,"Pro_Thr_100ug/mL",100,89.4614463681971,"ug/mL",-0.105385536318029,"100",0,null,"NA","NA","Y = 1.22048e+006*X   R^2 = 0.9966",109185901.268979,9509053.64983991,"NA","NA",0.688333333333333,0.983333333333333,0.011666666666667,15.1311861436848,0.570666666666667,1.31233333333333,-154703.456655857,216119.365771135,"BB",50,3,3,"2015-04-27T15:23:39",19.986,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:31",2,0,0,"NA","NA",1]
["Pro_Thr_200ppm","Std Bracket Sample",null,"Pro_Thr_200ug/mL",200,184.904536941332,"ug/mL",-0.075477315293337,"200",0,null,"NA","NA",null,225672279.33663,23358840.647398,"NA","NA",0.686,0.98,0.014,13.442369729394,0.574166666666667,1.07133333333333,-395745.45174951,488222.421347404,"BB",50,3,3,"2015-04-27T15:44:12",19.9895,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:32",2,0,0,"NA","NA",1]
["pro_Thr_500ppm","Std Bracket Sample",null,"Pro_Thr_500ug/mL",500,496.876066490133,"ug/mL",-0.006247867019734,"500",0.017685864142443,null,"NA","NA",null,606427275.000964,54090452.3030787,"NA","NA",0.702166666666667,1.00309523809523,-0.002166666666667,10.7664821984898,0.587166666666667,1.19,-894712.733114843,143827.78355657,"BM",50,3,3,"2015-04-28T09:15:34",19.9866666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:40",2,0,0,"NA","NA",1]
["pro_Thr_500ppm2","Std Bracket Sample",null,"Pro_Thr_500ug/mL",500,512.115019114201,"ug/mL",0.024230038228402,"500",0.017685864142443,"Response High","NA","NA",null,625026111.08289,56101170.4148267,"NA","NA",0.754333333333333,1.07761904761904,-0.054333333333333,9.71638853415536,0.577,1.1375,-205020.599031062,3055990.07950982,"BM",50,3,3,"2015-04-28T09:36:16",19.9945,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:40",2,0,0,"NA","NA",1]
["pro_Thr_500ppm3","Std Bracket Sample",null,"Pro_Thr_500ug/mL",500,496.61021553783,"ug/mL",-0.006779568924339,"500",0.017685864142443,null,"NA","NA",null,606102809.244945,55911515.7745532,"NA","NA",0.701666666666667,1.00238095238095,-0.001666666666667,10.4568228635434,0.576333333333333,1.11866666666666,-268432.189797659,1443429.8691935,"BM",50,3,3,"2015-04-28T09:56:58",19.9866666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:40",2,0,0,"NA","NA",1]
["Pro_Thr_50ppm","Std Bracket Sample",null,"Pro_Thr_50ug/mL",50,53.8412212899206,"ug/mL",0.076824425798413,"50",0.200256690423347,null,"NA","NA",null,65712130.8744276,6681862.52652367,"NA","NA",0.7015,1.00214285714285,-0.0015,102.139632307619,0.536166666666667,1.18566666666666,-146570.820748379,28286.5754220096,"BB",50,3,3,"2015-04-27T15:02:47",19.9953333333333,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:30",2,0,0,"NA","NA",1]
["Pro_Thr_50ppm_1","Std Bracket Sample",null,"Pro_Thr_50ug/mL_1",50,71.6047267867071,"ug/mL",0.432094535734142,"50",0.200256690423347,null,"NA","NA",null,87392133.111152,9217935.5138838,"NA","NA",0.753333333333333,1.07619047619047,-0.053333333333333,24.6635471594242,0.597333333333333,1.15283333333333,743.198917069719,108137.559846108,"BM",50,3,3,"2015-04-27T21:54:43",19.9956666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:30",2,0,0,"NA","NA",1]
["pro_con_x100_V","Unknown Sample",null,"pro_con_x100_V","NA",496.217842066462,"ug/mL","NA","NA","NA",null,"NA","NA",null,605623925.291638,45775068.8335219,"NA","NA",0.666166666666667,0.951666666666667,0.033833333333333,17.149484115385,0.5395,1.3765,52615.8181818181,3404338.47050441,"BM",50,3,3,"2015-04-27T16:25:30",20.0045,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:33",2,0,0,"NA","NA",1]
["pro_pin_x100_V","Unknown Sample",null,"pro_pin_x100_V","NA",720.153442492707,"ug/mL","NA","NA","NA","Response High","NA","NA",null,878932834.898555,61819633.4600319,"NA","NA",0.733333333333333,1.04761904761904,-0.033333333333333,10.911820160183,0.554166666666667,1.3215,245559.409090909,5027576.0430322,"BM",50,3,3,"2015-04-27T16:46:05",19.9896666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:34",2,0,0,"NA","NA",1]
["pro_plane_x100_V","Unknown Sample",null,"pro_pin_x100_V_1","NA",727.668639023685,"ug/mL","NA","NA","NA","Response High","NA","NA",null,888104981.557925,66711186.8926815,"NA","NA",0.741333333333333,1.05904761904761,-0.041333333333333,12.4837243185505,0.593333333333333,1.13916666666666,102129.555998859,7465835.84981475,"BM",50,3,3,"2015-04-27T19:30:44",20.0081666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:34",2,0,0,"NA","NA",1]
[]
[]
[]
["Created By:"]
["User Name",null,"Full Name",null,"Date"]
["LCQ",null,null,null,"         4/28/2015 10:53:19 AM"]
[]
[" "]
{"$rows_empty":7}
[" "]
[" "]

{"sheet":"Threonine","index":1,"n_rows":32,"n_cols":47,"rows_kept":32,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
["Component Name",null,"Curve Index","Weighting Index","Origin Index","Equation"]
["Threonine",null,"Linear","Equal","Force","Y = 578892*X   R^2 = 0.9830"]
[]
["Filename","Sample Type","Sample Name","Sample ID","Exp Amt","Calc Amt","Units","%Diff","Level","%RSD-AMT","Peak Status","Response","Response Type","Equation ","Area","Height","ISTD Area","ISTD Ht","RT","Rel RT","Del RT","S/N","Start Time","End Time","Start Height","End Height","Integ Code","Search Window","Threshold","Smooth","Acq Date","Duration","Exp Method","Proc Method","Vial","Inj Vol","Sample Wt","Sample Vol","ISTD Base Amt","ISTD Calc Amt","Dilution Factor","Study","Client","Laboratory","Company","Phone","Comment"]
["Pro_Thr_100ppm","Std Bracket Sample",null,"Pro_Thr_100ug/mL",100,123.175401105754,"ug/mL",0.231754011057549,"100",0,null,"NA","NA","Y = 578892*X   R^2 = 0.9830",71305233.3050427,7369358.63612892,"NA","NA",0.642666666666667,0.918095238095238,0.057333333333333,14.2207881414776,0.508,0.999333333333333,-198428.917782843,207279.774864634,"BM",50,3,3,"2015-04-27T15:23:39",19.986,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:31","NA",0,0,"NA","NA",1]
["Pro_Thr_200ppm","Std Bracket Sample",null,"Pro_Thr_200ug/mL",200,221.141115944454,"ug/mL",0.105705579722272,"200",0,null,"NA","NA",null,128016785.203877,14252443.8372797,"NA","NA",0.675,0.964285714285714,0.025,11.3084231023392,0.520333333333333,0.979333333333333,33226.6068680519,8793.08463949803,"MM",50,3,3,"2015-04-27T15:44:12",19.9895,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:32","NA",0,0,"NA","NA",1]
["pro_Thr_500ppm","Std Bracket Sample",null,"Pro_Thr_500ug/mL",500,505.304129242696,"ug/mL",0.010608258485392,"500",0.02365094475032,"Response High","NA","NA",null,292516431.870328,30766600.2093376,"NA","NA",0.640666666666667,0.915238095238095,0.059333333333333,9.49874294515837,0.531333333333333,1.08816666666666,-98403.3686235367,-53655.2011969247,"MM",50,3,3,"2015-04-28T09:15:34",19.9866666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:40","NA",0,0,"NA","NA",1]
["pro_Thr_500ppm2","Std Bracket Sample",null,"Pro_Thr_500ug/mL",500,482.013309362192,"ug/mL",-0.035973381275616,"500",0.02365094475032,null,"NA","NA",null,279033566.537345,27018810.5124772,"NA","NA",0.659666666666667,0.942380952380952,0.040333333333333,9.2013810138671,0.519166666666667,1.09,-128171.86876603,-54386.5289256181,"MM",50,3,3,"2015-04-28T09:36:16",19.9945,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:40","NA",0,0,"NA","NA",1]
["pro_Thr_500ppm3","Std Bracket Sample",null,"Pro_Thr_500ug/mL",500,492.457913213451,"ug/mL",-0.015084173573097,"500",0.02365094475032,null,"NA","NA",null,285079862.370012,25794191.4993898,"NA","NA",0.657333333333333,0.939047619047619,0.042666666666667,8.78289607511828,0.524,1.0535,22417.9116557446,-95972.6048731836,"MM",50,3,3,"2015-04-28T09:56:58",19.9866666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:40","NA",0,0,"NA","NA",1]
["Pro_Thr_50ppm","Std Bracket Sample",null,"Pro_Thr_50ug/mL",50,77.2164325252398,"ug/mL",0.544328650504798,"50",0.139483495374107,null,"NA","NA",null,44699961.8979773,4004405.13251638,"NA","NA",0.6375,0.910714285714286,0.0625,90.610125863396,0.511666666666667,0.981833333333333,-33871.7311199771,129492.768880022,"BM",50,3,3,"2015-04-27T15:02:47",19.9953333333333,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:30","NA",0,0,"NA","NA",1]
["Pro_Thr_50ppm_1","Std Bracket Sample",null,"Pro_Thr_50ug/mL_1",50,94.1147833020365,"ug/mL",0.88229566604073,"50",0.139483495374107,null,"NA","NA",null,54482279.0959981,5468416.29430357,"NA","NA",0.689333333333333,0.984761904761905,0.010666666666667,16.8966980553571,0.540166666666667,0.958333333333333,-77271.3452550586,365124.284981476,"BM",50,3,3,"2015-04-27T21:54:43",19.9956666666666,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:30","NA",0,0,"NA","NA",1]
["Thr_con_x100_V","Unknown Sample",null,"Thr_con_x100_V","NA",856.597829427317,"ug/mL","NA","NA","NA","Response High","NA","NA",null,495877484.689224,35895510.5558406,"NA","NA",0.6685,0.955,0.0315,23.9903179690761,0.506,1.41133333333333,63537.5454545454,1132130.72014818,"BM",50,3,3,"2015-04-27T17:47:49",20.0053333333333,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:36","NA",0,0,"NA","NA",1]
["Thr_pin_x100_V","Unknown Sample",null,"Thr_pin_x100_V","NA",583.07500341375,"ug/mL","NA","NA","NA","Response High","NA","NA",null,337537355.507045,30194104,"NA","NA",0.6785,0.969285714285714,0.0215,28.4034807727907,0.509166666666667,1.23883333333333,34030.8181818181,1333165.77272727,"BM",50,3,3,"2015-04-27T18:08:24",19.9975,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:37","NA",0,0,"NA","NA",1]
["Thr_plane_x100","Unknown Sample",null,"Thr_plane_x100_V_1","NA",676.560694528938,"ug/mL","NA","NA","NA","Response High","NA","NA",null,391655458.276025,32352670.3070094,"NA","NA",0.676166666666667,0.965952380952381,0.023833333333333,24.1802754373984,0.531,0.965833333333333,-349722.621687087,4898329.35594186,"BM",50,3,3,"2015-04-27T21:13:36",20.0013333333333,"C:\\Xcalibur\\data\\20150427_AA\\VDS_20min_2ul","C:\\Xcalibur\\data\\20150427_AA\\Pro_Thre_1","A:38","NA",0,0,"NA","NA",1]
[]
[]
[]
["Created By:"]
["User Name",null,"Full Name",null,"Date"]
["LCQ",null,null,null,"         4/28/2015 10:53:19 AM"]
[]
[" "]
{"$rows_empty":7}
[" "]
[" "]

{"sheet":"Component","index":2,"n_rows":41,"n_cols":47,"rows_kept":41,"cut":false,"hidden":true,"merged":[],"flags":["formulas_cached_only"]}
[]
["Component Name",null,"Curve Index","Weighting Index","Origin Index","Equation"]
[]
[]
["Filename","Sample Type","Sample Name","Sample ID","Exp Amt","Calc Amt","Units","%Diff","Level","%RSD-AMT","Peak Status","Response","Response Type","Equation ","Area","Height","ISTD Area","ISTD Ht","RT","Rel RT","Del RT","S/N","Start Time","End Time","Start Height","End Height","Integ Code","Search Window","Threshold","Smooth","Acq Date","Duration","Exp Method","Proc Method","Vial","Inj Vol","Sample Wt","Sample Vol","ISTD Base Amt","ISTD Calc Amt","Dilution Factor","User Test 1","User Text 2","User Text3","User Text4","User Text5","Comment"]
{"$rows_empty":26}
[" "]
{"$rows_empty":7}
[" "]
[" "]