## Table S1
Table S1 Determinations of major and trace elements in purified samples by quadrupole ICP-MS (all concentrations are in ng g-1)
Reference material | Blank | NIST SRM 915b | DTS-2 | DNC-1 | BCR-2 | BHVO-2 | BIR-1 | AGV-2 | GSP-2 | COQ-1 | SGR-1 | NOD-A-1 | NOD-P-1 | Seawater | Alfa Aesar 13852
Lithology |  | Calcium carbonate | Dunite | Dolerite | Basalt | Basalt | Basalt | Andesite | Granodiorite | Carbonatite | Shale | Manganese Nodule | Manganese Nodule |  | Standard solution
Li | 0.0079932 | 0.031133 | n.d. | 0.041527 | 0.032587 | 0.034821 | 0.029345 | 0.033816 | 0.03158 | 0.040521 | 0.049015 | 0.033145 | 0.061867 | 0.030686 | 0.026998
Be | n.d. | 0.094156 | n.d. | 0.092679 | 0.092679 | 0.092679 | 0.093171 | 0.092679 | 0.092679 | 0.093664 | 0.092679 | 0.093171 | 0.092679 | 0.092679 | 0.092679
Na | 5.9964 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Mg | 0.11675 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Al | 0.25122 | n.d. | 0.22003 | 0.98142 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | 0.10197 | 3.268 | n.d.
Si | 2.764 | n.d. | 2.4865 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | 2.2165 | n.d. | n.d.
K | 0.13198 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | 0.20057 | n.d.
Ca | 3.9831 | 5870.4719 | 4714.5949 | 5899.4305 | 5452.8375 | 7617.6107 | 5686.0102 | 5878.6149 | 5632.0683 | 6021.0549 | 6054.6493 | 4962.9865 | 5503.1269 | 7308.9189 | 6386.3802
Sc | 0.019235 | 0.079969 | n.d. | 0.079629 | 0.084218 | 0.096965 | 0.083028 | 0.099854 | 0.085919 | 0.089487 | 0.088467 | 0.097135 | 0.096965 | 0.079119 | 0.080479
Ti | 0.037556 | n.d. | n.d. | n.d. | 0.21343 | 0.056134 | 0.042581 | 0.026302 | 0.015458 | n.d. | 0.072404 | n.d. | 0.10766 | 0.208 | n.d.
V | 0.0037779 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | 0.0099103 | n.d. | n.d.
Cr | 0.025707 | n.d. | 1.2787 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Mn | 0.042171 | 0.24639 | 0.083402 | 0.25246 | 0.27872 | 0.24811 | 0.24665 | 0.24481 | 0.24204 | 0.30828 | 0.25207 | 0.25075 | 0.27991 | 0.25035 | 0.24718
Fe | 6.8403 | 21.1568 | 13.2423 | 16.3901 | 19.6567 | 22.4757 | 17.7938 | 20.7823 | 18.1807 | 14.4507 | 14.3459 | 15.3619 | 10.7769 | 23.1655 | 22.391
Co | 0.0029778 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Ni | 0.01307 | n.d. | 4.6195 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Cu | 0.007989 | 0.016449 | n.d. | 0.049685 | n.d. | 0.0041266 | 0.0056199 | 0.0074873 | 0.0041266 | 0.0067401 | 0.0041266 | 0.014209 | 0.0022592 | 0.0022592 | 0.0026334
Zn | 0.030297 | n.d. | 0.21789 | 0.078861 | n.d. | n.d. | 0.0007371 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Ga | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Ge | 0.013464 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Rb | 0.0033903 | 0.0031878 | n.d. | 0.0094806 | 0.0092187 | 0.0026632 | 0.0058096 | 0.0024004 | 0.00082723 | n.d. | 0.0068581 | 0.0042364 | 0.011579 | 0.016298 | 0.0029251
Sr | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Y | n.d. | 0.041639 | n.d. | 0.050323 | 0.05268 | 0.07042 | 0.042507 | 0.055409 | 0.042879 | 0.073894 | 0.056526 | 0.046601 | 0.049951 | 0.052556 | 0.041391
Zr | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | 0.0078283 | n.d. | n.d. | n.d. | 0.00069831
Nb | 0.0013806 | 0.030552 | n.d. | 0.032631 | 0.040466 | 0.078205 | 0.030072 | 0.049102 | 0.064452 | 0.051659 | 0.046542 | 0.11402 | 0.02673 | 0.12426 | 0.028313
Mo | 0.0041612 | n.d. | 0.71157 | n.d. | n.d. | 1.5756 | n.d. | n.d. | n.d. | n.d. | n.d. | 1.5889 | 1.9044 | n.d. | n.d.
Rh | n.d. | 0.019676 | n.d. | 0.020778 | 0.019921 | 0.020043 | 0.020655 | 0.020533 | 0.020166 | 0.020655 | 0.020166 | 0.021022 | 0.020411 | 0.019921 | 0.020288
Cd | n.d. | n.d. | 0.0090114 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Sn | 0.0040998 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Cs | 0.000991 | 0.013663 | n.d. | 0.013997 | 0.013496 | 0.014332 | 0.014332 | 0.014332 | 0.013663 | 0.016339 | 0.015001 | 0.013663 | 0.015503 | 0.013496 | 0.014164
Ba | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | 0.015089 | n.d.
La | n.d. | 0.20695 | n.d. | 0.44226 | 2.3677 | 1.3039 | 0.23023 | 4.3732 | 56.5557 | 11.2318 | 1.5571 | 5.1912 | 14.1625 | 0.22282 | 0.20765
Ce | n.d. | 0.15673 | 0.039211 | 0.16193 | 0.51099 | 0.21423 | 0.20948 | 0.18327 | 0.9856 | 0.21003 | 0.20572 | 4.9491 | 0.15751 | 0.16071 | 0.16635
Pr | n.d. | 0.066639 | n.d. | 0.066639 | 0.067225 | 0.067728 | 0.070994 | 0.066974 | 0.06689 | 0.053354 | 0.071412 | 0.067225 | 0.066639 | 0.068649 | 0.066387
Nd | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Sm | n.d. | 0.057414 | n.d. | 0.059909 | 0.071882 | 0.058911 | 0.057414 | 0.058911 | 0.059411 | 0.073878 | 0.073878 | 0.056916 | 0.061406 | 0.058413 | 0.056916
Eu | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Gd | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Gd | n.d. | 0.037723 | n.d. | 0.039115 | 0.041621 | 0.047467 | 0.038002 | 0.041621 | 0.03995 | 0.046075 | 0.043291 | 0.049416 | 0.03995 | 0.038558 | 0.037445
Tb | n.d. | 0.22479 | n.d. | 0.22497 | 0.22515 | 0.22491 | 0.22479 | 0.22654 | 0.22479 | 0.22485 | 0.22576 | 0.22576 | 0.22479 | 0.22539 | 0.22491
Dy | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Ho | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Er | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Tm | n.d. | 0.044351 | n.d. | 0.044406 | 0.044406 | 0.04446 | 0.044406 | 0.04457 | 0.04446 | 0.04446 | 0.04457 | 0.04446 | 0.04446 | 0.044406 | 0.044406
Yb | n.d. | 0.016543 | n.d. | 0.016543 | 0.016789 | 0.016543 | 0.017281 | 0.016543 | 0.016543 | 0.016543 | 0.016789 | 0.018265 | 0.016789 | 0.016543 | 0.016543
Lu | n.d. | 0.061772 | n.d. | 0.061772 | 0.061772 | 0.061772 | 0.061822 | 0.061772 | 0.061871 | 0.061822 | 0.061921 | 0.061971 | 0.061871 | 0.061772 | 0.061871
Hf | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Ta | n.d. | 0.047017 | n.d. | 0.048792 | 0.047882 | 0.047927 | 0.050932 | 0.060766 | 0.049475 | 0.053436 | 0.05298 | 0.04984 | 0.048064 | 0.049611 | 0.046425
W | 0.0076019 | 0.10638 | 0.05728 | 1.7889 | 0.085966 | 0.1541 | 0.25835 | 0.24932 | 0.087901 | 0.16098 | 0.21235 | 0.22954 | 0.15474 | 0.098432 | 0.069633
Tl | 0.0077406 | 0.23001 | n.d. | 0.23565 | 0.25667 | 0.23417 | 0.23158 | 0.24148 | 0.40582 | 0.23251 | 0.23482 | 1.7658 | 4.6166 | 0.23102 | 0.22834
Pb | 0.0031703 | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Bi | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
Th | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d. | n.d.
U | n.d. | 0.062068 | 0.048891 | 0.065283 | 0.20954 | 0.093892 | 0.062926 | 0.29596 | 0.747 | 0.26272 | 0.53689 | 0.36847 | 0.93965 | 0.087463 | 0.062015
Note: Calcium concentration of all samples were diluted to ~5000 ng g-1.

## Table S2
Table S2 Calcium isotopic compositions of standard materials from this study (bold font) and literatures
Reference material | Lithology | δ44/42CaSRM915a /‰ | 2SDa | δ43/42CaSRM915a /‰ | 2SDa | Nb | Methodc | Ref.
NIST SRM 915b | Calcium carbonate | 0.36197 | 0.04845 | 0.16979 | 0.063698 | 67
|  | 0.38 | 0.042426 | 0.18 | 0.014142 | 2 | SSB, MC-ICP-MS | Schiller et al., 2012
|  | 0.34 | 0.06 |  |  | 15 | SSB, MC-ICP-MS | Harouaka et al., 2016
|  | 0.357 | 0.069 |  |  | 41 | DS-TIMSd | He et al., 2017
|  | 0.35151 | 0.053703 |  |  | 38 | DS-TIMSd | Feng et al., 2017
|  | 0.3597 | 0.0099275 |  |  | 3 | SSB, MC-ICP-MS | Feng et al., 2018
DTS-2 | Dunite | 0.61129 | 0.073901 | 0.31061 | 0.09574 | 14
|  | 0.58585 | 0.053703 |  |  | 9 | DS-TIMSd | Feng et al., 2017
DNC-1 | Dolerite | 0.40889 | 0.028512 | 0.19462 | 0.061537 | 4
|  | 0.38 | 0.042426 | 0.18 | 0.014142 | 2 | SSB, MC-ICP-MS | Schiller et al., 2012
|  | 0.40521 | 0.029292 |  |  | 5 | DS-TIMSd | Liu et al., 2017
|  | 0.39858 | 0.038381 |  |  | 9 | DS-TIMSd | Feng et al., 2017
|  | 0.39812 | 0.052621 |  |  | 4 | SSB, MC-ICP-MS | Feng et al., 2018
BCR-2 | Basalt | 0.37735 | 0.066011 | 0.18782 | 0.10014 | 30
|  | 0.34 | 0.056569 | 0.16 | 0.028284 | 2 | SSB, MC-ICP-MS | Schiller et al., 2012
|  | 0.4 | 0.02 | 0.2 | 0.03 | 4 | SSB, MC-ICP-MS | Colla et al., 2013
|  | 0.42474 | 0.15134 |  |  | 3 | SSB, MC-ICP-MS | Valdes et al., 2014
|  | 0.383 | 0.058 |  |  | 4 | DS-TIMSd | He et al., 2017
|  | 0.40033 | 0.043938 |  |  | 12 | DS-TIMSd | Liu et al., 2017
|  | 0.38786 | 0.056543 |  |  | 24 | DS-TIMSd | Feng et al., 2017
|  | 0.408 | 0.05176 |  |  | 4 | SSB, MC-ICP-MS | Feng et al., 2018
BHVO-2 | Basalt | 0.37522 | 0.064874 | 0.17337 | 0.070975 | 41
|  | 0.38 | 0.056569 | 0.18 | 0.028284 | 2 | SSB, MC-ICP-MS | Schiller et al., 2012
|  | 0.42474 | 0.078113 |  |  | 10 | SSB, MC-ICP-MS | Valdes et al., 2014
|  | 0.43938 | 0.053703 |  |  | 5 | DS-TIMSd | Magna et al., 2015
|  | 0.375 | 0.034 |  |  | 7 | DS-TIMSd | He et al., 2017
|  | 0.39056 | 0.048821 |  |  | 16 | DS-TIMSd | Liu et al., 2017
|  | 0.37461 | 0.050692 |  |  | 12 | DS-TIMSd | Feng et al., 2017
|  | 0.41343 | 0.041582 |  |  | 4 | SSB, MC-ICP-MS | Feng et al., 2018
BIR-1 | Basalt | 0.40262 | 0.059794 | 0.20087 | 0.074575 | 35
|  | 0.4345 | 0.039056 |  |  | 4 | SSB, MC-ICP-MS | Valdes et al., 2014
|  | 0.41009 | 0.043938 |  |  | 9 | DS-TIMSd | Liu et al., 2017
|  | 0.38462 | 0.058691 |  |  | 9 | DS-TIMSd | Feng et al., 2017
AGV-2 | Andesite | 0.33031 | 0.044801 | 0.14661 | 0.02023 | 6
|  | 0.37592 | 0.082995 |  |  | 3 | SSB, MC-ICP-MS | Valdes et al., 2014
|  | 0.349 | 0.044 |  |  | 3 | DS-TIMSd | He et al., 2017
|  | 0.34663 | 0.053703 |  |  | 8 | DS-TIMSd | Liu et al., 2017
|  | 0.38373 | 0.044872 |  |  | 9 | DS-TIMSd | Feng et al., 2017
GSP-2 | Granodiorite | 0.33015 | 0.031673 | 0.17352 | 0.057543 | 5
|  | 0.317 | 0.014 |  |  | 3 | DS-TIMSd | He et al., 2017
COQ-1 | Carbonatite | 0.34664 | 0.012217 | 0.218 | 0.011256 | 2
|  | 0.335 | 0.039 |  |  | 4 | DS-TIMSd | He et al., 2017
|  | 0.33198 | 0.053703 |  |  | 8 | DS-TIMSd | Liu et al., 2017
|  | 0.34663 | 0.053407 |  |  | 4 | DS-TIMSd | Feng et al., 2017
SGR-1 | Shale | 0.40207 | 0.028671 | 0.17617 | 0.052189 | 4
|  | 0.4 | 0.028284 | 0.19 | 0.014142 | 2 | SSB, MC-ICP-MS | Schiller et al., 2012
|  | 0.41497 | 0.053703 |  |  | 3 | DS-TIMSd | Liu et al., 2017
|  | 0.37384 | 0.068824 |  |  | 10 | DS-TIMSd | Feng et al., 2017
NOD-A-1 | Manganese Nodule | 0.50074 | 0.046187 | 0.26667 | 0.066693 | 3
|  | 0.55655 | 0.053703 |  |  | 3 | DS-TIMSd | Liu et al., 2017
|  | 0.49044 | 0.066002 |  |  | 9 | DS-TIMSd | Feng et al., 2017
|  | 0.59821 | 0.075203 |  |  | 4 | SSB, MC-ICP-MS | Feng et al., 2018
NOD-P-1 | Manganese Nodule | 0.34321 | 0.016508 | 0.1735 | 0.082865 | 3
|  | 0.36127 | 0.048821 |  |  | 13 | DS-TIMSd | Liu et al., 2017
|  | 0.36223 | 0.044228 |  |  | 8 | DS-TIMSd | Feng et al., 2017
|  | 0.38878 | 0.05403 |  |  | 3 | SSB, MC-ICP-MS | Feng et al., 2018
a2SD, 2 standard deviation;
breplicate was measured from independent digestion of the given sample;
cMeasurement methods include double spike TIMS method (DS-TIMS) and standard-sample-standard bracketing MC-ICP-MS method (SSB, MC-ICP-MS);
dAll the literature data were converted to the δ44/42Ca from δ44/40Ca by dividing 2.048 (Young et al., 2002) if only δ44/40Ca has been reported and the corresponding uncertainty is also divided by 2.048.
Reference:
Colla, C. A., Wimpenny, J., Yin, Q. Z., Rustad, J. R., Casey, W. H., 2013. Calcium-isotope fractionation between solution and solids with six, seven or eight oxygens bound to Ca(II). Geochimica Et Cosmochimica Acta, 121(15), 363-373.
Feng, L. P., Zhou, L., Yang, L., Depaolo, D. J., Tong, S. Y., Liu, Y. S., Owens, T. J., Gao, S., 2017. Calcium isotopic compositions of sixteen USGS reference materials. Geostandards and Geoanalytical Research, 41(1), 93-106.
Feng, L. P., Zhou, L., Yang, L., Zahng, W., Wang, Q., Tong, S. Y, Hu, Z. C., 2018. A rapid and simple single-stage method for Ca separation from geological and biological samples for isotopic analysis by MC-ICP-MS. Journal of Analytical Atomic Spectrometry, 33, 413-421.
Harouaka, K., Mansor, M., Macalady, J. L., Fantle, M. S., 2016. Calcium isotopic fractionation in microbially mediated gypsum precipitates. Geochimica Et Cosmochimica Acta, 184, 114-131.
He, Y., Wang, Y., Zhu, C., Huang, S., Li, S., 2017. Mass-independent and mass-dependent Ca isotopic compositions of thirteen geological reference materials measured by thermal ionisation mass spectrometry. Geostandards and Geoanalytical Research, 41 (2), 283-302.
Liu, F., Zhu, H. L., Li, X., Wang, G. Q., Zhang, Z. F., 2017. Calcium isotopic fractionation and compositions of geochemical reference materials. Geostandards and Geoanalytical Research, 41 (4), 675-688.
Magna, T., Gussone, N., Mezger, K., 2015. The calcium isotope systematics of mars. Earth and Planetary Science Letters, 430, 86-94.
Schiller, M., Paton, C., Bizzarro, M., 2012. Calcium isotope measurement by combined HR-MC-ICPMS and TIMS. Journal of Analytical Atomic Spectrometry, 27(1), 38-49.
Valdes, M. C., Moreira, M., Foriel, J., Moynier, F., 2014. The nature of earth's building blocks as revealed by calcium isotopes. Earth and Planetary Science Letters, 394, 135-145.
Young E.D., Ash R.D., Galy A. Belshaw N.S., 2002. Mg isotope heterogeneity in the Allende meteorite measured by UV laser ablation-MC-ICP-MS and comparisons with O isotopes. Geochimica et Cosmochimica Acta, 66, 683–698.