## Single Field Ref Stds
Please input your single field tune mix ion measurments in the table below. This spreadsheet needs to be completed for each data acquisition period (i.e. one spreadsheet for all measuements run in a single day).
Experimental Replicate 1 m/z | Experimental Replicate 2 m/z | Experimental Replicate 3 m/z | Experimental Replicate 1 CCS | Experimental Replicate 2 CCS | Experimental Replicate 3 CCS | Reference Standards m/z | Reference Standards CCS | Experimental Average m/z | m/z error (ppm) | Experimental Average CCS | CCS Std Dev | CCS % RSD | % CCS Difference | Polarity
[6 empty] | 118.086 | 121.3 | [6 empty] | +
[6 empty] | 322.048 | 153.73 | [6 empty] | +
[6 empty] | 622.029 | 202.96 | [6 empty] | +
[6 empty] | 922.01 | 243.64 | [6 empty] | +
[6 empty] | 1221.991 | 282.2 | [6 empty] | +
[6 empty] | 1521.971 | 316.96 | [6 empty] | +
[6 empty] | 1821.952 | 351.25 | [6 empty] | +
[6 empty] | 2121.933 | 383.03 | [6 empty] | +
[6 empty] | 2421.914 | 412.96 | [6 empty] | +
[6 empty] | 2721.895 | 441.21 | [6 empty] | +
[6 empty] | 112.986 | 108.23 | [6 empty] | -
[6 empty] | 301.998 | 140.04 | [6 empty] | -
[6 empty] | 601.979 | 180.77 | [6 empty] | -
[6 empty] | 1033.969 | 255.34 | [6 empty] | -
[6 empty] | 1333.969 | 284.76 | [6 empty] | -
[6 empty] | 1633.95 | 319.03 | [6 empty] | -
[6 empty] | 1933.931 | 352.55 | [6 empty] | -
[6 empty] | 2233.911 | 380.74 | [6 empty] | -
[6 empty] | 2533.892 | 412.99 | [6 empty] | -
[6 empty] | 2833.873 | 432.62 | [6 empty] | -
Averages:

## Single Field Data Format
Compound | Formula | CAS | Adduct | Charge | Experimental Replicate 1 m/z | Experimental Replicate 2 m/z | Experimental Replicate 3 m/z | Experimental Replicate 1 CCS | Experimental Replicate 2 CCS | Experimental Replicate 3 CCS | Average Experimental m/z | Average Experimental CCS | Std. Dev | % RSD | CCS/z | Peak Number | Kingdom | Super.Class | Class | Subclass | Source | DOI
Example Lipid | C45H73NO8P | 5634-86-6 | [M-H] | -1 | 786.507 | 786.5074 | 786.5109 | 277.3038 | 277.33 | 277.27 | 𝜇 m/z | 𝜇 CCS | 𝜎 | =𝜎/𝜇CCS*100 | 277.3038 | 1 | Organic compounds | Lipids and lipid-like molecules | Glycerophospholipids | Glycerophosphoethanolamines | Research Group | If unpublished, please fill in as "Unpublished".