Supplementary materials: Machine learning for total organic carbon analysis of environmental water samples using high-throughput colorimetric sensors

Run Luo a, Guodong Ma a, Sifan Bi a, Qiannan Duan b, Jiayuan Chen a, Yunjin Feng a, Fenli Liu a, Jianchao Lee a, *

a Department of Environmental Science, School of Geography and Tourism, Shaanxi Normal University, Xi'an 710062, China

b State Key Laboratory of Pollution Control and Resource Reuse, Jiangsu Key Laboratory of Vehicle Emissions Control, School of the Environment, Nanjing University, Nanjing 210023, China

* Corresponding author, e-mail: jianchaolee@snnu.edu.cn

Figure S1. Structure diagram of a self-made spray device.

Figure S2. Analysis of some printing molds.

Figure S3. The reaction results with distilled water under different pH conditions.

Figure S4. Performance of colorimetric sensors.

Figure S5. CNN deep learning ability.

Tables S1. Inks and print templates.

Tables S2. Total organic carbon (TOC) of environmental water samples.

Tables S3. Load volume statistics of environmental water samples on colorimetric sensors.

Tables S4. Initial network structure.

Figure S1. Structure diagram of a self-made spray device. The device was primarily used to atomize ambient water samples evenly onto a colorimetric sensor.

Figure S2. Analysis of some printing molds. Some of the printing molds were chosen to combine. A row of pixels was randomly selected from the combined printing mold for CMY value reading and analysis. The results showed that the CMY values of different pixel points on the printing mold used in this experiment are different, that is, the volume of the reagents at each pixel point was also different.

Figure S3. The reaction results with distilled water under different pH conditions. (a) Images of c-sensor after reacting with distilled water of different amounts at pHs 3, 5, 8, 11 (three times for each pH condition). (b) Difference images obtained according to Figure S3a.

Figure S4. Performance of colorimetric sensors. We randomly selected six different reaction result images of three parallel environmental water samples. Pixel relative standard deviation (RSD) of three parallel samples was calculated. The cumulative trend lines of pixels under different RSD were plotted according to the calculation results. The precision of the colorimetric sensor images in parallel samples were as follows. More than 94.5% of the pixel area, RSD of W3 was less than 1%. The RSD of W1 and W2 was less than 1.25%, over 96% of the pixel area. The results showed that the chemical reaction results of the same samples on two colorimetric sensors were similar.

Figure S5. Convolutional neural network (CNN) deep learning ability. As the number of operations increases, both round loss and test loss tended to zero. It indicated that CNN had sufficient deep learning ability and worked well for data sets.

Table S1. Inks and print templates

| Number | Reagent | Concentration | Solvent | Template | Ink quantity setting |
| --- | --- | --- | --- | --- | --- |
| 1 | Methyl red | 0.1M | Ethylene glycol butyl ether |  | 75% |
| 2 | Bromothymol blue | 0.1M | Ethylene glycol and ethanol (1:1) |  | 100% |
| 3 | Tartaric acid | 0.3M | Distilled water |  | 40% |
| 4 | Crotonic acid | 0.3M | Distilled water |  | 40% |
| 5 | Taurine | 0.2M | Distilled water |  | 80% |
| 6 | L-histidine | 0.2M | Distilled water |  | 80% |
| 7 | Potassium hydrogen phthalate | 0.2M | Distilled water |  | 60% |
| 8 | Trisodium citrate | 0.2M | Distilled water |  | 60% |

Table S2. Total organic carbon (TOC) of environmental water samples

| Number | Sample type | TOC(mg/L) |
| --- | --- | --- |
| S1 | School landfill leachate | 3129.0 |
| S2 | Fecal wastewater from rural pig farms | 1469..4 |
| S3 | Domestic sewage from faculty apartment house | 387.6 |
| S4 | Domestic wastewater of student dormitory | 123.0 |
| S5 | Septic tank wastewater from student apartment | 145.5 |
| S6 | School catering wastewater | 144.0 |
| S7 | Soil suspension from farmlands around campus | 112.5 |
| S8 | Soil suspension from woods around campus | 110.1 |

Table S3. Load volume statistics of environmental water samples on colorimetric sensors. The total organic mass on colorimetric sensors was calculated from the TOC values and the loading volume of the environmental water samples on colorimetric sensors. TOC predicted values were obtained by convolutional neural network (CNN) simulation.

| Number | S1 (ml) | S2 (ml) | S3 (ml) | S4 (ml) | S5 (ml) | S6 (ml) | S7 (ml) | S8 (ml) | Total organic mass (mg) | TOC predicted value (mg) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.19 | 2.43 |
| 2 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.50 | 2.52 |
| 3 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2.82 | 2.92 |
| 4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.25 | 1.47 |
| 5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.56 | 1.75 |
| 6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 1.88 | 2.31 |
| 7 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.94 | 1.24 |
| 8 | 1 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 3.25 | 3.62 |
| 9 | 1 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 3.73 | 4.04 |
| 10 | 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 3.81 | 3.90 |
| 11 | 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 3.89 | 3.99 |
| 12 | 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 3.84 | 3.84 |
| 13 | 1 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 3.77 | 4.00 |
| 14 | 1 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 3.70 | 4.13 |
| 15 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.13 | 3.54 |
| 16 | 1.1 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 3.82 |
| 17 | 1.1 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 4.04 | 4.24 |
| 18 | 1.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 4.12 | 4.14 |
| 19 | 1.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 4.20 | 4.23 |
| 20 | 1.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 4.16 | 4.16 |
| 21 | 1.1 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 4.08 | 4.14 |
| 22 | 1.1 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 4.01 | 4.38 |
| 23 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.44 | 3.68 |
| 24 | 1.2 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 3.87 | 4.14 |
| 25 | 1.2 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 4.35 | 4.27 |
| 26 | 1.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 4.43 | 4.46 |
| 27 | 1.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 4.51 | 4.30 |
| 28 | 1.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 4.47 | 4.38 |
| 29 | 1.2 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 4.40 | 4.30 |
| 30 | 1.2 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 4.32 | 4.07 |
| 31 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75 | 3.68 |
| 32 | 0.7 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 2.76 | 3.26 |
| 33 | 0.6 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 2.44 | 2.89 |
| 34 | 0.8 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 3.07 | 3.42 |
| 35 | 0.5 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 2.13 | 2.43 |
| 36 | 0.9 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 3.38 | 3.47 |
| 37 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 1.50 | 1.73 |
| 38 | 0.4 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 1.82 | 2.19 |
| 39 | 0.6 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 2.52 | 3.00 |
| 40 | 0.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 2.21 | 2.66 |
| 41 | 0.7 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 2.83 | 3.35 |
| 42 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 1.89 | 2.40 |
| 43 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 1.58 | 1.97 |
| 44 | 0.9 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 3.46 | 3.59 |
| 45 | 0.8 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 3.15 | 3.45 |
| 46 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 1.65 | 1.87 |
| 47 | 0.9 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 3.53 | 3.66 |
| 48 | 0.6 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 2.59 | 2.85 |
| 49 | 0.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 2.28 | 2.60 |
| 50 | 0.8 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 3.22 | 3.61 |
| 51 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 1.97 | 2.36 |
| 52 | 0.7 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 2.90 | 3.58 |
| 53 | 0.8 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 3.26 | 3.47 |
| 54 | 0.9 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 3.57 | 3.68 |
| 55 | 0.7 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 2.95 | 3.29 |
| 56 | 0.6 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 2.63 | 2.98 |
| 57 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 2.01 | 2.35 |
| 58 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 1.70 | 1.98 |
| 59 | 0.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 2.32 | 2.79 |
| 60 | 0.5 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 2.24 | 2.59 |
| 61 | 0.4 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 1.93 | 2.32 |
| 62 | 0.6 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 2.55 | 2.93 |
| 63 | 0.8 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 3.18 | 3.52 |
| 64 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 1.62 | 1.96 |
| 65 | 0.7 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 2.87 | 3.24 |
| 66 | 0.9 | 0.3 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 3.49 | 3.69 |
| 67 | 0.3 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 1.54 | 1.77 |
| 68 | 0.4 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 1.85 | 2.37 |
| 69 | 0.9 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 3.42 | 3.64 |
| 70 | 0.5 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 2.16 | 2.82 |
| 71 | 0.7 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 2.79 | 3.36 |
| 72 | 0.6 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 2.48 | 2.80 |
| 73 | 0.8 | 0.3 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 3.10 | 3.26 |
| 74 | 0.5 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1.68 | 2.12 |
| 75 | 0.3 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1.05 | 1.78 |
| 76 | 0.7 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 2.31 | 2.87 |
| 77 | 0.9 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 2.93 | 3.07 |
| 78 | 0.4 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1.37 | 1.89 |
| 79 | 0.6 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 1.99 | 2.41 |
| 80 | 0.8 | 0.3 | 0 | 0 | 0 | 0 | 0 | 0 | 2.62 | 3.05 |
| 81 | 1 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 3.28 | 3.72 |
| 82 | 1 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 3.93 | 4.22 |
| 83 | 1 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 4.14 | 4.22 |
| 84 | 1 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 4.08 | 3.89 |
| 85 | 1 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 3.99 | 3.61 |
| 86 | 1 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 3.88 | 4.22 |
| 87 | 1.1 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 3.60 | 3.89 |
| 88 | 1.1 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 4.24 | 4.27 |
| 89 | 1.1 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 4.39 | 4.19 |
| 90 | 1.2 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 3.91 | 3.61 |
| 91 | 1.2 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 4.51 | 4.54 |
| 92 | 0.7 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 2.95 | 3.27 |
| 93 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 2.01 | 2.49 |
| 94 | 0.8 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 3.26 | 3.53 |
| 95 | 0.6 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 2.63 | 3.11 |
| 96 | 0.3 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 1.69 | 2.05 |
| 97 | 0.5 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 2.32 | 2.60 |
| 98 | 0.7 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 3.05 | 3.32 |
| 99 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 2.42 | 2.74 |
| 100 | 0.6 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 2.73 | 3.24 |
| 101 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 2.11 | 2.57 |
| 102 | 0.9 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 3.67 | 3.76 |
| 103 | 0.8 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 3.36 | 3.59 |
| 104 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 1.80 | 2.36 |
| 105 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 2.52 | 2.87 |
| 106 | 0.9 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 3.77 | 3.76 |
| 107 | 0.7 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 3.14 | 3.40 |
| 108 | 0.6 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 2.83 | 3.02 |
| 109 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 2.20 | 2.81 |
| 110 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 1.89 | 2.54 |
| 111 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 1.95 | 2.34 |
| 112 | 0.6 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 2.89 | 3.52 |
| 113 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 2.26 | 2.43 |
| 114 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 2.57 | 3.03 |
| 115 | 0.8 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 3.51 | 3.97 |
| 116 | 0.7 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 3.20 | 3.34 |
| 117 | 0.7 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 3.09 | 3.17 |
| 118 | 0.9 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 3.72 | 3.70 |
| 119 | 0.3 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 1.84 | 2.32 |
| 120 | 0.8 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 3.41 | 3.57 |
| 121 | 0.5 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 2.47 | 2.92 |
| 122 | 0.6 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 2.78 | 3.17 |
| 123 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 2.15 | 2.85 |
| 124 | 0.3 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 1.74 | 2.12 |
| 125 | 0.9 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 3.61 | 3.83 |
| 126 | 0.5 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 2.36 | 2.47 |
| 127 | 0.6 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 2.68 | 2.81 |
| 128 | 0.7 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 2.99 | 3.37 |
| 129 | 0.8 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 3.30 | 3.62 |
| 130 | 0.4 | 0.4 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 2.05 | 2.67 |
| 131 | 0.6 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.03 | 2.78 |
| 132 | 0.3 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1.09 | 1.53 |
| 133 | 0.4 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1.41 | 1.69 |
| 134 | 0.8 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.66 | 3.24 |
| 135 | 0.7 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.35 | 3.11 |
| 136 | 0.9 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 2.97 | 3.49 |
| 137 | 0.5 | 0.4 | 0 | 0 | 0 | 0 | 0 | 0 | 1.72 | 1.92 |
| 138 | 1 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 3.32 | 3.55 |
| 139 | 1 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 4.13 | 3.93 |
| 140 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 4.26 | 3.95 |
| 141 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 4.39 | 4.39 |
| 142 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 4.32 | 3.83 |
| 143 | 1 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 4.20 | 3.91 |
| 144 | 1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 4.07 | 4.04 |
| 145 | 1.1 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 3.64 | 3.64 |
| 146 | 1.1 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 4.44 | 4.28 |
| 147 | 1.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 4.57 | 4.60 |
| 148 | 1.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 4.70 | 4.39 |
| 149 | 1.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 4.63 | 4.44 |
| 150 | 1.1 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 4.51 | 4.15 |
| 151 | 1.1 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 4.39 | 4.60 |
| 152 | 1.2 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 4.70 | 4.43 |
| 153 | 1.2 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 4.83 | 4.80 |
| 154 | 1.2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 4.94 | 4.42 |
| 155 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75 | 4.27 |
| 156 | 1.2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 5.02 | 4.65 |
| 157 | 1.2 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 4.88 | 4.46 |
| 158 | 1.2 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 4.75 | 4.44 |
| 159 | 0.8 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 3.45 | 3.70 |
| 160 | 0.6 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 2.82 | 3.14 |
| 161 | 0.9 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 3.76 | 3.75 |
| 162 | 0.4 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 2.20 | 2.64 |
| 163 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 2.51 | 2.95 |
| 164 | 0.3 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 1.88 | 1.85 |
| 165 | 0.7 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 3.13 | 3.22 |
| 166 | 0.7 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 3.26 | 3.48 |
| 167 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 2.95 | 3.21 |
| 168 | 0.8 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 3.57 | 3.96 |
| 169 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 2.64 | 2.94 |
| 170 | 0.9 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 3.89 | 3.89 |
| 171 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 2.32 | 2.85 |
| 172 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 2.01 | 2.14 |
| 173 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 2.75 | 2.89 |
| 174 | 0.7 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 3.38 | 3.75 |
| 175 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 3.07 | 3.45 |
| 176 | 0.9 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 4.01 | 4.01 |
| 177 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 2.44 | 2.67 |
| 178 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 2.13 | 2.33 |
| 179 | 0.8 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 3.69 | 3.80 |
| 180 | 0.9 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 4.08 | 3.59 |
| 181 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 3.14 | 3.47 |
| 182 | 0.7 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 3.45 | 3.88 |
| 183 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 2.20 | 2.28 |
| 184 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 2.51 | 3.01 |
| 185 | 0.8 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 3.76 | 3.80 |
| 186 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 2.83 | 3.12 |
| 187 | 0.9 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 3.94 | 3.97 |
| 188 | 0.8 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 3.63 | 3.79 |
| 189 | 0.7 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 3.32 | 3.42 |
| 190 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 2.69 | 2.86 |
| 191 | 0.3 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 2.07 | 2.10 |
| 192 | 0.6 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 3.00 | 3.31 |
| 193 | 0.4 | 0.5 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 2.38 | 2.73 |
| 194 | 0.4 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 2.25 | 2.79 |
| 195 | 0.9 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 3.81 | 3.65 |
| 196 | 0.5 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 2.56 | 3.08 |
| 197 | 0.7 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 3.19 | 3.39 |
| 198 | 0.6 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 2.88 | 3.24 |
| 199 | 0.8 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 3.50 | 3.80 |
| 200 | 0.3 | 0.5 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 1.94 | 2.01 |
| 201 | 0.4 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1.45 | 1.69 |
| 202 | 0.3 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1.13 | 1.29 |
| 203 | 0.8 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.70 | 3.05 |
| 204 | 0.7 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.38 | 2.68 |
| 205 | 0.6 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 2.07 | 2.53 |
| 206 | 0.9 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 3.01 | 3.26 |
| 207 | 0.5 | 0.5 | 0 | 0 | 0 | 0 | 0 | 0 | 1.76 | 2.05 |
| 208 | 1 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 3.36 | 3.78 |
| 209 | 1 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 4.33 | 4.73 |
| 210 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 4.48 | 4.29 |
| 211 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 4.64 | 4.14 |
| 212 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 4.56 | 4.41 |
| 213 | 1 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 4.41 | 4.25 |
| 214 | 1 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 4.26 | 4.15 |
| 215 | 1.1 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 3.67 | 3.77 |
| 216 | 1.1 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 4.64 | 4.75 |
| 217 | 1.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 4.79 | 4.40 |
| 218 | 1.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 4.96 | 4.96 |
| 219 | 1.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 4.87 | 4.91 |
| 220 | 1.1 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 4.73 | 4.72 |
| 221 | 1.1 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 4.57 | 4.79 |
| 222 | 1.2 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 3.99 | 3.66 |
| 223 | 1.2 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 4.95 | 4.73 |
| 224 | 1.2 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 5.11 | 4.65 |
| 225 | 1.2 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 5.27 | 4.41 |
| 226 | 1.2 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 5.18 | 5.19 |
| 227 | 1.2 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 5.04 | 5.08 |
| 228 | 1.2 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 4.89 | 5.21 |
| 229 | 0.4 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 2.38 | 2.79 |
| 230 | 0.8 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 3.64 | 3.74 |
| 231 | 0.7 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 3.32 | 3.54 |
| 232 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 3.01 | 3.41 |
| 233 | 0.5 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 2.70 | 3.38 |
| 234 | 0.9 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 3.95 | 3.87 |
| 235 | 0.3 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 2.07 | 2.42 |
| 236 | 0.9 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 4.10 | 3.96 |
| 237 | 0.5 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 2.85 | 3.37 |
| 238 | 0.7 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 3.48 | 3.81 |
| 239 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 3.16 | 3.56 |
| 240 | 0.8 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 3.79 | 4.07 |
| 241 | 0.3 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 2.22 | 2.81 |
| 242 | 0.4 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 2.54 | 3.20 |
| 243 | 0.9 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 4.24 | 4.05 |
| 244 | 0.5 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 2.99 | 3.03 |
| 245 | 0.7 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 3.62 | 3.82 |
| 246 | 0.8 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 3.93 | 3.88 |
| 247 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 3.30 | 3.50 |
| 248 | 0.4 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 2.68 | 2.91 |
| 249 | 0.3 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 2.37 | 2.52 |
| 250 | 0.4 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 2.76 | 3.17 |
| 251 | 0.3 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 2.45 | 2.90 |
| 252 | 0.7 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 3.70 | 3.78 |
| 253 | 0.8 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 4.02 | 4.07 |
| 254 | 0.5 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 3.08 | 3.35 |
| 255 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 3.39 | 3.52 |
| 256 | 0.9 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 4.33 | 4.19 |
| 257 | 0.7 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 3.54 | 3.65 |
| 258 | 0.5 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 2.92 | 3.51 |
| 259 | 0.8 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 3.86 | 4.05 |
| 260 | 0.4 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 2.60 | 3.17 |
| 261 | 0.3 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 2.29 | 2.59 |
| 262 | 0.9 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 4.17 | 3.99 |
| 263 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 3.23 | 3.39 |
| 264 | 0.9 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 4.01 | 4.26 |
| 265 | 0.3 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 2.14 | 2.74 |
| 266 | 0.8 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 3.70 | 4.11 |
| 267 | 0.7 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 3.39 | 3.95 |
| 268 | 0.6 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 3.08 | 3.48 |
| 269 | 0.4 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 2.45 | 2.90 |
| 270 | 0.5 | 0.6 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 2.76 | 3.38 |
| 271 | 0.6 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 2.11 | 2.54 |
| 272 | 0.4 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1.48 | 1.93 |
| 273 | 0.3 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1.17 | 1.28 |
| 274 | 0.9 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 3.05 | 3.08 |
| 275 | 0.8 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 2.74 | 2.98 |
| 276 | 0.5 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 1.80 | 2.12 |
| 277 | 0.7 | 0.6 | 0 | 0 | 0 | 0 | 0 | 0 | 2.42 | 2.66 |
| 278 | 1 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 3.40 | 3.73 |
| 279 | 1 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 4.53 | 4.41 |
| 280 | 1 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 4.71 | 4.00 |
| 281 | 1 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 4.89 | 4.50 |
| 282 | 1 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 4.79 | 4.51 |
| 283 | 1 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 4.63 | 4.48 |
| 284 | 1 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 4.45 | 4.79 |
| 285 | 1.1 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 3.71 | 4.57 |
| 286 | 1.1 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 4.84 | 5.07 |
| 287 | 1.1 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 5.02 | 5.24 |
| 288 | 1.1 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 5.21 | 5.33 |
| 289 | 1.1 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 5.11 | 4.88 |
| 290 | 1.1 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 4.94 | 4.89 |
| 291 | 1.1 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 4.76 | 5.10 |
| 292 | 1.2 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 4.03 | 3.89 |
| 293 | 1.2 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 5.15 | 4.92 |
| 294 | 1.2 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 5.33 | 4.98 |
| 295 | 1.2 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 5.52 | 4.66 |
| 296 | 1.2 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 5.42 | 5.13 |
| 297 | 1.2 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 5.25 | 5.03 |
| 298 | 1.2 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 5.08 | 4.87 |
| 299 | 0.5 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 2.89 | 3.32 |
| 300 | 0.4 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 2.57 | 3.36 |
| 301 | 0.8 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 3.82 | 4.29 |
| 302 | 0.9 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 4.14 | 4.54 |
| 303 | 0.3 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 2.26 | 2.91 |
| 304 | 0.6 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 3.2 | 3.76 |
| 305 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 3.51 | 3.70 |
| 306 | 0.8 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 4.00 | 4.25 |
| 307 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 3.69 | 4.08 |
| 308 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 3.06 | 3.64 |
| 309 | 0.4 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 2.75 | 3.33 |
| 310 | 0.3 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 2.44 | 3.28 |
| 311 | 0.6 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 3.38 | 3.71 |
| 312 | 0.9 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 4.32 | 4.64 |
| 313 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 3.23 | 3.75 |
| 314 | 0.9 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 4.48 | 4.40 |
| 315 | 0.3 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 2.60 | 3.35 |
| 316 | 0.6 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 3.54 | 3.99 |
| 317 | 0.4 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 2.92 | 3.59 |
| 318 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 3.85 | 4.08 |
| 319 | 0.8 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 4.17 | 4.37 |
| 320 | 0.8 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 4.27 | 4.17 |
| 321 | 0.6 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 3.64 | 4.06 |
| 322 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 3.96 | 4.47 |
| 323 | 0.9 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 4.58 | 4.76 |
| 324 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 3.33 | 3.86 |
| 325 | 0.3 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 2.70 | 3.72 |
| 326 | 0.4 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 3.02 | 3.63 |
| 327 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 3.77 | 4.26 |
| 328 | 0.4 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 2.83 | 3.59 |
| 329 | 0.8 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 4.08 | 4.17 |
| 330 | 0.5 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 3.14 | 3.58 |
| 331 | 0.9 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 4.39 | 4.63 |
| 332 | 0.3 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 2.52 | 3.23 |
| 333 | 0.6 | 0.7 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 3.46 | 3.87 |
| 334 | 0.9 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 4.21 | 4.53 |
| 335 | 0.3 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 2.34 | 3.07 |
| 336 | 0.4 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 2.65 | 3.21 |
| 337 | 0.5 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 2.96 | 3.52 |
| 338 | 0.7 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 3.59 | 3.95 |
| 339 | 0.6 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 3.28 | 3.70 |
| 340 | 0.8 | 0.7 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 3.90 | 3.94 |
| 341 | 0.7 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 2.46 | 3.07 |
| 342 | 0.6 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 2.15 | 2.75 |
| 343 | 0.3 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 1.21 | 2.19 |
| 344 | 0.9 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 3.09 | 3.56 |
| 345 | 0.4 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 1.52 | 2.13 |
| 346 | 0.8 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 2.77 | 3.35 |
| 347 | 0.5 | 0.7 | 0 | 0 | 0 | 0 | 0 | 0 | 1.84 | 2.67 |
| 348 | 1 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 3.44 | 3.93 |
| 349 | 1 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 4.73 | 5.10 |
| 350 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 4.93 | 4.80 |
| 351 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 5.15 | 5.03 |
| 352 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 5.03 | 4.93 |
| 353 | 1 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 4.84 | 5.02 |
| 354 | 1 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 4.64 | 4.57 |
| 355 | 1.1 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 3.75 | 4.10 |
| 356 | 1.1 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 5.04 | 4.99 |
| 357 | 1.1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 5.25 | 5.27 |
| 358 | 1.1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 5.46 | 5.52 |
| 359 | 1.1 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 5.34 | 5.15 |
| 360 | 1.1 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 5.16 | 4.91 |
| 361 | 1.1 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 4.95 | 5.09 |
| 362 | 1.2 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 4.06 | 4.59 |
| 363 | 1.2 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 5.35 | 5.14 |
| 364 | 1.2 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 5.56 | 5.61 |
| 365 | 1.2 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 5.77 | 5.68 |
| 366 | 1.2 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 5.66 | 5.28 |
| 367 | 1.2 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 5.47 | 5.26 |
| 368 | 1.2 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 5.26 | 5.12 |
| 369 | 0.9 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 4.33 | 4.49 |
| 370 | 0.5 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 3.07 | 3.50 |
| 371 | 0.4 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 2.76 | 3.36 |
| 372 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 4.01 | 4.25 |
| 373 | 0.7 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 3.70 | 4.27 |
| 374 | 0.6 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 3.39 | 3.95 |
| 375 | 0.3 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 2.45 | 2.94 |
| 376 | 0.3 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 2.65 | 3.00 |
| 377 | 0.7 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 3.90 | 4.32 |
| 378 | 0.5 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 3.28 | 3.78 |
| 379 | 0.4 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 2.97 | 3.50 |
| 380 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 3.59 | 4.35 |
| 381 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 4.22 | 4.54 |
| 382 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 4.53 | 4.85 |
| 383 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 3.78 | 4.04 |
| 384 | 0.5 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 3.47 | 3.98 |
| 385 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 4.72 | 4.55 |
| 386 | 0.7 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 4.09 | 4.47 |
| 387 | 0.3 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 2.84 | 3.64 |
| 388 | 0.4 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 3.15 | 3.89 |
| 389 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 4.41 | 4.76 |
| 390 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 4.83 | 4.70 |
| 391 | 0.7 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 4.21 | 4.50 |
| 392 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 3.90 | 4.37 |
| 393 | 0.3 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 2.96 | 3.65 |
| 394 | 0.4 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 3.27 | 3.83 |
| 395 | 0.5 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 3.58 | 3.86 |
| 396 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 4.52 | 4.52 |
| 397 | 0.7 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 3.99 | 4.29 |
| 398 | 0.4 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 3.06 | 3.73 |
| 399 | 0.9 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 4.62 | 4.58 |
| 400 | 0.5 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 3.37 | 4.08 |
| 401 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 4.31 | 4.57 |
| 402 | 0.3 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 2.74 | 3.53 |
| 403 | 0.6 | 0.8 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 3.68 | 4.21 |
| 404 | 0.9 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 4.41 | 4.71 |
| 405 | 0.8 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 4.10 | 4.63 |
| 406 | 0.5 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 3.16 | 3.53 |
| 407 | 0.4 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 2.85 | 3.61 |
| 408 | 0.3 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 2.54 | 3.46 |
| 409 | 0.6 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 3.48 | 4.10 |
| 410 | 0.7 | 0.8 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 3.79 | 4.25 |
| 411 | 0.3 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1.25 | 2.10 |
| 412 | 0.4 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1.56 | 2.34 |
| 413 | 0.5 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 1.87 | 2.54 |
| 414 | 0.7 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2.50 | 3.14 |
| 415 | 0.8 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2.81 | 3.48 |
| 416 | 0.9 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 3.13 | 3.67 |
| 417 | 0.6 | 0.8 | 0 | 0 | 0 | 0 | 0 | 0 | 2.19 | 2.83 |
| 418 | 1 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 3.48 | 3.86 |
| 419 | 1 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 4.93 | 5.29 |
| 420 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 5.16 | 5.25 |
| 421 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 5.40 | 5.54 |
| 422 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 5.27 | 5.50 |
| 423 | 1 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 5.06 | 5.14 |
| 424 | 1 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 4.83 | 5.14 |
| 425 | 1.1 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 3.79 | 4.61 |
| 426 | 1.1 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 5.24 | 5.07 |
| 427 | 1.1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 5.47 | 5.41 |
| 428 | 1.1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 5.71 | 5.62 |
| 429 | 1.1 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 5.58 | 5.56 |
| 430 | 1.1 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 5.37 | 5.02 |
| 431 | 1.1 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 5.14 | 5.39 |
| 432 | 1.2 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 4.10 | 4.49 |
| 433 | 1.2 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 5.55 | 5.41 |
| 434 | 1.2 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 5.78 | 5.36 |
| 435 | 1.2 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 6.02 | 5.67 |
| 436 | 1.2 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 5.90 | 5.47 |
| 437 | 1.2 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 5.68 | 5.56 |
| 438 | 1.2 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 5.45 | 5.39 |
| 439 | 0.4 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 2.95 | 3.52 |
| 440 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 4.51 | 4.57 |
| 441 | 0.5 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 3.26 | 3.52 |
| 442 | 0.7 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 3.89 | 4.15 |
| 443 | 0.8 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 4.20 | 4.51 |
| 444 | 0.6 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 3.58 | 3.84 |
| 445 | 0.3 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 2.64 | 3.31 |
| 446 | 0.8 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 4.43 | 4.74 |
| 447 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 4.74 | 4.98 |
| 448 | 0.6 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 3.81 | 4.30 |
| 449 | 0.5 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 3.49 | 3.89 |
| 450 | 0.4 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 3.18 | 3.48 |
| 451 | 0.3 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 2.87 | 3.40 |
| 452 | 0.7 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 4.12 | 4.52 |
| 453 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 4.96 | 5.16 |
| 454 | 0.6 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 4.02 | 4.46 |
| 455 | 0.5 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 3.70 | 4.13 |
| 456 | 0.7 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 4.33 | 4.69 |
| 457 | 0.4 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 3.39 | 4.02 |
| 458 | 0.3 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 3.08 | 3.48 |
| 459 | 0.8 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 4.64 | 4.78 |
| 460 | 0.6 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 4.15 | 4.08 |
| 461 | 0.7 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 4.46 | 4.82 |
| 462 | 0.4 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 3.52 | 3.53 |
| 463 | 0.3 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 3.21 | 3.68 |
| 464 | 0.8 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 4.77 | 4.94 |
| 465 | 0.5 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 3.83 | 4.40 |
| 466 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 5.09 | 5.22 |
| 467 | 0.3 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 2.97 | 3.67 |
| 468 | 0.4 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 3.28 | 3.78 |
| 469 | 0.8 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 4.53 | 4.78 |
| 470 | 0.6 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 3.91 | 4.23 |
| 471 | 0.7 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 4.22 | 4.60 |
| 472 | 0.5 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 3.59 | 4.14 |
| 473 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 4.85 | 4.81 |
| 474 | 0.3 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 2.74 | 3.41 |
| 475 | 0.6 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 3.67 | 3.63 |
| 476 | 0.8 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 4.30 | 4.47 |
| 477 | 0.4 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 3.05 | 3.58 |
| 478 | 0.9 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 4.61 | 4.83 |
| 479 | 0.7 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 3.99 | 4.21 |
| 480 | 0.5 | 0.9 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 3.36 | 3.83 |
| 481 | 0.9 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 3.16 | 3.79 |
| 482 | 0.5 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 1.91 | 2.57 |
| 483 | 0.4 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 1.60 | 2.39 |
| 484 | 0.3 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 1.29 | 2.06 |
| 485 | 0.8 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 2.85 | 3.57 |
| 486 | 0.7 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 2.54 | 2.96 |
| 487 | 0.6 | 0.9 | 0 | 0 | 0 | 0 | 0 | 0 | 2.23 | 2.82 |
| 488 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5.65 | 5.28 |
| 489 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 5.51 | 5.63 |
| 490 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5.38 | 4.88 |
| 491 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 5.27 | 5.42 |
| 492 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 5.13 | 5.20 |
| 493 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 5.02 | 5.30 |
| 494 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.52 | 3.99 |
| 495 | 1.1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5.96 | 5.66 |
| 496 | 1.1 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 5.82 | 5.61 |
| 497 | 1.1 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5.70 | 5.34 |
| 498 | 1.1 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 5.58 | 5.31 |
| 499 | 1.1 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 5.44 | 5.52 |
| 500 | 1.1 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 5.33 | 5.61 |
| 501 | 1.1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.83 | 4.24 |
| 502 | 1.2 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 6.28 | 6.08 |
| 503 | 1.2 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 6.13 | 5.83 |
| 504 | 1.2 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 6.01 | 6.14 |
| 505 | 1.2 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 5.90 | 5.57 |
| 506 | 1.2 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 5.75 | 5.52 |
| 507 | 1.2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 5.64 | 5.63 |
| 508 | 1.2 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 4.14 | 4.64 |
| 509 | 0.6 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4.40 | 4.18 |
| 510 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4.09 | 4.34 |
| 511 | 0.4 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3.77 | 4.24 |
| 512 | 0.9 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5.34 | 5.37 |
| 513 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 5.03 | 4.91 |
| 514 | 0.7 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 4.71 | 4.85 |
| 515 | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 3.46 | 3.58 |
| 516 | 0.7 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 4.57 | 4.69 |
| 517 | 0.5 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 3.94 | 4.41 |
| 518 | 0.3 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 3.32 | 3.94 |
| 519 | 0.9 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 5.19 | 5.37 |
| 520 | 0.4 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 3.63 | 4.10 |
| 521 | 0.8 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 4.88 | 4.95 |
| 522 | 0.6 | 1 | 1 | 1 | 1 | 1 | 1 | 0 | 4.26 | 4.51 |
| 523 | 0.5 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 3.82 | 4.06 |
| 524 | 0.3 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 3.19 | 3.53 |
| 525 | 0.7 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 4.45 | 4.71 |
| 526 | 0.9 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 5.07 | 5.21 |
| 527 | 0.6 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 4.13 | 4.09 |
| 528 | 0.8 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 4.76 | 4.88 |
| 529 | 0.4 | 1 | 1 | 1 | 1 | 1 | 0 | 0 | 3.51 | 3.63 |
| 530 | 0.4 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 3.39 | 4.07 |
| 531 | 0.7 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4.33 | 4.61 |
| 532 | 0.3 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 3.08 | 3.56 |
| 533 | 0.6 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4.02 | 4.47 |
| 534 | 0.8 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4.65 | 4.91 |
| 535 | 0.9 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 4.96 | 4.79 |
| 536 | 0.5 | 1 | 1 | 1 | 1 | 0 | 0 | 0 | 3.71 | 4.13 |
| 537 | 0.3 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 2.94 | 3.71 |
| 538 | 0.8 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 4.50 | 4.19 |
| 539 | 0.7 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 4.19 | 4.51 |
| 540 | 0.6 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 3.87 | 4.13 |
| 541 | 0.5 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 3.56 | 3.63 |
| 542 | 0.4 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 3.25 | 3.54 |
| 543 | 0.9 | 1 | 1 | 1 | 0 | 0 | 0 | 0 | 4.81 | 5.13 |
| 544 | 0.9 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4.70 | 4.79 |
| 545 | 0.4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3.14 | 3.22 |
| 546 | 0.3 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 2.83 | 3.12 |
| 547 | 0.7 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4.08 | 4.30 |
| 548 | 0.6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3.76 | 4.15 |
| 549 | 0.8 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 4.39 | 4.56 |
| 550 | 0.5 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 3.45 | 3.45 |
| 551 | 0.3 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.33 | 2.35 |
| 552 | 0.4 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.64 | 2.32 |
| 553 | 0.6 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.27 | 2.88 |
| 554 | 0.5 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.95 | 2.42 |
| 555 | 0.7 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.58 | 2.97 |
| 556 | 0.9 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.20 | 3.69 |
| 557 | 0.8 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.89 | 3.20 |
| 558 | 1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 5.90 | 5.28 |
| 559 | 1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 5.74 | 5.25 |
| 560 | 1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 5.61 | 5.26 |
| 561 | 1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 5.49 | 5.31 |
| 562 | 1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 5.33 | 5.27 |
| 563 | 1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 5.20 | 5.23 |
| 564 | 1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.56 | 4.18 |
| 565 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 6.22 | 5.45 |
| 566 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 6.06 | 5.77 |
| 567 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 5.92 | 5.66 |
| 568 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 5.80 | 5.75 |
| 569 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 5.64 | 5.59 |
| 570 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 5.52 | 5.10 |
| 571 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.87 | 4.32 |
| 572 | 1.2 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 6.53 | 6.11 |
| 573 | 1.2 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 6.37 | 6.22 |
| 574 | 1.2 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 6.24 | 5.90 |
| 575 | 1.2 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 6.11 | 5.91 |
| 576 | 1.2 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 5.95 | 5.56 |
| 577 | 1.2 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 5.83 | 5.66 |
| 578 | 1.2 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 4.18 | 4.49 |
| 579 | 0.6 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 4.65 | 4.87 |
| 580 | 0.3 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 3.71 | 3.57 |
| 581 | 0.4 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 4.03 | 4.29 |
| 582 | 0.5 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 4.34 | 4.45 |
| 583 | 0.7 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 4.96 | 4.88 |
| 584 | 0.8 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 5.28 | 5.05 |
| 585 | 0.9 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 5.59 | 5.47 |
| 586 | 0.5 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 4.18 | 4.38 |
| 587 | 0.7 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 4.81 | 4.85 |
| 588 | 0.9 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 5.43 | 5.35 |
| 589 | 0.8 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 5.12 | 5.05 |
| 590 | 0.6 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 4.49 | 4.47 |
| 591 | 0.4 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 3.87 | 3.91 |
| 592 | 0.3 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 3.55 | 3.83 |
| 593 | 0.6 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 4.36 | 4.52 |
| 594 | 0.7 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 4.67 | 4.78 |
| 595 | 0.9 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 5.30 | 5.29 |
| 596 | 0.8 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 4.98 | 4.64 |
| 597 | 0.3 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 3.42 | 3.78 |
| 598 | 0.4 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 3.73 | 4.23 |
| 599 | 0.5 | 1.1 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 4.05 | 4.42 |
| 600 | 0.4 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 3.61 | 3.85 |
| 601 | 0.9 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 5.17 | 5.11 |
| 602 | 0.7 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 4.55 | 4.98 |
| 603 | 0.5 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 3.92 | 4.38 |
| 604 | 0.8 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 4.86 | 5.04 |
| 605 | 0.3 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 3.30 | 3.66 |
| 606 | 0.6 | 1.1 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 4.23 | 4.52 |
| 607 | 0.3 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 3.14 | 3.52 |
| 608 | 0.5 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 3.76 | 4.14 |
| 609 | 0.8 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 4.70 | 4.92 |
| 610 | 0.9 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 5.01 | 5.15 |
| 611 | 0.4 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 3.45 | 3.73 |
| 612 | 0.6 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 4.07 | 4.47 |
| 613 | 0.7 | 1.1 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 4.39 | 4.29 |
| 614 | 0.9 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 4.89 | 4.98 |
| 615 | 0.6 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 3.95 | 3.81 |
| 616 | 0.4 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 3.33 | 3.36 |
| 617 | 0.7 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 4.27 | 4.42 |
| 618 | 0.5 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 3.64 | 3.94 |
| 619 | 0.8 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 4.58 | 4.64 |
| 620 | 0.3 | 1.1 | 1.1 | 0 | 0 | 0 | 0 | 0 | 3.01 | 3.30 |
| 621 | 0.3 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.37 | 2.10 |
| 622 | 0.7 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.62 | 3.14 |
| 623 | 0.4 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.68 | 2.41 |
| 624 | 0.6 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.30 | 3.03 |
| 625 | 0.9 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 3.24 | 4.13 |
| 626 | 0.5 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 1.99 | 2.48 |
| 627 | 0.8 | 1.1 | 0 | 0 | 0 | 0 | 0 | 0 | 2.93 | 3.41 |
| 628 | 1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 6.16 | 5.82 |
| 629 | 1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 5.98 | 5.69 |
| 630 | 1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 5.84 | 5.42 |
| 631 | 1 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 5.70 | 5.26 |
| 632 | 1 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 5.53 | 5.23 |
| 633 | 1 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 5.39 | 5.47 |
| 634 | 1 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 3.59 | 3.90 |
| 635 | 1.1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 6.47 | 5.86 |
| 636 | 1.1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 6.30 | 5.91 |
| 637 | 1.1 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 6.15 | 5.82 |
| 638 | 1.1 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 6.01 | 5.45 |
| 639 | 1.1 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 5.84 | 5.47 |
| 640 | 1.1 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 5.71 | 5.18 |
| 641 | 1.1 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 3.91 | 4.22 |
| 642 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 6.78 | 6.11 |
| 643 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 6.61 | 5.95 |
| 644 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 6.46 | 5.72 |
| 645 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 6.33 | 5.60 |
| 646 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 6.15 | 5.71 |
| 647 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 6.02 | 5.63 |
| 648 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 4.22 | 4.47 |
| 649 | 0.3 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 3.97 | 4.12 |
| 650 | 0.6 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 4.90 | 3.96 |
| 651 | 0.5 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 4.59 | 4.88 |
| 652 | 0.8 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 5.53 | 5.57 |
| 653 | 0.7 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 5.22 | 5.12 |
| 654 | 0.9 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 5.84 | 5.33 |
| 655 | 0.4 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 4.28 | 4.18 |
| 656 | 0.4 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 4.11 | 4.28 |
| 657 | 0.5 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 4.42 | 4.80 |
| 658 | 0.7 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 5.04 | 5.16 |
| 659 | 0.6 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 4.73 | 4.97 |
| 660 | 0.9 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 5.67 | 5.28 |
| 661 | 0.3 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 3.79 | 4.06 |
| 662 | 0.8 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 5.36 | 5.01 |
| 663 | 0.5 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 4.27 | 4.72 |
| 664 | 0.6 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 4.58 | 4.61 |
| 665 | 0.7 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 4.90 | 4.74 |
| 666 | 0.9 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 5.52 | 5.31 |
| 667 | 0.3 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 3.64 | 3.72 |
| 668 | 0.4 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 3.96 | 4.46 |
| 669 | 0.8 | 1.2 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 5.21 | 5.01 |
| 670 | 0.7 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 4.76 | 5.01 |
| 671 | 0.9 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 5.39 | 5.59 |
| 672 | 0.8 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 5.07 | 5.20 |
| 673 | 0.6 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 4.45 | 4.63 |
| 674 | 0.3 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 3.51 | 4.05 |
| 675 | 0.5 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 4.14 | 4.92 |
| 676 | 0.4 | 1.2 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 3.82 | 4.36 |
| 677 | 0.6 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 4.27 | 4.65 |
| 678 | 0.8 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 4.90 | 5.03 |
| 679 | 0.3 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 3.34 | 3.74 |
| 680 | 0.9 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 5.21 | 5.36 |
| 681 | 0.4 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 3.65 | 4.03 |
| 682 | 0.5 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 3.96 | 4.38 |
| 683 | 0.7 | 1.2 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 4.59 | 4.95 |
| 684 | 0.7 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 4.45 | 4.81 |
| 685 | 0.4 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 3.52 | 3.75 |
| 686 | 0.9 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 5.08 | 4.99 |
| 687 | 0.6 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 4.14 | 4.51 |
| 688 | 0.3 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 3.20 | 3.62 |
| 689 | 0.8 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 4.77 | 4.99 |
| 690 | 0.5 | 1.2 | 1.2 | 0 | 0 | 0 | 0 | 0 | 3.83 | 3.93 |
| 691 | 0.3 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1.40 | 2.33 |
| 692 | 0.6 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.34 | 3.11 |
| 693 | 0.7 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.66 | 3.31 |
| 694 | 0.8 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.97 | 3.61 |
| 695 | 0.5 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 2.03 | 3.32 |
| 696 | 0.9 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 3.28 | 3.65 |
| 697 | 0.4 | 1.2 | 0 | 0 | 0 | 0 | 0 | 0 | 1.72 | 2.31 |

Table S4. Initial network structure

| Layer | Layer(type) | Output Shape |
| --- | --- | --- |
| 0 | Input Layer | (None, 64, 64, 3) |
| 1 | Convolution Layer | (None, 28, 28, 50) |
| 2 | Ramp | (None, 28, 28, 50) |
| 3 | Pooling Layer | (None, 14, 14, 50) |
| 4 | Ramp | (None, 14, 14, 50) |
| 5 | Batch Normalization Layer | (None, 14, 14, 50) |
| 6 | Convolution Layer | (None, 13, 13, 20) |
| 7 | Ramp | (None, 13, 13, 20) |
| 8 | Dropout Layer | (None, 13, 13, 20) |
| 9 | Convolution Layer | (None, 12, 12, 50) |
| 10 | Ramp | (None, 12, 12, 50) |
| 11 | Pooling Layer | (None, 6, 6, 50) |
| 12 | Batch Normalization Layer | (None, 6, 6, 50) |
| 13 | Flatten Layer | (None, 1800) |
| 14 | Linear Layer | (None, 200) |
| 15 | Ramp | (None, 200) |
| 16 | Dropout Layer | (None, 200) |
| 17 | Linear Layer | (None, 2000) |
| 18 | Ramp | (None, 2000) |
| 19 | Linear Layer | (None, 1) |
| 20 | Output | (None, 1) |