## Table 2
| This study |  |  |  | Literature |  |  |  | Comparaison
SRM name | Mass digested per sample (mg) | [Re] (ppb) | ± 2SD (in %) | N measurements | [Re] (ppb) | Uncertainty (in %, 2σ) | N | Reference | Difference (%)
BCR-2 | 60 to 514 | 11.5619 | 6.3607 | 8 | 12.6 | 15.873 | 4 | Jochum et al., (2016) | -8.239
BCR-1 | 480 to 653 | 0.80605 | 9.5633 | 9 | 0.84 |  | 30 | Jochum et al., (2016) | -4.0411
UB-N | 466 to 698 | 0.19751 | 14.3263 | 9 | 0.206 | 4.8 | 14 | Meisel and Moser (2004) | -4.1235
MAG-1 | 172 to 559 | 3.6518 | 7.3197 | 6 | 3.91 |  | 1 | Meisel and Moser (2004) | -6.6027
BHVO-2 | 498 to 617 | 0.60703 | 12.7666 | 5 | 0.543 | 5.3407 | 6 | Jochum et al., (2016) | 11.7927
BIR-1 | 207.7 | 0.7006 |  | 1 | 0.65 |  | 2 | Jochum et al., (2016) | 7.7848
JG-2 | 379.3 | 0.014993 |  | 1 | 0.016 |  | 1 | Imai et al., (1995) | -6.2942
GP-13 | 200.4 | 0.30475 |  | 1 | 0.32 | 14.219 | 4 | Meisel and Moser (2004) | -4.7642
AGV-1 | 196.6 | 0.38477 |  | 1 | 0.38 |  | 3 | Jochum et al., (2016) | 1.2556
TDB-1 | 497.1 | 0.98841 |  | 1 | 0.794 | 6 | 7 | Meisel and Moser (2004) | 24.4852
DNC-1 | 197.4 | 0.85011 |  | 1 | 0.914 |  | 1 | Meisel and Moser (2004) | -6.9905
SCO-1 | 129.7 | 0.97489 |  | 1 | 1.01 | 12.4 | 5 | Meisel and Moser (2004) | -3.4764
SDC-1 | 591.3 | 0.043141 |  | 1
NIST 1646a | 514.7 | 1.9887 |  | 1

## Table 3
|  | 2 replicate analysis | [5 empty] | 1 analysis
Standard solution | Range of 187Re Intensity (V) | Average 187Re Intensity (V) | δ187Re SRM989 (‰) | Internal error (± 2SE) | Intermediate error (± 2SD) | External error (± 2SD) | Number of measurements | Average 187Re Intensity (V) | δ187Re SRM989 (‰) | External error (± 2SD) | Number of measurements
HReO4 | 0.45 - 0.50 | 0.48057 | 0.22099 | 0.032694 | 0.031926 | 0.026175 | 4 | 0.48001 | 0.21256 | 0.033623 | 6
| 0.40 - 0.45 | 0.41087 | 0.23141 | 0.03206 | 0.027755 | 0.029418 | 5 | 0.41684 | 0.22509 | 0.026077 | 7
| 0.35 - 0.40 | 0.3693 | 0.22298 | 0.031915 | 0.022065 | 0.032846 | 5 | 0.37915 | 0.2297 | 0.032166 | 14
| 0.25 - 0.30 | 0.27241 | 0.22831 | 0.035976 | 0.047579 | 0.040922 | 8 | 0.27257 | 0.22733 | 0.066212 | 17
| 0.20 - 0.25 | 0.23124 | 0.22069 | 0.042476 | 0.032922 | 0.045484 | 11 | 0.22402 | 0.21434 | 0.05187 | 23
| 0.15 - 0.20 | 0.18568 | 0.20212 | 0.047565 | 0.026196 | 0.04112 | 4 | 0.18356 | 0.19713 | 0.057059 | 7
| 0.10 - 0.15 | 0.12476 | 0.23234 | 0.055935 | 0.057625 | 0.049177 | 7 | 0.12371 | 0.22992 | 0.067927 | 16
| 0.08 - 0.10 | 0.085238 | 0.2063 | 0.069148 | 0.048407 | 0.058733 | 5 | 0.083877 | 0.20689 | 0.066427 | 12
| 0.04 - 0.08 | 0.067155 | 0.22649 | 0.075317 | 0.064653 | 0.071169 | 5 | 0.063789 | 0.21972 | 0.10077 | 8
| 0.02 - 0.04 | 0.028413 | 0.20811 | 0.12603 | 0.14788 | 0.11311 | 8 | 0.02885 | 0.18275 | 0.17394 | 14
SRM 3141 | 0.48 - 0.52 | 0.494 | 0.27827 | 0.029482 | 0.028137 | 0.028176 | 13 | 0.494 | 0.2788 | 0.039886 | 26
DURH-Re-1 | 1.08 - 1.10 | 1.09 | 0.44 | 0.02 | 0.021 | 0.021 | 5 | 1.09 | 0.438 | 0.027 | 10

## Table 4
Reference material | δ187Re SRM989 (‰) | Overall uncertainty (± 2SD) | External error (± 2SD) | Number of measurements | Intermediate error (± 2SD) | Internal error (± 2SE) | Mass Re per analysis (ng)
OSIL (Atlantic Seawater) | 0.10352 | 0.044151 | 0.018831 | 4 | 0.050893 | 0.05211 | 3.9
MAG-1 (marine mud) | -0.0012641 | 0.046414 | 0.06802 | 3 | 0.051267 | 0.047604 | 4.2 - 5.5
BHVO-2 (basalt) | -0.059048 | 0.061824 | 0.071396 | 2 |  | 0.06 | 2 - 2.5
BIR-1 (basalt) | -0.062597 | 0.070561 |  | 1 |  | 0.06 | 0.90902
BCR-2 (basalt) | -0.0061975 | 0.038834 | 0.023869 | 5 | 0.053165 | 0.038967 | 4.9 - 12.2
CV3 Allende (chondrite) | -0.013868 | 0.028125 |  | 1 | 0.01116 | 0.03576 | 21
SDO-1 (black shale) | 0.18831 | 0.048859 | 0.02948 | 2 | 0.014659 |  | 3 - 12
UB-N (serpentinite) | -0.00065709 | 0.080209 |  | 1 | 0.04277 | 0.082744 | 1.3485

## Table S1
Measurement ID | δ187Re SRM989 (‰) | Overall uncertainty (2SD) | (187Re)smp / (187Re)std | (186W)smp / (184W)std | (187Re/186W)smp / (187Re/186W)std | Number of analysis | Internal error (± 2SE) | Intermediate error (± 2SD)
Re/W=0.71 | 0.036898 | 0.040502 | 1.0267 | 0.73201 | 0.71297 | 2 | 0.040174 | 0.070978
Re/W=0.91 | 0.0087886 | 0.040506 | 1.0165 | 0.92747 | 0.91244 | 2 | 0.039802 | 0.027618
Re/W=1.10 | -0.049176 | 0.040568 | 1.005 | 1.1096 | 1.1041 | 2 | 0.042366 | 0.02229
Re/W=1.30 | -0.040379 | 0.040599 | 0.98667 | 1.279 | 1.2963 | 2 | 0.034472 | 0.036777
Re/W=0.50 | 0.055519 | 0.040151 | 0.97064 | 0.48736 | 0.50209 | 2 | 0.044628 | 0.023006
Re/W=0.79 | 0.037424 | 0.040225 | 0.97745 | 0.77246 | 0.79029 | 2 | 0.05252 | 0.023446
Re/W=1.00 | 0.015099 | 0.040276 | 1.0074 | 1.0064 | 0.99899 | 2 | 0.036792 | 0.026622
Re/W=1.18 | -0.02127 | 0.040353 | 1.0125 | 1.1959 | 1.1812 | 2 | 0.04164 | 0.029575
Re/W=1.48 | -0.066835 | 0.040329 | 0.99128 | 1.4626 | 1.4755 | 2 | 0.038541 | 0.059591
Re/W=1.32 | -0.064544 | 0.039856 | 0.7771 | 1.0226 | 1.3159 | 2 | 0.046531 | 0.063615
Re/W=1.03 | -0.023389 | 0.039713 | 0.9808 | 1.0087 | 1.0285 | 2 | 0.038341 | 0.056211
Re/W=0.84 | -0.0044293 | 0.039708 | 1.1924 | 1.0052 | 0.84303 | 2 | 0.036102 | 0.052755
Re/W=0.71 | 0.020862 | 0.039699 | 1.4177 | 1.0102 | 0.71255 | 2 | 0.029968 | 0.0092395
Tests with different W/Re of the bracketing standard relative to the sample (here the bracketing standard and the “sample” are the same solution)

## Table S2
Measurement ID | δ187Re SRM989 (‰) | Overall uncertainty (2SD) | Yield (%) | Number of analysis | Internal error (± 2SE) | Intermediate error (± 2SD) | Average 187Re Intensity (V)
Tests fractionation during incomplete Re elution in 1 mL column
Yield 4% | 0.33036 | 0.043733 | 4.313 | 2 | 0.046933 | 0.013534 | 0.18767
Yield 15% | 0.20631 | 0.028576 | 14.7639 | 2 | 0.027991 | 0.017192 | 0.46087
Yield 78% | 0.021439 | 0.028095 | 78.3982 | 2 | 0.033076 | 0.0059009 | 0.47768
Tests fractionation during incomplete Re elution during water sample preconcentrations
Yield 6% | 0.081525 | 0.1172 | 6.2164 | 1 | 0.067148 |  | 0.049649
Yield 34% | 0.0061815 | 0.054744 | 33.7723 | 2 | 0.053627 | 0.04265 | 0.11681
Yield 90% | 0.0057034 | 0.036073 | 90.7099 | 1 | 0.049706 |  | 0.37998
Yield 50% | -0.017658 | 0.044063 | 49.4695 | 2 | 0.053437 | 0.061572 | 0.18471
Yield 23% | 0.054702 | 0.078435 | 23.2775 | 2 | 0.11525 | 0.010192 | 0.054669
Yield 68% | -0.0064498 | 0.044286 | 68.2025 | 2 | 0.051703 | 0.042515 | 0.18276
Tests of Re isotope fractionation during incomplete elution through column chemistry for the column containing 1 mL AG1-X8 resin and for large column containing 3 mL AG1-X8 resin used for pre-concentration of Re from water sample on the field

## Table S3
Measurement ID | Element | X/Re | δ187Re SRM989 (‰) | Overall uncertainty (2SD) | Number of analysis | Internal error (± 2SE) | Intermediate error (± 2SD) | Average 187Re Intensity (V)
Fe/Re=1 | Fe | 1 | 0.046174 | 0.04073 | 2 |  | 0.026315 | 0.21809
Fe/Re=50 | Fe | 50 | 0.022763 | 0.040916 | 2 |  | 0.046933 | 0.216
Fe/Re=200 | Fe | 200 | -0.0019307 | 0.040274 | 2 |  | 0.048014 | 0.22333
Fe/Re=1000 | Fe | 1000 | 0.065048 | 0.039573 | 2 |  | 0.061784 | 0.23176
Fe/Re=5 | Fe | 5 | -0.0057031 | 0.039806 | 2 | 0.034316 | 0.0016366 | 0.22891
Fe/Re=25 | Fe | 25 | 0.0011643 | 0.039688 | 2 | 0.036135 | 0.041197 | 0.23034
Zn/Re=20 | Zn | 20 | -0.00092565 | 0.040701 | 2 |  | 0.036265 | 0.21841
Zn/Re=100 | Zn | 100 | 0.02985 | 0.040346 | 2 |  | 0.064718 | 0.22248
Zn/Re=400 | Zn | 400 | 0.016811 | 0.040082 | 2 |  | 0.022791 | 0.22559
Mo/Re=200 | Mo | 200 | -0.014183 | 0.040632 | 2 |  | 0.045903 | 0.2192
Mo/Re=1000 | Mo | 1000 | 0.021778 | 0.041056 | 2 |  | 0.046031 | 0.21444
Mo/Re=2000 | Mo | 2000 | 0.0093162 | 0.041651 | 2 |  | 0.068422 | 0.20802
Zr/Re=5 | Zr | 5 | 0.033544 | 0.039678 | 2 |  | 0.052873 | 0.23047
Zr/Re=100 | Zr | 100 | -0.020385 | 0.040428 | 2 |  | 0.10696 | 0.22154
Hf/Re=1 | Hf | 1 | 0.0046187 | 0.039508 | 2 |  | 0.046554 | 0.23257
Hf/Re=3 | Hf | 3 | 0.019868 | 0.039642 | 2 |  | 0.010866 | 0.23092
Hf/Re=10 | Hf | 10 | -0.013965 | 0.040084 | 2 |  | 0.016678 | 0.22557
Al/Re=0.9 | Al | 0.9 | -0.017766 | 0.046562 | 1 | 0.037099 |  | 0.24452
Al/Re=4.6 | Al | 4.6 | -0.011307 | 0.039203 | 2 | 0.032096 | 0.045714 | 0.2364
Al/Re=22.7 | Al | 22.7 | 0.022873 | 0.040697 | 2 | 0.044251 | 0.022877 | 0.21846
Mg/Re=0.9 | Al | 0.9 | 0.0093568 | 0.038781 | 2 | 0.041898 | 0.093077 | 0.24188
Mg/Re=0.9 | Mg | 0.9 | 0.043735 | 0.038529 | 2 | 0.041578 | 0.026183 | 0.24522
Mg/Re=4.6 | Mg | 4.6 | 0.0034935 | 0.038652 | 2 | 0.038081 | 0.018379 | 0.24357
Mg/Re=22.7 | Mg | 22.7 | 0.0046184 | 0.038331 | 2 | 0.032974 | 0.04289 | 0.24791
Ta/Re=0.9 | Ta | 0.9 | -0.014412 | 0.038293 | 2 | 0.03312 | 0.034772 | 0.24842
Ta/Re=4.6 | Ta | 4.6 | -0.0031648 | 0.038351 | 2 | 0.033653 | 0.06075 | 0.24763
Ta/Re=22.7 | Ta | 22.7 | 0.058894 | 0.038332 | 2 | 0.038965 | 0.025305 | 0.24789
Ta/Re=13.6 | Ta | 13.6 | 0.034549 | 0.03941 | 2 | 0.036978 | 0.056951 | 0.23379
Ta/Re=50 | Ta | 50 | -0.017806 | 0.039756 | 2 | 0.042145 | 0.073194 | 0.22951
U/Re=5 | U | 5 | 0.030895 | 0.039594 | 2 | 0.036244 | 0.016774 | 0.2315
U/Re=15 | U | 15 | 0.019608 | 0.039683 | 2 | 0.03787 | 0.034869 | 0.23041
U/Re=50 | U | 50 | 0.027143 | 0.040163 | 2 | 0.043277 | 0.01885 | 0.22463
Doping tests with different elements and various X/Re ratio (the doped standard and the bracketing standard are the same solution)

## Table S4
Reference material | Measurement ID | δ187Re SRM989 (‰) | Overall uncertainty (2SD) | External error (± 2SD) | Number of measurements | Number of analysis | Intermediate error (± 2SD) | Internal error (± 2SE) | Average 187Re Intensity (V) | Column passes | Mass sample (g) | Mass Re (g)
Atlantic Seawater OSIL | 200818Re-6 | 0.096824 | 0.045883 |  |  | 2 | 0.038639 | 0.072214 | 0.16959 | 3 | 0.5 | 3.9
| 140918Re-2 | 0.11462 | 0.039203 |  |  | 1 |  | 0.04 | 0.32912 | 3 | 0.5 | 3.9
| 140918Re-4 | 0.10798 | 0.038879 |  |  | 1 |  | 0.040627 | 0.33387 | 4 | 0.5 | 3.9
| 120219 FC | 0.094681 | 0.052641 |  |  | 2 | 0.063146 | 0.055598 | 0.12688 | 4 | 0.5 | 3.9
| Average | 0.10352 | 0.044151 | 0.018831 | 4 |  | 0.050893 | 0.05211
MAG-1 (marine mud) | 310819Re-2&3 | -0.010751 | 0.05405 |  |  | 2 | 0.048487 | 0.056009 | 0.12 | 3 | 1.0855 | 4.2333
| 140918Re-6&7&8 | -0.029523 | 0.038682 |  |  | 2 | 0.068089 | 0.038861 | 0.24318 | 3 | 1.4902 | 5.5137
| 100719Re-14 | 0.036482 | 0.04651 |  |  | 2 | 0.037225 | 0.047942 | 0.16479 | 3 | 1.4799 | 5.4756
| Average | -0.0012641 | 0.046414 | 0.06802 | 3 |  | 0.051267 | 0.047604
BCR-2 (basalt) | 17COLRE-74-2 | -0.011586 | 0.045939 |  |  | 1 |  |  | 0.25028 | 2 | 0.4233 | 4.9103
| 17COLRE-72-2 | -0.0058528 | 0.037096 |  |  | 1 |  |  | 0.36207 | 2 | 0.499 | 5.7884
| 17COLRE-73-2 | -0.019798 | 0.038575 |  |  | 1 |  |  | 0.33842 | 2 | 0.5137 | 5.9589
| 090119Re-1 | 0.012659 | 0.028971 |  |  | 2 | 0.052048 | 0.035674 | 0.44773 | 3 | 1.0534 | 12.2193
| 150219Re-I | -0.0064101 | 0.04359 |  |  | 2 | 0.054282 | 0.042259 | 0.18897 | 3 | 0.43233 | 5.015
| Average | -0.0061975 | 0.038834 | 0.023869 | 5 |  | 0.053165 | 0.038967
BHVO-2 (basalt) | 17COLRE-97 | -0.033805 | 0.066071 |  |  | 1 |  | 0.071927 | 0.13361 | 2 | 3.3475 | 1.9416
| 010219Re-08 | -0.08429 | 0.057578 |  |  | 2 | 0.09399 | 0.046488 | 0.10494 | 2 | 4.28 | 2.53
| Average | -0.059048 | 0.061824 | 0.071396 | 2
BIR-1 (basalt) | 17COLRE-88 | -0.062597 | 0.070561 |  | 1 | 1 |  | 0.06 | 0.11927 | 2 | 1.3985 | 0.90902
UB-N (serpentinite) | 050519Re-1to8 | -0.00065709 | 0.080209 |  | 1 | 2 | 0.04277 | 0.082744 | 0.052147 | 3 | 6.4212 | 1.3485
CV3 Allende (chondrite) | 140918Re-1 | -0.013868 | 0.028125 |  | 1 | 4 | 0.028125 | 0.043793 | 0.18755 | 2 | 0.367 | 22
SDO-1 (black shale) | 17COLRE-63 | 0.19873 | 0.039805 |  |  | 2 | 0.014659 |  | 0.22892 | 2 | 0.14889 | 11.9565
| 17COLRE-65 | 0.17789 | 0.057912 |  |  | 1 |  |  | 0.16776 | 2 | 0.03532 | 3.0022
| Average | 0.18831 | 0.048859 | 0.02948 | 2 |  | 0.014659
Matrix 1 | 080719Re-08 | 0.48575 | 0.027159 |  |  | 2 | 0.013223 | 0.029911 | 0.51312 | 3 | 4.5 | 12
Matrix 2 | 100719Re-10 | 0.50242 | 0.056063 |  |  | 2 | 0.010142 | 0.065206 | 0.11108 | 3 | 0.4 | 2.5
Matrix 3 | 261018Re-10+11+12 | 0.4283 | 0.056164 |  |  | 2 | 0.023532 | 0.068785 | 0.11066 | 3 | 1.5 | 3
Matrix 4 | 011118Re-5+6+7 | 0.48567 | 0.056757 |  |  | 2 | 0.025991 | 0.055471 | 0.10823 | 3 | 1.5 | 3
Matrix 5 | 011118Re-8+9+10 | 0.4138 | 0.059639 |  |  | 2 | 0.018837 | 0.063652 | 0.097486 | 3 | 1.5 | 3
Matrix 6 | 080719Re-01 | 0.38077 | 0.057456 |  |  | 2 | 0.026296 | 0.055943 | 0.10547 | 3 | 2.5 | 2.5
HReO4 standard processed through column | 87-2 HReO4 | 0.18778 | 0.043213 |  |  | 2 | 0.021074 | 0.041062 | 0.19247 | 2 |  | 5.035
| 3108Re-15 | 0.21212 | 0.077678 |  |  | 2 | 0.0014701 | 0.07922 | 0.0558 | 1 |  | 5.035
| 17COLRE-103-1 | 0.21899 | 0.049752 |  |  | 2 | 0.0498 | 0.047029 | 0.14294 | 1 |  | 5.035
| 061218Re-15 | 0.22608 | 0.046816 |  |  | 2 | 0.036625 | 0.040917 | 0.16252 | 3 |  | 5.035
| 120219Re-11 | 0.25472 | 0.03256 |  |  | 2 | 0.0085843 | 0.042248 | 0.34986 | 3 |  | 5.035
| 120419Re-12 | 0.20328 | 0.052269 |  |  | 2 | 0.097438 | 0.052357 | 0.12879 | 3 |  | 5.035
| 080719Re-15 | 0.23146 | 0.042754 |  |  | 2 | 0.057546 | 0.053282 | 0.19686 | 3 |  | 5.035
| 100719Re-15 | 0.26226 | 0.044215 |  |  | 2 | 0.0073228 | 0.047918 | 0.18338 | 1 |  | 5.035
| 140719Re-20 | 0.22561 | 0.044391 |  |  | 2 | 0.039463 | 0.044633 | 0.18184 | 1 |  | 5.035
| Average | 0.2247 | 0.048183 | 0.046759 | 9
Results of standard reference materials and matrix test material measured for Re isotopes. Each line corresponds to a single complete measurement (from digestion to Re isotope analysis).
Number of analysis =analysis on a single aliquot (single digestion)
Number of measurements = measurement on different aliquots (separate digestions)

## Table S5
Measurement ID | W/Re of measured solution and bracketting standard | δ187Re SRM989 (‰) | Overall uncertainty (2SD) | Number of analysis | Intermediate error (± 2SD) | Internal error (± 2SE) | Average 187Re Intensity (V)
W/Re=5 | 5 | 0.19232 | 0.043299 | 1 |  | 0.027863 | 0.27722
W/Re=5 | 5 | 0.24078 | 0.043092 | 1 |  | 0.048651 | 0.27952
W/Re=10 | 10 | 0.19862 | 0.03607 | 2 | 0.046772 | 0.034362 | 0.28186
W/Re=10 | 10 | 0.20283 | 0.042764 | 1 |  | 0.034314 | 0.28323
W/Re=40 | 40 | 0.23464 | 0.03632 | 2 | 0.046468 | 0.033313 | 0.27777
W/Re=40 | 40 | 0.22856 | 0.036387 | 2 | 0.018519 | 0.037302 | 0.27671
Tests at 10 ppb Re concentration
Measurement ID | W/Re of measured solution and bracketting standard | δ187Re SRM989 (‰) | External error (± 2SD) | Number of measurements | Average 187Re Intensity (V)
W/Re=5 | 5 | 0.22705 | 0.13759 | 5 | 0.046332
W/Re=10 | 10 | 0.21067 | 0.11654 | 4 | 0.046332
W/Re=20 | 20 | 0.20805 | 0.077422 | 5 | 0.038689
W/Re=50 | 50 | 0.21711 | 0.10349 | 13 | 0.046332
Tests at 1.5 ppb Re concentration
Influence of the W/Re of both bracketing standard and measured solution on the measured Re isotopic composition (for two concentration, 10 ppb and 1.5 ppb)

## Table S6
|  | This study |  |  |  |  | Literature |  |  |  | Comparaison
Measurement ID |  | SRM name | Mass digested per sample (mg) | [Re] (ppb) | ± 2SD (%) | N measurements | [Re] | Uncertainty (in %, 2σ) | N | Reference | Difference (%) | Yield (%)
17COLRE-40 | 307-1 | BCR-2 | 59.6865 | 11.3267 | [6 empty] | -10.1057
17COLRE-41 | 307-1 | BCR-2 | 59.6865 | 11.7352 | [6 empty] | -6.8632
17COLRE-42 | 307-1 | BCR-2 | 47.7258 | 11.8766 | [6 empty] | -5.7409
17COLRE-72 | 339-1 | BCR-2 | 499.01 | 11.4851 | [6 empty] | -8.8487
17COLRE-73 | 339-2 | BCR-2 | 513.72 | 12.1727 | [6 empty] | -3.391
17COLRE-74 | 339-3 | BCR-2 | 423.27 | 10.9951 | [6 empty] | -12.7377
190618Re-12 | 378-12 | BCR-2 | 294.07 | 11.315 | [6 empty] | -10.1987
200818Re-2 | 378-22 | BCR-2 | 291.75 | 11.5887 | [6 empty] | -8.0263
Average BCR-2 |  |  |  | 11.5619 | 6.3607 | 8 | 12.6 | 2 | 4 | Jochum et al., (2016) | -8.239 | 91.761
17COLRE-77 | 332-9 | BIR-1 | 207.7 | 0.7006 |  | 1 | 0.65 |  | 2 | Jochum et al., (2016) | 7.7848 | 107.7848
17COLRE-79 | 332-14 | JG-2 | 379.3 | 0.014993 |  | 1 | 0.016 |  | 1 | Imai et al., (1995) | -6.2942 | 93.7058
17COLRE-80 | 332-12 | GP-13 | 200.4 | 0.30475 |  | 1 | 0.32 | 0.045501 | 4 | Meisel and Moser (2004) | -4.7642 | 95.2358
17COLRE-81 | 332-11 | AGV-1 | 196.6 | 0.38477 |  | 1 | 0.38 |  | 3 | Jochum et al., (2016) | 1.2556 | 101.2556
17COLRE-84 | 332-7 | TDB-1 | 497.1 | 0.98841 |  | 1 | 0.794 | 0.04764 | 7 | Meisel and Moser (2004) | 24.4852 | 124.4852
17COLRE-85 | 332-5 | DNC-1 | 197.4 | 0.85011 |  | 1 | 0.914 |  | 1 | Meisel and Moser (2004) | -6.9905 | 93.0095
| 335-1 | SCO-1 | 129.7 | 0.97489 |  | 1 | 1.01 | 0.12524 | 5 | Meisel and Moser (2004) | -3.4764 | 96.5236
180719Re-14 | 432-5 | SDC-1 | 591.3 | 0.043141 |  | 1 | - | - | - | - | - | -
180719Re-13 | 432-6 | NIST 1646a | 514.7 | 1.9887 |  | 1 | - | - | - | - | - | -
1805COLRE-8 | 332-6 | BCR-1 | 210 | 0.79204 | [6 empty] | -5.7095
120419Re-1 | 383-1 | BCR-1 | 532.9 | 0.90021 | [6 empty] | 7.1677
120419Re-2 | 383-2 | BCR-1 | 480.5 | 0.81476 | [6 empty] | -3.0049
120419Re-3 | 383-3 | BCR-1 | 478.9 | 0.80377 | [6 empty] | -4.3132
120419Re-4 | 383-4 | BCR-1 | 504.1 | 0.77478 | [6 empty] | -7.7641
120419Re-6 | 383-6 | BCR-1 | 653.2 | 0.81268 | [6 empty] | -3.2521
120419Re-7 | 383-10 | BCR-1 | 512.2 | 0.7714 | [6 empty] | -8.1672
120419Re-8 | 383-11 | BCR-1 | 587.9 | 0.80101 | [6 empty] | -4.6414
120419Re-9 | 383-12 | BCR-1 | 535.3 | 0.78385 | [6 empty] | -6.6851
Average BCR-1 |  |  |  | 0.80605 | 9.5633 | 9 | 0.84 |  | 30 | Jochum et al., (2016) | -4.0411 | 94.2905
1805COLRE-9 | 332-13 | UB-N | 231.4 | 0.20279 | [6 empty] | -1.5598
080519Re-1 | 421-1 | UB-N | 577.4 | 0.19709 | [6 empty] | -4.3271
080519Re-2 | 421-2 | UB-N | 484.1 | 0.18168 | [6 empty] | -11.8035
080519Re-3 | 421-3 | UB-N | 532.7 | 0.19549 | [6 empty] | -5.1024
080519Re-4 | 421-4 | UB-N | 465.5 | 0.18682 | [6 empty] | -9.3084
080519Re-5 | 421-5 | UB-N | 521.3 | 0.1879 | [6 empty] | -8.7852
080519Re-6 | 408-15 | UB-N | 698.3 | 0.19629 | [6 empty] | -4.7153
080519Re-7 | 408-16 | UB-N | 469 | 0.19867 | [6 empty] | -3.5565
080519Re-8 | 408-17 | UB-N | 570.7 | 0.23082 | [6 empty] | 12.0472
Average UB-N |  |  |  | 0.19751 | 14.3263 | 9 | 0.206 | 0.009888 | 14 | Meisel and Moser (2004) | -4.1235 | 95.8765
190618Re-4 | 378-4 | MAG-1 | 259.8 | 3.6007 | [6 empty] | -7.9101
200818Re-3 | 378-19 | MAG-1 | 196.46 | 3.5881 | [6 empty] | -8.2321
310818Re-2 | 344-11 | MAG-1 | 526.41 | 3.58 | [6 empty] | -8.4399
140918Re-6 | 383-7 | MAG-1 | 482.9 | 3.89 | [6 empty] | -0.51151
120419Re-10 | 377-10 | MAG-1 | 172.49 | 3.5275 | [6 empty] | -9.7823
080719Re-11 | 425-10 | MAG-1 | 511.1 | 3.7246
Average MAG-1 |  |  |  | 3.6518 | 7.3197 | 6 | 3.91 |  | 1 | Meisel and Moser (2004) | -6.6027 | 93.3973
010219Re-8 | 395-8 | BHVO-2 |  | 0.65528 | [6 empty] | 20.6773
17COLRE-49 | 307-4 | BHVO-2 |  | 0.64169 | [6 empty] | 18.175
17COLRE-50 | 332-10 | BHVO-2 |  | 0.56825 | [6 empty] | 4.6497
080719Re-6 | 432-2 | BHVO-2 |  | 0.58526 | [6 empty] | 7.782
080719Re-7 | 432-3 | BHVO-2 |  | 0.5847 | [6 empty] | 7.6797
Average BHVO-2 |  |  |  | 0.60703 | 12.7666 | 5 | 0.543 | 0.029 | 6 | Jochum et al., (2016) | 11.7927 | 111.7927
17COLRE-86 | HReO4 100ppb Re 50 uL |  |  | 4.2537 |  |  | 5 |  |  |  | -14.9267 | 85.0733
010219Re15 | Re SCO |  |  | 49.7485 |  |  | 50 |  |  |  | -0.50296 | 99.497
0701Re10 | Re100ppt |  |  | 5.2548 |  |  | 5 |  |  |  | 5.096 | 105.096
150219Re-J | SCO Re |  |  | 500.7284 |  |  | 500 |  |  |  | 0.14567 | 100.1457
080219Re-I | SCO 10 ppb |  |  | 502.1517 |  |  | 500 |  |  |  | 0.43034 | 100.4303
0901Re-10 | SCO 10 ppb |  |  | 504.0329 |  |  | 500 |  |  |  | 0.80658 | 100.8066
120419Re-12 | HReO4 0.05mL of 95ppb |  |  | 231.6832 |  |  | 237.5 |  |  |  | -2.4492 | 97.5508
030719Re-10 | Re HReO4 0.053mL 95ppb |  |  | 249.9664 |  |  | 250 |  |  |  | -0.013453 | 99.9865
080719Re-15 | Re HReO4 0.053mL 95ppb |  |  | 247.0636 |  |  | 250 |  |  |  | -1.1746 | 98.8254
180719Re-15 | Re HReO4 0.053mL 95ppb |  |  | 252.7192 |  |  | 250 |  |  |  | 1.0877 | 101.0877
[11 empty] | -1.1501 | 98.8499
Results for Re concentration measurements for a wide range of SRMs