Supporting Information

for

A Spatially Addressable Combinatorial Library for the Design and Synthesis of Cysteine  Containing Peptides for the Encapsulation of CdS Nanoclusters:  Analysis of the Library Diagonal

Glen Spreitzer, Jacqueline M. Whitling, Jeffry D. Madura and David W. Wright

Department of Chemistry and Biochemistry

Duquesne University

Pittsburgh, PA  15282-1530

S-1. Schematic representation of the spatially addressable combinatorial library containing 125 7-mer peptides XCysYCysZCysGly.  X,Y, and Z are the spacer residues -Glu, glutamic acid with typical linkage, -Glu, -glutamic acid with sidechain linkage, GABA, -aminobutyric acid, SerGly, serineglycine dipeptide, or -Ahx, -aminohexanoic acid.

S-2.  HPLC and mass spectrometry of control peptide.

S-3.  HPLC and mass spectrometry of control library peptide.

S-4.  Fluorescence spectroscopy of 1-5.

S-5.  Representative methyl viologen reduction assay of 2. ---- 2 plus methyl viologen at t = 0 minutes irradiation,         2 plus methyl viologen at t = 10 minutes irradiation, …… 2 plus methyl viologen at t = 10 minutes irradiation followed by mixing.

S-6.  Tabulated data for SEC analysis of peptide/CdS aggregation reaction. Additionally, the chromatograms of all samples (S-7 to S-11) reveal species attributable to free peptide and low molecular weight peptide-(Cd2+)n complexes. The molecular weight of the nanoclusters was estimated from sodium polystyrene sulfonate standards (S-12).

S-7.  HPLC trace of ECECECG/CdS reaction mixture. Size exclusion chromatography was performed with a Waters 600 HPLC system equipped with a Waters 996 photodiode array detector and a Rheodyne injector using an Ultrahydrogel-250 size-exclusion column (Waters, 7.8 X 300 mm), variable back pressure (<100 psi), and a flow rate of 0.3 mL/min at 25 oC.  The mobile phase was 0.5 M Tris buffer + 0.075 M KCl.   20 L of reaction mixture was assayed.

S-8.  HPLC trace of eCeCeCG/CdS reaction mixture. Conditions as above.

S-9.  HPLC trace of gCgCgCG/CdS reaction mixture. Conditions as above.

S-10.  HPLC trace of SGCSGCSGCCG/CdS reaction mixture. Conditions as above.

S-11.   HPLC trace of hChChCG/CdS reaction mixture. Conditions as above.

S-12.  Molecular weight calibration curve using sodium polystyrene sulfonate  standards ( 20 L injection of 15.6-42 M standard, 0.1 M Tris, pH 8.6) having molecular weights of 4,950, 8,000, 16,600, 34,700 and 57,500, respectively.  Calibration curve data was obtained under HPLC conditions as described above.

S-13.  CdS sphere with radius of approximately 10 Å shown with a SGCSGCSGCG peptide ligand bound to the surface.

S-1.

S-2.

HPLC of control peptide, IKDFHVYG-OH (MW 978.1).  LCMS identifies the peak at 4.46 minutes as the peptide.

Ionspray mass spectrometry of control peptide run on a P&E Sciex API III in 0.1% acetic acid /60% acetonitrile

S-3.

HPLC of control peptide, hCeCSGCG (mw 770.9).  LCMS identifies the peak at 3.91 minutes as the peptide.

Ionspray mass spectrometry of control peptide run on a P&E Sciex API III in 0.1% acetic acid /60% acetonitrile.

S-4.

S-5.

S-6.

| Peptide | Rt (min) | max (nm) | Size est. Radius Å | FWHMb | M. W.c (Da) |
| --- | --- | --- | --- | --- | --- |
| ECG* | ---- | ---- | ---- | ---- | ---- |
| ### ECECECG | 23.39 ± 0.034 | 306.6 ± 1.8 | 10.46 | 2 | 30137 |
| eCeCeCG | 23.61 ± 0.014 | 320 ± 0.7 | 10.97 | 0 | 28439 |
| gCgCgCG | 24.55 ± 0.036 | 312.1 ± 0.7a | 10.66 | 7.6 | 22191 |
| SGCSGCSGCG | 24.25 ± 0.02 | 315.3 ± 0.7a | 10.79 | 18.8 | 24019 |
| hChChCG | 25.53 ±0.09 24.88 ± 0.07 | 284.1, 282.9 ± 1.7 & 319.6 ± 1.2 | 9.66, 9.62 & 10.96 | 7.1 4.8 & 5.6 | 17134 20340 |

*Not stable to HPLC SEC analysis.

a max shifted when purified by size exclusion chromatography.

b FWHM = FWHMuv-vis – FWHMhplc

c Standard deviation of + 5 % from calibration curve.

S-7.

Wavelength  (nm)

S-8.

Wavelength  (nm)

S-9.

Wavelength  (nm)

S-10.

Wavelength  (nm)

S-11.

Wavelength  (nm)

S-12.

S-13.