This journal is © 2004 The Royal Society of Chemistry

Supplementary data
Synthesis of core-shell polyurethane–urea particles containing 4,4’ –methylenedi–p–phenyl diisocyanate and isophorone diisocyanate by self-assembled neutralization emulsification
In Woo Cheong* and Jung Hyun Kim

Yonsei Center for Nanotechnology, Yonsei University, 134 Shinchon-dong, Seodaemoon-ku, Seoul 120-749, South Korea. E-mail: chiw@yonsei.ac.kr
Experimental details and characterizations of the MDI–IPDI nanoparticles
1. Molecular weight and structure analyses

The average molecular weights (
[image: image1.wmf]w

M

: weight-average and 
[image: image2.wmf]n

M

: number-average) and polydispersity index (PDI, 
[image: image3.wmf]w

M

/
[image: image4.wmf]n

M

) were measured by gel permeation chromatography (GPC) using a Waters liquid chromatograph equipped with a series of (Styragel( columns (HR1, HR4, HR5 and HR5E), isocratic HLPC pump (Waters 1515), Autosampler (Waters 717), 2410 differential refractometer (RI detector), and integrator at 40 EQ \o \al(o, C) . Tetrahydrofuran (THF) was used as an eluent at a flow rate of 1.0ml min–1 and 1.0(103 Pa pump pressure. Molecular weight calibration was carried out using polystyrene standards having molecular weight in the range from 1.024(103 to 3.9(106g mol–1. Universal calibration was done with polyurethane Mark-Houwink-Sakurada constants K = 2.9(10-4 dl g-1 and a = 0.70.27,28 UV spectrophotometer (UV–1601PC, Shimadzu Co.) with a flow cell kit was connected with GPC in serial to measure the elution time of the MDI–IPDI PU prepolymers and intermediates at 282 nm. Their chemical structures were confirmed by using 1H– and 13C–NMR (in DMSO, AMX–500, Brucker Co.) and FT–IR at 25 EQ \o \al(o, C) .
2. Crystalline analysis

X–ray diffraction patterns in medium–wide angle (WAXD) of the cast films were obtained using a X–ray diffractometer (D/MAX–2500, Rigaku Denki Co.) with filtered CuK radiation of wave length, 1.5404 EQ \o \ac(o,A) . The 2–scanning rate was 4°min–1 ranging from 5 to 60°. Differential scanning calorimeter (DSC Q10, TA Instruments) was used to examine the melting temperature variation with MDI content. Heating rate was 5 EQ \o \al(o, C) min–1 under N2 purge of 20ml min–1. The sample size was ca. 10 mg in a sealed aluminum pan. DSC data was obtained at a temperature range from –80 to 200 EQ \o \al(o, C) .
3. Particle morphology analysis

The average particle size and –potential of the WPUU nanoparticles were measured using dynamic light scattering method (BI–particle sizer ZPA, Brookhaven Inst. Co.) at room temperature. All samples were diluted with DI water and re–dispersed by sonicator (Ultrasonic Processor, VCX–500, Watt, Sonics & Materials, Inc.) with a micro–tip at 20 % power. Morphology of the WPUU nanoparticles was observed by transmission electron microscopy (TEM, Philips CM200, Philips Electronics) with ultra-thin microtoming technique. 0.1 g latex (22% solid content) was mixed with the 3g epoxy resin (YD128, Kukdo Chem, Korea) and 0.3g curing agent using 5mm diameter cylindrical mold. After hardening, cross-linked epoxy samples were ultramicrotomed with 60nm thickness. Slices of the sample were mounted onto the carbon–coated TEM grids and positively stained with RuO4 vapor. For better contrast, the samples were dipped into 4% phosphotungstic acid solution and dried at room temperature before measuring.

3. Example of 1H- and 13C- NMR spectra of core-shell sample (B)

	Name
	Chemical structure
	Assignment

	
	
	H and C species
	Chemical shift

(ppm)

	Isophorone diisocyanate (IPDI)
	
[image: image5.wmf]N

N

H

H

O

O

O

O

1

2

3

4

5

6

7

8

9

10

11

12


	1Ha
2Hb
3H

5-7H

8,9,11H

10H

1Ca
2Cb
3C

4, 12C

5-7C

8,9,11C

10C
	5.4-6.0 (trans)

6.8-7.2 (cis)

6.8-7.2

2.72

1.4-1.9

0.9-1.2

3.2-3.842
155.8

157.5

56.1

N/Ac
42-49

22-27

36.2

	Poly(tetramet-hylene adipate glycol) (PTMA)
	
[image: image6.wmf]O

O

O

O

n

 

O

O

N

N

O

O

H

H

13

14

16

13

14

14

15

16

17

17

15


	13H

14H

16H

17H

13C

14C

15C

16C

17C
	4.02

1.52

2.29

1.61

63.2

24.7

172.6

33.1

23.8 

	Dimethylol propionic acid (DMPA, neutralized with TEA)
	
[image: image7.wmf]O

O

O

O

19

18

(CH

2

CH

3

)

3

N

+

18

20

21

22

23


	18H

19H

22H

23H

18C

19C

20C

21C

22C

23C
	4.11

1.09

N/Ac
N/Ac
65.5

17.4

N/Ac
174.3

N/Ac
N/Ac

	Ethylene diamine (EDA)
	
[image: image8.wmf]N

H

N

H

O

N

H

N

H

O

24

25

26

27

27


	24, 26H

27H

25C

27C
	N/Ac
2.99

N/Ac
N/Ac

	4,4’–methylenedi–p–phenyl diisocyanate (MDI)
	
[image: image9.wmf]N

H

N

H

O

O

O

O

28

29

33

28

29

30

30

30

30

31

31

31

31

32

32


	28Hd
30H

31H

33H

28Cd
29C

30C

31C

32C

33C
	8.03

7.34

7.07

3.78

153.3

135.5

118.3

128.8

137.1

N/Ac


a Primary urethane bond of IPDI; b secondary urethane bond of IPDI; c not available due to weak intensity; d urethane bond of MDI

4. FT-IR spectra of the samples (A,B, and C)

FT–IR spectra of the pure IPDI and MDI 50 WPUU samples (KBr, cm–1): (a) free N–H at 3450, (b) hydrogen bonded N–H at 3370–3340, (c) free and hydrogen bonded C=O in urethane or urea at 1740–1645, (d) C–C stretching in phenyl at 1599, (e) C–N stretching–N–H bending at 1533, (f) CH OOP bending in phenyl at 818, and (g) CH OOP bending in phenyl at 513.
[image: image10.png]Transmittance (-)

02

—— (A Homogeneous
—— (B) Core-shell
—— (C) Inverted core-shel

00

4000

3000 2000 1000
Wave number (cm'w)










_1134890730.unknown

_1144417210

_1144417257

_1144417278

_1144417171

_1144417182

_1134890728.unknown

_1134890729.unknown

_1134890727.unknown

