{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":25,"n_cols":10,"rows_kept":25,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,null,null,"Supplementary Material (ESI) for Chemical Communications"]
[null,null,null,"This journal is (c) The Royal Society of Chemistry 2009"]
[]
["ESI for Itoh et al., Chem. Commun., 2010, DOI: 10.1039/b917056a"]
[]
["ICP Analytical Result"]
[]
["Measurement result by the standard addition method　　　　　　　　　　　　　     （Unit：ppm）"]
[null,"Al","Ag","B","Ba","Co","Cd","Cr","Cu","Fe"]
["Analysis Result","ND",0.006,"ND","ND","ND","ND","ND",0.011,0.005]
["Detection limit",0.005,0.0006,0.003,0.0002,0.02,0.0001,0.0005,0.0005,0.002]
[null,"Sr","Ca","Mg","Ti","V","Mn","Au","Y","Li"]
["Analysis Result",0.0007,0.001,0.001,"ND","ND",0.0015,0.025,0.0005,"ND"]
["Detection limit",3e-05,0.0002,0.0002,6e-05,0.001,8e-05,0.002,0.0003,0.002]
[null,"Ni","Zn","Mo","Pb","In","P","S","Ga","Si"]
["Analysis Result","ND",0.073,0.082,0.13,"ND","ND",0.42,0.06,"ND"]
["Detection limit",0.006,0.004,0.006,0.04,0.006,0.01,0.004,0.01,0.005]
[null,"ND: not detected"]
[]
["detection limit",null,"not detected elements"]
["<0.01ppm",null,"Be、Sc、Zr、La、Eu、Dy、Ho、Er、Yb、Lu、Tm"]
["0.01～0.1ppm",null,"Nb、Hf、Ta、W、Re、Ru、Rh、Pd、Os、Ir、Pt、Hg、Tl、Ge、Sn、As、Sb、Bi、Se,Te"]
[null,null,"Ce、Pｒ、Nd、Sm、Gd、Tb、Tm、Th　"]
["0.1～1ppm",null,"K、U、I"]
[">1ppm",null,"Rb、Cs、Br"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}