## Sheet1
Valve status (see schematic Figure S1 for reference)
Step | Operation | Media flow (ul/hr) | Time (min) | Inlet | C1 | C2 | C3 | D2 | B1 | B2 | B3 | B4 | A1 | A2 | A3 | A4 | C4
1 | Ethanol wash | 1500 | 3 | Media | Closed | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
2 | Ethanol wash | 1500 | 15 | Media | Closed | Open | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
3 | Ethanol wash | 1500 | 15 | Media | Open | Closed | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
4 | PBS wash | 1500 | 3 | Media | Closed | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
5 | PBS wash | 1500 | 15 | Media | Closed | Open | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
6 | PBS wash | 1500 | 15 | Media | Open | Closed | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
7 | Media wash | 1500 | 3 | Media | Closed | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
8 | Media wash | 1500 | 15 | Media | Closed | Open | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
9 | Media wash | 1500 | 15 | Media | Open | Closed | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
10 | Bead Inject | 100 | 5 | Beads | Open | Closed | Open | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Closed
11 | Media perfusion | 200 | Until bead removal | Media | Open | Closed | Closed | Open | Open | Open | Open | Open | Open | Open | Open | Open | Closed
12 | Bead removal (e.g position 16) | 200 | 3 | Media | Closed | Open | Closed | Open | Open | Closed | Open | Closed | Closed | Open | Closed | Open | Closed