{"text_format":"2","workbook":"xls","n_sheets":1,"sheets":["sheet1"],"not_rendered":{"charts":0,"images":0,"macros":1,"external_links":1,"defined_names":123,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"sheet1","index":0,"n_rows":29,"n_cols":17,"rows_kept":29,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Table S5 Zr isotopic results of 91500 corrected by DTCA-X"]
["Sample","Date","IP (nA)","90Zr (cps)","94Zr (cps)","94Zr/90Zr ratio","2σ","Raw δ94Zr","δ94Zr (‰, IPGP-Zr)","2σ","δ94Zr (‰, IPGP-Zr) corrected by DTCA-X","2σ","X (µm)","Y (µm)","DTFA-X","DTFA-Y","DTCA-X"]
["91500@01","2021-02-24T03:17:00",31.780970000000003,312170800,100172600,0.3208905,0.003250982,-50.0311849252012,-0.08153294804572084,0.03250982,-0.017632948045720805,0.03250982,10,-29,33,-8,-9]
["91500@02","2021-02-24T03:22:00",31.807420000000004,311514900,99958770,0.3208765,0.003124124,-50.072630724971255,-0.1229787478157732,0.031241239999999997,-0.09407874781577319,0.031241239999999997,-190,-29,31,-9,-7]
["91500@03","2021-02-24T03:26:00",31.82924,311038100,99810060,0.32089,0.003835036,-50.032665132336064,-0.08301315518058203,0.03835036,-0.08911315518058202,0.03835036,-390,-29,26,-7,-5]
["91500@04","2021-02-24T03:30:00",31.58094,307316300,98615270,0.3208884,0.00221046,-50.0374017951668,-0.08774981801131929,0.022104600000000002,-0.09384981801131928,0.022104600000000002,-590,-29,28,-6,-5]
["91500@05","2021-02-24T03:34:00",31.199170000000002,306820300,98456560,0.3208932,0.003539092,-50.02319180667425,-0.07353982951876645,0.03539092,-0.07963982951876644,0.03539092,-790,-29,28,-5,-5]
["91500@06","2021-02-24T03:38:00",31.229210000000002,310103100,99519280,0.3209231,0.003473478,-49.93467542002294,0.014976557132540334,0.03473478,0.008876557132540347,0.03473478,-990,-29,25,-6,-5]
["91500@07","2021-02-24T03:43:00",31.58367,312251400,100208300,0.320922,0.004067182,-49.937931875719265,0.011720101436216622,0.04067182,-0.04687989856378337,0.04067182,-1190,-29,22,-9,-2]
["91500@08","2021-02-24T03:47:00",31.65776,310871600,99764580,0.3209201,0.003341532,-49.9435566628309,0.006095314324581123,0.03341532,-0.05250468567541887,0.03341532,-990,171,23,-9,-2]
["91500@09","2021-02-24T03:51:00",31.42987,313293900,100551900,0.3209551,0.002526678,-49.83994216340615,0.10970981374933189,0.025266780000000003,0.0511098137493319,0.025266780000000003,-790,171,24,-7,-2]
["91500@10","2021-02-24T03:55:00",31.730279999999997,312983300,100446300,0.3209292,0.002865664,-49.916616892980436,0.03303508417504588,0.02865664,-0.025564915824954113,0.02865664,-590,171,25,-7,-2]
["91500@11","2021-02-24T04:00:00",31.70204,313420300,100581200,0.3209114,0.003580844,-49.969312266973546,-0.019660289818064315,0.035808440000000004,-0.043260289818064304,0.035808440000000004,-390,171,26,-8,-4]
["91500@12","2021-02-24T04:04:00",31.79545,312357200,100236900,0.3209046,0.00300376,-49.98944308400455,-0.03979110684906715,0.030037599999999998,-0.010891106849067134,0.030037599999999998,-190,171,29,-9,-7]
["91500@13","2021-02-24T04:08:00",31.686080000000004,312889800,100405900,0.3209024,0.00338166,-49.99595599539697,-0.0463040182414872,0.0338166,-0.034904018241487186,0.0338166,10,171,32,-8,-6]
["91500@14","2021-02-24T04:12:00",31.853420000000003,314530700,100929700,0.3208897,0.00303122,-50.033553256616734,-0.08390127946125289,0.030312199999999997,-0.02000127946125286,0.030312199999999997,10,371,34,-10,-9]
["91500@15","2021-02-24T04:16:00",31.93579,311990300,100113000,0.3208895,0.003029856,-50.034145339470705,-0.08449336231522295,0.030298560000000002,-0.020593362315222914,0.030298560000000002,-190,371,31,-10,-9]
["91500@16","2021-02-24T04:21:00",31.768530000000002,311031000,99827360,0.3209145,0.0016908814,-49.960134982738765,-0.010483005583283501,0.016908813999999998,0.018416994416716514,0.016908813999999998,-390,371,30,-8,-7]
["91500@17","2021-02-24T04:25:00",31.549960000000002,308433200,98980730,0.3209145,0.004578922,-49.960134982738765,-0.010483005583283501,0.04578922,0.0009169944167165128,0.04578922,-590,371,29,-9,-6]
["91500@18","2021-02-24T04:29:00",31.426119999999997,313055100,100464000,0.3209181,0.003011858,-49.94947749136935,0.00017448578613112747,0.03011858,-0.04092551421386886,0.03011858,-790,371,25,-9,-3]
["91500@19","2021-02-24T04:33:00",31.661670000000004,315292000,101190000,0.3209405,0.003120692,-49.88316421173755,0.0664877654179307,0.03120692,0.042887765417930705,0.03120692,-990,371,23,-11,-4]
["91500@20","2021-02-24T04:37:00",31.840429999999998,314241000,100846200,0.3209199,0.003183016,-49.94414874568476,0.005503231470724755,0.031830159999999996,-0.05309676852927524,0.031830159999999996,-790,571,23,-13,-2]
["91500@21","2021-02-24T04:42:00",31.66988,314214000,100845600,0.3209483,0.003138898,-49.86007298043715,0.08957899671832906,0.031388980000000004,0.06597899671832907,0.031388980000000004,-590,571,27,-10,-4]
["91500@22","2021-02-24T04:46:00",31.7658,314280300,100858200,0.3209152,0.003242086,-49.958062692750275,-0.008410715594793318,0.032420859999999996,-0.03201071559479331,0.032420859999999996,-390,571,29,-10,-4]
["91500@23","2021-02-24T04:50:00",31.763530000000003,312973200,100437000,0.3209124,0.00406639,-49.966351852704264,-0.016699875548782474,0.040663899999999996,0.012200124451217542,0.040663899999999996,-190,571,32,-10,-7]
["91500@24","2021-02-24T04:54:00",31.76126,313831400,100704800,0.3208881,0.003134032,-50.0382899194477,-0.08863794229221753,0.031340320000000005,-0.04223794229221751,0.031340320000000005,-190,771,34,-12,-8]
["91500@25","2021-02-24T04:58:00",31.718,306992500,98513990,0.3208978,0.002709356,-50.00957390103555,-0.059921923880069984,0.02709356,-0.013521923880069966,0.02709356,-390,771,33,-12,-8]
["91500@26","2021-02-24T05:03:00",31.16373,304278300,97645790,0.3209094,0.004090064,-49.975233095511996,-0.02558111835651431,0.04090064,-0.0316811183565143,0.04090064,-590,771,31,-10,-5]
["91500@27","2021-02-24T05:07:00",30.95485,305352300,97985940,0.3208947,0.003018464,-50.018751185270546,-0.06909920811506395,0.030184640000000002,-0.04019920811506394,0.030184640000000002,-390,971,35,-12,-7]