{"text_format":"2","workbook":"xls","n_sheets":5,"sheets":["Table S1","Table S2","Table S3","Table S4","Table S5"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Table S1","index":0,"n_rows":181,"n_cols":8,"rows_kept":181,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Table S1 Fe isotopic composition of geological reference materials"]
["Rock Name","Rock Type","Reference","Instrument","Method","δ56Fe","2SD","n"]
["JMC Fe",null,"This study","Nu Sapphire","SSB",0.4112357252683387,0.04224565415440654,6]
[null,null,null,"Nu Sapphire","SSB",0.4147636012722364,0.010941898339040102,5]
[null,null,null,"Nu Sapphire","SSB",0.3955979143557174,0.04582950900534389,4]
[null,null,null,"Nu Sapphire","SSB",0.4197744817987361,0.034281985099815615,6]
[null,null,null,"Nu Sapphire","SSB",0.39322442206548713,0.011966377677416682,4]
[null,null,null,"Nu Sapphire","SSB",0.4114457920243328,0.019189217197721594,3]
[null,null,null,"Nu Sapphire","SSB",0.4391049721685697,0.0411373678461132,3]
[null,null,null,"Nu Sapphire","SSB",0.4315069177440696,0.05190058795962465,6]
[null,null,null,"Nu Sapphire","SSB",0.4437675653471357,0.046051951407788956,4]
[null,null,null,"Nu Sapphire","SSB",0.4031333933100982,0.04011099354067822,4]
[null,null,null,"Nu Sapphire","SSB",0.41657251815887986,0.021483316460461324,5]
[null,null,null,"Nu Sapphire","SSB",0.4186334415365555,0.019214457826140518,5]
[null,null,"Average (M = 12)",null,null,0.41656339542084636,0.031383445989437445,"55a"]
["IGGCAS-Fe",null,null,"Nu Sapphire","SSB",0.67975424074896,0.018487015125313293,4]
[null,null,null,"Nu Sapphire","SSB",0.6600380921058138,0.026708417590422688,4]
[null,null,null,"Nu Sapphire","SSB",0.64544152281974,0.032531139976386514,4]
[null,null,null,"Nu Sapphire","SSB",0.6485312160844587,0.026082374139280416,4]
[null,null,null,"Nu Sapphire","SSB",0.656377521750487,0.017233587000878958,4]
[null,null,"Average (M = 5)",null,null,0.6580285187018919,0.02697039853265371,"20a"]
["XTC","Chalcopyrite","Independent digestion 1","Nu Sapphire","SSB",0.12601483974183122,0.04410223150648352,3]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.14066994486488937,0.02025607180675368,3]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.11372292395648466,0.02500903892387766,4]
[null,null,"Average (M = 3)",null,null,0.12680256952106841,0.026981539808789493,"10a"]
["BCR-2","Basalt","Independent digestion 1","Nu Sapphire","SSB",0.10574049784320205,0.058616227825162036,3]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.09310362759800526,0.022231507260078862,4]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.1058275188355469,0.00963742309230502,3]
[null,null,"Independent digestion 4","Nu Sapphire","SSB",0.08423410701863482,0.00852287796874955,4]
[null,null,"Independent digestion 6","Nu Sapphire","SSB",0.07611216684429581,0.014071444430896115,3]
[null,null,"Independent digestion 5","Nu Sapphire","SSB",0.08130732457818238,0.026635694760596695,4]
[null,null,"Independent digestion 6","Nu Sapphire","SSB",0.0898471571480161,0.022003942285230407,5]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.12229598147130842,0.018408522278745055,4]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.10005422960789033,0.007320837195950742,3]
[null,null,"Independent digestion 4","Nu Sapphire","SSB",0.12014655274390856,0.045312707123286985,3]
[null,null,"Average (M = 10)",null,null,0.09786691636889906,0.03157818086844338,"36a"]
[null,null,"Dauphas and Rouxel (2006)","IsoProbe","SSB(cc)",0.054,0.077]
[null,null,"Weyer et al. (2005)","Thermo Scientific \nNeptune","SSB",0.079,0.043]
[null,null,"Dauphas et al. (2009)","Thermo Scientific \nNeptune","SSB",0.091,0.025]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.091,0.0315]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.107,0.025]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.08,0.024]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.084,0.029]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","SSB",0.088,0.019]
[null,null,"Chen et al. (2022)","Thermo Fisher Neptune plus","SSB",0.09,0.03]
[null,null,"Dideriksen et al. (2006)","Thermo elemental AXIOM","Double spike",0.03,0.06]
[null,null,"Millet et al. (2012)","Nu Plasma","Double spike",0.098,0.025]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","Double spike",0.081,0.041]
[null,null,"Oeser et al. (2014)","Thermo Scientific Neptune","Cu doping",0.091,0.037]
[null,null,"Oeser et al. (2014)","Thermo Scientific Neptune","Ni doping",0.085,0.031]
[null,null,"Chen et al. (2017)","Nu Plasma 1700","Ni doping",0.09,0.021]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","Ni doping",0.079,0.045]
["BHVO-2","Basalt","Independent digestion 1","Nu Sapphire","SSB",0.13888400492291192,0.02534436079382581,3]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.1319410544628457,0.005090722795144125,3]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.13672880613211874,0.0198365318507394,4]
[null,null,"Average (M = 3)",null,null,0.1358512885059588,0.00710736749040021,"10a"]
[null,null,"Chen et al. (2022)","Thermo Fisher Neptune plus","SSB",0.1,0.05]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.114,0.04125]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.121,0.049]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.112,0.021]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.109,0.028]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","SSB",0.115,0.031]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","Double spike",0.122,0.039]
[null,null,"Millet et al. (2012)","Nu Plasma","Double spike",0.128,0.019]
[null,null,"Dideriksen et al. (2006)","Thermoelemental AXIOM","Double spike",-0.03,0.046]
[null,null,"Oeser et al. (2014)","Thermo Scientific Neptune","Cu doping",0.1,0.043]
[null,null,"Oeser et al. (2014)","Thermo Scientific Neptune","Ni doping",0.099,0.036]
[null,null,"Chen et al. (2017)","Nu Plasma 1700","Ni doping",0.102,0.026]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","Ni doping",0.119,0.05]
["BIR-1","Basalt","Independent digestion 1","Nu Sapphire","SSB",0.11142453471317716,0.02521340875065508,6]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.08607693011847331,0.03433246954962107,4]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.08725666278776782,0.030988778942600936,4]
[null,null,"Independent digestion 4","Nu Sapphire","SSB",0.07097593049890655,0.020000650749122093,4]
[null,null,"Average (M = 4)",null,null,0.08893351452958122,0.03345230872709101,"18a"]
[null,null,"Weyer et al. (2005)","Thermo Scientific \nNeptune","SSB",0.055,0.036]
[null,null,"Oeser et al. (2014)","Thermo Scientific Neptune","Ni doping",0.048,0.032]
[null,null,"Oeser et al. (2014)","Thermo Scientific Neptune","Cu doping",0.051,0.038]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.078,0.027]
[null,null,"Dideriksen et al. (2006)","Thermoelemental AXIOM","Double spike",0.12,0.06]
[null,null,"Millet et al. (2012)","Nu Plasma","Double spike",0.05,0.014]
["GSR-3","Basalt","Independent digestion 1","Nu Sapphire","SSB",0.16976953567486175,0.017904114537021034,3]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.154,0.043333333333333335]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.146,0.035]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.159,0.017]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.171,0.027]
[null,null,"Chen et al. (2017)","Thermo Fisher Neptune plus","SSB",0.153,0.025]
[null,null,"Tang et al. (2012)","Nu Plasma","SSB",0.126,0.039]
[null,null,"Chen et al. (2022)","Nu Plasma 1700","Ni doping",0.15,0.02]
["JB-1b","Basalt","Independent digestion 1","Nu Sapphire","SSB",0.09419935556866439,0.019644877073068126,4]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.095,0.054]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.099,0.066]
["W-2","Diabase","Independent digestion 1","Nu Sapphire","SSB",0.04724803267697442,0.023401251437226062,4]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.042313832823111026,0.041737399852044124,3]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.059880576749496886,0.039209054893235236,4]
[null,null,"Average (M = 3)",null,null,0.04981414741652745,0.018120301508111503,"11a"]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.056,0.03166666666666667]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.036,0.053]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.053,0.025]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.054,0.038]
["GSR-10","Gabbro","Independent digestion 1","Nu Sapphire","SSB",0.06960740680180313,0.0294833531016278,3]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.083,0.04633333333333334]
["PM-S","Microgabbro","Independent digestion 1","Nu Sapphire","SSB",0.10359759533112955,0.023295984029662004,4]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.048,0.03166666666666667]
["AGV-2","Andesite","Independent digestion 1","Nu Sapphire","SSB",0.09335215681961677,0.02176575342299505,5]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.12034911533869143,0.03369398415334132,4]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.1303705719209174,0.029872787379926623,3]
[null,null,"Independent digestion 4","Nu Sapphire","SSB",0.11669722365371729,0.03398650813103933,4]
[null,null,"Average (M = 4)",null,null,0.11519226693323573,0.03133112046685547,"16a"]
[null,null,"Dauphas and Rouxel (2006)","IsoProbe","SSB(cc)",0.112,0.081]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.105,0.030285714285714284]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.106,0.036]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.102,0.022]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.096,0.027]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","SSB",0.109,0.01]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","Ni doping",0.122,0.027]
[null,null,"Chen et al. (2017)","Nu Plasma 1700","Ni doping",0.102,0.024]
[null,null,"Dideriksen et al. (2006)","Thermoelemental AXIOM","Double spike",0.13,0.038]
[null,null,"Millet et al. (2012)","Nu Plasma","Double spike",0.108,0.03]
["GSR-2","Andesite","Independent digestion 1","Nu Sapphire","SSB",0.08970457294835239,0.02563410480495473,4]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.095,0.04566666666666667]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.091,0.016]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.089,0.03]
[null,null,"Chen et al. (2017)","Nu Plasma 1700","Ni doping",0.081,0.051]
["DR-N","Diorite","Independent digestion 1","Nu Sapphire","SSB",0.04945516985467466,0.02896245111249995,4]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.076,0.0346]
["GSR-9","Diorite","Independent digestion 1","Nu Sapphire","SSB",0.09680433342236193,0.022153918331972746,3]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.099,0.043000000000000003]
["GSR-7","Syenite","Independent digestion 1","Nu Sapphire","SSB",0.08593402725860474,0.02197581040492344,3]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.181,0.0485]
["GSR-8","Trachyte","Independent digestion 1","Nu Sapphire","SSB",0.034520703002482875,0.013017325115978447,4]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.052,0.048]
["GSP-2","Granodiorite","Independent digestion 1","Nu Sapphire","SSB",0.17093142316447707,0.007725052426674127,4]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.159,0.0305]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.173,0.031]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.164,0.06]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.154,0.012]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.157,0.025]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","SSB",0.158,0.023]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","Double spike",0.154,0.06]
[null,null,"Zhu et al. (2018)","Thermo Fisher Neptune plus","Ni doping",0.149,0.03]
[null,null,"Chen et al. (2017)","Nu Plasma 1700","Ni doping",0.163,0.034]
["GSR-11","Rhyolite","Independent digestion 1","Nu Sapphire","SSB",0.018515215639214395,0.011039087884366706,4]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.042,0.05033333333333334]
["GSR-1","Granite","Independent digestion 1","Nu Sapphire","SSB",0.15108513510083194,0.033294295916256274,3]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.17300708139573592,0.02756390993863893,3]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.17911887111751346,0.015466781408816,4]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.1356262639455629,0.024945432109841664,4]
[null,null,"Independent digestion 4","Nu Sapphire","SSB",0.1580971261517188,0.03853691047665476,4]
[null,null,"Independent digestion 4","Nu Sapphire","SSB",0.13931908919569963,0.032275959439075484,3]
[null,null,"Average (M = 6)",null,null,0.156042261151177,0.035163709070235256,"21a"]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.17,0.044750000000000005]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.156,0.021]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.148,0.047]
[null,null,"Chen et al. (2022)","Nu Plasma 1700","Ni doping",0.17,0.03]
[null,null,"Chen et al. (2017)","Thermo Fisher Neptune plus","SSB",0.16,0.066]
["GSR-4","Sandstone","Independent digestion 1","Nu Sapphire","SSB",0.3779452139907202,0.02281318288537585,4]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.384,0.033]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.383,0.049]
["GSR-5","Shale powder","Independent digestion 1","Nu Sapphire","SSB",0.15870645525783397,0.00873462084325696,3]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.136,0.015]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.142,0.02]
["GSR-6","Carbonate","Independent digestion 1","Nu Sapphire","SSB",0.09727665401511108,0.010525699819963817,4]
[null,null,"Independent digestion 1","Nu Sapphire","SSB",0.11947593516556887,0.023597674986145668,4]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.10693342951345321,0.020096887492976404,4]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.08842081240896908,0.042531131917535284,3]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.1005526301166025,0.015475477160636155,4]
[null,null,"Average (M = 5)",null,null,0.10253189224394095,0.02317610196698961,"19a"]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.096,0.03]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.099,0.033]
["GSR-15","Hornblendite","Independent digestion 1","Nu Sapphire","SSB",0.06634655801863983,0.022691727900365218,3]
[null,null,"Independent digestion 2","Nu Sapphire","SSB",0.047595423394588,0.027554247763455768,4]
[null,null,"Independent digestion 3","Nu Sapphire","SSB",0.04737106121379605,0.0197259685941165,4]
[null,null,"Average (M = 3)",null,null,0.053771014209007956,0.02178263631225764,"11a"]
[null,null,"Craddock and Dauphas (2011)","Thermo Scientific Neptune","SSB",0.043,0.050499999999999996]
[null,null,"Liu et al. (2014)","Thermo Fisher Neptune plus","SSB",0.069,0.02]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.057,0.009]
[null,null,"He et al. (2015)","Thermo Fisher Neptune plus","SSB",0.054,0.014]
["n is the times of repeat measurements of the same solution"]
["M is the times of independent digestions of the same reference material powder."]
["2SD = 2 times the standard deviation of n repeat measurements"]
["a The total number of repeated runs of the same sample, including different digestions."]

{"sheet":"Table S2","index":1,"n_rows":13,"n_cols":4,"rows_kept":13,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Table S2 Acidity match tests on Fe isotopic composition of IGGCAS-Fe"]
["Rock Name","HNO3 (%, V/V)","δ56Fe","2SD"]
["IGGCAS-Fe",0.2,0.9555036325611018,0.02198628960428649]
[null,0.5,0.8379875515098038,0.03220783189912559]
[null,1,0.5314793689090713,0.025586863801179176]
[null,1.5,0.24971377725435673,0.026198822968086528]
[null,2,0.0015069558667035743,0.023634770795397553]
[null,2.1,-0.07014783537270808,0.027849289877749872]
[null,2.1999999999999997,-0.1752117076340524,0.03138933855665873]
[null,2.5,-0.3831791498238868,0.02427707818656843]
[null,3,-0.6138568948737358,0.020410379121474566]
[null,4,-1.2024483680914317,0.03514747938613627]
[null,5,-1.9890999256075848,0.04860762353043184]

{"sheet":"Table S3","index":2,"n_rows":13,"n_cols":4,"rows_kept":13,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Table S3 Intensity match tests on Fe isotopic composition of IGGCAS-Fe"]
["Rock Name","Csample/Cstandard","δ56Fe","2SD"]
["IGGCAS-Fe",0.7,-0.6156100972568856,0.008186110771310769]
[null,0.8,-0.2948081669451319,0.03344107856029167]
[null,0.9,-0.20792375251244,0.01459497606089839]
[null,0.95,-0.058183511278342426,0.021313319269894895]
[null,0.98,-0.05764844645614331,0.014570936692291151]
[null,1,0.004220635481028134,0.024727217695389436]
[null,1.05,0.013865982196714643,0.020229843071525744]
[null,1.1,0.07656461407753075,0.019922069819597776]
[null,1.2,0.13903879138021935,0.01676130103888833]
[null,1.3,0.22889375263993963,0.025722498856051264]
[null,1.5,0.3427406278138645,0.034188198148208435]

{"sheet":"Table S4","index":3,"n_rows":84,"n_cols":5,"rows_kept":84,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Table S4 Element interference tests on Fe isotopic composition of IGGCAS-Fe"]
["Rock Name","Doping elements","Matrix elements/Fe","δ56Fe","2SD"]
["IGGCAS-Fe","Na",0.001,-0.019788755271051468,0.00410221996651481]
[null,null,0.01,0.004370016089716433,0.02300231047786876]
[null,null,0.1,0.018384765809805376,0.015450987890567947]
[null,null,0.5,-0.15643551233754383,0.020340025502187203]
[null,null,1,-0.23776603283265363,0.022590369909162387]
[null,null,2,-0.3424198755673513,0.04421859648598485]
[null,null,5,-0.6034090900464509,0.04885253384963248]
[null,null,10,0.13540213342196536,0.034346269195394574]
[null,null,20,0.43248252654063774,0.04993273618239092]
[]
["IGGCAS-Fe","Mg",0.001,-0.005581006318727821,0.02782703311325304]
[null,null,0.01,0.014255381638877962,0.05375422935650311]
[null,null,0.1,-0.0058078062057098645,0.040883779651392865]
[null,null,0.5,-0.22596073057945532,0.037091170217978794]
[null,null,1,0.06677166617863328,0.02631537277781833]
[null,null,2,0.10417137601193005,0.043625939731027776]
[null,null,5,0.264789816894373,0.036813981832544376]
[null,null,10,0.33980122151477943,0.03835953174409332]
[null,null,20,0.5510315073595784,0.02601341938660155]
[]
["IGGCAS-Fe","Al",0.001,-0.018404704793417714,0.042339141118088876]
[null,null,0.01,-0.023867826730472608,0.008547114171930078]
[null,null,0.1,0.016589303296399294,0.023887514334400988]
[null,null,0.3,0.030931008417001138,0.004689123901958351]
[null,null,0.5,0.018499401680897403,0.009693193485819701]
[null,null,1,-0.013120880173800309,0.016070397426664128]
[null,null,2,-0.2050662161066641,0.04012912654571743]
[]
["IGGCAS-Fe","K",0.001,-0.001605481691813182,0.027799709453696055]
[null,null,0.01,0.011291277383751464,0.01005736884915061]
[null,null,0.1,0.017610024310887873,0.008940416811443228]
[null,null,0.3,0.008202905287663098,0.03913145319515702]
[null,null,0.5,-0.05470865824186433,0.04202459245190704]
[null,null,1,-0.07597625363042759,0.045872262287542744]
[null,null,2,-0.10868152828985567,0.02172222667771182]
[]
["IGGCAS-Fe","Ca",0.001,-0.01607028088312923,0.03074372130780586]
[null,null,0.01,0.01657540786093037,0.0017053059762180867]
[null,null,0.1,0.0048324078589049675,0.04657723185189692]
[null,null,0.3,0.08332277188832782,0.008827779913297893]
[null,null,0.5,0.09038270594580178,0.018980258307925522]
[null,null,1,0.1218365782478803,0.02170104267287281]
[null,null,2,0.23096681966505717,0.02988510079940315]
[]
["IGGCAS-Fe","Ti",0.001,0.023370630616192933,0.003838396531693561]
[null,null,0.01,0.015081141598353534,0.01599288991537211]
[null,null,0.1,-0.018802504892797185,0.008191149856882412]
[null,null,0.5,-0.08503065001175258,0.043516335173826595]
[null,null,1,-0.11875161446148197,0.024901073193629584]
[null,null,2,-0.4041017018644455,0.016500379914752717]
[null,null,5,-0.4925522172325447,0.012378469378430212]
[null,null,10,-1.39663330566403,0.005969760076686856]
[null,null,20,-1.5809954751699884,0.04272168074436343]
[]
["IGGCAS-Fe","Co",0.001,0.014468976031745129,0.029271362787484784]
[null,null,0.01,-0.03442576007994802,0.020200105543606683]
[null,null,0.1,-0.015967976854288263,0.02257830207580783]
[null,null,1,0.002307884036027256,0.03763244935793567]
[null,null,2,-0.013351145358534803,0.013817991674588262]
[null,null,10,-0.065667489472232,0.03561115958457694]
[]
["IGGCAS-Fe","Ni",0.001,-0.01618751391319062,0.03489197386927602]
[null,null,0.01,-0.018710611461377386,0.02414269406518049]
[null,null,0.1,-0.02011847803906619,0.035590968593532446]
[null,null,0.3,-0.04426212796393436,0.04909018194727045]
[null,null,0.5,-0.08667691088363554,0.009752997835978034]
[null,null,1,-0.2007581623046558,0.026753320509821193]
[null,null,2,-0.3856532196832389,0.03223328656599296]
[]
["IGGCAS-Fe","Cu",0.001,-0.014446493273571429,0.026791543606004442]
[null,null,0.01,0.01699946961974952,0.023403339056423215]
[null,null,0.1,0.008742869456771865,0.025345892189027604]
[null,null,1,-0.00020691914626169705,0.041589406368936176]
[null,null,2,-0.10360561158377173,0.025341997011045708]
[null,null,10,-0.11602334581380565,0.013747521051963859]
[]
["IGGCAS-Fe","Zn",0.001,-0.00822025404438135,0.02172289375323783]
[null,null,0.01,0.0003006542012018443,0.03250862201036798]
[null,null,0.1,-0.011426185818027198,0.02656296744949813]
[null,null,1,0.007417807871242428,0.016854849905334087]
[null,null,2,-0.004360597229247087,0.007229951497118061]
[null,null,10,-0.07427702640455669,0.027312027138134423]

{"sheet":"Table S5","index":4,"n_rows":11,"n_cols":4,"rows_kept":11,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Table S5 Sensitivity tests on Fe isotopic composition of IGGCAS-Fe"]
["Rock Name","Concentration (ppb)","δ56Fe","2SD"]
["IGGCAS-Fe",45,0.00045178750598950934,0.02316812043564534]
[null,40,-0.008591260582696547,0.029790952663494748]
[null,30,-0.003316114416803314,0.0288463019484512]
[null,25,0.005050594129363262,0.021884266330280684]
[null,15,0.008452593609487025,0.02668187193514411]
[null,12.5,0.0036981077057851586,0.019898220899560434]
[null,10,0.02408786548352415,0.02866807978282575]
[null,7.5,0.013320452932896742,0.05171099166927395]
[null,5,-0.024360574564619153,0.04399196452524743]