## target
Identified PFAS | Matrix | Sampling | Extraction methods | Analysis instrument | Detection limit (LOD/LOQ/MDL/MQL) | QA/QC | Reported concentration levels | References
PFHxS, PFOS, PFDS, PFOA, fluorinated alkylpolyglycol ether | Sediment |  | Hot vapour /Soxhelt extraction & PLE | LC/(-)ESI-MS/MS, GC/ECD, flow injection-MS/MS | 6000–10,000 ng/g dw |  |  | Schröder, H.F., 2003. Determination of fluorinated surfactants and their metabolites in sewage sludge samples by liquid chromatography with mass spectrometry and tandem mass spectrometry after pressurised liquid extraction and separation on fluorine-modified reversed-phase sorbents. J. Chromatogr. A 1020 (1), 131–151.
PFHxA, PFHpA, PFTrDA PFUnDA, PFOA, PFDoA, | Soil, sediment and sludge | 5g solid samples | d-SLE | LC/(-)ESI-MS/MS | 1 ng/g (LOQ) | matix spike | 0.61-3.94 ng/g | Powley C.R., George S.W., Ryan T.W., Buck R.C. Matrix effect-free analytical methods for determination of perfluorinated carboxylic acids in environmental matrixes Anal. Chem., 77 (19) (2005), pp. 6353-6358
PFOA, PFDA, PFUnA, PFDoA, PFTA, PFDS, PFNA, PFOS, PFHxS, N-Et-FOSAA, N-Me-FOSAA | Sediment, sludge | sediments (top 1-5 cm) and sludge ground and homogenized with a mortar and pestle passed through a 2.36-mm sieve | SLE | LC/(-)ESI-MS/MS | 0.011–2.2 ng/g | sequential extraction experiments, standard additions, spike/recovery experiments | PFAS: 55-3370 ng/g PFOS: 36-2900 ng/g PFCA: 5-152 ng/g PFC: 73-3390 ng/g | Higgins C.P., Field J.A., Criddle C.S., Luthy R.G. Quantitative determination of perfluorochemicals in sediments and domestic sludge Environ. Sci. Technol., 39 (11) (2005), pp. 3946-3956
PFOA, PFDA | Harbour sediment | sampling with a van Veen grab | PLE and SPME | GC-NCI/MS | 0.5–0.8 ng/g | surrogate (PFC12A) addition | 10.4-12.4 ng/g | Alzaga R., Salgado-Petinal C., Jover E., Bayona J. Development of a procedure for the determination of perfluorocarboxylic acids in sediments by pressurised fluid extraction, headspace solid-phase microextraction followed by gas chromatographic–mass spectrometric determination J. Chromatogr. A, 1083 (1–2) (2005), pp. 1-6
PFHS, PFBS, PFOSA, PFOS, PFNA, PFDA, PFUnDA, PFDoDA, PFTDA, PFHxDA, PFOcDA, PFOA, 8:2 FTUCA, 8:2 FTCA | STP sludge |  | SPE | LC/(-)ESI-MS/MS | 10–25 ng/g | standard addition | PFOA 58-1050 ng/L PFOS 3-68 ng/L | Sinclair E., Kannan K. Mass loading and fate of perfluoroalkyl surfactants in wastewater treatment plants Environ. Sci. Technol., 40 (5) (2006), pp. 1408-1414
PFOA, PFNA, PFDA | Soil |  | SLE | LC/(-)ESI-MS/MS | 0.6 ng/g | matix spike | PFOA 3.4 - 190 ng/L | Washington J.W., Ellington J.J., Jenkins T.M., Evans J.J. Analysis of perfluorinated carboxylic acids in soils: detection and quantitation issues at low concentrations J. Chromatogr. A, 1154 (1–2) (2007), pp. 111-120
PFXA, PFHA, PFOA, PFNA, PFDA | Soil |  | SLE | LC/(-)ESI-MS/MS | 14 fg |  | PFOA 3.4 - 190 ng/L | Washington J.W., Henderson W.M., Ellington J.J., Jenkins T.M., Evans J.J. Analysis of perfluorinated carboxylic acids in soils II: optimization of chromatography and extraction J. Chromatogr. A, 1181 (1–2) (2008), pp. 21-32
PFOA, PFHxA, PFDoA | Ground water |  | SPE | GC/EI-MS | 36,000 ng/L (LOQ) |  | ΣPFCAs 125- 7090 μg/L | Moody C.A., Field J.A. Determination of perfluorocarboxylates in groundwater impacted by fire-fighting activity Environ. Sci. Technol., 33 (16) (1999), pp. 2800-2806
PFOA, PFOS | River water | 1-L Nalgene (Rochester, NY) polypropylene containers with narrow-mouth bottles and screw tops | SPE | LC/(-)ESI-MS/MS | 10–50 ng/L (MQL) | matix spike | PFOS 21.4-136 ng/L PFOA <25-598 ng/L | Hansen K.J., Johnson H., Eldridge J., Butenhoff J., Dick L. Quantitative characterization of trace levels of PFOS and PFOA in the Tennessee River Environ. Sci. Technol., 36 (8) (2002), pp. 1681-1685
PFPeA, PFHxA, PFHpA, PFOA, PFDoA, PFBS, PFHxS, PFOS | Surface water |  | SPE | LC/(-)ESI-MS/MS 19F-NMR | 9–17 ng/L (LOQ) 10,000 ng/L (MDL) |  |  | Hansen K.J., Johnson H., Eldridge J., Butenhoff J., Dick L. Quantitative characterization of trace levels of PFOS and PFOA in the Tennessee River Environ. Sci. Technol., 36 (8) (2002), pp. 1681-1685
PFBS, PFHxS, PFOS, PFOA, PFNA, PFOSA | Surface and deep seawater | stainless steel grab sampler with a polypropylene rope and were then transferred into 1-L narrow-mouth polypropylene bottles with screw tops | SPE | LC/(-)ESI-MS/MS | 0.0001–0.0052 ng/L (LOD) |  | PFOS <17-25400 pg/L PFHS <0.2-5600 pg/L PFOA 17-192000 pg/L PFOSA NA-3.0 pg/L | Yamashita N., Kannan K., Taniyasu S., Horii Y., Okazawa T., Petrick G., Gamo T. Analysis of perfluorinated acids at parts-per-quadrillion levels in seawater using liquid chromatography-tandem mass spectrometry Environ. Sci. Technol., 38 (21) (2004), pp. 5522-5528
PFOA, PFOS | River water |  | SPE | LC/(-)ESI-MS/MS | 10–50 ng/L (MQL) |  | 16.8- 144 ng/L | Hansen K.J., Johnson H., Eldridge J., Butenhoff J., Dick L. Quantitative characterization of trace levels of PFOS and PFOA in the Tennessee River Environ. Sci. Technol., 36 (8) (2002), pp. 1681-1685
PFBS, PFOS | Ground, river and tap water |  |  | LC/(-)ESI-MS/MS | 25,000 ng/L (LOQ) |  | 0.4–1.5 mg/L | Hebert G.N., Odom M.A., Craig P.S., Dick D.L., Strauss S.H. Method for the determination of sub-ppm concentrations of perfluoroalkylsulfonate anions in water J. Environ. Monit., 4 (1) (2002), pp. 90-95
PFOS | River water |  | Turbulent flow chromatography based online extraction | LC/(-)APPI-MS | 5.35 ng/L (LOD) |  | 4.3- 26 pg/mL1 | Takino M., Daishima S., Nakahara T. Determination of perfluorooctane sulfonate in river water by liquid chromatography/atmospheric pressure photoionization mass spectrometry by automated on-line extraction using turbulent flow chromatography Rapid Commun. Mass Spectrom., 17 (5) (2003), pp. 383-390
PFOA, PFOS, PFOSAA, N-Et-FOSAA, FOSA, N-Et-FOSA, N-Et-FOSE | Surface water | A high-flow submersible pump pumped raw water from each site through 1/2 in. diameter polyethylene tubing into a 120 L stainless steel tank | SPE | LC/(-)ESI-MS | 0.2–13 ng/L (LOQ) | field blanks, spike addition, duplicate | PFOS 15-121 ng/L PFOSAA ND-6.5 ng/L PFOA 15-53 ng/L POSA NA-2.3 pg/L | Boulanger B., Vargo J., Schnoor J.L., Hornbuckle K.C. Detection of perfluorooctane surfactants in Great Lakes water Environ. Sci. Technol., 38 (15) (2004), pp. 4064-4070
PFOS, PFOA, PFNA, PFDA, PFUnA, PFDoA, 6:2, 8:2, 10:2 FTCA, 6:2, 8:2, 10:2 FTUCA | Rain water | collected in triplicate into 20-L stainless steel cans prerinsed with methanol. | SPE | LC/(-)ESI-MS/MS | 0.04–7.2 ng/L | Triplicate blanks | 0.12 - 0.9 ng/L | Loewen M., Halldorson T., Wang F., Tomy G. Fluorotelomer carboxylic acids and PFOS in rainwater from an urban center in Canada Environ. Sci. Technol., 39 (9) (2005), pp. 2944-2951
PFBS, PFHxS, PFOS, 4:2, 6:2, 8:2 FTS | Ground water | stored in high-density polyethylene brown bottles at 4 ° |  | LC/(-)ESI-MS/MS | 470–5000 ng/L (LOQ) | field blanks, spike addition, duplicate | 4:2 FtS ND-7.3 ug/L 6:2 FtS ND-14600 ug/L 8:2 FtS ND-8.7 ug/L PFBS ND-210 ug/L PFPS ND-216 ug/L PFHxS ND-876 ug/L PFOS ND-2300 ug/L PFOA ND-6570 ug/L | Schultz M.M., Barofsky D.F., Field J.A. Quantitative determination of fluorotelomer sulfonates in groundwater by LC MS/MS Environ. Sci. Technol., 38 (6) (2004), pp. 1828-1835
PFOS, PFOA, PFNA, PFDA, PFUnA, PFHxA, PFHpA | Surface water | rosette sampler, which is equipped with 8 L polyethylene canisters that can be closed at varying depths. Water was transferred from the rosette canisters to 4 L HPDE bottles totaling 4 L from each site/depth. | SPE | LC/(-)ESI-MS | 0.28–0.58 ng/L (LOQ) | matix spike | PFOS ND-47 ng/L | Simcik M.F., Dorweiler K.J. Ratio of perfluorochemical concentrations as a tracer of atmospheric deposition to surface waters Environ. Sci. Technol., 39 (22) (2005), pp. 8678-8683
PFOS, PFDS, PFHxA, PFHpA, PFOA, PFNA, PFDA, PFUnA, PFDoA | STP effluent |  | Automated SPE, LLE | LC/(-)ESI-MS/MS | 0.2–6.4 ng/L 0.26–4.4 ng/L (MDL) |  |  | González-Barreiro C., Martínez-Carballo E., Sitka A., Scharf S., Gans O. Method optimization for determination of selected perfluorinated alkylated substances in water samples Anal. Bioanal. Chem., 386 (7–8) (2006), pp. 2123-2132
PFOA, PFOS | River water |  | Online-SPE | Nano-LC/nano(-) ESI-MS | 0.5–1 ng/L |  | 59 - 130 ng/L | Wilson S.R., Malerød H., Holm A., Molander P., Lundanes E., Greibrøkk T. On-line SPE—Nano-LC—Nanospray-MS for rapid and sensitive determination of perfluorooctanoic acid and perfluorooctane sulfonate in river water J. Chromatogr. Sci., 45 (3) (2007), pp. 146-152
PFBA, PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDA | STP effluent, surface and rain water |  | LLE | GC/MS | 0.5 ng/L |  | 0.5 - 100 ng/L | Scott B.F., Moody C.A., Spencer C., Small J.M., Muir D.C., Mabury S.A. Analysis for perfluorocarboxylic acids/anions in surface waters and precipitation using GC- MS and analysis of PFOA from large-volume samples Environ. Sci. Technol., 40 (20) (2006), pp. 6405-6410
PFHeA, PFOA, PFNA, PFDeA, PFOS | River and wastewater |  | SPE | LC/(-)ESI-MS/MS | 0.05–0.28 ng/L (MDL) |  | 0.3 - 17.2 ng/L | Zhao X., Li J., Shi Y., Cai Y., Mou S., Jiang G. Determination of perfluorinated compounds in wastewater and river water samples by mixed hemimicelle-based solid-phase extraction before liquid chromatography–electrospray tandem mass spectrometry detection J. Chromatogr. A, 1154 (1–2) (2007), pp. 52-59
PFOS, PFHxS, PFBS, PFOSA, PFOcDA, PFHxDA, PFTeDA, PFDoDA, PFUnDA, PFDA, PFNA, PFOA, PFHpA, PFHxA, PFPeA, PFBA, N-Et-FOSA, N-Et-FOSAA, 8:2, 10:1 FTOH, 8:2 FTCA, 8:2 FTUCA | Coastal water |  | SPE | LC/(-)ESI-MS/MS | 0.016–0.1 ng-F/L (LOQ) |  | trifluoroacetic acid 1- 230 ng/L | Miyake Y., Yamashita N., Rostkowski P., So M.K., Taniyasu S., Lam P.K., Kannan K. Determination of trace levels of total fluorine in water using combustion ion chromatography for fluorine: a mass balance approach to determine individual perfluorinated chemicals in water J. Chromatogr. A, 1143 (1–2) (2007), pp. 98-104
PFOS, PFOA | Fresh water Tap water |  | SPE | LC/(-)ESI-MS/MS | 0.26–22 ng/L and 5.2–92 ng/L; 0.16–22 ng/L and 2.3–84 ng/L |  | PFOS 0.16- 22 ng/L, PFOA 2.3- 92 ng/L | Takagi S., Adachi F., Miyano K., Koizumi Y., Tanaka H., Mimura M., Watanabe I., Tanabe S., Kannan K. Perfluorooctanesulfonate and perfluorooctanoate in raw and treated tap water from Osaka, Japan Chemosphere, 72 (10) (2008), pp. 1409-1412
PFBS, PFHxA, PFHpA, PFOA, PFNA, PFOS | River water |  | Automated solid phase extraction | LC/(-)ESI-MS/MS | 0.2–100 ng/L |  | PFOS ND - 26 ng/L | Loos R., Tavazzi S., Mariani G., Suurkuusk G., Paracchini B., Umlauf G. Analysis of emerging organic contaminants in water, fish and suspended particulate matter (SPM) in the joint danube survey using solid-phase extraction followed by UHPLC-MS-MS and GC–MS analysis Sci. Total Environ., 607 (2017), pp. 1201-1212
PFBA, PFPeA, PFHxA, PFHpA, PFOA, 4:2 FTSA, 6:2 FTSA | Surface, drinking and river water |  | SPME | LC/GC–MS/MS | 13–131.9 ng/L |  | ΣPFAS 4 -98 ng/L | Boiteux V., Dauchy X., Bach C., Colin A., Hemard J., Sagres V., Rosin C., Munoz J.-F. Concentrations and patterns of perfluoroalkyl and polyfluoroalkyl substances in a river and three drinking water treatment plants near and far from a major production source Sci. Total Environ., 583 (2017), pp. 393-400
PFOS, PFOA, PFHxA, PFHpA, PFHxS, PFPeA, PFBA, PFNA, PFDA, PFBS | Fresh and treated water |  | Automated SPE | LC/(-)ESI-MS/MS | Max. 76 ng/L |  | PFOS 4 - 62 ng/L; PFHxS 4 - 32 ng/L; PFHxA 4 - 28 ng/L; PFOA 4- 12 ng/l | Boiteux V., Dauchy X., Rosin C., Munoz J.-F. National screening study on 10 perfluorinated compounds in raw and treated tap water in France Arch. Environ. Contam. Toxicol., 63 (1) (2012), pp. 1-12
4:2, 6:2, 8:2 FtTAoS, 4:2, 6:2, 8:2 FtS, PFBSaAm, PFPeSaAm, PFHxSaAm, PFBS, PFFOSaAm, PFBSaAmA, PFOS, PFPeSaAmA, PFHxSaAmA, PFBA, PFHpS, PFDS, PFHxS, PFFOSaAmA, PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDA, PFUdA, PFDoA, PFTrA, PFTeA | Ground water |  | Micro-LLE | LC/(-/+)ESI-MS/MS | 0.71–67 ng/L (MDL) |  | ΣPFAS ND- 6900 ng/L | Backe W.J., Day T.C., Field J.A. Zwitterionic, cationic, and anionic fluorinated chemicals in aqueous film forming foam formulations and groundwater from US military bases by nonaqueous large-volume injection HPLC-MS/MS Environ. Sci. Technol., 47 (10) (2013), pp. 5226-5234
PFBA, PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDA, PFUnDA, PFDoDA, PFTrDA, PFTeDA, PFBS, PFHxS, PFOS, PFDS, FOSA, 6:2FTSA, 6:2FTUA, 8:2FTUA, 5:3FTCA, PFOAB | Drinking water |  | Automated off line SPE | UHPLC-HRMS | Up to 39 ng/L |  | PFCAs, PFSA, and FTCAs ND to 39 ng/L | Kaboré H.A., Duy S.V., Munoz G., Méité L., Desrosiers M., Liu J., Sory T.K., Sauvé S. Worldwide drinking water occurrence and levels of newly-identified perfluoroalkyl and polyfluoroalkyl substances Sci. Total Environ., 616 (2018), pp. 1089-1100
PFHxS, PFHpA, PFOA, PFOS, PFNA, PFDA | Drinking, tap, lake and pond water |  | Bamboo-charcoal based SPE | LC/(-)ESI-MS/MS | 0.01–1.15 ng/L |  | ΣPFAS 0.1–1000 ng/L | Deng Z.-H., Cheng C.-G., Wang X.-L., Shi S.-H., Wang M.-L., Zhao R.-S. Preconcentration and determination of perfluoroalkyl substances (PFASs) in water samples by Bamboo Charcoal-based solid-phase extraction prior to Liquid Chromatography–Tandem mass spectrometry Molecules, 23 (4) (2018), p. 902
PFBS, PFPeS, PFHxS, PFHpS, PFOS, PFNS, PFDS, PFDoS, PFBA, PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDA, PFUnDA, PFDoA, PFTrDA, PFTeDA, PFHxDA, PFODA | Estuarine water |  | SPE | LC/(-)ESI-MS/MS | 0.48–1.68 pg/inject |  | ΣPFAS 4.48- 25.1 ng/L | Mulabagal V., Liu L., Qi J., Wilson C., Hayworth J.S. A rapid UHPLC-MS/MS method for simultaneous quantitation of 23 perfluoroalkyl substances (PFAS) in estuarine water Talanta, 190 (2018), pp. 95-102
PFOA, TFA, PFPrA, PFBA, PFPeA, PFHxA, PFHpA | Surface, ground and drinking water |  | SPE | LC/(-)ESI-MS/MS | 0.1–3.3 ng/L |  | PFCAs 0.056 - 2.2 μg/L, TFA 0.045- 17 μg/L | Janda J., Nödler K., Brauch H.-J., Zwiener C., Lange F.T. Robust trace analysis of polar (C 2-C 8) perfluorinated carboxylic acids by liquid chromatography-tandem mass spectrometry: method development and application to surface water, groundwater and drinking water Environ. Sci. Pollution Res., 26 (8) (2019), pp. 7326-7336
PFOSA, N-Et-PFOSA | Fast food and fish |  | SLE | GC/P IC-MS | 0.1–0.25 ng/L (MDL) |  | 0.5- 14 ng/g wet weight | Tittlemier S.A., Pepper K., Edwards L., Tomy G. Development and characterization of a solvent extraction–gas chromatographic/mass spectrometric method for the analysis of perfluorooctanesulfonamide compounds in solid matrices J. Chromatogr. A, 1066 (1–2) (2005), pp. 189-195
PFOS, PFHS, PFBS, PFUnDA, PFDA, PFNA, PFOA, PFHpA, PFHxA | Seafood |  | IPE | LC/(-)ESI-MS/MS | 0.25 ng/L (LOQ) |  | PFOS 0.3- 13.9 ng/g wet weight | Gulkowska A., Jiang Q., So M.K., Taniyasu S., Lam P.K., Yamashita N. Persistent perfluorinated acids in seafood collected from two cities of China Environ. Sci. Technol., 40 (12) (2006), pp. 3736-3741
PFOS, PFHpA, PFDoDA, PFTeDA | Meat, fish, fast food and food packaging materials |  | SLE | LC/(-)ESI-MS/MS | 0.5–6 ng/g |  | 0.5 - 4.5 ng/g | Tittlemier S.A., Pepper K., Seymour C., Moisey J., Bronson R., Cao X.-L., Dabeka R.W. Dietary exposure of Canadians to perfluorinated carboxylates and perfluorooctane sulfonate via consumption of meat, fish, fast foods, and food items prepared in their packaging J. Agricult. Food Chem., 55 (8) (2007), pp. 3203-3210
PFOS, PFOA, PFDA, PFPA, PFBS, PFNA | Fish |  | PLE & SPE | LC–QqLIT–MS | 0.003–0.05 μg/kg (LOQ) |  |  | Llorca M., Farré M., Picó Y., Barceló D. Development and validation of a pressurized liquid extraction liquid chromatography–tandem mass spectrometry method for perfluorinated compounds determination in fish J. Chromatogr. A, 1216 (43) (2009), pp. 7195-7204
PFOA, PFOS | Fish |  | LLE | LC/(–)ESI–MS/MS | 7.5 μg/kg |  |  | Nania V., Pellegrini G.E., Fabrizi L., Sesta G., De Sanctis P., Lucchetti D., Di Pasquale M., Coni E. Monitoring of perfluorinated compounds in edible fish from the Mediterranean Sea Food Chem., 115 (3) (2009), pp. 951-957
PFOA, PFOS, PFNA, ip-PFNA, PFDA, PFDS | Baby foods |  | SPE | LC-QqLIT-MS | 1.2–362 ng/g (MLOD) |  |  | Llorca M., Farré M., Picó Y., Teijón M.L., Álvarez J.G., Barceló D. Infant exposure of perfluorinated compounds: levels in breast milk and commercial baby food Environ. Int., 36 (6) (2010), pp. 584-592
PFBS, PFOA, PFDA, PFUnA, PFTeA, PFHxA, PFHxS, PFOS | Muscle and liver of fish and bird |  | Micro-extraction | LC/(–)ESI–MS/MS | 0.4–6 ng/g |  |  | Luque N., Ballesteros-Gómez A., van Leeuwen S., Rubio S. Analysis of perfluorinated compounds in biota by microextraction with tetrahydrofuran and liquid chromatography/ion isolation-based ion-trap mass spectrometry J. Chromatogr. A, 1217 (24) (2010), pp. 3774-3782
PFOA, PFOS | Commercial fish |  | SPE | LC-QqLIT-MS | 5.4–17.2 ng/g |  |  | Squadrone S., Ciccotelli V., Prearo M., Favaro L., Scanzio T., Foglini C., Abete M. Perfluorooctane sulfonate (PFOS) and perfluorooctanoic acid (PFOA): emerging contaminants of increasing concern in fish from Lake Varese, Italy Environ. Monit. Assess., 187 (7) (2015), p. 438
PFBA, PFHxPA, PFPeA, PFBS, PFHxA, PFOPA, PFHpA, PFHxS, PFOA, PFDPA, PFNA, PFOS, PFOSA, PFDA | Vegetables Fish Soil |  | Focused ultrasound solid–liquid extraction (FUSLE) and SPE | LC/(-)ESI-MS/MS | 0.3–12.4 ng/g (MDL) 0.2–12.5 ng/g (MDL) |  |  | Zabaleta I., Bizkarguenaga E., Iparragirre A., Navarro P., Prieto A., Fernández L.Á., Zuloaga O. Focused ultrasound solid–liquid extraction for the determination of perfluorinated compounds in fish, vegetables and amended soil J. Chromatogr. A, 1331 (2014), pp. 27-37
PFOS, PFOA, PFHxS, PFHxA, PFOSA | Food ingredients |  | SLE | LC/(-)ESI-MS/MS | 0.05–0.2 ng/L |  | PFOS 7.1-22.7 µg/L; PPFOA 3.3-8.9 µg/L | Fromme H., Schlummer M., Möller A., Gruber L., Wolz G., Ungewiss J., Böhmer S., Dekant W., Mayer R., Liebl B. Exposure of an adult population to perfluorinated substances using duplicate diet portions and biomonitoring data Environ. Sci. Technol., 41 (22) (2007), pp. 7928-7933
PFBA, PFPeA, PFHxA, PFHpA, PFNA, PFDA, PFBS, PFHxS, PFOS, PFOSA, PFHxPA, PFOPA, PFDPA | Muscle and liver of fish |  | Focused ultrasonic solid–liquid extraction (FUSLE) | LC/(-)ESI-MS/MS | 1.4–8 ng/g |  | PFOS 24–54 ng/g | Zabaleta I., Bizkarguenaga E., Prieto A., Ortiz-Zarragoitia M., Fernández L., Zuloaga O. Simultaneous determination of perfluorinated compounds and their potential precursors in mussel tissue and fish muscle tissue and liver samples by liquid chromatography–electrospray-tandem mass spectrometry J. Chromatogr. A, 1387 (2015), pp. 13-23
PFOA, PFHA, PFOS | Human plasma |  | Online extraction | LC/(-ESI)-IT-MS/MS | 0.2–0.5 ng/mL |  | PFOA 1- 200 ng/mL; PFOS 5- 200 ng/mL | Holm A., Wilson S.R., Molander P., Lundanes E., Greibrokk T. Determination of perfluorooctane sulfonate and perfluorooctanoic acid in human plasma by large volume injection capillary column switching liquid chromatography coupled to electrospray ionization mass spectrometry J. Sep. Sci., 27 (13) (2004), pp. 1071-1079
PFOS, PFNA, PFOA | Human liver, brain and kidney |  | SPE | LC/(-)ESI-MS/MS | 0.1–0.2 ng/mL (LOQ) |  | PFOA 0.3- 3.8 ng/g; L-PFOS 1.0- 13.6 ng/g | Maestri L., Negri S., Ferrari M., Ghittori S., Fabris F., Danesino P., Imbriani M. Determination of perfluorooctanoic acid and perfluorooctanesulfonate in human tissues by liquid chromatography/single quadrupole mass spectrometry Rapid Commun. Mass Spectrom.: Int. J. Devoted Rapid Dissem. Up-to-the-Min. Res. Mass Spectrom., 20 (18) (2006), pp. 2728-2734
PFOS, PFOA, PFOSA | Human plasma |  | Online SPE | LC/(-ESI)-MS | 0.5–1 ng/mL (LOQ) |  |  | Inoue K., Okada F., Ito R., Kawaguchi M., Okanouchi N., Nakazawa H. Determination of perfluorooctane sulfonate, perfluorooctanoate and perfluorooctane sulfonylamide in human plasma by column-switching liquid chromatography–electrospray mass spectrometry coupled with solid-phase extraction J. Chromatogr. B, 810 (1) (2004), pp. 49-56
PFOSA, Me-PFOSA-AcOH, Et-PFOSA-AcOH, PFHxS, PFOS, PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDeA, PFUA, PFDoA | Human serum Breast milk |  | Automated SPE | LC/(-)ESI-MS/MS | 0.1–3.2 ng/mL 0.1–1 ng/mL |  | PFOS 1-335 ng/mL | Kuklenyik Z., Reich J.A., Tully J.S., Needham L.L., Calafat A.M. Automated solid-phase extraction and measurement of perfluorinated organic acids and amides in human serum and milk Environ. Sci. Technol., 38 (13) (2004), pp. 3698-3704
PFOA | Human blood |  |  | LC/(-)ESI-MS/MS | 0.5 ng/mL (LOQ) |  |  | Flaherty J.M., Connolly P.D., Decker E.R., Kennedy S.M., Ellefson M.E., Reagen W.K., Szostek B. Quantitative determination of perfluorooctanoic acid in serum and plasma by liquid chromatography tandem mass spectrometry J. Chromatogr. B, 819 (2) (2005), pp. 329-338
PFOA, PFOS, PFAD | Human serum |  | MTBE | LC/(-)ESI-MS/MS | 0.02–0.18 ng/ mL |  |  | Wu M., Sun R., Wang M., Liang H., Ma S., Han T., Xia X., Ma J., Tang L., Sun Y. Analysis of perfluorinated compounds in human serum from the general population in Shanghai by liquid chromatography-tandem mass spectrometry (LC-ms/MS) Chemosphere, 168 (2017), pp. 100-105
PFBS, PFHS, PFOS, PFOA | Human serum, blood and plasma |  | SPE | LC/(-)ESI-MS/MS | 1 ng/mL (LOQ) |  | PFBS 5- 25 ng/mL; PFHxS 5- 75 ng/mL; PFOS 5- 880 ng/mL; PFOA 5- 7320 ng/mL | Ehresman D.J., Froehlich J.W., Olsen G.W., Chang S.-C., Butenhoff J.L. Comparison of human whole blood, plasma, and serum matrices for the determination of perfluorooctanesulfonate (PFOS), perfluorooctanoate (PFOA), and other fluorochemicals Environ. Res., 103 (2) (2007), pp. 176-184
PFOS, PFHS, PFOA | Human serum |  |  | LC/(-)ESI-MS/MS | 0.5–1.6 ng/mL (LOQ) |  | PFHxS 16–1,295 ng/mL; PFOS 145–3,490 ng/mL; PFOA 72–5,100 ng/mL | Olsen G.W., Burris J.M., Ehresman D.J., Froehlich J.W., Seacat A.M., Butenhoff J.L., Zobel L.R. Half-life of serum elimination of perfluorooctanesulfonate, perfluorohexanesulfonate, and perfluorooctanoate in retired fluorochemical production workers Environ. Health Perspect., 115 (9) (2007), p. 1298
PFHxS, PFOS, PFOA, PFNA, PFDA, PFUnDA, PFDoDA | Human blood |  |  | LC/(-)ESI-MS/MS | 52–1.9 ng/L |  | PFAAS ND- 44.7 ng/mL | Lindh C.H., Rylander L., Toft G., Axmon A., Rignell-Hydbom A., Giwercman A., Pedersen H.S., Góalczyk K., Ludwicki J.K., Zvyezday V. Blood serum concentrations of perfluorinated compounds in men from Greenlandic Inuit and European populations Chemosphere, 88 (11) (2012), pp. 1269-1275
PFOA, PFOS | Human plasma |  |  | LC/(-)ESI-MS/MS | 1.0 ng/mL, 3.4 ng/mL |  |  | Olsen G.W., Mair D.C., Reagen W.K., Ellefson M.E., Ehresman D.J., Butenhoff J.L., Zobel L.R. Preliminary evidence of a decline in perfluorooctanesulfonate (PFOS) and perfluorooctanoate (PFOA) concentrations in American Red Cross blood donors Chemosphere, 68 (1) (2007), pp. 105-111
PFOA | Human serum |  | LLE | LC/(-)ESI-MS/MS | 0.5 ng/mL |  | 0.5– 100 ng/ml | Rogatsky E., O’Hehir C., Daly J., Tedesco A., Jenny R., Aldous K. Development of high throughput LC/MS/MS method for analysis of perfluorooctanoic acid from serum, suitable for large-scale human biomonitoring J. Chromatogr. B, 1049 (2017), pp. 24-29
6:2 PAP, 8:2 PAP, 6:2 diPAP, 8:2 diPAP, PFHxPA, PFOPA, PFDPA, PFBS, PFHxS, PFHpS, PFOS, PFDS, PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDA, PFUnDA, PFDoDA, PFTrDA, PFTeDA, PFOSA, MeFOSA, EtFOSA | Human serum, plasma and whole blood |  | Online solid phase extraction | LC/(-)ESI-MS/MS | 0.0018–0.09 ng/mL |  | 6:2 PAP 0.09−0.39 ng/mL; 6:2 diPAP 0.018−0.14 ng/mL; 8:2 diPAP 0.009−0.11 ng/mL <0.09−0.39 ng mL−1 | Poothong S., Thomsen C., Padilla-Sanchez J.A., Papadopoulou E., Haug L.S. Distribution of novel and well-known poly-and perfluoroalkyl substances (PFASs) in human serum, plasma, and whole blood Environ. Sci. Technol., 51 (22) (2017), pp. 13388-13396
PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDA, PFUnDA, PFDoDA, PFTrDA, PFTeDA, PFHxDA, PFOcDA, PFBS, PFHS, PFOS, PFDS | Breast milk |  | MTBE | LC/(-)ESI-MS/MS | 0.025–0.01 ng/mL (LOQ) |  | ΣPFAS 31.7- 1004 ng/L | Lee S., Kim S., Park J., Kim H.-J., Choi G., Choi S., Kim S., Kim S.Y., Kim S., Choi K. Perfluoroalkyl substances (PFASs) in breast milk from Korea: Time-course trends, influencing factors, and infant exposure Sci. Total Environ., 612 (2018), pp. 286-292
N-Et-FOSA, N-Me-FOSE, N-Et-FOSE, 4:2, 8:2, 10:2 N-Et-FOSE | Outdoor air |  |  | GC/PCI-GS, GC/NCI-GS | 0.15–6.2 pg/m3 |  |  | Martin J.W., Muir D.C., Moody C.A., Ellis D.A., Kwan W.C., Solomon K.R., Mabury S.A. Collection of airborne fluorinated organics and analysis by gas chromatography/chemical ionization mass spectrometry Anal. Chem., 74 (3) (2002), pp. 584-590
PFOA, PFOS | Dust |  | SLE | LC/(-)ESI-MS/MS | 10–50 ng/g (LOQ) |  |  | Moriwaki H., Takata Y., Arakawa R. Concentrations of perfluorooctane sulfonate (PFOS) and perfluorooctanoic acid (PFOA) in vacuum cleaner dust collected in Japanese homes J. Environ. Monit., 5 (5) (2003), pp. 753-757
N-Et-FOSA, N-Et-FOSE, N-Me-FOSEA | Indoor and outdoor air |  | Soxhlet extraction | GC/EI-MS, GC/NCI-GS | <0.3–20 pg/m3 (MDL) |  | 0.3- 20 pg/m3 | Shoeib M., Harner T., Ikonomou M., Kannan K. Indoor and outdoor air concentrations and phase partitioning of perfluoroalkyl sulfonamides and polybrominated diphenyl ethers Environ. Sci. Technol., 38 (5) (2004), pp. 1313-1320
N-Et-FOSA, N-Me-FOSE, N-Et-FOSE, N-Me-FOSEA | Indoor and outdoor air Dust |  | Soxhlet extraction | GC/EI-MS, GC/NCI-GS | 0.01–7.1 pg/m3 (MDL) 1.2–6.1 pg (LOD) |  |  | Shoeib M., Harner T., Wilford B.H., Jones K.C., Zhu J. Perfluorinated sulfonamides in indoor and outdoor air and indoor dust: occurrence, partitioning, and human exposure Environ. Sci. Technol., 39 (17) (2005), pp. 6599-6606
PFOA, PFOSA, PFOS, PFBS, PFHS | Dust |  | SLE | LC/(-)ESI-MS/MS | 0.99–4.56 ng/g (MDL) |  |  | Kubwabo C., Stewart B., Zhu J., Marro L. Occurrence of perfluorosulfonates and other perfluorochemicals in dust from selected homes in the city of Ottawa, Canada J. Environ. Monit., 7 (11) (2005), pp. 1074-1078
PFOS, PFOA, N-Et-FOSA, N-Me-FOSE, N-Me-FOSAA, PFOSAA, PFOSA | Outdoor air |  | Solvent extraction | LC/(-)ESI-MS |  |  | 0.5 - 6.4 pg/me | Boulanger B., Peck A.M., Schnoor J.L., Hornbuckle K.C. Mass budget of perfluorooctane surfactants in Lake Ontario Environ. Sci. Technol., 39 (1) (2005), pp. 74-79
N-Me-FOSEA, N-Me-FOSE, N-Et-FOSE, 6:2, 8:2, 10:2 FTOH | Outdoor air |  | Soxhlet extraction | GC/EI-MS, GC/PCI-MS | 0.001–3.5 pg/m3 (MDL) |  |  | Shoeib M., Harner T., Vlahos P. Perfluorinated chemicals in the Arctic atmosphere Environ. Sci. Technol., 40 (24) (2006), pp. 7577-7583
N-Me-FOSE, N-Et-FOSE, N-Me-FOSA, N-Et-FOSA, 4:2 ,6:2, 8:2, 10:2 FTOH | Outdoor air |  | Solvent extraction | GC/PCI-MS, GC/NCI-MS | 0.2–2.5 pg/m3(MQL) |  | individual PFAS ND- 106 pg/m3 | Jahnke A., Ahrens L., Ebinghaus R., Berger U., Barber J.L., Temme C. An improved method for the analysis of volatile polyfluorinated alkyl substances in environmental air samples Anal. Bioanal. Chem., 387 (3) (2007), pp. 965-975
N-Me-FBSA, N-Me-FBSE, N-Me-FOSE, N-Et-FOSE, N-Me-FOSA, N-Et-FOSA, 4:2 ,6:2, 8:2, 10:2, 12:2 FTOH | Indoor and outdoor air |  | Solvent extraction | GC/PCI-MS, GC/NCI-MS | 0.01–120 pg/m3 |  | PFOA 1–818 pg/m3, 8:2 FTOH 5–243 pg/m3, 6:2 FTOH 5–189 pg/m3 | Barber J.L., Berger U., Chaemfa C., Huber S., Jahnke A., Temme C., Jones K.C. Analysis of per-and polyfluorinated alkyl substances in air samples from Northwest Europe J. Environ. Monit., 9 (6) (2007), pp. 530-541
N-Me-FOSEA, N-Me-FOSE, N-Et-FOSE, 6:2, 8:2, 10:2 FTOH | Indoor air |  | Soxhlet extraction | GC/PCI-MS |  |  |  | Shoeib M., Harner T., Lee S.C., Lane D., Zhu J. Sorbent-impregnated polyurethane foam disk for passive air sampling of volatile fluorinated chemicals Anal. Chem., 80 (3) (2008), pp. 675-682
PFBS, PFPS, PFHxS, PFHpS, PFOS, PFNS, PFDcS, PFBA, PFPA, PFHxA, PFHpA, PFOA, PFNA, PFDcA, PFUnA, PFDoA, 4:2, 6:2, 8:2, 10:2 FTOH, N-Me-FOSE, N-Et-FOSE, N-Me-FOSA, N-Et-FOSA, 6:2, 8:2 FTS | House dust Air |  | Solvent extraction | LC-QTOF-MS, GC/PCI-MS, GC/NCI-MS | 0.5–81.1 ng/L 25 ng/L |  | PFSAs 1- 80.1 ng/g; FOTHs 4.7 - 17.9 ng/m3 | Huber S., Haug L.S., Schlabach M. Per-and polyfluorinated compounds in house dust and indoor air from northern Norway–A pilot study Chemosphere, 84 (11) (2011), pp. 1686-1693
8:2 FTO, 6:2, 8:2 FTA, 4:2, 6:2, 8:2, 10:2, 12:2 FTOH, N-Me-FBSA, N-Me-FOSA, N-Et-FOSA, N-Me-FBSE, N-Me-FOSE, N-Et-FOSE | Air |  | Cold column extraction | GC/PCI-MS | 0.09–1.85 pg/m3(MDL) |  | FTOHs 604- 446000 pg/m3, MeFOSE 390−1110 pg/m3 | Li J., Del Vento S., Schuster J., Zhang G., Chakraborty P., Kobara Y., Jones K.C. Perfluorinated compounds in the Asian atmosphere Environ. Sci. Technol., 45 (17) (2011), pp. 7241-7248
n:2 FTOHs (n = 6, 8, 10), MeFOSA, EtFOSA, MeFOSE, EtFOSE | Indoor air |  | SPE | GC/PCI-MS | 0.03–71 pg/m3 |  |  | Padilla-Sánchez J.A., Papadopoulou E., Poothong S., Haug L.S. Investigation of the best approach for assessing human exposure to poly-and perfluoroalkyl substances through indoor air Environ. Sci. Technol., 51 (21) (2017), pp. 12836-12843
PFBA, PFPeA, PFHxA, PFHpA, PFOA, PFNA, PFDA, PFUnDA, PFDoDA, PFOS, PFHxS, PFBS, MeFOSA, EtFOSA, EtFOSE, MeFOSE, n:2 FTOHs (n = 6, 8, 10), n:2 FTUCAs, n:2 diPAPs (n = 6, 8) | Indoor air |  | SPE | GC/PCI-MS HPLC/(-) ESIMS/ MS | 0.9–26.3 pg/m3 (MDL) |  | FTOHs: 250–82 300 pg/m3 in air, 24.8–678 ng/g in dust; diPAPs: nd–125 pg/m3 in air, 0.32–183 ng/g in dust; PFCAs: 121–20 600 pg/m3 in air | Yao Y., Zhao Y., Sun H., Chang S., Zhu L., Alder A.C., Kannan K. Per-and polyfluoroalkyl Substances (PFASs) in Indoor Air and dust from homes and various Microenvironments in China: Implications for human exposure Environ. Sci. Technol., 52 (5) (2018), pp. 3156-3166
6:2, 8:2, 10:2 FTOH, Me-FOSA, Et-FOSA, 6:2 FTMAC, 8:2, 10:2 FTAC, 6:6, 6:8, 8:8 PFPIA, 6:2, 8:2 monoPAPs, 6:2, 8:2 diPAPs, PFOS, PFOA, PFDS, PFBS, PFHxS | Indoor dust and packaging materials |  | Soxhlet extraction, SPE | LC/(-)ESI-MS/MS, GC/PCI-MS | 0.29–2.40 ng/g |  | 1.3 - 69 ng/g | Shoeib T., Hassan Y., Rauert C., Harner T. Poly-and perfluoroalkyl substances (PFASs) in indoor dust and food packaging materials in Egypt: Trends in developed and developing countries Chemosphere, 144 (2016), pp. 1573-1581
PFCAs (n= 4-14, 16,18), PFSAs (n =4, 6, 8, 10) n:2 FTOHs, n:2 FTACs (n = 6, 8, 10), FOSA, MeFOSA, EtFOSA, MeFOSE, EtFOSE, 6:2 FTSA | Outdoor air | High volume sampler with GFF, XAD sample volume 1200, 2000 m3 | PLE, sonication (MeOH): GFF | GC-PCI-MS UHPLC-ESI(-)-MS/MS UHPLC-ESI(-)-TOF-MS | 0.008-4.2 pg/m3 | Field blanks, laboratory blanks recoveries | FTOH (median): 3.8 pg/m3 FASE (median): 0.49 pg/m3 FASA (median): 0.13 pg/m3 FTAC (median): 0.24 pg/m3 FOSA (median): 0.12 pg/m3 | F. Wong, M. Shoeib, A. Katsoyiannis, S. Eckhardt, A. Stohl, P. Bohlin-Nizzetto, H. Li, P. Fellin, Y. Su, H. Hung Assessing temporal trends and source regions of per- and polyfluoroalkyl substances (PFASs) in air under the Arctic Monitoring and Assessment Programme (AMAP), Atmos Environ. Times, 172 (2018), pp. 65-73,
n:2 FTOHs (n = 6, 8, 10), MeFOSA, EtFOSA, MeFOSE, EtFOSE | Indoor air/ personal air | Low volume sampler SPE (ENVI+) Sample volume 7.2/1.44 m3 | SPE/ MeOH | GC-PCI-MS | 0.03-71 pg/m3 (indoor air) 1.4-350 pg/m3 (personal air) (MDL) | Breakthroughs, field blanks | FTOH: 170-446,000 pg/m3 FASA: <MDL-78,300 pg/m3 FASE: <MDL-38,800 pg/m3 | J.A. Padilla-Sánchez, E. Papadopoulou, S. Poothong, L.S. Haug Investigation of the best approach for assessing human exposure to poly- and perfluoroalkyl substances through indoor air Environ. Sci. Technol., 51 (2017), pp. 12836-12843
PFCAs (n= 4-12), PFSAs (n =4, 6, 8) MeFOSA, EtFOSA, MeFOSE, EtFOSE, n:2 FTOHs (n=6, 8, 10), n:2 FTUCAs, n:2 diPAPs (n=6, 8) | Indoor air | Low volume sampler SPE (WAX/HC-C18) Sample volume 0.172-8.33 m3 | SPE with Ethyl acetate 0.5% NH4OH MeOH | GC-PCI-MS HPLC-ESI(-)-MS/MS | GC/MS 22-157 ng/L (LOD) 3.7-26.3 pg (MDL) LC/MS 12-107 ng/L (LOD) 0.9-17.7 pg (MDL) | Procedure blanks, breakthroughs recoveries | FTOH: 249-62,100 pg/m3 PFCA: 121-8,670 pg/m3 PFSA: 71.2-1,780 pg/m3 diPAP: ND-125 pg/m3 FASA/E: ND-2,460 pg/m3 FTUCA: ND-413 pg/m3 | Y. Yao, Y. Zhao, H. Sun, S. Chang, L. Zhu, A.C. Alder, K. Kannan Per- and polyfluoroalkyl substances (PFASs) in indoor air and dust from homes and various microenvironments in China: implications for human exposure Environ. Sci. Technol., 52 (2018), pp. 3156-3166
8:2 FTO, n:2 FTOHs (n = 4, 6, 8, 10, 12), n:2 FTACs (n = 6, 8), MeFBSA, MeFOSA, EtFOSA, MeFBSE, MeFOSE, EtFOSE | Outdoor air | Passive air sampler SIP disk | EtOAc (cold column extraction) ENVI-Carb | GC-PCI-MS | 0.09-1.85 pg/m3 | Field blanks, laboratory blanks recoveries | FTOH: 51.4-1,210 pg/m3 FTAC: 0.20-15.3 pg/m3 FASA: 3.22-831 pg/m3 FASE: 7.44-172 pg/m3 | J. Li, S. Del Vento, J. Schuster, G. Zhang, P. Chakraborty, Y. Kobara, K.C. Jones Perfluorinated compounds in the Asian atmosphere Environ. Sci. Technol., 45 (2011), pp. 7241-7248
PFCAs (n= 2-12), PFSAs (n =4, 6, 8) n:2 FTOHs (n = 6, 8,10), n:2 diPAPs (n =6, 8), MeFOSA, EtFOSA, MeFOSE, EtFOSE | Outdoor air | Passive air sampler SIP disk | Soxhlet: EtOAc, MeOH ENVI-Carb | GC-PCI-MS HPLC-ESI(-)-MS/MS | 0.02-0.22 pg/m3 | Field blanks, procedure blanks recoveries | FTOH: 58-2,100 pg/m3 FASA:ND-13 pg/m3 PFAS (C>4): 280-820 pg/m3 diPAP: <MDL-12 pg/m3 TFA: 1.4-3.0 ng/m3 | Y. Tian, Y. Yao, S. Chang, Z. Zhao, Y. Zhao, X. Yuan, F. Wu, H. Sun Occurrence and phase distribution of neutral and ionizable per- and polyfluoroalkyl substances (PFASs) in the atmosphere and plant leaves around landfills: a case study in Tianjin, China Environ. Sci. Technol., 52 (2018), pp. 1301-1310
PFCAs (n= 7-12), PFSAs (n =6, 8) | Outdoor air | Cascade impactor QFF | MeOH shaking, sonication filtration | HPLC-ESI(−)-MS/MS | 0.08–2.89 pg/m3 | Field blanks, procedure blanks recoveries | 0.26–1.98 ng/m3 | M. Guo, Y. Lyu, T. Xu, B. Yao, W. Song, M. Li, X. Yang, T. Cheng, X. Li Particle size distribution and respiratory deposition estimates of airborne perfluoroalkyl acids during the haze period in the megacity of Shanghai Environ. Pollut., 234 (2018), pp. 9-19
PFCAs (n=4-14, 16, 18), PFSAs (n =4-10), PFOSA, MeFOSA, EtFOSA, MeFOSE, EtFOSE, n:2 FTOHs (n=4, 6, 8, 10, 7 (secondary)), n:2 and n:3 FTUCAs, n:2 FTUCAs, n:2 PAPs (n=6, 8), n:2 diPAPs (n=6, 8), ADONA, Gen-X, F-53B, n:2 FTSAs (n=4, 6, 8), PFPis, PFAPAs | Muscle and liver of mammals, fish and bird |  | ASE & SPE | LC/(-)ESI-MS/MS | 0.02 - 1.25 ng/g wet weight (MDL), 0.05 - 3.79 ng/g wet weight (MQL) | isotopic dilution / standard addition | ΣPFAS 0.016 - 20.2 μg/g wet weight | Andreas Androulakakis, Nikiforos Alygizakis, Georgios Gkotsis, Maria-Christina Nika, Varvara Nikolopoulou, Erasmia Bizani, Elizabeth Chadwick, Alessandra Cincinelli, Daniela Claßen, Sara Danielsson, Rene W.R.J. Dekker, Guy Duke, Natalia Glowacka, Hugh A.H. Jansman, Oliver Krone, Tania Martellini, Paola Movalli, Sara Persson, Anna Roos, Emily O'Rourke, Ursula Siebert, Gabriele Treu, Nico W. van den Brink, Lee Anthony Walker, Jaroslav Slobodnik and Nikolaos S. Thomaidis