## Bacteria recovery RBC rejection
Bacteria at 100 CFU/mL concentration | K. pneumoniae | E. coli | S. aureus |  | Bacteria at 1000 CFU/mL concentration | K. pneumoniae | E. coli | S. aureus
Total bacteria recovery (%) |  |  |  |  | Total bacteria recovery (%)
Data point 1 | 33.9 | 29.6 | 29.1 |  | Data point 1 | 35.3 | 39.4 | 29.3
Data point 2 | 26.1 | 38.3 | 30.5 |  | Data point 2 | 28.3 | 32.3 | 33.7
Data point 3 | 27.8 | 32.4 | 27.6 |  | Data point 3 | 37.3 | 33 | 31.3
Fraction of Lymphoprep in medium (%) | 0 | 50 | 75 | 100 | Filter inclination angle α (°) | 27 | 48 | 63 | 72
Relative bacteria recvoery (%) |  |  |  |  | Relative bacteria recvoery (%)
Data point 1 | 31.8 | 21.3 | 63.3 | 28.2 | Data point 1 | 64 | 59.4 | 63.3 | 67.6
Data point 2 | 22.1 | 27.2 | 75.5 | 31.4 | Data point 2 | 40.7 | 72.4 | 75.5 | 76.3
Data point 3 | 14.2 | 33.7 | 55 | 55.5 | Data point 3 | 43.7 | 51 | 55 | 44.8
Filter pore size (μm) | 1 | 2 | 3 |  | Centrifuging RCF (g) & time (min) | 2000 & 60 | 4500 & 30 | 4500 & 60 | 4500 & 90
Relative bacteria recvoery (%) |  |  |  |  | Relative bacteria recvoery (%)
Data point 1 | 0 | 20.4 | 63.3 |  | Data point 1 | 48 | 51.6 | 63.3 | 68.6
Data point 2 | 0 | 23.9 | 75.5 |  | Data point 2 | 35.6 | 48 | 75.5 | 65.1
Data point 3 | 0 | 28.2 | 55 |  | Data point 3 | 28.4 | 34.8 | 55 | 55.6
Pore size (μm) of filter dealing volumes of blood (mL) | 2.0 & 0.4 | 2.0 & 1.0 | 3.0 & 0.4 | 3.0 & 1.0 | Recovering E.coli from tubes after centrifuging | Centrifuge tubes | Printed tubes
RBC rejection (%) |  |  |  |  | Bacteria counts (CFU)
Data point 1 | 99.79 | 99.85 | 99.33 | 99.29 | Data point 1 | 1974 | 924
Data point 2 | 99.8 | 99.82 | 99.42 | 99.44 | Data point 2 | 1722 | 1176
Data point 3 | 99.78 | 99.83 | 99.29 | 99.52 | Data point 3 | 1428 | 882

## Hb light absorbance
Well number in the plate | A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9 | A10 | A11 | A12 | B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9 | B10 | B11 | B12 | C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9 | C10 | C11 | C12 | D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9 | D10 | D11 | D12 | E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9 | E10 | E11 | E12 | F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9 | F10 | F11 | F12 | G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9 | G10 | G11 | G12 | H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9 | H10 | H11 | H12
Sample concentration in the well (A.U.) , and the highest (original) is marked as '10000'. | 10000 | 5000 | 2500 | 1250 | 625 | 312.5 | 156.25 | 78.125 | 39.0625 | 19.5312 | 9.7656 | 4.8828 | 10000 | 5000 | 2500 | 1250 | 625 | 312.5 | 156.25 | 78.125 | 39.0625 | 19.5312 | 9.7656 | 4.8828 | 8000 | 4000 | 2000 | 1000 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625 | 7.8125 | 3.9062 | 8000 | 4000 | 2000 | 1000 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625 | 7.8125 | 3.9062 | 6000 | 3000 | 1500 | 750 | 375 | 187.5 | 93.75 | 46.875 | 23.4375 | 11.7188 | 5.8594 | 2.9297 | 6000 | 3000 | 1500 | 750 | 375 | 187.5 | 93.75 | 46.875 | 23.4375 | 11.7188 | 5.8594 | 2.9297 | 4000 | 2000 | 1000 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625 | 7.8125 | 3.9062 | 1.9531 | 4000 | 2000 | 1000 | 500 | 250 | 125 | 62.5 | 31.25 | 15.625 | 7.8125 | 3.9062 | 1.9531
2.0 μm pore size filter, 0.4 mL processed blood, retentate sample
Sample 1 absorbance (A.U.)
500 nm | 1.5925 | 0.9318 | 0.3593 | 0.1552 | 0.1003 | 0.0714 | 0.056 | 0.0465 | 0.0418 | 0.0386 | 0.0386 | 0.0386 | 1.6843 | 0.9663 | 0.3439 | 0.1557 | 0.0999 | 0.0701 | 0.0563 | 0.0466 | 0.0427 | 0.0398 | 0.0385 | 0.0379 | 1.3387 | 0.6794 | 0.227 | 0.1306 | 0.0865 | 0.0638 | 0.051 | 0.044 | 0.0409 | 0.0389 | 0.041 | 0.0376 | 1.31 | 0.7062 | 0.2318 | 0.1317 | 0.088 | 0.0641 | 0.0511 | 0.0453 | 0.0418 | 0.0393 | 0.0384 | 0.0375 | 0.8629 | 0.3942 | 0.171 | 0.1093 | 0.0746 | 0.0549 | 0.047 | 0.0423 | 0.0402 | 0.0387 | 0.0377 | 0.0373 | 1.0899 | 0.3879 | 0.1707 | 0.1081 | 0.0736 | 0.0565 | 0.047 | 0.042 | 0.0399 | 0.0381 | 0.0381 | 0.0373 | 0.5249 | 0.2064 | 0.1276 | 0.0824 | 0.0618 | 0.0514 | 0.0442 | 0.0406 | 0.0393 | 0.0384 | 0.037 | 0.0365 | 0.5364 | 0.2145 | 0.128 | 0.083 | 0.0639 | 0.0501 | 0.0438 | 0.0405 | 0.0385 | 0.037 | 0.0377 | 0.0381
410 nm | 4 | 3.7129 | 2.8129 | 1.9517 | 1.1349 | 0.6284 | 0.349 | 0.1987 | 0.1248 | 0.0853 | 0.0663 | 0.0541 | 3.7903 | 3.8524 | 2.8062 | 1.9644 | 1.1355 | 0.6234 | 0.3533 | 0.203 | 0.1275 | 0.087 | 0.0664 | 0.054 | 4 | 3.4142 | 2.5078 | 1.6483 | 0.9129 | 0.4995 | 0.2813 | 0.1663 | 0.1076 | 0.0779 | 0.063 | 0.0513 | 4 | 3.4801 | 2.5188 | 1.6376 | 0.9291 | 0.5039 | 0.2836 | 0.1664 | 0.1077 | 0.0772 | 0.0603 | 0.0511 | 3.6848 | 2.9558 | 2.1267 | 1.2559 | 0.6971 | 0.3817 | 0.2223 | 0.1354 | 0.0922 | 0.0694 | 0.056 | 0.0488 | 3.7716 | 2.9354 | 2.1378 | 1.2631 | 0.6902 | 0.3838 | 0.2182 | 0.1314 | 0.0913 | 0.0684 | 0.0558 | 0.0478 | 3.1722 | 2.4018 | 1.5663 | 0.8423 | 0.4721 | 0.2667 | 0.1574 | 0.1021 | 0.078 | 0.059 | 0.0505 | 0.0453 | 3.1796 | 2.445 | 1.5958 | 0.8559 | 0.4798 | 0.2668 | 0.1593 | 0.1044 | 0.0755 | 0.0592 | 0.0508 | 0.047
Sample 2 absorbance (A.U.)
500 nm | 1.7776 | 0.971 | 0.3411 | 0.1594 | 0.1032 | 0.0724 | 0.057 | 0.0477 | 0.0422 | 0.0414 | 0.0395 | 0.0385 | 2.3981 | 0.9772 | 0.3436 | 0.1628 | 0.1048 | 0.0728 | 0.0565 | 0.0476 | 0.0415 | 0.0394 | 0.039 | 0.0376 | 1.4485 | 0.6688 | 0.2354 | 0.1389 | 0.0891 | 0.0645 | 0.0522 | 0.0461 | 0.0413 | 0.0394 | 0.039 | 0.0383 | 1.3364 | 0.6929 | 0.235 | 0.1369 | 0.0906 | 0.065 | 0.0525 | 0.0455 | 0.0417 | 0.0399 | 0.0388 | 0.0382 | 1.0254 | 0.3836 | 0.1721 | 0.1065 | 0.0756 | 0.0555 | 0.0473 | 0.0424 | 0.0401 | 0.0386 | 0.0382 | 0.0372 | 0.969 | 0.3958 | 0.1747 | 0.1113 | 0.076 | 0.0574 | 0.0483 | 0.0418 | 0.0401 | 0.0382 | 0.0382 | 0.0372 | 0.502 | 0.2145 | 0.1327 | 0.098 | 0.0613 | 0.0502 | 0.0438 | 0.0409 | 0.039 | 0.038 | 0.0366 | 0.0359 | 0.5866 | 0.2223 | 0.1299 | 0.0861 | 0.0648 | 0.0508 | 0.0442 | 0.0412 | 0.0397 | 0.0381 | 0.0382 | 0.0369
410 nm | 4 | 3.8201 | 2.7883 | 1.983 | 1.1584 | 0.6353 | 0.357 | 0.2055 | 0.1281 | 0.0893 | 0.0671 | 0.0546 | 4 | 3.8536 | 2.8153 | 2.0186 | 1.1951 | 0.6566 | 0.3685 | 0.2137 | 0.1348 | 0.0915 | 0.069 | 0.0553 | 4 | 3.404 | 2.5519 | 1.7357 | 0.9487 | 0.5172 | 0.2926 | 0.1748 | 0.1111 | 0.0798 | 0.0623 | 0.0523 | 4 | 3.4632 | 2.5547 | 1.6962 | 0.962 | 0.5253 | 0.2933 | 0.1736 | 0.1112 | 0.0797 | 0.0624 | 0.0524 | 3.9316 | 2.951 | 2.1378 | 1.2574 | 0.7141 | 0.3765 | 0.2165 | 0.1351 | 0.0922 | 0.0687 | 0.0559 | 0.0488 | 3.8301 | 2.9598 | 2.176 | 1.3403 | 0.7229 | 0.3941 | 0.2257 | 0.1394 | 0.0949 | 0.0697 | 0.0562 | 0.049 | 3.1349 | 2.4488 | 1.6142 | 0.8964 | 0.4727 | 0.2614 | 0.1575 | 0.1051 | 0.0751 | 0.0587 | 0.0504 | 0.046 | 3.3368 | 2.4958 | 1.6272 | 0.9042 | 0.4955 | 0.2729 | 0.162 | 0.1082 | 0.0762 | 0.0603 | 0.0512 | 0.0467
Sample 3 absorbance (A.U.)
500 nm | 1.5162 | 0.8812 | 0.307 | 0.1439 | 0.094 | 0.0684 | 0.0544 | 0.0465 | 0.0411 | 0.0413 | 0.0395 | 0.0382 | 1.4351 | 0.8634 | 0.3098 | 0.1465 | 0.0958 | 0.0677 | 0.0539 | 0.0461 | 0.0412 | 0.0391 | 0.0576 | 0.0373 | 1.2504 | 0.6164 | 0.2088 | 0.1255 | 0.0878 | 0.0605 | 0.0501 | 0.0439 | 0.0409 | 0.0398 | 0.0389 | 0.0379 | 1.127 | 0.6289 | 0.2086 | 0.1226 | 0.083 | 0.0616 | 0.0499 | 0.0449 | 0.0415 | 0.0398 | 0.0387 | 0.0383 | 0.9291 | 0.3519 | 0.1551 | 0.0988 | 0.0714 | 0.0541 | 0.0453 | 0.042 | 0.0397 | 0.0384 | 0.0382 | 0.0372 | 0.9303 | 0.3383 | 0.1542 | 0.0993 | 0.068 | 0.0538 | 0.046 | 0.041 | 0.039 | 0.038 | 0.038 | 0.037 | 0.4207 | 0.1876 | 0.1152 | 0.0774 | 0.0582 | 0.0488 | 0.043 | 0.0405 | 0.0383 | 0.0375 | 0.0369 | 0.0363 | 0.46 | 0.1952 | 0.1154 | 0.0791 | 0.0596 | 0.0487 | 0.0432 | 0.0404 | 0.0395 | 0.0384 | 0.0383 | 0.0373
410 nm | 4 | 3.6434 | 2.6501 | 1.8133 | 1.0294 | 0.5592 | 0.3196 | 0.1841 | 0.1182 | 0.0854 | 0.0653 | 0.0539 | 4 | 3.6363 | 2.6765 | 1.8426 | 1.052 | 0.5737 | 0.3225 | 0.1914 | 0.1231 | 0.0851 | 0.0836 | 0.0531 | 4 | 3.284 | 2.3951 | 1.5516 | 0.8372 | 0.4567 | 0.2637 | 0.1588 | 0.1046 | 0.0772 | 0.0625 | 0.0522 | 4 | 3.3042 | 2.389 | 1.5052 | 0.8392 | 0.4637 | 0.2604 | 0.1612 | 0.1042 | 0.0766 | 0.061 | 0.0521 | 3.8428 | 2.818 | 1.9587 | 1.1288 | 0.6371 | 0.3407 | 0.1992 | 0.126 | 0.0869 | 0.0663 | 0.0551 | 0.0482 | 3.8438 | 2.7915 | 1.9454 | 1.1499 | 0.6093 | 0.3386 | 0.1992 | 0.1244 | 0.0864 | 0.0659 | 0.0546 | 0.0484 | 2.9499 | 2.2722 | 1.4109 | 0.7542 | 0.4171 | 0.2355 | 0.1442 | 0.0984 | 0.0723 | 0.0574 | 0.0503 | 0.0465 | 3.0138 | 2.3146 | 1.4086 | 0.7845 | 0.4257 | 0.2412 | 0.1465 | 0.0992 | 0.0722 | 0.0584 | 0.0506 | 0.0468
2.0 μm pore size filter, 0.4 mL processed blood, filtrate sample
Sample 1 absorbance (A.U.)
500 nm | 0.0393 | 0.0398 | 0.0397 | 0.0375 | 0.0377 | 0.0379 | 0.0377 | 0.0374 | 0.0361 | 0.0376 | 0.0373 | 0.037 | 0.0409 | 0.0393 | 0.0387 | 0.0375 | 0.0381 | 0.0374 | 0.0372 | 0.0368 | 0.0357 | 0.0362 | 0.0372 | 0.0365 | 0.041 | 0.0397 | 0.0384 | 0.0378 | 0.0368 | 0.0363 | 0.0366 | 0.0365 | 0.0365 | 0.0369 | 0.0374 | 0.037 | 0.0409 | 0.0401 | 0.0391 | 0.0385 | 0.038 | 0.0371 | 0.0362 | 0.0371 | 0.037 | 0.0387 | 0.0369 | 0.037 | 0.0414 | 0.0389 | 0.0382 | 0.0372 | 0.037 | 0.0365 | 0.0362 | 0.0367 | 0.0368 | 0.0369 | 0.0371 | 0.0369 | 0.0398 | 0.039 | 0.0381 | 0.0369 | 0.0365 | 0.0365 | 0.0369 | 0.036 | 0.0367 | 0.0363 | 0.0369 | 0.0365 | 0.0391 | 0.0385 | 0.0374 | 0.0369 | 0.0366 | 0.0372 | 0.0367 | 0.0366 | 0.0362 | 0.0363 | 0.036 | 0.036 | 0.0395 | 0.0381 | 0.0367 | 0.0366 | 0.0381 | 0.0366 | 0.0367 | 0.0364 | 0.0371 | 0.0369 | 0.0374 | 0.0361
410 nm | 0.0526 | 0.0505 | 0.0475 | 0.045 | 0.0436 | 0.0428 | 0.0422 | 0.0416 | 0.0412 | 0.0418 | 0.0416 | 0.0416 | 0.0532 | 0.05 | 0.0468 | 0.0442 | 0.0434 | 0.0422 | 0.0416 | 0.0413 | 0.0407 | 0.0407 | 0.0413 | 0.0408 | 0.0527 | 0.0494 | 0.046 | 0.0441 | 0.0429 | 0.0411 | 0.0409 | 0.0414 | 0.0408 | 0.0411 | 0.0416 | 0.0412 | 0.0534 | 0.0501 | 0.0467 | 0.0448 | 0.0435 | 0.0418 | 0.0411 | 0.041 | 0.0411 | 0.0428 | 0.0415 | 0.0417 | 0.0559 | 0.0447 | 0.0445 | 0.0427 | 0.0413 | 0.0417 | 0.0406 | 0.0407 | 0.0408 | 0.041 | 0.0417 | 0.0414 | 0.0504 | 0.0474 | 0.0456 | 0.0433 | 0.0422 | 0.0417 | 0.0413 | 0.0406 | 0.0412 | 0.0407 | 0.0414 | 0.0412 | 0.049 | 0.0464 | 0.0438 | 0.0425 | 0.0416 | 0.0417 | 0.0412 | 0.0412 | 0.0407 | 0.0409 | 0.0411 | 0.0414 | 0.0494 | 0.0477 | 0.0444 | 0.0429 | 0.0438 | 0.0419 | 0.0418 | 0.0414 | 0.0408 | 0.0417 | 0.0416 | 0.0412
Sample 2 absorbance (A.U.)
500 nm | 0.0396 | 0.0397 | 0.0398 | 0.0377 | 0.0377 | 0.0381 | 0.04 | 0.038 | 0.0364 | 0.0378 | 0.0375 | 0.0372 | 0.0414 | 0.0393 | 0.0388 | 0.0374 | 0.038 | 0.0374 | 0.0373 | 0.037 | 0.0361 | 0.0364 | 0.0374 | 0.0367 | 0.0412 | 0.0397 | 0.0386 | 0.0378 | 0.0363 | 0.0364 | 0.0367 | 0.0363 | 0.0366 | 0.0369 | 0.0375 | 0.0369 | 0.0411 | 0.0404 | 0.0395 | 0.0385 | 0.0381 | 0.0373 | 0.0366 | 0.0373 | 0.0372 | 0.0373 | 0.0372 | 0.0374 | 0.0399 | 0.0389 | 0.038 | 0.0374 | 0.0372 | 0.0367 | 0.0363 | 0.0367 | 0.0368 | 0.0368 | 0.0372 | 0.0366 | 0.0398 | 0.0389 | 0.038 | 0.0369 | 0.0368 | 0.0361 | 0.0364 | 0.0363 | 0.0361 | 0.0363 | 0.037 | 0.0367 | 0.0393 | 0.0385 | 0.0374 | 0.0367 | 0.0365 | 0.0372 | 0.0367 | 0.0366 | 0.0361 | 0.0362 | 0.0361 | 0.0357 | 0.0393 | 0.038 | 0.0368 | 0.0365 | 0.0374 | 0.0366 | 0.0367 | 0.0364 | 0.0371 | 0.0369 | 0.0372 | 0.0362
410 nm | 0.0538 | 0.0506 | 0.0484 | 0.0457 | 0.0442 | 0.0436 | 0.0458 | 0.0426 | 0.0421 | 0.0423 | 0.0421 | 0.0419 | 0.0544 | 0.0501 | 0.0473 | 0.0447 | 0.0438 | 0.0427 | 0.0421 | 0.042 | 0.0414 | 0.0412 | 0.0419 | 0.0412 | 0.0534 | 0.0497 | 0.0467 | 0.0447 | 0.0432 | 0.0417 | 0.0415 | 0.0418 | 0.0412 | 0.0416 | 0.042 | 0.0412 | 0.0543 | 0.0508 | 0.0477 | 0.0453 | 0.0438 | 0.0424 | 0.0417 | 0.0416 | 0.0416 | 0.0417 | 0.0418 | 0.0421 | 0.0511 | 0.0478 | 0.0453 | 0.0432 | 0.0424 | 0.0418 | 0.041 | 0.041 | 0.0411 | 0.0411 | 0.0418 | 0.0412 | 0.051 | 0.0475 | 0.0458 | 0.0434 | 0.0423 | 0.0416 | 0.041 | 0.0411 | 0.0408 | 0.0409 | 0.0416 | 0.0414 | 0.0496 | 0.0468 | 0.0442 | 0.0426 | 0.0417 | 0.0419 | 0.0414 | 0.0413 | 0.0408 | 0.041 | 0.0412 | 0.041 | 0.0487 | 0.0478 | 0.0446 | 0.0429 | 0.043 | 0.0418 | 0.0419 | 0.0414 | 0.0408 | 0.0416 | 0.0414 | 0.0414
Sample 3 absorbance (A.U.)
500 nm | 0.0389 | 0.0397 | 0.0397 | 0.0377 | 0.0374 | 0.0378 | 0.0381 | 0.0379 | 0.0361 | 0.0377 | 0.0374 | 0.037 | 0.0408 | 0.0392 | 0.0388 | 0.0375 | 0.0378 | 0.0372 | 0.0371 | 0.0368 | 0.0356 | 0.0364 | 0.0387 | 0.0366 | 0.0413 | 0.0399 | 0.0384 | 0.0378 | 0.0363 | 0.0364 | 0.0366 | 0.0367 | 0.0365 | 0.037 | 0.0376 | 0.0369 | 0.0418 | 0.04 | 0.0391 | 0.0383 | 0.038 | 0.0374 | 0.0361 | 0.037 | 0.0372 | 0.0372 | 0.037 | 0.0371 | 0.0405 | 0.0388 | 0.0381 | 0.0385 | 0.0372 | 0.0365 | 0.0363 | 0.0367 | 0.0375 | 0.037 | 0.0371 | 0.0366 | 0.0395 | 0.0389 | 0.0378 | 0.0373 | 0.037 | 0.037 | 0.0363 | 0.036 | 0.0366 | 0.0367 | 0.0372 | 0.0369 | 0.0392 | 0.0385 | 0.0373 | 0.0368 | 0.0367 | 0.0367 | 0.0366 | 0.0364 | 0.0366 | 0.0364 | 0.0361 | 0.0358 | 0.039 | 0.0379 | 0.0367 | 0.0364 | 0.0372 | 0.0368 | 0.0365 | 0.0363 | 0.0372 | 0.0369 | 0.0376 | 0.0362
410 nm | 0.0525 | 0.05 | 0.0475 | 0.045 | 0.0431 | 0.0427 | 0.0426 | 0.0419 | 0.0412 | 0.0417 | 0.0417 | 0.0415 | 0.0533 | 0.0497 | 0.0468 | 0.044 | 0.043 | 0.0419 | 0.0415 | 0.0412 | 0.0406 | 0.0408 | 0.0429 | 0.0408 | 0.053 | 0.0488 | 0.0459 | 0.044 | 0.0426 | 0.041 | 0.0408 | 0.0413 | 0.0408 | 0.0411 | 0.0418 | 0.041 | 0.0547 | 0.05 | 0.0467 | 0.0446 | 0.0435 | 0.042 | 0.0408 | 0.0409 | 0.0412 | 0.0411 | 0.0413 | 0.0417 | 0.0509 | 0.0474 | 0.0449 | 0.0446 | 0.042 | 0.0417 | 0.0408 | 0.0406 | 0.0417 | 0.0411 | 0.0415 | 0.041 | 0.0503 | 0.0473 | 0.0451 | 0.0433 | 0.0422 | 0.0422 | 0.0405 | 0.0406 | 0.0409 | 0.041 | 0.0415 | 0.0416 | 0.0489 | 0.0465 | 0.0439 | 0.0423 | 0.0416 | 0.0414 | 0.0411 | 0.041 | 0.041 | 0.041 | 0.0411 | 0.0412 | 0.0484 | 0.0472 | 0.0444 | 0.0427 | 0.0427 | 0.0419 | 0.0416 | 0.0412 | 0.0408 | 0.0418 | 0.0418 | 0.0413
2.0 μm pore size filter, 1.0 mL processed blood, retentate sample
Sample 1 absorbance (A.U.)
500 nm | 3.3833 | 1.9259 | 0.8886 | 0.3418 | 0.2069 | 0.1305 | 0.0907 | 0.0649 | 0.0532 | 0.0446 | 0.0412 | 0.0389 | 3.3075 | 1.8863 | 0.8708 | 0.3429 | 0.2029 | 0.1274 | 0.086 | 0.0639 | 0.0506 | 0.0441 | 0.0405 | 0.0393 | 2.8841 | 1.5183 | 0.5548 | 0.2848 | 0.1686 | 0.1079 | 0.0774 | 0.0577 | 0.0482 | 0.0424 | 0.0406 | 0.0382 | 2.9392 | 1.5601 | 0.5665 | 0.2889 | 0.1749 | 0.1096 | 0.0768 | 0.058 | 0.0493 | 0.043 | 0.0407 | 0.0391 | 1.9396 | 1.0378 | 0.3783 | 0.2193 | 0.135 | 0.0895 | 0.0643 | 0.0515 | 0.045 | 0.041 | 0.039 | 0.0384 | 2.2078 | 1.0582 | 0.3882 | 0.2208 | 0.1362 | 0.0913 | 0.0652 | 0.052 | 0.0452 | 0.0407 | 0.0395 | 0.0384 | 1.4118 | 0.5302 | 0.2694 | 0.16 | 0.1025 | 0.0733 | 0.0628 | 0.046 | 0.042 | 0.04 | 0.0377 | 0.036 | 1.3281 | 0.5116 | 0.2721 | 0.1582 | 0.1036 | 0.0726 | 0.0559 | 0.0471 | 0.0419 | 0.0402 | 0.0382 | 0.0368
410 nm | 4 | 4 | 3.9696 | 2.9999 | 2.3837 | 1.5428 | 0.8969 | 0.503 | 0.2989 | 0.1722 | 0.1083 | 0.0775 | 4 | 4 | 3.978 | 3.0303 | 2.384 | 1.5127 | 0.8593 | 0.4817 | 0.2757 | 0.1668 | 0.1093 | 0.0766 | 4 | 4 | 3.5423 | 2.8402 | 2.0565 | 1.2307 | 0.7051 | 0.3781 | 0.2204 | 0.1328 | 0.093 | 0.068 | 4 | 4 | 3.5827 | 2.8627 | 2.1191 | 1.2554 | 0.6959 | 0.3884 | 0.2278 | 0.1355 | 0.0942 | 0.0691 | 4 | 4 | 3.1729 | 2.5172 | 1.64 | 0.9203 | 0.5098 | 0.281 | 0.1693 | 0.1074 | 0.0774 | 0.0609 | 4 | 4 | 3.1891 | 2.5226 | 1.6621 | 0.949 | 0.5194 | 0.2893 | 0.1721 | 0.1087 | 0.0784 | 0.0612 | 4 | 3.4955 | 2.7515 | 1.934 | 1.143 | 0.623 | 0.36 | 0.2008 | 0.1253 | 0.0861 | 0.0645 | 0.0528 | 4 | 3.4496 | 2.7487 | 1.9211 | 1.1386 | 0.6085 | 0.3411 | 0.1947 | 0.1224 | 0.0854 | 0.0643 | 0.0536
Sample 2 absorbance (A.U.)
500 nm | 3.165 | 1.9521 | 0.8548 | 0.3348 | 0.1975 | 0.1252 | 0.0865 | 0.0623 | 0.052 | 0.0436 | 0.0406 | 0.0397 | 3.3952 | 1.8921 | 0.8465 | 0.3343 | 0.1965 | 0.126 | 0.0847 | 0.0619 | 0.0493 | 0.0436 | 0.0409 | 0.0387 | 2.7714 | 1.5498 | 0.5546 | 0.2853 | 0.1651 | 0.1065 | 0.0751 | 0.0575 | 0.0475 | 0.0426 | 0.0406 | 0.0385 | 3.2714 | 1.6155 | 0.5561 | 0.2826 | 0.166 | 0.1096 | 0.0757 | 0.0576 | 0.0484 | 0.0433 | 0.0406 | 0.0396 | 2.2234 | 1.0351 | 0.4091 | 0.2141 | 0.1297 | 0.0865 | 0.0616 | 0.0501 | 0.0441 | 0.0406 | 0.0385 | 0.0372 | 2.1809 | 1.0476 | 0.3743 | 0.2143 | 0.1303 | 0.0865 | 0.0638 | 0.0514 | 0.044 | 0.0402 | 0.0387 | 0.0377 | 1.407 | 0.5012 | 0.2596 | 0.1535 | 0.0997 | 0.0709 | 0.0549 | 0.0458 | 0.0432 | 0.0387 | 0.0371 | 0.0373 | 1.4146 | 0.5021 | 0.2649 | 0.1577 | 0.1009 | 0.0729 | 0.0565 | 0.0474 | 0.0426 | 0.0406 | 0.0392 | 0.0373
410 nm | 4 | 4 | 3.9323 | 2.9654 | 2.306 | 1.4718 | 0.8397 | 0.4628 | 0.2689 | 0.1581 | 0.1034 | 0.0744 | 4 | 4 | 3.9204 | 2.9981 | 2.324 | 1.4896 | 0.8345 | 0.4612 | 0.2634 | 0.1567 | 0.1033 | 0.0742 | 4 | 4 | 3.5418 | 2.8292 | 2.0341 | 1.1926 | 0.6626 | 0.3691 | 0.2113 | 0.1303 | 0.0893 | 0.0673 | 4 | 4 | 3.5667 | 2.8338 | 2.0479 | 1.2042 | 0.6785 | 0.3726 | 0.2152 | 0.134 | 0.0897 | 0.0677 | 4 | 4 | 3.1703 | 2.4776 | 1.5221 | 0.8733 | 0.471 | 0.2621 | 0.1556 | 0.1013 | 0.0729 | 0.0579 | 4 | 4 | 3.1504 | 2.4605 | 1.5854 | 0.8702 | 0.4853 | 0.2676 | 0.1593 | 0.1018 | 0.0723 | 0.0584 | 4 | 3.4377 | 2.7206 | 1.8841 | 1.0735 | 0.5923 | 0.3266 | 0.1894 | 0.1186 | 0.0824 | 0.0604 | 0.0536 | 4 | 3.4342 | 2.7187 | 1.9088 | 1.1153 | 0.6071 | 0.3416 | 0.1941 | 0.121 | 0.0836 | 0.0639 | 0.0539
Sample 3 absorbance (A.U.)
500 nm | 3.4171 | 1.8067 | 0.8167 | 0.3033 | 0.1859 | 0.1132 | 0.0814 | 0.0589 | 0.0489 | 0.0421 | 0.0403 | 0.0384 | 3.2884 | 1.7791 | 0.7868 | 0.2999 | 0.1769 | 0.111 | 0.0768 | 0.0585 | 0.0471 | 0.0423 | 0.0394 | 0.0377 | 2.6247 | 1.4358 | 0.5062 | 0.253 | 0.1493 | 0.0978 | 0.069 | 0.0536 | 0.0465 | 0.0411 | 0.04 | 0.0377 | 2.5346 | 1.4466 | 0.4941 | 0.2507 | 0.1525 | 0.099 | 0.0708 | 0.0549 | 0.0466 | 0.0416 | 0.04 | 0.0388 | 1.926 | 0.9558 | 0.3379 | 0.1989 | 0.1195 | 0.0803 | 0.0592 | 0.0496 | 0.0435 | 0.04 | 0.0383 | 0.0372 | 2.1146 | 0.9798 | 0.3474 | 0.1955 | 0.1196 | 0.0819 | 0.0607 | 0.0488 | 0.0442 | 0.0398 | 0.0391 | 0.0376 | 1.327 | 0.4728 | 0.2444 | 0.1432 | 0.0923 | 0.0674 | 0.0525 | 0.044 | 0.0406 | 0.0388 | 0.0377 | 0.0363 | 1.2754 | 0.4625 | 0.2445 | 0.1453 | 0.0951 | 0.0673 | 0.0531 | 0.0455 | 0.0409 | 0.0397 | 0.038 | 0.0375
410 nm | 4 | 4 | 3.8402 | 2.8614 | 2.1679 | 1.3033 | 0.7365 | 0.406 | 0.2274 | 0.1344 | 0.0929 | 0.0687 | 4 | 4 | 3.8511 | 2.8797 | 2.1353 | 1.2689 | 0.7011 | 0.3875 | 0.2155 | 0.1295 | 0.0926 | 0.0649 | 4 | 4 | 3.4262 | 2.7071 | 1.8253 | 1.05 | 0.5925 | 0.316 | 0.1848 | 0.1136 | 0.081 | 0.0617 | 4 | 4 | 3.4262 | 2.6942 | 1.862 | 1.0627 | 0.5806 | 0.3261 | 0.1898 | 0.1165 | 0.0832 | 0.0632 | 4 | 4 | 3.0519 | 2.348 | 1.4138 | 0.7728 | 0.427 | 0.2369 | 0.1422 | 0.0923 | 0.0683 | 0.0553 | 4 | 4 | 3.0658 | 2.3361 | 1.4314 | 0.7892 | 0.4306 | 0.2385 | 0.1447 | 0.0928 | 0.0692 | 0.0562 | 4 | 3.3607 | 2.6255 | 1.7461 | 0.9776 | 0.5234 | 0.2958 | 0.1707 | 0.1057 | 0.0742 | 0.0586 | 0.0512 | 4 | 3.321 | 2.63 | 1.7559 | 0.9786 | 0.5253 | 0.2941 | 0.1701 | 0.1072 | 0.0771 | 0.0607 | 0.0525
2.0 μm pore size filter, 1.0 mL processed blood, filtrate sample
Sample 1 absorbance (A.U.)
500 nm | 0.0402 | 0.041 | 0.0396 | 0.0378 | 0.0369 | 0.0372 | 0.0375 | 0.0369 | 0.0371 | 0.0366 | 0.037 | 0.0362 | 0.0412 | 0.0387 | 0.0381 | 0.0404 | 0.0372 | 0.0374 | 0.0371 | 0.0368 | 0.0363 | 0.0365 | 0.0367 | 0.0365 | 0.0415 | 0.0401 | 0.0384 | 0.0385 | 0.0376 | 0.0365 | 0.0363 | 0.0366 | 0.0371 | 0.0366 | 0.0371 | 0.0366 | 0.0428 | 0.0393 | 0.0389 | 0.0439 | 0.0375 | 0.0357 | 0.0368 | 0.0368 | 0.0372 | 0.0368 | 0.037 | 0.0367 | 0.0399 | 0.0395 | 0.0384 | 0.0382 | 0.037 | 0.0362 | 0.0378 | 0.0367 | 0.0367 | 0.037 | 0.037 | 0.036 | 0.0393 | 0.0404 | 0.0381 | 0.0369 | 0.036 | 0.0369 | 0.0361 | 0.0365 | 0.0365 | 0.036 | 0.0369 | 0.0366 | 0.0399 | 0.0392 | 0.0384 | 0.0378 | 0.0366 | 0.0372 | 0.0367 | 0.0357 | 0.0367 | 0.0364 | 0.0359 | 0.0356 | 0.0398 | 0.0396 | 0.038 | 0.0376 | 0.037 | 0.0378 | 0.0367 | 0.0368 | 0.0362 | 0.0367 | 0.0361 | 0.0358
410 nm | 0.0592 | 0.0535 | 0.0489 | 0.0457 | 0.0436 | 0.0427 | 0.0422 | 0.0419 | 0.0414 | 0.0424 | 0.0418 | 0.0414 | 0.0602 | 0.053 | 0.0489 | 0.0482 | 0.0439 | 0.0424 | 0.0416 | 0.0411 | 0.041 | 0.0408 | 0.041 | 0.0413 | 0.0576 | 0.0522 | 0.0476 | 0.0462 | 0.0427 | 0.041 | 0.0405 | 0.0408 | 0.0412 | 0.041 | 0.0413 | 0.0412 | 0.0596 | 0.0518 | 0.0479 | 0.0518 | 0.0432 | 0.0414 | 0.041 | 0.0406 | 0.0412 | 0.0409 | 0.0413 | 0.041 | 0.0541 | 0.0499 | 0.0462 | 0.0442 | 0.0421 | 0.0406 | 0.0436 | 0.0403 | 0.0407 | 0.0411 | 0.0413 | 0.0407 | 0.0533 | 0.0503 | 0.0463 | 0.0432 | 0.0418 | 0.0416 | 0.0403 | 0.0404 | 0.0405 | 0.04 | 0.0409 | 0.041 | 0.0502 | 0.0479 | 0.0445 | 0.0431 | 0.0412 | 0.0413 | 0.0407 | 0.0406 | 0.0406 | 0.0404 | 0.0404 | 0.0402 | 0.0509 | 0.0479 | 0.0443 | 0.0428 | 0.0425 | 0.0423 | 0.0412 | 0.0407 | 0.0404 | 0.0409 | 0.0411 | 0.0408
Sample 2 absorbance (A.U.)
500 nm | 0.0418 | 0.0393 | 0.0399 | 0.0391 | 0.0388 | 0.0379 | 0.0378 | 0.0441 | 0.0368 | 0.0355 | 0.0369 | 0.0372 | 0.0433 | 0.0408 | 0.0387 | 0.0393 | 0.0376 | 0.0372 | 0.0372 | 0.0368 | 0.0375 | 0.0369 | 0.0369 | 0.037 | 0.0419 | 0.0401 | 0.0393 | 0.037 | 0.0369 | 0.0379 | 0.0369 | 0.036 | 0.0367 | 0.0365 | 0.0372 | 0.0368 | 0.0425 | 0.0414 | 0.0392 | 0.0383 | 0.0376 | 0.037 | 0.0358 | 0.0412 | 0.0375 | 0.037 | 0.0371 | 0.0368 | 0.0397 | 0.0386 | 0.0382 | 0.0375 | 0.0371 | 0.0362 | 0.0354 | 0.0363 | 0.0371 | 0.0368 | 0.0367 | 0.0366 | 0.0399 | 0.04 | 0.0377 | 0.0411 | 0.0552 | 0.0364 | 0.0364 | 0.036 | 0.037 | 0.0362 | 0.0401 | 0.0366 | 0.0392 | 0.0381 | 0.0386 | 0.0405 | 0.0392 | 0.037 | 0.037 | 0.0367 | 0.0373 | 0.0387 | 0.0363 | 0.0359 | 0.0398 | 0.0373 | 0.0364 | 0.0361 | 0.0373 | 0.0373 | 0.0364 | 0.0357 | 0.0365 | 0.039 | 0.0367 | 0.0365
410 nm | 0.0579 | 0.0529 | 0.0498 | 0.0477 | 0.0454 | 0.0439 | 0.0433 | 0.0504 | 0.043 | 0.0421 | 0.0423 | 0.0421 | 0.0623 | 0.0549 | 0.0492 | 0.0477 | 0.0446 | 0.0429 | 0.0424 | 0.0418 | 0.0421 | 0.0418 | 0.0421 | 0.0415 | 0.0584 | 0.0516 | 0.0487 | 0.0449 | 0.0432 | 0.0436 | 0.042 | 0.0409 | 0.0416 | 0.0416 | 0.0417 | 0.0414 | 0.0587 | 0.0533 | 0.0483 | 0.0456 | 0.0435 | 0.0425 | 0.0418 | 0.046 | 0.0419 | 0.0416 | 0.0418 | 0.0415 | 0.0529 | 0.0491 | 0.047 | 0.0438 | 0.0431 | 0.0416 | 0.0411 | 0.0405 | 0.0416 | 0.0413 | 0.0413 | 0.0412 | 0.0537 | 0.0495 | 0.0457 | 0.048 | 0.0642 | 0.041 | 0.041 | 0.0409 | 0.0413 | 0.0409 | 0.0443 | 0.0405 | 0.0507 | 0.047 | 0.045 | 0.0473 | 0.0431 | 0.0411 | 0.041 | 0.0407 | 0.0412 | 0.0429 | 0.0412 | 0.0403 | 0.0504 | 0.0479 | 0.0448 | 0.043 | 0.0422 | 0.0419 | 0.0415 | 0.0411 | 0.0413 | 0.0452 | 0.0409 | 0.0407
Sample 3 absorbance (A.U.)
500 nm | 0.0422 | 0.0409 | 0.0404 | 0.0375 | 0.0368 | 0.0373 | 0.0375 | 0.0367 | 0.0372 | 0.0356 | 0.0367 | 0.0361 | 0.0515 | 0.0399 | 0.0383 | 0.0376 | 0.0376 | 0.0375 | 0.0371 | 0.0369 | 0.0364 | 0.0368 | 0.0367 | 0.0365 | 0.0417 | 0.0405 | 0.0383 | 0.0366 | 0.0383 | 0.0367 | 0.0373 | 0.0372 | 0.0371 | 0.0366 | 0.0372 | 0.0366 | 0.0427 | 0.0406 | 0.0391 | 0.0381 | 0.0375 | 0.0361 | 0.0368 | 0.037 | 0.0373 | 0.0369 | 0.037 | 0.0367 | 0.0399 | 0.0402 | 0.0384 | 0.0377 | 0.0371 | 0.0364 | 0.0365 | 0.0367 | 0.0368 | 0.0367 | 0.0368 | 0.0359 | 0.0392 | 0.0399 | 0.0382 | 0.0369 | 0.0361 | 0.0367 | 0.0363 | 0.0368 | 0.0368 | 0.0362 | 0.0369 | 0.0366 | 0.0404 | 0.0388 | 0.0378 | 0.038 | 0.0368 | 0.0374 | 0.0368 | 0.036 | 0.0368 | 0.0366 | 0.0361 | 0.0356 | 0.0393 | 0.0402 | 0.0383 | 0.0375 | 0.0373 | 0.0377 | 0.0368 | 0.0369 | 0.0364 | 0.0367 | 0.0361 | 0.0359
410 nm | 0.0624 | 0.0531 | 0.0493 | 0.0456 | 0.044 | 0.0432 | 0.0426 | 0.0422 | 0.0417 | 0.0416 | 0.0419 | 0.0415 | 0.0646 | 0.0534 | 0.0478 | 0.0452 | 0.0449 | 0.0428 | 0.042 | 0.0415 | 0.0413 | 0.0413 | 0.0413 | 0.0414 | 0.0563 | 0.0524 | 0.0473 | 0.0443 | 0.0437 | 0.0418 | 0.0421 | 0.0418 | 0.0417 | 0.0413 | 0.0416 | 0.0414 | 0.0584 | 0.053 | 0.0483 | 0.0452 | 0.0435 | 0.0422 | 0.0416 | 0.0414 | 0.0419 | 0.0415 | 0.0417 | 0.0414 | 0.0525 | 0.0503 | 0.0465 | 0.0444 | 0.0428 | 0.0414 | 0.0422 | 0.041 | 0.0414 | 0.0413 | 0.0414 | 0.0411 | 0.0512 | 0.0501 | 0.047 | 0.0438 | 0.0426 | 0.0421 | 0.0414 | 0.0415 | 0.0415 | 0.0408 | 0.0414 | 0.0413 | 0.0505 | 0.0478 | 0.0449 | 0.044 | 0.0421 | 0.0425 | 0.0417 | 0.0417 | 0.0414 | 0.0414 | 0.0413 | 0.0407 | 0.0499 | 0.0484 | 0.0451 | 0.0435 | 0.0438 | 0.043 | 0.0422 | 0.0419 | 0.0414 | 0.0417 | 0.0418 | 0.0414
3.0 μm pore size filter, 0.4 mL processed blood, retentate sample
Sample 1 absorbance (A.U.)
500 nm | 1.5213 | 0.902 | 0.3959 | 0.1521 | 0.0986 | 0.0706 | 0.0545 | 0.0461 | 0.043 | 0.0386 | 0.0379 | 0.0383 | 2.0485 | 0.8222 | 0.4029 | 0.1552 | 0.1003 | 0.0728 | 0.0561 | 0.0467 | 0.0408 | 0.0393 | 0.0389 | 0.0375 | 1.4943 | 0.6584 | 0.2742 | 0.1335 | 0.0847 | 0.0623 | 0.0507 | 0.0441 | 0.041 | 0.0389 | 0.0387 | 0.0374 | 1.2446 | 0.7117 | 0.2705 | 0.1281 | 0.0849 | 0.0628 | 0.0511 | 0.0451 | 0.0415 | 0.0426 | 0.0405 | 0.0404 | 1.2416 | 0.4683 | 0.166 | 0.1063 | 0.0733 | 0.0567 | 0.0458 | 0.0419 | 0.04 | 0.0385 | 0.0377 | 0.0366 | 1.1416 | 0.4798 | 0.1747 | 0.1054 | 0.0727 | 0.0577 | 0.0469 | 0.0431 | 0.039 | 0.0398 | 0.0387 | 0.0372 | 0.6116 | 0.2512 | 0.1227 | 0.0835 | 0.0612 | 0.0502 | 0.044 | 0.0403 | 0.0388 | 0.037 | 0.0365 | 0.0365 | 0.6246 | 0.2552 | 0.1231 | 0.0833 | 0.0616 | 0.0566 | 0.0444 | 0.0416 | 0.0396 | 0.0389 | 0.0389 | 0.0366
410 nm | 4 | 3.7276 | 2.7264 | 1.8654 | 1.0966 | 0.5954 | 0.3315 | 0.1919 | 0.1195 | 0.0808 | 0.0642 | 0.0535 | 4 | 3.6443 | 2.7766 | 1.9211 | 1.1165 | 0.6316 | 0.3512 | 0.2045 | 0.1277 | 0.0887 | 0.0692 | 0.055 | 4 | 3.3499 | 2.4595 | 1.5834 | 0.8503 | 0.454 | 0.2595 | 0.1558 | 0.1032 | 0.0719 | 0.0604 | 0.0508 | 4 | 3.4595 | 2.4555 | 1.5593 | 0.8525 | 0.4635 | 0.2632 | 0.1515 | 0.1025 | 0.1193 | 0.0828 | 0.0647 | 4 | 2.9822 | 2.01 | 1.2268 | 0.661 | 0.374 | 0.2091 | 0.126 | 0.0897 | 0.0672 | 0.0552 | 0.0486 | 4 | 2.9977 | 2.1009 | 1.2204 | 0.6598 | 0.3665 | 0.2063 | 0.129 | 0.0873 | 0.0679 | 0.0554 | 0.0481 | 3.2771 | 2.3982 | 1.4795 | 0.815 | 0.4415 | 0.2466 | 0.1471 | 0.0991 | 0.0721 | 0.058 | 0.0494 | 0.0456 | 3.2279 | 2.4004 | 1.4804 | 0.8212 | 0.4483 | 0.2561 | 0.1505 | 0.1004 | 0.0744 | 0.0584 | 0.0511 | 0.046
Sample 2 absorbance (A.U.)
500 nm | 1.6217 | 0.8682 | 0.3897 | 0.1469 | 0.096 | 0.0694 | 0.0557 | 0.0472 | 0.0414 | 0.0408 | 0.0396 | 0.0387 | 2.094 | 0.8922 | 0.3949 | 0.1484 | 0.0974 | 0.0692 | 0.0546 | 0.0457 | 0.041 | 0.0391 | 0.0395 | 0.037 | 1.513 | 0.6572 | 0.2532 | 0.1264 | 0.0854 | 0.0611 | 0.0498 | 0.0441 | 0.0407 | 0.039 | 0.0388 | 0.0378 | 1.2442 | 0.6991 | 0.2644 | 0.1278 | 0.0854 | 0.0632 | 0.0507 | 0.0448 | 0.0417 | 0.0398 | 0.0388 | 0.0381 | 0.764 | 0.4459 | 0.1621 | 0.1013 | 0.0713 | 0.0542 | 0.0461 | 0.042 | 0.0403 | 0.0384 | 0.0382 | 0.0372 | 0.8158 | 0.4698 | 0.1626 | 0.1031 | 0.0698 | 0.0548 | 0.047 | 0.0414 | 0.0393 | 0.038 | 0.038 | 0.0369 | 0.5352 | 0.2306 | 0.1209 | 0.0787 | 0.0585 | 0.049 | 0.0428 | 0.0402 | 0.0383 | 0.037 | 0.0368 | 0.036 | 0.5665 | 0.2328 | 0.1193 | 0.0803 | 0.0606 | 0.0494 | 0.0438 | 0.0407 | 0.0393 | 0.0389 | 0.0383 | 0.0369
410 nm | 4 | 3.6672 | 2.7137 | 1.8195 | 1.0367 | 0.5767 | 0.3266 | 0.1892 | 0.1203 | 0.083 | 0.065 | 0.0546 | 4 | 3.7036 | 2.7284 | 1.8552 | 1.0722 | 0.5903 | 0.3283 | 0.1917 | 0.123 | 0.0857 | 0.0666 | 0.0526 | 4 | 3.3537 | 2.417 | 1.5512 | 0.8382 | 0.4582 | 0.2603 | 0.1564 | 0.1022 | 0.0743 | 0.0585 | 0.0497 | 4 | 3.4343 | 2.4427 | 1.5491 | 0.8665 | 0.4815 | 0.2673 | 0.1606 | 0.1043 | 0.0754 | 0.0603 | 0.0511 | 3.5411 | 2.9132 | 1.9917 | 1.1424 | 0.6334 | 0.351 | 0.2032 | 0.1268 | 0.0865 | 0.0652 | 0.0551 | 0.048 | 3.6365 | 2.9292 | 2.0084 | 1.1883 | 0.6394 | 0.3541 | 0.1983 | 0.1286 | 0.0867 | 0.0667 | 0.0552 | 0.0479 | 3.1153 | 2.344 | 1.4606 | 0.7621 | 0.4182 | 0.238 | 0.1413 | 0.0948 | 0.0694 | 0.0556 | 0.0497 | 0.0454 | 3.1746 | 2.3432 | 1.4337 | 0.7921 | 0.4346 | 0.2492 | 0.1482 | 0.0997 | 0.073 | 0.0579 | 0.0505 | 0.0464
Sample 3 absorbance (A.U.)
500 nm | 1.5069 | 0.8172 | 0.3679 | 0.1461 | 0.0987 | 0.0716 | 0.0562 | 0.0466 | 0.0426 | 0.0393 | 0.039 | 0.0374 | 1.6231 | 0.8228 | 0.3645 | 0.1474 | 0.097 | 0.0695 | 0.0536 | 0.0469 | 0.0409 | 0.0392 | 0.0379 | 0.0373 | 1.2977 | 0.6482 | 0.2385 | 0.124 | 0.0844 | 0.0622 | 0.0506 | 0.0445 | 0.0416 | 0.0394 | 0.0387 | 0.0375 | 1.3371 | 0.6511 | 0.2511 | 0.1268 | 0.0831 | 0.0612 | 0.0507 | 0.0441 | 0.0409 | 0.039 | 0.0383 | 0.0378 | 0.9865 | 0.4507 | 0.1621 | 0.1017 | 0.0728 | 0.0553 | 0.0452 | 0.0424 | 0.0398 | 0.0381 | 0.0374 | 0.0371 | 0.9053 | 0.4509 | 0.159 | 0.1015 | 0.0714 | 0.0561 | 0.0467 | 0.0421 | 0.0406 | 0.0377 | 0.0377 | 0.037 | 0.577 | 0.2367 | 0.1204 | 0.0822 | 0.06 | 0.0502 | 0.0442 | 0.0399 | 0.0388 | 0.0375 | 0.0367 | 0.0368 | 0.563 | 0.2257 | 0.121 | 0.0806 | 0.0607 | 0.0512 | 0.0445 | 0.0419 | 0.0388 | 0.0386 | 0.0376 | 0.0387
410 nm | 4 | 3.5666 | 2.6447 | 1.7993 | 1.0724 | 0.6049 | 0.3464 | 0.2009 | 0.1247 | 0.0865 | 0.0678 | 0.0554 | 4 | 3.6443 | 2.6918 | 1.8407 | 1.0678 | 0.5829 | 0.3228 | 0.19 | 0.1169 | 0.0826 | 0.0644 | 0.0538 | 4 | 3.3186 | 2.3527 | 1.5276 | 0.8478 | 0.473 | 0.2763 | 0.1603 | 0.1046 | 0.0764 | 0.0606 | 0.0516 | 4 | 3.3069 | 2.4131 | 1.5409 | 0.8417 | 0.4594 | 0.2585 | 0.1522 | 0.1017 | 0.074 | 0.0589 | 0.0509 | 3.9721 | 2.9109 | 2.0011 | 1.1489 | 0.6441 | 0.3534 | 0.2033 | 0.1222 | 0.0855 | 0.0655 | 0.0534 | 0.0477 | 3.8011 | 2.9153 | 1.9673 | 1.1689 | 0.6539 | 0.3699 | 0.2107 | 0.1267 | 0.0895 | 0.0663 | 0.0548 | 0.0483 | 3.1826 | 2.3729 | 1.4343 | 0.7823 | 0.4362 | 0.2403 | 0.147 | 0.0958 | 0.0699 | 0.0569 | 0.049 | 0.0459 | 3.1131 | 2.3107 | 1.4418 | 0.7712 | 0.4329 | 0.2427 | 0.1457 | 0.096 | 0.071 | 0.0572 | 0.0506 | 0.0486
3.0 μm pore size filter, 0.4 mL processed blood, filtrate sample
Sample 1 absorbance (A.U.)
500 nm | 0.0426 | 0.0406 | 0.0406 | 0.0384 | 0.0388 | 0.0387 | 0.0379 | 0.0372 | 0.0373 | 0.036 | 0.0368 | 0.038 | 0.044 | 0.0413 | 0.0397 | 0.0382 | 0.0377 | 0.0378 | 0.0375 | 0.0372 | 0.0379 | 0.0379 | 0.0371 | 0.0371 | 0.0427 | 0.0409 | 0.0386 | 0.0375 | 0.0374 | 0.0367 | 0.0366 | 0.036 | 0.0371 | 0.0366 | 0.0372 | 0.0369 | 0.0438 | 0.0412 | 0.0393 | 0.0385 | 0.0373 | 0.0371 | 0.036 | 0.0374 | 0.0374 | 0.0369 | 0.0372 | 0.0367 | 0.0404 | 0.0394 | 0.0386 | 0.0375 | 0.0371 | 0.0365 | 0.0354 | 0.0366 | 0.0374 | 0.037 | 0.0369 | 0.0368 | 0.0407 | 0.0396 | 0.0379 | 0.0375 | 0.0378 | 0.0364 | 0.0365 | 0.0361 | 0.0371 | 0.0365 | 0.0368 | 0.0368 | 0.0409 | 0.0385 | 0.0381 | 0.0377 | 0.0372 | 0.0372 | 0.0371 | 0.0371 | 0.0373 | 0.0373 | 0.0365 | 0.0362 | 0.0404 | 0.0379 | 0.0371 | 0.0364 | 0.0376 | 0.0365 | 0.0364 | 0.036 | 0.0362 | 0.0359 | 0.037 | 0.0371
410 nm | 0.0688 | 0.0631 | 0.0547 | 0.0492 | 0.0468 | 0.0458 | 0.044 | 0.0438 | 0.0437 | 0.0428 | 0.0426 | 0.0433 | 0.0733 | 0.0626 | 0.0545 | 0.0494 | 0.0465 | 0.0446 | 0.0434 | 0.0425 | 0.0432 | 0.0432 | 0.0428 | 0.042 | 0.0677 | 0.0594 | 0.0523 | 0.0476 | 0.0449 | 0.0436 | 0.0425 | 0.0417 | 0.0428 | 0.0427 | 0.0425 | 0.0422 | 0.0681 | 0.0588 | 0.0524 | 0.0482 | 0.0456 | 0.0442 | 0.0427 | 0.0428 | 0.0428 | 0.0425 | 0.0429 | 0.0423 | 0.0592 | 0.0545 | 0.0497 | 0.0454 | 0.0443 | 0.0429 | 0.0421 | 0.0417 | 0.0425 | 0.0422 | 0.0422 | 0.042 | 0.0602 | 0.0539 | 0.0489 | 0.0456 | 0.0442 | 0.0426 | 0.0421 | 0.0421 | 0.0424 | 0.0421 | 0.0417 | 0.0413 | 0.0557 | 0.0509 | 0.0465 | 0.0449 | 0.0431 | 0.0428 | 0.0424 | 0.0422 | 0.0425 | 0.0424 | 0.0422 | 0.0412 | 0.055 | 0.0516 | 0.0477 | 0.045 | 0.0441 | 0.0425 | 0.0428 | 0.0425 | 0.0419 | 0.0422 | 0.042 | 0.0418
Sample 2 absorbance (A.U.)
500 nm | 0.0414 | 0.0417 | 0.0406 | 0.0379 | 0.0374 | 0.0378 | 0.0388 | 0.0373 | 0.0371 | 0.038 | 0.0724 | 0.0366 | 0.0424 | 0.0395 | 0.0378 | 0.0377 | 0.0391 | 0.0387 | 0.0371 | 0.0374 | 0.0361 | 0.0367 | 0.0371 | 0.0393 | 0.0425 | 0.0402 | 0.0386 | 0.0366 | 0.0379 | 0.0374 | 0.0369 | 0.0364 | 0.0378 | 0.0374 | 0.0376 | 0.0377 | 0.0441 | 0.0403 | 0.0394 | 0.0388 | 0.0378 | 0.0363 | 0.0371 | 0.0375 | 0.0373 | 0.0372 | 0.0377 | 0.0375 | 0.0398 | 0.0396 | 0.0387 | 0.0376 | 0.0449 | 0.0363 | 0.0373 | 0.037 | 0.0371 | 0.0369 | 0.0368 | 0.0363 | 0.0409 | 0.0396 | 0.0382 | 0.0379 | 0.0361 | 0.0369 | 0.0367 | 0.0381 | 0.0369 | 0.0364 | 0.0372 | 0.039 | 0.0412 | 0.0453 | 0.0384 | 0.0378 | 0.0369 | 0.0371 | 0.0369 | 0.0361 | 0.0371 | 0.0367 | 0.0361 | 0.0356 | 0.0398 | 0.0395 | 0.0386 | 0.0377 | 0.0384 | 0.0378 | 0.0369 | 0.0369 | 0.0365 | 0.0366 | 0.0362 | 0.0394
410 nm | 0.0687 | 0.0587 | 0.0531 | 0.0482 | 0.0462 | 0.0447 | 0.0449 | 0.0436 | 0.0426 | 0.0448 | 0.0856 | 0.0427 | 0.0686 | 0.0577 | 0.0521 | 0.0476 | 0.0491 | 0.0447 | 0.0427 | 0.0428 | 0.0418 | 0.0416 | 0.0423 | 0.045 | 0.0656 | 0.0562 | 0.0501 | 0.0464 | 0.0443 | 0.0435 | 0.0425 | 0.042 | 0.0429 | 0.0429 | 0.0427 | 0.0431 | 0.0664 | 0.0566 | 0.0514 | 0.0477 | 0.045 | 0.0435 | 0.0426 | 0.0428 | 0.0427 | 0.0425 | 0.043 | 0.0427 | 0.057 | 0.053 | 0.0492 | 0.0455 | 0.0491 | 0.0421 | 0.0439 | 0.0417 | 0.0422 | 0.0419 | 0.0418 | 0.0418 | 0.059 | 0.0528 | 0.0488 | 0.0461 | 0.0435 | 0.0429 | 0.0424 | 0.0437 | 0.042 | 0.0415 | 0.0419 | 0.0442 | 0.0576 | 0.0569 | 0.047 | 0.0448 | 0.0427 | 0.0425 | 0.0421 | 0.042 | 0.042 | 0.0417 | 0.0416 | 0.0409 | 0.0538 | 0.0506 | 0.0464 | 0.0447 | 0.0454 | 0.0435 | 0.0425 | 0.042 | 0.0415 | 0.042 | 0.0419 | 0.047
Sample 3 absorbance (A.U.)
500 nm | 0.0414 | 0.0414 | 0.0408 | 0.0384 | 0.0376 | 0.0386 | 0.0463 | 0.038 | 0.0369 | 0.0395 | 0.0381 | 0.038 | 0.0441 | 0.0407 | 0.0404 | 0.0395 | 0.0382 | 0.0377 | 0.0374 | 0.0368 | 0.0368 | 0.0365 | 0.0372 | 0.0371 | 0.043 | 0.0405 | 0.0386 | 0.0381 | 0.0369 | 0.0369 | 0.0367 | 0.0365 | 0.0368 | 0.037 | 0.0375 | 0.0372 | 0.045 | 0.0411 | 0.0402 | 0.0387 | 0.0383 | 0.0373 | 0.0366 | 0.0375 | 0.0372 | 0.0381 | 0.0373 | 0.0384 | 0.0411 | 0.0396 | 0.0384 | 0.0382 | 0.0377 | 0.0376 | 0.0366 | 0.0369 | 0.037 | 0.0377 | 0.0373 | 0.0368 | 0.0412 | 0.0398 | 0.0382 | 0.0371 | 0.0364 | 0.0362 | 0.0369 | 0.0358 | 0.037 | 0.0372 | 0.0372 | 0.0366 | 0.0399 | 0.0402 | 0.0384 | 0.0381 | 0.0366 | 0.0369 | 0.0369 | 0.0366 | 0.0368 | 0.0366 | 0.0363 | 0.036 | 0.0399 | 0.0381 | 0.0373 | 0.0371 | 0.0373 | 0.0365 | 0.0365 | 0.0364 | 0.0372 | 0.0369 | 0.0372 | 0.0364
410 nm | 0.0696 | 0.0615 | 0.0541 | 0.0494 | 0.046 | 0.0451 | 0.0509 | 0.0433 | 0.043 | 0.0446 | 0.0432 | 0.0432 | 0.0725 | 0.0619 | 0.0536 | 0.0496 | 0.0461 | 0.0444 | 0.0431 | 0.0425 | 0.043 | 0.042 | 0.0421 | 0.0422 | 0.0667 | 0.0579 | 0.0514 | 0.0473 | 0.0452 | 0.0431 | 0.0421 | 0.0425 | 0.0418 | 0.042 | 0.0423 | 0.0419 | 0.0701 | 0.0587 | 0.0526 | 0.0479 | 0.0454 | 0.0431 | 0.0423 | 0.0423 | 0.042 | 0.0428 | 0.0422 | 0.0434 | 0.0602 | 0.0538 | 0.0481 | 0.046 | 0.0439 | 0.0434 | 0.042 | 0.0414 | 0.0415 | 0.0423 | 0.042 | 0.0415 | 0.061 | 0.0533 | 0.0489 | 0.0458 | 0.043 | 0.0422 | 0.0417 | 0.0411 | 0.0417 | 0.0418 | 0.0417 | 0.0414 | 0.0557 | 0.0524 | 0.0471 | 0.0454 | 0.0423 | 0.042 | 0.0417 | 0.0414 | 0.0413 | 0.0414 | 0.0415 | 0.0415 | 0.0552 | 0.0508 | 0.0479 | 0.045 | 0.0436 | 0.0422 | 0.0419 | 0.0414 | 0.041 | 0.0418 | 0.0414 | 0.0417
3.0 μm pore size filter, 1.0 mL processed blood, retentate sample
Sample 1 absorbance (A.U.)
500 nm | 3.8166 | 1.9668 | 0.9231 | 0.3887 | 0.2266 | 0.1365 | 0.0899 | 0.064 | 0.052 | 0.0438 | 0.0417 | 0.039 | 3.2989 | 1.9172 | 0.9172 | 0.3881 | 0.2212 | 0.1353 | 0.0882 | 0.063 | 0.0511 | 0.0437 | 0.0404 | 0.0386 | 3.1587 | 1.4606 | 0.5314 | 0.2905 | 0.1708 | 0.1078 | 0.0746 | 0.0569 | 0.048 | 0.042 | 0.0405 | 0.0385 | 3.5208 | 1.5185 | 0.5576 | 0.3002 | 0.1769 | 0.1093 | 0.075 | 0.058 | 0.05 | 0.0442 | 0.0404 | 0.0393 | 2.4072 | 0.9045 | 0.3798 | 0.2189 | 0.1319 | 0.0875 | 0.0634 | 0.0508 | 0.0438 | 0.0403 | 0.0385 | 0.0377 | 2.8607 | 0.9122 | 0.3847 | 0.2152 | 0.1321 | 0.0884 | 0.0631 | 0.0509 | 0.0439 | 0.0397 | 0.039 | 0.0377 | 1.7394 | 0.4877 | 0.2678 | 0.1581 | 0.102 | 0.0709 | 0.0545 | 0.0454 | 0.0411 | 0.0388 | 0.037 | 0.036 | 2.3302 | 0.4799 | 0.2723 | 0.1577 | 0.1029 | 0.0714 | 0.0549 | 0.0467 | 0.0404 | 0.0404 | 0.0387 | 0.0369
410 nm | 4 | 4 | 4 | 3.1196 | 2.477 | 1.6329 | 0.9017 | 0.4855 | 0.2705 | 0.1556 | 0.1023 | 0.0743 | 4 | 4 | 4 | 3.1504 | 2.498 | 1.6296 | 0.8874 | 0.4865 | 0.2677 | 0.1571 | 0.1056 | 0.0728 | 4 | 4 | 3.536 | 2.8446 | 2.0776 | 1.2166 | 0.673 | 0.3565 | 0.2038 | 0.1235 | 0.0875 | 0.065 | 4 | 4 | 3.5977 | 2.8973 | 2.1606 | 1.2672 | 0.6831 | 0.374 | 0.2367 | 0.1402 | 0.0942 | 0.069 | 4 | 4 | 3.1659 | 2.5051 | 1.6118 | 0.8797 | 0.4763 | 0.2601 | 0.1517 | 0.0988 | 0.0727 | 0.0576 | 4 | 4 | 3.1664 | 2.482 | 1.6012 | 0.8941 | 0.477 | 0.2646 | 0.1546 | 0.0993 | 0.0745 | 0.0585 | 4 | 3.4455 | 2.7495 | 1.9549 | 1.1278 | 0.6048 | 0.3337 | 0.1888 | 0.1164 | 0.0805 | 0.0628 | 0.0522 | 4 | 3.4143 | 2.7525 | 1.9276 | 1.1097 | 0.5905 | 0.3215 | 0.1858 | 0.1119 | 0.0815 | 0.0628 | 0.0526
Sample 2 absorbance (A.U.)
500 nm | 3.2473 | 2.0541 | 0.8509 | 0.3522 | 0.2075 | 0.1286 | 0.0877 | 0.065 | 0.0509 | 0.0436 | 0.0417 | 0.0392 | 3.571 | 2.0087 | 0.843 | 0.3537 | 0.2049 | 0.1278 | 0.0863 | 0.0624 | 0.0509 | 0.0438 | 0.0403 | 0.0388 | 2.6585 | 1.5214 | 0.5751 | 0.2934 | 0.1729 | 0.1091 | 0.0782 | 0.0581 | 0.0492 | 0.0424 | 0.0406 | 0.0385 | 2.9002 | 1.58 | 0.5746 | 0.2965 | 0.1731 | 0.1123 | 0.0771 | 0.0581 | 0.049 | 0.0425 | 0.0405 | 0.0393 | 2.2444 | 0.9936 | 0.3902 | 0.2268 | 0.136 | 0.0914 | 0.0658 | 0.0513 | 0.0446 | 0.0407 | 0.0387 | 0.0378 | 2.3539 | 0.9872 | 0.3935 | 0.2244 | 0.138 | 0.0913 | 0.0648 | 0.0518 | 0.0446 | 0.04 | 0.039 | 0.0379 | 1.3044 | 0.5062 | 0.2649 | 0.1946 | 0.1011 | 0.0729 | 0.0551 | 0.0453 | 0.0411 | 0.0388 | 0.037 | 0.0363 | 1.3663 | 0.5099 | 0.278 | 0.161 | 0.1071 | 0.0746 | 0.0567 | 0.0487 | 0.0417 | 0.0409 | 0.039 | 0.0372
410 nm | 4 | 4 | 3.9814 | 3.0265 | 2.3849 | 1.5306 | 0.8696 | 0.4669 | 0.2567 | 0.1546 | 0.1021 | 0.0734 | 4 | 4 | 3.9795 | 3.0636 | 2.4065 | 1.5437 | 0.8664 | 0.4817 | 0.2712 | 0.1614 | 0.1077 | 0.075 | 4 | 4 | 3.5905 | 2.8654 | 2.1087 | 1.2592 | 0.7093 | 0.3778 | 0.2188 | 0.132 | 0.0905 | 0.0672 | 4 | 4 | 3.6014 | 2.8827 | 2.1279 | 1.2574 | 0.689 | 0.3789 | 0.2189 | 0.1314 | 0.09 | 0.0672 | 4 | 4 | 3.2067 | 2.5577 | 1.6717 | 0.9347 | 0.5134 | 0.2787 | 0.1656 | 0.1056 | 0.0739 | 0.059 | 4 | 4 | 3.2128 | 2.5394 | 1.664 | 0.9445 | 0.516 | 0.2799 | 0.167 | 0.1048 | 0.0757 | 0.0593 | 4 | 3.4675 | 2.7407 | 1.9375 | 1.1128 | 0.5993 | 0.3397 | 0.1891 | 0.1182 | 0.0804 | 0.062 | 0.0521 | 4 | 3.4612 | 2.7727 | 1.9799 | 1.1536 | 0.6326 | 0.3546 | 0.2017 | 0.1273 | 0.0861 | 0.065 | 0.0543
Sample 3 absorbance (A.U.)
500 nm | 3.5079 | 2.0059 | 0.8195 | 0.3273 | 0.1935 | 0.1209 | 0.0831 | 0.0614 | 0.0506 | 0.043 | 0.0407 | 0.0386 | 3.882 | 1.9956 | 0.812 | 0.3325 | 0.1924 | 0.1214 | 0.0815 | 0.0611 | 0.0498 | 0.0432 | 0.0399 | 0.0381 | 2.6315 | 1.5295 | 0.5453 | 0.2752 | 0.1634 | 0.1035 | 0.0736 | 0.0562 | 0.0478 | 0.0421 | 0.0404 | 0.0379 | 2.9174 | 1.5694 | 0.5505 | 0.2811 | 0.1652 | 0.1035 | 0.0733 | 0.0561 | 0.0475 | 0.0432 | 0.04 | 0.0391 | 2.2816 | 0.9645 | 0.3872 | 0.2106 | 0.1266 | 0.0844 | 0.0623 | 0.0507 | 0.0435 | 0.0404 | 0.0385 | 0.0372 | 2.6521 | 0.9218 | 0.3645 | 0.2053 | 0.1277 | 0.0851 | 0.0636 | 0.0513 | 0.0441 | 0.0396 | 0.0392 | 0.0376 | 1.3265 | 0.501 | 0.2514 | 0.1517 | 0.0975 | 0.0686 | 0.0545 | 0.0448 | 0.0411 | 0.0388 | 0.0374 | 0.0356 | 1.3404 | 0.4915 | 0.2613 | 0.1535 | 0.0996 | 0.093 | 0.0547 | 0.0468 | 0.0418 | 0.0399 | 0.0382 | 0.0372
410 nm | 4 | 4 | 3.9053 | 2.9492 | 2.2932 | 1.4355 | 0.8049 | 0.4393 | 0.2459 | 0.147 | 0.0974 | 0.071 | 4 | 4 | 3.9464 | 2.9955 | 2.318 | 1.4636 | 0.7924 | 0.4423 | 0.2506 | 0.15 | 0.1013 | 0.0717 | 4 | 4 | 3.5218 | 2.7984 | 1.9993 | 1.167 | 0.6567 | 0.3537 | 0.2033 | 0.1261 | 0.0872 | 0.0643 | 4 | 4 | 3.5358 | 2.8205 | 2.0425 | 1.1823 | 0.6449 | 0.3561 | 0.2075 | 0.1278 | 0.0867 | 0.065 | 4 | 4 | 3.1255 | 2.4607 | 1.5483 | 0.8504 | 0.4701 | 0.2606 | 0.1532 | 0.1 | 0.0719 | 0.0568 | 4 | 4 | 3.1178 | 2.423 | 1.5323 | 0.861 | 0.4716 | 0.2662 | 0.1566 | 0.1001 | 0.0732 | 0.0577 | 4 | 3.4303 | 2.6762 | 1.8512 | 1.0561 | 0.5679 | 0.3225 | 0.1841 | 0.1142 | 0.0794 | 0.0608 | 0.0512 | 4 | 3.4213 | 2.7145 | 1.8839 | 1.0793 | 0.6159 | 0.3269 | 0.1903 | 0.1176 | 0.0817 | 0.0627 | 0.0529
3.0 μm pore size filter, 1.0 mL processed blood, filtrate sample
Sample 1 absorbance (A.U.)
500 nm | 0.0488 | 0.0445 | 0.0411 | 0.0382 | 0.0387 | 0.0381 | 0.0385 | 0.0372 | 0.0377 | 0.0365 | 0.0376 | 0.0366 | 0.053 | 0.0422 | 0.0398 | 0.0383 | 0.0372 | 0.0383 | 0.0373 | 0.036 | 0.0376 | 0.0368 | 0.0369 | 0.0373 | 0.0474 | 0.0423 | 0.039 | 0.038 | 0.0382 | 0.0372 | 0.0366 | 0.0372 | 0.0404 | 0.0369 | 0.0373 | 0.037 | 0.0495 | 0.0426 | 0.0394 | 0.0388 | 0.0388 | 0.0364 | 0.0364 | 0.0386 | 0.0377 | 0.0372 | 0.0371 | 0.0373 | 0.0439 | 0.0403 | 0.039 | 0.0386 | 0.0372 | 0.0374 | 0.0369 | 0.0371 | 0.037 | 0.0369 | 0.0368 | 0.037 | 0.0435 | 0.0403 | 0.0384 | 0.0387 | 0.0374 | 0.0371 | 0.0371 | 0.0372 | 0.0367 | 0.0361 | 0.0372 | 0.0371 | 0.0418 | 0.0392 | 0.0382 | 0.0376 | 0.0366 | 0.0371 | 0.037 | 0.0364 | 0.0365 | 0.0364 | 0.0356 | 0.0359 | 0.0403 | 0.0392 | 0.0388 | 0.0377 | 0.0384 | 0.0379 | 0.0376 | 0.0373 | 0.0357 | 0.0378 | 0.0374 | 0.036
410 nm | 0.1058 | 0.0905 | 0.0706 | 0.0555 | 0.0513 | 0.0482 | 0.0463 | 0.0446 | 0.0437 | 0.0438 | 0.0435 | 0.0428 | 0.1144 | 0.0878 | 0.0702 | 0.0567 | 0.0512 | 0.0478 | 0.0452 | 0.0432 | 0.0438 | 0.0426 | 0.043 | 0.0432 | 0.097 | 0.0784 | 0.0652 | 0.0548 | 0.0497 | 0.0462 | 0.0439 | 0.0435 | 0.047 | 0.0431 | 0.0426 | 0.0429 | 0.1018 | 0.082 | 0.0654 | 0.0553 | 0.0511 | 0.0466 | 0.0444 | 0.0451 | 0.0438 | 0.0431 | 0.0431 | 0.0427 | 0.0865 | 0.0711 | 0.0582 | 0.0522 | 0.0474 | 0.0448 | 0.0441 | 0.0429 | 0.0425 | 0.0424 | 0.0423 | 0.0426 | 0.0826 | 0.0712 | 0.0577 | 0.0519 | 0.0471 | 0.0449 | 0.0436 | 0.0426 | 0.0421 | 0.0419 | 0.0428 | 0.0427 | 0.0752 | 0.0637 | 0.0535 | 0.0486 | 0.0458 | 0.0442 | 0.043 | 0.0428 | 0.0419 | 0.0421 | 0.0419 | 0.0415 | 0.0757 | 0.0628 | 0.0536 | 0.0492 | 0.0466 | 0.0452 | 0.0437 | 0.043 | 0.0427 | 0.0429 | 0.0426 | 0.0419
Sample 2 absorbance (A.U.)
500 nm | 0.0523 | 0.0462 | 0.0423 | 0.0383 | 0.0381 | 0.0385 | 0.0383 | 0.0379 | 0.0365 | 0.038 | 0.0377 | 0.0373 | 0.054 | 0.0459 | 0.041 | 0.0383 | 0.0385 | 0.0376 | 0.0376 | 0.0369 | 0.0358 | 0.0364 | 0.0376 | 0.0366 | 0.0507 | 0.0449 | 0.0398 | 0.0383 | 0.0372 | 0.037 | 0.0366 | 0.037 | 0.0367 | 0.0371 | 0.0375 | 0.0369 | 0.0516 | 0.0449 | 0.0406 | 0.0389 | 0.0384 | 0.0378 | 0.0369 | 0.0372 | 0.0373 | 0.0372 | 0.0373 | 0.0372 | 0.0454 | 0.0417 | 0.039 | 0.0378 | 0.0374 | 0.0497 | 0.0364 | 0.0367 | 0.037 | 0.0369 | 0.0372 | 0.0367 | 0.0454 | 0.042 | 0.0399 | 0.0379 | 0.038 | 0.0365 | 0.0366 | 0.0357 | 0.0367 | 0.0364 | 0.0371 | 0.0364 | 0.042 | 0.0405 | 0.038 | 0.037 | 0.0368 | 0.0371 | 0.0369 | 0.0367 | 0.0367 | 0.0364 | 0.0361 | 0.0356 | 0.0426 | 0.0399 | 0.0373 | 0.0368 | 0.0374 | 0.037 | 0.037 | 0.0364 | 0.0372 | 0.0372 | 0.0558 | 0.0362
410 nm | 0.1086 | 0.0854 | 0.0687 | 0.0569 | 0.0507 | 0.0473 | 0.045 | 0.0435 | 0.0427 | 0.0428 | 0.0425 | 0.0421 | 0.1099 | 0.0851 | 0.0689 | 0.0563 | 0.0508 | 0.0462 | 0.0441 | 0.0428 | 0.0418 | 0.0415 | 0.0422 | 0.0412 | 0.0966 | 0.0786 | 0.0648 | 0.0539 | 0.0488 | 0.0446 | 0.0429 | 0.0427 | 0.0417 | 0.0419 | 0.0421 | 0.0412 | 0.1044 | 0.0799 | 0.066 | 0.0539 | 0.0493 | 0.0456 | 0.0432 | 0.0423 | 0.0421 | 0.0417 | 0.042 | 0.0418 | 0.0802 | 0.072 | 0.0591 | 0.0501 | 0.0459 | 0.0554 | 0.0421 | 0.0414 | 0.0414 | 0.0411 | 0.0418 | 0.0411 | 0.0819 | 0.0711 | 0.0603 | 0.0507 | 0.0468 | 0.0434 | 0.0419 | 0.0412 | 0.0412 | 0.041 | 0.0416 | 0.041 | 0.0733 | 0.065 | 0.0535 | 0.0469 | 0.0442 | 0.0431 | 0.042 | 0.0416 | 0.0412 | 0.0411 | 0.0412 | 0.0408 | 0.0712 | 0.0655 | 0.0537 | 0.0474 | 0.0456 | 0.0434 | 0.0427 | 0.0418 | 0.041 | 0.0419 | 0.0413 | 0.0411
Sample 3 absorbance (A.U.)
500 nm | 0.0509 | 0.0466 | 0.0417 | 0.0383 | 0.038 | 0.0384 | 0.0383 | 0.0379 | 0.0363 | 0.0379 | 0.0376 | 0.0373 | 0.0527 | 0.0448 | 0.0408 | 0.0382 | 0.0386 | 0.0374 | 0.0374 | 0.0373 | 0.0357 | 0.0364 | 0.0374 | 0.0366 | 0.0506 | 0.0433 | 0.0396 | 0.0385 | 0.0367 | 0.0366 | 0.0367 | 0.0367 | 0.0369 | 0.0369 | 0.038 | 0.0375 | 0.0509 | 0.0444 | 0.0406 | 0.039 | 0.0385 | 0.0378 | 0.037 | 0.0372 | 0.0373 | 0.0374 | 0.0375 | 0.0375 | 0.0459 | 0.0423 | 0.0389 | 0.0379 | 0.0375 | 0.0365 | 0.0367 | 0.037 | 0.0369 | 0.0377 | 0.0379 | 0.0384 | 0.0438 | 0.0414 | 0.0387 | 0.0377 | 0.0372 | 0.0362 | 0.0368 | 0.0359 | 0.0363 | 0.0363 | 0.037 | 0.0365 | 0.0418 | 0.0395 | 0.0381 | 0.037 | 0.0368 | 0.0373 | 0.0366 | 0.0366 | 0.0362 | 0.0364 | 0.0362 | 0.0357 | 0.0438 | 0.0394 | 0.0373 | 0.0369 | 0.0376 | 0.0367 | 0.0367 | 0.0365 | 0.0376 | 0.037 | 0.0373 | 0.0363
410 nm | 0.102 | 0.0815 | 0.067 | 0.0579 | 0.0497 | 0.0468 | 0.045 | 0.0435 | 0.0425 | 0.0428 | 0.0425 | 0.0421 | 0.1035 | 0.0812 | 0.0677 | 0.0557 | 0.0504 | 0.0458 | 0.0439 | 0.0435 | 0.0418 | 0.0416 | 0.0422 | 0.0413 | 0.0955 | 0.0754 | 0.0632 | 0.0544 | 0.048 | 0.0442 | 0.0428 | 0.043 | 0.0421 | 0.0419 | 0.0427 | 0.0419 | 0.098 | 0.0791 | 0.0642 | 0.0551 | 0.0492 | 0.0454 | 0.0433 | 0.0425 | 0.0422 | 0.0421 | 0.0425 | 0.0424 | 0.0814 | 0.0703 | 0.0583 | 0.0506 | 0.0463 | 0.0442 | 0.0426 | 0.042 | 0.0416 | 0.0528 | 0.0482 | 0.046 | 0.078 | 0.0688 | 0.0585 | 0.0513 | 0.0459 | 0.0435 | 0.0424 | 0.0415 | 0.0413 | 0.0411 | 0.0417 | 0.0413 | 0.0712 | 0.0634 | 0.0543 | 0.0473 | 0.0444 | 0.0434 | 0.0419 | 0.0417 | 0.041 | 0.0414 | 0.0414 | 0.0411 | 0.0759 | 0.0643 | 0.0535 | 0.0477 | 0.0456 | 0.0432 | 0.0426 | 0.0418 | 0.043 | 0.042 | 0.0418 | 0.0413
Volumes of the samples (mL)
2.0 μm pore size filter, 0.4 mL processed blood, retentate sample
Sample 1: 5.8
Sample 2: 5.9
Sample 3: 6.0
2.0 μm pore size filter, 0.4 mL processed blood, filtrate sample
Sample 1: 18.0
Sample 2: 18.6
Sample 3: 17.8
2.0 μm pore size filter, 1.0 mL processed blood, retentate sample
Sample 1: 6.7
Sample 2: 5.6
Sample 3: 5.9
2.0 μm pore size filter, 1.0 mL processed blood, filtrate sample
Sample 1: 17.6
Sample 2: 18.0
Sample 3: 17.8
3.0 μm pore size filter, 0.4 mL processed blood, retentate sample
Sample 1: 5.0
Sample 2: 5.2
Sample 3: 5.0
3.0 μm pore size filter, 0.4 mL processed blood, filtrate sample
Sample 1: 19.6
Sample 2: 19.2
Sample 3: 19.6
3.0 μm pore size filter, 1.0 mL processed blood, retentate sample
Sample 1: 5.5
Sample 2: 6.4
Sample 3: 6.8
3.0 μm pore size filter, 1.0 mL processed blood, filtrate sample
Sample 1: 18.6
Sample 2: 17.6
Sample 3: 17.6