## S1-EPMA
RSC Advances:
Liu et al: Precise determination of major and trace elements in micrometer-scale ilmenite lamellae in titanomagnetite using LA-ICP-MS technique: Application of regression analysis to time-resolved signals
ESI Table 1: Analytical results (in ppm) and applied conditions for magnetite and ilmenite using EPMA | [11 empty] | Analytical conditions of EPMA analyses for Fe-Ti oxides
[12 empty] | Element (X-ray line) | Standard | Analysing Crystal | Detection limit (ppm,1sigma)
ilmenite (n=6) | [11 empty] | Ti (Kα) | Rutile | PETJ | 80
note | Ti | Ca | Nb | Al | Mg | Si | Fe | Mn | Cr | V |  | Ca (Kα) | Diopside | PETJ | 760
Ilm-f-1 | 356475.168 | 28.5878 | 307.5293 | 5.292 | 100205.065 | n.a. | 163576.9417 | 23675.2986 | 6.8421 | 312.6914 |  | Nb(Lα) | Niobium | PETH | 170
Ilm-f-2 | 355893.75 | n.a. | 146.7753 | 10.584 | 101537.916 | 32.7199 | 163522.5301 | 23566.874 | 13.6842 | 346.6795 |  | Al(Kα) | Corundum | TAP | 70
Ilm-f-3 | 355647.996 | 7.147 | 230.647 | 37.044 | 100482.491 | 32.7199 | 163802.3614 | 24170.9542 | n.a. | 455.4418 |  | Mg(Kα) | Diopside | TAP | 60
Ilm-f-4 | 352740.906 | 14.2939 | 419.3581 | 15.876 | 95555.164 | 46.7428 | 175329.8564 | 23721.7664 | n.a. | 462.2394 |  | Si(Kα) | Olivine | TAP | 80
Ilm-c-1 | 355198.446 | n.a. | 286.5614 | n.a. | 99704.492 | 60.7656 | 164688.4938 | 24147.7204 | n.a. | 421.4536 |  | Fe(Kα) | Hematite | LIF | 180
Ilm-c-2 | 356253.39 | 7.147 | 125.8074 | 58.2177 | 102291.791 | 70.1142 | 162488.7089 | 24449.7605 | n.a. | 319.489 |  | Mn(Kα) | Manganese | LIFH | 90
MAX | 356475.168 | 28.5878 | 419.3581 | 58.2177 | 102291.791 | 70.1142 | 175329.8564 | 24449.7605 | 13.6842 | 462.2394 | = MAX(i content) | Cr(Kα) | Chromium | LIFH | 80
MIN | 352740.906 | n.a. | 125.8074 | n.a. | 95555.164 | n.a. | 162488.7089 | 23566.874 | n.a. | 312.6914 | = MIN(i content) | V(Kα) | Vanadium | PETJ | 80
AVG | 355368.276 | 14.2939 | 252.7798 | 25.4027 | 99962.8198 | 48.6125 | 165568.1487 | 23955.3957 | 10.2631 | 386.3324 | = AVERAGE(i content)
DEV | 1244.6498 | 8.7532 | 99.7796 | 19.6323 | 2149.7263 | 14.9577 | 4412.3906 | 319.3318 | 3.421 | 62.2292 | = STDEV.P(i content)
magnetite (n=6) | bar: Ti
note | Ti | Ca | Nb | Al | Mg | Si | Fe | Mn | Cr | V
Mag-1 | 1070 | 30 | n.a. | 110 | 6390 | 100 | 708180 | 540 | n.a. | 3280
Mag-2 | 1120 | n.a. | n.a. | 120 | 6760 | n.a. | 706040 | 590 | 90 | 3440
Mag-3 | 1690 | n.a. | n.a. | 130 | 6380 | n.a. | 704530 | 620 | 50 | 3490
Mag-4 | 1540 | n.a. | n.a. | 100 | 6460 | 110 | 705150 | 560 | 140 | 3550
Mag-5 | 2130 | n.a. | 60 | 110 | 6460 | 40 | 707530 | 620 | 70 | 3540
Mag-6 | 1690 | n.a. | n.a. | 200 | 6360 | n.a. | 706750 | 760 | 40 | 3570
MAX | 2130 | 30 | 60 | 200 | 6760 | 110 | 708180 | 760 | 140 | 3570
MIN | 1070 | n.a. | n.a. | 100 | 6360 | n.a. | 704530 | 540 | n.a. | 3280 | = MAX(i content)
AVG | 1540 | 30 | 60 | 128.3333 | 6468.3333 | 83.3333 | 706363.3333 | 615 | 78 | 3478.3333 | = MIN(i content)
DEV | 362.9509 | 0 | 0 | 33.375 | 135.9432 | 30.9121 | 1274.6721 | 71.122 | 35.4401 | 98.5591 | = AVERAGE(i content)
= STDEV.P(i content)
Note: n.a. represents not applicable.

## S2-LA
RSC Advances:
Liu et al: Precise determination of major and trace elements in micrometer-scale ilmenite lamellae in titanomagnetite using LA-ICP-MS technique: Application of regression analysis to time-resolved signals
ESI Table 2: Analytical results for magnetite, ilmenite and reference materials using LA-ICP-MS
Note: n.a. represents not applicable.
| Element | Li | Be | B | Na | Mg | Al | Si | P | K | Ca | Sc | Ti | V | Cr | Mn | Fe | Co | Ni | Cu | Zn | Ga | Ge | As | Rb | Sr | Y | Zr | Nb | Mo | Ag | Cd | In | Sn | Sb | Cs | Ba | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Pb | Bi | Th | U
| mass | 7 | 9 | 11 | 23 | 25 | 27 | 29 | 31 | 39 | 42 | 45 | 47 | 51 | 53 | 55 | 57 | 59 | 60 | 63 | 66 | 71 | 73 | 75 | 85 | 88 | 89 | 90 | 93 | 95 | 107 | 111 | 115 | 118 | 121 | 133 | 137 | 139 | 140 | 141 | 146 | 147 | 153 | 157 | 159 | 163 | 165 | 166 | 169 | 173 | 175 | 178 | 181 | 182 | 208 | 209 | 232 | 238
| unit | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
| D.L. | 6.5942 | 0.40245 | 5.8101 | 22.7348 | 2.1543 | 1.7326 | 545.8376 | 79.2718 | 13.7202 | 475.4877 | 0.27428 | 1.1951 | 0.095939 | 1.9386 | 0.7819 | 23.4912 | 0.090121 | 0.79321 | 0.4499 | 1.2379 | 0.20796 | 0.70982 | 1.1019 | 0.50321 | 0.037506 | 0.0047746 | 0.014191 | 0.0040873 | 0.086722 | 0.018862 | 0.22679 | 0.028633 | 0.42956 | 0.12494 | 0.16125 | 0.060947 | 0.005417 | 0.01186 | 0.0016423 | 0.014986 | 0.0052388 | 0.0074555 | 0.052393 | 0.0068109 | 0.012704 | 0.0031675 | 0.006395 | 0.0016644 | 0.028651 | 0.0042688 | 0.013533 | 0.0027472 | 0.017845 | 0.045752 | 0.08258 | 0.0063478 | 0.0043368
ilmenite | CT-135-ILM-1 | 9.9344 | 0.014035 | 0.81929 | 41.4145 | 92663.2408 | 9.0226 | 432.6271 | 80.8335 | 3.0244 | n.a. | 344.3216 | 351543.2123 | 838.0257 | n.a. | 22470.4857 | 175772.1323 | 72.4973 | 30.0924 | 0.49199 | 537.4628 | 0.16506 | 0.023699 | 0.3149 | 0.15772 | 0.11434 | 0.02346 | 38.715 | 381.0871 | 0.21827 | 0.00045801 | 0.088474 | 0.18309 | 24.5812 | n.a. | n.a. | 0.27954 | 0.061266 | 0.073298 | 0.0091321 | 0.013213 | n.a. | n.a. | 0.00066739 | 0.0020549 | n.a. | n.a. | n.a. | n.a. | 0.014423 | 0.0087752 | 6.2812 | 24.5278 | 0.47145 | 0.020188 | 0.024237 | 0.18165 | 0.24425
| CT-135-ILM-2 | 16.4988 | n.a. | n.a. | 67.1081 | 93180.2083 | 14.5753 | 1088.9135 | n.a. | 9.0242 | 682.0007 | 328.1556 | 350692.408 | 757.9622 | 1.5889 | 22775.7072 | 174179.2419 | 72.2709 | 29.7051 | 0.58308 | 530.7808 | 0.29491 | n.a. | 0.92118 | n.a. | 4.7156 | 0.023279 | 39.6703 | 375.0713 | 0.41637 | 0.036994 | 0.091487 | 0.25791 | 23.6493 | 0.044114 | 0.027425 | 0.26923 | 0.066864 | 0.062139 | 0.080734 | 0.18652 | 0.046621 | n.a. | n.a. | 0.0020735 | 0.00087364 | n.a. | 0.023887 | 0.0020515 | n.a. | 0.0089638 | 6.2689 | 25.6981 | 0.4938 | 0.030791 | 0.047096 | 0.16679 | 0.14096
| CT-135-ILM-3 | 12.3218 | 0.27466 | 2.435 | 53.5138 | 94304.0941 | 10.3164 | 985.8256 | 11.0004 | 27.7178 | 226.1915 | 322.8841 | 356120.0424 | 725.6534 | 0.28985 | 22378.2351 | 166900.1926 | 73.1457 | 31.4878 | 1.8152 | 549.4884 | 0.30101 | 0.06223 | 0.64065 | n.a. | 0.18193 | 0.019213 | 40.5809 | 345.2284 | 0.34528 | 0.017821 | 0.13318 | 0.22643 | 26.3601 | 0.062885 | n.a. | 0.74678 | 0.065206 | 0.24289 | 0.015523 | 0.038456 | 0.029897 | n.a. | n.a. | 0.012179 | 0.02522 | 0.0020836 | 0.023162 | 0.0019746 | 0.063673 | 0.017046 | 6.5179 | 26.2996 | 0.47771 | n.a. | n.a. | 0.16579 | 0.91529
magnetite | CT-135-MAG-1 | 3.3203 | 0.23111 | n.a. | 0.52283 | 8590.4092 | 144.9539 | 877.0175 | n.a. | 22.674 | 32.8248 | 6.9362 | 263.2526 | 3397.149 | n.a. | 819.4769 | 705557.259 | 89.6388 | 225.8213 | 0.10574 | 119.3336 | 9.3199 | 1.6975 | 0.71985 | 0.27758 | 0.03032 | n.a. | 0.083417 | 0.017192 | 0.017581 | n.a. | 0.14405 | 0.00061661 | 1.3525 | 0.017559 | n.a. | 0.47528 | 0.0043083 | 0.0045401 | 0.0037182 | 0.01074 | n.a. | n.a. | n.a. | 0.001674 | 0.0070443 | 0.001746 | 0.013038 | 0.0099305 | n.a. | 0.0017863 | 0.058634 | 0.0033041 | n.a. | 0.072709 | 0.033962 | n.a. | 0.047011
| CT-135-MAG-3 | 1.8482 | n.a. | 2.3504 | 18.8084 | 8456.0885 | 141.6066 | 760.2291 | 74.035 | 90.3282 | 339.4393 | 6.6452 | 269.6824 | 3382.4929 | 0.51229 | 815.0119 | 705361.3124 | 90.3976 | 232.3429 | 1.3186 | 140.748 | 9.6352 | 1.7022 | 0.43317 | 0.24835 | 1.5756 | n.a. | 0.087139 | 0.056261 | 0.12725 | 0.0077359 | 0.0035437 | 0.0086869 | 1.2409 | 0.00084152 | n.a. | 0.34445 | 0.057058 | 0.13323 | 1.4261 | 0.095018 | n.a. | 0.0033311 | n.a. | 8.2397e-05 | 0.013851 | 0.0068669 | 0.019519 | n.a. | 0.021012 | n.a. | 0.00057603 | n.a. | 0.018323 | 0.012805 | n.a. | n.a. | 0.10639
| CT-135-MAG-5 | 2.2827 | 0.012021 | n.a. | 24.3551 | 8229.2719 | 127.3361 | 823.9774 | n.a. | 28.824 | 152.6653 | 6.7803 | 256.2945 | 3425.623 | n.a. | 799.4794 | 705946.9615 | 89.1601 | 225.7654 | 0.4207 | 123.5496 | 9.9049 | 1.6943 | 0.81437 | 0.16153 | 0.12314 | n.a. | 0.042211 | 0.1418 | 0.14715 | 0.02297 | 0.14373 | 0.014626 | 0.61394 | 0.026691 | n.a. | 0.75758 | 0.0021581 | 0.00011167 | n.a. | 0.010829 | n.a. | n.a. | 0.011032 | 0.17575 | 0.0070747 | 8.8742e-05 | 0.0075519 | n.a. | 0.010767 | 0.0089961 | 0.00029874 | 0.0088449 | 0.01268 | 0.17079 | n.a. | n.a. | 0.067823
BCR-2G | RMA-1 | 4.876 | 3.391 | 10.3365 | 23937.286 | 21327.3996 | 71359.4233 | 255577.5671 | 909.1736 | 14745.5918 | 51577.2638 | 35.4094 | 13618.314 | 431.6937 | 17.0252 | 1565.4583 | 98814.7185 | 37.7496 | 11.9667 | 18.3019 | 145.2227 | 21.7879 | 2.6312 | 0.7316 | 45.7624 | 350.1124 | 34.3667 | 189.0809 | 11.8618 | 270.6031 | 0.53253 | 0.33472 | 0.11464 | 1.7769 | 0.12666 | 1.2163 | 685.0047 | 25.5226 | 53.4325 | 6.7037 | 29.1613 | 6.4923 | 2.0433 | 6.8373 | 1.0019 | 6.629 | 1.3922 | 4.538 | 0.49534 | 3.4873 | 0.50523 | 5.2242 | 0.66006 | 0.39883 | 10.6772 | 0.067544 | 5.5097 | 1.8493
| RMA-2 | 8.0109 | 3.0358 | 7.1587 | 24159.3692 | 20810.4565 | 71021.4797 | 256307.5622 | 2254.3699 | 14888.0307 | 51188.1839 | 34.6285 | 13841.8416 | 427.6929 | 16.6257 | 1552.3024 | 96244.8944 | 37.2141 | 12.1567 | 17.7285 | 142.2419 | 20.4232 | 1.6879 | 0.6034 | 46.8666 | 342.1886 | 34.2365 | 184.8272 | 11.8982 | 271.3021 | 0.67434 | 0.17146 | 0.071956 | 2.2055 | 0.076327 | 1.2718 | 688.7312 | 25.4252 | 53.6724 | 6.6435 | 28.9084 | 7.6535 | 1.8355 | 6.1559 | 0.91541 | 5.9154 | 1.2775 | 4.6766 | 0.54054 | 3.8767 | 0.48429 | 4.4961 | 0.71707 | 0.47497 | 10.6309 | 0.035735 | 4.3769 | 1.7456
| RMA-3 | 13.3004 | 3.1315 | 5.0284 | 24028.3203 | 20755.3134 | 71674.2592 | 255512.8685 | 2373.3566 | 14781.2891 | 52175.3627 | 35.2918 | 13587.866 | 428.2846 | 15.2799 | 1538.4727 | 95976.708 | 37.5833 | 12.0668 | 16.6999 | 150.4855 | 19.9772 | 1.7572 | 0.68448 | 44.8102 | 339.2515 | 34.9913 | 187.4916 | 11.4713 | 271.4413 | 0.60806 | 0.33397 | 0.055142 | 2.1455 | 0.34892 | 1.2892 | 682.9618 | 25.3745 | 53.181 | 6.7908 | 28.5336 | 6.9462 | 2.1064 | 6.3417 | 0.96713 | 6.6418 | 1.2923 | 5.0905 | 0.47588 | 3.6045 | 0.52337 | 5.0566 | 0.66669 | 0.54013 | 10.5793 | 0.048994 | 3.435 | 1.7337
| average | 8.7291 | 3.1861 | 7.5079 | 24041.6585 | 20964.3898 | 71351.7207 | 255799.3326 | 1845.6334 | 14804.9705 | 51646.9368 | 35.1099 | 13682.6739 | 429.2237 | 16.3103 | 1552.0778 | 97012.107 | 37.5157 | 12.0634 | 17.5768 | 145.9834 | 20.7295 | 2.0254 | 0.67316 | 45.8131 | 343.8508 | 34.5315 | 187.1332 | 11.7438 | 271.1155 | 0.60498 | 0.28005 | 0.080581 | 2.0426 | 0.18397 | 1.2591 | 685.5659 | 25.4408 | 53.4286 | 6.7126 | 28.8678 | 7.0307 | 1.9951 | 6.4449 | 0.96148 | 6.3954 | 1.3207 | 4.7684 | 0.50392 | 3.6562 | 0.5043 | 4.9256 | 0.68127 | 0.47131 | 10.6291 | 0.050757 | 4.4405 | 1.7762
| std | 3.4765 | 0.15006 | 2.181 | 91.1544 | 257.672 | 266.5518 | 360.3419 | 663.9564 | 60.5135 | 406.0141 | 0.34377 | 113.233 | 1.7632 | 0.74664 | 11.018 | 1279.3324 | 0.22378 | 0.07761 | 0.66272 | 3.4081 | 0.77029 | 0.42926 | 0.052944 | 0.84027 | 4.5871 | 0.32948 | 1.7549 | 0.19323 | 0.36676 | 0.057935 | 0.076784 | 0.025046 | 0.18952 | 0.11843 | 0.031117 | 2.3885 | 0.061432 | 0.20062 | 0.060468 | 0.25783 | 0.4778 | 0.11576 | 0.28763 | 0.035541 | 0.33944 | 0.050946 | 0.23472 | 0.027088 | 0.16312 | 0.015971 | 0.31136 | 0.025459 | 0.057741 | 0.039987 | 0.013046 | 0.84819 | 0.051928
| Ref. | 9 | 2.3 | 6.2 | 23963.37 | 21470.36 | 70912.8 | 254320 | 1614.68 | 14900 | 50457.82 | 33 | 14100 | 425 | 17 | 1550 | 96385.2 | 38 | 13 | 21 | 125 | 23 | 1.5 | #VALUE! | 47 | 342 | 35 | 184 | 12.5 | 270 | 0.5 | 0.2 | 0.11 | 2.6 | 0.35 | 1.16 | 683 | 24.7 | 53.3 | 6.7 | 28.9 | 6.59 | 1.97 | 6.71 | 1.02 | 6.44 | 1.27 | 3.7 | 0.51 | 3.39 | 0.503 | 4.84 | 0.78 | 0.5 | 11 | 0.05 | 5.9 | 1.69
| relative deviation from Ref. | -3.01% | 38.53% | 21.09% | 0.3267% | -2.357% | 0.619% | 0.5817% | 14.3% | -0.6378% | 2.357% | 6.394% | -2.96% | 0.9938% | -4.057% | 0.1341% | 0.6504% | -1.275% | -7.205% | -16.3% | 16.79% | -9.872% | 35.03% | #VALUE! | -2.525% | 0.5412% | -1.339% | 1.703% | -6.05% | 0.4131% | 21% | 40.03% | -26.74% | -21.44% | -47.44% | 8.543% | 0.3757% | 2.999% | 0.2414% | 0.1886% | -0.1115% | 6.687% | 1.272% | -3.95% | -5.737% | -0.6926% | 3.988% | 28.88% | -1.193% | 7.851% | 0.258% | 1.769% | -12.66% | -5.738% | -3.372% | 1.515% | -24.74% | 5.1%
BIR-1G | RMB-1 | n.a. | 0.5541 | 3.4986 | 13613.8191 | 57756.2763 | 81426.0491 | 221520.326 | 120.865 | 197.6753 | 95178.8632 | 45.312 | 5669.0527 | 325.2375 | 402.9353 | 1342.7728 | 81884.2548 | 53.8881 | 174.2836 | 125.5183 | 86.965 | 14.5025 | 1.2017 | n.a. | 0.64816 | 109.3207 | 14.5863 | 14.3939 | 0.51048 | 0.00097888 | 0.16417 | 0.22218 | 0.073396 | 1.6976 | 0.77093 | 0.029981 | 6.4178 | 0.56753 | 1.7075 | 0.31782 | 2.6966 | 1.2745 | 0.61802 | 2.0491 | 0.3534 | 2.1903 | 0.54281 | 1.9503 | 0.22873 | 1.695 | 0.25961 | 0.51059 | 0.036331 | 0.026957 | 3.4787 | n.a. | 0.03589 | 0.025092
| RMB-2 | 4.2103 | n.a. | n.a. | 13648.9792 | 56769.3685 | 81432.4786 | 222745.0376 | 224.2125 | 170.6978 | 94983.6592 | 46.5098 | 5833.2514 | 328.7558 | 389.0707 | 1351.2816 | 80978.5268 | 52.9655 | 177.3206 | 126.1168 | 76.8412 | 14.5056 | 1.7155 | 0.6586 | 0.10356 | 107.7789 | 14.2287 | 14.1344 | 0.52158 | n.a. | 0.14863 | 0.094896 | 0.060482 | 0.61659 | 0.39203 | 0.046564 | 6.1632 | 0.63232 | 1.8025 | 0.35902 | 2.3706 | 0.95064 | 0.54428 | 1.6427 | 0.35305 | 2.2634 | 0.51273 | 2.5204 | 0.27255 | 1.6812 | 0.24609 | 0.54675 | 0.028469 | 0.054783 | 3.7029 | n.a. | 0.015158 | 0.012613
| RMB-3 | n.a. | 0.31842 | 5.2456 | 13986.5891 | 56584.5821 | 82268.9455 | 223169.8213 | 144.7636 | 172.2681 | 94126.8827 | 44.5099 | 5607.5875 | 329.1371 | 402.4689 | 1340.9017 | 80317.2264 | 53.5034 | 178.8976 | 128.1335 | 75.0242 | 14.2744 | 1.3923 | n.a. | 0.33146 | 108.1123 | 14.5256 | 14.1737 | 0.52884 | 0.063023 | 0.17396 | 0.089137 | 0.063061 | 0.63323 | 0.55903 | n.a. | 6.2457 | 0.52256 | 1.8823 | 0.36493 | 2.4442 | 1.1321 | 0.54081 | 1.7017 | 0.34629 | 2.6032 | 0.52652 | 2.4979 | 0.2567 | 1.5889 | 0.22898 | 0.65673 | 0.02325 | 0.018872 | 3.5574 | n.a. | 0.0159 | 0.013194
| average | 4.2103 | 0.43626 | 4.3721 | 13749.7958 | 57036.7423 | 81709.1577 | 222478.395 | 163.2804 | 180.2138 | 94763.135 | 45.4439 | 5703.2972 | 327.7101 | 398.1583 | 1344.9854 | 81060.0026 | 53.4523 | 176.8339 | 126.5895 | 79.6101 | 14.4275 | 1.4365 | 0.6586 | 0.36106 | 108.404 | 14.4469 | 14.234 | 0.5203 | 0.032001 | 0.16225 | 0.1354 | 0.065646 | 0.98249 | 0.574 | 0.038273 | 6.2756 | 0.57414 | 1.7974 | 0.34726 | 2.5038 | 1.1191 | 0.56771 | 1.7978 | 0.35091 | 2.3523 | 0.52736 | 2.3229 | 0.25266 | 1.6551 | 0.24489 | 0.57136 | 0.02935 | 0.033537 | 3.5797 | n.a. | 0.022316 | 0.016966
| std | 0 | 0.11784 | 0.87348 | 168.0523 | 514.3497 | 395.8384 | 699.3008 | 44.1764 | 12.3638 | 456.9018 | 0.82179 | 95.256 | 1.7553 | 6.4287 | 4.5172 | 642.3256 | 0.37839 | 1.9148 | 1.1188 | 5.2533 | 0.10822 | 0.21209 | 0 | 0.22331 | 0.66237 | 0.15625 | 0.1142 | 0.007553 | 0.031022 | 0.01043 | 0.061403 | 0.00558 | 0.50574 | 0.15505 | 0.0082916 | 0.10606 | 0.04505 | 0.071465 | 0.020952 | 0.1396 | 0.13254 | 0.035608 | 0.17931 | 0.0032748 | 0.17988 | 0.012296 | 0.26359 | 0.018117 | 0.047104 | 0.012534 | 0.062146 | 0.0053767 | 0.015381 | 0.092852 | n.a. | 0.0096031 | 0.0057508
| Ref. | 3 | 0.1 | n.a. | 13725.15 | 56691.4 | 82026 | 222062.5 | 117.83 | 183 | 95055.1 | 43 | 5400 | 326 | 392 | 1471.55 | 80839.2 | 52 | 178 | 119 | 78 | 15 | 1.2 | #VALUE! | 0.197 | 109 | 14.3 | 14 | 0.52 | 0.075 | #VALUE! | 0.14 | 0.086 | 2.3 | 0.56 | 0.007 | 6.5 | 0.609 | 1.89 | 0.37 | 2.37 | 1.09 | 0.517 | 1.85 | 0.35 | 2.55 | 0.56 | 1.7 | 0.24 | 1.64 | 0.248 | 0.57 | 0.036 | #VALUE! | 3.7 | 0.009 | 0.03 | 0.023
| relative deviation from Ref. | 40.34% | 336.3% | #VALUE! | 0.1796% | 0.6092% | -0.3863% | 0.1873% | 38.57% | -1.523% | -0.3072% | 5.683% | 5.617% | 0.5246% | 1.571% | -8.601% | 0.2731% | 2.793% | -0.6551% | 6.378% | 2.064% | -3.817% | 19.71% | #VALUE! | 83.28% | -0.5468% | 1.027% | 1.672% | 0.05768% | -57.33% | #VALUE! | -3.284% | -23.67% | -57.28% | 2.5% | 446.8% | -3.453% | -5.725% | -4.898% | -6.147% | 5.646% | 2.669% | 9.808% | -2.821% | 0.2609% | -7.752% | -5.829% | 36.64% | 5.276% | 0.9183% | -1.252% | 0.2377% | -18.47% | #VALUE! | -3.252% | #VALUE! | -25.61% | -26.23%
BHVO-2G | RMC-1 | 8.5366 | 0.81352 | 5.5674 | 16920.1971 | 43549.5785 | 71008.5447 | 233649.7849 | 865.3797 | 4235.6658 | 82745.913 | 33.9258 | 16431.3514 | 322.6451 | 291.4501 | 1318.1379 | 87930.926 | 44.9987 | 123.8007 | 128.2629 | 115.8036 | 20.2493 | 1.8162 | 0.73656 | 9.31 | 400.5932 | 24.7605 | 171.1186 | 17.3521 | 3.8106 | 0.60283 | 0.046415 | 0.070837 | 1.671 | 0.078514 | 0.050355 | 130.7352 | 15.3256 | 37.7814 | 5.3074 | 24.7434 | 6.225 | 2.0797 | 5.928 | 0.91714 | 5.4896 | 1.0122 | 2.9602 | 0.30074 | 2.0885 | 0.27202 | 4.3833 | 1.0241 | 0.27599 | 1.8375 | n.a. | 1.0931 | 0.40884
| RMC-2 | 5.0766 | 1.0826 | n.a. | 16981.4715 | 43457.7532 | 71999.2955 | 232260.2882 | 1662.7608 | 4313.2842 | 82441.7927 | 32.9341 | 16794.3955 | 326.8156 | 303.5241 | 1353.1065 | 87212.911 | 44.6079 | 119.5261 | 130.7717 | 108.2883 | 19.0681 | 1.5313 | 0.51176 | 8.9615 | 397.8907 | 24.2127 | 166.7193 | 16.8247 | 3.9743 | 0.52391 | n.a. | 0.094271 | 1.3717 | 0.023804 | 0.15439 | 133.1168 | 15.2082 | 38.1626 | 5.1936 | 24.0537 | 6.1844 | 2.168 | 5.3605 | 0.90186 | 5.0831 | 0.91742 | 3.277 | 0.33932 | 2.1666 | 0.2708 | 4.1695 | 0.95779 | 0.19504 | 1.8172 | 0.04488 | 0.8183 | 0.46301
| RMC-3 | 6.1888 | 0.28979 | 3.369 | 17065.5262 | 42960.5101 | 72923.9108 | 232158.4889 | 1576.7333 | 4250.9386 | 82304.605 | 33.0692 | 16173.432 | 322.168 | 290.4809 | 1318.0525 | 87785.4542 | 44.0943 | 122.3752 | 128.1928 | 107.2628 | 19.3759 | 1.5962 | n.a. | 9.0086 | 389.7038 | 23.4488 | 166.8142 | 17.5089 | 4.0581 | 0.46645 | n.a. | 0.081328 | 1.7297 | 0.051383 | n.a. | 131.219 | 15.2494 | 37.5549 | 5.149 | 24.8369 | 5.835 | 2.1576 | 5.4763 | 0.88641 | 4.9843 | 0.90297 | 3.5239 | 0.32756 | 1.9649 | 0.28705 | 4.263 | 1.0156 | 0.22337 | 1.6195 | n.a. | 0.74217 | 0.42166
| average | 6.6007 | 0.72862 | 4.4682 | 16989.0649 | 43322.6139 | 71977.2503 | 232689.5206 | 1368.2913 | 4266.6295 | 82497.4369 | 33.3097 | 16466.393 | 323.8762 | 295.1517 | 1329.7656 | 87643.0971 | 44.567 | 121.9007 | 129.0758 | 110.4515 | 19.5644 | 1.6479 | 0.62416 | 9.0934 | 396.0626 | 24.1407 | 168.2174 | 17.2286 | 3.9477 | 0.53106 | 0.046415 | 0.082145 | 1.5908 | 0.051234 | 0.10237 | 131.6904 | 15.2611 | 37.833 | 5.2167 | 24.5446 | 6.0814 | 2.1351 | 5.5883 | 0.9018 | 5.1856 | 0.94418 | 3.2537 | 0.32254 | 2.0734 | 0.27662 | 4.2719 | 0.99916 | 0.23147 | 1.7581 | 0.04488 | 0.88452 | 0.43117
| std | 1.4422 | 0.32916 | 1.0992 | 59.5728 | 258.7758 | 782.1003 | 680.28 | 357.3422 | 33.5739 | 184.4097 | 0.43913 | 254.7153 | 2.0875 | 5.9334 | 16.5045 | 309.9307 | 0.37034 | 1.777 | 1.1995 | 3.8076 | 0.50033 | 0.1219 | 0.1124 | 0.15435 | 4.6297 | 0.53789 | 2.0519 | 0.29264 | 0.10281 | 0.055906 | 0 | 0.0095845 | 0.15675 | 0.022335 | 0.052016 | 1.0278 | 0.048637 | 0.25077 | 0.066684 | 0.34926 | 0.17507 | 0.039402 | 0.2448 | 0.012544 | 0.21866 | 0.048424 | 0.23072 | 0.016149 | 0.083031 | 0.0073904 | 0.087489 | 0.029456 | 0.033537 | 0.098322 | 0 | 0.15073 | 0.023116
| Ref. | 4.4 | 1.3 | 5.51 | 17805.6 | 43001.03 | 71971.2 | 230477.5 | 1265.56 | 4270 | 81475.8 | 33 | 16300 | 308 | 293 | 1316.65 | 87834.9 | 44 | 116 | 127 | 102 | 22 | 1.6 | #VALUE! | 9.2 | 396 | 26 | 170 | 18.3 | 3.8 | #VALUE! | 0.1 | 0.1 | 2.6 | 0.3 | 0.1 | 131 | 15.2 | 37.6 | 5.35 | 24.5 | 6.1 | 2.07 | 6.16 | 0.92 | 5.28 | 0.98 | 2.56 | 0.34 | 2.01 | 0.279 | 4.32 | 1.15 | 0.23 | 1.7 | 0.01 | 1.22 | 0.403
| relative deviation from Ref. | 50.02% | -43.95% | -18.91% | -4.586% | 0.7479% | 0.008407% | 0.9598% | 8.117% | -0.07893% | 1.254% | 0.9385% | 1.021% | 5.155% | 0.7344% | 0.9961% | -0.2184% | 1.289% | 5.087% | 1.634% | 8.286% | -11.07% | 2.995% | #VALUE! | -1.159% | 0.0158% | -7.151% | -1.049% | -5.855% | 3.886% | #VALUE! | -53.59% | -17.85% | -38.82% | -82.92% | 2.37% | 0.527% | 0.402% | 0.6196% | -2.492% | 0.1822% | -0.3042% | 3.146% | -9.281% | -1.978% | -1.787% | -3.655% | 27.1% | -5.135% | 3.152% | -0.8525% | -1.113% | -13.12% | 0.638% | 3.417% | 348.8% | -27.5% | 6.99%

## S3-reduction
RSC Advances:
Liu et al: Precise determination of major and trace elements in micrometer-scale ilmenite lamellae in titanomagnetite using LA-ICP-MS technique: Application of regression analysis to time-resolved signals
ESI Table 3: An example of data reduction applied segmented signals and regression analysis
Note: n.a. represents not applicable.
Element | Ti | Mg | Al | Sc | V | Mn | Fe | Co | Ni | Zn | Ga | Ge | Zr | Nb | Sn | Hf | Ta | W
Analyzed Mass | 47 | 25 | 27 | 45 | 51 | 55 | 57 | 59 | 60 | 66 | 71 | 73 | 90 | 93 | 118 | 178 | 181 | 182
unit | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
D.L. | 1.1951 | 2.1543 | 1.7326 | 0.27428 | 0.095939 | 0.7819 | 23.4912 | 0.090121 | 0.79321 | 1.2379 | 0.20796 | 0.70982 | 0.014191 | 0.0040873 | 0.42956 | 0.013533 | 0.0027472 | 0.017845
Segment
1 | 105911.1724 | 33822.5598 | 91.1659 | 103.311 | 2570.1854 | 7237.3586 | 551965.1876 | 84.703 | 172.1068 | 246.5231 | 6.8624 | 1.2224 | 10.9312 | 98.0442 | 9.815 | 1.6875 | 6.8505 | 0.16537
2 | 84645.2833 | 28635.5524 | 98.1595 | 81.3163 | 2722.6152 | 5639.4157 | 586269.6079 | 85.3933 | 182.2632 | 219.8858 | 7.373 | 1.301 | 9.2621 | 82.4494 | 9.3989 | 1.3974 | 4.8261 | 0.1236
3 | 56338.0462 | 21742.1763 | 105.696 | 53.8069 | 2954.5027 | 4075.1756 | 630732.2862 | 86.6233 | 194.5399 | 188.4824 | 7.9529 | 1.4124 | 5.9537 | 56.6065 | 7.2085 | 0.93891 | 3.4201 | 0.098882
4 | 29574.7455 | 15571.9426 | 112.6262 | 22.7379 | 3166.7231 | 2718.6014 | 672081.3756 | 88.0604 | 210.1025 | 147.3044 | 8.7644 | 1.5847 | 2.9327 | 27.8657 | 5.3394 | 0.321 | 1.3214 | 0.052373
5 | 13206.3376 | 10855.317 | 117.9332 | 12.4701 | 3234.9396 | 1566.2414 | 698989.1037 | 88.691 | 219.6295 | 132.8733 | 9.2155 | 1.6259 | 0.97742 | 11.2296 | 4.1771 | 0.13955 | 0.49509 | 0.047803
6 | 3115.293 | 9005.7906 | 121.5954 | 3.8208 | 3303.8215 | 913.9888 | 714346.7852 | 89.5721 | 223.3868 | 112.4582 | 9.4315 | 1.6678 | 0.23334 | 2.1668 | 3.078 | 0.029293 | 0.11458 | 0.0377
y=Ax+B
A (Slope) |  | 0.24318 | -0.00028763 | 0.0009806 | -0.0072392 | 0.059621 | -1.5776 | -4.6799e-05 | -0.00050814 | 0.0012831 | -2.5358e-05 | -4.4939e-06 | 0.00010801 | 0.00095443 | 6.7239e-05 | 1.6942e-05 | 6.5063e-05 | 1.2237e-06
B (Intercept) |  | 8071.9107 | 121.8987 | -1.6081 | 3345.3932 | 782.3866 | 719380.8838 | 89.4576 | 225.1345 | 111.9741 | 9.5041 | 1.6883 | -0.22225 | -0.18105 | 3.2217 | -0.074457 | -0.33701 | 0.027904
R-squared |  | 0.99937 | 0.99796 | 0.9963 | 0.99476 | 0.99687 | 0.99995 | 0.9902 | 0.99722 | 0.99601 | 0.99638 | 0.99073 | 0.99719 | 0.99704 | 0.98174 | 0.99179 | 0.99022 | 0.97534
Ilm | 355368 | 94491.5011 | 19.6831 | 346.867 | 772.8135 | 21969.7538 | 158759.5274 | 72.8266 | 44.558 | 567.9497 | 0.49251 | 0.091358 | 38.1606 | 338.993 | 27.1163 | 5.9462 | 22.7843 | 0.46278
Error (95% conf) |  | 1274.9911 | 2.7141 | 12.4765 | 109.6502 | 697.2997 | 2248.0396 | 0.97195 | 5.6009 | 16.957 | 0.31929 | 0.090757 | 1.1976 | 10.857 | 1.9144 | 0.32184 | 1.3499 | 0.040625
Relative error % |  | 1.349% | 13.79% | 3.597% | 14.19% | 3.174% | 1.416% | 1.335% | 12.57% | 2.986% | 64.83% | 99.34% | 3.138% | 3.203% | 7.06% | 5.412% | 5.925% | 8.778%
direct LA (reference value) | 355368 | 93382.5144 | 11.3047 | 331.7871 | 773.8804 | 22541.476 | 172283.8556 | 72.638 | 30.4284 | 539.244 | 0.25366 | n.a. | 39.6554 | 367.1289 | 24.8635 | 6.356 | 25.5085 | 0.48099
Relative error from reference |  | 1.188% | 74.11% | 4.545% | -0.1379% | -2.536% | -7.85% | 0.2597% | 46.44% | 5.323% | 94.16% |  | -3.769% | -7.664% | 9.061% | -6.448% | -10.68% | -3.786%
Mag |  | 8071.9107 | 121.8987 | -1.6081 | 3345.3932 | 782.3866 | 719380.8838 | 89.4576 | 225.1345 | 111.9741 | 9.5041 | 1.6883 | -0.22225 | -0.18105 | 3.2217 | -0.074457 | -0.33701 | 0.027904
direct LA (reference value) |  | 8425.2566 | 137.9655 | 6.7873 | 3401.7549 | 811.3228 | 705621.8443 | 89.7322 | 227.9766 | 127.8771 | 9.62 | 1.698 | 0.070922 | 0.07175 | 1.0691 | n.a. | n.a. | 0.010334
Relative error from reference |  | 4.377% | 13.18% | -522.1% | 1.685% | 3.698% | -1.913% | 0.307% | 1.262% | 14.2% | 1.22% | 0.5723% | -131.9% | -139.6% | -66.82% |  |  | -62.96%
n |  | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6
Mean of Y |  | 19938.8898 | 107.8627 | 46.2438 | 2992.1313 | 3691.7969 | 642397.391 | 87.1738 | 200.3381 | 174.5879 | 8.2666 | 1.469 | 5.0484 | 46.3937 | 6.5028 | 0.75229 | 2.838 | 0.08762
Sample standard deviation of Y |  | 9927.2781 | 11.7501 | 40.092 | 296.2034 | 2436.9046 | 64381.4606 | 1.9193 | 20.7657 | 52.4676 | 1.0367 | 0.18425 | 4.414 | 39.0074 | 2.7694 | 0.69425 | 2.6683 | 0.050567
Mean of X |  | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797 | 48798.4797
Sample standard deviation of X |  | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228 | 40809.3228
Correlation of Y and X |  | 0.99968 | -0.99898 | 0.99815 | -0.99738 | 0.99843 | -0.99998 | -0.99509 | -0.99861 | 0.998 | -0.99819 | -0.99535 | 0.99859 | 0.99852 | 0.99083 | 0.99589 | 0.9951 | 0.98759
R-squared |  | 0.99937 | 0.99796 | 0.9963 | 0.99476 | 0.99687 | 0.99995 | 0.9902 | 0.99722 | 0.99601 | 0.99638 | 0.99073 | 0.99719 | 0.99704 | 0.98174 | 0.99179 | 0.99022 | 0.97534
Adjusted R-squared |  | 0.99921 | 0.99745 | 0.99537 | 0.99345 | 0.99609 | 0.99994 | 0.98775 | 0.99653 | 0.99501 | 0.99547 | 0.98841 | 0.99648 | 0.9963 | 0.97718 | 0.98974 | 0.98777 | 0.96917
Standard error of regression |  | 278.6548 | 0.59318 | 2.7268 | 23.9645 | 152.3978 | 491.3187 | 0.21242 | 1.2241 | 3.706 | 0.069782 | 0.019835 | 0.26175 | 2.3729 | 0.41839 | 0.070338 | 0.29503 | 0.0088787
SLOPE |  | 0.24318 | -0.00028763 | 0.0009806 | -0.0072392 | 0.059621 | -1.5776 | -4.6799e-05 | -0.00050814 | 0.0012831 | -2.5358e-05 | -4.4939e-06 | 0.00010801 | 0.00095443 | 6.7239e-05 | 1.6942e-05 | 6.5063e-05 | 1.2237e-06
INTERCEPT |  | 8071.9107 | 121.8987 | -1.6081 | 3345.3932 | 782.3866 | 719380.8838 | 89.4576 | 225.1345 | 111.9741 | 9.5041 | 1.6883 | -0.22225 | -0.18105 | 3.2217 | -0.074457 | -0.33701 | 0.027904
Confidence level |  | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95 | 0.95
Critical t value |  | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764 | 2.7764
Standard error of mean at x |  | 459.2171 | 0.97755 | 4.4937 | 39.493 | 251.1484 | 809.6827 | 0.35007 | 2.0173 | 6.1074 | 0.115 | 0.032688 | 0.43135 | 3.9104 | 0.6895 | 0.11592 | 0.4862 | 0.014632

## S4-RAC
RSC Advances:
Liu et al: Precise determination of major and trace elements in micrometer-scale ilmenite lamellae in titanomagnetite using LA-ICP-MS technique: Application of regression analysis to time-resolved signals
ESI Table 4: Results of regression analysis on coarse granular ilmenite exsolutions (n=8).
|  | coarse graunlar Ilm |  | RAC
Element | d.l. | direct LA |  | RAC-1 |  |  |  | RAC-2 |  |  |  | RAC-3 |  |  |  | RAC-4 |  |  |  | RAC-5 |  |  |  | RAC-6 |  |  |  | RAC-7 |  |  |  | RAC-8
|  | value | SE | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD
Mg | 2.1543 | 93382.5144 | 684.9797 | 94086.3611 | 1570.6817 | 1.669% | 0.7537% | 94491.5011 | 1274.9911 | 1.349% | 1.188% | 93892.5919 | 1592.5268 | 1.696% | 0.5462% | 94119.3845 | 2149.9048 | 2.284% | 0.7891% | 92715.0363 | 1969.8633 | 2.125% | -0.7148% | 93262.077 | 1549.0485 | 1.661% | -0.129% | 92664.5289 | 1510.0141 | 1.63% | -0.7689% | 93875.6478 | 1648.2031 | 1.756% | 0.5281%
Mn | 0.7819 | 22541.476 | 169.8543 | 22892.7422 | 719.2185 | 3.142% | 1.558% | 21967.9817 | 697.2997 | 3.174% | -2.544% | 22783.0572 | 335.7287 | 1.474% | 1.072% | 22773.8238 | 301.7852 | 1.325% | 1.031% | 22714.3895 | 596.8353 | 2.628% | 0.7671% | 22663.6574 | 469.9575 | 2.074% | 0.542% | 22428.7835 | 257.8584 | 1.15% | -0.4999% | 22429.4669 | 538.4696 | 2.401% | -0.4969%
Sc | 0.27428 | 331.7871 | 9.1207 | 328.9796 | 5.2231 | 1.588% | -0.8462% | 346.8672 | 12.4765 | 3.597% | 4.545% | 346.8122 | 12.0424 | 3.472% | 4.529% | 344.3242 | 12.1174 | 3.519% | 3.779% | 338.0497 | 8.3638 | 2.474% | 1.888% | 342.5877 | 17.8275 | 5.204% | 3.255% | 361.031 | 12.8224 | 3.552% | 8.814% | 334.822 | 13.164 | 3.932% | 0.9147%
Nb | 0.0040873 | 367.1289 | 15.6796 | 364.0821 | 9.7978 | 2.691% | -0.8299% | 338.9932 | 10.857 | 3.203% | -7.664% | 365.7811 | 4.1875 | 1.145% | -0.3671% | 356.2746 | 6.6579 | 1.869% | -2.957% | 353.8185 | 12.4308 | 3.513% | -3.626% | 357.2818 | 13.2689 | 3.714% | -2.682% | 365.808 | 16.4716 | 4.503% | -0.3598% | 363.4538 | 12.6621 | 3.484% | -1.001%
Ta | 0.0027472 | 25.5085 | 0.73566 | 25.1531 | 1.4252 | 5.666% | -1.393% | 22.7843 | 1.3499 | 5.925% | -10.68% | 23.668 | 1.1655 | 4.924% | -7.215% | 25.2739 | 0.91421 | 3.617% | -0.9195% | 25.3491 | 1.2106 | 4.776% | -0.6248% | 24.8643 | 2.0205 | 8.126% | -2.525% | 25.6821 | 1.0349 | 4.03% | 0.6804% | 24.6606 | 1.3366 | 5.42% | -3.324%
Sn | 0.42956 | 24.8635 | 1.1246 | 27.513 | 2.2566 | 8.202% | 10.66% | 27.1163 | 1.9144 | 7.06% | 9.061% | 26.419 | 3.2087 | 12.15% | 6.256% | 26.9161 | 2.6413 | 9.813% | 8.255% | 25.1461 | 3.1433 | 12.5% | 1.136% | 26.5292 | 3.1229 | 11.77% | 6.699% | 24.6356 | 3.2047 | 13.01% | -0.9165% | 25.3334 | 2.7597 | 10.89% | 1.89%
Zr | 0.014191 | 39.6554 | 0.76179 | 38.2598 | 0.35667 | 0.9322% | -3.519% | 38.1606 | 1.1976 | 3.138% | -3.769% | 39.9596 | 0.2048 | 0.5125% | 0.767% | 39.3555 | 0.18606 | 0.4728% | -0.7562% | 38.6145 | 2.0588 | 5.332% | -2.625% | 39.3487 | 1.2361 | 3.141% | -0.7735% | 39.1703 | 1.2535 | 3.2% | -1.223% | 39.8375 | 0.78476 | 1.97% | 0.4593%
Hf | 0.013533 | 6.356 | 0.11461 | 6.159 | 0.37506 | 6.09% | -3.099% | 5.9462 | 0.32184 | 5.412% | -6.448% | 6.3726 | 0.27172 | 4.264% | 0.2617% | 6.4374 | 0.31421 | 4.881% | 1.28% | 6.1951 | 0.4541 | 7.33% | -2.532% | 6.2989 | 0.36438 | 5.785% | -0.8992% | 6.2483 | 0.40919 | 6.549% | -1.695% | 6.3184 | 0.41672 | 6.595% | -0.5915%
d.l. = detection limits (analytical)
value = calculation of element contents from regression analysis
SE = statistical uncertainties at 95% confidence level
RSE = relative standard error= 'SE'/'value'
RD = relative deviation from preffered value (direct LA results) = 'value'/'preferred value'-1

## S5-RAF
RSC Advances:
Liu et al: Precise determination of major and trace elements in micrometer-scale ilmenite lamellae in titanomagnetite using LA-ICP-MS technique: Application of regression analysis to time-resolved signals
ESI Table 5: Results of regression analysis on fine ilmenite exsolutions (n=12)
|  | ilmenite lamellae |  | RAF
Element | d.l. | EPMA |  | RAF-1 |  |  |  | RAF-2 |  |  |  | RAF-3 |  |  |  | RAF-4 |  |  |  | RAF-5 |  |  |  | RAF-6 |  |  |  | RAF-7 |  |  |  | RAF-8 |  |  |  | RAF-9 |  |  |  | RAF-10 |  |  |  | RAF-11 |  |  |  | RAF-12
|  | value | SE | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD | value | SE | RSE | RD
Mg | 2.1543 | 99953.1868 | 2149.5191 | 92406.8005 | 2776.125 | 3.004% | -7.55% | 94568.8948 | 2020.9293 | 2.137% | -5.387% | 92805.6778 | 2174.5738 | 2.343% | -7.151% | 94356.2417 | 1966.9858 | 2.085% | -5.6% | 96419.8964 | 3073.7041 | 3.188% | -3.535% | 93882.9997 | 2630.0493 | 2.801% | -6.073% | 94474.4603 | 2528.5014 | 2.676% | -5.481% | 93940.5067 | 1523.3757 | 1.622% | -6.015% | 94686.0276 | 2621.6879 | 2.769% | -5.27% | 93638.9901 | 2983.9441 | 3.187% | -6.317% | 93324.6358 | 2247.9291 | 2.409% | -6.632% | 93259.0299 | 2386.187 | 2.559% | -6.697%
Mn | 0.7819 | 23955.3957 | 319.3318 | 23182.8599 | 627.2027 | 2.705% | -3.225% | 22856.4094 | 423.5419 | 1.853% | -4.588% | 22647.0251 | 288.4111 | 1.274% | -5.462% | 22719.3916 | 401.6519 | 1.768% | -5.16% | 23335.7935 | 501.4816 | 2.149% | -2.586% | 22659.882 | 406.9477 | 1.796% | -5.408% | 23053.4116 | 353.518 | 1.533% | -3.765% | 22837.0903 | 277.8244 | 1.217% | -4.668% | 22348.257 | 525.8461 | 2.353% | -6.709% | 22420.0675 | 325.3884 | 1.451% | -6.409% | 22331.0312 | 270.4834 | 1.211% | -6.781% | 23026.2606 | 351.6861 | 1.527% | -3.879%
Sc | 0.27428 |  |  | 159.8279 | 14.9607 | 9.361% |  | 156.1063 | 8.1063 | 5.193% |  | 162.0155 | 4.3761 | 2.701% |  | 163.5928 | 3.6516 | 2.232% |  | 165.2629 | 10.5913 | 6.409% |  | 158.618 | 7.8686 | 4.961% |  | 163.09 | 12.1841 | 7.471% |  | 161.1096 | 1.9533 | 1.212% |  | 162.2132 | 3.2871 | 2.026% |  | 154.2347 | 4.4997 | 2.917% |  | 163.0266 | 4.3242 | 2.652% |  | 161.9354 | 2.5739 | 1.589%
Nb | 0.0040873 |  |  | 247.5489 | 17.753 | 7.172% |  | 252.9293 | 13.2244 | 5.229% |  | 243.7745 | 3.5791 | 1.468% |  | 245.9547 | 6.0329 | 2.453% |  | 242.9937 | 9.6262 | 3.962% |  | 260.1937 | 6.471 | 2.487% |  | 259.1859 | 5.4789 | 2.114% |  | 247.6092 | 1.5143 | 0.6116% |  | 243.282 | 4.5969 | 1.89% |  | 244.4314 | 5.3726 | 2.198% |  | 251.2095 | 6.6584 | 2.651% |  | 263.3181 | 4.5619 | 1.732%
Ta | 0.0027472 |  |  | 17.8946 | 0.64102 | 3.582% |  | 17.8677 | 0.5235 | 2.93% |  | 17.8946 | 0.64102 | 3.582% |  | 18.1532 | 0.53665 | 2.956% |  | 17.6527 | 0.47584 | 2.696% |  | 18.2563 | 1.2844 | 7.035% |  | 17.2947 | 0.82354 | 4.762% |  | 18.2389 | 0.98083 | 5.378% |  | 16.8072 | 0.81916 | 4.874% |  | 17.6018 | 0.7623 | 4.331% |  | 16.4705 | 0.85256 | 5.176% |  | 17.359 | 0.96293 | 5.547%
Sn | 0.42956 |  |  | 19.2905 | 0.99687 | 5.168% |  | 18.5937 | 1.2212 | 6.568% |  | 18.4777 | 2.2992 | 12.44% |  | 18.8592 | 2.605 | 13.81% |  | 18.4121 | 2.8838 | 15.66% |  | 16.9939 | 3.2173 | 18.93% |  | 17.6631 | 3.044 | 17.23% |  | 17.9613 | 1.2772 | 7.111% |  | 18.5234 | 1.5847 | 8.555% |  | 19.296 | 2.6472 | 13.72% |  | 18.232 | 3.201 | 17.56% |  | 18.8861 | 2.9723 | 15.74%
Zr | 0.014191 |  |  | 20.9293 | 3.2244 | 15.41% |  | 21.5873 | 2.0424 | 9.461% |  | 22.5063 | 1.9435 | 8.635% |  | 21.7774 | 1.1896 | 5.463% |  | 21.7226 | 2.546 | 11.72% |  | 19.1386 | 1.4386 | 7.517% |  | 22.5513 | 0.77103 | 3.419% |  | 21.7226 | 0.50614 | 2.33% |  | 20.3603 | 2.2335 | 10.97% |  | 19.6104 | 1.587 | 8.093% |  | 21.1911 | 2.4281 | 11.46% |  | 19.8712 | 0.49067 | 2.469%
Hf | 0.013533 |  |  | 2.3449 | 0.52613 | 22.44% |  | 2.2148 | 0.43496 | 19.64% |  | 2.5842 | 0.16306 | 6.31% |  | 2.4577 | 0.21926 | 8.921% |  | 2.5773 | 0.4378 | 16.99% |  | 2.3343 | 0.36893 | 15.8% |  | 2.7844 | 0.54372 | 19.53% |  | 2.5191 | 0.22404 | 8.894% |  | 2.2543 | 0.23726 | 10.52% |  | 2.7519 | 0.32552 | 11.83% |  | 2.3812 | 0.46446 | 19.51% |  | 2.5037 | 0.38853 | 15.52%
d.l. = detection limits (analytical)
value = calculation of element contents from regression analysis
SE = statistical uncertainties at 95% confidence level
RSE = relative standard error= 'SE'/'value'
RD = relative deviation from preffered value (EPMA results) = 'value'/'preferred value'-1