## Index
A comprehensive HRMS methodology using LC-(ESI)- / GC-(APCI)-QTOF MS complementary platforms for wide-scope target screening of >750 pesticides in olive oil
Sofia K. Drakopoulou,a Stefanos E. Kokolakis,a Apostolos L. Karagiannidis,a Marilena E. Dasenaki,b Niki C. Maragou,a and Nikolaos S. Thomaidis*a
a Laboratory of Analytical Chemistry, Department of Chemistry, National and Kapodistrian University of Athens, Panepistimiopolis Zografou, 15771 Athens, Greece
b Laboratory of Food Chemistry, Department of Chemistry, National and Kapodistrian University of Athens, Panepistimiopolis Zografou, 15771 Athens, Greece
* Correspondence: ntho@chem.uoa.gr; Tel.: +30 210 7274430
Index (click on the names below to go to the selected sheet)
Table S1. Database of the analytes included in the validation data set, along with information regarding MLOD, MLOQ, MRL and class of each pesticide.
Table S2. Olive oil sampling.
Table S3. List of 771 pesticides constituting the screening database.
Table S4. Validation results: linearity (R2), matrix effect (%ME), accuracy (%R), precision (%RSD).
Figure S1. Evaluation of LC-(ESI)-QTOF MS and GC-(APCI)-QTOF MS sensitivity in terms of calibration slope, by comparing the mean absolute areas in 25 common analytes detected in positive ionization.
Figure S2. Base peak chromatograms of a blank sample from positive ionization in LC-(ESI)-QTOF MS and GC-(APCI)-QTOF MS.
Figure S3. Identification of Pirimimphos methyl, detected in LC-(ESI)-QTOF MS in positive ionization. Detection in A) spiked sample at 50ppb, and B) olive oil sample, along with C) compound's most abundant MS/MS fragments.
Figure S4. Extracted ion chromatograms (EICs) of pesticides detected in olive oil samples, in the cases of LC-(ESI)-QTOF MS (A-C), and GC-(APCI)-QTOF MS (D-E).
Table S5. Quantification results of pesticides in olive oils.

## Table S1
Table S3. Database of the analytes included in the validation data set, along with information regarding MLOD, MLOQ, MRL and class of each pesticide. | [14 empty] | Return to index
Compound name | CAS number | Molecular Formula | HRMS Analytical Platform | Ionization mode | Retention time (min) | Fragment 1 | Fragment 2 | Fragment 3 | MLOD (mg/kg) | MLOQ (mg/kg) | MRL (mg/kg) Olives for oil production | Median Procesing Factor | MRL (mg/kg) Olive oil | Pesticide Class
2.4-DDT | (789-02-6) | C14H9Cl5 | GC-APCI | + | 21.16 | 318.9424 | 165.0664 | 199.0278 | 0.007 | 0.021 | 0.05 |  | 0.05 | Herbicides
4.4-DDD | (72-54-8) | C14H10Cl4 | GC-APCI | + | 21.08 | 282.9843 | 165.0662 | 199.0281 | 0.0047 | 0.0141 | 0.05 |  | 0.05 | Insecticides & nematicides
4.4-DDE | (72-55-9) | C14H8Cl4 | GC-APCI | + | 19.99 | 245.9994 | 280.9663 |  | 0.0005 | 0.0015 | 0.05 |  | 0.05 | PCBs and Chlorinated
4.4-DDT | (50-29-3) | C14H9Cl5 | GC-APCI | + | 22.09 | 318.9424 | 165.0662 | 199.0275 | 0.011 | 0.033 | 0.05 |  | 0.05 | PCBs and Chlorinated
Acephate | (30560-19-1) | C4H10NO3PS | LC-ESI | - | 3.09 | 140.9781 | 182.0047 | 78.9588 | 0.001 | 0.003 | 0.02 |  | 0.02 | Organophosphate insecticides
|  |  |  | + | 3.11 | 142.9926 | 124.9827 | 143.9955 | 0.00014 | 0.00042
|  |  | GC-APCI | + | 11.506 | 142.9903 | 112.9984 | 49.0101 | 0.0026 | 0.0078
Acrinathrin | (101007-06-1) | C26H21F6NO5 | GC-APCI | + | 25.293 | 289.0636 | 208.073 | 181.0634 | 0.0125 | 0.0375 | 0.02 |  | 0.02 | Pyrethroid insecticide & acaricide
a-HCH | (319-84-6) | C6H6Cl6 | GC-APCI | + | 14.23 | 172.9632 | 218.9111 | 180.9373 | 0.008 | 0.024 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Aldrin | (309-00-2) | C12H8Cl6 | GC-APCI | + | 17.54 | 363.8723 | 255.958 | 292.9247 | 0.0011 | 0.0033 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Azinphos methyl (Guthion) | (86-50-0) | C10H12N3O3PS2 | LC-ESI | + | 8.89 | 132.0444 | 105.0447 | 77.0386 | 0.0005 | 0.0015 | 0.01 | 2.8 | 0.028 | Organophosphate insecticide
|  |  | GC-APCI | + | 24.506 | 132.0435 | 142.9903 | 150.0536 | 0.0014 | 0.0042
b-HCH | (319-85-7) | C6H6Cl6 | GC-APCI | + | 14.72 | 172.9632 | 218.9111 | 180.9373 | 0.0014 | 0.0042 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Bifenthrin | (82657-04-3) | C23H22ClF3O2 | GC-APCI | + | 23.482 | 166.0742 | 179.0825 | 141.0625 | 0.019 | 0.057 | 0.02 |  | 0.02 | Organochlorine pesticides (OCPs)
Bitertanol | (55179-31-2) | C20H23N3O2 | LC-ESI | + | 11.27 | 269.1536 | 99.0804 | 70.04 | 0.00185 | 0.00555 | 0.02 |  | 0.02 | Fungicides
Bromophos methyl | (2104-96-3) | C8H8BrCl2O3PS | GC-APCI | + | 18.178 | 142.9902 | 352.8402 | 240.8597 | 0.0022 | 0.0066 | 0.02 |  | 0.02 | Organophosphate insecticide
c-HCH | (58-89-9) | C6H6Cl6 | GC-APCI | + | 14.94 | 172.9632 | 218.9111 | 180.9373 | 0.0013 | 0.0039 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Chlorothalonil | (1897-45-6) | C8Cl4N2 | GC-APCI | + | 15.401 | 266.8835 | 284.8954 | 265.8768 | 0.00145 | 0.00435 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Chlordane cis | (5103-71-9) | C10H6Cl8 | GC-APCI | + | 19.243 | 265.9033 | 300.8721 | 337.8566 | 0.004 | 0.012 | 0.02 |  | 0.02 | Organochlorine pesticides (OCPs)
Chlordane trans | (57-74-10) | C10H6Cl8 | GC-APCI | + | 19.58 | 265.9033 | 285.0049 | 300.8721 | 0.0033 | 0.0099 | 0.02 |  | 0.02 | Organochlorine pesticides (OCPs)
Cyanazine | (21725-46-2) | C9H13ClN6 | LC-ESI | - | 6.53 | 212.0708 |  |  | 0.00091 | 0.00273 | 0.01 |  | 0.01 | Herbicides
|  |  | LC-ESI | + | 6.55 | 214.0851 | 241.0965 | 205.1197 | 0.000275 | 0.000825
|  |  | GC-APCI | + | 17.549 | 214.0819 | 172.034 | 225.0611 | 0.0023 | 0.0069
Cyfluthrin | (86560-92-1) | C22H18Cl2FNO3 | GC-APCI | + | 27.014 | 433.0642 | 226.0634 | 163.0077 | 0.0036 | 0.0108 | 0.02 | 5.3 | 0.106 | Pyrethroid insecticides
Cyhalothrin-lambda | (76703-62-3) | C23H19ClF3NO4 | GC-APCI | + | 25.038 | 450.1078 | 197.0321 | 208.0729 | 0.00031 | 0.00093 | 0.5 | 1 | 0.5 | Pyrethroid insecticides
Cypermethrin | (52315-07-8) | C22H19Cl2NO3 | GC-APCI | + | 27.51 | 415.0737 | 163.0073 | 208.0734 | 0.00325 | 0.00975 | 0.05 | 7.6 | 0.38 | Pyrethroid insecticides
Cyproconazole | (94361-06-5) | C15H18ClN3O | LC-ESI | - | 9.65 |  |  |  | 0.011 | 0.033 | 0.05 |  | 0.05 | Organochlorine pesticides (OCPs)
|  |  | LC-ESI | + | 9.69 | 70.0397 | 125.0155 | 138.9939 | 0.0021 | 0.0063
|  |  | GC-APCI | + | 20.877 | 125.0141 | 163.0282 | 177.042 | 0.005 | 0.015
Deltamethrin | (52918-63-5) | C22H19Br2NO3 | GC-APCI | + | 30.845 | 504.9707 | 252.9036 | 171.9843 | 0.0445 | 0.1335 | 0.6 |  | 0.6 | Organochlorine pesticides (OCPs)
d-HCH | (319-86-8) | C6H6Cl6 | GC-APCI | + | 15.54 | 172.9632 | 218.9111 | 180.9373 | 0.0024 | 0.0072 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Dichlofluanid | (1085-98-9) | C9H11Cl2FN2O2S2 | LC-ESI | + | 10.02 | 223.9498 | 269.0077 | 312.9634 | 0.0024 | 0.0072 | 0.01 |  | 0.01 | Fungicides
|  |  | GC-APCI | + | 17.247 | 331.9618 | 167.0597 | 123.0127 | 0.0014 | 0.0042
Dichlorvos | (62-73-7) | C4H7Cl2O4P | LC-ESI | + | 7 | 220.953 | 127.0154 | 144.9815 | 0.00133 | 0.00399 | 0.01 |  | 0.01 | Organophosphate insecticides
|  |  | GC-APCI | + | 9.76 | 184.9765 | 144.9818 | 127.0145 | 0.0018 | 0.0054
Dicofol | (115-32-2) | C14H9Cl5O | GC-APCI | + | 17.78 | 251.0025 | 215.0221 | 250.9996 | 0.0125 | 0.0375 | 0.05 |  | 0.05 | Organochlorine pesticides (OCPs)
Dieldrin | (60-57-1) | C12H8Cl6O | GC-APCI | + | 20.14 | 344.8983 | 379.8672 | 290.9096 | 0.00099 | 0.00297 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Endosulfan alpha | (33213-65-9) | C9H6Cl6O3S | GC-APCI | + | 19.45 | 338.8725 | 306.8827 | 294.8827 | 0.013 | 0.039 | 0.05 |  | 0.05 | Organochlorine pesticides (OCPs)
Endosulfan sulphate | (1031-07-8) | C9H6Cl6O4S | GC-APCI | + | 21.97 | 386.8395 | 228.8931 | 252.8931 | 0.01 | 0.03 | 0.05 |  | 0.05 | Organochlorine pesticides (OCPs)
Endrin | (72-20-8) | C12H8Cl6O | GC-APCI | + | 20.69 | 398.8856 | 379.8672 |  | 0.0013 | 0.0039 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Ethalfluralin | (55283-68-6) | C13H14F3N3O4 | GC-APCI | + | 13.687 | 333.0931 | 276.0559 | 316.0896 | 0.00105 | 0.00315 | 0.01 |  | 0.01 | Herbicides
Fenamiphos | (22224-92-6) | C13H22NO3PS | LC-ESI | - | 10.41 |  |  |  | 0.002 | 0.006 | 0.01 |  | 0.01 | Organophosphate insecticides
|  |  | LC-ESI | + | 10.45 |  |  |  | 0.00125 | 0.00375
|  |  | GC-APCI | + | 19.615 | 304.1131 | 217.0056 | 260.0491 | 0.0007 | 0.0021
Fenitrothion | (122-14-5) | C9H12NO5PS | LC-ESI | + | 9.92 |  |  |  | 0.0056 | 0.0168 | 0.02 |  | 0.02 | Acaricides
|  |  | GC-APCI | + | 17.06 | 277.0168 | 127.015 | 142.9903 | 0.00475 | 0.01425
Fenthion | (55-38-9) | C10H15O3PS2 | LC-ESI | + | 11.02 | 169.013 | 279.0272 | 124.981 | 5e-05 | 0.00015 | 0.01 |  | 0.01 | Organothiophosphate insecticides, avicides & acaricides
|  |  | GC-APCI | + | 17.7 | 279.0224 | 127.0147 | 169.0098 | 0.00105 | 0.00315
Fludioxonil | (131341-86-1) | C12H6F2N2O2 | GC-APCI | + | 20.31 | 182.043 | 154.0489 | 127.0412 | 0.0013 | 0.0039 | 0.01 |  | 0.01 | Fungicides
Heptachlor | (76-44-8) | C10H5Cl7 | GC-APCI | + | 16.65 | 371.8176 | 236.8384 | 265.9011 | 0.000225 | 0.000675 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Heptachlor epoxide | (1024-57-3) | C10H5Cl7O | GC-APCI | + | 18.6 | 387.8125 | 387.8125 | 288.8702 | 0.0011 | 0.0033 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Hexachlorobenzene | (118-74-1) | C6Cl6 | GC-APCI | + | 14.34 | 283.8096 |  |  | 0.0004 | 0.0012 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Hexachlorobutadiene | (87-68-3) | C4Cl6 | GC-APCI | + | 9.53 | 224.8408 | 189.8719 | 140.906 | 0.0013 | 0.0039 | 0.01 |  | 0.01 | Herbicides
Isodrin | (465-73-6) | C12H8Cl6 | GC-APCI | + | 18.27 | 327.8956 | 363.8723 | 292.9267 | 0.0008 | 0.0024 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
Malaoxon | (1634-78-2) | C10H19O7PS | LC-ESI | + | 7.01 | 269.0243 | 127.0389 | 99.0076 | 0.0011 | 0.0033 | 0.02 |  | 0.02 | Organophosphate insecticides
|  |  | GC-APCI | + | 16.319 | 314.0584 | 127.0152 | 142.9902 | 0.0043 | 0.0129
Methacrifos | (62610-77-9) | C7H13O5PS | LC-ESI | - | 5.12 |  |  |  | 0.00385 | 0.01155 | 0.02 |  | 0.02 | Organophosphate insecticides
|  |  | LC-ESI | + | 8.16 | 109.0049 | 124.9821 | 209.0032 | 0.00085 | 0.00255
|  |  | GC-APCI | + | 12.09 | 241.0294 | 209.0006 | 142.9911 | 0.00085 | 0.00255
Methidathion | (950-37-8) | C6H11N2O4PS3 | LC-ESI | + | 8.7 | 85.0396 | 145.0066 |  | 0.000405 | 0.001215 | 0.02 |  | 0.02 | Organophosphate insecticides
|  |  | GC-APCI | + | 19.084 | 145.004 | 145.0041 | 85.0385 | 0.012 | 0.036
Metribuzin | (21087-64-9) | C8H14N4OS | LC-ESI | - | 7.04 |  |  |  | 0.002 | 0.006 | 0.2 | 2.2 | 0.44 | Herbicides
|  |  | LC-ESI | + | 7.07 | 187.101 | 215.0956 | 186.0829 | 0.0048 | 0.0144
|  |  | GC-APCI | + | 16.311 | 214.0883 | 198.0661 | 187.0979 | 0.0016 | 0.0048
Monocrotophos | (6923-22-4) | C7H14NO5P | LC-ESI | + | 4.36 | 127.0155 | 98.06 |  | 0.0018 | 0.0054 | 0.02 |  | 0.02 | Organophosphate insecticides
|  |  | GC-APCI | + | 13.902 | 223.0604 | 127.0148 | 164.021 | 0.0064 | 0.0192
Myclobutanil | (88671-89-0) | C15H17ClN4 | LC-ESI | - | 9.71 |  |  |  | 0.0017 | 0.0051 | 0.01 |  | 0.01 | Fungicides
|  |  | LC-ESI | + | 9.74 | 70.04 | 125.0153 | 220.0898 | 0.00065 | 0.00195
|  |  | GC-APCI | + | 20.37 | 288.1135 | 179.0203 | 125.0112 | 0.00125 | 0.00375
Omethoate | (1113-02-6) | C5H12NO4PS | LC-ESI | + | 3.35 | 142.9916 | 127.0145 | 154.9921 | 0.00095 | 0.00285 | 0.01 | 0.008 | 8e-05 | Organophosphorous insecticides
|  |  | GC-APCI | + | 13.031 | 182.9832 | 142.9906 | 127.0148 | 0.00125 | 0.00375
Paraoxon | (311-45-5) | C10H14NO6P | LC-ESI | + | 8.01 | 220.0006 | 248.0318 |  | 0.0036 | 0.0108 | 0.02 |  | 0.02 | Organophosphate insecticides
Paraoxon ethyl | (311-45-5) | C10H14NO6P | GC-APCI | + | 16.732 | 275.0553 | 219.9979 | 174.0039 | 0.0019 | 0.0057 | 0.02 |  | 0.02 | Organophosphate insecticides
Parathion methyl | (298-00-0) | C8H10NO5PS | GC-APCI | + | 16.6 | 263.0003 | 249.9917 | 264.9835 | 0.00105 | 0.00315 | 0.02 |  | 0.02 | Organophosphate insecticides
Penconazole | (66246-88-6) | C13H15Cl2N3 | LC-ESI | + | 10.83 | 70.04 | 158.9763 | 172.9919 | 0.00099 | 0.00297 | 0.01 |  | 0.01 | Fungicides
|  |  | GC-APCI | + | 18.64 | 158.9724 | 160.9694 | 216.9684 | 0.0045 | 0.0135
Pentabromobenzyl acrylate | (59447-55-1) | C10H5Br5O2 | GC-APCI | + | 25.88 | 477.7055 |  |  | 0.0013 | 0.0039 | 0.01 |  | 0.01 | Flame retardants
Pentabromoethylbenzene | (85-22-3) | C8H5Br5 | GC-APCI | + | 21.71 | 500.634 |  |  | 0.00055 | 0.00165 | 0.01 |  | 0.01 | Flame retardants
Pentachlorobenzene | (608-93-5) | C6HCl5 | GC-APCI | + | 12.4 | 249.8486 | 215.8876 |  | 0.00375 | 0.01125 | 0.01 |  | 0.01 | Fungicides
Phosalone | (2310-17-0) | C12H15ClNO4PS2 | LC-ESI | + | 11.27 |  |  |  | 0.0038 | 0.0114 | 0.02 |  | 0.02 | Organophosphate insecticides & acaricides
|  |  | GC-APCI | + | 24.412 | 366.9863 | 181.9958 | 181.9967 | 0.00495 | 0.01485
Phosphamidon (Dimecron) | (13171-21-6) | C10H19ClNO5P | LC-ESI | + | 6.26 |  |  |  | 9e-05 | 0.00027 | 0.01 |  | 0.01 | Organophosphate insecticides
|  |  | GC-APCI | + | 15.169 | 127.0145 | 132.0568 | 174.0644 | 0.0013 | 0.0039
Pirimiphos methyl | (29232-93-7) | C11H20N3O3PS | LC-ESI | + | 11.35 | 164.1182 | 108.056 | 136.0869 | 0.00065 | 0.00195 | 0.01 |  | 0.01 | Organothiophosphate
|  |  | GC-APCI | + | 16.971 | 305.0958 | 164.1148 | 306.1027 | 0.00125 | 0.00375
Pyrazophos | (13457-18-6) | C14H20N3O5PS | LC-ESI | - | 11.36 |  |  |  | 0.0038 | 0.0114 | 0.02 |  | 0.02 | Fungicides & insecticides
|  |  | LC-ESI | + | 11.4 | 222.0872 | 194.056 | 238.0643 | 0.0033 | 0.0099
|  |  | GC-APCI | + | 25.193 | 373.0857 | 222.0849 | 204.0737 | 0.00495 | 0.01485
Quinoxyfen | (124495-18-7) | C15H8Cl2FNO | LC-ESI | + | 12.78 | 272.0273 | 196.9794 | 308.0039 | 0.00325 | 0.00975 | 0.02 |  | 0.02 | Fungicides
|  |  | GC-APCI | + | 22.239 | 237.0568 | 272.0268 | 238.06 | 0.0036 | 0.0108
Simazine | (122-34-9) | C7H12ClN5 | LC-ESI | - | 7.03 |  |  |  | 0.0017 | 0.0051 | 0.01 |  | 0.01 | Organochlorine pesticides (OCPs)
|  |  | LC-ESI | + | 7.07 | 132.0323 | 124.0869 | 202.0848 | 0.00065 | 0.00195
|  |  | GC-APCI | + | 14.657 | 201.0776 | 202.0823 | 132.0317 | 0.00125 | 0.00375
Tebuconazole | (107534-96-3) | C16H22ClN3O | LC-ESI | - | 10,83 | 223.0895 |  |  | 0.0145 | 0.0435 | 0.5 | 1.9 | 0.95 | Fungicides
|  |  | LC-ESI | + | 10.87 | 70.04 | 308.1526 | 125.0147 | 0.0012 | 0.0036
|  |  | GC-APCI | + | 22.565 | 307.1431 | 250.0721 | 125.0141 | 0.0041 | 0.0123
Terbufos | (13071-79-9) | C9H21O2PS3 | GC-APCI | + | 15.048 | 288.0436 | 230.9707 | 174.9062 | 0.00165 | 0.00495 | 0.01 |  | 0.01 | Insecticides & nematicides
Tetrachlorvinphos (Stirofos) | (22248-79-9) | C10H9Cl4O4P | LC-ESI | + | 10.59 | 127.0155 | 238.8983 | 203.9295 | 0.00065 | 0.00195 | 0.01 |  | 0.01 | Organophosphate insecticides
|  |  | GC-APCI | + | 19.406 | 127.0146 | 366.9037 | 364.9065 | 0.00125 | 0.00375
Trifluralin | (1582-09-8) | C13H16F3N3O4 | GC-APCI | + | 13.853 | 248.0278 | 232.0304 | 290.0747 | 0.00095 | 0.00285 | 0.01 |  | 0.01 | Herbicides

## Table S2
Table S2. Olive oil sampling. |  |  | Return to index
Coding | Geographical origin | Variety
1276 | Crete | Koroneiki
1314 | Crete | Koroneiki
2052 | Crete | Koroneiki
2114 | Crete | Koroneiki
2138 | Crete | Koroneiki
2182 | Crete | Koroneiki
3095 | Peloponnese | Koroneiki
3274 | Peloponnese | Koroneiki
4134 | Peloponnese | Koroneiki
7021 | Lesvos | Koroneiki
7068 | Lesvos | Koroneiki
7076 | Lesvos | Kolovi
7109 | Lesvos | Kolovi
7149 | Lesvos | Kolovi
7150 | Lesvos | Kolovi
7260 | Lesvos | Kolovi
7267 | Lesvos | Kolovi
S24 | Samos | Throumba
S40 | Samos | Throumba
X10 | Chios | Throumba

## Table S3
Table S3. List of 771 pesticides constituting the screening database. |  |  |  |  | Return to index
Compound name | Molecular Formula | HRMS Analytical Platform | Ionization mode*
1.2.3.6-Tetrahydrophthalimide (cis-) | C8H9NO2 | LC-ESI | + | -
1-Naphthylaceticacid | C12H10O2 | LC-ESI | -
2,3,5-Trimethacarb | C11H15NO2 | GC-APCI | +
2,4,5,6-Tetrachloro-m-xylene | C8H6Cl4 | GC-APCI | +
2.4.5-T | C8H5Cl3O3 | LC-ESI | -
2.4.5-T-methylester | C9H7Cl3O3 | LC-ESI | +
2.4.6-Trichlorophenol | C6H3Cl3O | LC-ESI | -
2.4-D | C8H6Cl2O3 | LC-ESI | +
2.4-DB | C10H10Cl2O3 | LC-ESI | + | -
2.4-DB-methylester | C11H12Cl2O3 | LC-ESI | +
2.4-D-butylester | C12H14Cl2O3 | LC-ESI | +
2.4-DDT | C14H9Cl5 | GC-APCI | +
2.4-Dimethylaniline (Metabolite Amitraz) | C8H11N | LC-ESI | +
2.4-D-methylester | C9H8Cl2O3 | LC-ESI | +
2-Phenylphenol | C12H10O | LC-ESI | -
3,4,5-Trimethacarb | C11H15NO2 | GC-APCI | +
4,4'-Dichlorobenzophenone | C13H8Cl2O1 | GC-APCI | +
4.4-DDD | C14H10Cl4 | GC-APCI | +
4.4-DDE | C14H8Cl4 | GC-APCI | +
4.4-DDT | C14H9Cl5 | GC-APCI | +
4-Methoxy-1.3-phenylenediamine | C7H10N2O | LC-ESI | +
Acenapthene | C12H10 | GC-APCI | +
Acenapthylene | C12H8 | GC-APCI | +
Acephate | C4H10NO3PS | GC-APCI / LC-ESI | +
Acetamiprid | C10H11ClN4 | GC-APCI / LC-ESI | + | -
Acetochlor | C14H20ClNO2 | GC-APCI / LC-ESI | +
Acibenzolar-S-methyl | C8H6N2OS2 | LC-ESI | +
Aclonifen | C12H9ClN2O3 | GC-APCI / LC-ESI | + | -
Acrinathrin | C26H21F6NO5 | GC-APCI / LC-ESI | +
a-HCH | C6H6Cl6 | GC-APCI | +
Alachlor | C14H20ClNO2 | GC-APCI / LC-ESI | +
Alanycarb | C17H25N3O4S2 | LC-ESI | +
Albendazole | C12H15N3O2S | LC-ESI | +
Aldicarb | C7H14N2O2S | LC-ESI | +
Aldicarb-sulfone (Aldoxycarb) | C7H14N2O4S | LC-ESI | +
Aldicarb-sulfoxide | C7H14N2O3S | LC-ESI | +
Aldrin | C12H8Cl6 | GC-APCI | +
Allethrin | C19H26O3 | GC-APCI / LC-ESI | +
Allidochlor | C8H12ClNO | LC-ESI | +
Ametryn | C9H17N5S | LC-ESI | +
Amidosulfuron | C9H15N5O7S2 | LC-ESI | +
Aminocarb (Metacil) | C11H16N2O2 | LC-ESI | +
Amitraz | C19H23N3 | LC-ESI | +
Amitrole | C2H4N4 | LC-ESI | + | -
Ancymidol | C15H16N2O2 | LC-ESI | +
Anilazine | C9H5Cl3N4 | LC-ESI | +
Anilofos | C13H19ClNO3PS2 | LC-ESI | + | -
Anthracene | C14H10 | GC-APCI | +
Asana (Esfenvalerate) | C25H22ClNO3 | LC-ESI | +
Aspon | C12H28O5P2S2 | LC-ESI | +
Asulam | C8H10N2O4S | LC-ESI | +
Atraton | C9H17N5O | LC-ESI | +
Atrazine | C8H14ClN5 | LC-ESI | + | -
Atrazine 2-Hydroxy | C8H15N5O | LC-ESI | +
Atrazine-desethyl | C6H10ClN5 | LC-ESI | + | -
Atrazine-desisopropyl | C5H8ClN5 | LC-ESI | + | -
Avermectin B1a (Abamectin) | C48H72O14 | LC-ESI | + | -
Avermectin B1b (Abamectin) | C47H70O14 | LC-ESI | + | -
Azaconazole | C12H11Cl2N3O2 | LC-ESI | +
Azadirachtin | C35H44O16 | LC-ESI | +
Azamethiphos | C9H10ClN2O5PS | GC-APCI | +
Azimsulfuron | C13H16N10O5S | LC-ESI | +
Azinphos ethyl | C12H16N3O3PS2 | LC-ESI | +
Azinphos methyl (Guthion) | C10H12N3O3PS2 | GC-APCI / LC-ESI | +
Aziprotryne | C7H11N7S | LC-ESI | + | -
Azoxystrobin | C22H17N3O5 | LC-ESI | +
Barban (endo) | C11H9Cl2NO2 | LC-ESI | +
BDE 100 | C12H5Br5O | GC-APCI | +
BDE 153 | C12H4Br6O | GC-APCI | +
BDE 154 | C12H4Br6O | GC-APCI | +
BDE 28 | C12H7Br3O | GC-APCI | +
BDE 47 | C12H6Br4O | GC-APCI | +
BDE 99 | C12H5Br5O | GC-APCI | +
Beflubutamid | C18H17F4NO2 | GC-APCI / LC-ESI | + | -
Benalaxyl | C20H23NO3 | GC-APCI / LC-ESI | +
Benazolin | C9H6ClNO3S | LC-ESI | + | -
Bendiocarb | C11H13NO4 | LC-ESI | +
Benfluralin | C13H16F3N3O4 | GC-APCI | +
Benfuracarb | C20H30N2O5S | GC-APCI / LC-ESI | +
Benodanil | C13H10INO | LC-ESI | + | -
Benomyl (decomposed to Carbendazim) | C14H18N4O3 | LC-ESI | +
Benoxacor | C11H11Cl2NO2 | LC-ESI | + | -
Bensulfuron-methyl | C16H18N4O7S | LC-ESI | +
Bensulide | C14H24NO4PS3 | LC-ESI | + | -
Bensultap | C17H21NO4S4 | LC-ESI | +
Bentazone | C10H12N2O3S | LC-ESI | +
Benthiavalicarb isopropyl | C18H24FN3O3S | LC-ESI | +
Benz[a]anthracene | C18H12 | GC-APCI | +
Benzo(a)pyrene | C20H12 | GC-APCI | +
Benzo(b)fluoranthene | C20H12 | GC-APCI | +
Benzo(g,h,i)perylene | C22H12 | GC-APCI | +
Benzo(k)fluoranthene | C20H12 | GC-APCI | +
Benzoximate | C18H18ClNO5 | LC-ESI | +
Benzoylprop ethyl | C18H17Cl2NO3 | LC-ESI | + | -
Benzthiazuron | C9H9N3OS | LC-ESI | + | -
b-HCH | C6H6Cl6 | GC-APCI | +
Bifenazate | C17H20N2O3 | GC-APCI / LC-ESI | +
Bifenox | C14H9Cl2NO5 | LC-ESI | +
Bifenthrin | C23H22ClF3O2 | GC-APCI | +
Bioallethrin | C19H26O3 | LC-ESI | +
Bioresmethrin | C22H26O3 | LC-ESI | +
Bispyribac | C19H18N4O8 | LC-ESI | +
Bitertanol | C20H23N3O2 | LC-ESI | +
Boscalid | C18H12Cl2N2O | LC-ESI | +
Bromacil | C9H13BrN2O2 | LC-ESI | +
Bromadiolone | C30H23BrO4 | LC-ESI | + | -
Bromocyclen | C8H5BrCl6 | GC-APCI | +
Bromophos (Bromophos methyl) | C8H8BrCl2O3PS | LC-ESI | +
Bromophos ethyl | C10H12BrCl2O3PS | GC-APCI / LC-ESI | +
Bromophos methyl | C8H8BrCl2O3PS | GC-APCI | +
Bromopropylate | C17H16Br2O3 | LC-ESI | +
Bromoxynil | C7H3Br2NO | LC-ESI | -
Bromuconazole | C13H12BrCl2N3O | LC-ESI | +
Bupirimate | C13H24N4O3S | GC-APCI / LC-ESI | + | -
Buprofezin | C16H23N3OS | GC-APCI / LC-ESI | +
Butachlor | C17H26ClNO2 | LC-ESI | +
Butafenacil | C20H18ClF3N2O6 | LC-ESI | +
Butamifos | C13H21N2O4PS | LC-ESI | +
Butocarboxim | C7H14N2O2S | LC-ESI | +
Butocarboxim sulfoxid | C7H14N2O3S | LC-ESI | +
Butoxycarboxim | C7H14N2O4S | LC-ESI | + | -
Butralin | C14H21N3O4 | LC-ESI | +
Buturon | C12H13ClN2O | LC-ESI | + | -
Butylate | C11H23NOS | LC-ESI | +
Cadusafos | C10H23O2PS2 | GC-APCI / LC-ESI | +
Cambendazol | C14H14N4O2S | LC-ESI | +
Captafol | C10H9Cl4NO2S | LC-ESI | +
Captan | C9H8Cl3NO2S | LC-ESI | +
Carbaryl | C12H11NO2 | LC-ESI | + | -
Carbendazim | C9H9N3O2 | LC-ESI | + | -
Carbetamide | C12H16N2O3 | LC-ESI | + | -
Carbofuran | C12H15NO3 | LC-ESI | +
Carbofuran-3-hydroxy | C12H15NO4 | LC-ESI | + | -
Carbophenothion | C11H16ClO2PS3 | GC-APCI / LC-ESI | +
Carbosulfan | C20H32N2O3S | LC-ESI | +
Carboxin | C12H13NO2S | LC-ESI | + | -
Carfentrazone ethyl | C15H14Cl2F3N3O3 | GC-APCI / LC-ESI | +
CGA 321113 (Trifloxystrobin Metabolite) | C19H17F3N2O4 | LC-ESI | + | -
c-HCH | C6H6Cl6 | GC-APCI | +
Chloramben | C7H5Cl2NO2 | LC-ESI | -
Chlorantraniliprole | C18H14BrCl2N5O2 | LC-ESI | +
Chlorbromuron | C9H10BrClN2O2 | LC-ESI | + | -
Chlorbufam | C11H10ClNO2 | LC-ESI | + | -
Chlordimeform | C10H13ClN2 | LC-ESI | +
Chlorfenapyr | C15H11BrClF3N2O | GC-APCI | +
Chlorfenprop methyl | C10H10Cl2O2 | LC-ESI | +
Chlorfenson.Ovex.chlorfénizon.ephirsulfonate.ovatron | C12H8Cl2O3S | LC-ESI | +
Chlorfenvinphos | C12H14Cl3O4P | GC-APCI / LC-ESI | +
Chlorfluazuron | C20H9Cl3F5N3O3 | LC-ESI | +
Chloridazone | C10H8ClN3O | LC-ESI | + | -
Chlorimuron ethyl | C15H15ClN4O6S | LC-ESI | + | -
Chlormequat | C5H13ClN^1+ | LC-ESI | +
Chlorobenzilate | C16H14Cl2O3 | LC-ESI | + | -
Chlorophacinone | C23H15ClO3 | LC-ESI | + | -
Chloropropylate | C17H16Cl2O3 | LC-ESI | + | -
Chlorothalonil | C8Cl4N2 | GC-APCI | +
Chlorothiamid | C7H5Cl2NS | LC-ESI | + | -
Chlorotoluron | C10H13ClN2O | LC-ESI | +
Chloroxuron (Chloroxifenidim) | C15H15ClN2O2 | LC-ESI | + | -
Chlorpropham | C10H12ClNO2 | LC-ESI | + | -
Chlorpyriphos | C9H11Cl3NO3PS | GC-APCI / LC-ESI | +
Chlorpyriphos methyl | C7H7Cl3NO3PS | GC-APCI / LC-ESI | +
Chlorsulfuron | C12H12ClN5O4S | LC-ESI | + | -
Chlorthal-dimethyl | C10H6Cl4O4 | GC-APCI / LC-ESI | +
Chlorthion | C8H9ClNO5PS | LC-ESI | +
Chlozolinate | C13H11Cl2NO5 | GC-APCI | +
Chromafenozide | C24H30N2O3 | LC-ESI | + | -
Chrysene | C18H12 | GC-APCI | +
Cinidon ethyl | C19H17Cl2NO4 | LC-ESI | +
Cinosulfuron | C15H19N5O7S | LC-ESI | +
cis Chlordane | C10H6Cl8 | GC-APCI | +
Clethodim | C17H26ClNO3S | LC-ESI | + | -
Climbazole | C15H17ClN2O2 | GC-APCI | +
Clodinafop-propargyl | C17H13ClFNO4 | LC-ESI | +
Clofentezine | C14H8Cl2N4 | LC-ESI | +
Clomazone (Command) | C12H14ClNO2 | GC-APCI / LC-ESI | +
Clopyralid | C6H3Cl2NO2 | LC-ESI | + | -
Cloquintocet-1-methylhexyl ester | C18H22ClNO3 | GC-APCI | +
Clothiandin | C6H8ClN5O2S | LC-ESI | + | -
Coumachlor | C19H15ClO4 | LC-ESI | + | -
Coumaphos | C14H16ClO5PS | LC-ESI | + | -
Crimidine | C7H10ClN3 | LC-ESI | +
Crotoxyphos | C14H19O6P | LC-ESI | +
Crufomate | C12H19ClNO3P | LC-ESI | + | -
Cyanazine | C9H13ClN6 | GC-APCI / LC-ESI | + | -
Cyanofenphos | C15H14NO2PS | LC-ESI | +
Cyanophos | C9H10NO3PS | LC-ESI | +
Cyazofamid | C13H13ClN4O2S | LC-ESI | +
Cycloate | C11H21NOS | LC-ESI | +
Cycloheximide | C15H23NO4 | LC-ESI | + | -
Cycloxydim | C17H27NO3S | LC-ESI | +
Cycluron | C11H22N2O | LC-ESI | +
Cyfluthrin (Baythroid) | C22H18Cl2FNO3 | GC-APCI / LC-ESI | +
Cyhalothrin-lambda | C23H19ClF3NO3 | GC-APCI / LC-ESI | +
Cymoxanil | C7H10N4O3 | LC-ESI | + | -
Cypermethrin | C22H19Cl2NO3 | GC-APCI / LC-ESI | +
Cyprazin | C9H14ClN5 | LC-ESI | + | -
Cyproconazole | C15H18ClN3O | GC-APCI / LC-ESI | + | -
Cyprodinil | C14H15N3 | GC-APCI / LC-ESI | +
Cyromazine | C6H10N6 | LC-ESI | +
Cythioate | C8H12NO5PS2 | LC-ESI | + | -
Daimuron (Dymron) | C17H20N2O | LC-ESI | + | -
Dalapon | C3H4Cl2O2 | LC-ESI | -
Dazomet | C5H10N2S2 | LC-ESI | +
DEET (Diethyltoluamide) | C12H17NO | LC-ESI | +
Deltamethrin | C22H19Br2NO3 | GC-APCI / LC-ESI | +
Demeton | C8H19O3PS2 | LC-ESI | +
Demeton-S-methylsulfoxid (Oxydemeton-methyl) | C6H15O4PS2 | LC-ESI | +
Desmedipham | C16H16N2O4 | LC-ESI | + | -
Desmetryn | C8H15N5S | LC-ESI | +
d-HCH | C6H6Cl6 | GC-APCI | +
Diafenthiuron | C23H32N2OS | LC-ESI | +
Dialifos | C14H17ClNO4PS2 | LC-ESI | +
Diallate | C10H17Cl2NOS | LC-ESI | +
Diazinon | C12H21N2O3PS | GC-APCI / LC-ESI | +
Diazinon-O-analog | C12H21N2O4P | LC-ESI | +
Dibenzo(a,h)anthracene | C22H14 | GC-APCI | +
Dibutylchlorendate | C17H20Cl6O4 | LC-ESI | +
Dicamba | C8H6Cl2O3 | LC-ESI | + | -
Dicamba methyl | C9H8Cl2O3 | LC-ESI | +
Dicapthon | C8H9ClNO5PS | LC-ESI | +
Dichlobenil | C7H3Cl2N | GC-APCI | +
Dichlofenthion | C10H13Cl2O3PS | GC-APCI / LC-ESI | +
Dichlofluanid | C9H11Cl2FN2O2S2 | GC-APCI / LC-ESI | +
Dichlormid | C8H11Cl2NO | LC-ESI | +
Dichlorobenzamide | Cl2C6H3CONH2 | LC-ESI | +
Dichlorophen | C13H10Cl2O2 | LC-ESI | -
Dichlorprop | C9H8Cl2O3 | LC-ESI | -
Dichlorprop methyl | C10H10Cl2O3 | LC-ESI | +
Dichlorvos | C4H7Cl2O4P | GC-APCI / LC-ESI | +
Diclobutrazol | C15H19Cl2N3O | GC-APCI / LC-ESI | + | -
Diclofop | C15H12Cl2O4 | LC-ESI | -
Diclofop methyl | C16H14Cl2O4 | GC-APCI / LC-ESI | +
Dicloran | C6H4Cl2N2O2 | LC-ESI | + | -
Dicofol | C14H9Cl5O | GC-APCI / LC-ESI | +
Dicrotophos | C8H16NO5P | LC-ESI | +
Dieldrin | C12H8Cl6O | GC-APCI | +
Diethofencarb | C14H21NO4 | LC-ESI | + | -
Difenoconazole | C19H17Cl2N3O3 | LC-ESI | + | -
Difenoxuron | C16H18N2O3 | LC-ESI | + | -
Difenzoquat (Ion 1+) | C17H17N2^1+ | LC-ESI | +
Diflubenzuron | C14H9ClF2N2O2 | LC-ESI | + | -
Diflufenican | C19H11F5N2O2 | GC-APCI / LC-ESI | + | -
Diflufenzopyr | C15H12F2N4O3 | LC-ESI | + | -
Dikegulac | C12H18O7 | LC-ESI | + | -
Dimefuron | C15H19ClN4O3 | LC-ESI | + | -
Dimethachlor | C13H18ClNO2 | LC-ESI | +
Dimethenamid | C12H18ClNO2S | GC-APCI / LC-ESI | +
Dimethipin | C6H10O4S2 | LC-ESI | +
Dimethirimol | C11H19N3O | LC-ESI | + | -
Dimethoate | C5H12NO3PS2 | GC-APCI / LC-ESI | + | -
Dimethomorph | C21H22ClNO4 | LC-ESI | +
Dimethylanilin (N.N-) | C8H11N | LC-ESI | +
Dimethylphthalate | C10H10O4 | LC-ESI | +
Dimethylvinphos | C10H10Cl3O4P | LC-ESI | +
Dimoxystrobin | C19H22N2O3 | GC-APCI / LC-ESI | + | -
Dinex (2-Cyclohexyl-4.6-dinitrophenol) | C12H14N2O5 | LC-ESI | -
Diniconazole | C15H17Cl2N3O | LC-ESI | + | -
Dinobuton | C14H18N2O7 | LC-ESI | +
Dinocap | C18H24N2O6 | LC-ESI | +
Dinoseb | C10H12N2O5 | LC-ESI | -
Dinotefuran | C7H14N4O3 | LC-ESI | + | -
Dinoterb | C10H12N2O5 | LC-ESI | -
Dioxacarb | C11H13NO4 | LC-ESI | +
Dioxathion | C12H26O6P2S4 | LC-ESI | +
Diphacinone | C23H16O3 | LC-ESI | + | -
Diphenamid | C16H17NO | GC-APCI / LC-ESI | +
Diphenylamine | C12H11N | LC-ESI | +
Dipropetryn | C11H21N5S | GC-APCI | +
Diquat (Ion 2+) | C12H12N2^2+ | LC-ESI | +
Disulfoton | C8H19O2PS3 | LC-ESI | +
Disulfoton-sulfone | C8H19O4PS3 | LC-ESI | +
Disulfoton-sulfoxid | C8H19O3PS3 | LC-ESI | +
Ditalimfos | C12H14NO4PS | GC-APCI / LC-ESI | +
Dithiopyr | C15H16F5NO2S2 | LC-ESI | +
Diuron | C9H10Cl2N2O | LC-ESI | + | -
DNOC (4.6-dinitro-o-cresol) | C7H6N2O5 | LC-ESI | + | -
Dodemorph | C18H35NO | LC-ESI | +
Dodine (Ion1+) | C13H30N3^1+ | LC-ESI | +
Dyrene (Anilazine) | C9H5Cl3N4 | LC-ESI | + | -
Edifenphos | C14H15O2PS2 | LC-ESI | +
Emamectin B1a | C49H75NO13 | LC-ESI | +
Emamectin B1b | C48H73NO13 | LC-ESI | +
Endosulfan alpha | C9H6Cl6O3S | GC-APCI / LC-ESI | + | -
Endosulfan sulphate | C9H6Cl6O4S | GC-APCI / LC-ESI | + | -
Endosulfan-beta | C9H6Cl6O3S | GC-APCI | +
Endothal | C8H10O5 | LC-ESI | + | -
Endrin | C12H8Cl6O | GC-APCI | +
EPN | C14H14NO4PS | GC-APCI / LC-ESI | +
Epoxiconazole | C17H13ClFN3O | GC-APCI / LC-ESI | +
EPTC | C9H19NOS | LC-ESI | +
Esfenvalerate/Fenvalerate | C25H22ClNO3 | GC-APCI | +
Esprocarb | C15H23NOS | LC-ESI | +
Etaconazole | C14H15Cl2N3O2 | GC-APCI / LC-ESI | +
Ethafluralin | C13H14F3N3O4 | GC-APCI / LC-ESI | +
Ethiofencarb | C11H15NO2S | LC-ESI | + | -
Ethiofencarb-sulfone | C11H15NO4S | LC-ESI | +
Ethiofencarb-sulfoxide | C11H15NO3S | LC-ESI | +
Ethion | C9H22O4P2S4 | GC-APCI / LC-ESI | +
Ethiprole | C13H9Cl2F3N4OS | LC-ESI | + | -
Ethirimol | C11H19N3O | LC-ESI | + | -
Ethofumesate | C13H18O5S | LC-ESI | +
Ethoprop | C8H19O2PS2 | LC-ESI | +
Ethoprophos | C8H19O2PS2 | GC-APCI / LC-ESI | +
Ethoxyquin | C14H19NO | GC-APCI / LC-ESI | +
Ethoxysulfuron | C15H18N4O7S | LC-ESI | +
Etofenprox | C25H28O3 | GC-APCI / LC-ESI | +
Etoxazole | C21H23F2NO2 | GC-APCI / LC-ESI | +
Etridiazole | C5H5Cl3N2OS | GC-APCI | +
Etrimfos | C10H17N2O4PS | LC-ESI | +
Famoxadone | C22H18N2O4 | LC-ESI | + | -
Famphur | C10H16NO5PS2 | GC-APCI / LC-ESI | +
Fenamidone | C17H17N3OS | LC-ESI | + | -
Fenamiphos | C13H22NO3PS | GC-APCI / LC-ESI | + | -
Fenamiphos-sulfone | C13H22NO5PS | GC-APCI / LC-ESI | + | -
Fenarimol | C17H12Cl2N2O | LC-ESI | + | -
Fenazaquin | C20H22N2O | LC-ESI | +
Fenbuconazole | C19H17ClN4 | LC-ESI | +
Fenbutatin Oxide | C60H78OSn2 | LC-ESI | +
Fenchlorphos | C8H8Cl3O3PS | GC-APCI | +
Fenchlorphos-oxon | C8H8Cl3O4P1 | GC-APCI | +
Fenclofos.Ronnel | C8H8Cl3O3PS | LC-ESI | +
Fenfuram | C12H11NO2 | LC-ESI | + | -
Fenhexamid | C14H17Cl2NO2 | LC-ESI | + | -
Fenitrothion | C9H12NO5PS | GC-APCI / LC-ESI | +
Fenobucarb | C12H17NO2 | LC-ESI | +
Fenoprop (Silvex.2.4.5-TP) | C9H7Cl3O3 | LC-ESI | -
Fenoprop-methylester (Silvex-methyester) | C10H9Cl3O3 | LC-ESI | +
Fenothiocarb | C13H19NO2S | LC-ESI | +
Fenoxaprop-P | C16H12ClNO5 | LC-ESI | + | -
Fenoxycarb | C17H19NO4 | GC-APCI / LC-ESI | + | -
Fenpiclonil | C11H6Cl2N2 | LC-ESI | + | -
Fenpropathrin | C22H23NO3 | GC-APCI / LC-ESI | +
Fenpropidin | C19H31N | GC-APCI / LC-ESI | +
Fenpropimorph | C20H33NO | GC-APCI / LC-ESI | +
Fenpyroximate | C24H27N3O4 | LC-ESI | +
Fenson | C12H9ClO3S | GC-APCI | +
Fensulfothion | C11H17O4PS2 | LC-ESI | +
Fensulfothion-sulfon | C11H17O5PS2 | LC-ESI | +
Fenthion | C10H15O3PS2 | GC-APCI / LC-ESI | +
Fenthion-oxon | C10H15O4PS | GC-APCI / LC-ESI | +
Fenthion-sulfon | C10H15O5PS2 | LC-ESI | +
Fenthion-sulfoxide | C10H15O4PS2 | LC-ESI | +
Fentin (triphenylstannylium) (1+) | C18H15Sn^1+ | LC-ESI | +
Fenuron | C9H12N2O | LC-ESI | + | -
Fenvalerate | C25H22ClNO3 | LC-ESI | +
Fipronil | C12H4Cl2F6N4OS | GC-APCI / LC-ESI | + | -
Fipronil-desulfinyl | C12H4Cl2F6N4 | LC-ESI | +
Fipronil-sulfide | C12H4Cl2F6N4S | LC-ESI | + | -
Fipronilsulfone | C12H4Cl2F6N4O2S | LC-ESI | +
Flamprop | C16H13ClFNO3 | LC-ESI | + | -
Flamprop-isopropyl | C19H19ClFNO3 | LC-ESI | +
Flazasulfuron | C13H12F3N5O5S | LC-ESI | +
Flonicamid | C9H6F3N3O | GC-APCI / LC-ESI | + | -
Florasulam | C12H8F3N5O3S | LC-ESI | + | -
Fluacrypyrim | C20H21F3N2O5 | LC-ESI | +
Fluazifop | C15H12F3NO4 | LC-ESI | +
Fluazifop-p-butyl | C19H20F3NO4 | LC-ESI | +
Fluazinam | C13H4Cl2F6N4O4 | LC-ESI | +
Fluazuron | C20H10Cl2F5N3O3 | LC-ESI | + | -
Fluchloralin | C12H13ClF3N3O4 | GC-APCI / LC-ESI | + | -
Flucycloxuron | C25H20ClF2N3O3 | LC-ESI | + | -
Flucythrinate | C26H23F2NO4 | GC-APCI / LC-ESI | +
Fludioxonil | C12H6F2N2O2 | GC-APCI / LC-ESI | + | -
Flufenacet | C14H13F4N3O2S | GC-APCI / LC-ESI | +
Flufenoxuron | C21H11ClF6N2O3 | LC-ESI | + | -
Flufenzine (Diflovidazin) | C14H7F2ClN4 | LC-ESI | +
Flumequine | C14H12FNO3 | LC-ESI | +
Flumethrin | C28H22Cl2FNO3 | LC-ESI | +
Flumetsulam | C12H9F2N5O2S | LC-ESI | + | -
Flumioxazin | C19H15FN2O4 | GC-APCI / LC-ESI | + | -
Fluometuron | C10H11F3N2O | GC-APCI / LC-ESI | + | -
Fluopicolide | C14H8Cl3F3N2O1 | GC-APCI | +
Fluoranthene | C16H10 | GC-APCI | +
Fluorene | C13H10 | GC-APCI | +
Fluoroglycofen ethyl | C18H13ClF3NO7 | LC-ESI | +
Fluotrimazole | C22H16F3N3 | GC-APCI | +
Fluoxastrobin | C21H16ClFN4O5 | LC-ESI | +
Fluquinconazole | C16H8Cl2FN5O | LC-ESI | +
Fluridone | C19H14F3NO | LC-ESI | + | -
Flurochloridone | C12H10Cl2F3NO | LC-ESI | + | -
Fluroxypyr | C7H5Cl2FN2O3 | LC-ESI | + | -
Flurprimidol | C15H15F3N2O2 | LC-ESI | + | -
Flurtamone | C18H14F3NO2 | LC-ESI | + | -
Flusilazole | C16H15F2N3Si | GC-APCI / LC-ESI | +
Flutolanil | C17H16F3NO2 | GC-APCI / LC-ESI | + | -
Flutriafol | C16H13F2N3O | LC-ESI | + | -
Fluvalinate | C26H22ClF3N2O3 | GC-APCI | +
Fluvalinate (tau-) | C26H22ClF3N2O3 | LC-ESI | +
Folpet | C9H4Cl3NO2S | GC-APCI | +
Fomesafen | C15H10ClF3N2O6S | LC-ESI | + | -
Fonofos (Dyfonate) | C10H15OPS2 | GC-APCI / LC-ESI | +
Forchlorfenuron | C12H10ClN3O | LC-ESI | + | -
Formetanate | C11H15N3O2 | LC-ESI | +
Fosthiazate | C9H18NO3PS2 | GC-APCI / LC-ESI | +
Fuberidazole | C11H8N2O | LC-ESI | + | -
Furalaxyl | C17H19NO4 | GC-APCI / LC-ESI | +
Furathiocarb | C18H26N2O5S | GC-APCI / LC-ESI | +
Furilazole | C11H13Cl2NO3 | LC-ESI | +
Gibberellic acid | C19H22O6 | LC-ESI | + | -
Glufosinate | C5H12NO4P | LC-ESI | + | -
Halfenprox | C24H23BrF2O3 | LC-ESI | +
Halofenozide | C18H19ClN2O2 | LC-ESI | + | -
Haloxyfop methyl | C16H13ClF3NO4 | LC-ESI | +
Heliotrine | C16H27NO5 | LC-ESI | +
Heliotrine-N-oxide | C16H27NO6 | LC-ESI | +
Heptachlor | C10H5Cl7 | GC-APCI | +
Heptachlor Epoxide | C10H5Cl7O | GC-APCI | +
Heptachloronapthalene (PCN 73) | C10HCl7 | GC-APCI | +
Heptenophos | C9H12ClO4P | LC-ESI | +
Hexachlorobenzene | C6Cl6 | GC-APCI | +
Hexachlorobutadiene | C4Cl6 | GC-APCI | +
Hexachloronapthalene (PCN 66) | C10H2Cl6 | GC-APCI | +
Hexachloronapthalene (PCN 67) | C10H2Cl6 | GC-APCI | +
Hexaconazole | C14H17Cl2N3O | LC-ESI | + | -
Hexaflumuron | C16H8Cl2F6N2O3 | LC-ESI | + | -
Hexazinone | C12H20N4O2 | GC-APCI / LC-ESI | +
Hexythiazox | C17H21ClN2O2S | LC-ESI | +
Imazalil | C14H14Cl2N2O | LC-ESI | +
Imazamethabenz methyl | C16H20N2O3 | GC-APCI / LC-ESI | + | -
Imazamox | C15H19N3O4 | LC-ESI | + | -
Imazapyr | C13H15N3O3 | LC-ESI | + | -
Imazaquin | C17H17N3O3 | LC-ESI | + | -
Imazethapyr | C15H19N3O3 | LC-ESI | + | -
Imazosulfuron | C14H13ClN6O5S | LC-ESI | +
Imibenconazole | C17H13Cl3N4S | LC-ESI | +
Imidacloprid | C9H10ClN5O2 | LC-ESI | + | -
Inabenfide | C19H15ClN2O2 | LC-ESI | + | -
Indeno(1,2,3-cd)pyrene | C22H12 | GC-APCI | +
Indoxacarb | C22H17ClF3N3O7 | LC-ESI | +
Iodofenphos | C8H8Cl2IO3PS | GC-APCI | +
Iodofenphos (Jodfenphos) | C8H8Cl2IO3PS | LC-ESI | +
Ioxynil | C7H3I2NO | LC-ESI | -
Iprobenfos | C13H21O3PS | LC-ESI | +
Iprodione | C13H13Cl2N3O3 | GC-APCI / LC-ESI | + | -
Iprovalicarb | C18H28N2O3 | GC-APCI / LC-ESI | + | -
Isazofos | C9H17ClN3O3PS | GC-APCI / LC-ESI | +
Isocarbamid (Azolamide) | C8H15N3O2 | LC-ESI | +
Isocarbophos | C11H16NO4PS | LC-ESI | +
Isodrin | C12H8Cl6 | GC-APCI | +
Isofenphos | C15H24NO4PS | GC-APCI / LC-ESI | + | -
Isofenphos methyl | C14H22NO4PS | GC-APCI / LC-ESI | +
Isoprocarb | C11H15NO2 | GC-APCI / LC-ESI | +
Isopropalin | C15H23N3O4 | LC-ESI | +
Isoproturon | C12H18N2O | LC-ESI | + | -
Isoxaben | C18H24N2O4 | LC-ESI | + | -
Isoxadifen ethyl | C18H17NO3 | LC-ESI | +
Isoxaflutole | C15H12F3NO4S | LC-ESI | +
Isoxathion | C13H16NO4PS | LC-ESI | +
Ivermectin B1a | C48H74O14 | LC-ESI | +
Ivermectin B1b | C47H72O14 | LC-ESI | +
Kresoxim methyl | C18H19NO4 | LC-ESI | +
Lactofen | C19H15ClF3NO7 | LC-ESI | +
Lenacil | C13H18N2O2 | LC-ESI | + | -
Leptophos | C13H10BrCl2O2PS | LC-ESI | +
Lethane 384 | C9H17NO2S | LC-ESI | +
Linuron | C9H10Cl2N2O2 | GC-APCI / LC-ESI | + | -
Lufenuron | C17H8Cl2F8N2O3 | LC-ESI | + | -
Lycopsamine | C15H25NO5 | LC-ESI | +
Lycopsamine-N-oxide | C15H25NO6 | LC-ESI | +
Malaoxon | C10H19O7PS | GC-APCI / LC-ESI | +
Malathion | C10H19O6PS2 | GC-APCI / LC-ESI | +
MCPA | C9H9ClO3 | LC-ESI | -
MCPA-methylester | C10H11ClO3 | LC-ESI | +
MCPB | C11H13ClO3 | LC-ESI | + | -
Mecarbam | C10H20NO5PS2 | LC-ESI | +
Mecoprop | C10H11ClO3 | LC-ESI | + | -
Mecoprop-methylester | C11H13ClO3 | LC-ESI | +
Mefenacet | C16H14N2O2S | LC-ESI | +
Mefenpyr-diethyl | C16H18Cl2N2O4 | LC-ESI | +
Mefluidide | C11H13F3N2O3S | LC-ESI | + | -
Melamine | C3H6N6 | LC-ESI | +
Mepanipyrim | C14H13N3 | GC-APCI / LC-ESI | +
Mepronil | C17H19NO2 | LC-ESI | + | -
Mercaptobenzothiazole | C7H5NS2 | LC-ESI | + | -
Metalaxyl | C15H21NO4 | LC-ESI | +
Metamitron | C10H10N4O | LC-ESI | + | -
Metazachlor | C14H16ClN3O | GC-APCI / LC-ESI | +
Metconazole | C17H22ClN3O | GC-APCI / LC-ESI | + | -
Methabenzthiazuron | C10H11N3OS | LC-ESI | + | -
Methacrifos | C7H13O5PS | GC-APCI / LC-ESI | + | -
Methamidophos | C2H8NO2PS | LC-ESI | +
Methidathion | C6H11N2O4PS3 | GC-APCI / LC-ESI | +
Methiocarb (Mercaptodimethur) | C11H15NO2S | LC-ESI | + | -
Methiocarb-sulfone | C11H15NO4S | LC-ESI | +
Methiocarb-sulfoxide | C11H15NO3S | LC-ESI | +
Methomyl | C5H10N2O2S | GC-APCI / LC-ESI | +
Methoprene | C19H34O3 | LC-ESI | +
Methoprotryne | C11H21N5OS | GC-APCI | +
Methoxychlor (DMTD) | C16H15Cl3O2 | GC-APCI | +
Methoxyfenozide | C22H28N2O3 | LC-ESI | + | -
Methyl 2-dimethoxyphosphinothioylsulfanylacetate (formothion methanolyse) | C5H11O4PS2 | LC-ESI | +
Methyl arachidate | C21H42O2 | GC-APCI | +
Methyl behenate | C23H46O2 | GC-APCI | +
Methyl decanoate | C11H22O2 | GC-APCI | +
Methyl dodecanoate | C13H26O2 | GC-APCI | +
Methyl hexanoate | C7H14O2 | GC-APCI | +
Methyl myristate | C15H30O2 | GC-APCI | +
Methyl palmitate | C17H34O2 | GC-APCI | +
Methyl stearate | C19H38O2 | GC-APCI | +
Metobromuron | C9H11BrN2O2 | LC-ESI | + | -
Metolachlor | C15H22ClNO2 | GC-APCI / LC-ESI | +
Metolcarb | C9H11NO2 | GC-APCI / LC-ESI | +
Metominostrobin | C16H16N2O3 | LC-ESI | +
Metosulam | C14H13Cl2N5O4S | LC-ESI | + | -
Metoxuron | C10H13ClN2O2 | LC-ESI | + | -
Metrafenone | C19H21BrO5 | LC-ESI | +
Metribuzin | C8H14N4OS | GC-APCI / LC-ESI | + | -
Metsulfuron methyl | C14H15N5O6S | LC-ESI | + | -
Mevinphos | C7H13O6P | GC-APCI / LC-ESI | +
Mexacarbate | C12H18N2O2 | LC-ESI | +
MGK-264 P | C17H25NO2 | LC-ESI | +
Molinate | C9H17NOS | LC-ESI | +
Monocrotaline | C16H23NO6 | LC-ESI | +
Monocrotaline-N-oxide | C16H23NO7 | LC-ESI | +
Monocrotophos | C7H14NO5P | GC-APCI / LC-ESI | +
Monolinuron | C9H11ClN2O2 | LC-ESI | + | -
Monuron | C9H11ClN2O | LC-ESI | + | -
Myclobutanil | C15H17ClN4 | GC-APCI / LC-ESI | + | -
N.N-Dimethyl-N'-p-tolylsulphamide (DMST) | C9H14N2O2S | LC-ESI | + | -
N-2-4-Dimethylphenylformamide (Metabolite Amitraz) | C9H11NO | LC-ESI | +
Naled | C4H7Br2Cl2O4P | LC-ESI | +
Naphthalene | C10H8 | GC-APCI | +
Naphthoxyaceticacid (beta-) | C12H10O2 | LC-ESI | -
Napropamide | C17H21NO2 | GC-APCI / LC-ESI | +
Naptalam (N-1-Naphthylphthalamicacid) | C18H13NO3 | LC-ESI | + | -
Neburon | C12H16Cl2N2O | LC-ESI | + | -
Nicosulfuron | C15H18N6O6S | LC-ESI | + | -
Nitenpyram | C11H15ClN4O2 | LC-ESI | + | -
Nitrofen | C12H7Cl2NO3 | GC-APCI / LC-ESI | +
Nitrothal-isopropyl | C14H17NO6 | LC-ESI | +
Norflurazon | C12H9ClF3N3O | GC-APCI / LC-ESI | + | -
Novaluron | C17H9ClF8N2O4 | LC-ESI | +
Noviflumuron | C17H7Cl2F9N2O3 | LC-ESI | +
Nuarimol | C17H12ClFN2O | LC-ESI | + | -
O.O.O-Triethylphosphorothioate | C6H15O3PS | LC-ESI | +
Octtachloronapthalene | C10Cl8 | GC-APCI | +
Ofurace | C14H16ClNO3 | LC-ESI | + | -
Omethoate | C5H12NO4PS | GC-APCI / LC-ESI | +
Orbencarb | C12H16ClNOS | LC-ESI | +
Orbencarb | C12H16ClNOS | LC-ESI | +
Oryzalin | C12H18N4O6S | LC-ESI | + | -
Oxadiargyl | C15H14Cl2N2O3 | LC-ESI | +
Oxadiazon | C15H18Cl2N2O3 | GC-APCI / LC-ESI | +
Oxadixyl | C14H18N2O4 | GC-APCI / LC-ESI | +
Oxamyl | C7H13N3O3S | LC-ESI | +
Oxasulfuron | C17H18N4O6S | LC-ESI | +
Oxfendazole | C15H13N3O3S | LC-ESI | +
Oxycarboxin | C12H13NO4S | LC-ESI | + | -
Oxydemeton methyl | C6H15O4PS2 | LC-ESI | +
Oxyfluorfen | C15H11ClF3NO4 | GC-APCI / LC-ESI | + | -
p.p-Dichlorobenzophenone | C13H8Cl2O | LC-ESI | +
Paclobutrazole | C15H20ClN3O | GC-APCI / LC-ESI | + | -
Paraoxon | C10H14NO6P | GC-APCI / LC-ESI | +
Paraoxon methyl | C8H10NO6P | LC-ESI | +
Parathion | C10H14NO5PS | GC-APCI / LC-ESI | +
Parathion methyl | C8H10NO5PS | GC-APCI / LC-ESI | +
PCB 101 | C12H5Cl5 | GC-APCI | +
PCB 138 | C12H4Cl6 | GC-APCI | +
PCB 153 | C12H4Cl6 | GC-APCI | +
PCB 180 | C12H3Cl7 | GC-APCI | +
PCB 209 | C12Cl10 | GC-APCI | +
PCB 28 | C12H7Cl3 | GC-APCI | +
PCB 52 | C12H6Cl4 | GC-APCI | +
PCP | C6HCl5O | LC-ESI | -
Pebulate | C10H21NOS | LC-ESI | +
Penconazole | C13H15Cl2N3 | GC-APCI / LC-ESI | +
Pencycuron | C19H21ClN2O | LC-ESI | + | -
Pendimethalin | C13H19N3O4 | GC-APCI / LC-ESI | +
Penfluron | C15H9F5N2O2 | LC-ESI | + | -
Pentabromobenzyl acrylate | C10H5Br5O2 | GC-APCI | +
Pentabromoethylbenzene | C8H5Br5 | GC-APCI | +
Pentachloroaniline | C6H2Cl5N | GC-APCI | +
Pentachlorobenzene | C6HCl5 | GC-APCI | +
Pentachloronapthalene (PCN 52) | C10H3Cl5 | GC-APCI | +
Pentachloronapthalene (PCN 54) | C10H3Cl5 | GC-APCI | +
Pentachlorothioanisole | C7H3Cl5S1 | GC-APCI | +
Pentanochlor | C13H18ClNO | LC-ESI | + | -
Permethrin (cis-) | C21H20Cl2O3 | GC-APCI / LC-ESI | +
Perthane | C18H20Cl2 | GC-APCI | +
Pethoxamid | C16H22ClNO2 | LC-ESI | +
Phenanthrene | C14H10 | GC-APCI | +
Phenmedipham | C16H16N2O4 | LC-ESI | + | -
Phenothrin (tech) | C23H26O3 | GC-APCI / LC-ESI | +
Phenthoate | C12H17O4PS2 | GC-APCI / LC-ESI | +
Phorate | C7H17O2PS3 | GC-APCI / LC-ESI | +
Phorate-oxon | C7H17O3PS2 | LC-ESI | +
Phosalone | C12H15ClNO4PS2 | GC-APCI / LC-ESI | +
Phosmet | C11H12NO4PS2 | GC-APCI / LC-ESI | +
Phosphamidon (Dimecron) | C10H19ClNO5P | GC-APCI / LC-ESI | +
Phoxim | C12H15N2O3PS | LC-ESI | +
Picloram | C6H3Cl3N2O2 | LC-ESI | + | -
Picolinafen | C19H12F4N2O2 | LC-ESI | + | -
Piperonylbutoxide | C19H30O5 | LC-ESI | +
Pirimicarb | C11H18N4O2 | GC-APCI / LC-ESI | +
Pirimicarb-desmethyl | C10H16N4O2 | LC-ESI | +
Pirimicarb-desmethyl-formamido | C11H16N4O3 | GC-APCI | +
Pirimiphos ethyl | C13H24N3O3PS | GC-APCI / LC-ESI | +
Pirimiphos methyl | C11H20N3O3PS | LC-ESI | +
Pretilachlor | C17H26ClNO2 | LC-ESI | +
Prochloraz | C15H16Cl3N3O2 | LC-ESI | +
Procymidone | C13H11Cl2NO2 | GC-APCI / LC-ESI | + | -
Profenophos | C11H15BrClO3PS | GC-APCI / LC-ESI | +
Profoxydim | C24H32ClNO4S | LC-ESI | + | -
Prohexadione | C10H12O5 | LC-ESI | + | -
Promecarb | C12H17NO2 | GC-APCI / LC-ESI | +
Prometon | C10H19N5O | GC-APCI / LC-ESI | +
Prometryn (Caparol) | C10H19N5S | LC-ESI | +
Propachlor | C11H14ClNO | GC-APCI / LC-ESI | +
Propamocarb | C9H20N2O2 | GC-APCI / LC-ESI | +
Propanil | C9H9Cl2NO | GC-APCI / LC-ESI | + | -
Propaphos | C13H21O4PS | LC-ESI | +
Propaquizafop | C22H22ClN3O5 | LC-ESI | +
Propargite | C19H26O4S | LC-ESI | +
Propazine | C9H16ClN5 | GC-APCI / LC-ESI | +
Propetamphos | C10H20NO4PS | LC-ESI | + | -
Propham | C10H13NO2 | GC-APCI / LC-ESI | +
Propiconazole | C15H17Cl2N3O2 | LC-ESI | +
Propoxur | C11H15NO3 | LC-ESI | +
Propyzamide (Pronamide) | C12H11Cl2NO | LC-ESI | + | -
Proquinazid | C14H17IN2O2 | GC-APCI / LC-ESI | +
Prosulfocarb | C14H21NOS | LC-ESI | +
Prosulfuron | C15H16F3N5O4S | LC-ESI | +
Prothioconazole | C14H15Cl2N3OS | LC-ESI | +
Prothiophos | C11H15Cl2O2PS2 | GC-APCI | +
Pymetrozine | C10H11N5O | GC-APCI / LC-ESI | + | -
Pyraclostrobin | C19H18ClN3O4 | LC-ESI | +
Pyraflufen ethyl | C15H13Cl2F3N2O4 | GC-APCI / LC-ESI | +
Pyrazophos | C14H20N3O5PS | GC-APCI / LC-ESI | + | -
Pyrazoxyfen | C20H16Cl2N2O3 | LC-ESI | +
Pyrene | C16H10 | GC-APCI | +
Pyrethrin I | C21H28O3 | LC-ESI | +
Pyrethrins: Jasmolin II | C22H30O5 | LC-ESI | +
Pyrethrins: Cinerin I | C20H28O3 | LC-ESI | +
Pyrethrins: Cinerin II | C21H28O5 | LC-ESI | +
Pyrethrins: Jasmolin I | C21H30O3 | LC-ESI | +
Pyrethrins: Jasmolin II | C22H30O5 | LC-ESI | +
Pyributicarb | C18H22N2O2S | LC-ESI | +
Pyridaben | C19H25ClN2OS | LC-ESI | +
Pyridaphenthion | C14H17N2O4PS | LC-ESI | +
Pyridate | C19H23ClN2O2S | LC-ESI | +
Pyrifenox | C14H12Cl2N2O | LC-ESI | +
Pyrimethanil | C12H13N3 | GC-APCI / LC-ESI | +
Pyrimidifen | C20H28ClN3O2 | LC-ESI | + | -
Pyrimiphos methyl | C11H20N3O3PS | GC-APCI | +
Pyriproxyfen | C20H19NO3 | GC-APCI / LC-ESI | +
Quinalphos | C12H15N2O3PS | GC-APCI / LC-ESI | +
Quinclorac | C10H5Cl2NO2 | LC-ESI | + | -
Quinmerac | C11H8ClNO2 | LC-ESI | + | -
Quinoxyfen | C15H8Cl2FNO | GC-APCI / LC-ESI | +
Quintozene (Pentachloronitrobenzene) | C6Cl5NO2 | GC-APCI | +
Quizalofop | C17H13ClN2O4 | LC-ESI | + | -
Quizalofop ethyl | C19H17ClN2O4 | LC-ESI | +
Rabenzazole | C12H12N4 | LC-ESI | + | -
Resmethrin | C22H26O3 | LC-ESI | +
Retrorsine | C18H25NO6 | LC-ESI | +
Retrorsine-N-oxide | C18H25NO7 | LC-ESI | +
Rimsulfuron | C14H17N5O7S2 | LC-ESI | +
Rotenone | C23H22O6 | LC-ESI | + | -
Schradan | C8H24N4O3P2 | LC-ESI | +
Sebuthylazine | C9H16ClN5 | LC-ESI | + | -
Secbumeton | C10H19N5O | LC-ESI | +
Senecionine | C18H25NO5 | LC-ESI | +
Senecionine-N-oxide | C18H25NO6 | LC-ESI | +
Seneciphylline | C18H23NO5 | LC-ESI | +
Seneciphylline-N-oxide | C18H23NO6 | LC-ESI | +
Senkirkine | C19H27NO6 | LC-ESI | +
Sethoxydim | C17H29NO3S | LC-ESI | + | -
Siduron | C14H20N2O | LC-ESI | + | -
Simazine | C7H12ClN5 | GC-APCI / LC-ESI | + | -
Simazine 2-Hydroxy | C7H13N5O | LC-ESI | + | -
Simetryn | C8H15N5S | LC-ESI | +
Spinosad A (Spinosyn A) | C41H65NO10 | LC-ESI | +
Spinosad D | C42H67NO10 | LC-ESI | +
Spinosyn B or K | C40H63NO10 | LC-ESI | +
Spirodiclofen | C21H24Cl2O4 | GC-APCI / LC-ESI | +
Spiromesifen | C23H30O4 | LC-ESI | +
Spirotetramat | C21H27NO5 | GC-APCI | +
Spiroxamine | C18H35NO2 | LC-ESI | +
Spiroxamine | C18H35N1O2 | GC-APCI | +
Sulcotrione | C14H13ClO5S | LC-ESI | + | -
Sulfometuron methyl | C15H16N4O5S | LC-ESI | + | -
Sulfotep | C8H20O5P2S2 | GC-APCI / LC-ESI | +
Sulprofos (Bolstar) | C12H19O2PS3 | LC-ESI | +
SWEP.MCC | C8H7Cl2NO2 | LC-ESI | + | -
TCMTB | C9H6N2S3 | LC-ESI | +
Tebuconazole | C16H22ClN3O | GC-APCI / LC-ESI | + | -
Tebufenozide | C22H28N2O2 | LC-ESI | + | -
Tebufenpyrad | C18H24ClN3O | GC-APCI / LC-ESI | + | -
Tebupirimphos | C13H23N2O3PS | LC-ESI | +
Tebutame | C15H23NO | LC-ESI | +
Tebuthiuron | C9H16N4OS | LC-ESI | + | -
Tecnazene | C6HCl4NO2 | GC-APCI | +
Teflubenzuron | C14H6Cl2F4N2O2 | LC-ESI | + | -
Tefluthrin | C17H14ClF7O2 | GC-APCI / LC-ESI | +
Temephos | C16H20O6P2S3 | LC-ESI | +
TEPP | C8H20O7P2 | LC-ESI | +
Tepraloxydim | C17H24ClNO4 | LC-ESI | + | -
Terbacil | C9H13ClN2O2 | LC-ESI | + | -
Terbufos | C9H21O2PS3 | GC-APCI / LC-ESI | +
Terbufossulfone | C9H21O4PS3 | LC-ESI | + | -
Terbufos-sulfoxid | C9H21O3PS3 | LC-ESI | +
Terbumeton | C10H19N5O | GC-APCI / LC-ESI | +
Terbuthylazine | C9H16ClN5 | GC-APCI / LC-ESI | +
Terbutryn | C10H19N5S | GC-APCI / LC-ESI | +
Tetrachloronapthalene (PCN 27) | C10H4Cl4 | GC-APCI | +
Tetrachlorvinphos (Stirofos) | C10H9Cl4O4P | GC-APCI / LC-ESI | +
Tetraconazole | C13H11Cl2F4N3O | LC-ESI | + | -
Tetramethrin | C19H25NO4 | GC-APCI / LC-ESI | +
Tetrasul | C12H6Cl4S | GC-APCI | +
Thenylchlor | C16H18ClNO2S | LC-ESI | +
Thiabendazole | C10H7N3S | LC-ESI | + | -
Thiacloprid | C10H9ClN4S | LC-ESI | + | -
Thiamethoxam | C8H10ClN5O3S | LC-ESI | + | -
Thiazopyr | C16H17F5N2O2S | LC-ESI | +
Thidiazuron | C9H8N4OS | LC-ESI | + | -
Thifensulfuron methyl | C12H13N5O6S2 | LC-ESI | + | -
Thiobencarb | C12H16ClNOS | LC-ESI | +
Thiocyclam | C5H11NS3 | LC-ESI | +
Thiodicarb | C10H18N4O4S3 | LC-ESI | +
Thiofanox | C9H18N2O2S | LC-ESI | +
Thiometon | C6H15O2PS3 | LC-ESI | +
Thionazin (Zinophos) | C8H13N2O3PS | LC-ESI | + | -
Thiophanat ethyl | C14H18N4O4S2 | LC-ESI | +
Thiophanate methyl | C12H14N4O4S2 | LC-ESI | + | -
Thiram (Tetramethylthiuramdisulfide.TMTD) | C6H12N2S4 | LC-ESI | +
Tiocarbazil | C16H25NOS | LC-ESI | +
Tokuthion (Prothiophos) | C11H15Cl2O2PS2 | LC-ESI | +
Tolclofos methyl | C9H11Cl2O3PS | GC-APCI / LC-ESI | +
Tolfenpyrad | C21H22ClN3O2 | LC-ESI | + | -
Tolyfluanid | C10H13Cl2FN2O2S2 | LC-ESI | +
Tralkoxydim | C20H27NO3 | LC-ESI | + | -
Tralomethrin | C22H19Br4NO3 | LC-ESI | +
trans Chlordane | C10H6Cl8 | GC-APCI | +
Transfluthrin | C15H12Cl2F4O2 | GC-APCI | +
Triadimefon | C14H16ClN3O2 | GC-APCI / LC-ESI | + | -
Triadimenol | C14H18ClN3O2 | LC-ESI | +
Triallate | C10H16Cl3NOS | GC-APCI / LC-ESI | +
Triasulfuron | C14H16ClN5O5S | LC-ESI | + | -
Triazamate | C13H22N4O3S | LC-ESI | + | -
Triazophos | C12H16N3O3PS | GC-APCI / LC-ESI | +
Triazoxide | C10H6ClN5O | LC-ESI | +
Tribenuron methyl | C15H17N5O6S | LC-ESI | +
Tribufos (Merphos oxide. DEF) | C12H27OPS3 | LC-ESI | +
Trichlorfon (Dylox) | C4H8Cl3O4P | LC-ESI | +
Trichloronapthalene (PCN 13) | C10H5Cl3 | GC-APCI | +
Trichloronate | C10H12Cl3O2PS | GC-APCI / LC-ESI | +
Triclocarban | C13H9Cl3N2O | LC-ESI | +
Triclopyr | C7H4Cl3NO3 | LC-ESI | + | -
Triclopyr-methylester | C8H6Cl3NO3 | LC-ESI | +
Tricyclazole | C9H7N3S | LC-ESI | +
Trietazine | C9H16ClN5 | LC-ESI | +
Trifloxystrobin | C20H19F3N2O4 | GC-APCI / LC-ESI | +
Trifloxysulfuron | C14H14F3N5O6S | LC-ESI | + | -
Triflumizole | C15H15ClF3N3O | GC-APCI / LC-ESI | + | -
Triflumuron | C15H10ClF3N2O3 | LC-ESI | + | -
Trifluralin | C13H16F3N3O4 | GC-APCI | +
Triflusulfuron methyl | C17H19F3N6O6S | LC-ESI | + | -
Triforine | C10H14Cl6N4O2 | LC-ESI | + | -
Trimethacarb (2.3.5-) | C11H15NO2 | LC-ESI | +
Trinexapac ethyl | C13H16O5 | LC-ESI | +
Triphenyl phosphate | C18H15O4P | GC-APCI / LC-ESI | +
Triticonazole | C17H20ClN3O | LC-ESI | + | -
Uniconazole | C15H18ClN3O | GC-APCI / LC-ESI | + | -
Vamidothion | C8H18NO4PS2 | LC-ESI | +
Vegadex (Sulfallate) | C8H14ClNS2 | LC-ESI | +
Vernolate | C10H21NOS | LC-ESI | +
Vinclozolin | C12H9Cl2NO3 | GC-APCI / LC-ESI | +
Warfarin | C19H16O4 | LC-ESI | + | -
XMC | C10H13NO2 | LC-ESI | +
Zoxamide | C14H16Cl3NO2 | LC-ESI | + | -
* in the case of LC-ESI HRMS (in GC-APCI-HRMS, analysis is performed exclusively in positive mode)

## Table S4
Table S4. Validation results: linearity (R2), matrix effect (%ME), accuracy (%R), precision (%RSD). | [5 empty] | Return to index
Compound name | HRMS Analytical Platform | R2 | ME (%) | R (%) | RSD (%)
2.4-DDT | GC-APCI | 0.991 | -73 | 30.5 | 12.6
4.4-DDD | GC-APCI | 0.98 | 21 | 50.4 | 2.37
4.4-DDE | GC-APCI | 0.996 | -23 | 35 | 7.61
4.4-DDT | GC-APCI | 0.97 | -99 | 52.6 | 6.73
Acephate | LC-ESI | 0.9996 | -16 | 86.3 | 4.19
| GC-APCI | 0.993 | -19 | 78.3 | 11.1
Acrinathrin | GC-APCI | 0.997 | -23 | 77.8 | 14
a-HCH | GC-APCI | 0.994 | -28 | 79.7 | 1.9
Aldrin | GC-APCI | 0.994 | -63 | 50.3 | 6.86
Azinphos methyl (Guthion) | LC-ESI | 0.998 | -43 | 79.7 | 4.93
| GC-APCI | 0.991 | -67 | 65 | 7.23
b-HCH | GC-APCI | 0.997 | 33 | 50.1 | 28.4
Bifenthrin | GC-APCI | 0.9991 | -75 | 61.4 | 10.5
Bitertanol | LC-ESI | 0.999 | -8.3 | 59.9 | 1.81
Bromophos methyl | GC-APCI | 0.98 | -11 | 61.1 | 5.76
c-HCH | GC-APCI | 0.997 | -6.3 | 70.9 | 4.44
Chlorothalonil | GC-APCI | 0.99 | -4.7 | 43.3 | 40.4
Chlordane cis | GC-APCI | 0.998 | 4.1 | 54.3 | 9.32
Chlordane trans | GC-APCI | 0.992 | -77 | 53.8 | 5.23
Cyanazine | LC-ESI | 0.996 | -22 | 92.7 | 7.89
| GC-APCI | 0.98 | -63 | 62.6 | 4.16
Cyfluthrin | GC-APCI | 0.992 | -48 | 67.8 | 19.7
Cyhalothrin-lambda | GC-APCI | 0.991 | -34 | 87.6 | 12.2
Cypermethrin | GC-APCI | 0.9995 | -55 | 83.3 | 8.11
Cyproconazole | LC-ESI | 0.996 | -43 | 58.5 | 9.21
| GC-APCI | 0.99 | -7.5 | 56.6 | 1.85
Deltamethrin | GC-APCI | 0.994 | -67 | 73.1 | 3.45
d-HCH | GC-APCI | 0.996 | 5.2 | 64 | 7.28
Dichlofluanid | LC-ESI | 0.99 | -88 | 71.1 | 1.3
| GC-APCI | 0.995 | -69 | 62.8 | 4.84
Dichlorvos | LC-ESI | 0.99 | -23 | 68.2 | 32.9
| GC-APCI | 0.99 | -49 | 57.4 | 28.7
Dicofol | GC-APCI | 0.997 | -7.2 | 34.1 | 6.9
Dieldrin | GC-APCI | 0.998 | -41 | 60.4 | 15.8
Endosulfan alpha | GC-APCI | 0.99 | -88 | 85.1 | 9.62
Endosulfan sulphate | GC-APCI | 0.995 | -46 | 55.8 | 12.9
Endrin | GC-APCI | 0.99 | -36 | 60.4 | 4.41
Ethalfluralin | GC-APCI | 0.99 | -19 | 103 | 1.18
Fenamiphos | LC-ESI | 0.997 | -39 | 45.8 | 3.18
| GC-APCI | 0.992 | -75 | 56.4 | 13
Fenitrothion | LC-ESI | 0.997 | -29 | 76.5 | 11.5
| GC-APCI | 0.992 | -34 | 84 | 9.9
Fenthion | LC-ESI | 0.99 | -91 | 69.9 | 2.99
| GC-APCI | 0.9998 | -2.3 | 73.8 | 8.43
Fludioxonil | GC-APCI | 0.996 | -5.2 | 49.8 | 30.7
Heptachlor | GC-APCI | 0.999 | -45 | 69.3 | 26.5
Heptachlor epoxide | GC-APCI | 0.995 | -25 | 28.2 | 9.85
Hexachlorobenzene | GC-APCI | 0.995 | -29 | 50.5 | 4.18
Hexachlorobutadiene | GC-APCI | 0.99 | -82 | 60.9 | 2.67
Isodrin | GC-APCI | 0.998 | -11 | 59.9 | 14.6
Malaoxon | LC-ESI | 0.996 | -4.1 | 96.2 | 3.8
| GC-APCI | 0.991 | 60 | 75.3 | 4.24
Methacrifos | LC-ESI | 0.99 | -19 | 90.4 | 16.2
| GC-APCI | 0.999 | -32 | 107 | 4.36
Methidathion | LC-ESI | 0.99 | -64 | 144 | 4.28
| GC-APCI | 0.995 | -7.9 | 70 | 5.76
Metribuzin | LC-ESI | 0.997 | -53 | 132 | 1.05
| GC-APCI | 0.995 | -18 | 69.4 | 6.38
Monocrotophos | LC-ESI | 0.999 | 1.1 | 89.2 | 20
| GC-APCI | 0.992 | 19 | 78.8 | 19.4
Myclobutanil | LC-ESI | 0.998 | -31 | 64.5 | 12
| GC-APCI | 0.98 | -21 | 57.3 | 8.57
Omethoate | LC-ESI | 0.999 | -6.4 | 89.8 | 2.78
| GC-APCI | 0.99 | -18 | 84.5 | 7.39
Paraoxon | LC-ESI | 0.998 | -45 | 73.8 | 2.36
Paraoxon ethyl | GC-APCI | 0.992 | -68 | 80 | 6.4
Parathion methyl | GC-APCI | 0.99 | -40 | 79.2 | 2.71
Penconazole | LC-ESI | 0.995 | -37 | 47.2 | 4.56
| GC-APCI | 0.998 | -7.5 | 62.1 | 9.98
Pentabromobenzyl acrylate | GC-APCI | 0.99 | -64 | 25.5 | 4.89
Pentabromoethylbenzene | GC-APCI | 0.99 | 11 | 45.2 | 8.47
Pentachlorobenzene | GC-APCI | 0.98 | -46 | 75.5 | 10.2
Phosalone | LC-ESI | 0.98 | -33 | 34.1 | 11.3
| GC-APCI | 0.99 | -51 | 66.1 | 17.5
Phosphamidon (Dimecron) | LC-ESI | 0.992 | 9.3 | 85.4 | 2.98
| GC-APCI | 0.993 | 7.4 | 71 | 6.72
Pirimiphos methyl | LC-ESI | 0.991 | -74 | 146 | 4.44
| GC-APCI | 0.994 | -19 | 83.2 | 6.92
Pyrazophos | LC-ESI | 0.98 | -25 | 47.5 | 3.17
| GC-APCI | 0.99 | -17 | 80.1 | 5.19
Quinoxyfen | LC-ESI | 0.98 | -77 | 60 | 3.64
| GC-APCI | 0.995 | -17 | 41.7 | 10.1
Simazine | LC-ESI | 0.997 | -54 | 133 | 1.16
| GC-APCI | 0.99 | 75 | 68.5 | 1.73
Tebuconazole | LC-ESI | 0.993 | -30 | 47.8 | 13.3
| GC-APCI | 0.996 | -24 | 57.2 | 7.86
Terbufos | GC-APCI | 0.994 | -14 | 81.2 | 3.89
Tetrachlorvinphos (Stirofos) | LC-ESI | 0.99 | -38 | 52.8 | 6.75
| GC-APCI | 0.992 | -41 | 76 | 3.27
Trifluralin | GC-APCI | 0.992 | -16 | 99.4 | 7.87

## Figure S1
Return to index
Figure S1. Evaluation of LC-(ESI)-QTOF MS and GC-(APCI)-QTOF MS sensitivity in terms of calibration slope, by comparing the mean absolute areas in 25 common analytes detected in positive ionization.

## Figure S2
Return to index
Figure S2. Base peak chromatograms of a blank sample from positive ionization in LC-(ESI)-QTOF MS and GC-(APCI)-QTOF MS

## Figure S3
Return to index
Figure S3. Identification of Pirimimphos-methyl, detected in LC-(ESI)-QTOF MS in positive ionization. Detection in A) spiked sample at 50ppb, and B) olive oil sample, along with C) compound's most abundant MS/MS fragments.

## Figure S4
Return to index
Figure S4. Extracted ion chromatograms (EICs) of pesticides detected in olive oil samples, in the cases of LC-(ESI)-QTOF MS (A-C), and GC-(APCI)-QTOF MS (D-E).

## Table S5
Table S5. Quantification results of pesticides in olive oils. | [27 empty] | Return to index
|  | Samples' coding | [19 empty] | MLOD (mg/kg) | MLOQ (mg/kg) | Recovery (%) | MRL (mg/kg) Olives for oil production | EU MRL Regulation | Processing Factor
| Analyte | 1276 | 1314 | 2052 | 2114 | 2138 | 2182 | 3095 | 3274 | 4134 | 7021 | 7068 | 7076 | 7109 | 7149 | 7150 | 7260 | 7267 | S24 | S40 | X10
LC-(ESI)- QTOF-MS | Esprocarb | 0.0039 | 0.0028 | 0.0031 | 0.0024 | 0.0023 | 0.0063 | 0.0041 | 0.0062 | 0.003 | 0.003 | 0.0027 | 0.0023 | 0.0021 | 0.003 | 0.0044 | 0.0045 | 0.0023 | <LOD | <LOD | <LOD | 0.00056 | 0.00168 | 83.1 | NA | NA | NA
| Phosphamidon (Dimecron) | <LOD | 0.0025 | <LOD | <LOD | <LOD | <LOD | <LOD | 0.0021 | 0.002 | 0.0025 | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | 9e-05 | 0.00027 | 85.4 | 0.01 | Reg. (EC) No 149/2008 | NA
| Pirimiphos methyl | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOQ | <LOD | 0.00065 | 0.00195 | 146 | 0.01 | Reg. (EU) No 2016/53 | NA
GC-(APCI)- QTOF-MS | Chlorpyrifos ethyl | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOQ | <LOD | <LOD | 0.0014 | 0.0044 | 73.6 | 0.01 | Reg. (EU) 2020/1085 | NA
| Cyhalothrin-lambda | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | <LOD | 0.012 | 0.00031 | 0.00093 | 87.6 | 0.5 | Reg. (EU) 2021/590 | 1
NA: Not Available