## Sheet1
Study Description | Environmental Sampling | Sample Treatment | Sample Reduction | Nucleic-acid Extraction | Reverse Transcription | PCR Amplification | Analysis
| Notes: Described in methods | Notes: None | Notes: Described in methods (Hydrogel-based method) | Notes: Described in methods | Notes: Described in methods | Notes: Described in methods | Notes: Described in methods
Control Checklist | Environmental Sampling | Sample Treatment | Sample Reduction | Nucleic-acid Extraction | Reverse Transcription | PCR Amplification
Step performed
Step has control info | [6 empty] | Negative controls
# of control replicates | 0 |  | 0 | 0 | 2 | 2
Control result reported
Method for handling failed controls described
Step has control info | [6 empty] | Positive controls
Control identity described
Control quantification method described
# control replicates | 2-3 |  | 2-3 | 2-3 | 2 | 2
Control result reported
Method for handling failed controls described
Process checklist
Environmental Sampling |  | Nucleic-acid Extraction |  | qPCR or dPCR |  | Analysis- dPCR
Sample procedure |  | Extraction procedure |  | Target gene name, amplicon length |  | Threshold settings
Number of samples |  | Volume or mass extracted, volume or mass obtained |  | Thermocycling temp and times |  | Technical replicates, number, well merging
Sample amount, mean, range |  | Extract storage conditions |  | Master mix composition: vendors, concentrations |  | Partitions measured, number, mean, variance
Sampling locations, dates, times |  | Reverse Transcription |  | Additives: vendors, composition |  | Partition volume
Sample storage conditions |  | One- or two-step |  | Template amount added, pre-treatment (if any) |  | Target copies per partition, mean, variance
Sample Treatment |  | cDNA storage conditions (if 2 step) |  | Primers: sequences, concentrations, vendors, references |  | Program used for dPCR analysis
Treatment procedure |  | Reaction temperatures and times |  | Amplicon confirmation method (probe, melt curve details, etc) |  | Explanation of control results, example plots
Reagents |  | Reaction reagents and concentrations |  | Probe sequence, concentration, vendor, reference |  | Analysis- qPCR
Sample Reduction |  | Priming method |  | Instrumentation |  | Technical replicates, number, calculations
Reduction procedure |  | Reaction volume, added template amount |  | Inhibition assessment procedure |  | Calibration standards, description, source
Reagents |  | RT efficiency assessment procedure (if 2-step) |  | Inhibition control description (if used) |  | Method of quantifying standards
Concentration factor |  | RT control description (if two-step) |  | Number of samples tested and found inhibited |  | Calibration curve slope
|  | RT efficiency reported (if 2-step) |  | Equivalent volume of sample analyzed |  | Calibration curve R2
Lowest standard measured or 95% LOD
Note to users: This checklist is provided as guidance for best practices for reporting, but is not meant to be prescriptive. Not all items in the check list will apply to all studies. Please see Borchardt et al. The Environmental Microbiology Minimum Information (EMMI) Guidelines: qPCR and dPCR Quality and Reporting for Environmental Microbiology. Environmental Science & Technology, 2021, 55, 15, 10210–10223. | [5 empty] | Cq value determination methods
Version 3.0
This version maintained by Borchardt, Boehm, Salit, Noble, Wiggington, Spencer
Date: 18 October 2023