## Er, Ho, Tb, Gd
Sample | Ho/Tb vs 160Gd/158Gd | 167Er/166Er vs Ho/Tb | 167Er/166Er vs 160Gd/158Gd | 167Er/166Er vs 160Gd/158Gd | Date | The first row indicates elements of which isotope ratios were studied and calibrators that were used for IIF correction. E.g., 167Er/166Er vs Ho/Tb means that erbium isotope ratios were measured using Ho/Tb pair as a calibrator.
| ORM | ORM | ORM | IS |  | The second row refers to the correction method that was used.
Er, Gd, Ho, Tb | 0.91585 |  |  |  | 2023-07-04 | The third row and all below contain respective corrected isotope ratio values.
Er, Gd, Ho, Tb | 0.9494 |  |  |  | 2023-07-04
Er, Gd, Ho, Tb | 0.93957 |  |  |  | 2023-07-04
Er, Gd, Ho, Tb | 0.94809 |  |  |  | 2023-07-04
Er, Gd, Ho, Tb | 0.92843 |  |  |  | 2023-07-04
Er, Gd, Ho, Tb |  | 0.68336 |  |  | 2023-07-05
Er, Gd, Ho, Tb |  | 0.683 |  |  | 2023-07-05
Er, Gd, Ho, Tb |  | 0.68295 |  |  | 2023-07-05
Er, Gd, Ho, Tb |  | 0.6829 |  |  | 2023-07-05
Er, Gd, Ho, Tb |  | 0.683 |  |  | 2023-07-05
Er, Gd, Ho, Tb |  | 0.68276 |  |  | 2023-07-05
Er, Gd, Ho, Tb | 0.92659 | 0.68199 | 0.68289 | 0.68275 | 2023-09-05
Er, Gd, Ho, Tb | 0.91822 | 0.68212 | 0.6826 | 0.68284 | 2023-09-05
Er, Gd, Ho, Tb | 0.91297 | 0.68202 | 0.6822 | 0.68288 | 2023-09-05
Er, Gd, Ho, Tb | 0.90305 | 0.68241 | 0.68214 | 0.68288 | 2023-09-05
Er, Gd, Ho, Tb | 0.90008 | 0.68274 | 0.68236 | 0.68288 | 2023-09-05
Er, Gd, Ho, Tb | 0.90289 | 0.68243 | 0.68213 | 0.68287 | 2023-09-05
Er, Gd, Ho, Tb | 0.89935 | 0.68262 | 0.68216 | 0.68288 | 2023-09-05
Er, Gd, Ho, Tb | 0.90405 | 0.68246 | 0.68224 | 0.68289 | 2023-09-05
Er, Gd, Ho, Tb | 0.92982 | 0.68332 | 0.68334 | 0.68285 | 2023-09-06
Er, Gd, Ho, Tb | 0.94707 | 0.68011 | 0.68229 | 0.68294 | 2023-09-06
Er, Gd, Ho, Tb | 0.94617 | 0.68003 | 0.68218 | 0.68293 | 2023-09-06
Er, Gd, Ho, Tb | 0.94323 | 0.68062 | 0.6825 | 0.68291 | 2023-09-06
Er, Gd, Ho, Tb | 0.94491 | 0.68129 | 0.68122 | 0.68284 | 2023-09-18
Er, Gd, Ho, Tb | 0.95524 | 0.68115 | 0.6817 | 0.68279 | 2023-09-18
Er, Gd, Ho, Tb | 0.94341 | 0.6818 | 0.68163 | 0.6828 | 2023-09-18
Er, Gd, Ho, Tb | 0.94554 | 0.68169 | 0.68165 | 0.6828 | 2023-09-18
Er, Gd, Ho, Tb | 0.94417 | 0.68169 | 0.68156 | 0.68274 | 2023-09-18
Er, Gd, Ho, Tb | 0.94327 | 0.68181 | 0.68161 | 0.68281 | 2023-09-18
Er, Gd, Ho, Tb | 0.94528 | 0.68176 | 0.6817 | 0.68279 | 2023-09-18
Er, Gd, Ho, Tb | 0.92914 | 0.68356 | 0.6828 | 0.68278 | 2023-09-26
Er, Gd, Ho, Tb | 0.95771 | 0.68151 | 0.68235 | 0.68285 | 2023-09-26
Er, Gd, Ho, Tb | 0.95258 | 0.68165 | 0.68229 | 0.68282 | 2023-09-26
Er, Gd, Ho, Tb | 0.98407 | 0.68131 | 0.6831 | 0.68293 | 2023-09-26
Er, Gd, Ho, Tb | 0.88431 | 0.68409 | 0.68261 | 0.68298 | 2023-09-26
Er, Gd, Ho, Tb | 1.0039 | 0.68076 | 0.68266 | 0.68296 | 2023-09-26
Er, Gd, Ho, Tb | 0.91418 | 0.68321 | 0.6825 | 0.68295 | 2023-09-27
Er, Gd, Ho, Tb | 0.9217 | 0.68272 | 0.68257 | 0.68297 | 2023-09-27
Er, Gd, Ho, Tb | 0.92896 | 0.68307 | 0.68287 | 0.68291 | 2023-09-27
Er, Gd, Ho, Tb | 0.9261 | 0.68296 | 0.68271 | 0.68292 | 2023-09-27
Er, Gd, Ho, Tb | 0.9264 | 0.68331 | 0.68272 | 0.6829 | 2023-09-27
Er, Gd, Ho, Tb | 0.91418 | 0.68298 | 0.68276 | 0.6829 | 2023-09-27
Er, Gd, Ho, Tb | 0.93489 | 0.68212 | 0.68275 | 0.68291 | 2023-09-27
Er, Gd, Ho, Tb | 0.79549 | 0.68554 | 0.68308 | 0.68292 | 2023-09-28
Er, Gd, Ho, Tb | 0.88092 | 0.68408 | 0.68276 | 0.68295 | 2023-09-28
Er, Gd, Ho, Tb | 0.89161 | 0.68401 | 0.68285 | 0.68296 | 2023-09-28
Er, Gd, Ho, Tb | 0.86202 | 0.68425 | 0.68237 | 0.68288 | 2023-09-29
Er, Gd, Ho, Tb | 0.90068 | 0.68284 | 0.6822 | 0.6829 | 2023-09-29
Er, Gd, Ho, Tb | 0.9134 | 0.68407 | 0.68228 | 0.68279 | 2023-10-02
Er, Gd, Ho, Tb | 0.87584 | 0.68353 | 0.68189 | 0.68282 | 2023-10-03
Er, Gd, Ho, Tb | 0.77724 | 0.68469 | 0.68138 | 0.68286 | 2023-10-03
Er, Gd, Ho, Tb | 1.1327 | 0.6881 | 0.68231 | 0.68287 | 2023-10-05
Er, Gd, Ho, Tb | 0.79038 | 0.68627 | 0.682 | 0.68289 | 2023-10-05
Er, Gd, Ho, Tb | 1.3966 | 0.69176 | 0.68236 | 0.6829 | 2023-10-05

## Zr, Nb, Y, Sr
Sample | Nb/Y vs 87Sr/86Sr (0.71034) | 92Zr/90Zr vs 87Sr/86Sr (0.71034) | 92Zr/90Zr vs 87Sr/86Sr (0.71034) | Date
| ORM | ORM | IS
Sr, Zr, Nb, Y | 0.52839 | 0.3343 | 0.33347 | 2023-10-12
Sr, Zr, Nb, Y | 0.533 | 0.33293 | 0.33352 | 2023-10-12
Sr, Zr, Nb, Y | 0.53374 | 0.33286 | 0.33353 | 2023-10-12
Sr, Zr, Nb, Y | 0.54858 | 0.33274 | 0.33354 | 2023-10-12
Sr, Zr, Nb, Y | 0.55882 | 0.33281 | 0.33354 | 2023-10-12
Sr, Zr, Nb, Y | 0.54979 | 0.33251 | 0.33353 | 2023-10-12
Sr, Zr, Nb, Y | 0.59247 | 0.3352 | 0.33347 | 2023-10-13
Sr, Zr, Nb, Y | 0.61443 | 0.33358 | 0.33356 | 2023-10-13
Sr, Zr, Nb, Y | 0.57835 | 0.33338 | 0.33356 | 2023-10-13
Sr, Zr, Nb, Y |  | 0.33465 | 0.3335 | 2023-10-23
Sr, Zr, Nb, Y |  | 0.33344 | 0.33361 | 2023-10-23
Sr, Zr, Nb, Y |  | 0.33375 | 0.33362 | 2023-10-23
Sr, Zr, Nb, Y |  | 0.33304 | 0.33363 | 2023-10-23
Sr, Zr, Nb, Y |  | 0.3317 | 0.33346 | 2023-10-24
Sr, Zr, Nb, Y |  | 0.33183 | 0.33338 | 2023-10-24
Sr, Zr, Nb, Y |  | 0.33246 | 0.33349 | 2023-10-24
Sr, Zr, Nb, Y |  | 0.33338 | 0.33358 | 2023-10-25
Sr, Zr, Nb, Y |  | 0.33357 | 0.33364 | 2023-10-26
Sr, Zr, Nb, Y |  | 0.33303 | 0.33373 | 2023-10-26
Sr, Zr, Nb, Y |  | 0.33284 | 0.33375 | 2023-10-26
Sr, Zr, Nb, Y |  | 0.33307 | 0.33376 | 2023-10-26