## Table S1
CS information | [10 empty] | Projection results | [11 empty] | Prediction results
CS | LC instrument | Column | Column stationary phase | Column dimensions | Separation mechanism | Mobile phase A | Mobile phase B | Mobile phase C | Estimated pH of aqueous phase | Gradient program | Min RMSE | Max RMSE | Median RMSE | Min MAD | Max MAD | Med MAD | Min Q95 | Max Q95 | Median Q95 | Min R2 | Max R2 | Median R2 | RMSE | MAD | Q95 | R2
DS_DX | 1260 Infinity LC (Agilent Technologies Inc., Santa Clara, CA, USA) | Poroshell 120 EC (Agilent Technologies Inc.); ZIC-HILIC (Merck) | C18; HILIC | 50 × 3 mm, 2.7 µm; 150 × 2.1 mm, 5 µm | RP; HILIC | 10 mM ammonium acetate in H2O:MeCN 90:10; MeCN | MeCN:10 mM ammonium acetate in H2O 90:10; H2O | NA | NA | RP: 0 min: 0% B, 7 min: 0% B, 12 min: 50% B, 13 min: 50% B, 22 min: 100% B, 32 min: 100% B, 33 min: 0% B; HILIC: 0 min: 0% B, 6 min: 0% B, 13 min: 40% B, 32 min: 40% B, 33 min: 0% B, 54 min: 0% B | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis) | NA (not included in the analysis)
DS_GJT | Exion LC (Shimadzu Corporation, Tokyo, Japan) | ZORBAX Eclipse Plus (Agilent Technologies Inc.) | C8 | 100 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in H2O with 2% MeOH and 0.5 mM ammonium formate | 0.1% formic acid in MeOH with 1.9% H2O and 0.5 mM ammonium formate | NA | 6 | 0 min: 0% B, 1 min: 0% B, 3 min: 30% B, 6 min: 50% B, 16 min: 100% B, 18 min: 100% B, 18.1 min: 0% B, 20.1 min: 0% B | 52.2613 | 207.7391 | 91.3343 | 32.3362 | 145.607 | 71.8862 | 78.6447 | 441.0482 | 195.4196 | 0.32185 | 0.9944 | 0.82345 | 219.6916 | 189.9818 | 410.7591 | 0.11852
DS_QSB | Dionex UltiMate 3000 RSLC UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | Acclaim RSLC (Thermo Fisher Scientific™); Acquity UPLC BEH VanGuard pre-column (Waters Corporation) | C18; C18 | 100 × 2.1 mm, 2.2 µm; 1.7 µm | RP | 0.01% formic acid in H2O:MeOH 90:10 with 5 mM ammonium formate | 0.01% formic acid in MeOH with 5 mM ammonium formate | NA | 3.4 | 0 min: 1% B, 1 min: 1% B, 3 min: 39% B, 14 min: 99.9% B, 16 min: 99.9%B, 16.1 min: 1%B, 20 min: 1% B | 32.8981 | 175.5535 | 91.1411 | 20.0226 | 151.1949 | 64.3396 | 62.7429 | 368.3751 | 150.735 | 0.69347 | 0.98859 | 0.91695 | 205.4348 | 253.7973 | 376.3802 | 0.54755
DS_AW | Nexera LC (Shimadzu Corporation, Tokyo, Japan) | (Phenomenex®) | C18 | 100 × 3 mm, 5 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.7 | 0 min: 5% B, 15 min: 100%, 17 min: 5% B | 23.0326 | 163.3561 | 69.0425 | 22.8297 | 137.9631 | 65.4246 | 38.3229 | 307.9848 | 127.8583 | 0.43757 | 0.99308 | 0.91761 | 197.9787 | 222.4235 | 367.8763 | 0.27224
DS_MT | Acquity UPLC (Waters Corporation, Wilmslow, UK) | BEH (Waters Corporation) | C18 | 100 × 2.1 mm, 1.7 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.8 | 0 min: 10% B, 16 min: 99% B, 21 min: 99% B, 21.1 min: 10% B, 24.1 min: 10% B | 20.1895 | 168.0129 | 61.7263 | 14.7175 | 137.4368 | 45.8598 | 26.7727 | 305.9648 | 121.2936 | 0.68008 | 0.99611 | 0.95091 | 190.5401 | 201.7499 | 315.6271 | 0.54837
DS_DP | Accela LC (Thermo Fisher Scientific™, Bremen, Germany) | Acquity UPLC BEH (Waters Corporation) | C18 | 150 × 2.1 mm, 1.7 µm | RP | 0.1% formic acid in H2O | MeOH | NA | 2.7 | 0 min: 10% B, 2 min: 10% B, 15 min: 100% B, 20 min: 100% B, 20.1 min: 10% B, 30 min: 10% B | 6.7358 | 129.5227 | 62.4286 | 8.6752 | 123.8136 | 44.7153 | 10.3286 | 236.241 | 127.2235 | 0.72395 | 0.99991 | 0.94926 | 183.9599 | 168.3173 | 378.3701 | 0.64343
DS_DID | 1290 Infinity II UPLC (Agilent Technologies Inc., Santa Clara, CA, USA) | Acquity UPLC HSS T3 (Waters Corporation) | Silica-based bonded | 150 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.7 | 0 min: 5% B, 2 min: 5% B, 10 min: 15% B, 17 min: 50% B, 20 min: 60% B, 25 min: 70% B, 28 min: 90% B, 31 min: 90% B, 33 min: 5% B, 36 min: 5% B | 20.3418 | 164.7719 | 54.4713 | 12.0003 | 155.6384 | 46.1651 | 43.0203 | 304.601 | 105.8093 | 0.20358 | 0.99718 | 0.96452 | 181.2768 | 133.0323 | 350.554 | 0.60546
DS_QDJ | Acquity UPLC (Waters Corporation, Wilmslow, UK) | BEH (Waters Corporation) | C18 | 150 × 2.1 mm, 1.7 µm | RP | 0.05% formic acid in H2O | 0.05% formic acid in MeCN | NA | 2.9 | 0 min: 2% B, 0.5 min: 2% B, 18.5 min: 99% B, 22.5 min: 99% B, 25 min: 2% B | 21.0309 | 156.728 | 62.4235 | 14.771 | 112.126 | 34.9081 | 39.8816 | 313.7463 | 129.5763 | 0.52186 | 0.99435 | 0.94934 | 175.9909 | 164.8466 | 288.6018 | 0.6231
DS_DBS | Vanquish LC (Thermo Fisher Scientific™, Bremen, Germany) | Acquity UPLC HSS T3 (Waters Corporation) | C18 | 150 × 3 mm, 1.8 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.66 | 0 min: 5% B, 2 min: 5% B, 13 min: 70% B, 15 min: 95% B, 18.25 min: 100% B, 20 min: 100% B, 20.5 min: 5% B, 23 min: 5% B | 18.9637 | 146.5368 | 72.1584 | 12.2049 | 123.5732 | 50.6494 | 22.3996 | 381.2755 | 104.514 | 0.65566 | 0.99384 | 0.91738 | 173.6981 | 192.4062 | 311.4213 | 0.48538
DS_QQG | Acquity UHPLC (Waters Corporation, Wilmslow, UK) | CORTECS (Waters Corporation) | C18 | 100 × 2.1 mm, 2.7 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeOH | NA | 2.7 | 0 min: 5% B, 7 min: 75% B, 10 min: 100% B, 15 min: 100% B, 17 min: 5% B, 21 min: 5% B | 31.1564 | 169.246 | 68.1493 | 23.3291 | 99.3307 | 58.0383 | 62.6192 | 383.8583 | 127.6947 | 0.57192 | 0.98941 | 0.93745 | 172.8885 | 164.9167 | 345.3532 | 0.46832
DS_TL | Infinity 1290 LC (Agilent Technologies Inc., Santa Clara, CA, USA) | Poroshell 120 EC (Agilent Technologies Inc.) | C18 | 150 × 3 mm, 2.7 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.74 | 0 min: 5% B, 15 min: 99% B, 17 min: 99% B, 17.1 min: 5% B, 22.1 min: 5% B | 15.5293 | 150.1339 | 62.5733 | 12.8531 | 116.0187 | 49.1166 | 23.6521 | 255.3615 | 119.085 | 0.73137 | 0.99701 | 0.93165 | 172.7089 | 206.6822 | 316.2322 | 0.45091
DS_EF | Accela LC (Thermo Fisher Scientific™, Bremen, Germany) | Acquity UPLC BEH (Waters Corporation) | C18 | 150 × 2.1 mm, 1.7 µm | RP | 0.1% formic acid in H2O | MeOH | NA | 2.7 | 0 min: 10% B, 2 min: 10% B, 15 min: 100% B, 20 min: 100% B, 20.1 min: 10% B, 30 min: 10% B | 6.7357 | 125.7459 | 60.3832 | 8.6747 | 134.2504 | 38.542 | 10.3279 | 229.2007 | 121.6251 | 0.73817 | 0.99991 | 0.94658 | 163.226 | 134.759 | 344.1334 | 0.68534
DS_JDF | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | Hypersil GOLD aQ (Thermo Fisher Scientific™) | C18 | 100 × 2.1 mm, 1.9 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeOH | NA | 2.6 | 0 min: 0% B, 1 min: 0% B, 8 min: 100% B, 12 min: 100% B, 13 min: 0% B, 19 min: 0% B | 15.2604 | 136.0727 | 62.5679 | 9.6427 | 125.7194 | 43.3718 | 31.6531 | 268.004 | 92.9875 | 0.6438 | 0.99553 | 0.92948 | 161.5926 | 157.1802 | 284.8862 | 0.45065
DS_JWW | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | Easy-spray PepMap RSLC (Thermo Fisher Scientific™) | C18 | 150 × 0.05 mm, 2 µm | RP | 0.1% formic acid and 2% MeCN in H2O | 0.1% formic acid in 98% MeCN | NA | 2.7 | 0 min: 10% B, 2 min: 10% B, 17 min: 95% B, 27 min: 95% B, 27.5 min: 10% B, 40 min: 10% B | 14.343 | 205.4372 | 67.9526 | 11.9967 | 150.1236 | 59.728 | 27.426 | 386.9419 | 117.9239 | 0.27904 | 0.99556 | 0.83814 | 161.0724 | 160.4327 | 306.0508 | 0.28889
DS_TSF | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | RRHD Eclipse Plus (Agilent Technologies Inc.) | C18 | 150 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 3 | 0 min: 2% B, 1 min: 2% B, 2 min: 20% B, 16 min: 100% B, 24 min: 100% B, 25 min: 2% B, 30 min: 2% B | 6.9733 | 133.9637 | 52.9677 | 5.4189 | 121.3242 | 37.4728 | 12.9042 | 297.723 | 89.903 | 0.65585 | 0.9991 | 0.94009 | 159.2575 | 150.1423 | 304.0704 | 0.48782
DS_QDF | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | Kinetex EVO (Phenomenex®) | C18 | 150 × 3 mm, 2.6 µm | RP | 0.1% formic acid in H2O | MeCN | NA | 2.7 | 0 min: 5% B, 20min: 100% B, 25 min: 100% B, 25.1 min: 5% B, 30 min: 5% B | 6.8462 | 157.0127 | 88.4738 | 2.6725 | 92.2652 | 44.2026 | 14.0895 | 287.3337 | 131.9947 | 0.50504 | 0.99901 | 0.82654 | 157.9448 | 172.8027 | 318.5085 | 0.31924
DS_VQL | Acquity UPLC (Waters Corporation, Wilmslow, UK) | Kinetex EVO (Phenomenex®) | C18 | 150 × 3 mm, 2.6 µm | RP | 0.1% formic acid in H2O | MeCN | NA | 2.7 | 0 min: 5% B, 20 min: 100% B, 25 min: 100% B, 25.1 min: 5% B, 30 min: 5% B | 6.9283 | 150.7986 | 86.2323 | 2.6824 | 109.8483 | 46.0628 | 14.3533 | 287.9881 | 133.7937 | 0.60749 | 0.99896 | 0.85421 | 157.0135 | 164.6442 | 324.2272 | 0.43973
DS_JBB | 1290 Infinity II UHPLC (Agilent Technologies Inc., Santa Clara, CA, USA) | ZORBAX Eclipse Plus (Agilent Technologies Inc.) | C18 | 100 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in H2O | MeCN | NA | 3 | 0 min: 5% B, 0.5 min: 5% B, 15.5 min: 100%B, 18.5 min: 100% B, 18.6 min: 5% B, 20.6 min: 5% B | 12.708 | 129.1513 | 57.2898 | 12.517 | 112.1587 | 47.4979 | 18.5698 | 266.1345 | 109.9094 | 0.70105 | 0.99855 | 0.9468 | 154.2982 | 152.9387 | 268.5364 | 0.58965
DS_TSJ | 1100 LC (Agilent Technologies Inc., Santa Clara, CA, USA) | Hypersil GOLD (Thermo Fisher Scientific™) | C18 | 100 × 2.1 mm, 3 µm | RP | 0.05% formic acid in H2O | 0.05% formic acid in MeOH | NA | 4 | 0 min: 5 % B, 25 min: 95% B, 30 min: 95% B, 30.1 min: 5% B, 40.1 min: 5% B | 22.6054 | 111.6236 | 61.9501 | 15.7235 | 80.6362 | 48.305 | 45.0366 | 253.0952 | 108.2623 | 0.74499 | 0.99394 | 0.94769 | 153.1543 | 184.1134 | 263.2861 | 0.68104
DS_BQW | U3000 RSLC HPG (Thermo Fisher Scientific™, Bremen, Germany) | Intensity solo (Bruker Daltonics) | C18 | 100 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in H2O | MeCN | NA | 2.5 | 0 min: 5% B, 15 min: 100% B, 17 min: 100% B, 17.1 min: 5% B, 22.1 min: 5% B | 13.468 | 118.6701 | 50.8649 | 11.3617 | 100.3371 | 42.0942 | 19.4734 | 243.8142 | 85.3819 | 0.76556 | 0.99853 | 0.95777 | 149.9709 | 157.1715 | 252.1643 | 0.58895
DS_ITG | Vanquish UPLC (Thermo Fisher Scientific™, Bremen, Germany) | XBridge BEH (Waters Corporation) | C18 | 150 × 2.1 mm, 2.5 µm | RP | 0.05% formic acid in H2O | 0.05% formic acid in MeCN | NA | 2.9 | 0 min: 5% B, 1 min: 5% B, 25 min: 95% B, 29 min: 95% B, 29.5 min: 5% B, 34 min: 5% B | 13.9196 | 96.2271 | 54.4819 | 11.2264 | 89.8725 | 44.0956 | 24.8269 | 208.0102 | 101.9597 | 0.83851 | 0.99717 | 0.96428 | 144.7757 | 140.1787 | 243.3576 | 0.66892
DS_HT | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | ZORBAX Eclipse Plus (Agilent Technologies Inc.) | C18 | 150 × 2.1 mm, 3.5 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.6 | 0 min: 1% B, 1 min: 1% B, 2 min: 20% B, 16.5 min: 98% B, 22 min:98% B, 22.1 min: 1% B, 27 min: 1% B | 7.4352 | 146.4627 | 56.3793 | 5.0649 | 80.6144 | 39.4373 | 14.3837 | 288.7905 | 95.8221 | 0.66271 | 0.999 | 0.93824 | 144.6453 | 130.1133 | 294.4472 | 0.5139
DS_QV | Dionex UltiMate™ 3000 DGP 3600RS (Thermo Fisher Scientific™, Bremen, Germany) | Atlantis T3 (Waters Corporation) | C18 | 150 × 3 mm, 3 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeOH | Isopropanol | 2.5 | 0 min: 0% B + 0% C, 1.5 min: 0% B + 0 % C, 18.5 min: 95% B + 0% C, 23 min: 95% B + 0% C, 23.5 min: 90% B + 5% C, 28.5 min: 90% B + 5% C, 32 min: 0% B + 0% C, 44 min: 0% B + 0% C | 29.0627 | 141.244 | 54.3018 | 32.4121 | 116.1863 | 61.2867 | 48.0464 | 300.549 | 94.813 | 0.57614 | 0.98874 | 0.93254 | 140.3054 | 183.0811 | 228.9857 | 0.44559
DS_GSB | Vanquish UPLC (Thermo Fisher Scientific™, Bremen, Germany) | Acquity HSS T3 (Waters Corporation) | C18 | 150 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeOH | NA | 2.7 | 0 min: 2% B, 1 min: 2% B, 16 min: 98% B, 21 min: 98% B, 22 min: 2% B, 28 min: 2% B | 14.3264 | 101.9492 | 53.8304 | 0.91329 | 74.111 | 46.6308 | 5.4581 | 200.0707 | 100.2008 | 0.77315 | 0.99657 | 0.94857 | 139.7416 | 168.7806 | 265.484 | 0.62957
DS_JL | Vanquish LC (Thermo Fisher Scientific™, Bremen, Germany) | (Phenomenex®) | C6-phenyl | 150 × 3 mm, 3 µm | RP | 0.025% formic acid in H2O with 5 mM ammonium formate | 0.025% formic acid in 85% MeOH and 15% isopropanol with 5 mM ammonium formate | NA | 3 | 0 min: 8% B, 2.5 min: 8% B, 21.5 min: 98% B, 28 min: 98% B, 28.1 min: 8% B, 33.1 min: 8% B | 65.0275 | 135.2529 | 87.6441 | 38.2153 | 95.7218 | 53.972 | 125.355 | 282.402 | 189.6977 | 0.65645 | 0.94352 | 0.88701 | 136.6899 | 160.1959 | 238.0649 | 0.68727
DS_GS | Vanquish UPLC (Thermo Fisher Scientific™, Bremen, Germany) | ZORBAX RR Eclipse Plus (Agilent Technologies Inc.) | C18 | 150 × 2.1 mm, 3.5 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeOH | NA | 2.7 | 0 min: 2% B, 1 min: 2% B, 20 min: 98% B, 25 min: 98% B, 25.1 min: 2% B, 30.1 min: 2% B | 21.7374 | 116.7808 | 55.9899 | 12.7701 | 79.0052 | 36.5788 | 44.2243 | 239.9063 | 116.0633 | 0.80095 | 0.98928 | 0.95208 | 133.7906 | 156.3386 | 256.1936 | 0.64954
DS_YF | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | Raptor AR (Restek™) | C18 | 100 × 2.1 mm, 2.6 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.7 | 0 min: 13% B, 0.5 min: 13% B, 10 min: 50% B, 10.75 min: 50% B, 14.25 min: 95% B, 14.75 min: 13% B, 18.75 min: 13% B | 25.6869 | 108.9151 | 60.2962 | 22.4881 | 88.0519 | 43.0803 | 54.6675 | 218.7563 | 125.5439 | 0.68785 | 0.98292 | 0.94229 | 132.8946 | 125.6287 | 337.5745 | 0.64924
DS_BIJ | Acquity UPLC (Waters Corporation, Wilmslow, UK) | Purospher STAR (Merck) | C18 | 150 × 2.1 mm, 2 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.7 | 0 min: 5% B, 1 min: 5% B, 18 min: 97% B, 20.5 min: 97% B, 21.5 min: 5% B, 25 min: 5% B | 23.3427 | 132.4101 | 55.9053 | 14.2068 | 119.7765 | 45.0145 | 49.3185 | 262.5383 | 95.7885 | 0.71957 | 0.99041 | 0.93703 | 131.5289 | 157.7923 | 222.3183 | 0.5418
DS_QBD | Nexera Prominence HPLC (Shimadzu Corporation, Tokyo, Japan) | ZORBAX Eclipse Plus (Agilent Technologies Inc.) | C18 | 150 × 2.1 mm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.6 | 0 min: 2% B, 1 min: 2% B, 2 min: 20% B, 16.5 min: 100% B, 27 min: 100% B, 27.1 min: 2% B, 37.1 min: 2% B | 8.2497 | 129.9063 | 43.626 | 5.8523 | 138.4092 | 32.8174 | 15.5325 | 275.3279 | 75.8924 | 0.70789 | 0.99887 | 0.94744 | 130.8526 | 112.0918 | 238.8656 | 0.56662
DS_STF | Vanquish LC system (Thermo Fisher Scientific™, Bremen, Germany) | Kinetex (Phenomenex®) | Biphenyl | 100 × 3 mm, 2.7 µm | RP | 0.02% formic acid in H2O with 0.2 mM ammonium formate | MeOH | NA | 3 | 0 min: 20% B, 25 min: 100% B, 37 min: 100% B, 37.01 min: 0% B, 45 min: 0% B | 53.5509 | 134.4783 | 73.1111 | 46.475 | 124.4926 | 73.2356 | 88.761 | 275.5691 | 140.3879 | 0.6637 | 0.93789 | 0.87473 | 129.6588 | 170.1875 | 207.6913 | 0.57862
DS_Q | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | Hypersil GOLD aQ (Thermo Fisher Scientific™) | C18 | 100 × 2.1 mm, 1.9 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeCN | NA | 2.7 | 0 min: 5% B, 9 min: 99% B, 13 min: 99% B, 13.1 min: 5% B, 15.1 min: 5% B | 24.9534 | 97.8517 | 51.854 | 15.6714 | 102.1982 | 46.2178 | 39.6699 | 201.8048 | 97.3118 | 0.77778 | 0.98844 | 0.94625 | 123.2703 | 136.2021 | 213.5958 | 0.58418
DS_TDF | Vanquish UPLC (Thermo Fisher Scientific™, Bremen, Germany) | Acquity HSS T3 (Waters Corporation) | C18 | 150 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in H2O | 0.1% formic acid in MeOH | NA | 2.7 | 0 min: 2% B, 1 min: 2% B, 16 min: 98% B, 21 min: 98% B, 22 min: 2% B, 28 min: 2% B | 14.3432 | 109.6492 | 53.5982 | 0.90789 | 85.8069 | 49.4316 | 5.449 | 210.5406 | 95.2072 | 0.78621 | 0.99656 | 0.95041 | 120.6334 | 144.655 | 205.2577 | 0.60058
DS_QJS | Dionex UltiMate™ 3000 UHPLC (Thermo Fisher Scientific™, Bremen, Germany) | BEH (Waters Corporation) | C18 | 50 × 2.1 mm, 1.7 µm | RP | 1 mM ammonium fluoride in H2O | MeOH | NA | 5.6 | 0 min: 5% B, 3 min: 5% B, 4 min: 60% B, 14 min: 60% B, 14.1 min: 98% B, 17.1 min: 98% B, 17.2 min: 5% B, 23.2 min: 5% B | 33.9939 | 199.3671 | 92.5787 | 13.6622 | 208.6041 | 66.1361 | 71.8406 | 424.5512 | 198.1035 | 0.16381 | 0.99265 | 0.75507 | 114.1803 | 63.5946 | 190.0919 | 0.72493
DS_QQT | Acquity I UPLC (Waters Corporation, Wilmslow, UK) | Acquity BEH (Waters Corporation) | C18 | 100 × 2.7 mm, 1.7 µm | RP | 10 mM ammonium acetate in H2O | 10 mM ammonium acetate in MeOH | NA | 6.75 | 0 min: 2% B, 0.25 min: 2% B, 12.25 min: 99% B, 13 min: 99% B, 13.01 min: 2% B, 17 min: 2% B | 35.1027 | 207.1253 | 107.6914 | 33.1561 | 195.4724 | 83.6197 | 65.3629 | 444.4289 | 220.3513 | 0.29287 | 0.98961 | 0.80103 | 113.0738 | 116.2026 | 202.5661 | 0.79648
DS_JSG | Ultimate 3000 LC (Thermo Fisher Scientific™, Bremen, Germany) | Acclaim RSLC 120 (Thermo Fisher Scientific™); UPLC BEH VanGuard pre-column (Waters Corporation) | C18; C18 | 100 × 2.1 mm, 2.2 µm; 5 × 2.1 mm, 1.7 µm | RP | 5 mM ammonium formate buffer in H2O:MeOH (90:10 v/v-%) | 5 mM ammoniumformate buffer in MeOH | NA | 4.3 | 0 min: 1% B, 14 min: 100% B, 15.5 min: 100% B, 15.6 min: 1% B, 19.1 min: 1% B | 12.6542 | 139.8427 | 82.5966 | 10.7181 | 109.0171 | 52.162 | 25.2052 | 329.4229 | 178.557 | 0.43123 | 0.99799 | 0.88434 | 101.4611 | 101.1475 | 186.2588 | 0.76448
DS_TJQ | LC30AD (Shimadzu Corporation, Tokyo, Japan) | Kinetex EVO (Phenomenex®) | C18 | 100 × 2.1 mm, 2.6 µm | RP | 0.1% formic acid in H2O | MeCN | NA | 2.7 | 0 min: 5% B, 15 min: 100% B, 20 min: 100% B, 20.1 min: 5% B, 27.1 min: 5% B | 34.4751 | 127.8272 | 61.8889 | 23.577 | 128.6658 | 62.9326 | 65.97 | 227.6573 | 109.6207 | 0.72319 | 0.98086 | 0.93243 | 99.5393 | 105.4153 | 171.9239 | 0.75549
DS_JBQ | U3000 RSLC HPG (Thermo Fisher Scientific™, Bremen, Germany) | Intensity solo (Bruker Daltonics) | C18 | 100 × 2.1 mm, 1.8 µm | RP | 0.1% formic acid in 99:1 H2O:MeOH mixture with 5 mM ammonium formate | 0.1% formic acid in MeOH with 5 mM ammonium formate | NA | 3.9 | 0 min: 4% B, 1 min: 18.3%, 2.5 min: 50% B, 14 min: 99.9% B, 16 min: 99.9% B, 16.1 min: 4% B, 20.1 min: 4% B | 11.7654 | 146.2612 | 83.0528 | 9.8368 | 140.9602 | 56.7598 | 22.8363 | 334.2317 | 162.9124 | 0.31073 | 0.99741 | 0.87042 | 93.0713 | 75.8564 | 196.2535 | 0.75203
DS_AWW | Nexera X2 LC (Shimadzu Corporation, Tokyo, Japan) | Acquity UPLC HSS T3 (Waters Corporation) | C18 | 50 × 2.1 mm, 1.8 µm | RP | 95% H2O, 5% MeOH, 5mM ammonium formate | 95% MeOH, 5% H2O, 5 mM ammonium formate | NA | 3 | 0 min: 0% B, 2 min: 0% B, 14 min: 100% B, 16 min: 100% B, 16.1 min: 0% B, 20.1 min: 0% B | 13.0626 | 180.4123 | 99.2249 | 9.5133 | 212.3922 | 73.3127 | 26.6043 | 404.3609 | 221.81 | 0.28845 | 0.99674 | 0.85957 | 86.7855 | 104.6604 | 156.9782 | 0.82165