## Content
Supplemental information for: Identification and transformation of per/polyfluoroalkyl substances (PFASs) in residential wastewater and effluent from alternative treatment systems
Table S1: Calibration curve statistics, detection limits, and LOQs of 26 target PFASs
Table S2: QTOF Acquisition Parameters
Table S3: Raw values of all grab samples for target PFASs. Light gray values are <LOQ. Dark gray values are < DL or NA (not measured).
Table S4: All suspect, nontarget and target identifications sorted by homologous series. SS = identified by suspect screening, NTA = identified via Fluoromatch IM, Target = target compound that was identified in samples, T = target compound that was not identified in samples.
Table S5: Concentrations (ng/L) for all compounds across grab samples
Table S6: Concentrations of detected PFASs in mPEs (ng/sampler). Light gray fill represents concentrations <LOQ. Dark gray fill represents concentrations <DL. "<" Denotes compound with censor rate >50%.
Table S7: PFAS identifications via suspect screening detected in all 3 influent and/or effluent replicate injections
Table S8: FluoroMatch Results

## Table S1
Table S1: Calibration curve statistics, detection limits, and LOQs of 26 target PFASs
|  |  | Grab samples (June) |  | Grab samples (FALL) |  | Site 3 Grab Series |  | Grab Sample Matrix Spike Recoveries (%) |  |  | mPEs |  | Lab blanks (ng/L)
|  | ISTD | N | LOQ | N | LOQ | N | LOQ | (N=6)* |  |  | N | LOQ
Acronym | Full name |  |  | ng/L |  | ng/L |  | ng/L | Avg | ± | StDev |  | ng/sampler | Avg | ± | StDev
PFBA | perfluorobutanoic acid | 13C4-PFBA | 5 | 15.9004 | 10 | 15.9004 | 8 | 16.0742 | 100.2% | ± | 13.84% | 10 | 0.025531 | 2.012 | ± | 0.7092
PFPeA | perfluoropentanoic acid | 13C5-PFPeA | 4 | 50 | 9 | 5 | 10 | 1.6963 | 77.19% | ± | 40.28% | 8 | 0.15 | ND
PFHxA | perfluorohexanoic acid | 13C5-PFHxA | 10 | 3.8906 | 9 | 3.8906 | 8 | 11.5037 | 97.65% | ± | 14.3% | 9 | 0.084998 | ND
PFHpA | perfluoroheptanoic acid | 13C4-PFHpA | 4 | 50 | 10 | 1 | 8 | 5 | 108.8% | ± | 9.948% | 10 | 0.029065 | ND
PFOA | perfluorooctanoic acid | 13C8-PFOA | 10 | 13.8697 | 9 | 13.8697 | 9 | 2 | 108.1% | ± | 8.729% | 9 | 0.03 | 0.254 | ± | 0.7096
PFNA | perfluorononanoic acid | 13C9-PFNA | 9 | 5 | 8 | 2.8904 | 9 | 3.3225 | 103.5% | ± | 8.787% | 10 | 0.022012 | ND
PFDA | perfluorodecanoic acid | 13C6-PFDA | 9 | 63.1617 | 10 | 63.1617 | 9 | 125.0168 | 99.32% | ± | 7.213% | 9 | 0.1478 | ND
PFUdA | perfluoroundecanoic acid | 13C7-PFUdA | 4 | 1 | 10 | 1 | 9 | 2 | 84.13% | ± | 11.51% | 9 | 0.03 | ND
PFDoA | perfluorododecanoic acid | 13C2-PFDoA | 5 | 100 | 8 | 1 | 6 | 1 | 98.71% | ± | 21.58% | 10 | 0.02 | ND
PFTrDA | perfluorotridecanoic acid | 13C2-PFDoA | NA | 1 | 6 | 1 | 8 | 22.0842 | 82.16% | ± | 72.43% | 10 | 0.02 | ND
PFTeDA | perfluorotretradecanoic acid | 13C2PFTeDA | NA | 2 | 8 | 2 | 8 | 19.5018 | 94.18% | ± | 10.87% | 10 | 0.02 | ND
PFBS | perfluorobutane sulfonic acid | 13C3-PFBS | 9 | 10 | 8 | 0.88 | 8 | 0.88 | 99% | ± | 6% | 10 | 0.027637 | 5 | ± | 0.1713
PFPeS | perfluoropentane sulfonic acid | 13C3-PFBS | 10 | 2 | 8 | 0.94 | 8 | 0.94 | 82% | ± | 37% | 10 | 0.015 | ND
br-PFHxS | branched perfluorohexane sulfonic acid | 13C3-PFHxS | NA |  | 5 | 0.86 | 7 | 0.86 | 68% | ± | 1% | 10 | 0.015 |  | NA
L-PFHxS | linear perfluorohexane sulfonic acid | 13C3-PFHxS | 10 | 0.74 | 8 | 0.74 | 8 | 4.7705 | 118% | ± | 20% | 10 | 0.75 | 5.715 | ± | 0.3266
PFHpS | perfluoroheptane sulfonic acid | 13C8-PFOS | 10 | 2 | 9 | 0.96 | 8 | 13.2167 | 108% | ± | 14% | 10 | 0.015 | ND
br-PFOS | branced perfluorooctane sulfonic acid | 13C8-PFOS | NA |  | 7 | 1.96 | 6 | 38.1777 | 86% | ± | 3% | 10 | 0.18911 |  | NA
PFOS | perfluorooctane sulfonic acid | 13C8-PFOS | 10 | 0.74 | 9 | 0.74 | 8 | 282.1106 | 117% | ± | 24% | 10 | 0.75 | ND
PFNS | perfluorononane sulfonic acid | 13C8-PFOS | 6 | 2 | 9 | 0.96 | 8 | 0.96 | 106% | ± | 17% | 10 | 0.015 | ND
PFDS | perfluorodecane sulfonic acid | 13C8-PFOS | 3 | 50 | 8 | 0.96 | 8 | 1.94 | 107% | ± | 35% | 9 | 0.03 | ND
PFUdS | perfluoroundecane sulfonic acid | 13C8-PFOS | NA |  | 10 | 1 | 8 | 1 | 78% | ± | 9% | NA |  | ND
PFDoS | perfluorododecane sulfonic acid | 13C8-PFOS | NA |  | 9 | 1 | 10 | 1.94 | 135% | ± | 85% | 9 | 0.03 | 0.086 | ± | 1.4142
4:2 FTS | 4:2 fluorotelomer sulfonic acid | 13C2-4:2FTS | 8 | 1.88 | 6 | 1.88 | 7 | 1.88 | 104% | ± | 8.972% | 10 | 0.015 | ND
6:2 FTS | 6:2 fluorotelomer sulfonic acid | 13C2-6:2FTS | 6 | 1.9 | 6 | 1.9 | 8 | 70.3433 | 105% | ± | 10.65% | 10 | 50.1825 | ND
8:2 FTS | 8:2 fluorotelomer sulfonic acid | 13C2-8:2FTS | 9 | 10 | 5 | 1.9 | 7 | 0.96 | 105.4% | ± | 8.587% | 10 | 0.015 | ND
10:2FTS | 10:2 fluorotelomer sulfonic acid | 13C2-8:2FTS | NA |  | 7 | 1 | 7 | 0.96 | 92.34% | ± | 48.07% | NA |  | ND
*N=3 for br-PFHxS, br-PFOS, and PFUdS

## Table S2
Table S2: QTOF Acquisition Parameters
| All Ions | DDA | IMS
Vcap (V) | 2500 | 2500 | 2500
Nozzle Voltage (V) | 0 | 0 | 0
Fragmentor | 400 | 400 | 400
Collision Energy (V) | 0;15;35 | 0;15;35 | 0
Isolation width (amu) | N/A | 4 | N/A
Trap fill time (μs) | N/A | N/A | 3900
Trap release time (μs) | N/A | N/A | 150
Min range (m/z) | 50 | 100 | 55
Max range (m/z) | 1700 | 1700 | 1700

## Table S3
Table S3: Raw values of all grab samples for target PFASs. Light gray values are <LOQ. Dark gray values are < DL or NA (not measured).
| location | type | PFBA | PFPeA | PFHxA | PFHpA | PFOA | PFNA | PFDA | PFUdA | PFDoA | PFTrDA | PFTeDA | PFBS | PFPeS | br-PFHxS | L-PFHxS | PFHpS | br-PFOS | L-PFOS | PFNS | PFDS | PFUdS | PFDoS | 4:2 FTS | 6:2 FTS | 8:2 FTS | 10:2FTS
summer | SITE 1 | INF | 38.6 | <DL | 12.96 | <DL | 0.76 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | NA | 0.04 | <DL | NA | <DL | <DL | <DL | NA | <DL | <DL | 1002.9 | <DL | <DL
|  | EFF | 367.38 | 25.22 | 33.28 | 15.34 | 12.2 | <DL | <DL | <DL | <DL | <DL | <DL | 30.3 | <DL | NA | 13.7 | <DL | NA | 4.28 | <DL | <DL | NA | <DL | <DL | 337.74 | <DL | <DL
| SITE 3 | INF | 8449.3 | 89.26 | 78.36 | 34.64 | 65.2 | 8.82 | <DL | <DL | <DL | <DL | <DL | 845.14 | <DL | NA | 134.86 | <DL | NA | 30.48 | <DL | <DL | NA | <DL | <DL | <DL | 59.34 | <DL
|  | EFF | 1771.12 | <DL | 48.66 | 18.24 | 46.42 | 8.54 | <DL | <DL | <DL | <DL | <DL | 172.52 | <DL | NA | 11.3 | <DL | NA | 20.48 | <DL | <DL | NA | <DL | <DL | 452.8 | 18.38 | <DL
| SITE 4 | INF | 33.72 | <DL | 17.44 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | NA | <DL | <DL | NA | <DL | <DL | <DL | NA | <DL | <DL | 1236.08 | <DL | <DL
|  | EFF | 301.7 | 88.7 | 96.44 | 14 | 18.58 | <DL | <DL | <DL | <DL | <DL | <DL | 57.5 | <DL | NA | 4.68 | <DL | NA | 10.86 | <DL | <DL | NA | <DL | <DL | <DL | <DL | <DL
| SITE 5 | INF | 162.58 | 45.72 | 35.68 | 155.82 | 9.92 | <DL | <DL | <DL | <DL | <DL | <DL | 36.12 | <DL | NA | 8.36 | <DL | NA | 5.38 | <DL | <DL | NA | <DL | <DL | 3631.54 | <DL | 0.04
|  | EFF | 17.38 | 11.32 | 21.72 | 10.86 | 4.46 | <DL | <DL | <DL | <DL | <DL | <DL | 1.9 | <DL | NA | 1.34 | <DL | NA | 0.74 | <DL | <DL | NA | <DL | <DL | 1002.06 | <DL | <DL
| SITE 6 | INF | 29.1 | <DL | <DL | 23.74 | 0.66 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | NA | <DL | <DL | NA | <DL | <DL | <DL | NA | <DL | <DL | 312.58 | <DL | <DL
|  | EFF | 236.76 | 89.2 | 53.46 | 23.74 | 19.96 | <DL | <DL | <DL | <DL | <DL | <DL | 60.42 | <DL | NA | 7.82 | <DL | NA | 6.58 | <DL | <DL | NA | <DL | <DL | 482.12 | 3.06 | <DL
| SITE 7 | INF | 109.02 | 45.48 | 26.08 | <DL | <DL | 0.3 | <DL | <DL | <DL | <DL | <DL | 29.3 | <DL | NA | 14.96 | <DL | NA | 25 | <DL | <DL | NA | <DL | <DL | <DL | 4.54 | <DL
|  | EFF | 81.5 | 54.16 | 28.02 | 15.58 | 15.74 | <DL | <DL | <DL | <DL | <DL | <DL | 43.3 | <DL | NA | 13.48 | <DL | NA | 20.1 | <DL | <DL | NA | <DL | <DL | 1622.42 | <DL | <DL
| SITE 8 | INF | 14.12 | <DL | 13.96 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | NA | <DL | <DL | NA | <DL | <DL | <DL | NA | <DL | <DL | 185.18 | <DL | <DL
|  | EFF | 16.24 | 11.42 | 19.94 | 14.32 | 7.16 | <DL | <DL | <DL | <DL | <DL | <DL | 0.66 | <DL | NA | <DL | <DL | NA | 0.54 | <DL | <DL | NA | <DL | <DL | 300.84 | <DL | <DL
| SITE 9 | INF | 28.8 | 21.06 | 14.7 | 24.36 | 2.6 | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL | NA | <DL | <DL | NA | 2.1 | <DL | <DL | NA | <DL | <DL | 115.6 | <DL | <DL
|  | EFF | 52.5 | 49.8 | 32.38 | 10.42 | 5.78 | <DL | <DL | <DL | <DL | <DL | <DL | 9.02 | <DL | NA | 1.24 | <DL | NA | 23.74 | <DL | <DL | NA | <DL | <DL | 425.06 | <DL | <DL
| SITE 11 | INF | 19.44 | 16.14 | 15.36 | <DL | 7.9 | <DL | <DL | <DL | <DL | <DL | <DL | 4.76 | <DL | NA | 4.56 | <DL | NA | 7.96 | <DL | <DL | NA | <DL | <DL | 656.92 | <DL | <DL
|  | EFF | <DL | 13.94 | 20.76 | 18.02 | 10.22 | <DL | <DL | <DL | <DL | <DL | <DL | 5.18 | <DL | NA | 3.04 | <DL | NA | 1.78 | <DL | <DL | NA | <DL | <DL | 860.4 | <DL | <DL
fall | SITE 3 | INF | 27.6121 | 4.9188 | 47.8852 | 0.34832 | 17.4463 | 3.0242 | 5.0497 | <DL | <DL | <DL | <DL | 0.65436 | 0.92215 | 1.1477 | 36.3081 | 147.9523 | 380.243 | 1383.3503 | 0.70872 | <DL | <DL | NA | <DL | 195.6242 | <DL | <DL
|  | EFF | 12.2437 | 7.9917 | 26.0417 | 1.3438 | 13.1021 | 2.4708 | 13.4104 | 0.28958 | <DL | 0.23333 | 0.40833 | 2.0187 | 0.12708 | 0.40208 | 8.7354 | 22.1583 | 69.8896 | 419.4833 | <DL | <DL | <DL | NA | <DL | 158.9812 | <DL | <DL
| SITE 4 | INF | 42.942 | 8.708 | 8.288 | 0.814 | 3.996 | 0.726 | 6.916 | <DL | <DL | <DL | 0.622 | 1.026 | <DL | 0.186 | 0.61 | <DL | 3.154 | 2.178 | <DL | <DL | <DL | NA | <DL | <DL | <DL | <DL
|  | EFF | 16.551 | 14.9469 | 16.5571 | 1.3041 | 3.5082 | 1.4653 | 28.5571 | 0.13878 | <DL | <DL | 0.63878 | 8.5612 | 0.053061 | 0.23265 | 0.48163 | 0.16735 | 0.52449 | 0.97551 | <DL | <DL | <DL | NA | <DL | <DL | <DL | <DL
| SITE 5 | INF | 4.6272 | <DL | 1.8775 | 0.1649 | 0.88609 | 0.57616 | 9.3377 | <DL | <DL | <DL | <DL | <DL | <DL | 0.10927 | 0.18675 | <DL | 0.33974 | 0.54238 | <DL | <DL | <DL | NA | <DL | <DL | <DL | <DL
|  | EFF | 23.1452 | 8.2952 | 4.9932 | 0.65137 | 1.8945 | 3.8568 | 84.75 | 0.14384 | <DL | <DL | 0.11712 | 13.0993 | <DL | 0.057534 | 0.026712 | <DL | 0.48904 | 0.63493 | <DL | <DL | <DL | NA | <DL | 0.4089 | <DL | <DL
| SITE 6 | INF | 25.3007 | 1.6086 | 1.4033 | 0.66118 | 4.0638 | 1.2632 | 20.5204 | <DL | <DL | <DL | <DL | 0.015789 | <DL | <DL | <DL | <DL | 0.49342 | 0.81908 | <DL | <DL | <DL | NA | <DL | <DL | 0.66513 | <DL
|  | EFF | 7.7344 | 5.1656 | 3.9954 | 1.355 | 19.0907 | 1.4305 | 32.5609 | <DL | <DL | <DL | <DL | 0.97947 | <DL | 0.089404 | 0.24238 | <DL | 0.42914 | 1.2358 | <DL | <DL | <DL | NA | <DL | 0.07947 | <DL | <DL
| SITE 7 | INF | 19.9422 | 3.0468 | 5.4351 | 2.7799 | 5.5851 | 1.2409 | 7.3461 | 0.068182 | <DL | <DL | <DL | 1.8019 | 0.2026 | 1.7377 | 10.876 | 0.43636 | 4.4649 | 20.8539 | 0.12078 | <DL | <DL | NA | <DL | <DL | <DL | <DL
|  | EFF | 16.951 | 8.6545 | 4.6179 | 4.1193 | 6.0228 | 0.65379 | 9.9724 | 0.031034 | <DL | <DL | <DL | 2.9276 | 0.23379 | 0.86897 | 5.0772 | 0.2131 | 1.3221 | 4.3841 | <DL | <DL | <DL | NA | <DL | <DL | <DL | <DL
| SITE 8 | INF | 17.4636 | <DL | 1.7762 | 0.76689 | 6.6536 | 0.51854 | 3.0536 | <DL | <DL | <DL | <DL | <DL | <DL | 0.055629 | 0.059603 | <DL | 0.25828 | 0.48675 | <DL | <DL | <DL | NA | <DL | <DL | <DL | <DL
|  | EFF | 15.2833 | 1.4854 | 3.2604 | 0.4 | 1.775 | 3.0292 | 357.6521 | 1.2479 | <DL | 0.92083 | 1.0333 | 0.12708 | <DL | 0.058333 | 0.04375 | <DL | 0.49583 | 1.3854 | <DL | <DL | <DL | NA | <DL | 3.2125 | <DL | <DL
| SITE 9 | INF | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA | NA
|  | EFF | 62.8678 | 11.7809 | 16.948 | 0.72434 | 7.5651 | 1.0145 | 10.9066 | 0.11842 | <DL | <DL | 1.8395 | 3.5763 | 0.073026 | 0.25461 | 0.73618 | 0.20921 | 0.80329 | 2.0191 | <DL | <DL | <DL | NA | <DL | <DL | <DL | <DL
| SITE 11 | INF | 32.0059 | 4.3412 | 2.2412 | 2.6922 | 5.8686 | 3.551 | 68.7059 | <DL | <DL | <DL | <DL | 3.0078 | <DL | 0.61961 | 4.0922 | 0.14902 | 3.2294 | 6.8137 | <DL | <DL | <DL | NA | <DL | 0.12941 | <DL | <DL
|  | EFF | 20.3007 | 5.4457 | 12.2106 | 2.4735 | 3.6755 | 8.4338 | 158.6801 | 0.24834 | <DL | 0.20861 | 0.51656 | 5.1219 | 0.43311 | 0.57417 | 1.9689 | 0.089404 | 0.32583 | 0.63576 | 0.10927 | <DL | 0.36358 | NA | <DL | 1.196 | <DL | <DL

## Table S4
Table S4: All suspect, nontarget and target identifications grouped by homologous series. SS = identified by suspect screening, NTA = identified via Fluoromatch IM, T = target compound that was identified in samples; Chemicals characterized in standards and used in homologous series but not detected in any samples are labeled "Stnd Only"
Compounds that were available as standards and contributed to homologous series but were not detected in any samples are shaded gray.
For formulae where only one possible structure was found in PubChem, the SMILES for that structure is shown. If multiple similar structures were found, a representative SMILES is shown in gray text. If multiple diverse structures were listed, no SMILES is shown.
name | ID Method | adduct | neutral formula | m/z | RT | CCS (IM only) | Fluoromatch IM Score | Level before combining | Level after combining | SMILES
Perfluoroalkyl sulfonates
PFPrS | SS, T | [M-H]- | C3HF7O3S | 248.9451 | 6.689 | 125.08 |  | 1 | 1 | C(C(F)(F)F)(C(F)(F)S(=O)(=O)O)(F)F
PFBS | SS, NTA, T | [M-H]- | C4HF9O3S | 298.9433 | 7.923 | 134.47 | A | 1 | 1 | C(C(C(F)(F)S(=O)(=O)O)(F)F)(C(F)(F)F)(F)F
PFPeS | SS, T | [M-H]- | C5HF11O3S | 348.9384 | 9.307 | 142.05 |  | 1 | 1 | C(C(C(F)(F)F)(F)F)(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F
PFHxS | SS, NTA, T | [M-H]- | C6HF13O3S | 398.9361 | 10.405 | 152.02 | C+ | 1 | 1 | C(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(C(C(F)(F)F)(F)F)(F)F
br-PFHxS | Stnd Only | [M-H]- | C6HF13O3S | 398.9355 | 10.206 | 148.54 |  | 1 | 1 | NA (multiple structures)
PFHpS | SS, T | [M-H]- | C7HF15O3S | 448.9327 | 11.496 | 159.87 |  | 1 | 1 | C(C(C(C(F)(F)F)(F)F)(F)F)(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F
L-PFOS | SS, NTA, T | [M-H]- | C8HF17O3S | 498.9299 | 12.319 | 170.07 | A | 1 | 1 | C(C(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F)(C(C(C(F)(F)F)(F)F)(F)F)(F)F
br-PFOS | NTA, T | [M-H]- | C8HF17O3S | 498.9298 | 11.8, 12.0 | 163.36, 167.27 | A | 1b | 1b | NA (multiple structures)
PFNS | Stnd Only | [M-H]- | C9HF19SO3 | 548.9259 | 13.146 | 177.79 |  | 1 | 1 | C(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(C(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F)(F)F
PFDS | Stnd Only | [M-H]- | C10HF21O3S | 598.922 | 13.814 | 187 |  | 1 | 1 | C(C(C(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F)(F)F)(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F
PFUdS | Stnd Only | [M-H]- | C11HF23O3S | 648.9191 | 14.388 | 195.8 |  | 1 | 1 | C(C(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F)(C(C(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F)(F)F)(F)F
PFDoS | Stnd Only | [M-H]- | C12HF25O3S | 698.9163 | 14.882 | 204.93 |  | 1 | 1 | C(C(C(C(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F)(F)F)(F)F)(C(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F
PFTrDS | Stnd Only | [M-H]- | C13HF27O3S | 748.9123 | 15.308 | 213.94 |  | 1 | 1 | C(C(C(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(C(C(C(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F
Perfluoroalkyl carboxylates
PFPeA | SS, NTA, T | [M-H-CO2]- | C5HF9O2 | 218.9865 | 7.688 | 117.9 | A | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
PFHxA | SS, NTA, T | [M-H-CO2]- | C6HF11O2 | 268.982 | 9.102 | 125.74 | A | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
PFHpA | SS, NTA, T | [M-H-CO2]- | C7HF13O2 | 318.9799 | 10.352 | 133.44 | A | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
PFOA | Stnd Only | [M-H-CO2]- | C8HF15O2 | 368.9749 | 11.475 | 139.49 |  | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H]- |  | 412.9654 | 11.487 | 156.17 |  | 1 | 1
PFNA | NTA, T | [M-H-CO2]- | C9HF17O2 | 418.9739 | 12.341 | 148.34 | A | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H]- |  | 462.9617 | 12.4 | 165.05 |  | 1 | 1
PFDA | NTA, T | [M-H-CO2]- | C10HF19O2 | 468.9698 | 13.134 | 156.87 | A | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| NTA, T | [M-H]- |  | 512.9603 | 13.136 | 175.57 | A | 1 | 1
PFUdA | NTA, T | [M-H-CO2]- | C11HF21O2 | 518.9671 | 13.802 | 165.27 | C+ | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H]- |  | 562.9551 | 13.865 | 183.09 |  | 1 | 1
PFDoA | Stnd Only | [M-H-CO2]- | C12HF23O2 | 568.9627 | 14.44 | 172.12 |  | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H]- |  | 612.9525 | 14.442 | 191.92 |  | 1 | 1
PFTrDA | Stnd Only | [M-H-CO2]- | C13HF25O2 | 618.9589 | 14.938 | 180.46 |  | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H]- |  | 662.9488 | 14.939 | 200.99 |  | 1 | 1
PFTeDA | Stnd Only | [M-H]- | C14HF27O2 | 712.9457 | 15.366 | 209.86 |  | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H-CO2]- |  | 668.9562 | 15.361 | 188.62 |  | 1 | 1
PFHxDA | Stnd Only | [M-H-CO2]- | C16HF31O2 | 768.9497 | 15.979 | 204.76 |  | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H]- |  | 812.9391 | 15.981 | 227.5 |  | 1 | 1
PFODA | Stnd Only | [M-H-CO2]- | C18HF35O2 | 868.9429 | 16.367 | 220.35 |  | 1 | 1 | OC(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
| Stnd Only | [M-H]- |  | 912.9325 | 16.377 | 243.81 |  | 1 | 1
Fluorotelomer sulfonates
4:2 FTS | SS, T | [M-H]- | C6H5F9O3S | 326.9734 | 9.05 | 150.33 |  | 1 | 1 | OS(=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)F
6:2 FTS | SS, NTA, T | [M-H]- | C8H5F13O3S | 426.9671 | 11.392 | 169.84 | D+ | 1 | 1 | OS(=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
8:2 FTS | Stnd Only | [M-H]- | C10H5F17O3S | 526.9599 | 13.203 | 186.78 |  | 1 | 1 | OS(=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
10:2 FTS | SS, T | [M-H]- | C12H5F21O3S | 626.9542 | 14.494 | 204.47 |  | 1 | 1 | C(CS(=O)(=O)O)C(C(C(C(C(C(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F
Polyfluoroalkyl phosphate diesters
1:2 diPAP | SS | [M-H]- | C6H9F6O4P | 289.0059 | 12.76 | - |  | 4 | 3d | O=P(O)(OCCC(F)(F)F)OCCC(F)(F)F
6:2 diPAP | Stnd Only | [M-H]- | C16H9F26O4P | 788.9737 | 15.132 | 232.48 |  | 1 | 1 | OP(=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
8:2 diPAP | SS, T | [M-H]- | C20H9F34O4P | 988.9606 | 16.105 | 261.89 |  | 1 | 1 | OP(=O)(OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
Polyfluoroalkyl phosphate esters
3:2 PAP | NTA | [M-H]- | C5H6F7O4P | 292.9827 | 10.619 | 136.28 | D+ | 5 | 3d | C(COP(=O)(O)O)C(C(C(F)(F)F)(F)F)(F)F
5:2 PAP | NTA | [M-H]- | C7H6F11O4P | 392.9772 | 11.083 | 142.89 | D+ | 5 | 3d | C(COP(=O)(O)O)C(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F
8:2 PAP | SS, T | [M-H]- | C10H6F17O4P | 542.9663 | 12.94 | - |  | 1 | 1 | O=P(O)(O)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
Single chemical (no series) with analytical standards
PFEtCHxS | SS, T | [M-H]- | C8HF15O3S | 460.9339 | 11.3 | - |  | 1 | 1 | O=S(=O)(O)C1(C(F)(F)C(F)(F)F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C1(F)F
8:2 FTUCA | Stnd Only | [M-H]- | C10H2F16O2 | 456.9718 | 12.666 | 172.38 |  | 1 | 1 | OC(=O)C=C(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
N-EtFOSAA | Stnd Only | [M-H]- | C12H8F17NO4S | 583.9814 | 13.893 | 197 |  | 1 | 1 | CCN(CC(O)=O)S(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
N-AmPr-FHxSA | Stnd Only | [M-H]- | C11H13F13N2O2S | 483.0401 | 11.905 | 183.2 |  | 1 | 1 | CN(C)CCCNS(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
PFEESA | Stnd Only | [M-H]- | C4HF9O4S | 314.9366 | 8.535 | 137.87 |  | 1 | 1 | OS(=O)(=O)C(F)(F)C(F)(F)OC(F)(F)C(F)(F)F
Chlorinated perfluoroalkyl sulfonates
Cl-PFPrS | SS | [M-H]- | C3HClF6O3S | 264.916 | 6.35 | - |  | 4 | 3d | C(C(F)(F)F)(C(F)(S(=O)(=O)O)Cl)(F)F
8Cl-PFOS | Stnd Only | [M-H]- | C8HClF16O3S | 514.8998 | 12.496 | 173.65 |  | 1 | 1 | C(C(C(C(C(F)(F)Cl)(F)F)(F)F)(F)F)(C(C(C(F)(F)S(=O)(=O)O)(F)F)(F)F)(F)F
Chlorinated perfluoroether sulfonates
9Cl-PF3ONS | Stnd Only | [M-H]- | C8HClF16O4S | 530.8938 | 12.786 | 170.97 |  | 1 | 1 | OS(=O)(=O)C(F)(F)C(F)(F)OC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)Cl
11Cl-PF3OUdS | Stnd Only | [M-H]- | C10HClF20O4S | 630.8877 | 14.102 | 187.3 |  | 1 | 1 | OS(=O)(=O)C(F)(F)C(F)(F)OC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)Cl
Perfluoroalkyl sulfonamido acetic acids
FBSAA | NTA | [M-H]- | C6H4F9NO4S | 355.9673 | 5.931 | 158.9 | C+ | 4 | 3d | OC(=O)CNS(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
FOSAA | Stnd Only | [M-H]- | C10H4F17NO4S | 555.9495 | 13.084 | 182.86 |  | 1 | 1 | OC(=O)CNS(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
N-Methyl perfluoroalkyl sulfonamido acetic acids
N-MeFBSAA | SS | [M-H]- | C7H6F9NO4S | 369.9796 | 11.39 | - |  | 4 | 3d | CN(CC(=O)O)S(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
L-N-MeFOSAA | Stnd Only | [M-H]- | C11H6F17NO4S | 569.9664 | 13.559 | 193.09 |  | 1 | 1 | CN(CC(O)=O)S(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
br-N-MeFOSAA | Stnd Only | [M-H]- | C11H6F17NO4S | 569.9661 | 13.319 | 191.13 |  | 1 | 1 | NA (multiple structures)
Perfluoroalkyl sulfonamides
FBSA | Stnd Only | [M-H]- | C4H2F9NO2S | 297.9583 | 8.868 | 134.78 |  | 1 | 1 | C(C(C(F)(F)S(=O)(=O)N)(F)F)(C(F)(F)F)(F)F
FPeSA | Stnd Only | [M-H]- | C5H2F11NO2S | 347.955 | 10.693 | 143.46 |  | 1 | 1 | C(C(C(F)(F)F)(F)F)(C(C(F)(F)S(=O)(=O)N)(F)F)(F)F
FHxSA | Stnd Only | [M-H]- | C6H2F13NO2S | 397.9513 | 11.986 | 152.13 |  | 1 | 1 | C(C(C(C(F)(F)S(=O)(=O)N)(F)F)(F)F)(C(C(F)(F)F)(F)F)(F)F
FHpSA | Stnd Only | [M-H]- | C7H2F15NO2S | 447.9487 | 12.975 | 161.06 |  | 1 | 1 | C(C(C(C(F)(F)F)(F)F)(F)F)(C(C(C(F)(F)S(=O)(=O)N)(F)F)(F)F)(F)F
FOSA | Stnd Only | [M-H]- | C8H2F17NO2S | 497.9446 | 13.779 | 169.95 |  | 1 | 1 | C(C(C(C(C(F)(F)S(=O)(=O)N)(F)F)(F)F)(F)F)(C(C(C(F)(F)F)(F)F)(F)F)(F)F
FDSA | Stnd Only | [M-H]- | C10H2F21NO2S | 597.9386 | 15.056 | 188.09 |  | 1 | 1 | C(C(C(C(C(C(F)(F)S(=O)(=O)N)(F)F)(F)F)(F)F)(F)F)(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F
N-Methyl perfluoroalkyl sulfonamides
MeFBSA | Stnd Only | [M-H]- | C5H4F9NO2S | 311.9734 | 11.349 | 138.79 |  | 1 | 1 | CNS(=O)(=O)C(C(C(C(F)(F)F)(F)F)(F)F)(F)F
MeFOSA | Stnd Only | [M-H]- | C8H4F17NO2S | 511.961 | 14.87 | 173.81 |  | 1 | 1 | CNS(=O)(=O)C(C(C(C(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F
Miscellaneous Confidence Level 4 Annotations
Perfluoropropyl-N-methyloxadiazolamine | SS | [M-H]- | C6H4F7N3O | 266.0161 | 5.24 | - |  | 4 | 4 | CNc1nnc(C(F)(F)C(F)(F)C(F)(F)F)o1
Unsaturated PFHxA | SS | [M-H]- | C6HF9O2 | 274.9761 | 5.17 | - |  | 4 | 4 | C(=C(C(C(F)(F)F)(C(F)(F)F)F)F)(C(=O)O)F
C7H3F7N2O2 | SS | [M-H]- | C7H3F7N2O2 | 279.0009 | 6.51 | - |  | 4 | 4 | NA (multiple potential structures)
C4HF9O2S | SS | [M-H]- | C4HF9O2S | 282.9475 | 8.27 | - |  | 4 | 4 | C(C(C(F)(F)S(=O)O)(F)F)(C(F)(F)F)(F)F
C9H4F7N3 | SS | [M-H]- | C9H4F7N3 | 286.0228 | 6.43 | - |  | 4 | 4 | C1=CC2=C(N=C1)N=CN2C(C(C(F)(F)F)(F)F)(F)F
C9H5F7N2O | SS | [M-H]- | C9H5F7N2O | 289.024 | 7.23 | - |  | 4 | 4 | NA (multiple potential structures)
C7H4F7N3O2 | SS | [M-H]- | C7H4F7N3O2 | 294.01 | 10.14 | - |  | 4 | 4 | CC1=C(C(=NN1)C(C(C(F)(F)F)(F)F)(F)F)[N+](=O)[O-]
C7H3F7N2OS | SS | [M-H]- | C7H3F7N2OS | 294.9777 | 11.3 | - |  | 4 | 4 | NA (multiple potential structures)
C11H16F7NO | SS | [M-H]- | C11H16F7NO | 310.1045 | 6.79 | - |  | 4 | 4 | NA (multiple potential structures)
C10H7F7N2O2 | SS | [M-H]- | C10H7F7N2O2 | 319.0337 | 6.45 | - |  | 4 | 4 | NA (multiple potential structures)
4:2 FTThEtA | SS | [M-H]- | C8H7F9O2S | 336.9941 | 7.12 | - |  | 4 | 4 | O=C(O)CSCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)F
C10H6F7N3O3 | SS | [M-H]- | C10H6F7N3O3 | 348.0221 | 8.22 | - |  | 4 | 4 | NA (multiple potential structures)
C11H12F7NO5 | SS | [M-H]- | C11H12F7NO5 | 370.054 | 8.94 | - |  | 4 | 4 | CCCOC(=O)[C@H](CC(=O)O)NC(=O)C(C(C(F)(F)F)(F)F)(F)F
C11H9F9N2O2 | SS | [M-H]- | C11H9F9N2O2 | 371.0456 | 12.27 | - |  | 4 | 4 | CCOC(=O)C1=C(NN=C1C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)C
C14H11F7N2O2 | SS | [M-H]- | C14H11F7N2O2 | 371.0648 | 6.07 | - |  | 4 | 4 | NA (multiple potential structures)
C13H16F9NO4 | SS | [M-H]- | C13H16F9NO4 | 420.0881 | 8.08 | - |  | 4 | 4 | NA (multiple potential structures)
C17H18F7N3O3 | SS | [M-H]- | C17H18F7N3O3 | 444.1162 | 11.23 | - |  | 4 | 4 | NA (multiple potential structures)
Cl-PFNA | NTA | [M-H]- | C9HClF16O2 | 478.9293 | 6.193 | 181.78 | D- | 4 | 4 | C(=O)(C(C(C(C(C(C(C(C(F)(F)Cl)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)(F)F)O
Tris(2-methylpropyl) 3-(perfluorobutanamido)propane-1,1,3-tricarboxylate | SS | [M-H]- | C22H32F7NO7 | 554.1997 | 12.92 | - |  | 4 | 4 | CC(C)COC(=O)C(CC(C(=O)OCC(C)C)C(=O)OCC(C)C)NC(=O)C(F)(F)C(F)(F)C(F)(F)F
6:2 FTSO2PrAdDiMeEtS | SS | [M-H]- | C15H18F13NO6S2 | 618.0284 | 11.81 | - |  | 4 | 4 | CC(C)(CS(=O)(=O)O)NC(=O)CCS(=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
Features of Interest
114.926@4.961 | NTA | NA | NA | 114.926 | 4.961 | 107.17 | C+ | 5 | 5 | NA (multiple potential formulas)
177.013@5.716 | NTA | NA | NA | 177.013 | 5.716 | 122.74 | D+ | 5 | 5 | NA (multiple potential formulas)
191.0222@6.483 | NTA | NA | NA | 191.0222 | 6.483 | 128.07 | D+ | 5 | 5 | NA (multiple potential formulas)
200.9532@5.35 | NTA | NA | NA | 200.9532 | 5.35 | 128.42 | D+ | 5 | 5 | NA (multiple potential formulas)
200.9532@ 5.609 | NTA | NA | NA | 200.9532 | 5.609 | 128.4 | D+ | 5 | 5 | NA (multiple potential formulas)
200.9532@ 6.71 | NTA | NA | NA | 200.9532 | 6.71 | 128.44 | D+ | 5 | 5 | NA (multiple potential formulas)
210.9477@7.611 | NTA | NA | NA | 210.9477 | 7.611 | 132.39 | D+ | 5 | 5 | NA (multiple potential formulas)
330.9801@10.6 | NTA | NA | NA | 330.9801 | 10.6 | 134.02 | D | 5 | 5 | NA (multiple potential formulas)
446.9677@13.14 | NTA | NA | NA | 446.9677 | 13.14 | 157.47 | D+ | 5 | 5 | NA (multiple potential formulas)
560.9414@7.781 | NTA | NA | NA | 560.9414 | 7.781 | 167.72 | D+ | 5 | 5 | NA (multiple potential formulas)
630.9611@14.039 | NTA | NA | NA | 630.9611 | 14.039 | 179.17 | D | 5 | 5 | NA (multiple potential formulas)
710.9312@10.547 | NTA | NA | NA | 710.9312 | 10.547 | 188.33 | D+ | 5 | 5 | NA (multiple potential formulas)
760.9283@11.317 | NTA | NA | NA | 760.9283 | 11.317 | 195.64 | D+ | 5 | 5 | NA (multiple potential formulas)
788.9435@11.977 | NTA | NA | NA | 788.9435 | 11.977 | 199.65 | D | 5 | 5 | NA (multiple potential formulas)

## Table S5
Table S5: Concentrations (ng/L) for all compounds across grab samples
| Influent (N=16) |  |  |  | Effluent (N=17)
| Median | Minimum | Maximum | DF (%) | Median | Minimum | Maximum | DF (%)
PFBA | 28.95 | 5 | 8449.3 | 100% | 20.3007 | ND | 1771.12 | 94.12%
PFPeA | 2.5 | ND | 89.26 | 62.5% | 14.9469 | ND | 89.2 | 94.12%
PFHxA | 13.46 | ND | 78.36 | 93.75% | 20.76 | 1.9453 | 96.44 | 100%
PFHpA | 0.5 | ND | 155.82 | 68.75% | 25 | 0.5 | 25 | 100%
PFOA | 6.9348 | ND | 65.2 | 81.25% | 6.9348 | 6.9348 | 46.42 | 100%
PFNA | 0.5 | ND | 8.82 | 56.25% | 0.5 | ND | 8.54 | 52.94%
PFDA | ND | ND | 68.7059 | 43.75% | ND | ND | 357.6521 | 52.94%
PFUdA | ND | ND | 0.5 | 6.25% | ND | ND | 1.2479 | 41.18%
PFDoA | ND | ND | ND | 0% | ND | ND | ND | 0%
PFTrDA | ND | ND | ND | 0% | ND | ND | 0.5 | 17.65%
PFTeDA | ND | ND | 1 | 6.25% | ND | ND | 1 | 35.29%
PFBS | 0.44 | ND | 845.14 | 56.25% | 5.18 | 0.44 | 172.52 | 100%
PFPeS | ND | ND | 0.47 | 12.5% | ND | ND | 0.47 | 29.41%
br-PFHxS* | 0.43 | ND | 1.7377 | - | 0.43 | 0.43 | 0.43 | -
L-PFHxS | 0.37 | ND | 134.86 | 68.75% | 1.9689 | ND | 13.7 | 94.12%
PFHpS | ND | ND | 147.9523 | 18.75% | ND | ND | 22.1583 | 29.41%
br-PFOS* | 3.154 | 0.98 | 380.243 | - | 0.98 | 0.98 | 69.8896 | -
PFOS | 2.139 | ND | 1383.3503 | 75% | 2.0191 | 0.37 | 419.4833 | 100%
PFNS | ND | ND | 0.48 | 6.25% | ND | ND | 0.48 | 11.76%
PFDS | ND | ND | ND | 0% | ND | ND | ND | 0%
PFUdS | ND | ND | ND | 0% | ND | ND | 0.5 | 5.882%
PFDoS | ND | ND | ND | 0% | ND | ND | ND | 0%
4:2 FTS | ND | ND | ND | 0% | ND | ND | ND | 0%
6:2 FTS | 58.275 | ND | 3631.54 | 56.25% | 158.9812 | ND | 1622.42 | 76.47%
8:2 FTS | ND | ND | 59.34 | 12.5% | ND | ND | 18.38 | 5.882%
10:2 FTS | ND | ND | ND | 0% | ND | ND | ND | 0%
*detection frequencies were not calculated for branched isomers as they were not differentiated in the June sample quantitation

## Table S6
Table S6: Concentrations of detected PFASs in mPEs (ng/sampler). Light gray fill represents concentrations <LOQ. Dark gray fill represents concentrations <DL. "<" Denotes compound with censor rate >50%.
| mPEs | [5 empty] | AVERAGE GRAB CONCENTRATION (ng/L)
| WEEK 2 |  | WEEK 4 |  | WEEK 6
| INF | EFF | INF | EFF | INF | EFF | INF | EFF
PFBA | 0.1 | 0.12 | 0.11 | 0.16 | 0.01 | 0.01 | 17.4 | 11.1
PFPeA | <DL | <DL | <DL | <DL | <DL | <DL | 3 | 11.2
PFHxA | 0.04 | 0.2 | 0.41 | 0.16 | 0.04 | 0.14 | 53.8 | 90.3
PFHpA | 0.01 | 0.06 | 0.01 | 0.06 | 0.01 | 0.03 | <DL | <DL
PFOA | 0.03 | 0.16 | 0.02 | 0.26 | 0.02 | 0.14 | 9.1 | 18.1
PFNA | 0.01 | 0.05 | 0.01 | 0.1 | 0.01 | 0.06 | <DL | <DL
PFDA | 0.07 | 0.07 | 0.07 | 0.49 | 0.07 | 0.26 | <DL | <DL
L-PFBS | 0.01 | 0.08 | 0.01 | 0.14 | 0.03 | 0.16 | <DL | <DL
L-PFPeS | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL
br-PFHxS | 0.38 | 0.38 | 0.38 | 1.92 | 0.38 | 1 | 1.4 | 1
L-PFHxS | 0.01 | 0.01 | 0.01 | 0.02 | 0.01 | 0.01 | 41.3 | 22.1
L-PFHpS | 0.01 | 0.02 | 0.01 | 0.03 | 0.02 | 0.02 | 264.5 | 68.6
br-PFOS | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 0.38 | 490 | 189.7
L-PFOS | 0.38 | 0.47 | 0.09 | 0.88 | 0.43 | 0.46 | 1204.6 | 759.1
PFNS | <DL | <DL | <DL | <DL | <DL | <DL | 3.4 | 0.5
PFDS | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL
4:2 FTS | <DL | <DL | <DL | <DL | <DL | <DL | <DL | <DL
6:2 FTS | 0.01 | 0.04 | 0.03 | 0.05 | 0.36 | 0.3 | 97.3 | 140.5

## Table S7
Table S7: Tentative PFAS identifications via suspect screening detected in all 3 influent and/or effluent replicate injections
Features are assigned chemical structures based on the suspect screening list but other structures are possible for Level 4 identifications
|  |  |  | Peak Area (Avg ± RSD) | [5 empty] | Area Ratio | Perfluorinated
Name | CAS Number | Level | Formula | Influent (n = 3 replicates) |  |  | Effluent (n = 3 replicates) |  |  | (EFF/INF) | Chain-length | SMILES for suggested structure
Influent only
Perfluorohexenoic acid (UPFHxA) | 239795-58-5 | 4 | C6HF9O2 | 69799 | ± | 25% |  | - |  | NA | 5 | C(=C(C(C(F)(F)F)(C(F)(F)F)F)F)(C(=O)O)F
5-(Perfluoropropyl)-N-methyl-1,3,4-oxadiazol-2-amine | 714975-29-8 | 4 | C6H4F7N3O | 176033 | ± | 30% |  | - |  | NA | 3 | CNc1nnc(C(F)(F)C(F)(F)C(F)(F)F)o1
3-(Perfluoropropyl)-5-methyl-4-nitro-1H-pyrazole | 82633-69-0 | 4 | C7H4F7N3O2 | 327517 | ± | 26% |  | - |  | NA | 3 | CC1=C(C(=NN1)C(C(C(F)(F)F)(F)F)(F)F)[N+](=O)[O-]
6-(Perfluoropropanyl)-1H-benzotriazole | 1433216-34-2 | 4 | C9H4F7N3 | 403855 | ± | 32% |  | - |  | NA | 3 | C1=CC2=NNN=C2C=C1C(C(F)(F)F)(C(F)(F)F)F
N-2-Pyridinylperfluorobutanamide | 283172-09-8 | 4 | C9H5F7N2O | 472712 | ± | 42% |  | - |  | NA | 3 | C1=CC=NC(=C1)NC(=O)C(C(C(F)(F)F)(F)F)(F)F
Perfluorobutanamide, N-(4-amino-2-hydroxyphenyl) | 847-51-8 | 4 | C10H7F7N2O2 | 184067 | ± | 42% |  | - |  | NA | 3 | C1=CC(=C(C=C1N)O)NC(=O)C(C(C(F)(F)F)(F)F)(F)F
Ethyl 3-methyl-5-(perfluorobutyl)-1H-pyrazole-4-carboxylate | 119403-58-6 | 4 | C11H9F9N2O2 | 18772 | ± | 32% |  | - |  | NA | 4 | CCOC(=O)C1=C(NN=C1C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)C
Ethyl 3-[(2-ethoxy-2-oxoethyl)amino]-nonafluoroheptanoate | 132114-64-8 | 4 | C13H16F9NO4 | 71412 | ± | 32% |  | - |  | NA | 4 | CCOC(=O)CC(C(C(C(C(F)(F)F)(F)F)(F)F)(F)F)NCC(=O)OCC
N'-[(2Z)-Perfluoropropyl-4-oxobut-2-en-2-yl]benzohydrazide | 203200-76-4 | 4 | C14H11F7N2O2 | 38568 | ± | 25% |  | - |  | NA | 3 | C/C(=C/C(=O)C(C(C(F)(F)F)(F)F)(F)F)/NNC(=O)C1=CC=CC=C1
N'-(6,7-Dimethoxy-3,3-dimethyl-3,4-dihydroisoquinolinyl)-perfluorobutanehydrazide | 304435-61-8 | 4 | C17H18F7N3O3 | 208034 | ± | 26.64% |  | - |  | NA | 3 | CC1(CC2=CC(=C(C=C2C(=N1)NNC(=O)C(C(C(F)(F)F)(F)F)(F)F)OC)OC)C
Influent > Effluent
Chlorinated perfluoropropane sulfonic acid (Cl-PFPrS) | 752170-49-3 | 4 | C3HClF6O3S | 81026 | ± | 36% | 15554 | ± | 7% | 0.2 | 3 | C(C(F)(F)F)(C(F)(S(=O)(=O)O)Cl)(F)F
1:2 fluorotelomer phosphate diester (1:2 diPAP) | 83280-91-5 | 3d | C6H9F6O4P | 59004 | ± | 36% | 27801 | ± | 12% | 0.5 | 1 | O=P(O)(OCCC(F)(F)F)OCCC(F)(F)F
6-(Perfluoropropyl)-2-sulfanylidene-2,3-dihydropyrimidin-4(1H)-one | 145663-11-2 | 4 | C7H3F7N2OS | 32720 | ± | 17% | 7078 | ± | 11% | 0.2 | 3 | C1=C(C(=O)NC(=S)N1)C(C(C(F)(F)F)(F)F)(F)F
N-heptan-2-yl perfluorobutanamide | 61578-74-3 | 4 | C11H16F7NO | 728840 | ± | 39% | 448045 | ± | 26% | 0.6 | 3 | CCCCCC(C)NC(=O)C(C(C(F)(F)F)(F)F)(F)F
Effluent only
5-(Perfluoropropanyl)pyrimidine-2,4(1H,3H)-dione | 80384-59-4 | 4 | C7H3F7N2O2 |  | - |  | 75458 | ± | 35% | NA | 3 | C1=C(C(=O)NC(=O)N1)C(C(F)(F)F)(C(F)(F)F)F
N-methyl perfluorobutane sulfonamido acetic acid (N-MeFBSAA) | 159381-10-9 | 4 | C7H6F9NO4S |  | - |  | 23347 | ± | 17% | NA | 4 | CN(CC(=O)O)S(=O)(=O)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
4:2 fluorotelomer thio acetic acid (4:2 FTSEA) | 123708-08-7 | 4 | C8H7F9O2S |  | - |  | 115188 | ± | 37% | NA | 4 | O=C(O)CSCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)F
8:2 polyfluoroalkyl phosphate ester (8:2 PAP) | 57678-03-2 | 4 | C10H6F17O4P |  | - |  | 428901 | ± | 23% | NA | 8 | O=P(O)(O)OCCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
Nifluridide | 61444-62-0 | 4 | C10H6F7N3O3 |  | - |  | 30345 | ± | 12% | NA | 1; 2 | C1=C(C=C(C(=C1NC(=O)C(C(F)F)(F)F)N)[N+](=O)[O-])C(F)(F)F
Effluent > Influent
Perfluorobutyl sulfinate (PFBSi) | 34642-43-8 | 4 | C4HF9O2S | 7320 | ± | 37.88% | 20759.6667 | ± | 21.76% | 2.836 | 4 | C(C(C(F)(F)S(=O)O)(F)F)(C(F)(F)F)(F)F
N-(Perfluoro-1-oxobutyl)aspartic acid 1-propyl ester | 88436-09-3 | 4 | C11H12F7NO5 | 164802 | ± | 39% | 498508 | ± | 11% | 3.0249 | 3 | CCCOC(=O)[C@H](CC(=O)O)NC(=O)C(C(C(F)(F)F)(F)F)(F)F
6:2 fluorotelomer sulfonyl propano-amido alkyl sulfonic acid (6:2 FTSO2AoS) | 1911606-13-7 | 4 | C15H18F13NO6S2 | 12489 | ± | 43% | 20616 | ± | 17% | 1.7 | 6 | CC(C)(CS(=O)(=O)O)NC(=O)CCS(=O)(=O)CCC(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)C(F)(F)F
Tris(2-methylpropyl) 3-(perfluorobutanamido)propane-1,1,3-tricarboxylate | 95654-14-1 | 4 | C22H32F7NO7 | 34568 | ± | 21% | 72468 | ± | 14% | 2.1 | 3 | CC(C)COC(=O)C(CC(C(=O)OCC(C)C)C(=O)OCC(C)C)NC(=O)C(F)(F)C(F)(F)C(F)(F)F

## Table S8
Table S8: FluoroMatch Results (with target analytes removed)
Peak Area (Avg ± RSD)
Score (FM) | Score48 | m/z | RT (min) | CCS (Å2) | Assigned Formula (FM) | Influent (n = 3 replicates) |  |  | Effluent (n = 3 replicates)
C+ | 5 | 114.926 | 4.961 | 107.17 | NA | 29237 | ± | 16% |  | -
D+ | 5 | 177.013 | 5.716 | 122.74 | NA | 116541 | ± | 39% |  | -
D+ | 5 | 191.0222 | 6.483 | 128.07 | NA | 92795 | ± | 59% |  | -
D+ | 5 | 200.9529 | 6.711 | 128.44 | NA | 161954 | ± | 74% |  | -
D+ | 5 | 200.9531 | 5.346 | 128.42 | NA | 197061 | ± | 25% |  | -
D+ | 5 | 200.9532 | 5.609 | 128.4 | NA | 241880 | ± | 80% |  | -
D+ | 5 | 210.9477 | 7.611 | 132.39 | NA | 119828 | ± | 46% |  | -
D+ | 5 | 292.9827 | 10.62 | 136.28 | NA | 109602 | ± | 23% |  | - |  | 19
D | 5 | 330.9801 | 10.6 | 134.02 | NA |  | - |  | 50687 | ± | 28%
C+ | 4 | 355.9673 | 5.931 | 158.9 | C6H4F9NO4S |  | - |  | 96087 | ± | 31%
D+ | 5 | 392.9772 | 11.08 | 142.89 | NA |  | - |  | 115213 | ± | 8%
D+ | 5 | 446.9677 | 13.14 | 157.47 | NA |  | - |  | 353747 | ± | 36%
D- | 4 | 478.9293 | 6.193 | 181.78 | C9HClF16O2 |  | - |  | 124116 | ± | 30%
D+ | 5 | 560.9414 | 7.781 | 167.72 | NA |  | - |  | 77131 | ± | 18%
D | 5 | 630.9611 | 14.04 | 179.17 | NA |  | - |  | 55807 | ± | 15%
D+ | 5 | 710.9312 | 10.55 | 188.33 | NA | 124759 | ± | 28% | 212549 | ± | 13%
D+ | 5 | 760.9283 | 11.32 | 195.64 | NA |  | - |  | 190303 | ± | 23%
D | 5 | 788.9435 | 11.98 | 199.65 | NA | 971534 | ± | 11% |  | -