## Table of Contents
Table | Descriptor
Table S1 | RDC Standard Information and Vendor Information
Table S2 | Standard Mixture Volumes
Table S3 | Targeted Gradient and Electrospray Details
Table S4 | Targeted Quant Precusor and Product Ions
Table S5 | Non-targeted Gradient and Electrospray Details
Table S6 | Non-targeted Scan Details
Table S7 | Inter/Intra Day Precision and IDL/IQL
Table S8 | Compounds that experienced initial large loss
Table S9 | Mixed Standard and Single Standards Shared Features and Confidence Levels
Table S10 | Mixed Standard Features and Confidence Levels
Table S11 | Single Standard Features and Confidence Levels
Table S12 | Skyline Settings
Table S13 | Concetration Data for Targeted Compounds
Table S14 | Normalized Peak Area for Semi-Quant Compounds

## Table S1
Table S1: RDC Standard Information and Vendor Information
Analyte | Abbreviation | Formula | CAS# | Vendor | Role In Study | Matched Isotopic Standard
1,3-Dicyclohexylurea |  | C13H24N2O | 2387-23-7 | Sigma-Aldrich | Non-Targeted Only
1,3-di-o-tolylguanidine | DOTG | C15H17N3 | 97-39-2 | Sigma-Aldrich | Targeted and Non-Targeted | DPG-d10
1,3-diphenylguanidine | DPG | C13H13N3 | 102-06-7 | Alfa Aesar | Targeted and Non-Targeted | DPG-d10
1,3-diphenylurea |  | C13H12N2O | 102-07-8 | Sigma-Aldrich | Non-Targeted Only
1H-benzotriazole | 1H-BTR | C6H5N3 | 95-14-7 | HPC Standards Inc. | Targeted and Non-Targeted | DPG-d10
2-(4-Morpholinyl)benzothiazole | 24MoBT | C11H12N2OS | 4225-26-7 | Enamine | Targeted and Non-Targeted | DPG-d10
2-(Methylthio)benzothiazole | 2-Me-S-BTH | C8H7NS2 | 615-22-5 | Sigma-Aldrich | Non-Targeted Only
2,2,4-trimethyl-1,2,3,4-tetrahydroquinoline |  | C12H17N | 4497-58-9 | AmBeed, Inc. | Targeted and Non-Targeted | DPG-d10
2,2,4-Trimethyl-1,2-dihydroquinoline | TMQ | C12H15N | 147-47-7 | AmBeed, Inc. | Targeted and Non-Targeted | DPG-d10
2-aminobenzothiazole | 2-amino-BTH | C7H6N2S | 136-95-8 | Sigma-Aldrich | Targeted and Non-Targeted | DPG-d10
2-mercaptobenzothiazole | MBT | C7H5NS2 | 149-30-4 | Sigma-Aldrich | Targeted and Non-Targeted | DPG-d10
4-aminodiphenylamine | 4-ADPA | C12H12N2 | 101-54-2 | TCI America | Targeted and Non-Targeted | DPG-d10
4-Hydroxydiphenylamine | 4-HDPA | C12H11NO | 122-37-2 | TCI America | Targeted and Non-Targeted | DPG-d10
4-Nitrosodiphenylamine | 4s DPA | C12H10N2O | 156-10-5 | TCI America | Targeted and Non-Targeted | DPG-d10
4-phenylazodiphenylamine |  | C18H15N3 | 101-75-7 | Sigma-Aldrich | Non-Targeted Only
6PPD-quinone | 6PPD-Q | C18H22N2O2 | 2754428-18-5 | HPC Standards Inc. | Targeted and Non-Targeted | 6PPD-Q-d5
Benzanilide |  | C13H11NO | 93-98-1 | Sigma-Aldrich | Non-Targeted Only
Benzothiazole | BTH | C7H5NS | 95-16-9 | Sigma-Aldrich | Non-Targeted Only
Benzyl Butyl Phthalate | BBP | C19H20O4 | 85-68-7 | Sigma-Aldrich | Non-Targeted Only
Caprolactam |  | C6H11NO | 105-60-2 | Sigma-Aldrich | Targeted and Non-Targeted | DPG-d10
Dicyclohexyamine |  | C12H23N | 101-83-7 | Sigma-Aldrich | Targeted and Non-Targeted | DPG-d10
Hexa(methoxymethyl)melamine | HMMM | C15H30N6O6 | 3089-11-0 | Combi Blocks Inc. | Targeted and Non-Targeted | DPG-d10
N-(1,3-Dimethylbutyl)-N'-phenyl-p-phenylenediamine | 6PPD | C18H24N2 | 793-24-8 | Sigma-Aldrich | Targeted and Non-Targeted | DPG-d10
N,N′-bis(methylphenyl)-1,4-benzenediamine quinone | DTPD-Q | C20H18N2O2 |  | Cayman Chemicals | Targeted and Non-Targeted | 6PPD-Q-d5
N,N′-diphenyl-p-phenylenediamine quinone | DPPD-Q | C18H14N2O2 | 555754 | Cayman Chemicals | Targeted and Non-Targeted | 6PPD-Q-d5
N,N'-Diphenyl-p-phenylenediamine | DPPD | C18H16N2 | 74-31-7 | Sigma-Aldrich | Targeted and Non-Targeted | 6PPD-Q-d5
N1, N4-bis(2-methylphenyl)-1,4-benzenediamine | DTPD | C20H20N2 | 620-91-7 | Cayman Chemicals | Targeted and Non-Targeted | 6PPD-Q-d5
N-Cyclohexyl-2-benzothiazol-amine | NCBA | C13H16N2S | 28291-75-0 | ChemScene LLC | Targeted and Non-Targeted | DPG-d10
N-Cyclohexyl-N-methylcyclohexanamine |  | C13H25N | 7560-83-0 | ChemScene LLC | Targeted and Non-Targeted | DPG-d10
N-Isopropyl-N'-phenyl-1,4-phenylenediamine | IPPD | C15H18N2 | 101-72-4 | AmBeed, Inc. | Targeted and Non-Targeted | DPG-d10
N-phenyl-1-naphthylamine |  | C16H13N | 90-30-2 | Acros Organics | Targeted and Non-Targeted | 6PPD-Q-d5
Oligomeric-(2,2,4-Trimethyl-1,2-dihydroquinoline) | Oligomeric-TMQ | (C12H15N)n | 26780-96-1 | AmBeed, Inc. | Non-Targeted Only
Isotopically Labeled Standards
BTH-d4 | BTH-d4 | C7H1D4NS | 194423-51-3 | LGC Standards | Targeted and Non-Targeted
DPG-d10 | DPG-d10 | C13H3D10N3 |  | Toronto Research Chemicals Inc. | Targeted and Non-Targeted
6PPD-Q-d5 | 6PPD-Q-d5 | C18H17D5N2O2 |  | HPC Standards | Targeted and Non-Targeted
5-Methylbenzotriazole-d6 |  | C7HD6N3 | 1246820-65-4 | LGC Standards | Targeted and Non-Targeted
1H-Benzotriazole-d4 |  | C6HD4N3 | 1185072-03-0 | Medchem Express | Targeted and Non-Targeted
2,2,4-Trimethyl-1,2-dihydroquinoline-d4 | TMQ-d4 | C12D4H11N |  | LGC Standards | Targeted and Non-Targeted
Diphenylamine-d10 |  | C12HD10N | 37055-51-9 | Cambridge Isotope Labs | Targeted and Non-Targeted
2-Mercaptobenzothiazole-d4 | MBT-d4 |  |  | LGC Standards | Targeted and Non-Targeted

## Table S2
Table S2: Standard Mixture Volumes
Sample Name | Native Standard Mix at 2,500 ng/mL (mL) | Isotopically Labeled Internal Standard Mix at 5,000 ng/mL (mL) | Glutathione Solution (mL) | DI Water (mL) | MeOH (mL) | pH 2 DI Water (mL)
DI Water Control | 1 | 0.2 | NA | 8.8 | NA | NA
Methanol Control | 1 | 0.2 | NA | NA | 8.8 | NA
pH 2 | 1 | 0.2 | NA | NA | NA | 8.8
Glutathione in DI Water | 1 | 0.2 | 0.4 | 8.4 | NA | NA
Glutathione in MeOH | 1 | 0.2 | 0.4 | NA | 8.4 | NA

## Table S3
Table S3: Targeted Gradient and Electrospray Details
Gradient Details
Time (min) | A (%) | B (%) | Flow (mL/min) | Max Pressure Limit (bar)
0 | 95 | 5 | 0.6 | 400
0.08 | 95 | 5 | 0.6 | 400
3.33 | 15 | 85 | 0.6 | 400
5 | 0 | 100 | 0.6 | 400
6.67 | 0 | 100 | 0.6 | 400
6.7 | 95 | 5 | 0.6 | 400
10 | 95 | 5 | 0.6 | 400
ESI Details
Spray Ionization (V) | 3000
Sheath Gas (Arbitrary Units) | 50
Aux Gas (Arbitrary Units) | 15
Ion Transfer Tube (C) | 380
Vaporizer Tube (C) | 350

## Table S4
Table S4: Targeted Quant Precusor and Product Ions
Compound | Start Time (min) | End Time (min) | Precursor (m/z) | Product (m/z) | Collision Energy (V)
Caprolactam(+1) | 2 | 2.4 | 114.091 | 55.143 | 23.1
Caprolactam(+1) | 2 | 2.4 | 114.091 | 65 | 24.5
Caprolactam(+1) | 2 | 2.4 | 114.091 | 79.125 | 16.8
2-amino-BTH(+1) | 2 | 2.5 | 151.032 | 109 | 27
2-amino-BTH(+1) | 2 | 2.5 | 151.032 | 124.1 | 27
1H-BTR(+1) | 2.8 | 3.2 | 120.056 | 39.1 | 35
1H-BTR(+1) | 2.8 | 3.2 | 120.056 | 64.982 | 28
1H-BTR(+1) | 2.8 | 3.2 | 120.056 | 77.054 | 26
1H-BTR(+1) | 2.8 | 3.2 | 120.056 | 103.125 | 18
DPG-d10(+1) | 2.9 | 3.3 | 222.181 | 99.125 | 21.8
DPG-d10(+1) | 2.9 | 3.3 | 222.181 | 124.054 | 23.4
DPG-d10(+1) | 2.9 | 3.3 | 222.181 | 205.225 | 21
4-ADPA(+1) | 3 | 3.4 | 185.107 | 93.1 | 22
4-ADPA(+1) | 3 | 3.4 | 185.107 | 108 | 24
4-ADPA(+1) | 3 | 3.4 | 185.107 | 167 | 29
DPG(+1) | 3 | 3.4 | 212.118 | 94.1 | 19.9
DPG(+1) | 3 | 3.4 | 212.118 | 119.071 | 21.6
DPG(+1) | 3 | 3.4 | 212.118 | 195.125 | 18.3
N-Cyclohexyl-N-methylcyclohexanamine(+1) | 3.2 | 3.6 | 196.206 | 83.1 | 21
N-Cyclohexyl-N-methylcyclohexanamine(+1) | 3.2 | 3.6 | 196.206 | 114.1 | 18
Dicyclohexyamine(+1) | 3.3 | 3.7 | 182.19 | 82.911 | 20.16
Dicyclohexyamine(+1) | 3.3 | 3.7 | 182.19 | 100.054 | 15.87
DOTG(+1) | 3.3 | 3.7 | 240.15 | 106.046 | 30.2
DOTG(+1) | 3.3 | 3.7 | 240.15 | 115.982 | 32
DOTG(+1) | 3.3 | 3.7 | 240.15 | 133.118 | 21.3
5-Methylbenzotriazole-d6(+1) | 3.4 | 3.8 | 140 | 81 | 28.84
5-Methylbenzotriazole-d6(+1) | 3.4 | 3.8 | 140 | 85.125 | 22.02
2,2,4-trimethyl-1,2,3,4-tetrahydroquinoline(+1) | 3.4 | 3.8 | 176.143 | 77 | 42.5
2,2,4-trimethyl-1,2,3,4-tetrahydroquinoline(+1) | 3.4 | 3.8 | 176.143 | 103.143 | 31
2,2,4-trimethyl-1,2,3,4-tetrahydroquinoline(+1) | 3.4 | 3.8 | 176.143 | 119.929 | 18.2
1H-Benzotriazole-d4(+1) | 3.7 | 4.1 | 124.08 | 69.025 | 26.78
1H-Benzotriazole-d4(+1) | 3.7 | 4.1 | 124.08 | 96.075 | 18.61
BTH(+1) | 3.7 | 4.2 | 136.022 | 65.039 | 35
BTH(+1) | 3.7 | 4.2 | 136.022 | 109.054 | 26.1
BTH-d4(+1) | 3.7 | 4.1 | 140.047 | 69.06 | 35
BTH-d4(+1) | 3.7 | 4.1 | 140.047 | 112.03 | 25
BTH-d4(+1) | 3.7 | 4.1 | 140.047 | 113.04 | 27
IPPD(+1) | 3.7 | 4.1 | 227.154 | 107.054 | 41
IPPD(+1) | 3.7 | 4.1 | 227.154 | 184.125 | 17.5
IPPD(+1) | 3.7 | 4.1 | 227.154 | 212.226 | 18.6
MBT(+1) | 3.8 | 4.3 | 167.994 | 65.15 | 34
MBT(+1) | 3.8 | 4.3 | 167.994 | 92 | 21
MBT(+1) | 3.8 | 4.3 | 167.994 | 124 | 22
MBT(+1) | 3.8 | 4.3 | 167.994 | 135 | 26
2-Mercaptobenzothiazole-d4(+1) | 3.8 | 4.2 | 172.02 | 138.982 | 26.36
2-Mercaptobenzothiazole-d4(+1) | 3.8 | 4.2 | 172.02 | 140.042 | 9.47
4-HDPA(+1) | 4 | 4.5 | 186.091 | 80.15 | 42
4-HDPA(+1) | 4 | 4.5 | 186.091 | 92 | 20
4-HDPA(+1) | 4 | 4.5 | 186.091 | 109 | 24
Benzanilide(+1) | 4 | 4.5 | 198.091 | 76.982 | 33
Benzanilide(+1) | 4 | 4.5 | 198.091 | 105.143 | 18.4
Benzanilide(+1) | 4 | 4.5 | 198.091 | 120.071 | 15.3
24MoBT(+1) | 4.1 | 4.5 | 221.074 | 135.946 | 28.8
24MoBT(+1) | 4.1 | 4.5 | 221.074 | 150.125 | 27.3
24MoBT(+1) | 4.1 | 4.5 | 221.074 | 177 | 22.6
HMMM(+1) | 4.1 | 4.5 | 391.23 | 207.1 | 19.4
HMMM(+1) | 4.1 | 4.5 | 391.23 | 283.129 | 14
HMMM(+1) | 4.1 | 4.5 | 391.23 | 359.218 | 8.4
1,3-diphenylurea(+1) | 4.2 | 4.6 | 213.102 | 65 | 47
1,3-diphenylurea(+1) | 4.2 | 4.6 | 213.102 | 77 | 35
1,3-diphenylurea(+1) | 4.2 | 4.6 | 213.102 | 94 | 18
6PPD(+1) | 4.2 | 4.6 | 269.201 | 93.1 | 31
6PPD(+1) | 4.2 | 4.6 | 269.201 | 107.1 | 47
6PPD(+1) | 4.2 | 4.6 | 269.201 | 184 | 22
TMQ(+1) | 4.3 | 4.7 | 174.128 | 130.054 | 31.7
TMQ(+1) | 4.3 | 4.7 | 174.128 | 144.143 | 26.7
TMQ(+1) | 4.3 | 4.7 | 174.128 | 158.071 | 25.3
2,2,4-Trimethyl-1,2-dihydroquinoline-d4(+1) | 4.3 | 4.7 | 177.145 | 135.125 | 19.49
2,2,4-Trimethyl-1,2-dihydroquinoline-d4(+1) | 4.3 | 4.7 | 177.145 | 147.125 | 28.88
4s DPA(+1) | 4.3 | 4.7 | 199.087 | 128 | 41
4s DPA(+1) | 4.3 | 4.7 | 199.087 | 169 | 20
4s DPA(+1) | 4.3 | 4.7 | 199.087 | 181.1 | 27
NCBA(+1) | 4.3 | 4.7 | 233.111 | 55.118 | 29.8
NCBA(+1) | 4.3 | 4.7 | 233.111 | 83.1 | 22.7
NCBA(+1) | 4.3 | 4.7 | 233.111 | 151.018 | 20
2-Me-S-BTH(+1) | 4.5 | 5 | 182.009 | 109.071 | 38.3
2-Me-S-BTH(+1) | 4.5 | 5 | 182.009 | 135 | 36.2
2-Me-S-BTH(+1) | 4.5 | 5 | 182.009 | 166.929 | 24.2
1,3-Dicyclohexylurea(+1) | 4.5 | 4.9 | 225.196 | 61.071 | 25.9
1,3-Dicyclohexylurea(+1) | 4.5 | 4.9 | 225.196 | 83.171 | 24.1
1,3-Dicyclohexylurea(+1) | 4.5 | 4.9 | 225.196 | 100.1 | 15.7
Diphenylamine-d10(+1) | 4.6 | 5 | 179.151 | 174.929 | 34.32
Diphenylamine-d10(+1) | 4.6 | 5 | 179.151 | 177.083 | 24.88
DPPD-Q(+1) | 4.6 | 5 | 291.113 | 77.05 | 48
DPPD-Q(+1) | 4.6 | 5 | 291.113 | 144 | 30
DPPD-Q(+1) | 4.6 | 5 | 291.113 | 235.154 | 27.8
DPPD-Q(+1) | 4.6 | 5 | 291.113 | 263.1 | 21.1
DPPD(+1) | 4.8 | 5.2 | 260.13 | 139 | 62
DPPD(+1) | 4.8 | 5.2 | 260.13 | 167 | 36
6PPD-Q(+1) | 4.8 | 5.2 | 299.175 | 187.1 | 27
6PPD-Q(+1) | 4.8 | 5.2 | 299.175 | 215.029 | 17.2
6PPD-Q(+1) | 4.8 | 5.2 | 299.175 | 241.1 | 25
6PPD-Q-d5(+1) | 4.8 | 5.2 | 304.207 | 192.1 | 29
6PPD-Q-d5(+1) | 4.8 | 5.2 | 304.207 | 220.171 | 17.4
6PPD-Q-d5(+1) | 4.8 | 5.2 | 304.207 | 246.171 | 30
DTPD-Q(+1) | 4.8 | 5.2 | 319.144 | 184.125 | 23.4
DTPD-Q(+1) | 4.8 | 5.2 | 319.144 | 212.143 | 19.6
DTPD-Q(+1) | 4.8 | 5.2 | 319.144 | 301.137 | 25.2
N-phenyl-1-naphthylamine(+1) | 4.9 | 5.3 | 220.112 | 127.97 | 28
N-phenyl-1-naphthylamine(+1) | 4.9 | 5.3 | 220.112 | 142.071 | 19.3
N-phenyl-1-naphthylamine(+1) | 4.9 | 5.3 | 220.112 | 143.071 | 30.8
Benzyl Butyl Phthalate(+1) | 4.9 | 5.4 | 313.143 | 91.113 | 23.96
Benzyl Butyl Phthalate(+1) | 4.9 | 5.4 | 313.143 | 148.899 | 14.31
4-phenylazodiphenylamine(+1) | 5.1 | 5.7 | 274.134 | 105.071 | 17
4-phenylazodiphenylamine(+1) | 5.1 | 5.7 | 274.134 | 169.125 | 23.6
4-phenylazodiphenylamine(+1) | 5.1 | 5.7 | 274.134 | 181.125 | 37
DTPD(+1) | 5.1 | 5.5 | 289.17 | 182.97 | 28.34
DTPD(+1) | 5.1 | 5.5 | 289.17 | 198.143 | 23.7

## Table S5
Table 5: Non-targeted Gradient and Electrospray Details
Gradient Details
Time (min) | A (%) | B (%) | Flow (mL/min) | Max Pressure Limit (bar)
0 | 95 | 5 | 0.4 | 1000
0.55 | 70 | 30 | 0.4 | 1000
11 | 0 | 100 | 0.4 | 1000
13.2 | 0 | 100 | 0.4 | 1000
13.3 | 95 | 5 | 0.4 | 1000
15 | 95 | 5 | 0.4 | 1000
ESI Details
Spray Ionization (V) | 3000
Sheath Gas (Arbitrary Units) | 50
Aux Gas (Arbitrary Units) | 15
Ion Transfer Tube (C) | 325
Vaporizer Tube (C) | 350

## Table S6
Table S6: Non-targeted Scan Details
Global Settings
Infusion Mode | Liquid Chromatography
Expected LC Peak Width (s) | 6
Advanced Peak Determination | Yes
Mild Trapping | No
Default Charge State | 1
Enable Xcalibur AcquireX method modifications | No
Internal Mass Calibration | EASY-IC™
Mode | Run Start
Full Scan
Resolution | 60000
Scan Range | 100 to 1500
RF Lens | 80%
AGC Target | Standard
Maximum Injection Time | Auto
Data Dependent Scan
Resolution | 30000
Collision Energy Type | Absolute
HCD Collision Energies | 20,40, 70
AGC Target | Standard
Maximum Injection Time | 100 ms

## Table S7
Table S7: Inter/Intra Day Precision and IDL/IQL
Molecule | Intra-Day 5 CV (n=5) | Intra-Day 100 CV (n=5) | Inter-Day 5 CV (n=3) | Inter-Day 100 CV (n=3) | IDL (ng/mL) | IQL (ng/mL)
Caprolactam | 16.07% | 3.641% | 23.01% | 2.156% | 1.5658 | 4.6974
1H-BTR | 6.059% | 2.965% | 7.233% | 1.256% | 0.54506 | 1.6352
2-amino-BTH | 7.252% | 3.538% | 6.116% | 2.054% | 0.43853 | 1.3156
MBT | 12.69% | 8.148% | 7.405% | 5.562% | 0.57387 | 1.7216
TMQ | 10.09% | 7.239% | 11.42% | 3.824% | 1.4812 | 4.4436
2,2,4-trimethyl-1,2,3,4-tetrahydroquinoline | 1.886% | 5.594% | 8.598% | 0.7101% | 0.24261 | 0.72783
2-Me-S-BTH | 2.89% | 2.88% | 7.101% | 3.756% | 0.98665 | 2.96
4-ADPA | 2.881% | 4.656% | 30.91% | 1.831% | 2.4083 | 7.2249
4-HDPA | 5.195% | 7.293% | 7.579% | 2.189% | 2.459 | 7.377
N-Cyclohexyl-N-methylcyclohexanamine | 8.304% | 5.083% | 7.444% | 0.9802% | 0.94133 | 2.824
Benzanilide | 6.802% | 4.94% | 4.745% | 5.769% | 0.13819 | 0.41457
4s DPA | 6.606% | 7.37% | 9.396% | 3.107% | 0.033003 | 0.099009
DPG | 6.469% | 6.448% | 11.3% | 3.028% | 0.10647 | 0.31941
1,3-diphenylurea | 11.55% | 4.549% | 1.658% | 4.44% | 0.067579 | 0.20274
N-phenyl-1-naphthylamine | 7.967% | 4.003% | 6.056% | 8.392% | 0.26872 | 0.80616
24MoBT | 1.747% | 3.241% | 4.716% | 1.764% | 0.13417 | 0.40251
1,3-Dicyclohexylurea | 6.9% | 6.072% | 4.551% | 3.371% | 0.27648 | 0.82944
IPPD | 1.321% | 2.704% | 3.39% | 4.392% | 3.6781 | 11.0343
NCBA | 5.081% | 4.15% | 10.9% | 1.698% | 0.078698 | 0.23609
DOTG | 4.585% | 4.854% | 1.252% | 2.717% | 0.08969 | 0.26907
DPPD | 9.174% | 4.585% | 2.016% | 2.359% | 0.53761 | 1.6128
4-phenylazodiphenylamine | 4.495% | 4.413% | 5.341% | 4.02% | 0.7318 | 2.1954
6PPD-Q | 4.218% | 6.443% | 2.602% | 1.509% | 0.1209 | 0.3627
DTPD-Q | 4.413% | 5.987% | 2.352% | 1.712% | 0.31108 | 0.93324
HMMM | 10.88% | 4.107% | 6.103% | 0.5204% | 0.064826 | 0.19448
Dicyclohexyamine | 8.925% | 2.914% | 44.98% | 2.981% | 0.24129 | 0.72387

## Table S8
Table S8: Compounds that experienced initial large loss
Compound | Condition
4-HDPA | FZ - pH2 Water
RF - pH2 Water
RT - pH2 Water
4s DPA | FZ - pH2 Water
FZ - Glutathione in Water
RF - pH2 Water
RF - Glutathione in Water
RT - pH2 Water
RT - Glutathione in Water
N-phenyl-1-naphthylamine | FZ - pH2 Water
FZ - Glutathione in Water
RF - pH2 Water
RT - pH2 Water
DPPD | FZ - pH2 Water
FZ - Water
FZ - Glutathione in Water
RF - pH2 Water
RF - Water
RF - Glutathione in Water
RT - pH2 Water
RT - Water
RT - Glutathione in Water
HMMM | FZ - pH2 Water
FZ - Glutathione in Water
RF - pH2 Water
RF - Glutathione in Water
RT - pH2 Water
RT - Glutathione in Water

## Table S9
Table S9: Mixed Standard and Single Standards Shared Features and Confidence Levels
Name | Parent Compound | TP/Impurity/Fast Forming TP | Confidence Level
1,2-dihydro-2,2,4,7-tetramethylquinoline | TMQ | Fast forming TP or Impurity | 2a
2,2-Dithiobis(benzothiazole) | MBT | TP | 2a
2,4-dimethylquinoline | TMQ | TP | 1
2-Aminophenol | 4s DPA | TP | 2a
2-Benzthiazolylsulphenic acid | MBT | TP | 2a
4-Aminophenol | 4s DPA | TP | 2a
4-Nitrosophenol | 4s DPA | TP | 3
Impurity 215 | 4s DPA/ 4-ADPA | Impurity | 3
Impurity 447 | MBT | Impurity | 3
Melamine | HMMM | TP | 2a
Methylene Melamine | HMMM | TP | 3
N-(methoxymethyl)-1,3,5-triazine-2,4,6-triamine (MonoMMM) | HMMM | TP | 2a
TP 132 | TMQ | Fast forming TP or Impurity | 4
TP 157 | HMMM | TP | 4
TP 159 | TMQ | Fast forming TP or Impurity | 5
TP 172 | TMQ | Fast forming TP or Impurity | 4
TP 185 | 4s DPA | Fast forming TP or Impurity | 3
TP 188a | TMQ | TP | 3
TP 188b | TMQ | Fast forming TP or Impurity | 4
Tp 188c | TMQ | TP | 3
TP 188d | TMQ | Fast forming TP or Impurity | 4
TP 190 | TMQ | TP | 3
TP 213a | 4-ADPA | Fast forming TP or Impurity | 4
TP 213b | 4s DPA/ 4-ADPA | Fast forming TP or Impurity | 4
TP 214 | 4-ADPA | TP | 3
TP 215b | 4s DPA/ 4-ADPA | Fast forming TP or Impurity | 3
TP 216 | 4-ADPA | TP | 4
TP 216 | TMQ | Fast forming TP or Impurity | 3
TP 218 | TMQ | TP | 4
TP 230a | 4-ADPA | TP | 4
TP 230b | 4-ADPA | TP | 4
TP 244 | 4-ADPA | TP | 4
TP 264 | 4s DPA | Fast forming TP or Impurity | 5
TP 283 | HMMM | Fast forming TP or Impurity | 4
TP 321a | 4-ADPA | TP | 4
TP 321b | 4-ADPA | TP | 4
TP 329 | TMQ | TP | 4
TP 331 | 4-ADPA | TP | 4
TP 335 | 4-ADPA | TP | 4
TP 345 | MBT | Fast forming TP or Impurity | 4
TP 345 | TMQ | TP | 2
TP 377 | HMMM | Fast forming TP or Impurity | 4
TP 381 | 4-ADPA | Fast forming TP or Impurity | 3
TP 396 | 4-ADPA | TP | 4
TP 432 | MBT | Fast forming TP or Impurity | 4
TP 434 | MBT | Fast forming TP or Impurity | 5
TP 547 | 4-ADPA | TP | 3

## Table S10
Table S10: Mixed Standard Features and Confidence Levels
Name | Formula | Mass Error (ppm) | Calc MW | m/z | RT (min) | Confidence Level | Structure | Found in Environmental Sample
3-methylaniline | C7 H9 N | -2.1953 | 107.0733 | 108.0805 | 1.979 | 2a
2-Aminophenol (mzCLoud) | C6 H7 N O | -2.4195 | 109.0525 | 110.0598 | 0.982 | 2a | #VALUE!
4-Aminophenol | C6 H7 N O | -1.57 | 109.0526 | 110.0599 | 0.681 | 2a | #VALUE!
4-Nitrosophenol | C6 H5 N O2 | -1.26 | 123.0319 | 124.0392 | 2.729 | 3 | #VALUE!
4-Methoxyaniline (mzVault) | C7 H9 N O | -1.8013 | 123.0682 | 124.0755 | 1.566 | 2a | #VALUE!
Melamine | C3 H6 N6 | -2.1278 | 126.0651 | 127.0724 | 0.629 | 2a | #VALUE!
TP 132 | C9 H9 N | -1.6 | 131.0733 | 132.0806 | 7.232 | 4
Methylene Melamine | C4 H6 N6 | -0.99 | 138.0653 | 139.0725 | 0.718 | 3 | #VALUE!
TP 157 | C4 H8 N6 O | -1.19 | 156.0758 | 157.083 | 0.72 | 4
2,4-Dimethylquinoline | C11 H11 N | -2.403 | 157.0888 | 158.096 | 2.298 | 1 | #VALUE!
TP 159 |  |  | 158.0968 | 159.104 | 7.203 | 5
Feature 163 | C9 H6 O3 | -1.881 | 162.0314 | 163.0387 | 2.585 | 4
Methoxymethylmelamine | C5 H10 N6 O | -1.7549 | 170.0913 | 171.0986 | 0.977 | 2a | #VALUE!
TP 172 | C12 H13 N | -0.98 | 171.1046 | 172.1119 | 4.77 | 4
Feature 183 | C7 H5 N O S2 | -1.8019 | 182.9809 | 183.9882 | 5.741 | 4 |  | Yes
Feature 184 |  |  | 183.0917 | 184.0989 | 9.15 | 5
TP 185 | C12 H12 N2 | -0.97 | 184.0999 | 185.1071 | 3.821 | 3 | #VALUE!
TP 188c | C12 H13 N O | -1.7157 | 187.0994 | 188.1067 | 5.86 | 3 | #VALUE!
TP 188a | C12 H13 N O | -1.6661 | 187.0994 | 188.1067 | 2.733 | 3 | #VALUE!
TP 188d | C12 H13 N O | -1.25 | 187.0995 | 188.1068 | 9.733 | 4
TP 188b | C12 H13 N O | -0.8 | 187.0996 | 188.1068 | 4.639 | 4
1,2-dihydro-2,2,4,7-tetramethylquinoline | C13 H17 N | -1.07 | 187.1359 | 188.1432 | 8.154 | 2a | #VALUE! | Yes
TP 190 | C12 H15 N O | -1.6234 | 189.1151 | 190.1223 | 2.839 | 3 | #VALUE!
4-(4-methylanilino)phenol | C13 H13 N O | -1.965 | 199.0993 | 200.1066 | 6.807 | 2a | #VALUE!
Feature 206 | C13 H19 N O | -1.8147 | 205.1463 | 206.1536 | 3.549 | 3 | #VALUE!
TP 213a | C13 H12 N2 O | -1.5893 | 212.0946 | 213.1019 | 5.756 | 4
TP 213b | C13 H12 N2 O | -1.4931 | 212.0947 | 213.1019 | 2.782 | 4
Feature 213 | C8 H7 N O2 S2 | -1.6583 | 212.9915 | 213.9988 | 5.813 | 4
TP 214 | C13 H11 N O2 | -1.8674 | 213.0786 | 214.0859 | 5.832 | 3 | #VALUE!
Feature 214 | C13 H11 N O2 | -1.772 | 213.0786 | 214.0859 | 6.064 | 4
Feature 215b |  |  | 214.0324 | 215.0397 | 6.319 | 5
Impurity 215 | C12 H10 N2 O2 | -1.8144 | 214.0738 | 215.0811 | 7.92 | 3 | #VALUE!
Feature 215a | C13 H14 N2 O | -1.2054 | 214.1104 | 215.1176 | 3.957 | 3 | #VALUE!
TP 216a | C13 H13 N O2 | -1.6912 | 215.0943 | 216.1015 | 6.033 | 3 | #VALUE!
TP 216b | C15 H21 N | -0.9 | 215.1672 | 216.1745 | 8.876 | 4
Feature 218a | C13 H15 N O2 | -1.9979 | 217.1098 | 218.1171 | 6.937 | 3 | #VALUE!
TP 218 | C13 H15 N O2 | -1.22 | 217.11 | 218.1173 | 4.348 | 4
Feature 220a |  |  | 219.1052 | 220.1125 | 7.891 | 5
Feature 220b | C13 H17 N O2 | -1.7934 | 219.1255 | 220.1328 | 7.192 | 3 | #VALUE!
Impurity 227 | C13 H10 N2 S | -1.5006 | 226.0561 | 227.0634 | 8.375 | 3 | #VALUE!
TP 230b | C13 H11 N O3 | -1.6565 | 229.0735 | 230.0808 | 5.44 | 4
TP 230a | C13 H11 N O3 | -1.6319 | 229.0735 | 230.0808 | 4.071 | 4
Feature 232 | C14 H17 N O2 | -1.764 | 231.1255 | 232.1328 | 8.344 | 4
Feature 239 | C15 H14 N2 O | -1.4915 | 238.1103 | 239.1175 | 5.701 | 4
Feature 244 | C14 H13 N O3 | -1.6115 | 243.0891 | 244.0964 | 4.521 | 4
TP 244 | C14 H13 N O3 | -1.5862 | 243.0892 | 244.0964 | 5.358 | 4
Feature 248 |  |  | 247.9596 | 248.9669 | 0.578 | 5
Feature 250 | C17 H15 N O | -1.179 | 249.1151 | 250.1224 | 9.486 | 4
Feature 255 | C16 H18 N2 O | -1.7228 | 254.1415 | 255.1488 | 3.287 | 4
Feature 258 | C15 H15 N O3 | -1.6051 | 257.1048 | 258.1121 | 6.088 | 4
Feature 259a |  |  | 258.1001 | 259.1074 | 8.187 | 5
Feature 259b | C18 H14 N2 | -1.6186 | 258.1153 | 259.1226 | 9.053 | 4
Feature 260a |  |  | 259.1189 | 260.1262 | 9.09 | 5
Feature 260b |  |  | 259.1231 | 260.1304 | 9.149 | 5
6QDI | C18 H22 N2 | -1.712 | 266.1778 | 267.1851 | 5.886 | 2a | #VALUE!
Feature 269a | C16 H16 N2 O2 | -1.7289 | 268.1207 | 269.128 | 5.338 | 4
Feature 269b | C18 H24 N2 | -1.4301 | 268.1936 | 269.2008 | 4.831 | 3 | #VALUE!
Feature 276 | C13 H9 N O2 S2 | -1.579 | 275.007 | 276.0143 | 5.889 | 3 | #VALUE!
Feature 280a |  |  | 279.0321 | 280.0394 | 5.852 | 5
Feature 280b |  |  | 279.2558 | 280.263 | 11.423 | 5 |  | Yes
Feature 281 | C18 H20 N2 O | -1.5048 | 280.1571 | 281.1644 | 8.97 | 4
Feature 282a |  |  | 281.036 | 282.0433 | 5.969 | 5
Feature 282b |  |  | 281.9338 | 282.9411 | 0.578 | 5
TP 283 | C11 H18 N6 O3 | -1.18 | 282.1437 | 283.151 | 5.326 | 4
Feature 287 |  |  | 286.1466 | 287.1538 | 10.312 | 5
Feature 288 |  |  | 287.1544 | 288.1616 | 10.272 | 5
Feature 290 |  |  | 289.1664 | 290.1736 | 10.293 | 5
Feature 291 | C10 H14 N2 O6 S | -1.13 | 290.0569 | 291.0642 | 0.903 | 4
Feature 297a |  |  | 296.0469 | 297.0541 | 6.488 | 5 |  | Yes
Feature 297b | C19 H24 N2 O | -1.7175 | 296.1884 | 297.1956 | 5.093 | 4
Feature 297c | C19 H24 N2 O | -1.6401 | 296.1884 | 297.1957 | 5.255 | 4
Feature 305a | C18 H12 N2 O S | -1.539 | 304.0666 | 305.0738 | 9.893 | 4
Feature 305b | C19 H16 N2 O2 | -1.7899 | 304.1206 | 305.1279 | 8.822 | 4
Feature 311 | C19 H22 N2 O2 | -1.2861 | 310.1677 | 311.175 | 8.444 | 4
Feature 318 |  |  | 317.1649 | 318.1722 | 10.657 | 5
TP 321a | C19 H16 N2 O3 | -1.33 | 320.1157 | 321.1229 | 6.475 | 4
TP 321b | C19 H16 N2 O3 | -1.14 | 320.1157 | 321.123 | 7.523 | 4
TP 329 | C23 H24 N2 | -0.8 | 328.1937 | 329.201 | 11.667 | 4
TP 331 | C17 H18 N2 O S2 | -0.92 | 330.0858 | 331.093 | 5.005 | 4
2,2-Dithiobis(benzothiazole) | C14 H8 N2 S4 | -0.85 | 331.9567 | 332.964 | 10.668 | 2a | #VALUE! | Yes
TP 335 | C20 H18 N2 O3 | -0.93 | 334.1314 | 335.1387 | 7.397 | 4
Feature 336 |  |  | 335.9818 | 336.9891 | 10.629 | 5
Feature 340 | C20 H21 N O4 | -1.8793 | 339.1464 | 340.1537 | 6.519 | 4
Feature 342 | C20 H23 N O4 | -1.4354 | 341.1622 | 342.1695 | 4.667 | 4
Feature 343 | C13 H22 N6 O5 | 0.41867 | 342.1653 | 343.1726 | 6.469 | 4
TP 345a | C23 H24 N2 O | -1.12 | 344.1885 | 345.1957 | 9.738 | 4
TP 345b | C23 H24 N2 O | -1.02 | 344.1885 | 345.1958 | 5.994 | 4
Feature 351 | C19 H14 N2 O S2 | -1.5056 | 350.0542 | 351.0615 | 8.921 | 3 | #VALUE!
Feature 353 |  |  | 352.0638 | 353.071 | 11.597 | 5
Feature 355 | C19 H16 N O4 S | -1.3639 | 354.0795 | 355.0866 | 8.893 | 4
Feature 360 | C22 H21 N3 O2 | -1.7775 | 359.1627 | 360.17 | 6.463 | 4
Feature 361a | C17 H20 N4 O3 S | -1.4533 | 360.1251 | 361.1324 | 2.448 | 3 | #VALUE!
Feature 361b | C17 H20 N4 O3 S | -1.3276 | 360.1251 | 361.1324 | 3.291 | 4
Feature 364 |  |  | 363.0553 | 364.0626 | 0.711 | 5
TP 364 |  |  | 363.1606 | 364.1678 | 10.661 | 5
Feature 366 |  |  | 365.2236 | 366.2309 | 11.829 | 5
Feature 375 |  |  | 374.0573 | 375.0646 | 8.313 | 5
Feature 381a | C20 H16 N2 O2 S2 | -1.8042 | 380.0646 | 381.072 | 9.372 | 3 | #VALUE!
Feature 381b | C20 H16 N2 O2 S2 | -1.4613 | 380.0648 | 381.0721 | 8.868 | 3 | #VALUE!
TP 381 | C24 H20 N4 O | -1.1504 | 380.1633 | 381.1705 | 9.151 | 3 | #VALUE!
Feature 383 |  |  | 382.1199 | 383.1272 | 9.253 | 5
Feature 386 | C18 H15 N3 O S3 | -1.4627 | 385.0372 | 386.0444 | 9.619 | 3 | #VALUE!
TP 396 | C25 H21 N3 O2 | -1.7557 | 395.1627 | 396.17 | 6.618 | 4
Feature 396 | C25H21N3O2 | 2.73 | 395.8946 | 396.9019 | 5.162 | 4
Feature 397 |  |  | 396.0879 | 397.0952 | 9.823 | 5
TP 399 | C14 H28 N6 O6 | -1.18 | 376.2066 | 399.1958 | 5.328 | 4
Feature 400 | C28 H21 N3 | -2.4566 | 399.1726 | 400.1799 | 11.682 | 4
Feature 402 | C25 H27 N3 O2 | -1.1416 | 401.2099 | 402.2172 | 8.342 | 4
Feature 403 |  |  | 402.0886 | 403.0958 | 9.024 | 5
Feature 405a | C27 H24 N4 | -1.5018 | 404.1995 | 405.2068 | 7.343 | 4
Feature 405b | C27 H24 N4 | -1.301 | 404.1996 | 405.2068 | 6.951 | 4
Feature 421 |  |  | 420.1199 | 421.1271 | 10.804 | 5
Feature 423 | C27 H26 N4 O | -1.258 | 422.2101 | 423.2174 | 10.406 | 4
Feature 425 |  |  | 424.1449 | 425.1522 | 10.777 | 5
TP 432 | C14 H4 Cl4 N4 S2 | -1.96 | 431.8623 | 432.8696 | 5.127 | 4
TP 434 |  |  | 433.8591 | 434.8664 | 5.128 | 5
Feature 435 | C28 H26 N4 O | -1.5469 | 434.21 | 435.2173 | 7.001 | 4
Feature 436 |  |  | 435.1483 | 436.1556 | 7.731 | 5
Feature 440 | C20 H12 N2 O2 S4 | -1.2367 | 439.9776 | 440.9849 | 8.081 | 3 | #VALUE!
Feature 445 | C18 H12 N4 O4 S3 | 1.3133 | 444.0027 | 445.0099 | 8.055 | 4
Feature 447 | C30 H30 N4 | -1.3838 | 446.2464 | 447.2537 | 8.283 | 4 |  | Yes
Feature 463 |  |  | 462.1666 | 463.1739 | 11.751 | 5
Feature 464 |  |  | 463.1796 | 464.1869 | 8.736 | 5
Feature 465 | C30 H32 N4 O | -1.6817 | 464.2568 | 465.2641 | 11.228 | 4 |  | Yes
Feature 467 | C32 H26 N4 | -1.2864 | 466.2151 | 467.2224 | 8.214 | 4
Feature 477a | C31 H28 N2 O3 | 3.5556 | 476.2117 | 477.219 | 11.72 | 4
Feature 477b | C31 H32 N4 O | -1.6296 | 476.2568 | 477.2641 | 8.302 | 4
Feature 490 | C22H27N5O6S | -1.38 | 489.1675 | 490.1748 | 3.411 | 4
Feature 497 | C33 H28 N4 O | -1.3895 | 496.2256 | 497.2329 | 8.346 | 4
Feature 516 | C26 H17 N3 O S4 | -1.6655 | 515.0246 | 516.0319 | 10.56 | 3 | #VALUE! | Yes
Feature 520 |  |  | 519.0497 | 520.057 | 10.541 | 5
Feature 525 |  |  | 524.025 | 525.0323 | 11.681 | 5
Feature 532 |  |  | 531.2144 | 532.2216 | 4.018 | 5
Feature 545 | C36 H28 N6 | -1.3831 | 544.2368 | 545.2441 | 8.644 | 3 | #VALUE!
Feature 546 | C27H19N3O2S4 | 0.70241 | 545.0354 | 546.0427 | 10.554 | 3 | #VALUE!
TP 547 | C36 H30 N6 | -1.3648 | 546.2524 | 547.2597 | 9.347 | 3 | #VALUE!
Feature 550 |  |  | 549.0605 | 550.0677 | 10.534 | 5
Feature 557 |  |  | 556.8781 | 557.8854 | 5.119 | 5
Feature 560 |  |  | 559.2364 | 560.2437 | 8.806 | 5
Feature 699 |  |  | 698.0924 | 699.0997 | 11.929 | 5 |  | Yes
Feature 714 |  | -0.18269 | 713.1905 | 714.1977 | 11.785 | 5

## Table S11
Table S11: Single Standard Features and Confidence Levels
Name | Formula | Mass Error (ppm) | Calc. MW | m/z | RT [min] | Parent Compound | TP/Impurity/Fast Forming TP | Confidence Level | Structure | Found in Environmental Sample
4-Aminophenol | C6 H7 N O | -1.57 | 109.0526 | 110.0599 | 0.64 | 4s DPA | TP | 2a | #VALUE!
4-Nitrosophenol | C6 H5 N O2 | -1.26 | 123.0319 | 124.0392 | 2.688 | 4s DPA | TP | 3 | #VALUE!
Melamine | C3 H6 N6 | -1.47 | 126.0652 | 127.0725 | 0.642 | HMMM | TP | 2a | #VALUE!
Methylene Melamine | C4 H6 N6 | -0.99 | 138.0653 | 139.0725 | 0.69 | HMMM | TP | 3 | #VALUE!
2,4-dimethylquinoline (2,4-DMQ) | C11 H11 N | -1.12 | 157.089 | 158.0962 | 2.272 | TMQ | TP | 1 | #VALUE!
N-(methoxymethyl)-1,3,5-triazine-2,4,6-triamine (MonoMMM) | C5 H10 N6 O | -1.14 | 170.0914 | 171.0987 | 0.949 | HMMM | TP | 2a | #VALUE!
TP 183a | C12 H10 N2 | -0.99 | 182.0842 | 183.0915 | 2.743 | 4s DPA | Fast Forming TP/ Impurity | 3 | #VALUE!
TP 183b | C12 H10 N2 | -0.97 | 182.0842 | 183.0915 | 3.571 | 4s DPA | Fast Forming TP/ Impurity | 3 | #VALUE!
TP 183c | C6 H10 N6 O | -1.31 | 182.0914 | 183.0986 | 1.835 | HMMM | TP | 4
TP 183d | C7 H5 N O S2 | -1.11 | 182.9811 | 183.9883 | 5.67 | MBT | TP | 3 | #VALUE! | Yes
4-aminodiphenylamine (4-ADPA) | C12 H12 N2 | -2.2 | 184.0996 | 185.1069 | 3.063 | 4s DPA | Fast Forming TP/ Impurity | 1 | #VALUE!
R-Aminodiphenylamine (TP 185) | C12 H12 N2 | -0.88 | 184.0999 | 185.1072 | 3.771 | 4s DPA | Fast Forming TP/ Impurity | 3 | #VALUE!
4-Hydroxydiphenylamine (4-HDPA) | C12 H11 N O | -1.5 | 185.0838 | 186.0911 | 5.752 | 4-ADPA | TP | 1 | #VALUE!
TP 213 | C7 H12 N6 O2 | -0.91 | 212.102 | 213.1093 | 2 | HMMM | TP | 4
TP 230 | C13 H11 N O3 | -1.09 | 229.0736 | 230.0809 | 4.046 | 4-ADPA | TP | 4
Impurity 267 | C18 H22 N2 | -0.92 | 266.178 | 267.1853 | 4.132 | Oligomeric-TMQ | Impurity | 3 | #VALUE!
TP 307 | C21 H26 N2 | -0.88 | 306.2093 | 307.2166 | 6.796 | Oligomeric-TMQ | Fast Forming TP/ Impurity | 3 | #VALUE! | Yes
TP 331 | C23 H26 N2 | -1.06 | 330.2092 | 331.2165 | 5.647 | Oligomeric-TMQ | TP | 3 | #VALUE! | Yes
2,2-Dithiobis(benzothiazole) | C14 H8 N2 S4 | -0.82 | 331.9568 | 332.964 | 10.586 | MBT | TP | 2a | #VALUE! | Yes
Feature 347 | C12 H15 N | -0.82 | 173.1203 | 347.2479 | 8.047 | Oligomeric-TMQ | 2-Chain TMQ | 3 | #VALUE!
TP 359 | C24 H26 N2 O | -0.73 | 358.2043 | 359.2115 | 9.248 | TMQ | TP | 4
TP 361 | C24 H28 N2 O | -1.29 | 360.2197 | 361.227 | 9.155 | TMQ | TP | 3 | #VALUE!
TP 363a | C24 H18 N4 | -1.07 | 362.1528 | 363.16 | 5.58 | 4-ADPA | TP | 4
TP 364 |  |  | 363.1606 | 364.1678 | 10.524 | 4s DPA | Fast Forming TP/ Impurity | 5
Impurity 371 | C26 H30 N2 | -0.97 | 370.2405 | 371.2478 | 7.331 | Oligomeric-TMQ | Impurity | 4
TP 363b | C13 H26 N6 O6 | -0.91 | 362.1911 | 385.1803 | 4.403 | HMMM | TP | 2a | #VALUE!
TP 387 | C27 H34 N2 | -1.17 | 386.2717 | 387.279 | 10.273 | Oligomeric-TMQ | Fast Forming TP/ Impurity | 4 |  | Yes
TP 396 | C25 H21 N3 O2 | -1.16 | 395.1629 | 396.1702 | 6.587 | 4-ADPA | TP | 4
TP 396 |  |  | 395.8949 | 396.9023 | 5.151 | MBT | Fast Forming TP/ Impurity | 5
TP 377 | C14 H28 N6 O6 | -1.03 | 376.2067 | 399.1959 | 5.292 | HMMM | TP | 2a | #VALUE!
TP 424 |  |  | 423.8682 | 424.8756 | 5.123 | MBT | Fast Forming TP/ Impurity | 5
TP 432 |  |  | 431.8623 | 432.8696 | 5.134 | MBT | Fast Forming TP/ Impurity | 5
TP 434 |  |  | 433.8591 | 434.8664 | 5.188 | MBT | Fast Forming TP/ Impurity | 5
TP 504 | C35H41N3 | -4.36 | 503.3295 | 504.3368 | 8.711 | Oligomeric-TMQ | TP | 2b | #VALUE!
Feature 520 | C36H45N3 | -4.2 | 519.3608 | 520.3681 | 9.54 | Oligomeric-TMQ | 3-Chain TMQ | 3 | #VALUE! | Yes
Impurity 544 | C38 H45 N3 | -0.83 | 543.3609 | 544.3682 | 8.797 | Oligomeric-TMQ | Impurity | 4 |  | Yes
TP 547 |  |  | 546.228 | 547.2349 | 11.361 | 4-ADPA | TP | 5
TP 557 |  |  | 556.8781 | 557.8854 | 5.136 | MBT | Fast Forming TP/ Impurity | 5
Feature 693 | C48 H60 N4 | -1.48 | 692.4808 | 693.488 | 10.119 | Oligomeric-TMQ | 4-Chain TMQ | 3 | #VALUE! | Yes
Feature 866 | C60 H75 N5 | -2.1 | 865.6004 | 866.6078 | 10.523 | Oligomeric-TMQ | 5-Chain TMQ | 3 | #VALUE!

## Table S12
Table S12: Skyline Settings
Molecule Settings
Prediction Tab
Retention time predictor | None
Use measured retention times when present | Yes
Time window (min) | 1
Library Tab
Library | None
Pick Molecules Matching | NA
Rank Molecules by | NA
Labels Tab
Internal standard types: | Heavy
Quantification Tab
Regression fit | Linear
normalization method | Ratio to Heavy
simple precursor ratios | No
regression weighting | 1/(x*x)
MS level | All
Units | ng/mL
Max LOQ bias (%) | 20
Calculate LOD by | Blank + 3 * SD
Max LOQ CV (%) | 20
Qualitative ion ratio threshold (%) | -
Transition Settings
Prediction Tab
Precursor mass | Monoisotopic
Product ion mass | Monoisotopic
Collision energy | Thermo TSQ Altis
Deculstering potential | None
Optimization library | None
Compensation voltage | None
Use optimization values when present | No
Filter Tab
Precursor adducts | [M+H]
Fragment adducts | [M+]
Ion types | f, p
Precusor m/z exclusion window | -
Auto-select all matching transitions | No
Library Tab
Ion match tolerance (ppm) | 5
If a library spectrum is available, pick its most intense ions | Yes
Pick:
# product ions | 6
# minimum product ions | 2
Instrument Tab
Min m/z | 25
Dynamic min product m/z | No
Max m/z | 1500
Method match tolerance (m/z) | 0.005
Firmware transition limit | -
Firmware inclusion limit | -
Min time (min) | -
Max Time (min) | -
Triggered Chromatographic Acquisition | Yes
Full Scan Tab
MS1 Filtering
Isotope peaks included | No
MS/MS Filtering
Acquisition method | None
Product mass analyzer | NA
Resolving power | NA
Use high-selectivity extraction | NA
Retention time filtering | NA
Ion mobility library
Ion mobility library | None

## Table S13
Table S13: Concetration Data for Targeted Compounds
Caprolactam | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 279.83 | 300.79 | 294.02 | 271.89 | 289.74 | 298.54 | 286.7 | 279.355 | 284.175
FZ - Glutathione in Methanol | 262.145 | 279.095 | 264.51 | 253.265 | 266.84 | 274.025 | 269.11 | 275.515 | 270.76
FZ - pH2 Water | 275.345 | 290.33 | 271.63 | 260.405 | 278.36 | 271.505 | 282.245 | 282.56 | 280.185
FZ - Water | 287.695 | 291.795 | 270.315 | 261.315 | 288.295 | 289.49 | 296.325 | 280.11 | 287.625
FZ - Glutathione in Water | 270.055 | 255.98 | 269.77 | 257.895 | 269.225 | 282.03 | 278.765 | 279.25 | 268.735
RF -Methanol | 290.23 | 300.685 | 311.12 | 277.215 | 289.23 | 295.965 | 314.525 | 278.73 | 282.865
RF - Glutathione in Methanol | 287.355 | 264.36 | 270.04 | 255.4 | 266.285 | 268.845 | 302.17 | 288.22 | 282.27
RF - pH2 Water | 279.865 | 284.605 | 276.45 | 274.035 | 277.27 | 277.575 | 277.27 | 274.175 | 270.505
RF - Water | 293.48 | 283.18 | 280.54 | 267.925 | 266.02 | 291.205 | 295.26 | 279.365 | 283.29
RF - Glutathione in Water | 280.315 | 278.115 | 265.44 | 272.435 | 269.82 | 278.15 | 297.89 | 276.74 | 272.175
RT -Methanol | 315.845 | 310.365 | 311.435 | 291.965 | 274.09 | 289.18 | 314.27 | 280.95 | 291.76
RT - Glutathione in Methanol | 282.335 | 288.985 | 265.525 | 271.29 | 271.335 | 294.22 | 288.165 | 281.575 | 270.48
RT - pH2 Water | 294.24 | 283.695 | 285.98 | 288.52 | 279.4 | 286.56 | 286.98 | 273.36 | 267.78
RT - Water | 304.155 | 283.845 | 290.07 | 283.795 | 294.875 | 282.92 | 313.745 | 288.13 | 300.915
RT - Glutathione in Water | 299.255 | 290.39 | 275.66 | 280.335 | 286.47 | 283.855 | 297.885 | 270.04 | 281.905
1H-BTR | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 267.015 | 306.355 | 300.83 | 289.345 | 275.58 | 290.175 | 248.53 | 231.755 | 271.515
FZ - Glutathione in Methanol | 265.055 | 284.47 | 280.975 | 269.125 | 285.35 | 282.51 | 243.27 | 234.13 | 271.945
FZ - pH2 Water | 263.295 | 308.4 | 284.71 | 277.59 | 292.21 | 281.46 | 258.385 | 233.43 | 279.705
FZ - Water | 287.48 | 299.88 | 290.65 | 279.66 | 295.155 | 283.335 | 260.62 | 242.775 | 285.73
FZ - Glutathione in Water | 265.74 | 285.675 | 296.28 | 274.94 | 286.7 | 282.33 | 252.355 | 235.445 | 268.8
RF -Methanol | 281.085 | 291.85 | 325.3 | 280.16 | 295.5 | 278.65 | 278.94 | 238.125 | 278.725
RF - Glutathione in Methanol | 283.375 | 280.935 | 295.085 | 271.905 | 281.195 | 283 | 277.235 | 243.01 | 280.385
RF - pH2 Water | 279.9 | 305.66 | 295.915 | 286.855 | 287.245 | 270.325 | 246.71 | 235.655 | 264.22
RF - Water | 274.29 | 294.99 | 299.09 | 280.4 | 273.875 | 275.81 | 263.855 | 239.915 | 285.77
RF - Glutathione in Water | 273.44 | 301.89 | 282.71 | 289.6 | 287.46 | 286.355 | 274.005 | 239.34 | 270.775
RT -Methanol | 311.56 | 317.205 | 315.445 | 287.39 | 277.26 | 289.42 | 294.645 | 232.43 | 283.25
RT - Glutathione in Methanol | 280.245 | 292.34 | 290.9 | 280.095 | 287.125 | 274.58 | 278.275 | 234.815 | 257.54
RT - pH2 Water | 280 | 295.465 | 285.55 | 290.865 | 289.98 | 276.435 | 277.565 | 239.04 | 267.525
RT - Water | 285.08 | 296.015 | 293.03 | 281.295 | 308.775 | 279.365 | 290.555 | 235.9 | 293.305
RT - Glutathione in Water | 291.24 | 307.41 | 297.24 | 284.955 | 297.295 | 273.8 | 276.71 | 229.505 | 277.085
2-amino-BTH | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 255.165 | 256.615 | 264.78 | 261.035 | 255.475 | 256.885 | 231.625 | 240.64 | 239.57
FZ - Glutathione in Methanol | 239.155 | 248.32 | 240.925 | 245.765 | 243.905 | 239.745 | 227.415 | 241.815 | 232.53
FZ - pH2 Water | 235.16 | 256.685 | 242.84 | 247.825 | 235.8 | 242.98 | 233.63 | 238.5 | 235.335
FZ - Water | 254.815 | 263.025 | 241.16 | 257.58 | 251.065 | 240.53 | 244.68 | 238.305 | 235.755
FZ - Glutathione in Water | 236.76 | 236.495 | 247.465 | 252.63 | 240.815 | 234.005 | 233.85 | 236.71 | 225.68
RF -Methanol | 248.25 | 248.53 | 280.78 | 252.86 | 250.45 | 246.275 | 261.245 | 242.69 | 242.95
RF - Glutathione in Methanol | 251.38 | 232.83 | 246.3 | 250.47 | 245.5 | 241.295 | 252.36 | 246.4 | 238.655
RF - pH2 Water | 232.915 | 247.485 | 240.72 | 252.39 | 246.485 | 234.095 | 229.16 | 238.615 | 229.625
RF - Water | 247.74 | 238.76 | 247.71 | 248.26 | 238.86 | 244.51 | 238.045 | 236.245 | 238.64
RF - Glutathione in Water | 249.18 | 252.8 | 239.4 | 249.3 | 235.47 | 237.1 | 237.495 | 236.155 | 229.46
RT -Methanol | 264.21 | 270.44 | 261.635 | 246.93 | 252.825 | 250.7 | 256.33 | 237.73 | 247.425
RT - Glutathione in Methanol | 243.315 | 248.3 | 239.585 | 239.29 | 239.185 | 242.97 | 239.245 | 238.895 | 228.375
RT - pH2 Water | 249.025 | 249.47 | 248.26 | 255.845 | 251.495 | 239.61 | 244.82 | 238.04 | 233.22
RT - Water | 255.265 | 249.06 | 252.485 | 247.6 | 264.07 | 243.455 | 256.735 | 243.725 | 248.825
RT - Glutathione in Water | 251.63 | 246.69 | 236.715 | 245.01 | 248.33 | 235.91 | 244.995 | 226.815 | 230.66
MBT | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 319.725 | 312.545 | 306.165 | 327.97 | 326 | 329.48 | 328.5 | 297.99 | 366.44
FZ - Glutathione in Methanol | 314.54 | 341.215 | 323.325 | 338.075 | 351.1 | 355.08 | 351.045 | 335.205 | 425.52
FZ - pH2 Water | 287.43 | 283.345 | 256.08 | 291.69 | 280.735 | 257.605 | 275.755 | 246.7 | 293.935
FZ - Water | 288.76 | 289.655 | 255.88 | 271.935 | 188.67 | 169.215 | 91.0755 | 77.1645 | 21.2015
FZ - Glutathione in Water | 308.6 | 320.86 | 326.675 | 333.06 | 345.235 | 334 | 354.89 | 321.595 | 422.765
RF -Methanol | 317.16 | 308.74 | 332.575 | 346.125 | 350.95 | 324.43 | 378.91 | 299.375 | 408.55
RF - Glutathione in Methanol | 320.475 | 318.75 | 330.83 | 357.735 | 348.23 | 363.72 | 412.505 | 339.28 | 492.355
RF - pH2 Water | 275.93 | 280.2 | 266.67 | 298.84 | 287.31 | 245.66 | 260.775 | 218.92 | 227.49
RF - Water | 292.525 | 298.375 | 274.095 | 224.32 | 53.6695 | 53.3225 | 10.7584 | 10.5555 | 3.8034
RF - Glutathione in Water | 301.325 | 333.855 | 307.43 | 341.01 | 332.075 | 295.785 | 383.675 | 337.965 | 464.225
RT -Methanol | 336.71 | 343.885 | 318.265 | 319.71 | 290.56 | 298.185 | 336.705 | 259.21 | 294.925
RT - Glutathione in Methanol | 324.12 | 340.16 | 328.31 | 353.045 | 351.065 | 364.065 | 402.785 | 330.46 | 439.54
RT - pH2 Water | 285.08 | 291.025 | 275.315 | 281.33 | 249.275 | 211.19 | 162.415 | 151.045 | 108.545
RT - Water | 293.105 | 252.535 | 208.905 | 99.3525 | 16.4855 | 13.541 | 3.9741 | 5.0395 | 6.5074
RT - Glutathione in Water | 317.62 | 329.525 | 254.065 | 340.24 | 343.165 | 338.42 | 391.075 | 315.47 | 435.66
TMQ | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 224.47 | 251.5 | 249.395 | 229.105 | 249.325 | 242.69 | 192.33 | 139.35 | 225.495
FZ - Glutathione in Methanol | 210.55 | 228.245 | 221.58 | 200.8 | 231.945 | 224.085 | 169.575 | 132.765 | 236.135
FZ - pH2 Water | 164.055 | #DIV/0! | #DIV/0! | 95.952 | 75.7235 | 57.8065 | 37.388 | 35.9175 | 40.4015
FZ - Water | 214.005 | 243.38 | 228.53 | 209.605 | 218.7 | 204.685 | 158.805 | 109.76 | 139.28
FZ - Glutathione in Water | 213.42 | 207.005 | 204.155 | 199.1 | 232.365 | 202.445 | 172.525 | 116.67 | 154.44
RF -Methanol | 229.645 | 247.615 | 269.83 | 239.605 | 262.52 | 233.09 | 242.015 | 136.51 | 242.055
RF - Glutathione in Methanol | 226.335 | 215.815 | 226.155 | 221.03 | 249.245 | 223.14 | 215.99 | 132.48 | 231.425
RF - pH2 Water | 174.25 | #DIV/0! | #DIV/0! | 92.743 | 69.242 | 30.399 | 32.84 | 20.939 | 16.3675
RF - Water | 217.72 | 233.595 | 230.325 | 214.9 | 194.13 | 183.135 | 163.455 | 110.565 | 140.775
RF - Glutathione in Water | 226.555 | 222.675 | 198.665 | 220.895 | 228.445 | 195.665 | 196.565 | 114.585 | 134.58
RT -Methanol | 254.025 | 263.19 | 266.63 | 258.16 | 247.805 | 241.385 | 258.355 | 147.505 | 245.935
RT - Glutathione in Methanol | 224.85 | 233.38 | 214.005 | 231.095 | 239.17 | 206.785 | 198.875 | 108.345 | 159.975
RT - pH2 Water | 191.39 | 102.132 | #DIV/0! | 76.992 | 49.594 | 33.839 | 23.658 | #DIV/0! | 8.3318
RT - Water | 232.89 | 226.45 | 235.815 | 242.22 | 243.7 | 217.505 | 227.51 | 127.305 | 172.915
RT - Glutathione in Water | 232.955 | 229.9 | 198.885 | 224.88 | 213.4 | 165.635 | 169.22 | 79.6335 | 92.507
2,2,4-trimethyl-1,2,3,4-tetrahydroquinoline | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 224.325 | 247.68 | 241.67 | 241.15 | 251.015 | 241.48 | 220.975 | 216.345 | 214.62
FZ - Glutathione in Methanol | 222.005 | 236.555 | 224.835 | 228.42 | 234.25 | 228.87 | 216.215 | 222.45 | 219.935
FZ - pH2 Water | 211.4 | 209.46 | 194.815 | 208.505 | 204.14 | 191.865 | 188.155 | 184.555 | 179.005
FZ - Water | 219.26 | 250 | 223.185 | 226.59 | 219.695 | 216.82 | 209.17 | 193.445 | 124.5
FZ - Glutathione in Water | 218.185 | 227.355 | 222.11 | 228.16 | 237.02 | 231.34 | 223.955 | 214.28 | 151.31
RF -Methanol | 227.15 | 244.415 | 259.065 | 242.49 | 245.535 | 239.78 | 245.98 | 226.16 | 215.145
RF - Glutathione in Methanol | 234.03 | 222.65 | 223.905 | 226.74 | 234.45 | 231.765 | 246.23 | 228.16 | 213.195
RF - pH2 Water | 199.845 | 220.65 | 202.315 | 210.17 | 200.755 | 173.23 | 171.705 | 171.83 | 149.6
RF - Water | 229.315 | 234.14 | 227.23 | 218.625 | 199.61 | 197.895 | 199.705 | 181.795 | 118.12
RF - Glutathione in Water | 231.545 | 252.6 | 216.37 | 240.41 | 231.645 | 230.5 | 245.925 | 219.125 | 138.825
RT -Methanol | 252.37 | 275.135 | 251.32 | 236.63 | 236.345 | 238.935 | 251.495 | 218.105 | 223.465
RT - Glutathione in Methanol | 223.755 | 247.85 | 223.955 | 234.58 | 228.695 | 239.04 | 230.64 | 215.04 | 208.89
RT - pH2 Water | 222.185 | 230.79 | 203.305 | 205.765 | 192.545 | 190.14 | 190.755 | 179.64 | 172.13
RT - Water | 240.65 | 243.97 | 233.17 | 225.495 | 234.59 | 215.575 | 232.245 | 201.56 | 147.16
RT - Glutathione in Water | 239.4 | 243.9 | 218.885 | 232.615 | 243.18 | 228.665 | 235.73 | 198.815 | 137.705
4-ADPA | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 250.625 | 279.385 | 287.96 | 301.3 | 284.64 | 288.045 | 266.845 | 259.535 | 257.68
FZ - Glutathione in Methanol | 240.02 | 248.34 | 258.49 | 277.74 | 272.275 | 266.055 | 255.19 | 248.81 | 258.75
FZ - pH2 Water | 170.915 | 53.0425 | 37.027 | 48.9405 | 80.4905 | 44.1575 | 66.4595 | 38.403 | 30.6365
FZ - Water | 233.445 | 242.12 | 192.96 | 220.16 | 135.455 | 100.65 | 66.591 | 48.032 | 34.074
FZ - Glutathione in Water | 357.92 | 366.795 | 360.445 | 400.765 | 410.655 | 399.865 | 373.255 | 357.295 | 308.815
RF -Methanol | 254.63 | 284.21 | 307.19 | 306.83 | 296.71 | 281.68 | 285.22 | 262.4 | 256.55
RF - Glutathione in Methanol | 256.15 | 259.61 | 264.675 | 282.465 | 285.21 | 279.325 | 282.625 | 167.99 | 239.835
RF - pH2 Water | 176.385 | 43.976 | 39.436 | 57.088 | 104.772 | 35.9435 | 58.9755 | 24.9115 | 12.7825
RF - Water | 235.165 | 247.165 | 192.065 | 133.55 | 45.349 | 34.6365 | 37.3275 | 38.197 | 37.378
RF - Glutathione in Water | 381.85 | 380.36 | 345.38 | 393.35 | 378.67 | 348.255 | 355.555 | 308.345 | 257.085
RT -Methanol | 277.18 | 294.835 | 289.3 | 286.145 | 272.43 | 277.315 | 284.065 | 244.805 | 237.235
RT - Glutathione in Methanol | 258.765 | 275.615 | 203.12 | 256.71 | 219.38 | 156.8 | 114.5945 | 11.7705 | 16.964
RT - pH2 Water | 192.23 | 69.2855 | 38.978 | 50.256 | 67.4305 | 11.433 | 11.3893 | #DIV/0! | #DIV/0!
RT - Water | 251.68 | 210.285 | 158.23 | 64.17 | 26.594 | 24.1995 | 33.808 | 31.0095 | 33.804
RT - Glutathione in Water | 398.425 | 371.455 | 346.02 | 303.625 | 238.13 | 139.635 | 87.632 | 25.0015 | #DIV/0!
4-HDPA | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 358.09 | 319.35 | 327.455 | 354.835 | 350.84 | 355.565 | 236.62 | 177.84 | 345.64
FZ - Glutathione in Methanol | 341.095 | 319.105 | 302.08 | 326.835 | 402.075 | 374.135 | 226.665 | 178.695 | 400.17
FZ - pH2 Water | 3.0891 | 1.7056 | 1.1543 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3.6625
FZ - Water | 360.395 | 373.09 | 417 | 397.32 | 345.955 | 400.16 | 189.22 | 175.16 | 225.2
FZ - Glutathione in Water | 312 | 264.315 | 267.07 | 289.05 | 346.925 | 322.18 | 225.02 | 161.66 | 322.48
RF -Methanol | 363.79 | 342.69 | 342.49 | 360.69 | 386.625 | 342.8 | 255.43 | 177 | 347.33
RF - Glutathione in Methanol | 371.2 | 300.795 | 291.635 | 338.275 | 371.755 | 367.185 | 276.375 | 192.4 | 399.54
RF - pH2 Water | 3.4183 | 1.7081 | 1.3074 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3.4397
RF - Water | 374.07 | 330.855 | 403.235 | 439.185 | 349.065 | 353.685 | 209.98 | 166.055 | 287.53
RF - Glutathione in Water | 335.27 | 301.295 | 256.065 | 308.31 | 342.095 | 317.01 | 231.225 | 154.245 | 286.8
RT -Methanol | 385.94 | 336.19 | 335.39 | 354.115 | 340.155 | 325.03 | 242.54 | 163.725 | 246.71
RT - Glutathione in Methanol | 359.55 | 321.775 | 296.38 | 355.545 | 367.555 | 360.685 | 265.88 | 180.16 | 305.97
RT - pH2 Water | 5.3347 | 1.9585 | 1.3234 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 3.2024
RT - Water | 361.92 | 414.415 | 462.81 | #DIV/0! | 482.4 | 433.055 | 312.18 | 183.285 | 243.48
RT - Glutathione in Water | 359.8 | 293.95 | 274.3 | 305.065 | 294.27 | 252.12 | 178.07 | 81.633 | 46.122
N-Cyclohexyl-N-methylcyclohexanamine | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 218.985 | 243.31 | 230.95 | 220.75 | 246.63 | 246.895 | 232.39 | 232.485 | 228.68
FZ - Glutathione in Methanol | 244.825 | 226.585 | 226.675 | 217.415 | 236.05 | 235.78 | 216.28 | 235.48 | 224.64
FZ - pH2 Water | 248.48 | 236.045 | 229.765 | 231.855 | 234.955 | 234.855 | 224.475 | 233.58 | 229.425
FZ - Water | 220.35 | 256.95 | 235.14 | 220.675 | 242.165 | 236.855 | 242.855 | 224.48 | 232.01
FZ - Glutathione in Water | 249.82 | 217.025 | 233.025 | 232.03 | 237.885 | 236.935 | 222.7 | 234.15 | 226.965
RF -Methanol | 232.96 | 229.56 | 243.605 | 221.36 | 241.945 | 247.335 | 235.16 | 232.765 | 233.06
RF - Glutathione in Methanol | 252.7 | 229.88 | 232.155 | 227.03 | 238.33 | 237.32 | 237.31 | 234.795 | 229.595
RF - pH2 Water | 238.89 | 236.245 | 227.075 | 235.24 | 241.525 | 233.985 | 223.05 | 225.705 | 218.36
RF - Water | 226.425 | 237.715 | 242.595 | 224.875 | 233.84 | 244.02 | 227.005 | 225.77 | 229.39
RF - Glutathione in Water | 258.165 | 250.99 | 236.405 | 240.59 | 235.255 | 232.525 | 237.895 | 233.08 | 225.825
RT -Methanol | 250.915 | 239.445 | 232.81 | 225.205 | 231.725 | 248.23 | 231.51 | 222.98 | 220.065
RT - Glutathione in Methanol | 259.2 | 246.24 | 222.225 | 228.26 | 245.985 | 237.69 | 224.11 | 232.31 | 218.31
RT - pH2 Water | 258.25 | 239.71 | 243.1 | 241.695 | 240.955 | 242.17 | 238.97 | 231.485 | 226.515
RT - Water | 254.24 | 239.315 | 243.185 | 227.365 | 260.33 | 237.68 | 247.215 | 226.935 | 240.99
RT - Glutathione in Water | 272.69 | 234.305 | 226.85 | 241.41 | 253.41 | 238.965 | 232.555 | 216.32 | 231.5
4s DPA | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 255.68 | 262.365 | 279.935 | 240.705 | 256.96 | 261.31 | 227.87 | 176.96 | 258.275
FZ - Glutathione in Methanol | 216.235 | 217.635 | 210.825 | 185.415 | 219.6 | 209.94 | 173.025 | 132.99 | 177.525
FZ - pH2 Water | 74.9895 | 72.9395 | 33.6415 | 45.1715 | 40.664 | 16.2925 | 13.9535 | 6.3062 | 0.54225
FZ - Water | 246.93 | 257.62 | 236.875 | 209.985 | 238.28 | 223.885 | 202.24 | 160.375 | 231.59
FZ - Glutathione in Water | 0.039435 | 1.0134 | -0.043076 | -0.15212 | 0.0055575 | -0.023975 | #DIV/0! | #DIV/0! | -0.10157
RF -Methanol | 256.795 | 255.35 | 301.315 | 255.79 | 266.085 | 251.12 | 273.595 | 175.7 | 274.535
RF - Glutathione in Methanol | 243.835 | 224.64 | 209.89 | 199.505 | 207.41 | 172.025 | 167.06 | 95.3565 | 84.755
RF - pH2 Water | 101.605 | 93.5045 | 40.4185 | 21.5085 | 8.1768 | 1.2149 | #DIV/0! | #DIV/0! | 0.10657
RF - Water | 258.21 | 232.995 | 241.945 | 221.99 | 229.735 | 233.92 | 224.815 | 152.98 | 235.045
RF - Glutathione in Water | 0.13492 | 1.9944 | -0.020374 | #DIV/0! | -0.073429 | -0.086832 | #DIV/0! | #DIV/0! | -0.11943
RT -Methanol | 275.875 | 279.42 | 271.37 | 271.96 | 258.215 | 256.095 | 300.965 | 171.145 | 270.57
RT - Glutathione in Methanol | 254.825 | 224.155 | 207.74 | 143.325 | 92.465 | 50.0525 | 30.547 | 6.7599 | 1.4515
RT - pH2 Water | 131.85 | 54.516 | 9.7758 | -0.053481 | 0.27192 | 0.26943 | #DIV/0! | #DIV/0! | 0.059544
RT - Water | 259.5 | 238.83 | 244.265 | 236.55 | 238.77 | 219.645 | 236.11 | 144.91 | 203.86
RT - Glutathione in Water | 2.0755 | -0.050251 | #DIV/0! | #DIV/0! | -0.071404 | -0.096376 | #DIV/0! | #DIV/0! | -0.1105
DPG | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 224.85 | 253.74 | 237.185 | 237.93 | 231.545 | 235.215 | 233.65 | 228.845 | 237.355
FZ - Glutathione in Methanol | 230.74 | 232.305 | 226.37 | 231.845 | 238.03 | 226.51 | 233.09 | 234.395 | 239.985
FZ - pH2 Water | 229.05 | 248.635 | 235.225 | 243.03 | 231.545 | 230.88 | 233.36 | 231.155 | 251.88
FZ - Water | 242.1 | 248.21 | 234.9 | 239.135 | 246.33 | 225.525 | 234.97 | 227.12 | 244.365
FZ - Glutathione in Water | 228.56 | 231.13 | 242.245 | 232.815 | 228.94 | 227.045 | 228.625 | 230.84 | 237.26
RF -Methanol | 223.135 | 224.175 | 259.02 | 232.395 | 241.79 | 228.955 | 246.59 | 228.66 | 241.46
RF - Glutathione in Methanol | 247.14 | 214.51 | 232.25 | 233.285 | 243.925 | 234.94 | 236.095 | 234.115 | 247.645
RF - pH2 Water | 232.805 | 247.45 | 235.26 | 248.615 | 235 | 225.99 | 223.715 | 227.97 | 226.485
RF - Water | 247.455 | 234.995 | 232.52 | 243.32 | 217.785 | 226.245 | 230.37 | 229.495 | 242.27
RF - Glutathione in Water | 246.49 | 240.725 | 238.55 | 241.84 | 231.61 | 230.28 | 237.09 | 234.3 | 234.385
RT -Methanol | 251.39 | 241.995 | 249.265 | 230.205 | 231.825 | 241.72 | 232.005 | 232.97 | 246.94
RT - Glutathione in Methanol | 252.02 | 228.13 | 231.74 | 233.525 | 239.715 | 242.4 | 235.33 | 233.575 | 226.14
RT - pH2 Water | 244.965 | 241.195 | 236.005 | 242.66 | 236.88 | 233.54 | 244.19 | 230.45 | 241.7
RT - Water | 261.485 | 235.735 | 237.335 | 237.295 | 238.515 | 224.415 | 239.905 | 226.805 | 248.795
RT - Glutathione in Water | 257.285 | 243.43 | 226.17 | 250.365 | 239.78 | 232.655 | 230.705 | 224.88 | 248.77
N-phenyl-1-naphthylamine | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 232.855 | 216.265 | 199.115 | 225.455 | 234.84 | 201.99 | 251.72 | 236.035 | 228.265
FZ - Glutathione in Methanol | 211.73 | 240.835 | 214.74 | 216.34 | 237.415 | 233.315 | 258.685 | 215.67 | 229.485
FZ - pH2 Water | 7.8149 | #DIV/0! | #DIV/0! | 0.25996 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 0.41465
FZ - Water | 143.735 | 96.3925 | 174.145 | 212.59 | 247.07 | 183.49 | 179.35 | 306.255 | 260.09
FZ - Glutathione in Water | 131.255 | 183.4 | 117.925 | 142.125 | 92.9745 | 141.435 | 153.425 | 170.265 | 173.445
RF -Methanol | 226.47 | 233.58 | 220.795 | 223.515 | 205.63 | 201.795 | 272.565 | 217.625 | 217.39
RF - Glutathione in Methanol | 232.46 | 232.365 | 255.975 | 213.69 | 234.285 | 215.915 | 242.645 | 240.025 | 232.355
RF - pH2 Water | 6.5106 | #DIV/0! | #DIV/0! | 0.17069 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 1.0734
RF - Water | 192.26 | 99.4495 | 115.486 | 78.717 | 81.9725 | 76.291 | 101.0495 | 134.1015 | 195.555
RF - Glutathione in Water | 146.375 | 108.495 | 115.5 | 109.965 | 88.8055 | 141.59 | 121 | 127.545 | 135.415
RT -Methanol | 240.655 | 363.275 | 198.885 | 223.085 | 221.225 | 227.955 | 254.7 | 243.245 | 229.87
RT - Glutathione in Methanol | 253.985 | 202.465 | 246.89 | 209.02 | 218.375 | 226.245 | 252.245 | 278.63 | 229.415
RT - pH2 Water | 8.1585 | #DIV/0! | #DIV/0! | 0.507 | 1.7075 | 3.6936 | 10.9628 | 26.1875 | 53.982
RT - Water | 164.39 | 128.065 | 95.0155 | 112.34 | 124.43 | 106.6475 | 170.245 | 104.0165 | 94.9625
RT - Glutathione in Water | 140.87 | 157.125 | 139.105 | 161.305 | 144.84 | 127.525 | 163.34 | 158.475 | 149.41
24MoBT | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 244.1 | 234.775 | 249.52 | 214.53 | 234.045 | 233.28 | 177.295 | 140.165 | 221
FZ - Glutathione in Methanol | 228.675 | 214.32 | 216.92 | 197.06 | 222.065 | 229.29 | 159.125 | 135.455 | 221.965
FZ - pH2 Water | 257.275 | 260.15 | 252.175 | 233.75 | 242.675 | 235.5 | 189.03 | 149.74 | 234.93
FZ - Water | 244.525 | 240.355 | 240.59 | 212.395 | 240.06 | 229.77 | 177.22 | 149.13 | 228.01
FZ - Glutathione in Water | 253.51 | 229.56 | 239.315 | 216.855 | 237.78 | 228.42 | 164.965 | 134.04 | 232.545
RF -Methanol | 238.435 | 224.685 | 258.76 | 223.785 | 243.295 | 236.11 | 199.87 | 153.135 | 227.15
RF - Glutathione in Methanol | 241.91 | 212.34 | 215.62 | 206.505 | 232.73 | 227.41 | 199.585 | 141.27 | 231.1
RF - pH2 Water | 252.745 | 240.675 | 252.46 | 248.59 | 250.22 | 230.67 | 194.13 | 145.76 | 242.375
RF - Water | 253.455 | 232.8 | 246.695 | 220.46 | 223.85 | 229.125 | 184.665 | 145.85 | 230.525
RF - Glutathione in Water | 252.655 | 237.035 | 232.9 | 229.975 | 232.65 | 222.13 | 196.3 | 141.085 | 237.89
RT -Methanol | 266.805 | 250.13 | 248.525 | 231.34 | 230.255 | 234.805 | 211.35 | 146.03 | 231.56
RT - Glutathione in Methanol | 236.025 | 228.205 | 224.32 | 219.205 | 229.95 | 228.385 | 187.1 | 139.795 | 229.83
RT - pH2 Water | 250.875 | 252.48 | 260.34 | 260.125 | 251.08 | 245.85 | 216.97 | 152.615 | 243.09
RT - Water | 253.055 | 238.52 | 236.34 | 230.69 | 250.035 | 231.44 | 214.655 | 154.995 | 239.475
RT - Glutathione in Water | 257.71 | 240.155 | 248.535 | 250.265 | 251.365 | 227.895 | 210.005 | 135.32 | 241.155
IPPD | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 272.35 | 270.415 | 282.33 | 318.88 | 278.11 | 296.44 | 305.25 | 292.685 | 293.4
FZ - Glutathione in Methanol | 231.08 | 199.23 | 199.84 | 241.875 | 228.77 | 213.87 | 228.42 | 212.61 | #N/A
FZ - pH2 Water | 218.795 | 57.145 | 19.721 | 67.01 | 111.69 | 35.0555 | 73.321 | 24.011 | #N/A
FZ - Water | 145.005 | 74.388 | 18.054 | 66.1185 | 70.95 | 14.625 | 29.822 | 3.2447 | #N/A
FZ - Glutathione in Water | 239.39 | 196.305 | 180.835 | 230.295 | 229.52 | 224.36 | 228.47 | 215.905 | 169.52
RF -Methanol | 276.3 | 280.485 | 303.005 | 319.74 | 297.77 | 280.98 | 315.715 | 278.62 | 265.77
RF - Glutathione in Methanol | 246.215 | 213.63 | 217.12 | 245.195 | 222.67 | 192.985 | 218.94 | 61.212 | 186.77
RF - pH2 Water | 219.905 | 56.2915 | 27.6755 | 87.9515 | 129.89 | 27.0855 | 57.415 | 13.85 | 87.398
RF - Water | 191.815 | 131.555 | 26.3755 | 33.4455 | 14.6555 | 1.1207 | #DIV/0! | #DIV/0! | #DIV/0!
RF - Glutathione in Water | 255.93 | 209.195 | 177.745 | 243.78 | 202.59 | 191.8 | 207.065 | 169.52 | 113.59
RT -Methanol | 310.445 | 291.235 | 294.155 | 306.73 | 268.95 | 263.175 | 293.53 | 219.925 | 154.64
RT - Glutathione in Methanol | 264.755 | 215.03 | 97.874 | 125.16 | 50.504 | 14.1456 | 10.352 | #DIV/0! | 194.91
RT - pH2 Water | 240.49 | 117.45 | 34.7635 | 78.0345 | 60.9045 | 8.0628 | 2.496 | #DIV/0! | #DIV/0!
RT - Water | 218.815 | 80.843 | 7.0069 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RT - Glutathione in Water | 260.945 | 204.215 | 171.735 | 179.23 | 116 | 61.9475 | 33.627 | 3.5998 | #DIV/0!
NCBA | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 235.455 | 242.195 | 257.695 | 235.69 | 249.705 | 250.84 | 214.93 | 167.015 | 230.66
FZ - Glutathione in Methanol | 239.96 | 227.105 | 222.825 | 205.41 | 248.375 | 231.595 | 192.6 | 164.705 | 239.365
FZ - pH2 Water | 251.155 | 254.205 | 241.19 | 237.705 | 241.82 | 245.515 | 207.455 | 152.525 | 231.685
FZ - Water | 213.98 | 220.69 | 210.475 | 192.705 | 227.915 | 210.315 | 188.77 | 143.355 | 204.835
FZ - Glutathione in Water | 228.98 | 212.14 | 223.865 | 199.835 | 236.405 | 222.85 | 194.965 | 144.845 | 221.28
RF -Methanol | 248.495 | 232.795 | 263.05 | 246.605 | 260.12 | 237.06 | 250.385 | 174.44 | 235.025
RF - Glutathione in Methanol | 250.565 | 224.455 | 231.4 | 225.085 | 257.4 | 237.135 | 244.305 | 159.95 | 234.47
RF - pH2 Water | 245.725 | 252.03 | 253.385 | 245.135 | 257.555 | 235.075 | 234.175 | 161.81 | 227.02
RF - Water | 236.14 | 209.705 | 210.985 | 208.09 | 211.16 | 209.97 | 204.71 | 143.215 | 207.52
RF - Glutathione in Water | 241.23 | 217.59 | 214.355 | 220.675 | 234.975 | 217.39 | 219.355 | 144.585 | 219.655
RT -Methanol | 254.925 | 253.695 | 255.875 | 247.83 | 255.575 | 248.605 | 272.505 | 171.265 | 238.97
RT - Glutathione in Methanol | 240.115 | 234.97 | 218.85 | 241.41 | 250.37 | 257.49 | 252.435 | 148.33 | 234.055
RT - pH2 Water | 245.57 | 246.525 | 248.75 | 263.165 | 264.575 | 248.5 | 254.93 | 162.515 | 230.775
RT - Water | 221.9 | 213.275 | 217.075 | 219.335 | 232.325 | 216.025 | 249.285 | 153.4 | 214.165
RT - Glutathione in Water | 240.3 | 225.245 | 227.835 | 233.775 | 230.17 | 227.135 | 235.99 | 141.575 | 216.465
DOTG | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 219.41 | 227.845 | 224.57 | 229.935 | 220.435 | 225.025 | 224.95 | 232.115 | 211.66
FZ - Glutathione in Methanol | 223.59 | 220.78 | 214.545 | 216.39 | 222.215 | 211.69 | 225.705 | 237.55 | 214.965
FZ - pH2 Water | 212.545 | 224 | 222.02 | 227.475 | 218.625 | 213.9 | 229.535 | 239.575 | 214.36
FZ - Water | 223.485 | 226.465 | 222.62 | 228.54 | 225.7 | 216.49 | 246.335 | 232.775 | 213.185
FZ - Glutathione in Water | 223.99 | 204.46 | 225.235 | 230.27 | 215.88 | 220.885 | 223.12 | 237.66 | 210.465
RF -Methanol | 214.95 | 222.41 | 245.16 | 228.81 | 218.92 | 218.605 | 240.26 | 227.495 | 213.03
RF - Glutathione in Methanol | 237.14 | 208.235 | 215.515 | 225.345 | 225.7 | 217.03 | 235.24 | 237.895 | 216.82
RF - pH2 Water | 235.985 | 228.85 | 213.13 | 236.5 | 208.505 | 215.62 | 229.77 | 231.785 | 213.14
RF - Water | 209.74 | 209.46 | 213.365 | 224.985 | 211.125 | 227.96 | 232.525 | 222.67 | 215.75
RF - Glutathione in Water | 223.865 | 219.06 | 215.835 | 234.63 | 211.155 | 215.545 | 237.965 | 243.36 | 213.365
RT -Methanol | 239.005 | 232.915 | 221.825 | 231.125 | 220.805 | 223.37 | 244.995 | 218.345 | 213.86
RT - Glutathione in Methanol | 232.42 | 216.775 | 221.37 | 221.365 | 210.915 | 222.7 | 235.52 | 232.87 | 209.685
RT - pH2 Water | 241.46 | 229.925 | 215.34 | 231.08 | 219.56 | 218.55 | 225.875 | 226.595 | 214.245
RT - Water | 230.095 | 221.955 | 221.02 | 225.62 | 228.32 | 214.785 | 240.67 | 229.295 | 214.53
RT - Glutathione in Water | 241.1 | 210.985 | 228.045 | 228.83 | 215.355 | 219.36 | 232.665 | 216.635 | 217.655
DPPD | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 247.85 | 229.075 | 294.02 | 231.44 | 290.065 | 256.535 | 236.67 | 265.39 | 236.65
FZ - Glutathione in Methanol | 234.81 | 251.675 | 327.585 | 216.83 | 257.8 | 284.31 | 243.05 | 217.455 | 224.115
FZ - pH2 Water | 9.3246 | #DIV/0! | #DIV/0! | #DIV/0! | 2.7453 | #DIV/0! | #DIV/0! | #DIV/0! | 1.3154
FZ - Water | 62.5985 | 39.4095 | 71.268 | 73.9895 | 137.155 | 105.882 | 129.595 | 203.395 | 208.555
FZ - Glutathione in Water | 35.482 | 24.426 | 24.2385 | 22.021 | 11.155 | 30.7955 | 13.485 | 28.253 | 38.0235
RF -Methanol | 239.185 | 274.65 | 290.49 | 222.575 | 255.29 | 258.915 | 271.52 | 231.095 | 228.51
RF - Glutathione in Methanol | 225.1 | 253.35 | 377.12 | 222.435 | 286.615 | 262.335 | 257.895 | 250.71 | 232.86
RF - pH2 Water | 13.084 | #DIV/0! | #DIV/0! | #DIV/0! | 2.8251 | 1.9224 | 2.4902 | 3.6292 | 4.6059
RF - Water | 105.208 | 40.9815 | 75.4525 | 173.39 | 189.21 | 185.12 | 146.805 | 176.2 | 270.635
RF - Glutathione in Water | 42.315 | 11.407 | 14.5705 | 6.654 | 6.951 | 12.463 | 7.142 | 4.9869 | 4.8218
RT -Methanol | 216.54 | 243.185 | 270.06 | 218.69 | 276.195 | 287.865 | 240.99 | 229.775 | 241.375
RT - Glutathione in Methanol | 248.09 | 240.755 | 288.77 | 217.91 | 282.835 | 295.61 | 253.045 | 212.185 | 160.815
RT - pH2 Water | 28.8065 | 1.8342 | 1.3588 | 1.7827 | 6.7819 | 15.5455 | 29.788 | 53.1905 | 133.935
RT - Water | 59.5495 | 106.74 | 176.13 | 170.13 | 186.305 | 130.435 | 156.875 | 76.2855 | 53.4905
RT - Glutathione in Water | 39.431 | 18.484 | 22.1525 | 14.3485 | 3.9703 | 1.6978 | #DIV/0! | #DIV/0! | #DIV/0!
6PPD-Q | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | #N/A | 247.865 | 206.315 | 242.35 | 268.955 | 233.32 | 240.835 | 273.98 | 239.475
FZ - Glutathione in Methanol | #N/A | 290.055 | 232.32 | 247.69 | 234.43 | 266.35 | 239.265 | 231.43 | 230.88
FZ - pH2 Water | #N/A | 226.555 | 235.63 | 183.095 | 208.07 | 217.595 | 184.325 | 201.88 | 215.235
FZ - Water | #N/A | 195.305 | 187.645 | 205.44 | 234.05 | 182.265 | 188.67 | 270.915 | 207.985
FZ - Glutathione in Water | #N/A | 226.79 | 150.305 | 189.63 | 180.075 | 191.76 | 198.315 | 229.59 | 194.685
RF -Methanol | #N/A | 275.375 | 243.52 | 240.505 | 249.405 | 231.12 | 264.86 | 223.855 | 219.675
RF - Glutathione in Methanol | #N/A | 282.41 | 235.02 | 234.045 | 271.465 | 250.99 | 236.215 | 238.7 | 250.63
RF - pH2 Water | #N/A | 209.23 | 217.045 | 194.78 | 220.835 | 220.275 | 213.94 | 187.5 | 214.025
RF - Water | #N/A | 196.855 | 161.385 | 199.33 | 207.845 | 212.67 | 183.23 | 172.04 | 196.845
RF - Glutathione in Water | #N/A | 234.83 | 212.95 | 211.455 | 196.56 | 226.19 | 165.375 | 184.25 | 195.325
RT -Methanol | #N/A | 266.435 | 219.285 | 232.44 | 246.065 | 261.65 | 228.185 | 227.885 | 239.035
RT - Glutathione in Methanol | #N/A | 261.59 | 217.69 | 229.36 | 266.085 | 269.155 | 249.18 | 280.86 | 239.07
RT - pH2 Water | #N/A | 223.96 | 219.245 | 217.555 | 216.11 | 165.35 | 251.84 | 121.23 | 151.37
RT - Water | #N/A | 212.51 | 183.315 | 187.925 | 233.93 | 193.875 | 194.075 | 188.145 | 206.295
RT - Glutathione in Water | #N/A | 186.34 | 212.075 | 193.325 | 223.855 | 188.005 | 195.49 | 204.835 | 209.255
DTPD-Q | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 233.025 | 238.215 | 228.925 | 220.685 | 269.635 | 229.865 | 224.985 | 240.925 | 234.175
FZ - Glutathione in Methanol | 225.265 | 256.665 | 255.86 | 204.62 | 231.96 | 259 | 209.935 | 193.585 | 228.685
FZ - pH2 Water | 200.205 | 16.1495 | 12.6325 | 7.2034 | 10.117 | 9.108 | #DIV/0! | 10.9965 | 8.3744
FZ - Water | 191.79 | 7.0245 | 8.388 | 6.3371 | 10.1177 | #DIV/0! | #DIV/0! | #DIV/0! | 6.7547
FZ - Glutathione in Water | 185.5 | 12.7515 | 10.982 | 6.4864 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | 4.8276
RF -Methanol | 234.835 | 260.22 | 249.46 | 209.405 | 227.43 | 229.93 | 238.63 | 212.63 | 215.19
RF - Glutathione in Methanol | 214.8 | 254.405 | 285.39 | 205.32 | 248.265 | 235.435 | 220.245 | 205.095 | 245.49
RF - pH2 Water | 186.24 | 12.64 | 10.2643 | 8.8309 | 12.4595 | 12.33 | 15.205 | 11.003 | 14.965
RF - Water | 204.55 | 6.9536 | 7.5784 | 4.1455 | 6.1842 | #DIV/0! | #DIV/0! | #DIV/0! | 5.1842
RF - Glutathione in Water | 195.005 | 27.2515 | 16.9255 | 9.0671 | 7.1661 | 8.6737 | #DIV/0! | #DIV/0! | 5.3063
RT -Methanol | 225.69 | 251.12 | 244.83 | 217.97 | 234.33 | 256.895 | 226.27 | 203.955 | 238.16
RT - Glutathione in Methanol | 249.86 | 240.02 | 263.52 | 212.93 | 247.23 | 265.765 | 235.51 | 249.155 | 238.905
RT - pH2 Water | 210.53 | 17.951 | 15.9335 | 19.8835 | 28.9565 | 28.801 | 64.6855 | 57.992 | 99.6895
RT - Water | 194.43 | 8.561 | 9.1783 | 7.4491 | 8.9503 | 7.5844 | 10.9315 | #DIV/0! | 6.9654
RT - Glutathione in Water | 193.355 | 22.392 | 24.6765 | 17.381 | 19.6215 | 16.112 | 16.4775 | 20.195 | 15.2575
HMMM | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 254.395 | 243.43 | 260.205 | 256.18 | 243.125 | 239.215 | 164.275 | 123.135 | 216.24
FZ - Glutathione in Methanol | 229.44 | 211.015 | 226.165 | 217.125 | 208.995 | 218.085 | 142.625 | 118.27 | 216.09
FZ - pH2 Water | -0.091804 | 0.13917 | #DIV/0! | -0.46689 | 0.054051 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
FZ - Water | 265.075 | 253.62 | 254.24 | 248.99 | 253.755 | 233.735 | 164.61 | 133.175 | 225.27
FZ - Glutathione in Water | 34.086 | 88.2305 | 90.442 | 71.1705 | 66.6255 | 54.687 | 40.702 | 12.7185 | 38.1665
RF -Methanol | 261.73 | 231.485 | 272.46 | 277.075 | 238.32 | 244.155 | 196.045 | 128.3 | 222.71
RF - Glutathione in Methanol | 244.44 | 206.675 | 219.85 | 228.36 | 231.77 | 212.265 | 179.3 | 120.095 | 224.19
RF - pH2 Water | 0.079209 | 0.14905 | #DIV/0! | -0.42502 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RF - Water | 269.055 | 244.38 | 254.57 | 274.66 | 234.625 | 234.845 | 168.85 | 128.225 | 222.435
RF - Glutathione in Water | 106.543 | 98.92 | 82.031 | 46.9115 | 20.544 | 9.9268 | 6.4577 | 2.1029 | 2.5976
RT -Methanol | 261.39 | 256.03 | 261.785 | 312.655 | 228.425 | 238.685 | 200.23 | 122.14 | 233.88
RT - Glutathione in Methanol | 233.21 | 210.63 | 215.975 | 258.13 | 214.225 | 214.18 | 174.295 | 111.12 | 205.685
RT - pH2 Water | 0.52191 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
RT - Water | 267.94 | 235.675 | 242.63 | 294.92 | 239.82 | 221.19 | 199.5 | 123.285 | 221.465
RT - Glutathione in Water | 66.9085 | 17.0275 | 1.9041 | 1.3645 | 0.97537 | 0.28065 | #DIV/0! | #DIV/0! | -0.16265
Dicyclohexyamine | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 217.205 | 227.2 | 223.135 | 220.85 | 215.24 | 216.995 | 226.375 | 225.03 | 217.655
FZ - Glutathione in Methanol | 214.335 | 231.07 | 210.885 | 210.22 | 225.64 | 210.09 | 214.49 | 223.275 | 222.955
FZ - pH2 Water | 204.785 | 230.66 | 212.45 | 215.475 | 215.53 | 215.675 | 232.72 | 222.355 | 227.41
FZ - Water | 217.74 | 235.725 | 220.81 | 215.12 | 223.38 | 219.475 | 241.65 | 231.485 | 225.37
FZ - Glutathione in Water | 215.925 | 211.63 | 222.515 | 213.19 | 207.565 | 211.56 | 221.595 | 217.49 | 222.44
RF -Methanol | 207.84 | 229.76 | 249.36 | 219.71 | 216.61 | 205.395 | 243.83 | 224.9 | 222.435
RF - Glutathione in Methanol | 232.925 | 217.68 | 215.01 | 211.86 | 211.125 | 207.955 | 238.24 | 228.505 | 222.645
RF - pH2 Water | 226.63 | 242.385 | 217.115 | 225.085 | 211.81 | 205.255 | 218.445 | 215.81 | 206.6
RF - Water | 206.035 | 223.81 | 210.595 | 209.835 | 209.87 | 219.795 | 230.675 | 222.56 | 228.415
RF - Glutathione in Water | 224.55 | 222.985 | 212.875 | 220.31 | 217.915 | 222.235 | 238.85 | 227.015 | 220.345
RT -Methanol | 231.59 | 237.005 | 221.405 | 221.335 | 219.125 | 216 | 244.74 | 216.585 | 224.38
RT - Glutathione in Methanol | 239.825 | 227.41 | 216.285 | 212.255 | 214.725 | 216.885 | 227.155 | 220.345 | 209.245
RT - pH2 Water | 230.77 | 232.75 | 221.09 | 223.37 | 224.305 | 212.76 | 217.1 | 222.13 | 218.33
RT - Water | 234.235 | 226.07 | 235.585 | 221.185 | 235.46 | 213.84 | 241.45 | 227.34 | 239.07
RT - Glutathione in Water | 240.65 | 225.97 | 231.575 | 224.01 | 227.035 | 214.765 | 230.375 | 212.455 | 218.57

## Table S14
Table S14: Normalized Peak Area for Semi-Quant Compounds
6PPD | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 1.0979 | 0.83383 | 0.90896 | 1.1915 | 0.931 | 0.98549 | 0.931 | 0.98549 | 1.1261
FZ - Glutathione in Methanol | 0.70317 | 0.33333 | 0.44962 | 0.64298 | 0.41988 | 0.34817 | 0.41988 | 0.34817 | 0.16715
FZ - pH2 Water | 0.625 | 0.025075 | 0.0027728 | 0.038571 | 0.1195 | 0.011558 | 0.1195 | 0.011558 | 0.00049927
FZ - Water | 0.073324 | 0.02724 | 0.0095671 | 0.040806 | 0.052552 | 0.01076 | 0.052552 | 0.01076 | 0.00027128
FZ - Glutathione in Water | 0.59428 | 0.34625 | 0.3107 | 0.41677 | 0.46128 | 0.45326 | 0.46128 | 0.45326 | 0.23857
RF -Methanol | 1.0795 | 0.88028 | 0.97257 | 1.2549 | 0.97321 | 0.85196 | 0.97321 | 0.85196 | 0.69688
RF - Glutathione in Methanol | 0.72503 | 0.51378 | 0.45849 | 0.60902 | 0.40237 | 0.25235 | 0.40237 | 0.25235 | 0.01627
RF - pH2 Water | 0.69454 | 0.029388 | 0.0063409 | 0.072794 | 0.15436 | 0.0058856 | 0.15436 | 0.0058856 | 0.00015746
RF - Water | 0.27252 | 0.05556 | 0.013882 | 0.034386 | 0.011937 | 0.00099075 | 0.011937 | 0.00099075 | 6.5895e-05
RF - Glutathione in Water | 0.6387 | 0.34504 | 0.29525 | 0.43473 | 0.38186 | 0.33491 | 0.38186 | 0.33491 | 0.05742
RT -Methanol | 1.1804 | 0.90347 | 0.89002 | 1.2675 | 0.76309 | 0.775 | 0.76309 | 0.775 | 0.32507
RT - Glutathione in Methanol | 0.81346 | 0.44767 | 0.1147 | 0.080291 | 0.0070601 | 0.0003188 | 0.0070601 | 0.0003188 | 1.064e-05
RT - pH2 Water | 0.77511 | 0.13001 | 0.0081185 | 0.053104 | 0.01889 | 0.00021472 | 0.01889 | 0.00021472 | 0.00015436
RT - Water | 0.18523 | 0.061636 | 0.0071204 | 9.8923e-05 | 0.00018947 | 0.00012244 | 0.00018947 | 0.00012244 | 0.00010714
RT - Glutathione in Water | 0.70571 | 0.35703 | 0.25958 | 0.19729 | 0.058843 | 0.0094219 | 0.058843 | 0.0094219 | 0.00034792
DTPD | Day 0 | Day 1 | Day 2 | Day 8 | Day 14 | Day 21 | Day 29 | Day 43 | Day 71
FZ -Methanol | 74.5748 | 65.3997 | 64.3779 | 54.8848 | 59.853 | 51.1185 | 59.853 | 51.1185 | 43.5346
FZ - Glutathione in Methanol | 65.5363 | 77.3013 | 75.6587 | 51.9069 | 56.2501 | 54.6403 | 56.2501 | 54.6403 | 42.6954
FZ - pH2 Water | 0.31385 | 0.015793 | 0.011615 | 0.020125 | 0.12094 | 0.026592 | 0.12094 | 0.026592 | 0.010107
FZ - Water | 4.782 | 5.5875 | 9.8489 | 10.7886 | 17.379 | 10.6953 | 17.379 | 10.6953 | 7.3835
FZ - Glutathione in Water | 0.44001 | 0.16813 | 0.11882 | 0.10014 | 0.09145 | 0.16314 | 0.09145 | 0.16314 | 0.11047
RF -Methanol | 70.2835 | 79.7233 | 75.0626 | 53.2168 | 52.0282 | 48.7788 | 52.0282 | 48.7788 | 40.396
RF - Glutathione in Methanol | 69.0636 | 81.941 | 87.9245 | 51.6575 | 57.9136 | 51.2792 | 57.9136 | 51.2792 | 34.412
RF - pH2 Water | 0.62155 | 0.024841 | 0.018728 | 0.029452 | 0.052525 | 0.027186 | 0.052525 | 0.027186 | 0.015982
RF - Water | 10.4247 | 8.0764 | 11.8235 | 16.2301 | 20.5523 | 17.5596 | 20.5523 | 17.5596 | 14.6569
RF - Glutathione in Water | 0.76988 | 0.018119 | 0.021136 | 0.0059775 | 0 | 0 | 0 | 0 | 0.00054168
RT -Methanol | 73.3044 | 69.773 | 69.1296 | 50.7324 | 54.0459 | 57.1276 | 54.0459 | 57.1276 | 39.469
RT - Glutathione in Methanol | 80.8436 | 77.599 | 63.4202 | 42.9503 | 41.0998 | 30.6115 | 41.0998 | 30.6115 | 0.50346
RT - pH2 Water | 2.831 | 0.05123 | 0.015898 | 0.035934 | 0.095918 | 0.12655 | 0.095918 | 0.12655 | 1.1133
RT - Water | 6.2155 | 21.1785 | 20.4742 | 12.8829 | 18.9838 | 12.3693 | 18.9838 | 12.3693 | 2.0332
RT - Glutathione in Water | 0.72243 | 0.085074 | 0.043822 | 0.00076211 | 0.0094049 | 0 | 0.0094049 | 0 | 0