## How to Cite
Thank you for using the SRT!
Please use the information below to cite or acknowledge the SRT.
We (BP4NTA members) hope that it promotes improved reporting practices for NTA research.
To enable future assessment of its impact on NTA reporting, we encourage manuscript authors
and reviewers to follow the citation/acknowledgement instructions below. To enable future
updates to the SRT, please visit www.nontargetedanalysis.org/SRT to provide feedback.
MANUSCRIPT AUTHORS:
If the SRT was used during manuscript preparation, please describe its use in the Methods section of your
manuscript and cite both the Peter et al. manuscript and the SRT itself (PDF or Excel).
Template Language: The NTA Study Reporting Tool (SRT) was used in the preparation of this manuscript
(Peter et al., 2021; 10.6084/m9.figshare.19763482 [PDF] or 10.6084/m9.figshare.19763503 [Excel]).
MANUSCRIPT REVIEWERS & EDITORS:
If the SRT was used during manuscript review, please encourage manuscript authors to acknowledge its
use by including the DOIs in the Acknowledgements section of their manuscript. Optional template
language to use in reviewer or editor comments is provided below. The filled SRT is an anonymized file
and can be attached to reviewer comments and provided to authors directly.
Template Language: The NTA Study Reporting Tool (SRT) was used in the review of this manuscript and
is attached to reviewer comments. More information on the SRT can be found at
www.nontargetedanalysis.org/SRT. To enable future assessment of its impact on NTA reporting,
please acknowledge its use in the Acknowledgements section of your manuscript: “The NTA Study
Reporting Tool (SRT) was used during peer review to document and improve the reporting and
transparency of this study (10.1021/acs.analchem.1c02621; 10.6084/m9.figshare.19763482 [PDF] or
10.6084/m9.figshare.19763503 [Excel]).”
RELEVANT CITATIONS:
Peter, Katherine T., et al. "Nontargeted Analysis Study Reporting Tool: A Framework to Improve
Research Transparency and Reproducibility." Analytical Chemistry 93.41 (2021): 13870-13879.
DOI: 10.1021/acs.analchem.1c02621
BP4NTA (2022): NTA Study Reporting Tool (PDF). figshare. DOI: 10.6084/m9.figshare.19763482
BP4NTA (2022): NTA Study Reporting Tool (Excel). figshare. DOI: 10.6084/m9.figshare.19763503

## SRT-V4
NTA Study Reporting Tool
Please read before using! Purpose: This Tool was developed for use by NTA researchers and reviewers to assess the quality of NTA study reporting. The resulting scores reflect solely whether the reporting is sufficiently complete and transparent (based on current, best available understanding of key study aspects in the environmental, food, exposomics, and metabolomics NTA communities). The Tool is not intended for evaluating the quality of the study or resulting data. The primary goal of using the SRT is to ensure that researchers provide all information about the study in sufficient detail to understand method details, replicate the analyses, enable comparisons across studies, and evaluate how study design choices may impact results. We also encourage two supplementary uses of the Tool: 1) to guide study design - by considering what should be reported, a researcher is inherently encouraged to incorporate the necessary aspects into their study design, and 2) as a portal to relevant reference content and resources, which are available at the BP4NTA website (www.nontargetedanalysis.org) and via active hyperlinks within the SRT. Notes & Guidance: The “Example Information to Report” column provides a brief list of representative items relevant to each sub-category - not all are required or necessary for every study, especially given differences across studies in different fields (e.g., environmental vs. metabolomics) and varied study goals (e.g., toxicant discovery vs. biological analysis). Researchers and reviewers should use their expertise and discretion to determine which aspects pertain to a given study, and whether additional details beyond those explicitly listed are also critical to report. Additionally, certain sub-categories may not be relevant to a given study (hence the option to select "NA"), or may be less critical to the overall quality and completeness of reporting. To evaluate these aspects, we strongly encourage users to consider the study type and objectives (e.g., method development, performance evaluation, field application), as well as conceptual linkages across subcategories (e.g., between Statistical Analysis and Statistical Outputs). We also encourage reviewers to include a rationale, so that authors/researchers may readily address concerns. Please also note that the Sections (Methods and Results) are not intended to indicate the location in a manuscript where the information is reported - a user should consider the manuscript in its entirety (including any supporting documents and/or citations). Users should be aware that some text may be hidden at certain zoom levels - please expand the row/column size as needed. Scoring: NA = not applicable (gray); 3 (blue) is the highest score and 0 (red) is the lowest. See score explanation table for details (www.nontargetedanalysis.org/srt/#srt-score-table).
Section | Category | Sub-Category | Example Information to Report | Score (use drop-down menu) | Rationale for score
Methods | Study Design | Objectives & Scope | • Study goals and hypotheses *** • Scope of the study with respect to use of NTA / suspect screening *** • Expected chemical and/or metabolite coverage of the approach and potential limitations *** (Potential limitations may need to be further devloped but not sure if here or somewehre else) |  | Described in last paragraph of introduction in main text for objectives, hypotheses, and scope
|  | Sample Information & Preparation | • Sample collection/replication, handling/storage, preparation, extraction, & clean-up methods (and related QA practices)*** • Intended use of samples (e.g., method development, compound identification, etc.) *** • Development and intended use of blanks *** |  | Desribed in main text under Methods subheadings "Experimental Design" and "Analytical Methods"
|  | QC Spikes & Samples | • Development of QC spikes/samples (e.g., isotopically labeled standards/spikes, native standard spikes, matrix pools) ** Matrix pools • Intended use of QC spikes/samples (e.g., to monitor instrument performance, data normalization, evaluate signal response range, etc.) and associated calculations and/or visualizations (e.g., mass error of spiked QC compounds, plot of signal response over time, etc.) *** monitor instrument performance |  | NA to this paper
| Data Acquisition | Analytical Sequence | • Sample randomization and use of replicate injections (e.g., technical/analytical replicates, field/laboratory/biological replicates)*** • Inclusion of blanks and QC samples in the acquisition sequence ** • Information about single vs. multiple analytical batches** |  | Describe in Analytical Methods UHPLC-HRMS section and Table S5
|  | Chromatography | • Note: chromatography is intended to include any online separation technique used prior to mass spectrometric detection. • Instrument specifications • Method settings (e.g., column/guard, mobile phases, gradient, injection techniques) |  | Describe in Analytical Methods UHPLC-HRMS section and Table S2
|  | Mass Spectrometry | • Instrument specifications • Instrument calibration and/or tuning procedures • Method settings (e.g., acquisition parameters, such as polarity, resolution, data-dependent vs. data-independent) |  | Describe in Analytical Methods UHPLC-HRMS section and Tables S3 and S4
| Data Processing & Analysis | Data Processing | • File conversion information (e.g., to open-source format, centroiding) • Software program(s) used • Workflow steps (e.g., peak picking, RT calibration, alignment, gap filling) and settings • Feature detection thresholds (e.g., replicate detection criteria; min height, area, or S/N levels; comparison to occurrence/abundance in blanks) • Data correction or normalization methods (e.g., peak area/height normalization or scaling, blank subtraction) |  | Described in Data processing and analysis section, Table S6, and Figures S4 and S5
|  | Statistical & Chemometric Analysis | • Software programs(s)/package(s) used & samples/sample groups to which analyses were applied • Basic statistical analysis method goals (e.g., summarize data, evaluate variability, hypothesis testing, identify outliers), type (e.g., Wilcoxon rank sum test, Chi-square test, dispersion ratio evaluation, Spearman/Pearson evaluation), assumptions, and settings/thresholds • Chemometric analysis method goals (e.g., prioritize features, compare/classify samples, evaluate relationships between features), type (e.g., differential analysis, principal component analysis, hierarchical clustering, dimensionality reduction, metabolomic pathway analysis), assumptions, and settings/thresholds |  | Described in Data processing and analysis section
|  | Annotation & Identification | • Software program(s) used (or description of manual annotation/identification efforts) • Libraries and databases used (including details such as chemical coverage, resolution, metadata inclusion; information about in-house databases) • Workflow steps (e.g., formula assignment, suspect screening, MS/MS spectral interpretation or library matching) • Workflow methods & settings (e.g., formula prediction method, scoring algorithms; mass error/RT tolerances, accepted match scores) |  | Described in Data processing and analysis section
Results | Data Outputs | Statistical & Chemometric Outputs | • Basic statistical outputs (e.g., adj. p-values, standard deviations, test statistics) • Results of chemometric analyses (e.g., reported classifications/groupings of features or samples, outlier removal, observed trends in the data, metabolomic pathway analysis) • Visuals/plots (e.g., Venn diagrams, heatmaps, clustering dendrograms, volcano plots, box plots, network diagrams, PCA and loading plots, molecular network diagrams) • New statistical metrics, algorithms, packages, and/or scripts |  | Described in Data processing and analysis. Shown in Figure 1 (HCA), use of cos(q) metric
|  | Identification & Confidence Levels | • Reported identifications and associated confidence levels (e.g., levels described by Schymanski et al., ES&T, 2014) • Supporting data for annotation/identification (e.g., formula match scores, fine isotope pattern, retention time match, MS/MS match scores, source of MS/MS spectra) • For features with lower confidence IDs (i.e., not standard-confirmed), proposed tentative structures and other annotated data • Semi-quantification or quantification data **NA** • Exported MS/MS spectra (e.g., as a library, database, or deposition into online repository) |  | Described in Data processing and analysis (note that the Schamaski framework was not used), Details of compounds in Tables S8-S13
| QA/QC Metrics | Data Acquisition QA/QC | • Quality: Adherence to QA/QC protocols for sample preparation and data acquisition • Boundary: Description of the potential impacts of methods (sample prep, chromatographic, MS) on observable chemical space • Accuracy: Reported chromatographic and mass accuracy • Precision: Variability of observed retention time, precursor mass error, and abundance |  | Described in data processing and analysis, Anlaytical Methods (UHPLC-HRMS), and reported in Tables S9 and S13
|  | Data Processing & Analysis QA/QC | • Quality: Outcomes of QC checks or filtering steps along the data processing & analysis workflow • Boundary: Impact of data processing & subsequent analysis method(s) on observed chemical space, observed limits of detection/ID • Accuracy: Performance measures (True Positive Rate, False Positive Rate, etc.) for known compounds or samples with known classification • Precision: Reproducibility/repeatability of performance measures for known compounds or samples with known classification; Calculations such as False Discovery Rate, F1 score, etc. |  | Referenced throughout the Methods and Results of main text and in SI, not in one specific location.

## Plot Multiple Scores
Note: Do not change the name of this tab! There is a hidden, linked tab that relies on the static name to plot scores.
|  |  | FILL IN YOUR REVIEWER SCORES HERE (USE DROP-DOWN MENUS) |  |  |  | SCORES WILL BE PLOTTED HERE
Section | Category | Sub-Category | Reviewer 1 | Reviewer 2 | Reviewer 3 | Author Review
Methods | Study Design | Objectives & Scope | 3 | 3 | 2 | 3
|  | Sample Information & Preparation | 1 | 2 | 3 | 2
QC Spikes & Samples
| Data Acquisition | Analytical Sequence
Chromatography
Mass Spectrometry
| Data Processing & Analysis | Data Processing
Statistical & Chemometric Analysis
Annotation & Identification
Results | Data Outputs | Statistical & Chemometric Outputs
Identification & Confidence Levels
| QA/QC Metrics | Data Acquisition QA/QC
Data Processing & Analysis QA/QC
[7 empty] | NA | 0 | 1 | 2 | 3

## HIDDEN Plotting (hidden)
[7 empty] | -1.2 | -1 | -0.8 | -1.4
Section | Category | Sub-Category | Y | External Avg | External Stdev | Author | Ext NA 1 | Ext NA 2 | Ext NA 3 | Author NA | Ext Min | Ext Max | Err-Min | Err-Max
Methods | Study Design | Objectives & Scope | 17 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Sample Information & Preparation | 16 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | QC Spikes & Controls | 15 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
| Data Acquisition | Analytical Sequence | 13 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Chromatography | 12 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Mass Spectrometry | 11 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
| Data Processing & Analysis | Data Processing | 9 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Statistical & Chemometric Analysis | 8 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Annotation & Identification | 7 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
Results | Data Outputs | Statistical & Chemometric Outputs | 5 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Identification & Confidence Levels | 4 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
| QA/QC Metrics | Data Acquisition QA/QC | 2 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!
|  | Data Processing & Analysis QA/QC | 1 | -4 | -4 | -4 | #REF! | #REF! | #REF! | #REF!

## HIDDEN Scores Dropdowns (hidden)
NA
0
1
2
3

## Score Explanation
Score | Description | Example 1 – Analytical Sequence | Example 2 – Statistical & Chemometric Analysis | Example 3 – Data Processing & Analysis QA/QC
0 | No elements of relevant reporting are present. | No details are provided regarding analysis order and batch information. Based on reporting, the experiment could not be replicated. | Statistical analyses were performed, but no information was provided about software, methods, assumptions, and thresholds. | No details are provided about the quality, boundary, accuracy, and precision of the data processing and analysis method(s). Based on reporting, the overall performance of the processing and analysis method(s) is unclear.
1 | Some elements of relevant reporting are present, but major improvements are needed. | Some details are provided regarding analysis order and batch information, but major details that would assist in the interpretation of the results are lacking (e.g., the authors reported that blanks were analyzed, but no information about frequency/injection or sample order within the acquisition sequence was provided). | Statistical analyses were performed, but gaps in method details limit method reproducibility. | Some details are provided about the quality, boundary, accuracy, and precision of the data processing and analysis method(s), but major gaps limit understanding of overall performance (e.g., impacts of method choices on observed chemical space are discussed, but true/false positive rates, workflow QC checks, and reproducibility of identification are not reported).
2 | Most elements of relevant reporting are present, but minor improvements are needed. | The majority of analysis order and batch information is provided, but some details are missing that could assist interpretation of the results (e.g., analysis order was reported, including sample randomization and the frequency/order of external reference standards and method blanks; however, information about multiple analytical batches was unclear). | Statistical analyses were performed, and the majority of method details are provided (e.g., the authors clearly reported the software, methods, and assumptions, but minor details regarding method thresholds are missing that would improve the reader’s ability to interpret the results). | Detailed information is provided about the quality, boundary, accuracy, and precision of the data processing and analysis method(s), but minor details that could improve the reader’s ability to interpret the impact on results are excluded (e.g., the authors do not discuss possible sources of variability in the outcomes of their identification workflow).
3 | All elements of relevant reporting are present. | All details regarding sample randomization, replicate injections, the inclusion of blanks and QC samples in the acquisition sequence, and information about analytical batches are provided so that the experiment could be reproduced by an outside researcher. | Statistical analyses were performed, and all method details are reported in sufficient detail to allow a reader to reproduce the method and clearly understand the impact of method choices on the analysis results. | All necessary detailed information about the quality, boundary, accuracy, and precision of the data processing and analysis method(s) are provided and the implications are discussed.
NA | Reporting not relevant to the study. | Analytical sequence and batch information should be reported for all studies; however, it is less critical for studies that do not rely on comparisons of measurement data across samples. | Statistical analyses were not performed (e.g., the study is solely focused on chemical annotation & identification). | Reporting the quality, boundary, accuracy, and precision of the data processing & analysis methods is informative for all studies.