## Fig_3a
|  |  |  | curtailment | PV panels | wind turbines | grid import
Brazil_Guarapuava | autonomous | 2025 | low | -2.9871 | 34.7756 | 40.8715 | 0
Brazil_Guarapuava | hybrid | 2025 | low | -1.2991 | 32.5328 | 31.7467 | 0.65275
Brazil_Guarapuava | grid | 2025 | low | 0 | 0 | 0 | 14.0844
India_Lucknow | autonomous | 2025 | low | -3.8733 | 35.0184 | 45.661 | 0
India_Lucknow | hybrid | 2025 | low | -2.4806 | 34.8011 | 35.6822 | 0.84125
India_Lucknow | grid | 2025 | low | 0 | 0 | 0 | 14.0844
China_Shangqiu | autonomous | 2025 | low | -2.7404 | 17.1153 | 38.8912 | 0
China_Shangqiu | hybrid | 2025 | low | -1.6027 | 9.2568 | 38.5522 | 0.43485
China_Shangqiu | grid | 2025 | low | 0 | 0 | 0 | 14.0844
Italy_Bologna | autonomous | 2025 | low | -2.622 | 27.6466 | 44.053 | 0
Italy_Bologna | hybrid | 2025 | low | -2.4962 | 27.0016 | 43.827 | 0.015514
Italy_Bologna | grid | 2025 | low | 0 | 0 | 0 | 14.0844
Ethiopia_Addisababa | autonomous | 2025 | low | -5.5144 | 52.0638 | 34.4412 | 0
Ethiopia_Addisababa | hybrid | 2025 | low | 0 | 0 | 0 | 14.0844
Ethiopia_Addisababa | grid | 2025 | low | 0 | 0 | 0 | 14.0844
USA_Omaha | autonomous | 2025 | low | -4.7201 | 16.0882 | 29.8933 | 0
USA_Omaha | hybrid | 2025 | low | -3.0852 | 3.4787 | 31.3673 | 0.50931
USA_Omaha | grid | 2025 | low | 0 | 0 | 0 | 14.0844

## Fig_3b
|  |  |  | battery | hydrogen storage
Brazil_Guarapuava | autonomous | 2025 | low | 12.3126 | 603.6261
Brazil_Guarapuava | hybrid | 2025 | low | 0 | 78.2561
Brazil_Guarapuava | grid | 2025 | low | 0 | 0
India_Lucknow | autonomous | 2025 | low | 10.6511 | 1553.4105
India_Lucknow | hybrid | 2025 | low | 0 | 110.7347
India_Lucknow | grid | 2025 | low | 0 | 0
China_Shangqiu | autonomous | 2025 | low | 4.3528 | 548.7124
China_Shangqiu | hybrid | 2025 | low | 0 | 207.9136
China_Shangqiu | grid | 2025 | low | 0 | 0
Italy_Bologna | autonomous | 2025 | low | 3.3398 | 786.5766
Italy_Bologna | hybrid | 2025 | low | 0 | 729.7115
Italy_Bologna | grid | 2025 | low | 0 | 0
Ethiopia_Addisababa | autonomous | 2025 | low | 17.378 | 1069.2589
Ethiopia_Addisababa | hybrid | 2025 | low | 0 | 0
Ethiopia_Addisababa | grid | 2025 | low | 0 | 0
USA_Omaha | autonomous | 2025 | low | 3.4129 | 473.5726
USA_Omaha | hybrid | 2025 | low | 0 | 160.4789
USA_Omaha | grid | 2025 | low | 0 | 0

## Fig_3c
|  |  |  | ann. CapEx - PV panels | O&M - PV panels | ann. CapEx - wind turbines | O&M - wind turbines | cost grid import
Brazil_Guarapuava | autonomous | 2025 | low | 3.82 | 0.72 | 4.76 | 1.23 | 0
Brazil_Guarapuava | hybrid | 2025 | low | 3.58 | 0.67 | 3.7 | 0.96 | 0.73
Brazil_Guarapuava | grid | 2025 | low | 0 | 0 | 0 | 0 | 15.79
India_Lucknow | autonomous | 2025 | low | 3.75 | 0.72 | 5.18 | 1.38 | 0
India_Lucknow | hybrid | 2025 | low | 3.73 | 0.72 | 4.05 | 1.08 | 0.93
India_Lucknow | grid | 2025 | low | 0 | 0 | 0 | 0 | 15.55
China_Shangqiu | autonomous | 2025 | low | 1.6 | 0.35 | 3.86 | 1.17 | 0
China_Shangqiu | hybrid | 2025 | low | 0.87 | 0.19 | 3.83 | 1.16 | 0.36
China_Shangqiu | grid | 2025 | low | 0 | 0 | 0 | 0 | 11.6
Italy_Bologna | autonomous | 2025 | low | 2.95 | 0.57 | 4.99 | 1.33 | 0
Italy_Bologna | hybrid | 2025 | low | 2.88 | 0.56 | 4.96 | 1.32 | 0.06
Italy_Bologna | grid | 2025 | low | 0 | 0 | 0 | 0 | 54.53
Ethiopia_Addisababa | autonomous | 2025 | low | 9.16 | 1.07 | 6.43 | 1.04 | 0
Ethiopia_Addisababa | hybrid | 2025 | low | 0 | 0 | 0 | 0 | 2.34
Ethiopia_Addisababa | grid | 2025 | low | 0 | 0 | 0 | 0 | 2.34
USA_Omaha | autonomous | 2025 | low | 1.41 | 0.33 | 2.78 | 0.9 | 0
USA_Omaha | hybrid | 2025 | low | 0.3 | 0.07 | 2.91 | 0.95 | 0.66
USA_Omaha | grid | 2025 | low | 0 | 0 | 0 | 0 | 18.26

## Fig_3d
|  |  |  | ann. CapEx - battery | O&M - PV panels | ann. CapEx - H$_2$ storage | O&M - wind turbines
Brazil_Guarapuava | autonomous | 2025 | low | 0.64615 | 0.21405 | 0.87135 | 0.23092
Brazil_Guarapuava | hybrid | 2025 | low | 0 | 0 | 0.11297 | 0.029937
Brazil_Guarapuava | grid | 2025 | low | 0 | 0 | 0 | 0
India_Lucknow | autonomous | 2025 | low | 0.54442 | 0.18516 | 2.1841 | 0.59426
India_Lucknow | hybrid | 2025 | low | 0 | 0 | 0.15569 | 0.042361
India_Lucknow | grid | 2025 | low | 0 | 0 | 0 | 0
China_Shangqiu | autonomous | 2025 | low | 0.19466 | 0.075671 | 0.67498 | 0.20991
China_Shangqiu | hybrid | 2025 | low | 0 | 0 | 0.25576 | 0.079537
China_Shangqiu | grid | 2025 | low | 0 | 0 | 0 | 0
Italy_Bologna | autonomous | 2025 | low | 0.17035 | 0.058061 | 1.1036 | 0.3009
Italy_Bologna | hybrid | 2025 | low | 0 | 0 | 1.0238 | 0.27915
Italy_Bologna | grid | 2025 | low | 0 | 0 | 0 | 0
Ethiopia_Addisababa | autonomous | 2025 | low | 1.4603 | 0.3021 | 2.4715 | 0.40904
Ethiopia_Addisababa | hybrid | 2025 | low | 0 | 0 | 0 | 0
Ethiopia_Addisababa | grid | 2025 | low | 0 | 0 | 0 | 0
USA_Omaha | autonomous | 2025 | low | 0.1428 | 0.059331 | 0.54503 | 0.18116
USA_Omaha | hybrid | 2025 | low | 0 | 0 | 0.18469 | 0.061391
USA_Omaha | grid | 2025 | low | 0 | 0 | 0 | 0

## Fig_4a
|  |  | LCOA-low | LCOA-high | LCOA-ref | LCOA-err_up | LCOA-err_down
Brazil_Guarapuava | autonomous | 2025 | 1993.8628 | 2604.2645 | 2299.0637 | 305.2009 | 305.2009
Brazil_Guarapuava | autonomous | 2045 | 745.1594 | 1030.5536 | 887.8565 | 142.6971 | 142.6971
India_Lucknow | autonomous | 2025 | 2196.9393 | 2775.7599 | 2486.3496 | 289.4103 | 289.4103
India_Lucknow | autonomous | 2045 | 800.2326 | 1120.322 | 960.2773 | 160.0447 | 160.0447
China_Shangqiu | autonomous | 2025 | 1363.0276 | 1775.2505 | 1569.1391 | 206.1114 | 206.1114
China_Shangqiu | autonomous | 2045 | 602.8738 | 802.9025 | 702.8881 | 100.0143 | 100.0143
Italy_Bologna | autonomous | 2025 | 1820.445 | 2324.4699 | 2072.4574 | 252.0124 | 252.0124
Italy_Bologna | autonomous | 2045 | 769.1319 | 1037.2392 | 903.1856 | 134.0536 | 134.0536
Ethiopia_Addisababa | autonomous | 2025 | 3547.9949 | 4596.2444 | 4072.1197 | 524.1248 | 524.1248
Ethiopia_Addisababa | autonomous | 2045 | 1220.4937 | 1726.3626 | 1473.4281 | 252.9345 | 252.9345
USA_Omaha | autonomous | 2025 | 1113.8587 | 1441.2473 | 1277.553 | 163.6943 | 163.6943
USA_Omaha | autonomous | 2045 | 496.8675 | 653.4149 | 575.1412 | 78.2737 | 78.2737

## Fig_4b
|  |  | LCOA-low | LCOA-high | LCOA-ref | LCOA-err_up | LCOA-err_down
Brazil_Guarapuava | hybrid | 2025 | 1697.553 | 2236.3257 | 1966.9394 | 269.3863 | 269.3863
Brazil_Guarapuava | hybrid | 2045 | 702.5034 | 935.4493 | 818.9763 | 116.473 | 116.473
India_Lucknow | hybrid | 2025 | 1766.4084 | 2313.5527 | 2039.9805 | 273.5722 | 273.5722
India_Lucknow | hybrid | 2045 | 742.6715 | 1007.0035 | 874.8375 | 132.166 | 132.166
China_Shangqiu | hybrid | 2025 | 1227.71 | 1622.3976 | 1425.0538 | 197.3438 | 197.3438
China_Shangqiu | hybrid | 2045 | 592.8542 | 762.771 | 677.8126 | 84.9584 | 84.9584
Italy_Bologna | hybrid | 2025 | 1783.3885 | 2295.1317 | 2039.2601 | 255.8716 | 255.8716
Italy_Bologna | hybrid | 2045 | 767.3404 | 1034.2404 | 900.7904 | 133.45 | 133.45
Ethiopia_Addisababa | hybrid | 2025 | 834.0841 | 1084.2535 | 959.1688 | 125.0847 | 125.0847
Ethiopia_Addisababa | hybrid | 2045 | 597.4551 | 559.7336 | 578.5944 | -18.8607 | -18.8607
USA_Omaha | hybrid | 2025 | 986.8922 | 1303.2366 | 1145.0644 | 158.1722 | 158.1722
USA_Omaha | hybrid | 2045 | 491.9007 | 638.4727 | 565.1867 | 73.286 | 73.286

## Fig_4c
|  |  | LCOA-low | LCOA-high | LCOA-ref | LCOA-err_up | LCOA-err_down
Brazil_Guarapuava | grid | 2025 | 2188.9506 | 2703.1887 | 2446.0696 | 257.1191 | 257.1191
Brazil_Guarapuava | grid | 2045 | 1492.1583 | 1557.8023 | 1524.9803 | 32.822 | 32.822
India_Lucknow | grid | 2025 | 2152.9838 | 2658.5846 | 2405.7842 | 252.8004 | 252.8004
India_Lucknow | grid | 2045 | 1467.7737 | 1532.3233 | 1500.0485 | 32.2748 | 32.2748
China_Shangqiu | grid | 2025 | 1665.7525 | 2063.281 | 1864.5168 | 198.7643 | 198.7643
China_Shangqiu | grid | 2045 | 1131.1127 | 1181.5872 | 1156.3499 | 25.2372 | 25.2372
Italy_Bologna | grid | 2025 | 6603.0192 | 8052.454 | 7327.7366 | 724.7174 | 724.7174
Italy_Bologna | grid | 2045 | 4573.2199 | 4762.6938 | 4667.9569 | 94.7369 | 94.7369
Ethiopia_Addisababa | grid | 2025 | 834.0841 | 1084.2535 | 959.1688 | 125.0847 | 125.0847
Ethiopia_Addisababa | grid | 2045 | 530.1693 | 559.7336 | 544.9515 | 14.7822 | 14.7822
USA_Omaha | grid | 2025 | 2409.8398 | 2963.0703 | 2686.4551 | 276.6152 | 276.6152
USA_Omaha | grid | 2045 | 1651.871 | 1723.0564 | 1687.4637 | 35.5927 | 35.5927

## Fig_5a
LCOA_ref | LCOA | LCOA-% variation to_ref | parameter | parameter value | parameter value_ref | params-% variation to ref
1086.2 | 1046.6 | -3.6 | storage_size_battery | 5000 | 10000 | -50
1086.2 | 1125.9 | 3.6 | storage_size_battery | 15000 | 10000 | 50
1086.2 | 1057.6 | -2.6 | storage_size_buffer | 100000 | 300000 | -66.7
1086.2 | 1114.8 | 2.6 | storage_size_buffer | 500000 | 300000 | 66.7
1086.2 | 896.7 | -17.5 | WACC | 0 | 0.1 | -34.1
1086.2 | 1574.2 | 44.9 | WACC | 0.1 | 0.1 | 77.1
1086.2 | 917.4 | -15.5 | capex_PV | 602.7 | 895.3 | -32.7
1086.2 | 1114 | 2.6 | capex_PV | 1540.6 | 895.3 | 72.1
1086.2 | 1020.9 | -6 | capex_wind | 1093 | 1334 | -18.1
1086.2 | 1086.2 | 0 | capex_wind | 1632 | 1334 | 22.3
1086.2 | 1057 | -2.7 | capex_battery | 425 | 673.7 | -36.9
1086.2 | 1134 | 4.4 | capex_battery | 1080 | 673.7 | 60.3
1086.2 | 1078.6 | -0.7 | capex_buffer | 10.5 | 12.8 | -17.8
1086.2 | 1110.9 | 2.3 | capex_buffer | 20.1 | 12.8 | 57.4
1086.2 | 993.3 | -8.6 | capex_electrolyzer | 643.9 | 1592.2 | -59.6
1086.2 | 1195.3 | 10 | capex_electrolyzer | 2705.2 | 1592.2 | 69.9
1086.2 | 1072.3 | -1.3 | capex_reactor | 0 | 0 | -11.9
1086.2 | 1101.7 | 1.4 | capex_reactor | 0 | 0 | 13.3
1086.2 | 989.2 | -8.9 | curtailment | 0 | 20000000 | -100
1086.2 | 1134.7 | 4.5 | curtailment | 30000000 | 20000000 | 50
1086.2 | 1114 | 2.6 | capacity_factor_PV | 0.2 | 0.2 | -15.8
1086.2 | 1000.7 | -7.9 | capacity_factor_PV | 0.3 | 0.2 | 15.8
1086.2 | 1086.2 | 0 | capacity_factor_wind | 0.2 | 0.3 | -48.6
1086.2 | 899.7 | -17.2 | capacity_factor_wind | 0.5 | 0.3 | 48.6

## Fig_5b
LCOA_ref | LCOA | LCOA-pp_to_ref | parameter | value | value_ref | params-pp_to_ref
2327.8578 | 2270.0618 | -2.4828 | WACC | 0.0433 | 0.065717 | -34.1111
2327.8578 | 2476.6347 | 6.3912 | WACC | 0.1164 | 0.065717 | 77.124
2327.8578 | 2327.8578 | 0 | capex_PV | 602.678 | 895.321 | -32.6858
2327.8578 | 2327.8578 | 0 | capex_PV | 1540.628 | 895.321 | 72.0755
2327.8578 | 2327.8578 | 0 | capex_wind | 1093 | 1334 | -18.066
2327.8578 | 2327.8578 | 0 | capex_wind | 1632 | 1334 | 22.3388
2327.8578 | 2327.8578 | 0 | capex_battery | 425 | 673.698 | -36.9154
2327.8578 | 2327.8578 | 0 | capex_battery | 1080 | 673.698 | 60.3092
2327.8578 | 2327.8578 | 0 | capex_buffer | 10.5105 | 12.7814 | -17.767
2327.8578 | 2327.8578 | 0 | capex_buffer | 20.1201 | 12.7814 | 57.4175
2327.8578 | 2294.32 | -1.4407 | capex_electrolyzer | 1250 | 1592.249 | -21.4947
2327.8578 | 2343.3162 | 0.66406 | capex_electrolyzer | 1750 | 1592.249 | 9.9074
2327.8578 | 2313.9608 | -0.59699 | capex_reactor | 0.0067308 | 0.0076394 | -11.8943
2327.8578 | 2343.3725 | 0.66648 | capex_reactor | 0.0086538 | 0.0076394 | 13.2788
2327.8578 | 1585.0109 | -31.9112 | elec_price | 0.1 | 0.1595 | -37.3041
2327.8578 | 2833.4932 | 21.7211 | elec_price | 0.2 | 0.1595 | 25.3918