## Table S1 Parameters
Table S1 Operational parameters for ICP-MS instruments and laser ablation systems in in situ trace element and Sr isotope analysis
Trace element
Laser ablation system
Make, Model & type | New Wave 193UC
Ablation cell | Two-Volume Ⅱ
Laser wavelength | 193 nm
Pulse width | 5 ns
Energy density | 2.7 J·cm-2
Repetition rate | 8 Hz
Spot size | 150 μm
Sampling mode / pattern | Single spot analysis
Cell carrier gas flow (He) | 0.3 L·min-1
Emhancement gas flow (N2) | 3 ~ 6 mL·min-1
Background time | 20 s
Ablation duration | 40 s
Washout time | 10 s
Q-ICP-MS Instrument
Make, Model & type | Agilent 7900 quadrupole ICPMS
Radio frequency power (W) | 1350 W
Coolant gas flow (Ar) | 15.00 L·min-1
Carrier gas flow (Ar) | 0.90 ~ 1.05 L·min-1
Isotopes measured | 24Mg, 51V, 53Cr, 55Mn, 57Fe, 71Ga, 85Rb, 88Sr, 89Y, 90Zr, 137Ba, 139La, 140Ce, 141Pr, 143Nd, 147Sm, 151Eu, 157Gd, 159Tb, 163Dy, 165Ho, 166Er, 169Tm, 173Yb, 175Lu, 208Pb, 232Th, 238U
Sr isotope
Laser ablation system
Make, model, and type | ASI RESOlution S155 LR 193 nm ArF excimer
Ablation cell | Laurin Technic, S-155
Laser wavelength | 193 nm
Pulse duration | 20 ns
Energy density | 5 J·cm-2
Repetition rate | 6 Hz
Spot size | 23 μm, 33 μm, 75 μm, 110 μm, 130 μm, 160μm
Sampling mode | Single spot analysis
Carrier gas flow (He) | 0.3 L·min-1
Enhancement gas flow (N2) | 3–5 mL·min-1
Background time | 20 s
Ablation duration | 40 s
Washout time | 10 s
MC-ICP-MS instrument
Make, model, and type | Thermo Fisher, Neptune Plus
Radio frequency power | 1300 W
Guard electrode | Connected (Pt)
Cone combinations | Jet + X (Nickel)
Fore vacuum P (mbar) | 7.65 × 10-4
High vacuum P (mbar) | 2.44 × 10-7
Plasma gas flow (Ar) | 15.00 L·min-1
Auxiliary gas flow (Ar) | 0.80 L·min-1
Make up gas flow (Ar) | 0.9-1.1 L·min-1
Integration time | 0.262 s
Detector configurations | L3(84Sr), L2(85Rb), C(86Sr), H2(87Sr), H3(88Sr)

## Table S2 EPMA
Table S2 EPMA measurement results for major elements (wt%) in TARIM and HZZ-2 calcite grains
Grain ID | Comment | CaO | SrO | BaO | MgO | SiO2 | FeO | MnO | TOTAL
HZZ-2 | A-1 | 56.191 | 0 | 0 | 0.209 | 0 | 0 | 0 | 56.4
| A-2 | 56.343 | 0 | 0.013 | 0.232 | 0.024 | 0 | 0 | 56.612
| A-3 | 56.2 | 0 | 0.067 | 0.251 | 0 | 0.018 | 0.01 | 56.546
| A-4 | 56.104 | 0 | 0 | 0.243 | 0 | 0 | 0.01 | 56.357
| A-5 | 56.624 | 0 | 0 | 0.207 | 0 | 0 | 0 | 56.831
| B-1 | 56.821 | 0 | 0.038 | 0.209 | 0.01 | 0 | 0 | 57.078
| B-2 | 56.62 | 0.006 | 0.054 | 0.247 | 0 | 0 | 0 | 56.927
| B-3 | 57.044 | 0 | 0.05 | 0.159 | 0 | 0 | 0 | 57.253
| B-4 | 56.259 | 0 | 0 | 0.179 | 0 | 0 | 0 | 56.438
| B-5 | 56.675 | 0 | 0.075 | 0.21 | 0 | 0 | 0 | 56.96
| C-1 | 56.869 | 0 | 0.033 | 0.237 | 0.007 | 0.001 | 0 | 57.147
| C-2 | 56.082 | 0 | 0 | 0.249 | 0 | 0 | 0.023 | 56.354
| C-3 | 56.702 | 0 | 0 | 0.267 | 0.009 | 0 | 0 | 56.978
| C-4 | 56.607 | 0 | 0 | 0.199 | 0.002 | 0 | 0.004 | 56.812
| C-5 | 56.775 | 0 | 0.021 | 0.179 | 0.009 | 0.017 | 0.023 | 57.024
| D-1 | 56.831 | 0 | 0 | 0.221 | 0 | 0 | 0 | 57.052
| D-2 | 55.778 | 0 | 0 | 0.212 | 0.005 | 0.006 | 0.032 | 56.033
| D-3 | 56.607 | 0 | 0.029 | 0.213 | 0 | 0 | 0.036 | 56.885
| D-4 | 56.207 | 0 | 0 | 0.229 | 0.015 | 0 | 0 | 56.451
| D-5 | 56.014 | 0 | 0 | 0.219 | 0 | 0.019 | 0.004 | 56.256
| E-1 | 55.977 | 0 | 0.058 | 0.232 | 0 | 0 | 0 | 56.267
| E-2 | 55.728 | 0 | 0.054 | 0.203 | 0 | 0.004 | 0.03 | 56.019
| E-3 | 56.007 | 0 | 0.017 | 0.179 | 0 | 0 | 0 | 56.203
| E-4 | 56.893 | 0 | 0 | 0.194 | 0.012 | 0 | 0.008 | 57.107
| E-5 | 56.921 | 0 | 0.008 | 0.187 | 0.018 | 0.026 | 0 | 57.16
| F-1 | 55.743 | 0 | 0 | 0.201 | 0.02 | 0 | 0.013 | 55.977
| F-2 | 56.05 | 0 | 0 | 0.184 | 0 | 0.012 | 0.006 | 56.252
| F-3 | 56.701 | 0 | 0.062 | 0.184 | 0 | 0 | 0.034 | 56.981
| F-4 | 56.273 | 0 | 0 | 0.28 | 0.037 | 0.021 | 0.002 | 56.613
| F-5 | 56.401 | 0 | 0 | 0.27 | 0 | 0.004 | 0.025 | 56.7
| G-1 | 56.578 | 0 | 0.021 | 0.181 | 0.01 | 0 | 0 | 56.79
| G-2 | 56.19 | 0 | 0.004 | 0.206 | 0.012 | 0.009 | 0 | 56.421
| G-3 | 56.244 | 0 | 0 | 0.177 | 0 | 0 | 0.013 | 56.434
| G-4 | 56.693 | 0 | 0 | 0.18 | 0 | 0.011 | 0 | 56.884
| G-5 | 56.45 | 0 | 0.058 | 0.18 | 0 | 0.015 | 0 | 56.703
| H-1 | 55.462 | 0 | 0 | 0.207 | 0 | 0.047 | 0 | 55.716
| H-2 | 56.196 | 0 | 0 | 0.241 | 0.045 | 0 | 0 | 56.482
| H-3 | 57.055 | 0 | 0 | 0.193 | 0.008 | 0.003 | 0 | 57.259
| H-4 | 57.262 | 0 | 0.008 | 0.228 | 0 | 0.003 | 0.032 | 57.533
| H-5 | 56.557 | 0 | 0 | 0.203 | 0 | 0 | 0 | 56.76
TARIM | J-1 | 56.586 | 0 | 0.05 | 0.138 | 0 | 0.001 | 0 | 56.775
| J-2 | 56.276 | 0 | 0 | 0.139 | 0 | 0 | 0.042 | 56.457
| J-3 | 56.19 | 0 | 0 | 0.194 | 0 | 0.002 | 0 | 56.386
| J-4 | 56.383 | 0 | 0.146 | 0.13 | 0.015 | 0.015 | 0.009 | 56.698
| J-5 | 55.702 | 0 | 0.062 | 0.168 | 0 | 0.007 | 0.009 | 55.948
| K-1 | 56.751 | 0 | 0.054 | 0.157 | 0.013 | 0 | 0 | 56.975
| K-2 | 56.568 | 0 | 0 | 0.151 | 0 | 0 | 0.009 | 56.728
| K-3 | 56.5 | 0 | 0 | 0.116 | 0.003 | 0.006 | 0 | 56.625
| K-4 | 56.629 | 0 | 0 | 0.11 | 0 | 0.015 | 0.011 | 56.765
| K-5 | 56.713 | 0 | 0 | 0.137 | 0 | 0 | 0 | 56.85
| L-1 | 56.226 | 0 | 0 | 0.15 | 0.016 | 0.048 | 0.017 | 56.457
| L-2 | 57.06 | 0 | 0 | 0.146 | 0 | 0 | 0.008 | 57.214
| L-3 | 56.37 | 0 | 0.054 | 0.175 | 0 | 0.018 | 0.032 | 56.649
| L-4 | 56.136 | 0 | 0 | 0.16 | 0.004 | 0 | 0.028 | 56.328
| L-5 | 56.438 | 0 | 0 | 0.155 | 0 | 0 | 0.042 | 56.635
| M-1 | 56.288 | 0 | 0 | 0.19 | 0.01 | 0 | 0 | 56.488
| M-2 | 56.396 | 0 | 0 | 0.194 | 0.015 | 0.017 | 0 | 56.622
| M-3 | 56.675 | 0 | 0 | 0.127 | 0.01 | 0 | 0.061 | 56.873
| M-4 | 56.662 | 0 | 0.025 | 0.135 | 0.004 | 0 | 0.009 | 56.835
| M-5 | 56.829 | 0 | 0 | 0.155 | 0 | 0 | 0.025 | 57.009

## Table S3 trace elements
Table S3 Trace element composition of HZZ-2 and TARIM calcite determined by LA-ICP-MS (μg·g-1).
Name | 24Mg | 51V | 53Cr | 55Mn | 57Fe | 71Ga | 85Rb | 88Sr | 89Y | 90Zr | 137Ba | 139La | 140Ce | 141Pr | 143Nd | 147Sm | 151Eu | 157Gd | 159Tb | 163Dy | 165Ho | 166Er | 169Tm | 173Yb | 175Lu | 208Pb | 232Th | 238U
HZZ-2 @150 μm, 2.7 J·cm-2, 8 Hz
HZZ-2-A-01 | 1150 | 0.128 | 0.137 | 29.4 | 556 | 0.00673 | 0.01 | 1100 | 0.709 | - | 0.2648 | 0.764 | 0.987 | 0.112 | 0.49 | 0.0836 | 0.0272 | 0.0981 | 0.0135 | 0.0701 | 0.0121 | 0.0344 | 0.00188 | 0.00806 | 0.00209 | 0.005 | - | 0.001
HZZ-2-A-02 | 1150 | 0.079 | 0.102 | 30.4 | 557 | 0.00455 | 0.009 | 1080 | 0.392 | - | 0.34 | 0.171 | 0.267 | 0.0363 | 0.216 | 0.0374 | 0.0149 | 0.0433 | 0.00479 | 0.0396 | 0.00523 | 0.0157 | 0.00135 | 0.00434 | 0.00112 | 0.006 | - | 0.001
HZZ-2-A-03 | 1190 | 0.047 | 0.048 | 25.6 | 568 | - | 0.004 | 1120 | 0.203 | - | 0.388 | 0.0851 | 0.136 | 0.0157 | 0.0663 | 0.0112 | 0.00897 | 0.013 | 0.00193 | 0.016 | 0.00376 | 0.00965 | 0.000513 | - | - | 0.003 | - | -
HZZ-2-A-04 | 1090 | 0.067 | 0.182 | 29.6 | 555 | - | 0.003 | 1190 | 0.331 | - | 0.56 | 0.118 | 0.196 | 0.0257 | 0.125 | 0.0412 | 0.0188 | 0.0386 | 0.00604 | 0.0258 | 0.00593 | 0.0141 | 0.00125 | 0.00347 | - | 0.004 | - | 0.001
HZZ-2-A-05 | 1130 | 0.078 | 0.138 | 28.9 | 558 | 0.00484 | 0.001 | 1110 | 0.33 | - | 0.39 | 0.218 | 0.292 | 0.029 | 0.156 | 0.0285 | 0.0204 | 0.0507 | 0.00746 | 0.0327 | 0.00451 | 0.0123 | 0.000826 | 0.00577 | - | 0.004 | - | -
HZZ-2-B-01 | 900 | 0.224 | 0.104 | 25.6 | 555 | 0.00649 | 0.002 | 1170 | 0.9 | - | 0.199 | 1.63 | 1.96 | 0.189 | 0.772 | 0.126 | 0.0592 | 0.148 | 0.0187 | 0.123 | 0.0156 | 0.0352 | 0.00342 | 0.0148 | 0.00206 | 0.002 | - | 0.001
HZZ-2-B-02 | 904 | 0.187 | 0.138 | 25.5 | 553 | 0.0176 | 0.002 | 1120 | 0.848 | - | 0.211 | 1.26 | 1.54 | 0.155 | 0.663 | 0.13 | 0.0511 | 0.132 | 0.0138 | 0.0914 | 0.0182 | 0.0411 | 0.00337 | 0.00921 | 0.00117 | 0.002 | - | 0.001
HZZ-2-B-03 | 886 | 0.215 | 0.149 | 25.5 | 561 | 0.00677 | 0.001 | 1170 | 0.735 | - | 0.216 | 1.3 | 1.59 | 0.154 | 0.61 | 0.0954 | 0.0556 | 0.128 | 0.0135 | 0.073 | 0.0158 | 0.0353 | 0.00275 | 0.0131 | 0.00129 | 0.001 | - | 0.005
HZZ-2-B-04 | 889 | 0.242 | 0.112 | 25.8 | 544 | 0.00534 | 0.008 | 1120 | 0.724 | - | 0.198 | 1.31 | 1.58 | 0.151 | 0.666 | 0.114 | 0.0557 | 0.121 | 0.0156 | 0.0718 | 0.0159 | 0.0336 | 0.00227 | 0.0151 | 0.000651 | 0.001 | - | -
HZZ-2-B-05 | 893 | 0.213 | 0.0893 | 24.9 | 548 | 0.0105 | 0.003 | 1260 | 0.873 | - | 0.225 | 1.34 | 1.63 | 0.167 | 0.654 | 0.113 | 0.0581 | 0.143 | 0.0153 | 0.0865 | 0.0151 | 0.0407 | 0.00292 | 0.0167 | 0.000745 | 0.001 | - | 0.001
HZZ-2-C-01 | 1370 | 0.0596 | 0.0924 | 34.1 | 553 | 0.00913 | 0.009 | 501 | 0.146 | 0.0041 | 0.00139 | 0.125 | 0.189 | 0.0209 | 0.105 | 0.0203 | 0.0156 | 0.0281 | 0.00273 | 0.0123 | 0.00145 | 0.00428 | 0.000641 | 0.0067 | - | - | - | -
HZZ-2-C-02 | 1370 | 0.0405 | 0.152 | 29 | 548 | 0.00348 | 0.001 | 626 | 0.151 | - | 0.0492 | 0.134 | 0.19 | 0.0174 | 0.0993 | 0.0117 | 0.0139 | 0.0284 | 0.00269 | 0.0133 | 0.00215 | 0.00401 | - | 0.00354 | - | - | - | -
HZZ-2-C-03 | 1380 | 0.0498 | 0.0433 | 32.2 | 552 | 0.00271 | 0.001 | 533 | 0.125 | - | 0.0471 | 0.133 | 0.187 | 0.0221 | 0.0592 | 0.0101 | 0.0115 | 0.0248 | 0.00233 | 0.012 | 0.00119 | 0.00261 | - | 0.00344 | - | - | - | -
HZZ-2-C-04 | 921 | 0.277 | 0.175 | 26.8 | 543 | 0.00164 | 0.007 | 1010 | 0.535 | - | 0.159 | 0.781 | 0.925 | 0.0973 | 0.384 | 0.0566 | 0.0463 | 0.0829 | 0.00904 | 0.061 | 0.00832 | 0.0213 | 0.00096 | 0.00388 | - | - | - | -
HZZ-2-C-05 | 919 | 0.19 | 0.0561 | 26.3 | 534 | 0.00334 | - | 1060 | 0.476 | - | 0.176 | 0.659 | 0.792 | 0.0781 | 0.364 | 0.0579 | 0.0411 | 0.0785 | 0.00765 | 0.041 | 0.00839 | 0.0169 | 0.0017 | 0.00474 | 0.001 | - | - | -
HZZ-2-D-01 | 1050 | 0.101 | 0.176 | 28.6 | 540 | 0.007 | 0.003 | 1300 | 0.346 | - | 0.901 | 0.449 | 0.715 | 0.0767 | 0.316 | 0.0663 | 0.0293 | 0.0657 | 0.00637 | 0.0304 | 0.00777 | 0.0151 | 0.0015 | 0.00997 | 0.001 | - | - | 0.001
HZZ-2-D-02 | 1090 | 0.11 | 0.119 | 29.8 | 556 | 0.00161 | 0.003 | 1280 | 0.465 | - | 0.52 | 0.937 | 1.17 | 0.105 | 0.437 | 0.0828 | 0.0428 | 0.0853 | 0.00913 | 0.0566 | 0.00821 | 0.0384 | 0.000962 | 0.00926 | 0.001 | - | - | 0.001
HZZ-2-D-03 | 1040 | 0.125 | 0.0907 | 28.5 | 543 | 0.0107 | 0.006 | 1250 | 0.3 | 0.0123 | 0.832 | 0.426 | 0.67 | 0.0643 | 0.237 | 0.0457 | 0.0282 | 0.0541 | 0.00632 | 0.0282 | 0.00494 | 0.0102 | 0.00188 | 0.00612 | - | - | - | 0.002
HZZ-2-D-04 | 985 | 0.096 | 0.152 | 43.2 | 558 | 0.00765 | - | 278 | 0.377 | 0.00326 | 0.691 | 0.292 | 0.402 | 0.0434 | 0.247 | 0.0386 | 0.0204 | 0.0414 | 0.00533 | 0.0363 | 0.00616 | 0.0236 | 0.00201 | 0.00813 | 0.001 | - | - | 0.025
HZZ-2-D-05 | 1280 | 0.03 | 0.115 | 32.9 | 536 | 0.00194 | 0.008 | 462 | 0.0937 | - | - | 0.148 | 0.217 | 0.0235 | 0.1 | 0.0174 | 0.0128 | 0.0201 | 0.00207 | 0.00995 | 0.00275 | 0.00436 | - | - | - | - | - | 0.002
HZZ-2-E-01 | 1120 | 0.182 | 0.107 | 29.7 | 546 | 0.00709 | 0.016 | 1210 | 0.635 | 0.00115 | 0.367 | 0.984 | 1.13 | 0.125 | 0.527 | 0.0891 | 0.0465 | 0.12 | 0.0109 | 0.0699 | 0.0135 | 0.0261 | 0.00332 | 0.0125 | 0.00109 | - | - | -
HZZ-2-E-02 | 1130 | 0.17 | 0.0441 | 29.9 | 549 | 0.0104 | - | 1180 | 0.526 | 0.000776 | 0.385 | 0.645 | 0.742 | 0.081 | 0.352 | 0.0656 | 0.0374 | 0.0919 | 0.00784 | 0.0558 | 0.0086 | 0.0242 | 0.00275 | 0.00867 | 0.00136 | - | - | 0.003
HZZ-2-E-03 | 1120 | 0.176 | 0.134 | 30.1 | 542 | 0.00885 | 0.001 | 1210 | 0.696 | - | 0.286 | 1 | 1.23 | 0.129 | 0.48 | 0.0872 | 0.0498 | 0.113 | 0.0123 | 0.0795 | 0.0147 | 0.0225 | 0.00471 | 0.011 | 0.00153 | - | - | 0.001
HZZ-2-E-04 | 1140 | 0.136 | 0.124 | 29.9 | 550 | 0.000766 | 0.006 | 1120 | 0.599 | - | 0.255 | 0.754 | 0.915 | 0.0947 | 0.453 | 0.0773 | 0.0368 | 0.0865 | 0.0136 | 0.0642 | 0.0104 | 0.0308 | 0.00209 | 0.0135 | 0.000765 | - | - | -
HZZ-2-E-05 | 1130 | 0.178 | 0.0941 | 29.6 | 548 | 0.000724 | 0.005 | 1220 | 0.499 | - | 0.378 | 0.655 | 0.766 | 0.0803 | 0.39 | 0.0685 | 0.0323 | 0.0699 | 0.00731 | 0.049 | 0.0106 | 0.0184 | 0.00113 | 0.00785 | 0.00165 | - | - | 0.002
HZZ-2-F-01 | 1130 | 0.138 | 0.108 | 30.6 | 538 | 0.0052 | 0.004 | 1200 | 0.524 | - | 0.645 | 0.758 | 1.14 | 0.125 | 0.478 | 0.0968 | 0.0357 | 0.0768 | 0.0101 | 0.0685 | 0.0118 | 0.0241 | 0.00197 | 0.0102 | 0.00072 | - | - | -
HZZ-2-F-02 | 1110 | 0.105 | 0.151 | 30.5 | 543 | 0.0079 | 0.005 | 1240 | 0.502 | - | 0.631 | 0.731 | 1.14 | 0.111 | 0.475 | 0.0998 | 0.0339 | 0.0909 | 0.0104 | 0.0607 | 0.00913 | 0.0252 | 0.00321 | 0.00956 | 0.00132 | - | - | -
HZZ-2-F-03 | 1120 | 0.101 | 0.126 | 30.1 | 534 | 0.00348 | 0.005 | 1220 | 0.471 | - | 0.582 | 0.704 | 1.13 | 0.119 | 0.49 | 0.0935 | 0.0319 | 0.0734 | 0.011 | 0.0584 | 0.00845 | 0.0249 | 0.00223 | 0.00754 | 0.00135 | - | - | 0.001
HZZ-2-F-04 | 1040 | 0.104 | 0.0427 | 34.1 | 545 | 0.00501 | 0.008 | 984 | 0.514 | 0.00529 | 0.404 | 0.696 | 1.08 | 0.109 | 0.458 | 0.112 | 0.0308 | 0.103 | 0.00905 | 0.0617 | 0.00967 | 0.0248 | 0.00271 | 0.0112 | 0.00113 | - | - | 0.001
HZZ-2-F-05 | 1130 | 0.129 | 0.107 | 30.9 | 542 | 0.0037 | 0.007 | 1200 | 0.484 | - | 0.612 | 0.813 | 1.21 | 0.12 | 0.501 | 0.0771 | 0.0365 | 0.117 | 0.00896 | 0.0646 | 0.00965 | 0.0252 | 0.00201 | 0.00944 | 0.000834 | - | - | 0.001
HZZ-2-G-01 | 1060 | 0.129 | 0.0665 | 28.8 | 533 | - | 0.014 | 1320 | 0.405 | - | 0.875 | 0.522 | 0.833 | 0.0831 | 0.326 | 0.072 | 0.0326 | 0.0721 | 0.00573 | 0.0545 | 0.00632 | 0.0228 | 0.0016 | 0.00543 | 0.00181 | - | - | -
HZZ-2-G-02 | 960 | 0.171 | 0.109 | 26 | 540 | 0.0242 | 0.009 | 1410 | 0.83 | - | 0.36 | 1.67 | 2.11 | 0.223 | 0.837 | 0.134 | 0.0747 | 0.155 | 0.0177 | 0.0972 | 0.0156 | 0.0346 | 0.0036 | 0.017 | 0.00348 | - | - | 0.00169
HZZ-2-G-03 | 1100 | 0.107 | 0.0573 | 29.5 | 545 | 0.00815 | 0.001 | 1370 | 0.449 | - | 0.563 | 0.863 | 1.07 | 0.11 | 0.434 | 0.097 | 0.0346 | 0.07 | 0.00948 | 0.0449 | 0.0104 | 0.0175 | 0.00131 | 0.00428 | 0.000637 | - | - | 0.000646
HZZ-2-G-04 | 1080 | 0.116 | 0.0684 | 29.7 | 549 | 0.00582 | 0.001 | 1350 | 0.503 | - | 0.611 | 0.942 | 1.2 | 0.115 | 0.519 | 0.103 | 0.0451 | 0.0986 | 0.01 | 0.0568 | 0.00974 | 0.0228 | 0.00183 | 0.00969 | 0.00133 | - | - | 0.00623
HZZ-2-G-05 | 891 | 0.181 | 0.0963 | 25.1 | 534 | 0.00605 | 0.006 | 1370 | 0.895 | - | 0.191 | 1.79 | 2.34 | 0.22 | 0.859 | 0.142 | 0.0597 | 0.191 | 0.0187 | 0.111 | 0.0199 | 0.0485 | 0.00481 | 0.0165 | 0.00358 | - | - | 0.000981
HZZ-2-H-01 | 1160 | 0.166 | 0.174 | 31.1 | 545 | 0.00335 | 0.004 | 1130 | 0.506 | - | 0.283 | 0.641 | 0.807 | 0.0866 | 0.343 | 0.0738 | 0.0401 | 0.0685 | 0.00748 | 0.0441 | 0.0113 | 0.0206 | 0.0025 | 0.0078 | 0.000666 | - | - | 0.002
HZZ-2-H-02 | 1150 | 0.167 | 0.109 | 30.6 | 535 | 0.00776 | 0.005 | 1160 | 0.578 | - | 0.28 | 0.718 | 0.869 | 0.0865 | 0.404 | 0.0774 | 0.0445 | 0.0889 | 0.0104 | 0.047 | 0.00864 | 0.0332 | 0.0022 | 0.0103 | 0.00111 | - | - | 0.001
HZZ-2-H-03 | 1110 | 0.141 | 0.111 | 29.6 | 537 | - | 0.008 | 1160 | 0.65 | 0.00863 | 0.215 | 0.5 | 0.637 | 0.0768 | 0.333 | 0.0665 | 0.0412 | 0.0822 | 0.0113 | 0.0545 | 0.0111 | 0.0292 | 0.00222 | 0.0121 | 0.00138 | - | - | 0.001
HZZ-2-H-04 | 1150 | 0.156 | 0.111 | 30.9 | 544 | - | 0.001 | 1140 | 0.604 | - | 0.154 | 0.422 | 0.554 | 0.0551 | 0.259 | 0.0603 | 0.0351 | 0.0885 | 0.01 | 0.06 | 0.0116 | 0.0261 | 0.0018 | 0.00883 | 0.00107 | - | - | 0.001
HZZ-2-H-05 | 1190 | 0.126 | 0.156 | 31.6 | 544 | - | 0.009 | 1100 | 0.397 | - | 0.26 | 0.456 | 0.558 | 0.0626 | 0.216 | 0.043 | 0.0296 | 0.0786 | 0.00564 | 0.0322 | 0.0076 | 0.0191 | 0.00149 | 0.00434 | 0.000539 | - | - | 0.001
TARIM @150 μm, 2.7 J·cm-2, 8 Hz
TARIM-J-01 | 887 | 2.42 | 0.105 | 67.8 | 550 | 0.0059 | 0.014 | 600 | 6.78 | 0.0617 | 0.0927 | 0.0424 | 0.124 | 0.0313 | 0.286 | 0.245 | 0.0754 | 0.448 | 0.0639 | 0.464 | 0.107 | 0.317 | 0.0379 | 0.23 | 0.0269 | - | 0.003 | 0.271
TARIM-J-02 | 739 | 1.84 | 0.13 | 61.4 | 536 | 0.016 | 0.008 | 702 | 9.84 | 0.0505 | 0.14 | 0.0505 | 0.159 | 0.0426 | 0.353 | 0.324 | 0.108 | 0.629 | 0.092 | 0.673 | 0.157 | 0.447 | 0.0588 | 0.322 | 0.0446 | - | 0.002 | 0.389
TARIM-J-03 | 863 | 3.06 | 0.081 | 65.5 | 544 | 0.00124 | 0.008 | 624 | 7.81 | 0.0604 | 0.0896 | 0.0578 | 0.145 | 0.0413 | 0.37 | 0.286 | 0.0972 | 0.574 | 0.0784 | 0.532 | 0.129 | 0.378 | 0.043 | 0.28 | 0.0313 | - | 0.003 | 0.268
TARIM-J-04 | 899 | 3.2 | 0.074 | 66 | 544 | 0.018 | 0.003 | 610 | 6.9 | 0.0767 | 0.0923 | 0.046 | 0.13 | 0.0316 | 0.281 | 0.252 | 0.0817 | 0.495 | 0.0673 | 0.521 | 0.111 | 0.299 | 0.0371 | 0.214 | 0.0276 | - | 0.003 | 0.285
TARIM-J-05 | 934 | 2.74 | 0.135 | 67.7 | 529 | - | 0.002 | 519 | 6.55 | 0.0585 | 0.0954 | 0.0481 | 0.141 | 0.0416 | 0.354 | 0.238 | 0.0834 | 0.425 | 0.0637 | 0.471 | 0.104 | 0.304 | 0.0388 | 0.22 | 0.0259 | - | 0.003 | 0.342
TARIM-J-06 | 787 | 2.55 | 0.08 | 59.4 | 542 | 0.00259 | 0.002 | 669 | 9.68 | 0.0604 | 0.161 | 0.0566 | 0.173 | 0.05 | 0.394 | 0.338 | 0.106 | 0.636 | 0.0943 | 0.663 | 0.151 | 0.475 | 0.0535 | 0.342 | 0.0391 | - | 0.003 | 0.545
TARIM-J-07 | 809 | 2.47 | 0.148 | 61.1 | 556 | 0.00779 | 0.006 | 644 | 9.5 | 0.0681 | 0.14 | 0.0568 | 0.173 | 0.0452 | 0.404 | 0.325 | 0.101 | 0.607 | 0.0923 | 0.659 | 0.156 | 0.475 | 0.0533 | 0.312 | 0.0439 | - | 0.002 | 0.423
TARIM-J-08 | 924 | 2.99 | 0.215 | 64.3 | 545 | 0.0116 | 0.005 | 516 | 7.27 | 0.935 | 0.0741 | 0.0748 | 0.193 | 0.049 | 0.459 | 0.298 | 0.106 | 0.581 | 0.0699 | 0.54 | 0.116 | 0.351 | 0.0422 | 0.245 | 0.0333 | - | 0.003 | 0.428
TARIM-J-09 | 907 | 3.01 | 0.092 | 63.1 | 554 | - | 0.003 | 576 | 8.04 | 0.099 | 0.0378 | 0.0602 | 0.172 | 0.0403 | 0.395 | 0.323 | 0.1 | 0.578 | 0.0833 | 0.581 | 0.132 | 0.374 | 0.0496 | 0.274 | 0.0295 | - | 0.00194 | 0.264
TARIM-J-10 | 833 | 2.91 | 0.114 | 61.6 | 546 | 0.0027 | 0.008 | 620 | 7.98 | 0.079 | 0.196 | 0.06 | 0.168 | 0.0437 | 0.369 | 0.273 | 0.0922 | 0.509 | 0.0827 | 0.55 | 0.128 | 0.364 | 0.0446 | 0.271 | 0.0365 | - | 0.000873 | 0.208
TARIM-K-01 | 764 | 2.61 | 0.14 | 61.9 | 536 | 0.00498 | 0.017 | 679 | 9.43 | 0.0443 | 0.186 | 0.0592 | 0.167 | 0.042 | 0.371 | 0.334 | 0.106 | 0.642 | 0.0904 | 0.642 | 0.16 | 0.446 | 0.0563 | 0.306 | 0.0456 | - | 0.00156 | 0.316
TARIM-K-02 | 771 | 2.11 | 0.191 | 63.3 | 541 | - | 0.008 | 694 | 10.1 | 0.0376 | 0.194 | 0.0535 | 0.154 | 0.0397 | 0.354 | 0.344 | 0.106 | 0.634 | 0.0959 | 0.681 | 0.157 | 0.474 | 0.0605 | 0.341 | 0.0398 | - | 0.000246 | 0.355
TARIM-K-03 | 791 | 3.11 | 0.112 | 63 | 544 | - | 0.004 | 649 | 8.85 | 0.0552 | 0.121 | 0.0618 | 0.148 | 0.0513 | 0.358 | 0.332 | 0.104 | 0.61 | 0.0869 | 0.633 | 0.139 | 0.436 | 0.0529 | 0.278 | 0.037 | - | 0.00066 | 0.239
TARIM-K-04 | 782 | 2.49 | 0.184 | 62.9 | 541 | 0.00259 | 0.001 | 661 | 9.24 | 0.0361 | 0.174 | 0.0648 | 0.158 | 0.0399 | 0.389 | 0.292 | 0.107 | 0.608 | 0.0834 | 0.616 | 0.149 | 0.445 | 0.0537 | 0.301 | 0.0397 | - | 0.000888 | 0.278
TARIM-K-05 | 785 | 3.24 | 0.26 | 62.3 | 539 | 0.00175 | 0.003 | 616 | 8.34 | 0.0647 | 0.0916 | 0.051 | 0.153 | 0.0405 | 0.376 | 0.267 | 0.105 | 0.61 | 0.084 | 0.617 | 0.13 | 0.386 | 0.0482 | 0.273 | 0.0349 | - | 0.000361 | 0.238
TARIM-K-06 | 741 | 3.85 | 0.094 | 60.3 | 540 | 0.148 | 0.002 | 629 | 8.03 | 0.0536 | 0.0847 | 0.0538 | 0.162 | 0.0482 | 0.387 | 0.314 | 0.0981 | 0.6 | 0.0823 | 0.582 | 0.129 | 0.379 | 0.0428 | 0.229 | 0.033 | - | 0.00134 | 0.366
TARIM-K-07 | 717 | 2.18 | 0.118 | 64.3 | 546 | 0.0129 | 0.008 | 652 | 9.5 | 0.0249 | 0.112 | 0.0597 | 0.179 | 0.0432 | 0.407 | 0.336 | 0.114 | 0.638 | 0.101 | 0.691 | 0.154 | 0.465 | 0.0546 | 0.263 | 0.0382 | - | 0.00343 | 0.722
TARIM-K-08 | 717 | 1.81 | 0.194 | 64.9 | 546 | 0.00385 | 0.004 | 639 | 10.2 | 0.0177 | 0.0821 | 0.0712 | 0.195 | 0.053 | 0.462 | 0.399 | 0.143 | 0.692 | 0.108 | 0.757 | 0.173 | 0.493 | 0.063 | 0.321 | 0.0514 | - | 0.00969 | 0.684
TARIM-K-09 | 750 | 1.88 | 0.095 | 64.3 | 544 | - | 0.006 | 645 | 10.3 | 0.0211 | 0.17 | 0.063 | 0.185 | 0.0477 | 0.427 | 0.361 | 0.127 | 0.734 | 0.105 | 0.78 | 0.176 | 0.492 | 0.0585 | 0.347 | 0.0507 | - | 0.00429 | 0.698
TARIM-K-10 | 706 | 2.97 | 0.14 | 63.7 | 549 | 0.00268 | 0.006 | 620 | 8.36 | 0.0362 | 0.0769 | 0.0601 | 0.171 | 0.0468 | 0.393 | 0.341 | 0.114 | 0.626 | 0.0838 | 0.613 | 0.134 | 0.425 | 0.0471 | 0.268 | 0.0357 | - | 0.00225 | 0.48
TARIM-L-01 | 858 | 3.29 | 0.154 | 61.9 | 529 | 0.00388 | 0.018 | 597 | 7.6 | 0.0851 | 0.063 | 0.046 | 0.143 | 0.0417 | 0.369 | 0.284 | 0.094 | 0.566 | 0.0712 | 0.546 | 0.123 | 0.334 | 0.0451 | 0.243 | 0.0333 | - | 0.0018 | 0.242
TARIM-L-02 | 961 | 3.06 | 0.115 | 69.2 | 534 | 0.00539 | 0.012 | 494 | 6.15 | 0.0675 | 0.0512 | 0.0388 | 0.122 | 0.0363 | 0.322 | 0.217 | 0.0801 | 0.488 | 0.0558 | 0.409 | 0.0968 | 0.293 | 0.0331 | 0.194 | 0.0281 | - | - | 0.177
TARIM-L-03 | 886 | 2.85 | 0.077 | 61.3 | 539 | 0.00834 | 0.007 | 586 | 7.32 | 0.0859 | 0.109 | 0.0469 | 0.135 | 0.0421 | 0.328 | 0.271 | 0.0905 | 0.507 | 0.0644 | 0.516 | 0.113 | 0.334 | 0.0399 | 0.222 | 0.0282 | - | - | 0.101
TARIM-L-04 | 790 | 3.55 | 0.085 | 60.5 | 532 | 0.00784 | 0.001 | 747 | 10.3 | 0.0526 | 0.164 | 0.052 | 0.171 | 0.0458 | 0.42 | 0.361 | 0.116 | 0.733 | 0.101 | 0.711 | 0.162 | 0.456 | 0.0614 | 0.338 | 0.0436 | - | 0.000539 | 0.129
TARIM-L-05 | 787 | 3.68 | 0.098 | 60.7 | 549 | - | 0.009 | 757 | 10.3 | 0.0561 | 0.141 | 0.0583 | 0.174 | 0.0474 | 0.424 | 0.375 | 0.123 | 0.718 | 0.102 | 0.735 | 0.161 | 0.495 | 0.0599 | 0.337 | 0.0423 | - | 0.000931 | 0.143
TARIM-L-06 | 785 | 3.59 | 0.148 | 60.9 | 546 | 0.00572 | 0.007 | 740 | 10.2 | 0.0678 | 0.175 | 0.0584 | 0.172 | 0.0441 | 0.417 | 0.35 | 0.123 | 0.748 | 0.0948 | 0.727 | 0.16 | 0.48 | 0.0611 | 0.34 | 0.0396 | - | - | 0.129
TARIM-L-07 | 859 | 3.75 | 0.015 | 61.6 | 534 | 0.00618 | 0.005 | 611 | 8.71 | 0.0951 | 0.0493 | 0.0503 | 0.177 | 0.0487 | 0.369 | 0.35 | 0.114 | 0.649 | 0.0807 | 0.631 | 0.143 | 0.387 | 0.0502 | 0.305 | 0.0428 | - | 0.00113 | 0.152
TARIM-L-08 | 847 | 2.56 | 0.096 | 57.5 | 530 | 0.00203 | 0.003 | 624 | 7.44 | 0.1 | 0.0759 | 0.053 | 0.128 | 0.0381 | 0.347 | 0.248 | 0.0827 | 0.506 | 0.0693 | 0.495 | 0.12 | 0.313 | 0.0381 | 0.197 | 0.023 | - | - | 0.0433
TARIM-L-09 | 788 | 3.48 | 0.095 | 57.8 | 543 | - | 0.008 | 712 | 9.23 | 0.0883 | 0.112 | 0.0514 | 0.172 | 0.0514 | 0.401 | 0.366 | 0.1 | 0.645 | 0.0927 | 0.599 | 0.146 | 0.406 | 0.0525 | 0.276 | 0.0372 | - | 0.00108 | 0.148
TARIM-L-10 | 888 | 3.24 | 0.161 | 63.7 | 541 | 0.00581 | 0.01 | 571 | 7.65 | 0.111 | 0.0713 | 0.0538 | 0.147 | 0.0386 | 0.35 | 0.294 | 0.0906 | 0.547 | 0.0778 | 0.531 | 0.122 | 0.351 | 0.0386 | 0.245 | 0.0336 | - | - | 0.056
TARIM-M-01 | 845 | 2.23 | 0.14 | 69.5 | 550 | 0.00435 | 0.013 | 555 | 6.62 | 0.0834 | 0.0596 | 0.0414 | 0.121 | 0.0287 | 0.292 | 0.202 | 0.0756 | 0.449 | 0.0633 | 0.455 | 0.0971 | 0.296 | 0.038 | 0.188 | 0.0245 | - | 0.00522 | 0.484
TARIM-M-02 | 877 | 2.33 | 0.089 | 71.6 | 532 | 0.00346 | 0.004 | 538 | 7.01 | 0.0899 | 0.0582 | 0.0453 | 0.114 | 0.0352 | 0.269 | 0.225 | 0.0841 | 0.467 | 0.0675 | 0.453 | 0.105 | 0.321 | 0.0403 | 0.19 | 0.0274 | - | 0.0098 | 0.553
TARIM-M-03 | 874 | 2.52 | 0.079 | 71.4 | 532 | - | 0.001 | 501 | 6.38 | 0.0793 | 0.0729 | 0.0427 | 0.121 | 0.0345 | 0.273 | 0.217 | 0.077 | 0.466 | 0.0619 | 0.428 | 0.106 | 0.302 | 0.0352 | 0.218 | 0.0294 | - | 0.0169 | 0.678
TARIM-M-04 | 709 | 2.58 | 0.144 | 65.8 | 542 | 0.0155 | 0.001 | 609 | 7.26 | 0.0793 | 0.132 | 0.0473 | 0.114 | 0.0423 | 0.313 | 0.244 | 0.0847 | 0.504 | 0.0664 | 0.498 | 0.112 | 0.345 | 0.0394 | 0.227 | 0.0269 | - | 0.00865 | 0.35
TARIM-M-05 | 760 | 2.59 | 0.15 | 67 | 542 | 0.0196 | 0.005 | 622 | 8.36 | 0.0764 | 0.123 | 0.0517 | 0.148 | 0.0417 | 0.321 | 0.282 | 0.107 | 0.56 | 0.0815 | 0.531 | 0.139 | 0.37 | 0.0456 | 0.253 | 0.0335 | - | 0.0113 | 0.567
TARIM-M-06 | 819 | 2.6 | 0.053 | 68.2 | 540 | 0.00534 | 0.003 | 580 | 7.7 | 0.0731 | 0.0779 | 0.0426 | 0.137 | 0.0403 | 0.296 | 0.28 | 0.0956 | 0.506 | 0.0711 | 0.521 | 0.119 | 0.345 | 0.0463 | 0.209 | 0.0326 | - | 0.0195 | 0.62
TARIM-M-07 | 801 | 2.71 | 0.177 | 67.4 | 541 | 0.0104 | 0.005 | 602 | 7.88 | 0.0722 | 0.125 | 0.0568 | 0.14 | 0.0386 | 0.367 | 0.289 | 0.0909 | 0.561 | 0.0743 | 0.52 | 0.119 | 0.377 | 0.043 | 0.28 | 0.0327 | - | 0.0247 | 0.512
TARIM-M-08 | 1100 | 3.45 | 0.137 | 84.1 | 542 | 0.00233 | 0.009 | 415 | 5.74 | 0.0721 | 0.0259 | 0.0404 | 0.11 | 0.0315 | 0.292 | 0.234 | 0.0833 | 0.409 | 0.0549 | 0.426 | 0.0944 | 0.276 | 0.0342 | 0.197 | 0.0272 | - | 0.0472 | 0.617
TARIM-M-09 | 796 | 1.88 | 0.063 | 65.2 | 541 | 0.00229 | 0.009 | 691 | 9.87 | 0.0551 | 0.144 | 0.0525 | 0.148 | 0.0396 | 0.371 | 0.332 | 0.113 | 0.587 | 0.0882 | 0.625 | 0.161 | 0.458 | 0.0576 | 0.343 | 0.0454 | - | 0.0261 | 0.533
TARIM-M-10 | 790 | 2.41 | 0.092 | 64.1 | 544 | 0.0155 | 0.005 | 693 | 9.41 | 0.0625 | 0.105 | 0.0532 | 0.151 | 0.0433 | 0.352 | 0.28 | 0.102 | 0.604 | 0.085 | 0.633 | 0.144 | 0.418 | 0.0547 | 0.281 | 0.0427 | - | 0.0261 | 0.52
BCR-2G @150 μm, 2.7 J·cm-2, 8 Hz
BCR-2G 01 | 18600 | 432 | 16.2 | 1520 | 68500 | 22.5 | 49.5 | 344 | 32.3 | 172 | 688 | 24.4 | 51.2 | 6.53 | 28.1 | 6.41 | 1.89 | 6.38 | 1.01 | 6.02 | 1.22 | 3.61 | 0.483 | 3.31 | 0.462 | 10.8 | 5.84 | 1.74
BCR-2G 02 | 18200 | 432 | 15.4 | 1480 | 66600 | 21.5 | 46.1 | 336 | 31.2 | 167 | 668 | 23.5 | 49 | 6.23 | 26.7 | 6.42 | 1.86 | 6.38 | 0.919 | 5.86 | 1.17 | 3.37 | 0.47 | 3.28 | 0.459 | 9.94 | 5.47 | 1.62
BCR-2G 03 | 18200 | 421 | 14.7 | 1470 | 66300 | 20.6 | 45.6 | 330 | 30.2 | 165 | 649 | 22.8 | 48.7 | 6.2 | 25.8 | 6.07 | 1.79 | 6.2 | 0.925 | 5.8 | 1.16 | 3.27 | 0.473 | 3.05 | 0.445 | 9.52 | 5.46 | 1.6
BCR-2G 04 | 18400 | 427 | 15.6 | 1490 | 68000 | 21.2 | 46 | 336 | 31.4 | 170 | 684 | 23.9 | 49.7 | 6.26 | 27.3 | 6.34 | 1.88 | 6.43 | 0.941 | 5.85 | 1.2 | 3.42 | 0.487 | 3.21 | 0.475 | 9.64 | 5.57 | 1.62
BCR-2G 05 | 18400 | 430 | 14.6 | 1500 | 67000 | 21.5 | 46.4 | 339 | 31.8 | 170 | 675 | 23.8 | 50.2 | 6.33 | 27.5 | 6.45 | 1.84 | 6.57 | 0.93 | 5.9 | 1.2 | 3.42 | 0.484 | 3.25 | 0.453 | 9.64 | 5.52 | 1.64
BCR-2G 06 | 18200 | 429 | 14.8 | 1480 | 66100 | 21 | 46.2 | 335 | 30.8 | 170 | 655 | 23.3 | 49.2 | 6.14 | 27 | 6.22 | 1.85 | 6.4 | 0.927 | 5.87 | 1.16 | 3.35 | 0.463 | 3.15 | 0.449 | 9.73 | 5.47 | 1.62
BCR-2G 07 | 18300 | 426 | 14.6 | 1470 | 66500 | 21.8 | 45.7 | 333 | 31.1 | 170 | 662 | 23.5 | 49.4 | 6.31 | 27.3 | 6.46 | 1.81 | 6.22 | 0.923 | 5.96 | 1.22 | 3.37 | 0.487 | 3.1 | 0.461 | 9.76 | 5.5 | 1.64
BCR-2G 08 | 18300 | 426 | 14.4 | 1480 | 66500 | 20.9 | 45.8 | 331 | 31.6 | 170 | 662 | 23.3 | 49.3 | 6.1 | 27 | 6.37 | 1.81 | 6.48 | 0.913 | 5.77 | 1.21 | 3.3 | 0.48 | 3.08 | 0.471 | 9.35 | 5.57 | 1.57
BCR-2G 09 | 18700 | 431 | 15.4 | 1500 | 66800 | 21.1 | 46 | 341 | 31.8 | 173 | 673 | 23.7 | 50.4 | 6.27 | 27.6 | 6.41 | 1.85 | 6.61 | 0.961 | 5.93 | 1.2 | 3.46 | 0.47 | 3.148 | 0.474 | 9.57 | 5.53 | 1.63
BCR-2G 10 | 18500 | 428 | 15.3 | 1490 | 66400 | 20.7 | 45.8 | 334 | 31.4 | 172 | 667 | 23.6 | 49.5 | 6.16 | 27.3 | 6.26 | 1.8 | 6.35 | 0.924 | 5.95 | 1.2 | 3.49 | 0.477 | 3.218 | 0.44 | 9.85 | 5.52 | 1.59
BCR-2G 11 | 18500 | 427 | 14.9 | 1510 | 66800 | 21.3 | 45.7 | 340 | 32.2 | 175 | 679 | 23.8 | 50.2 | 6.23 | 27.5 | 6.38 | 1.9 | 6.63 | 0.963 | 6.06 | 1.24 | 3.47 | 0.486 | 3.26 | 0.471 | 9.82 | 5.66 | 1.65
"-" indicates that the elemental content is below the detection limit.

## Table S4 Sr isotope data
Table S4 Sr isotope ratios of HZZ-2 and TARIM calcite and reference materials determined using LA-MC-ICP-MS.
HZZ-2 |  |  | TARIM
Analysis No. | 87Sr/86Sr | 2s | Analysis No. | 87Sr/86Sr | 2s
HZZ-2-A @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-J @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-A-01 | 0.70936 | 7.9e-05 | TARIM-J-01 | 0.71044 | 5.8e-05
HZZ-2-A-02 | 0.70935 | 8.8e-05 | TARIM-J-02 | 0.7104 | 3.5e-05
HZZ-2-A-03 | 0.70937 | 7.8e-05 | TARIM-J-03 | 0.71043 | 3.6e-05
HZZ-2-A-04 | 0.7094 | 7.3e-05 | TARIM-J-04 | 0.71045 | 3.3e-05
HZZ-2-A-05 | 0.70944 | 7.7e-05 | TARIM-J-05 | 0.71042 | 3.6e-05
HZZ-2-A-06 | 0.70939 | 8.5e-05 | TARIM-J-06 | 0.71045 | 4.5e-05
HZZ-2-A-07 | 0.70941 | 7.2e-05 | TARIM-J-07 | 0.71039 | 4.9e-05
HZZ-2-A-08 | 0.70937 | 7.9e-05 | TARIM-J-08 | 0.71046 | 4.3e-05
HZZ-2-A-09 | 0.70937 | 8e-05 | TARIM-J-09 | 0.71042 | 5e-05
HZZ-2-A-10 | 0.70935 | 8e-05 | TARIM-J-10 | 0.71042 | 4e-05
HZZ-2-A-11 | 0.70944 | 8.1e-05 | TARIM-J-11 | 0.71043 | 4.5e-05
HZZ-2-A-12 | 0.70947 | 7.4e-05 | TARIM-J-12 | 0.7104 | 3.6e-05
HZZ-2-A-13 | 0.7094 | 7.4e-05 | TARIM-J-13 | 0.71042 | 3.5e-05
HZZ-2-A-14 | 0.70936 | 7.1e-05 | TARIM-J-14 | 0.7104 | 3.4e-05
HZZ-2-A-15 | 0.70941 | 7.3e-05 | TARIM-J-15 | 0.71039 | 3.8e-05
HZZ-2-A-16 | 0.70941 | 7.4e-05 | TARIM-J-16 | 0.71046 | 4.9e-05
HZZ-2-A-17 | 0.70943 | 6.8e-05 | TARIM-J-17 | 0.71043 | 3.9e-05
HZZ-2-A-18 | 0.70936 | 7.1e-05 | TARIM-J-18 | 0.71041 | 3.7e-05
HZZ-2-A-19 | 0.7094 | 7.7e-05 | TARIM-J-19 | 0.71045 | 6e-05
HZZ-2-A-20 | 0.7094 | 9.1e-05 | TARIM-J-20 | 0.7104 | 4.1e-05
HZZ-2-A-21 | 0.70938 | 9.4e-05 | TARIM-J-21 | 0.71044 | 3.5e-05
HZZ-2-A-22 | 0.70935 | 9e-05 | TARIM-J-22 | 0.7104 | 2.5e-05
HZZ-2-A-23 | 0.70938 | 8.1e-05 | TARIM-J-23 | 0.71042 | 2.6e-05
HZZ-2-A-24 | 0.70943 | 8.1e-05 | TARIM-J-24 | 0.71042 | 2.9e-05
HZZ-2-A-25 | 0.70936 | 7.5e-05 | TARIM-J-25 | 0.7104 | 3.7e-05
HZZ-2-A-26 | 0.7094 | 8.6e-05 | TARIM-J-26 | 0.71042 | 4.5e-05
HZZ-2-A-27 | 0.70934 | 7.9e-05 | TARIM-J-27 | 0.71039 | 4.6e-05
HZZ-2-A-28 | 0.70937 | 7.6e-05 | TARIM-J-28 | 0.71045 | 4.2e-05
HZZ-2-A-29 | 0.70939 | 8.1e-05 | TARIM-J-29 | 0.71041 | 5.3e-05
HZZ-2-A-30 | 0.70939 | 9.3e-05 | TARIM-J-30 | 0.71043 | 3.7e-05
HZZ-2-A-31 | 0.70941 | 8.3e-05 | TARIM-J-31 | 0.71043 | 4.1e-05
HZZ-2-A-32 | 0.70942 | 6.6e-05 | TARIM-J-32 | 0.71046 | 4.5e-05
HZZ-2-A-33 | 0.70939 | 8.4e-05 | TARIM-J-33 | 0.71047 | 5e-05
HZZ-2-A-34 | 0.70938 | 8.6e-05 | TARIM-J-34 | 0.71042 | 6e-05
HZZ-2-A-35 | 0.70941 | 8.4e-05 | TARIM-J-35 | 0.7104 | 5.3e-05
HZZ-2-A-36 | 0.70943 | 9.4e-05 | Mean | 0.71042 | 4.5525e-05
HZZ-2-A-37 | 0.70935 | 0.0001
HZZ-2-A-38 | 0.70943 | 9.1e-05 | TARIM-K @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-A-39 | 0.70941 | 7.8e-05 | TARIM-K-01 | 0.71047 | 4.2e-05
HZZ-2-A-40 | 0.7094 | 8e-05 | TARIM-K-02 | 0.71042 | 4.3e-05
Mean | 0.70939 | 6.1362e-05 | TARIM-K-03 | 0.71042 | 3.7e-05
|  |  | TARIM-K-04 | 0.71045 | 4.4e-05
HZZ-2-B @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-K-05 | 0.71042 | 4.4e-05
HZZ-2-B-01 | 0.70941 | 8e-05 | TARIM-K-06 | 0.71049 | 4.8e-05
HZZ-2-B-02 | 0.70939 | 7.4e-05 | TARIM-K-07 | 0.71049 | 3.8e-05
HZZ-2-B-03 | 0.70942 | 8.1e-05 | TARIM-K-08 | 0.7104 | 4.2e-05
HZZ-2-B-04 | 0.70946 | 7.8e-05 | TARIM-K-09 | 0.7104 | 4.1e-05
HZZ-2-B-05 | 0.70944 | 7.4e-05 | TARIM-K-10 | 0.71039 | 4.1e-05
HZZ-2-B-06 | 0.70942 | 8.4e-05 | TARIM-K-11 | 0.71043 | 4e-05
HZZ-2-B-07 | 0.70937 | 7.5e-05 | TARIM-K-12 | 0.71042 | 4e-05
HZZ-2-B-08 | 0.70942 | 6.9e-05 | TARIM-K-13 | 0.7104 | 3.9e-05
HZZ-2-B-09 | 0.7094 | 7.5e-05 | TARIM-K-14 | 0.7104 | 4e-05
HZZ-2-B-10 | 0.7094 | 7.3e-05 | TARIM-K-15 | 0.71037 | 4.3e-05
HZZ-2-B-11 | 0.70942 | 8.8e-05 | TARIM-K-16 | 0.71052 | 4.6e-05
HZZ-2-B-12 | 0.70945 | 7.7e-05 | TARIM-K-17 | 0.71042 | 4.4e-05
HZZ-2-B-13 | 0.70939 | 8.1e-05 | TARIM-K-18 | 0.7104 | 5.2e-05
HZZ-2-B-14 | 0.70945 | 8.7e-05 | TARIM-K-19 | 0.71036 | 4.3e-05
HZZ-2-B-15 | 0.7095 | 0.00013 | TARIM-K-20 | 0.71039 | 4.2e-05
HZZ-2-B-16 | 0.70939 | 8.1e-05 | TARIM-K-21 | 0.71042 | 4.6e-05
HZZ-2-B-17 | 0.70942 | 8.5e-05 | TARIM-K-22 | 0.71045 | 4.1e-05
HZZ-2-B-18 | 0.70944 | 8.1e-05 | TARIM-K-23 | 0.7104 | 4.8e-05
HZZ-2-B-19 | 0.70945 | 8.5e-05 | TARIM-K-24 | 0.7104 | 4.3e-05
HZZ-2-B-20 | 0.70942 | 7.3e-05 | TARIM-K-25 | 0.7104 | 4.4e-05
HZZ-2-B-21 | 0.70936 | 6.6e-05 | TARIM-K-26 | 0.71043 | 5e-05
HZZ-2-B-22 | 0.70941 | 8.4e-05 | TARIM-K-27 | 0.71038 | 4.3e-05
HZZ-2-B-23 | 0.70946 | 8.9e-05 | TARIM-K-28 | 0.71039 | 4.4e-05
HZZ-2-B-24 | 0.70941 | 8.4e-05 | TARIM-K-29 | 0.71039 | 4.3e-05
HZZ-2-B-25 | 0.70941 | 8.8e-05 | TARIM-K-30 | 0.71034 | 4.5e-05
HZZ-2-B-26 | 0.70941 | 8.8e-05 | TARIM-K-31 | 0.7104 | 4.3e-05
HZZ-2-B-27 | 0.70942 | 8.2e-05 | TARIM-K-32 | 0.71031 | 4.2e-05
HZZ-2-B-28 | 0.70937 | 9.1e-05 | TARIM-K-33 | 0.71038 | 4.1e-05
HZZ-2-B-29 | 0.70944 | 0.00013 | TARIM-K-34 | 0.71039 | 4.5e-05
HZZ-2-B-30 | 0.70936 | 9.4e-05 | TARIM-K-35 | 0.71036 | 4.4e-05
HZZ-2-B-31 | 0.70942 | 8.8e-05 | Mean | 0.71041 | 8.3199e-05
HZZ-2-B-32 | 0.70945 | 9.9e-05
HZZ-2-B-33 | 0.70938 | 0.00011 | TARIM-L @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-B-34 | 0.70943 | 9e-05 | TARIM-L-01 | 0.71046 | 6.6e-05
HZZ-2-B-35 | 0.70941 | 0.00011 | TARIM-L-02 | 0.71049 | 5.2e-05
HZZ-2-B-36 | 0.70942 | 8.5e-05 | TARIM-L-03 | 0.71047 | 4.3e-05
HZZ-2-B-37 | 0.70943 | 8.9e-05 | TARIM-L-04 | 0.71049 | 4.1e-05
HZZ-2-B-38 | 0.70941 | 9e-05 | TARIM-L-05 | 0.71047 | 4.4e-05
Mean | 0.70942 | 6.0058e-05 | TARIM-L-06 | 0.71047 | 4.3e-05
|  |  | TARIM-L-07 | 0.71049 | 4.6e-05
HZZ-2-C @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-L-08 | 0.71047 | 4.6e-05
HZZ-2-C-01 | 0.70943 | 7.5e-05 | TARIM-L-09 | 0.71049 | 4.4e-05
HZZ-2-C-02 | 0.70944 | 9.5e-05 | TARIM-L-10 | 0.71049 | 4.7e-05
HZZ-2-C-03 | 0.70937 | 0.00011 | TARIM-L-11 | 0.71048 | 5.4e-05
HZZ-2-C-04 | 0.7094 | 9e-05 | TARIM-L-12 | 0.71045 | 4.3e-05
HZZ-2-C-05 | 0.70942 | 7.9e-05 | TARIM-L-13 | 0.71048 | 4.6e-05
HZZ-2-C-06 | 0.70938 | 8.2e-05 | TARIM-L-14 | 0.71047 | 4.1e-05
HZZ-2-C-07 | 0.70944 | 7.5e-05 | TARIM-L-15 | 0.71052 | 5e-05
HZZ-2-C-08 | 0.70935 | 6.7e-05 | TARIM-L-16 | 0.71045 | 5.1e-05
HZZ-2-C-09 | 0.70939 | 8.5e-05 | TARIM-L-17 | 0.71044 | 5.7e-05
HZZ-2-C-10 | 0.70943 | 8e-05 | TARIM-L-18 | 0.71045 | 5e-05
HZZ-2-C-11 | 0.70941 | 7.4e-05 | TARIM-L-19 | 0.71046 | 5e-05
HZZ-2-C-12 | 0.7094 | 9.3e-05 | TARIM-L-20 | 0.71044 | 4.7e-05
HZZ-2-C-13 | 0.70935 | 7.9e-05 | TARIM-L-21 | 0.71048 | 5.8e-05
HZZ-2-C-14 | 0.70945 | 0.00011 | TARIM-L-22 | 0.71051 | 4.5e-05
HZZ-2-C-15 | 0.70948 | 0.00011 | TARIM-L-23 | 0.71047 | 4.9e-05
HZZ-2-C-16 | 0.70948 | 0.00011 | TARIM-L-24 | 0.71043 | 5.2e-05
HZZ-2-C-17 | 0.70941 | 0.00011 | TARIM-L-25 | 0.71043 | 5.1e-05
HZZ-2-C-18 | 0.70946 | 0.0001 | TARIM-L-26 | 0.7105 | 4.2e-05
HZZ-2-C-19 | 0.70937 | 0.0001 | TARIM-L-27 | 0.7104 | 5.7e-05
HZZ-2-C-20 | 0.70937 | 0.0001 | TARIM-L-28 | 0.71042 | 4.8e-05
HZZ-2-C-21 | 0.70939 | 9e-05 | TARIM-L-29 | 0.71046 | 5.2e-05
HZZ-2-C-22 | 0.7094 | 0.0001 | TARIM-L-30 | 0.71056 | 8.1e-05
HZZ-2-C-23 | 0.70945 | 0.0001 | TARIM-L-31 | 0.71047 | 6e-05
HZZ-2-C-24 | 0.70939 | 0.0001 | TARIM-L-32 | 0.71049 | 6.1e-05
HZZ-2-C-25 | 0.7094 | 9.1e-05 | TARIM-L-33 | 0.71048 | 4.8e-05
HZZ-2-C-26 | 0.70942 | 9.6e-05 | TARIM-L-34 | 0.71049 | 4.8e-05
HZZ-2-C-27 | 0.70941 | 8.7e-05 | TARIM-L-35 | 0.71046 | 3.6e-05
HZZ-2-C-28 | 0.70939 | 8.1e-05 | TARIM-L-36 | 0.71048 | 3.8e-05
HZZ-2-C-29 | 0.70943 | 9.6e-05 | TARIM-L-37 | 0.71046 | 4.8e-05
HZZ-2-C-30 | 0.70941 | 9e-05 | TARIM-L-38 | 0.71046 | 4.7e-05
HZZ-2-C-31 | 0.70944 | 8.5e-05 | TARIM-L-39 | 0.71047 | 3.5e-05
HZZ-2-C-32 | 0.70944 | 8.2e-05 | TARIM-L-40 | 0.71047 | 4.8e-05
HZZ-2-C-33 | 0.70938 | 0.0001 | Mean | 0.71047 | 5.4532e-05
HZZ-2-C-34 | 0.70935 | 0.00013
HZZ-2-C-35 | 0.70934 | 0.00011 | TARIM-M @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-C-36 | 0.7094 | 0.00011 | TARIM-M-01 | 0.71047 | 5.6e-05
HZZ-2-C-37 | 0.7094 | 9.9e-05 | TARIM-M-02 | 0.71043 | 5.9e-05
HZZ-2-C-38 | 0.70945 | 0.00012 | TARIM-M-03 | 0.71045 | 0.0001
HZZ-2-C-39 | 0.70948 | 0.00012 | TARIM-M-04 | 0.71038 | 4.5e-05
HZZ-2-C-40 | 0.70938 | 0.00011 | TARIM-M-05 | 0.7104 | 4.6e-05
Mean | 0.70941 | 7.3058e-05 | TARIM-M-06 | 0.71041 | 5.7e-05
|  |  | TARIM-M-07 | 0.71043 | 5.4e-05
HZZ-2-D @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-M-08 | 0.71041 | 4.5e-05
HZZ-2-D-01 | 0.70939 | 8.8e-05 | TARIM-M-09 | 0.71046 | 4.5e-05
HZZ-2-D-02 | 0.70938 | 9.7e-05 | TARIM-M-10 | 0.7104 | 4.7e-05
HZZ-2-D-03 | 0.70944 | 9.1e-05 | TARIM-M-11 | 0.71045 | 7.6e-05
HZZ-2-D-04 | 0.70943 | 7.2e-05 | TARIM-M-12 | 0.71037 | 5.7e-05
HZZ-2-D-05 | 0.7094 | 7.8e-05 | TARIM-M-13 | 0.71041 | 5.5e-05
HZZ-2-D-06 | 0.70935 | 9.1e-05 | TARIM-M-14 | 0.71041 | 4.7e-05
HZZ-2-D-07 | 0.70939 | 7.6e-05 | TARIM-M-15 | 0.7104 | 5e-05
HZZ-2-D-08 | 0.70941 | 8.4e-05 | TARIM-M-16 | 0.71042 | 5.7e-05
HZZ-2-D-09 | 0.70941 | 8.2e-05 | TARIM-M-17 | 0.71035 | 5.5e-05
HZZ-2-D-10 | 0.7094 | 8.6e-05 | TARIM-M-18 | 0.7104 | 4.8e-05
HZZ-2-D-11 | 0.70941 | 8.5e-05 | TARIM-M-19 | 0.71038 | 4.4e-05
HZZ-2-D-12 | 0.7094 | 8.6e-05 | TARIM-M-20 | 0.7104 | 4.3e-05
HZZ-2-D-13 | 0.70945 | 8.7e-05 | TARIM-M-21 | 0.71033 | 5.9e-05
HZZ-2-D-14 | 0.70946 | 8.6e-05 | TARIM-M-22 | 0.71039 | 6.1e-05
HZZ-2-D-15 | 0.70944 | 8.6e-05 | TARIM-M-23 | 0.71039 | 5.8e-05
HZZ-2-D-16 | 0.70945 | 8.5e-05 | TARIM-M-24 | 0.71033 | 5.7e-05
HZZ-2-D-17 | 0.70941 | 0.0001 | TARIM-M-25 | 0.7104 | 6e-05
HZZ-2-D-18 | 0.70939 | 8.9e-05 | TARIM-M-26 | 0.71038 | 5e-05
HZZ-2-D-19 | 0.70938 | 9.5e-05 | TARIM-M-27 | 0.71034 | 4.3e-05
HZZ-2-D-20 | 0.70946 | 9.7e-05 | TARIM-M-28 | 0.71042 | 9.7e-05
HZZ-2-D-21 | 0.70934 | 8.1e-05 | TARIM-M-29 | 0.71044 | 5.3e-05
HZZ-2-D-22 | 0.70938 | 8.2e-05 | TARIM-M-30 | 0.71041 | 5.3e-05
HZZ-2-D-23 | 0.70937 | 8.9e-05 | TARIM-M-31 | 0.71042 | 6.2e-05
HZZ-2-D-24 | 0.70942 | 9.4e-05 | TARIM-M-32 | 0.71038 | 5e-05
HZZ-2-D-25 | 0.70941 | 8.2e-05 | TARIM-M-33 | 0.71033 | 4.8e-05
HZZ-2-D-26 | 0.70942 | 8.9e-05 | TARIM-M-34 | 0.71038 | 8.1e-05
HZZ-2-D-27 | 0.70934 | 8e-05 | TARIM-M-35 | 0.71036 | 6e-05
HZZ-2-D-28 | 0.70943 | 0.00011 | TARIM-M-36 | 0.71034 | 0.0001
HZZ-2-D-29 | 0.7094 | 8.9e-05 | TARIM-M-37 | 0.71031 | 6.5e-05
HZZ-2-D-30 | 0.70936 | 8.3e-05 | TARIM-M-38 | 0.71033 | 6.4e-05
HZZ-2-D-31 | 0.70935 | 0.00011 | TARIM-M-39 | 0.71036 | 7.7e-05
HZZ-2-D-32 | 0.70937 | 8.7e-05 | TARIM-M-40 | 0.71035 | 5.6e-05
HZZ-2-D-33 | 0.70945 | 0.00011 | Mean | 0.71039 | 7.9565e-05
HZZ-2-D-34 | 0.70939 | 0.0001
HZZ-2-D-35 | 0.7094 | 9.4e-05 | TARIM-J2 @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-D-36 | 0.70936 | 8.7e-05 | TARIM-J2-01 | 0.71041 | 5.2e-05
HZZ-2-D-37 | 0.70943 | 8.4e-05 | TARIM-J2-02 | 0.71039 | 3e-05
HZZ-2-D-38 | 0.70943 | 9e-05 | TARIM-J2-03 | 0.7104 | 3.4e-05
HZZ-2-D-39 | 0.70937 | 8.4e-05 | TARIM-J2-04 | 0.71041 | 3.7e-05
HZZ-2-D-40 | 0.70939 | 8e-05 | TARIM-J2-05 | 0.71041 | 4.5e-05
Mean | 0.7094 | 6.6241e-05 | TARIM-J2-06 | 0.71047 | 4.5e-05
|  |  | TARIM-J2-07 | 0.71045 | 4.1e-05
HZZ-2-E @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-J2-08 | 0.71044 | 5e-05
HZZ-2-E-01 | 0.70934 | 7.5e-05 | TARIM-J2-09 | 0.71045 | 4.9e-05
HZZ-2-E-02 | 0.7094 | 8e-05 | TARIM-J2-10 | 0.71038 | 4.8e-05
HZZ-2-E-03 | 0.70938 | 8.3e-05 | TARIM-J2-11 | 0.71045 | 6.6e-05
HZZ-2-E-04 | 0.70938 | 7.1e-05 | TARIM-J2-12 | 0.7104 | 2.3e-05
HZZ-2-E-05 | 0.70944 | 8.6e-05 | TARIM-J2-13 | 0.71042 | 3.7e-05
HZZ-2-E-06 | 0.70941 | 8.3e-05 | TARIM-J2-14 | 0.71043 | 4.5e-05
HZZ-2-E-07 | 0.70932 | 8.8e-05 | TARIM-J2-15 | 0.71045 | 3.9e-05
HZZ-2-E-08 | 0.70935 | 7e-05 | TARIM-J2-16 | 0.71042 | 4e-05
HZZ-2-E-09 | 0.70935 | 8.3e-05 | TARIM-J2-17 | 0.71046 | 4.4e-05
HZZ-2-E-10 | 0.70937 | 8.6e-05 | TARIM-J2-18 | 0.71033 | 5.3e-05
HZZ-2-E-11 | 0.70939 | 8.3e-05 | TARIM-J2-19 | 0.71044 | 4.8e-05
HZZ-2-E-12 | 0.70939 | 7.8e-05 | TARIM-J2-20 | 0.71041 | 4.1e-05
HZZ-2-E-13 | 0.70937 | 9.1e-05 | TARIM-J2-21 | 0.71045 | 4.9e-05
HZZ-2-E-14 | 0.7094 | 8.6e-05 | TARIM-J2-22 | 0.71038 | 4.3e-05
HZZ-2-E-15 | 0.70938 | 8.4e-05 | TARIM-J2-23 | 0.71039 | 4e-05
HZZ-2-E-16 | 0.70941 | 8.2e-05 | TARIM-J2-24 | 0.71043 | 4.3e-05
HZZ-2-E-17 | 0.7094 | 9.9e-05 | TARIM-J2-25 | 0.7104 | 3.6e-05
HZZ-2-E-18 | 0.70935 | 8.7e-05 | TARIM-J2-26 | 0.7104 | 4.5e-05
HZZ-2-E-19 | 0.70937 | 8.4e-05 | TARIM-J2-27 | 0.7104 | 2.9e-05
HZZ-2-E-20 | 0.70938 | 8.1e-05 | TARIM-J2-28 | 0.7104 | 3.4e-05
HZZ-2-E-21 | 0.70938 | 7.5e-05 | TARIM-J2-29 | 0.71041 | 6.5e-05
HZZ-2-E-22 | 0.70942 | 8.7e-05 | TARIM-J2-30 | 0.71046 | 4e-05
HZZ-2-E-23 | 0.70935 | 8.7e-05 | TARIM-J2-31 | 0.71044 | 4.4e-05
HZZ-2-E-24 | 0.70937 | 9.8e-05 | TARIM-J2-32 | 0.71043 | 5e-05
HZZ-2-E-25 | 0.70932 | 0.0001 | TARIM-J2-33 | 0.71046 | 4.9e-05
HZZ-2-E-26 | 0.7094 | 7.8e-05 | TARIM-J2-34 | 0.71039 | 4.9e-05
HZZ-2-E-27 | 0.7094 | 9.7e-05 | TARIM-J2-35 | 0.71043 | 3.7e-05
HZZ-2-E-28 | 0.70939 | 8.6e-05 | TARIM-J2-36 | 0.71038 | 3.9e-05
HZZ-2-E-29 | 0.70936 | 0.00011 | TARIM-J2-37 | 0.7104 | 4.5e-05
HZZ-2-E-30 | 0.70939 | 9.8e-05 | TARIM-J2-38 | 0.71042 | 4.6e-05
HZZ-2-E-31 | 0.70942 | 9.4e-05 | TARIM-J2-39 | 0.7104 | 3.9e-05
HZZ-2-E-32 | 0.70933 | 9.8e-05 | TARIM-J2-40 | 0.71044 | 3.6e-05
HZZ-2-E-33 | 0.70943 | 8.8e-05 | Mean | 0.71042 | 5.8586e-05
HZZ-2-E-34 | 0.70937 | 9.9e-05
HZZ-2-E-35 | 0.70942 | 9.8e-05 | TARIM-K2 @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-E-36 | 0.70937 | 0.00011 | TARIM-K2-01 | 0.71048 | 5e-05
HZZ-2-E-37 | 0.70938 | 9.1e-05 | TARIM-K2-02 | 0.7104 | 4e-05
HZZ-2-E-38 | 0.70935 | 8e-05 | TARIM-K2-03 | 0.71041 | 4e-05
HZZ-2-E-39 | 0.70937 | 9.8e-05 | TARIM-K2-04 | 0.71039 | 4e-05
HZZ-2-E-40 | 0.7094 | 8e-05 | TARIM-K2-05 | 0.7104 | 4e-05
Mean | 0.70938 | 5.5536e-05 | TARIM-K2-06 | 0.7104 | 4e-05
|  |  | TARIM-K2-07 | 0.7104 | 4e-05
HZZ-2-F @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-K2-08 | 0.71045 | 4e-05
HZZ-2-F-01 | 0.70939 | 5.2e-05 | TARIM-K2-09 | 0.71041 | 4e-05
HZZ-2-F-02 | 0.70944 | 6e-05 | TARIM-K2-10 | 0.71039 | 4e-05
HZZ-2-F-03 | 0.7094 | 5.8e-05 | TARIM-K2-11 | 0.71041 | 5e-05
HZZ-2-F-04 | 0.70946 | 6.2e-05 | TARIM-K2-12 | 0.71042 | 5e-05
HZZ-2-F-05 | 0.7094 | 5.7e-05 | TARIM-K2-13 | 0.71041 | 4e-05
HZZ-2-F-06 | 0.70937 | 6e-05 | TARIM-K2-14 | 0.71039 | 4e-05
HZZ-2-F-07 | 0.70937 | 5.5e-05 | TARIM-K2-15 | 0.71041 | 4e-05
HZZ-2-F-08 | 0.70937 | 5.5e-05 | TARIM-K2-16 | 0.7104 | 4e-05
HZZ-2-F-09 | 0.70942 | 5e-05 | TARIM-K2-17 | 0.71044 | 4e-05
HZZ-2-F-10 | 0.70936 | 5.7e-05 | TARIM-K2-18 | 0.71037 | 4e-05
HZZ-2-F-11 | 0.70941 | 6.1e-05 | TARIM-K2-19 | 0.71041 | 4e-05
HZZ-2-F-12 | 0.70939 | 5.4e-05 | TARIM-K2-20 | 0.71037 | 4e-05
HZZ-2-F-13 | 0.70933 | 5.9e-05 | TARIM-K2-21 | 0.7104 | 5e-05
HZZ-2-F-14 | 0.70938 | 6e-05 | TARIM-K2-22 | 0.71041 | 4e-05
HZZ-2-F-15 | 0.70938 | 5.7e-05 | TARIM-K2-23 | 0.71044 | 4e-05
HZZ-2-F-16 | 0.70942 | 5.7e-05 | TARIM-K2-24 | 0.7104 | 4e-05
HZZ-2-F-17 | 0.7094 | 6.2e-05 | TARIM-K2-25 | 0.71038 | 5e-05
HZZ-2-F-18 | 0.70941 | 5.2e-05 | TARIM-K2-26 | 0.71043 | 4e-05
HZZ-2-F-19 | 0.70944 | 5.8e-05 | TARIM-K2-27 | 0.71039 | 5e-05
HZZ-2-F-20 | 0.70943 | 5.6e-05 | TARIM-K2-28 | 0.71042 | 5e-05
HZZ-2-F-21 | 0.7094 | 6.1e-05 | TARIM-K2-29 | 0.71039 | 4e-05
HZZ-2-F-22 | 0.70936 | 5e-05 | TARIM-K2-30 | 0.71045 | 5e-05
HZZ-2-F-23 | 0.70938 | 5.2e-05 | TARIM-K2-31 | 0.71049 | 4e-05
HZZ-2-F-24 | 0.70939 | 5.8e-05 | TARIM-K2-32 | 0.71043 | 4e-05
HZZ-2-F-25 | 0.70938 | 5.4e-05 | TARIM-K2-33 | 0.7104 | 4e-05
HZZ-2-F-26 | 0.70941 | 5.6e-05 | TARIM-K2-34 | 0.71042 | 4e-05
HZZ-2-F-27 | 0.70936 | 5.8e-05 | TARIM-K2-35 | 0.71043 | 5e-05
HZZ-2-F-28 | 0.70935 | 5.6e-05 | TARIM-K2-36 | 0.71037 | 4e-05
HZZ-2-F-29 | 0.70936 | 5.3e-05 | TARIM-K2-37 | 0.7104 | 4e-05
HZZ-2-F-30 | 0.70939 | 5.3e-05 | TARIM-K2-38 | 0.71043 | 4e-05
HZZ-2-F-31 | 0.70936 | 5.4e-05 | TARIM-K2-39 | 0.71043 | 4e-05
HZZ-2-F-32 | 0.70937 | 6.6e-05 | TARIM-K2-40 | 0.7104 | 4e-05
HZZ-2-F-33 | 0.70943 | 5.5e-05 | Mean | 0.71041 | 5.2796e-05
HZZ-2-F-34 | 0.7094 | 5.4e-05
HZZ-2-F-35 | 0.70937 | 5.6e-05 | TARIM-L2 @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-F-36 | 0.70937 | 5.1e-05 | TARIM-L2-01 | 0.71047 | 5.4e-05
HZZ-2-F-37 | 0.70939 | 4.8e-05 | TARIM-L2-02 | 0.71052 | 4.9e-05
HZZ-2-F-38 | 0.7094 | 5.9e-05 | TARIM-L2-03 | 0.71044 | 4.4e-05
HZZ-2-F-39 | 0.70939 | 5.9e-05 | TARIM-L2-04 | 0.71046 | 5.1e-05
HZZ-2-F-40 | 0.70939 | 5.5e-05 | TARIM-L2-05 | 0.71044 | 4.7e-05
Mean | 0.70939 | 5.6363e-05 | TARIM-L2-06 | 0.71046 | 5e-05
|  |  | TARIM-L2-07 | 0.71048 | 4.4e-05
HZZ-2-G @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-L2-08 | 0.71044 | 5.1e-05
HZZ-2-G-01 | 0.7094 | 5.4e-05 | TARIM-L2-09 | 0.71051 | 4.7e-05
HZZ-2-G-02 | 0.70943 | 5.9e-05 | TARIM-L2-10 | 0.71048 | 4.3e-05
HZZ-2-G-03 | 0.70942 | 5.8e-05 | TARIM-L2-11 | 0.71051 | 5.4e-05
HZZ-2-G-04 | 0.70947 | 5.8e-05 | TARIM-L2-12 | 0.71043 | 4.2e-05
HZZ-2-G-05 | 0.70944 | 4.8e-05 | TARIM-L2-13 | 0.71047 | 4.4e-05
HZZ-2-G-06 | 0.70942 | 5.3e-05 | TARIM-L2-14 | 0.71043 | 4.7e-05
HZZ-2-G-07 | 0.70941 | 5.3e-05 | TARIM-L2-15 | 0.71047 | 3.8e-05
HZZ-2-G-08 | 0.70944 | 5e-05 | TARIM-L2-16 | 0.71048 | 4.2e-05
HZZ-2-G-09 | 0.7094 | 5.5e-05 | TARIM-L2-17 | 0.71045 | 4.4e-05
HZZ-2-G-10 | 0.70943 | 5.9e-05 | TARIM-L2-18 | 0.71042 | 4.8e-05
HZZ-2-G-11 | 0.70943 | 5e-05 | TARIM-L2-19 | 0.71044 | 5.2e-05
HZZ-2-G-12 | 0.70941 | 5.6e-05 | TARIM-L2-20 | 0.71047 | 5e-05
HZZ-2-G-13 | 0.70941 | 5.3e-05 | TARIM-L2-21 | 0.71048 | 4.9e-05
HZZ-2-G-14 | 0.70943 | 5.1e-05 | TARIM-L2-22 | 0.71044 | 4.3e-05
HZZ-2-G-15 | 0.70939 | 5.1e-05 | TARIM-L2-23 | 0.71042 | 4.9e-05
HZZ-2-G-16 | 0.70945 | 5e-05 | TARIM-L2-24 | 0.71047 | 4.2e-05
HZZ-2-G-17 | 0.70937 | 4.8e-05 | TARIM-L2-25 | 0.71045 | 3.9e-05
HZZ-2-G-18 | 0.70943 | 5.5e-05 | TARIM-L2-26 | 0.71047 | 4.1e-05
HZZ-2-G-19 | 0.70943 | 4.6e-05 | TARIM-L2-27 | 0.71049 | 4.6e-05
HZZ-2-G-20 | 0.70945 | 4.6e-05 | TARIM-L2-28 | 0.71046 | 4.3e-05
HZZ-2-G-21 | 0.70945 | 5.5e-05 | TARIM-L2-29 | 0.71045 | 4.4e-05
HZZ-2-G-22 | 0.70941 | 5.3e-05 | TARIM-L2-30 | 0.71049 | 4.2e-05
HZZ-2-G-23 | 0.7094 | 4.7e-05 | TARIM-L2-31 | 0.71044 | 4.6e-05
HZZ-2-G-24 | 0.70944 | 5e-05 | TARIM-L2-32 | 0.71047 | 4.6e-05
HZZ-2-G-25 | 0.70943 | 7.5e-05 | TARIM-L2-33 | 0.71045 | 4e-05
HZZ-2-G-26 | 0.70937 | 5.4e-05 | TARIM-L2-34 | 0.71045 | 4.3e-05
HZZ-2-G-27 | 0.70941 | 5e-05 | TARIM-L2-35 | 0.71046 | 4.1e-05
HZZ-2-G-28 | 0.70937 | 5.3e-05 | TARIM-L2-36 | 0.71049 | 4.5e-05
HZZ-2-G-29 | 0.7094 | 5.1e-05 | TARIM-L2-37 | 0.71045 | 4.2e-05
HZZ-2-G-30 | 0.70943 | 4.5e-05 | TARIM-L2-38 | 0.71048 | 4.3e-05
HZZ-2-G-31 | 0.70939 | 5.3e-05 | TARIM-L2-39 | 0.71052 | 4.5e-05
HZZ-2-G-32 | 0.70944 | 5.2e-05 | TARIM-L2-40 | 0.71048 | 4.6e-05
HZZ-2-G-33 | 0.70939 | 4.9e-05 | Mean | 0.71046 | 5.0213e-05
HZZ-2-G-34 | 0.70939 | 5.2e-05
HZZ-2-G-35 | 0.70949 | 0.0001 | TARIM-M2 @130 μm, 5 J·cm-2, 6 Hz
HZZ-2-G-36 | 0.70945 | 8.1e-05 | TARIM-M2-01 | 0.71042 | 4.8e-05
HZZ-2-G-37 | 0.70936 | 5.7e-05 | TARIM-M2-02 | 0.71039 | 3.8e-05
HZZ-2-G-38 | 0.70941 | 5.6e-05 | TARIM-M2-03 | 0.71037 | 4e-05
HZZ-2-G-39 | 0.70937 | 4.9e-05 | TARIM-M2-04 | 0.71037 | 4.2e-05
HZZ-2-G-40 | 0.70938 | 4.9e-05 | TARIM-M2-05 | 0.71043 | 4e-05
Mean | 0.70942 | 5.8289e-05 | TARIM-M2-06 | 0.71037 | 4.3e-05
|  |  | TARIM-M2-07 | 0.71039 | 3.8e-05
HZZ-2-H @75 μm, 5 J·cm-2, 6 Hz |  |  | TARIM-M2-08 | 0.7104 | 4.4e-05
HZZ-2-H-01 | 0.70941 | 4.7e-05 | TARIM-M2-09 | 0.71036 | 3.8e-05
HZZ-2-H-02 | 0.70945 | 4.5e-05 | TARIM-M2-10 | 0.71038 | 3.9e-05
HZZ-2-H-03 | 0.70942 | 4.6e-05 | TARIM-M2-11 | 0.71038 | 4.3e-05
HZZ-2-H-04 | 0.70944 | 4.8e-05 | TARIM-M2-12 | 0.71037 | 4.6e-05
HZZ-2-H-05 | 0.70939 | 4.7e-05 | TARIM-M2-13 | 0.71039 | 4.7e-05
HZZ-2-H-06 | 0.70942 | 4.7e-05 | TARIM-M2-14 | 0.71037 | 8.6e-05
HZZ-2-H-07 | 0.70939 | 4.9e-05 | TARIM-M2-15 | 0.7104 | 4.6e-05
HZZ-2-H-08 | 0.70938 | 4.2e-05 | TARIM-M2-16 | 0.71039 | 4.3e-05
HZZ-2-H-09 | 0.70934 | 4.5e-05 | TARIM-M2-17 | 0.71035 | 4.4e-05
HZZ-2-H-10 | 0.70934 | 5.5e-05 | TARIM-M2-18 | 0.71035 | 4.8e-05
HZZ-2-H-11 | 0.70943 | 5.2e-05 | TARIM-M2-19 | 0.7104 | 4.6e-05
HZZ-2-H-12 | 0.70939 | 4.2e-05 | TARIM-M2-20 | 0.7104 | 4.8e-05
HZZ-2-H-13 | 0.70937 | 5.1e-05 | TARIM-M2-21 | 0.71034 | 6.2e-05
HZZ-2-H-14 | 0.70937 | 5.2e-05 | TARIM-M2-22 | 0.71035 | 4.5e-05
HZZ-2-H-15 | 0.70941 | 4.9e-05 | TARIM-M2-23 | 0.71038 | 5.8e-05
HZZ-2-H-16 | 0.70944 | 5.8e-05 | TARIM-M2-24 | 0.71034 | 5.2e-05
HZZ-2-H-17 | 0.70945 | 4.6e-05 | TARIM-M2-25 | 0.71035 | 4.6e-05
HZZ-2-H-18 | 0.70939 | 5.5e-05 | TARIM-M2-26 | 0.7104 | 4.4e-05
HZZ-2-H-19 | 0.70945 | 5.1e-05 | TARIM-M2-27 | 0.71037 | 4.9e-05
HZZ-2-H-20 | 0.70937 | 5.5e-05 | TARIM-M2-28 | 0.71038 | 4.9e-05
HZZ-2-H-21 | 0.70938 | 4.3e-05 | TARIM-M2-29 | 0.71039 | 4.4e-05
HZZ-2-H-22 | 0.70946 | 4.8e-05 | TARIM-M2-30 | 0.71037 | 3.7e-05
HZZ-2-H-23 | 0.70937 | 5.4e-05 | TARIM-M2-31 | 0.71041 | 4.8e-05
HZZ-2-H-24 | 0.70936 | 5.1e-05 | TARIM-M2-32 | 0.7104 | 4.1e-05
HZZ-2-H-25 | 0.70941 | 4.5e-05 | TARIM-M2-33 | 0.71039 | 4e-05
HZZ-2-H-26 | 0.70938 | 4.9e-05 | TARIM-M2-34 | 0.7104 | 4.4e-05
HZZ-2-H-27 | 0.70938 | 5.2e-05 | TARIM-M2-35 | 0.71043 | 5.1e-05
HZZ-2-H-28 | 0.70943 | 5e-05 | Mean | 0.71038 | 4.8508e-05
HZZ-2-H-29 | 0.70944 | 4.5e-05
HZZ-2-H-30 | 0.7094 | 5.6e-05 | MNP @23 μm, 5 J·cm-2, 6 Hz
HZZ-2-H-31 | 0.70943 | 5.8e-05 | MNP-J-01 | 0.70605 | 8.4e-05
HZZ-2-H-32 | 0.70946 | 6e-05 | MNP-J-02 | 0.70604 | 8.9e-05
HZZ-2-H-33 | 0.70942 | 4.9e-05 | MNP-J-03 | 0.70607 | 7.7e-05
HZZ-2-H-34 | 0.7094 | 5.2e-05 | MNP-J-04 | 0.7061 | 9.1e-05
HZZ-2-H-35 | 0.70941 | 5.5e-05 | MNP-J-05 | 0.70615 | 8.7e-05
HZZ-2-H-36 | 0.70937 | 5e-05 | MNP-K-01 | 0.70607 | 9e-05
HZZ-2-H-37 | 0.70936 | 5.1e-05 | MNP-K-02 | 0.70607 | 0.00025
HZZ-2-H-38 | 0.70948 | 6.2e-05 | MNP-K-03 | 0.70591 | 0.00024
HZZ-2-H-39 | 0.70942 | 5e-05 | MNP-K-04 | 0.70612 | 9e-05
HZZ-2-H-40 | 0.70941 | 5.2e-05 | MNP-K-05 | 0.706 | 0.0001
Mean | 0.70941 | 6.935e-05 | MNP-L-01 | 0.70607 | 8.3e-05
|  |  | MNP-L-02 | 0.70608 | 7.7e-05
MNP @23 μm, 5 J·cm-2, 6 Hz |  |  | MNP-L-03 | 0.70608 | 8e-05
MNP-01 | 0.70591 | 0.00018 | MNP-L-04 | 0.70617 | 8.4e-05
MNP-02 | 0.70592 | 0.0002 | MNP-L-05 | 0.70605 | 9.1e-05
MNP-03 | 0.70588 | 0.00017 | MNP-M-01 | 0.70611 | 8.6e-05
MNP-04 | 0.70592 | 0.00018 | MNP-M-02 | 0.70604 | 9e-05
MNP-05 | 0.70595 | 0.00015 | MNP-M-03 | 0.70619 | 7.6e-05
Mean | 0.70592 | 5.02e-05 | MNP-M-04 | 0.70608 | 9.3e-05
MNP-01 | 0.70603 | 0.00014 | Mean | 0.70608 | 0.00012328
MNP-02 | 0.70606 | 0.00019
MNP-03 | 0.70609 | 0.00018
MNP-04 | 0.70606 | 0.00018
MNP-05 | 0.706 | 0.00014
Mean | 0.70605 | 6.8411e-05
MNP-01 | 0.70602 | 0.00015
MNP-02 | 0.70601 | 0.00013
MNP-03 | 0.70594 | 0.00016
MNP-04 | 0.70599 | 0.00015
MNP-05 | 0.70607 | 0.00014
Mean | 0.70601 | 9.4446e-05
MNP-01 | 0.70612 | 0.00035
MNP-02 | 0.70614 | 0.00016
MNP-03 | 0.70613 | 0.00021
MNP-04 | 0.70607 | 0.00015
Mean | 0.70612 | 6.2183e-05
MNP-01 | 0.70589 | 0.00024
MNP-02 | 0.70607 | 0.00026
MNP-03 | 0.70605 | 0.00017
MNP-04 | 0.70606 | 0.00017
MNP-05 | 0.70607 | 0.00047
Mean | 0.70603 | 0.00015518
MNP @33 μm, 5 J·cm-2, 6 Hz
MNP-01 | 0.70607 | 4e-05
MNP-02 | 0.70611 | 7.5e-05
MNP-03 | 0.70606 | 4.2e-05
MNP-04 | 0.70605 | 3.6e-05
MNP-05 | 0.70605 | 4.4e-05
MNP-06 | 0.7061 | 4.2e-05
MNP-07 | 0.70605 | 3.8e-05
MNP-08 | 0.70606 | 6.1e-05
MNP-09 | 0.70607 | 5.6e-05
MNP-10 | 0.70598 | 8.9e-05
MNP-11 | 0.70605 | 8e-05
MNP-12 | 0.70616 | 6e-05
MNP-13 | 0.70613 | 4.3e-05
MNP-14 | 0.70612 | 4.5e-05
Mean | 0.70607 | 9.1222e-05
LSJ07 @110 μm, 5 J·cm-2, 6 Hz
LSJ07-01 | 0.71012 | 0.00017
LSJ07-02 | 0.7102 | 0.00012
LSJ07-03 | 0.71017 | 0.00019
LSJ07-04 | 0.71016 | 0.00014
LSJ07-05 | 0.71011 | 0.00018
Mean | 0.71015 | 7.4027e-05
LSJ07-01 | 0.71018 | 9.9e-05
LSJ07-02 | 0.71021 | 0.0001
LSJ07-03 | 0.71012 | 8.3e-05
LSJ07-04 | 0.71016 | 8.7e-05
LSJ07-05 | 0.71019 | 8.3e-05
Mean | 0.71017 | 6.9085e-05
LSJ07-01 | 0.71023 | 0.00013
LSJ07-02 | 0.71014 | 0.00011
LSJ07-03 | 0.71013 | 9.6e-05
LSJ07-04 | 0.71021 | 0.00011
LSJ07-05 | 0.71021 | 0.00011
Mean | 0.71018 | 8.8886e-05
LSJ07-01 | 0.71011 | 0.00011
LSJ07-02 | 0.71016 | 0.0001
LSJ07-03 | 0.71028 | 0.00013
LSJ07-04 | 0.71012 | 0.00011
LSJ07-05 | 0.71015 | 0.00013
Mean | 0.71016 | 0.00013609
LSJ07 @160 μm, 5 J·cm-2, 6 Hz
LSJ07-01 | 0.71018 | 4.7e-05
LSJ07-02 | 0.7101 | 4e-05
LSJ07-03 | 0.71014 | 3.6e-05
LSJ07-04 | 0.71015 | 3.6e-05
LSJ07-05 | 0.71013 | 3.8e-05
LSJ07-06 | 0.71012 | 4.8e-05
LSJ07-07 | 0.71012 | 4e-05
LSJ07-08 | 0.71012 | 3.5e-05
LSJ07-09 | 0.71013 | 4.5e-05
LSJ07-10 | 0.71011 | 4.8e-05
LSJ07-11 | 0.71012 | 4.1e-05
LSJ07-12 | 0.7101 | 4.5e-05
LSJ07-13 | 0.7101 | 4.2e-05
LSJ07-14 | 0.71009 | 3.7e-05
Mean | 0.71012 | 4.6566e-05