## IMOGI
| IMOGI (Innovative Method Orange Gradient Index) |  | v
| Questions | Response | Score | [5 empty] | Questions | score 0-2 | Q1 | Q2 | Q3 | Q4 | Q5 | Q6 | Q7 | Q8 | Q9 | Q10
1 | To what extent is the analytical process automated, including sample preparation, instrumental analysis, and data processing?" | Fully automated with minimal human intervension | 2 |  | 1 | 0 | 0 |  | Q1 | 2 | Fully automated workflow with minimal human intervention (e.g. robotic systems, online analyses etc.) | Fully miniaturized, uses lab-on-a-chip, sensors, microfluidics, or portable miniaturized system | Fully remote or cloud-controllable; users can operate, monitor, and analyze data from any location in real time. | Fully integrates AI, ML, or advanced digital analytics for prediction, optimization, data interpretation, or automated decision-making. Examples: AI-assisted modeling, predictive algorithms, big data analytics, blockchain-enabled traceability, or software with adaptive learning. | Designed for easy upgrade and integration (e.g. modular microfluidic device with API-ready control system) | Entirely new approach, principle, technology, or theoretical framework; investigates previously unexplored analytes or matrices; investigates previously unexplored analytes or matrices | Uses completely new reagents, nanomaterials, or selective probes (e.g., graphene, nanostructures, NADES, carbon dots, MIPs, etc. | Substantially faster, more reproducible and higher throughput than conventional methods | Fully integrates two or more fields to create new capabilities or innovative approaches leading to genuine cross-field advancement. (e.g., Chemistry + Microfluidics → lab-on-a-chip systems; Biology + Materials Science → biosensors using nanomaterials; Analytical Chemistry + AI → predictive or adaptive data analysis) | Method applies all relevant green and white chemistry principles; systematically uses metrics/indexes (AGREE, AGREEprep, MoGAPI, BAGI, RAPI) to assess performance
2 | To what extent is the analytical system miniaturized or based on micro-scale or nano-scale technology? | Fully miniaturized | 2 |  | 1 | 0 | 0 |  | Q2 | 2 | Partially automated (some manual steps remain) | Partially miniaturized, e.g. SPME, MEPS, DLLME for sample preparation, and/or compact or benchtop instruments e.g., compact GC or benchtop mass spectrometers etc. | Limited remote access or partial features; some data or control functions are available remotely, but key operations require on-site intervention (e.g., semi-automated GC system with web monitoring). | Uses digital or computational tools in a modified, enhanced, or extended way for limited tasks such as calibration, trend detection, or data visualization. Examples: using chemometric models or improved statistical software. | Adaptable with some modifications (e.g. analytical platform with partial scripting or remote access capability) | Modifies an existing method in a meaningful way; extends method to new contexts (e.g., improved microfluidic assay for better throughput, modified SPE sorbent). | Adapts known reagents or materials in a slightly innovative way (e.g., modified SPE sorbent). | Moderate improvement in speed/ reproducibility, or throughput | Uses a second field to support or enhance the method, but core analysis remains conventional (e.g., incorporating chemometrics to improve chromatographic interpretation; using engineering expertise for automated sampling) | Method applies few principles; metrics/indexes may be used inconsistently (only 1 0r 2).
3 | To what extent does the method employ advanced instrumentation for sample preparation or analysis? | Fully advanced technologies utilized (e.g. MS/MS) | 2 |  | 1 | 0 | 0 |  | Q3 | 2 | Entirely manual (e.g. classical liquid-liquid extraction, manual SPE) | Conventional large-scale system | On-site manual operation only; no digital or network connectivity for remote control or monitoring (e.g. Standalone spectrophotometer or manual titration system without internet or wireless capability) | Uses standard or routine data processing or software without digital enhancement. Conventional tools applied in a typical manner (e.g., basic Excel statistics or manual data handling). | Not adaptable, requires redesign (e.g. manual titration setup with no electronic interface) | Routine normal application; applies an established method without significant change (e.g., standard ELISA). | Uses conventional materials or reagents (e.g. standard antibodies or common solvents like methanol, acetonitrile, etc.) | Comparable or worse performance/no significant gains | Stays within a single field with no meaningful integration (e.g., routine GC/HPLC, standard extraction procedure) | Method does not apply any green or white chemistry principle; metrics/indexes not used.
4 | To what extent does the method utilize advanced digital tools, data analytics, or artificial intelligence (AI/ML) for analysis, optimization, or interpretation? | Fully integrates AI or advanced digital analytics | 2 | 100 | 1 | 0 | 0 |  | Q4 | score 0-2: 2
5 | How adaptable or scalable is the method for future AI, automation integration or application to new analytes or matrices? | Designed for easy upgrade and integration | 2 |  | 1 | 0 | 0 |  | Q5 | 2 | Fully , Partially , Entirely | Fully,Partially,Conventional | Fully, Limited, manual | Fully integrates,Uses digital, Uses standard | Designed,Adaptable,Not | New,Existing,Routine | new reagents,known reagents,conventional
6 | To what extent does the method introduce a novel concept, principle, or mechanism? | Entirely new approach/principle/technology | 2 |  | 1 | 0 | 0 |  | Q6 | score 0-2: 2
7 | To what extent does the method utilize novel reagents, materials, or probes? | Uses completely new reagents/nanomaterials/selective probes | 2 |  | 1 | 0 | 0 |  | Q7 | score 0-2: 2; Q4: Fully integrates AI or advanced digital analytics,Uses digital or computational tools in a modified or extended way,Uses standard or routine data processing or software without digital enhancement
8 | To what extent does the method improve efficiency, throughput, or overall performance compared to existing methods? | Substantially faster/more senstive/higher throughput than conventional methods | 2 |  | 1 | 0 | 0 |  | Q8 | score 0-2: 2; Q3: 100; Q4: Entirely new approach, principle, technology, or theoretical framework,Modifies an existing method in a meaningful way or extends method to new contexts,Routine normal application or applies an established method without significant change
9 | To what extent does the method integrate knowledge from multiple scientific fields or foster interdisciplinary collaboration? | Fully intergrates two or more fields to create new capabilities or innovative approaches leading to genuine advancement | 2 |  | 1 | 0 | 0 |  | Q9 | score 0-2: 2; Q4: Uses completely new reagents, nanomaterials, or selective probes, Adapts known reagents or materials in a slightly innovative way,Uses conventional materials or reagents
10 | To what extent does the analytical method consider the principles of green and white analytical chemistry and incorporate recognized evaluation metrics or indexes (e.g. AGREE, AGREEprep, MoGAPI, BAGI, RAPI)? | Considers all principles/many metrics are used | 2 |  | 1 | 0 | 0 |  | Q10 | score 0-2: 2; Q4: Substantially faster, more reproducible and higher throughput than conventional methods,Moderate improvement in speed/ reproducibility, or throughput,Comparable or worse performance
|  |  | 20 |  |  |  |  | 100 |  | Q4: Fully integrates two or more fields to create new capabilities or innovative approaches leading to genuine cross-field advancement,Uses a second field to support or enhance the method, but core analysis remains conventional,Stays within a single field with no meaningful integration
|  |  | 100 |  |  |  |  | 0 |  | Q4: Considers all analytical chemistry principles, metrics or indexes, Applies few analytical chemistry principles, metrics or indexes,Does not apply any chemistry principles, metrics or indexes
fdsd
| Score | Count
| Full (2) | 10
| Partial (1) | 0
| None (0) | 0