## TABLE S2
TABLE S2: δCa values of Ca-spiked reference material matrices (matrice extracted through chromatography, spiked with 50 µg of Ca from alpha-Ottawa, purified a second time through identical chromatography)
|  | δCaalpha-Ottawa mean values (‰) |  |  | 2SD (‰) |  |  | 2SE (‰)
ID | n | 44/42 | 43/42 | 44/43 | 44/42 | 43/42 | 44/43 | 44/42 | 43/42
All | 35 | 0.01 | 0.02 | -0.01 | 0.17 | 0.24 | 0.15 | 0.03 | 0.04
CACB1 | 1 | -0.02 | 0.03 | -0.04 | - | - | - | - | -
DOLT5 | 6 | 0 | -0.01 | 0.01 | 0.16 | 0.23 | 0.13 | 0.07 | 0.1
DORM5 | 11 | 0.02 | 0.07 | -0.05 | 0.23 | 0.26 | 0.15 | 0.07 | 0.08
SRM1486 | 5 | 0.01 | 0.05 | -0.04 | 0.12 | 0.14 | 0.14 | 0.06 | 0.06
TORT3 | 7 | -0.02 | -0.02 | 0.01 | 0.13 | 0.26 | 0.14 | 0.05 | 0.1
IAPSO | 5 | 0.03 | -0.01 | 0.04 | 0.17 | 0.28 | 0.16 | 0.07 | 0.12

## TABLE S4
TABLE S4: Fe, K, Mg and Al doping experiments (δCa values reported relative to alpha-Ottawa)
|  | δCaalpha-Ottawa mean values (‰) |  |  | δCa 2SD values (‰) |  |  | δCa 2SE values (‰) |  | X/Ca
ID | n | 44/42 | 43/42 | 44/43 | 44/42 | 43/42 | 44/43 | 44/42 | 43/42
Fe10-1 | 4 | -0.059728 | -0.08144 | 0.021716 | 0.12275 | 0.099246 | 0.21352 | 0.061376 | 0.049623 | 0.1
Fe10-2 | 3 | 0.0035757 | 0.045914 | -0.04234 | 0.10575 | 0.11932 | 0.14329 | 0.061057 | 0.068892 | 0.01
Fe10-3 | 4 | 0.0047734 | -0.010634 | 0.015416 | 0.10951 | 0.27752 | 0.18694 | 0.054755 | 0.13876 | 0.001
Fe10-4 | 7 | 0.0094318 | 0.086954 | -0.077506 | 0.092453 | 0.22586 | 0.24247 | 0.034944 | 0.085368 | 0.0001
Fe10-5 | 6 | -0.019658 | -0.044988 | 0.025331 | 0.25937 | 0.31073 | 0.12393 | 0.10589 | 0.12685 | 1e-05
Fe10-6 | 6 | -0.00892 | 0.0032565 | -0.012175 | 0.17644 | 0.21194 | 0.14125 | 0.072032 | 0.086525 | 1e-06
K10-1 | 6 | -0.039433 | -0.033168 | -0.0062572 | 0.13397 | 0.2066 | 0.2543 | 0.054692 | 0.084344 | 0.1
K10-2 | 5 | -0.031477 | 0.0044207 | -0.035889 | 0.20081 | 0.28079 | 0.25812 | 0.089806 | 0.12557 | 0.01
K10-3 | 6 | -0.026107 | 0.015896 | -0.041992 | 0.084315 | 0.29171 | 0.24382 | 0.034422 | 0.11909 | 0.001
K10-4 | 4 | -0.0076963 | -0.062527 | 0.054837 | 0.12222 | 0.2166 | 0.13486 | 0.061108 | 0.1083 | 0.0001
K10-5 | 9 | -0.023078 | -0.0024879 | -0.020581 | 0.18202 | 0.31688 | 0.2527 | 0.060674 | 0.10563 | 1e-05
K10-6 | 7 | -0.040215 | -0.045703 | 0.0054927 | 0.15477 | 0.15567 | 0.24611 | 0.058497 | 0.058838 | 1e-06
Mg10-1 | 4 | 0.010917 | -0.03954 | 0.050452 | 0.093922 | 0.13513 | 0.084982 | 0.046961 | 0.067564 | 0.1
Mg10-2 | 3 | -0.011088 | 0.068644 | -0.079725 | 0.1066 | 0.09384 | 0.19576 | 0.061547 | 0.054179 | 0.01
Mg10-3 | 4 | -0.015989 | 0.017604 | -0.033592 | 0.13658 | 0.19343 | 0.11028 | 0.06829 | 0.096717 | 0.001
Mg10-4 | 3 | -0.013398 | 0.035199 | -0.048589 | 0.21365 | 0.3285 | 0.12614 | 0.12335 | 0.18966 | 0.0001
Mg10-5 | 4 | -0.00070616 | -0.049859 | 0.049162 | 0.1787 | 0.32891 | 0.19479 | 0.08935 | 0.16446 | 1e-05
Mg10-6 | 8 | -0.026893 | -0.00044281 | -0.026448 | 0.22251 | 0.25372 | 0.14823 | 0.07867 | 0.089703 | 1e-06
Al10-1 | 6 | -0.10411 | -0.10943 | 0.005333 | 0.12642 | 0.2629 | 0.25246 | 0.051611 | 0.10733 | 0.1
Al10-2 | 7 | 0.019143 | 0.047674 | -0.028532 | 0.22594 | 0.18064 | 0.13215 | 0.085398 | 0.068276 | 0.01
Al10-3 | 4 | -0.0034088 | 0.049582 | -0.052987 | 0.12217 | 0.17545 | 0.062726 | 0.061083 | 0.087726 | 0.001
Al10-4 | 4 | 0.033809 | -0.083797 | 0.11761 | 0.22017 | 0.23113 | 0.0625 | 0.11008 | 0.11557 | 0.0001
Al10-5 | 5 | -0.0032936 | -0.11301 | 0.10974 | 0.10024 | 0.26589 | 0.36329 | 0.044831 | 0.11891 | 1e-05
Al10-6 | 4 | -0.011333 | 0.022016 | -0.033337 | 0.22953 | 0.39239 | 0.16729 | 0.11477 | 0.1962 | 1e-06

## TABLE S3
TABLE S3: δ44/42Ca data set for SRM1486, SRM1400 and IAPSO (this study and literature). SRM1486 and IAPSO data are used for conversions between delta scales.
Reference material | Method | n | δ44/42Ca (‰) | 2SD | 2SE | δ44/42Ca (‰) | 2SD | 2SE | δ44/42Ca (‰) | 2SD | 2SE | δ44/42Ca (‰) | 2SD | 2SE | Δ44/42Ca (‰) | [13 empty] | References
|  |  | rel. ICP Ca Lyon |  |  | rel. WIGL |  |  | rel. SRM915a |  |  | rel. alpha-Ottawa |  |  | Lyon-SRM915a | 2SD | WIGL-SRM915a | 2SD | WIGL-Lyon | 2SD | Ottawa-Lyon | 2SD | Ottawa-WIGL | 2SD | Ottawa-SRM915a (excluding Lyon & WIGL) | 2SD | Ottawa-SRM915a | 2SD
SRM1486 | Reported rel to ICP Ca Lyon, converted to SRM915a | 101 | -1.047 | 0.13 | 0.012935 |  |  |  | -0.529 | [5 empty] | -0.55178 | 0.14083 |  |  |  |  | 0.043367 | 0.20434 |  |  |  |  | -0.47463 |  | Martin, J. E., Tacail, T., Cerling, T. E., & Balter, V. (2018). Calcium isotopes in enamel of modern and Plio-Pleistocene East African mammals. Earth and Planetary Science Letters, 503, 227–235. https://doi.org/10.1016/j.epsl.2018.09.026
| Reported rel to ICP Ca Lyon, converted to SRM915a | 404 | -1.0243 | 0.1251 | 0.0061 |  |  |  | -0.5063 | [5 empty] | -0.52908 | 0.13631 |  |  |  |  | 0.020667 | 0.20126 |  |  |  |  | -0.49733 |  | Hassler et al. 2018 Proc. Roy. Soc. B 285(1876), 20180197.;Martin et al. 2017a Curr. Biol. 27,1641-1644.; Martin et al. 2017b Palaeontology 60, 485-502.; Tacail et al. 2014 J. Anal. At. Spec. 29(3), 529-535.; Tacail et al. 2016 J. Anal. At. Spec. 31(1), 152-162.; Tacail et al. 2017 Proc. Nat. Acad. Sci. 201704412.
| Reported rel to ICP Ca Lyon, converted to SRM915a | 24 | -1.07 | 0.24005 | 0.049 |  |  |  | -0.552 | [5 empty] | -0.57532 | 0.25282 |  |  |  |  | 0.066367 | 0.28719 |  |  |  |  | -0.45163 |  | Dodat, P.-J., Tacail, T., Albalat, E., Gomez-Olivencia, A., Couture-Veschambre, C., Holliday, T., Madelaine, S., Martin, J. E., Rmoutilova, R., Maureille, B., & Balter, V. (2021). Isotopic calcium biogeochemistry of MIS 5 fossil vertebrate bones : application to the study of the dietary reconstruction of Regourdou 1 Neandertal fossil. Journal of Human Evolution, 151, 102925. https://doi.org/10.1016/j.jhevol.2020.102925
| Reported rel to ICP Ca Lyon, converted to SRM915a | 3 | -0.91 | 0.06 | 0.034641 |  |  |  | -0.392 | [5 empty] | -0.41532 | 0.099468 |  |  |  |  | -0.093633 | 0.16869 |  |  |  |  | -0.61163 |  | Delette, L., Albalat, E., Télouk, P., Vanhaecke, F., & Balter, V. (2025). K, Mg, and Ca isotopic analysis from a single aliquot of thirteen biological certified reference materials. Journal of Analytical Atomic Spectrometry. https://doi.org/10.1039/D5JA00293A
| Reported rel to ICP Ca Lyon, converted to SRM915a | 2 | -0.92 | 0.02 | 0.014142 |  |  |  | -0.402 | [5 empty] | -0.42532 | 0.081816 |  |  |  |  | -0.083633 | 0.15892 |  |  |  |  | -0.60163 |  | Delette, L., Albalat, E., Télouk, P., Vanhaecke, F., & Balter, V. (2025). K, Mg, and Ca isotopic analysis from a single aliquot of thirteen biological certified reference materials. Journal of Analytical Atomic Spectrometry. https://doi.org/10.1039/D5JA00293A
| Reported rel to ICP Ca Lyon, converted to SRM915a | 534 | -1.0296 | 0.13644 | 0.0059043 |  |  |  | -0.51161 | [5 empty] | -0.53494 | 0.15783 |  |  |  |  | 0.025982 | 0.2085 |  |  |  |  | -0.49202 |  | pulled from ICP-Ca Lyon reported above
| Reported rel to WIGL, converted to SRM915a | 28 |  |  |  | -0.98 | 0.26458 | 0.05 | -0.48288 | [7 empty] | -0.47812 | 0.28206 | 0.049615 | 0.29768 |  |  | -0.023633 | 0.30799 |  |  | -0.52075 |  | Koutamanis, D., Roberts, G. L., & Dosseto, A. (2021). Inter- and intra-individual variability of calcium and strontium isotopes in modern Tasmanian wombats. Palaeogeography, Palaeoclimatology, Palaeoecology, 574, 110435. https://doi.org/10.1016/j.palaeo.2021.110435
| Reported rel to WIGL, converted to SRM915a | 7 |  |  |  | -0.99261 | 0.22058 | 0.083373 | -0.4955 | [7 empty] | -0.49073 | 0.24127 | 0.037001 | 0.25937 |  |  | -0.011019 | 0.27113 |  |  | -0.50814 |  | this study
| Reported rel to WIGL, converted to SRM915a | 12 |  |  |  | -0.98385 | 0.25468 | 0.07352 | -0.48674 | [7 empty] | -0.48197 | 0.2728 | 0.045762 | 0.28893 |  |  | -0.01978 | 0.29953 |  |  | -0.5169 |  | this study (previously unreported data, independently prepared and analyzed following Koutamanis et al. 2021 procedures from different batches of reference materials than those presented in the main text of the study)
| Reported rel to WIGL, converted to SRM915a | 47 |  |  |  | -0.98286 | 0.25104 | 0.036619 | -0.48575 | [7 empty] | -0.48098 | 0.2694 | 0.046752 | 0.28572 |  |  | -0.02077 | 0.29644 |  |  | -0.51789 |  | pulled from WIGL reported above
| Reported rel to SRM915a | 4 | [6 empty] | -0.48 | 0.05 | 0.025 | [13 empty] | -0.52363 | 0.16539 | -0.52363 | 0.16539 | Karasinski, J., Bulska, E., Halicz, L., Wojciechowski, M., & Krata, A. A. (2018). Direct determination of <scp> δ 44/42 Ca </scp> isotope ratio by ion chromatography/low‐resolution multicollector <scp>ICPMS</scp>. Journal of Mass Spectrometry, 53(1), 78–82. https://doi.org/10.1002/jms.4039
| Reported rel to SRM915a | 4 | [6 empty] | -0.49 | 0.03 | 0.015 | [13 empty] | -0.51363 | 0.16048 | -0.51363 | 0.16048 | Bao, Z., Zong, C., Chen, K., Lv, N., & Yuan, H. (2020). Chromatographic purification of Ca and Mg from biological and geological samples for isotope analysis by MC-ICP-MS. International Journal of Mass Spectrometry, 448, 116268. https://doi.org/10.1016/j.ijms.2019.116268
| Reported rel to SRM915a | 385 | [6 empty] | -0.495 | 0.05 | 0.0025482 | [13 empty] | -0.50863 | 0.16539 | -0.50863 | 0.16539 | Eisenhauer, A., Hastuti, A., Heuser, A., Kolevica, A., Brandt, B., Shroff, R., Oehme, J., & Müller, M. (2024). Calcium isotope composition in serum and urine for the assessment of bone mineral balance (BMB) – The Osteolabs post-market follow-up study. Bone, 188, 117210. https://doi.org/10.1016/j.bone.2024.117210
| Reported rel to SRM915a | 5 | [6 empty] | -0.47 | 0.03 | 0.013416 | [13 empty] | -0.53363 | 0.16048 | -0.53363 | 0.16048 | Lanping, F., Zhou, L., Yang, L., Zhang, W., Wang, Q., Shuoyun, T., & Hu, Z. (2018). A rapid and simple single-stage method for Ca separation from geological and biological samples for isotopic analysis by MC-ICP-MS. Journal of Analytical Atomic Spectrometry, 33, 413–421. https://doi.org/10.1039/C7JA00370F
| Reported rel to SRM915a | 172 | [6 empty] | -0.5 | 0.05 | 0.0038125 | [13 empty] | -0.50363 | 0.16539 | -0.50363 | 0.16539 | Mayfield, K. K., Eisenhauer, A., Santiago Ramos, D. P., Higgins, J. A., Horner, T., Auro, M., Magna, T., Moosdorf, N., Charette, M. A., Eagle Gonneea, M., Brady, C. E., Komar, N., Peucker-Ehrenbrink, B., & Paytan, A. (2021). The Importance of Groundwater Discharge in the Marine Isotope Budgets of Li, Mg, Ca, Sr, and Ba. Nature Communications, 12(1), 148. https://doi.org/10.1038/s41467-020-20248-3
| Reported rel to SRM915a | 17 | [6 empty] | -0.47 | 0.06 | 0.014552 | [13 empty] | -0.53363 | 0.16869 | -0.53363 | 0.16869 | Retzmann, A., Walls, D., Miller, K. A., Irrgeher, J., Prohaska, T., & Wieser, M. E. (2022). A double-spike MC TIMS measurement procedure for low-amount Ca isotopic analysis of limited biological tissue samples. Analytical and Bioanalytical Chemistry, 414(1), 675–689. https://doi.org/10.1007/S00216-021-03650-8/FIGURES/7
| Reported rel to SRM915a, converted from δ44/40Ca | 142 | [6 empty] | -0.49316 | 0.0097656 | 0.00081951 | [13 empty] | -0.51047 | 0.15796 | -0.51047 | 0.15796 | Heuser and Eisenhauer 2008 Geostand. Geoanal. Res. 32(3)
| Reported rel to SRM915a, converted from δ44/40Ca | 42 | [6 empty] | -0.49805 | 0.12695 | 0.019589 | [13 empty] | -0.50559 | 0.20242 | -0.50559 | 0.20242 | Heuser et al. 2016 Isotopes. Environ. Health Stud. 52(6), 633-648
| Reported rel to SRM915a, converted from δ44/40Ca | 9 | [6 empty] | -0.50293 | 0.092773 | 0.030924 | [13 empty] | -0.5007 | 0.18293 | -0.5007 | 0.18293 | Li, Q., Thirlwall, M., & Müller, W. (2016). Ca isotopic analysis of laser-cut microsamples of (bio)apatite without chemical purification. Chemical Geology, 422, 1–12. https://doi.org/10.1016/j.chemgeo.2015.12.007
| Reported rel to SRM915a, converted from δ44/40Ca | 780 | [6 empty] | -0.49522 | 0.054145 | 0.0019387 | [13 empty] | -0.50842 | 0.16669 | -0.50842 | 0.16669 | pulled from SRM915a reported above
All (but WIGL) | Converted from ICP Ca Lyon to SRM915a & Reported directly rel to SRM915a | 1314 | [6 empty] | -0.50188 | 0.097754 | 0.0026967 | [15 empty] | -0.50175 | 0.1855 | pulled from ICP Ca Lyon and SRM915a reported above
All (but ICP Ca Lyon) | Converted from WIGL to SRM915a & Reported directly rel to SRM915a | 827 | [6 empty] | -0.49468 | 0.079334 | 0.0027587 | [15 empty] | -0.50895 | 0.17649 | pulled from WIGL and SRM915a reported above
All | Converted from ICP Ca Lyon & WIGL to SRM915a & Reported directly rel to SRM915a | 1361 | [6 empty] | -0.50132 | 0.10673 | 0.0028931 | [15 empty] | -0.50231 | 0.19039 | pulled from ICP Ca Lyon, WIGL and SRM915a reported above
| Measured rel to alpha-Ottawa | 266 | [9 empty] | -1.0036 | 0.15766 | 0.0096665 | [14 empty] | this study
[14 empty] | All |  | 0.15783 |  | 0.2694 |  | 0.28572 |  | 0.2085 |  | 0.29644 |  | 0.16669 |  | 0.10673 | 2SD from original reference standard
[15 empty] | -0.53494 |  | -0.48098 |  | 0.046752 |  | 0.025982 | 0.26139 | -0.02077 | 0.33576 | -0.50842 | 0.22944 | -0.50231 | 0.19039
[14 empty] | without approximation | -0.5352 | dy/z - 915a/ICP Ca Lyon | -0.48122 | dy/z - 915a/WIGL | 0.0468 | dy/z - Lyon/WIGL | 0.026009 | dy/z - ICP Ca Lyon/alpha-Ottawa | -0.020791 | dy/z - WIGL/alpha-Ottawa | -0.50867 | dy/z - 915a/alpha-Ottawa | -0.50256 | dy/z - 915a/alpha-Ottawa
[14 empty] | without approximation | 0.53549 | dz/y - ICP Ca Lyon/915a | 0.48146 | dz/y - WIGL/915a | -0.046798 | dz/y - WIGL/Lyon | -0.026008 | dz/y - alpha-Ottawa/ICP Ca Lyon | 0.020791 | dz/y - alpha-Ottawa/WIGL | 0.50893 | dz/y - alpha-Ottawa/915a | 0.50281 | dz/y - alpha-Ottawa/915a
[26 empty] | NRC mes rel to 915a | -0.50132 | 2 point calibration
[26 empty] | Δ alpha to 915a | 0.50231
SRM1400 | Reported rel to ICP Ca Lyon, converted to SRM915a | 26 | -1.24 | 0.13 | 0.025495 |  |  |  | -0.722 | [5 empty] | -0.68387 | 0.21973 |  |  |  |  | 0.14909 | 0.2079 |  |  |  |  | -0.36891 |  | Tacail et al. 2016 J. Anal. At. Spec. 31(1)
| Reported rel to ICP Ca Lyon, converted to SRM915a | 3 | -1.21 | 0.04 | 0.023094 |  |  |  | -0.692 | [5 empty] | -0.65387 | 0.18161 |  |  |  |  | 0.11909 | 0.16711 |  |  |  |  | -0.39891 |  | Dodat, P.-J., Martin, J. E., Olive, S., Hassler, A., Albalat, E., Boisserie, J.-R., Merceron, G., Souron, A., Maureille, B., & Balter, V. (2023). Limits of calcium isotopes diagenesis in fossil bone and enamel. Geochimica et Cosmochimica Acta, 351, 45–50. https://doi.org/10.1016/j.gca.2023.04.012
| Reported rel to ICP Ca Lyon, converted to SRM915a | 35 | -1.05 | 0.07 | 0.011832 |  |  |  | -0.532 | [5 empty] | -0.49387 | 0.19048 |  |  |  |  | -0.040906 | 0.1767 |  |  |  |  | -0.55891 |  | Dodat, P.-J., Albalat, E., Balter, V., Couture-Veschambre, C., Hardy, M., Henrion, J., Holliday, T., & Maureille, B. (2024). Diverse bone-calcium isotope compositions in Neandertals suggest different dietary strategies. Journal of Human Evolution, 193, 103566. https://doi.org/10.1016/j.jhevol.2024.103566
| Reported rel to ICP Ca Lyon, converted to SRM915a | 3 | -1.02 | 0.04 | 0.023094 |  |  |  | -0.502 | [5 empty] | -0.46387 | 0.18161 |  |  |  |  | -0.070906 | 0.16711 |  |  |  |  | -0.58891 |  | Delette, L., Albalat, E., Télouk, P., Vanhaecke, F., & Balter, V. (2025). K, Mg, and Ca isotopic analysis from a single aliquot of thirteen biological certified reference materials. Journal of Analytical Atomic Spectrometry. https://doi.org/10.1039/D5JA00293A
| Reported rel to ICP Ca Lyon, converted to SRM915a | 8 | -1.07 | 0.06 | 0.021213 |  |  |  | -0.552 | [5 empty] | -0.51387 | 0.18704 |  |  |  |  | -0.020906 | 0.17299 |  |  |  |  | -0.53891 |  | Delette, L., Albalat, E., Télouk, P., Vanhaecke, F., & Balter, V. (2025). K, Mg, and Ca isotopic analysis from a single aliquot of thirteen biological certified reference materials. Journal of Analytical Atomic Spectrometry. https://doi.org/10.1039/D5JA00293A
| Reported rel to ICP Ca Lyon, converted to SRM915a | 46 | -1.0515 | 0.06963 | 0.010266 |  |  |  | -0.53352 | [5 empty] | -0.49539 | 0.19034 |  |  |  |  | -0.039384 | 0.17656 |  |  |  |  | -0.55738 |  | pulled from ICP-Ca Lyon reported above (excluding outliers)
| Reported rel to WIGL, converted to SRM915a | 10 |  |  |  | -1.07 | 0.094868 | 0.03 | -0.57288 | [7 empty] | -0.54427 | 0.12529 | -0.018478 | 0.11768 |  |  | -0.020906 | 0.18795 |  |  | -0.51802 |  | Koutamanis, D., Roberts, G. L., & Dosseto, A. (2021). Inter- and intra-individual variability of calcium and strontium isotopes in modern Tasmanian wombats. Palaeogeography, Palaeoclimatology, Palaeoecology, 574, 110435. https://doi.org/10.1016/j.palaeo.2021.110435
| Reported rel to WIGL, converted to SRM915a | 12 |  |  |  | -1.09 | 0.13856 | 0.04 | -0.59288 | [7 empty] | -0.56427 | 0.16093 | -0.038478 | 0.15508 |  |  | -0.00090613 | 0.21336 |  |  | -0.49802 |  | Koutamanis, D., McCurry, M., Tacail, T., & Dosseto, A. (2023). Reconstructing Pleistocene Australian herbivore megafauna diet using calcium and strontium isotopes. Royal Society Open Science, 10(11). https://doi.org/10.1098/RSOS.230991
| Reported rel to WIGL, converted to SRM915a | 4 |  |  |  | -1.0666 | 0.10463 | 0.052315 | -0.56946 | [7 empty] | -0.54084 | 0.13283 | -0.015053 | 0.12568 |  |  | -0.024332 | 0.19306 |  |  | -0.52145 |  | this study
| Reported rel to WIGL, converted to SRM915a | 21 |  |  |  | -1.1242 | 0.29121 | 0.063547 | -0.62708 | [7 empty] | -0.59847 | 0.30249 | -0.072677 | 0.29942 |  |  | 0.033293 | 0.33336 |  |  | -0.46382 |  | this study (previously unreported data, independently prepared and analyzed following Koutamanis et al. 2021 procedures from different batches of reference materials than those presented in the main text of the study)
| Reported rel to WIGL, converted to SRM915a | 47 |  |  |  | -1.099 | 0.21512 | 0.031379 | -0.60191 | [7 empty] | -0.5733 | 0.23016 | -0.04751 | 0.22611 |  |  | 0.0081252 | 0.26945 |  |  | -0.48899 |  | pulled from WIGL reported above
| Reported rel to SRM915a | 4 | [6 empty] | -0.5 | 0.16 | 0.08 | [13 empty] | -0.59091 | 0.22787 | -0.59091 | 0.22787 | Karasinski, J., Bulska, E., Halicz, L., Wojciechowski, M., & Krata, A. A. (2018). Direct determination of <scp> δ 44/42 Ca </scp> isotope ratio by ion chromatography/low‐resolution multicollector <scp>ICPMS</scp>. Journal of Mass Spectrometry, 53(1), 78–82. https://doi.org/10.1002/jms.4039
| Reported rel to SRM915a | 4 | [6 empty] | -0.54 | 0.04 | 0.02 | [13 empty] | -0.55091 | 0.16711 | -0.55091 | 0.16711 | Romaniello, S. J., Field, M. P., Smith, H. B., Gordon, G. W., Kim, M. H., & Anbar, A. D. (2015). Fully automated chromatographic purification of Sr and Ca for isotopic analysis. Journal of Analytical Atomic Spectrometry, 30(9), 1906–1912. https://doi.org/10.1039/c5ja00205b
| Reported rel to SRM915a | 26 | [6 empty] | -0.49 | 0.03 | 0.0058835 | [13 empty] | -0.60091 | 0.165 | -0.60091 | 0.165 | Bao, Z., Zong, C., Chen, K., Lv, N., & Yuan, H. (2020). Chromatographic purification of Ca and Mg from biological and geological samples for isotope analysis by MC-ICP-MS. International Journal of Mass Spectrometry, 448, 116268. https://doi.org/10.1016/j.ijms.2019.116268
| Reported rel to SRM915a | 4 | [6 empty] | -0.5 | 0.07 | 0.035 | [13 empty] | -0.59091 | 0.1767 | -0.59091 | 0.1767 | Lanping, F., Zhou, L., Yang, L., Zhang, W., Wang, Q., Shuoyun, T., & Hu, Z. (2018). A rapid and simple single-stage method for Ca separation from geological and biological samples for isotopic analysis by MC-ICP-MS. Journal of Analytical Atomic Spectrometry, 33, 413–421. https://doi.org/10.1039/C7JA00370F
| Reported rel to SRM915a | 11 | [6 empty] | -0.55 | 0.09 | 0.027136 | [13 empty] | -0.54091 | 0.18554 | -0.54091 | 0.18554 | Retzmann, A., Walls, D., Miller, K. A., Irrgeher, J., Prohaska, T., & Wieser, M. E. (2022). A double-spike MC TIMS measurement procedure for low-amount Ca isotopic analysis of limited biological tissue samples. Analytical and Bioanalytical Chemistry, 414(1), 675–689. https://doi.org/10.1007/S00216-021-03650-8/FIGURES/7
| Reported rel to SRM915a | 10 | [6 empty] | -0.571 | 0.015811 | 0.005 | [13 empty] | -0.51991 | 0.16302 | -0.51991 | 0.16302 | Lewis, J., Luu, T.-H., Coath, C. D., Wehrs, H., Schwieters, J. B., & Elliott, T. (2022). Collision course; High-precision mass-independent and mass-dependent calcium isotope measurements using the prototype collision cell MC-ICPMS/MS, Proteus. Chemical Geology, 121185. https://doi.org/10.1016/j.chemgeo.2022.121185
| Reported rel to SRM915a | 59 | [6 empty] | -0.51966 | 0.088907 | 0.011575 | [13 empty] | -0.57125 | 0.18501 | -0.57125 | 0.18501 | pulled from SRM915a reported above
All (but WIGL) | Converted from ICP Ca Lyon to SRM915a & Reported directly rel to SRM915a | 105 | [6 empty] | -0.52573 | 0.081836 | 0.0079864 | [15 empty] | -0.56517 | 0.18172 | pulled from ICP Ca Lyon and SRM915a reported above
All (but ICP Ca Lyon) | Converted from WIGL to SRM915a & Reported directly rel to SRM915a | 106 | [6 empty] | -0.55613 | 0.17715 | 0.017207 | [15 empty] | -0.53477 | 0.24022 | pulled from WIGL and SRM915a reported above
All | Converted from ICP Ca Lyon (outliers excluded) & WIGL to SRM915a & Reported directly rel to SRM915a | 152 | [6 empty] | -0.54929 | 0.15395 | 0.012487 | [15 empty] | -0.54162 | 0.22366 | pulled from ICP Ca Lyon (outliers excluded), WIGL and SRM915a reported above
| Measured rel to alpha-Ottawa | 30 | [9 empty] | -1.0909 | 0.16225 | 0.029622 | [14 empty] | this study
[14 empty] | All but LGL outliers |  | 0.19034 |  | 0.23016 |  | 0.22611 |  | 0.17656 |  | 0.26945 |  | 0.18501 |  | 0.15395 | 2SD from original reference standard
[15 empty] | -0.49539 |  | -0.5733 |  | -0.04751 |  | -0.039384 | 0.23978 | 0.0081252 | 0.31452 | -0.57125 | 0.24608 | -0.54162 | 0.22366
[14 empty] | without approximation | -0.49567 | dy/z - 915a/ICP Ca Lyon | -0.5736 | dy/z - 915a/WIGL | -0.04756 | dy/z - Lyon/WIGL | -0.039426 | dy/z - ICP Ca Lyon/alpha-Ottawa | 0.0081341 | dy/z - WIGL/alpha-Ottawa | -0.57154 | dy/z - 915a/alpha-Ottawa | -0.54191 | dy/z - 915a/alpha-Ottawa
[14 empty] | without approximation | 0.49591 | dz/y - ICP Ca Lyon/915a | 0.57393 | dz/y - WIGL/915a | 0.047562 | dz/y - WIGL/Lyon | 0.039427 | dz/y - alpha-Ottawa/ICP Ca Lyon | -0.0081341 | dz/y - alpha-Ottawa/WIGL | 0.57187 | dz/y - alpha-Ottawa/915a | 0.54221 | dz/y - alpha-Ottawa/915a
[26 empty] | NRC mes rel to 915a | -0.58829 | 2 point calibration
[26 empty] | Δ alpha to 915a | 0.50262
Seawater | Reported rel to ICP Ca Lyon, converted to SRM915a | 17 | 0.4116 | 0.1066 | 0.0274 |  |  |  | 0.9296 | [5 empty] | -0.49656 | 0.19074 |  |  |  |  | -0.00029914 | 0.17751 |  |  |  |  | -0.5183 |  | Martin et al. 2015 Chem. Geol.415, 118-125; Tacail et al. 2014 J. Anal. At. Spec. 29(3), 529-535.;Tacail et al. 2016 J. Anal. At. Spec. 31(1), 152-162.
| Reported rel to ICP Ca Lyon, converted to SRM915a | 3 | 0.4 | 0.05 | 0.028868 |  |  |  | 0.918 | [5 empty] | -0.50816 | 0.16588 |  |  |  |  | 0.011301 | 0.15049 |  |  |  |  | -0.5067 |  | Delette, L., Albalat, E., Télouk, P., Vanhaecke, F., & Balter, V. (2025). K, Mg, and Ca isotopic analysis from a single aliquot of thirteen biological certified reference materials. Journal of Analytical Atomic Spectrometry. https://doi.org/10.1039/D5JA00293A
| Reported rel to ICP Ca Lyon, converted to SRM915a | 20 | 0.40986 | 0.099522 | 0.022254 |  |  |  | 0.92786 | [5 empty] | -0.4983 | 0.18687 |  |  |  |  | 0.0014409 | 0.17335 |  |  |  |  | -0.51656 |  | pulled from ICP-Ca Lyon reported above
| Reported rel to WIGL, converted to SRM915a | 6 |  |  |  | 0.4 | 0.17146 | 0.07 | 0.89712 | [7 empty] | -0.50924 | 0.23316 | -0.00986 | 0.19825 |  |  | 0.011301 | 0.22259 |  |  | -0.48582 |  | Koutamanis, D., Roberts, G. L., & Dosseto, A. (2021). Inter- and intra-individual variability of calcium and strontium isotopes in modern Tasmanian wombats. Palaeogeography, Palaeoclimatology, Palaeoecology, 574, 110435. https://doi.org/10.1016/j.palaeo.2021.110435
| Reported rel to WIGL, converted to SRM915a | 4 |  |  |  | 0.39 | 0.14 | 0.07 | 0.88712 | [7 empty] | -0.51924 | 0.2111 | -0.01986 | 0.17177 |  |  | 0.021301 | 0.19937 |  |  | -0.47582 |  | Koutamanis, D., McCurry, M., Tacail, T., & Dosseto, A. (2023). Reconstructing Pleistocene Australian herbivore megafauna diet using calcium and strontium isotopes. Royal Society Open Science, 10(11). https://doi.org/10.1098/RSOS.230991
| Reported rel to WIGL, converted to SRM915a | 5 |  |  |  | 0.43634 | 0.19219 | 0.085951 | 0.93345 | [7 empty] | -0.4729 | 0.2488 | 0.026475 | 0.21643 |  |  | -0.025034 | 0.23892 |  |  | -0.52215 |  | this study
| Reported rel to WIGL, converted to SRM915a | 17 |  |  |  | 0.38462 | 0.091909 | 0.022291 | 0.88174 | [7 empty] | -0.52462 | 0.18278 | -0.02524 | 0.13547 |  |  | 0.026681 | 0.1691 |  |  | -0.47044 |  | this study (previously unreported data, independently prepared and analyzed following Koutamanis et al. 2021 procedures from different batches of reference materials than those presented in the main text of the study)
| Reported rel to WIGL, converted to SRM915a | 32 |  |  |  | 0.39626 | 0.13088 | 0.023136 | 0.89337 | [7 empty] | -0.51298 | 0.20516 | -0.013603 | 0.16442 |  |  | 0.015044 | 0.19307 |  |  | -0.48207 |  | pulled from WIGL reported above
| Reported rel to SRM915a | 54 | [6 empty] | 0.88 | 0.11 | 0.014969 | [13 empty] | -0.4687 | 0.17957 | -0.4687 | 0.17957 | Wieser, M. E., Buhl, D., Bouman, C., & Schwieters, J. (2004). High precision calcium isotope ratio measurements using a magnetic sector multiple collector inductively coupled plasma mass spectrometer. Journal of Analytical Atomic Spectrometry, 19(7), 844–851. https://doi.org/10.1039/b403339f
| Reported rel to SRM915a | 4 | [6 empty] | 1.01 | 0.3 | 0.15 | [13 empty] | -0.5987 | 0.33188 | -0.5987 | 0.33188 | Karasinski, J., Bulska, E., Halicz, L., Wojciechowski, M., & Krata, A. A. (2018). Direct determination of <scp> δ 44/42 Ca </scp> isotope ratio by ion chromatography/low‐resolution multicollector <scp>ICPMS</scp>. Journal of Mass Spectrometry, 53(1), 78–82. https://doi.org/10.1002/jms.4039
| Reported rel to SRM915a | 5 | [6 empty] | 0.92 | 0.06 | 0.026833 | [13 empty] | -0.5087 | 0.1541 | -0.5087 | 0.1541 | Romaniello, S. J., Field, M. P., Smith, H. B., Gordon, G. W., Kim, M. H., & Anbar, A. D. (2015). Fully automated chromatographic purification of Sr and Ca for isotopic analysis. Journal of Analytical Atomic Spectrometry, 30(9), 1906–1912. https://doi.org/10.1039/c5ja00205b
| Reported rel to SRM915a | 34 | [6 empty] | 0.9 | 0.1 | 0.01715 | [13 empty] | -0.4887 | 0.17363 | -0.4887 | 0.17363 | Steuber, T., & Buhl, D. (2006). Calcium-isotope fractionation in selected modern and ancient marine carbonates. Geochimica et Cosmochimica Acta, 70(22), 5507–5521. https://doi.org/10.1016/j.gca.2006.08.028
| Reported rel to SRM915a | 6 | [6 empty] | 0.86 | 0.08 | 0.03266 | [13 empty] | -0.4487 | 0.16293 | -0.4487 | 0.16293 | Bao, Z., Zong, C., Chen, K., Lv, N., & Yuan, H. (2020). Chromatographic purification of Ca and Mg from biological and geological samples for isotope analysis by MC-ICP-MS. International Journal of Mass Spectrometry, 448, 116268. https://doi.org/10.1016/j.ijms.2019.116268
| Reported rel to SRM915a | 239 | [6 empty] | 0.904 | 0.05 | 0.0032342 | [13 empty] | -0.4927 | 0.15049 | -0.4927 | 0.15049 | Eisenhauer, A., Hastuti, A., Heuser, A., Kolevica, A., Brandt, B., Shroff, R., Oehme, J., & Müller, M. (2024). Calcium isotope composition in serum and urine for the assessment of bone mineral balance (BMB) – The Osteolabs post-market follow-up study. Bone, 188, 117210. https://doi.org/10.1016/j.bone.2024.117210
| Reported rel to SRM915a | 51 | [6 empty] | 0.91 | 0.07 | 0.009802 | [13 empty] | -0.4987 | 0.15826 | -0.4987 | 0.15826 | Lanping, F., Zhou, L., Yang, L., Zhang, W., Wang, Q., Shuoyun, T., & Hu, Z. (2018). A rapid and simple single-stage method for Ca separation from geological and biological samples for isotopic analysis by MC-ICP-MS. Journal of Analytical Atomic Spectrometry, 33, 413–421. https://doi.org/10.1039/C7JA00370F
| Reported rel to SRM915a | 135 | [6 empty] | 0.9 | 0.08 | 0.0068853 | [13 empty] | -0.4887 | 0.16293 | -0.4887 | 0.16293 | Mayfield, K. K., Eisenhauer, A., Santiago Ramos, D. P., Higgins, J. A., Horner, T., Auro, M., Magna, T., Moosdorf, N., Charette, M. A., Eagle Gonneea, M., Brady, C. E., Komar, N., Peucker-Ehrenbrink, B., & Paytan, A. (2021). The Importance of Groundwater Discharge in the Marine Isotope Budgets of Li, Mg, Ca, Sr, and Ba. Nature Communications, 12(1), 148. https://doi.org/10.1038/s41467-020-20248-3
| Reported rel to SRM915a | 6 | [6 empty] | 0.92 | 0.05 | 0.020412 | [13 empty] | -0.5087 | 0.15049 | -0.5087 | 0.15049 | Retzmann, A., Walls, D., Miller, K. A., Irrgeher, J., Prohaska, T., & Wieser, M. E. (2022). A double-spike MC TIMS measurement procedure for low-amount Ca isotopic analysis of limited biological tissue samples. Analytical and Bioanalytical Chemistry, 414(1), 675–689. https://doi.org/10.1007/S00216-021-03650-8/FIGURES/7
| Reported rel to SRM915a | 7 | [6 empty] | 0.899 | 0.015875 | 0.006 | [13 empty] | -0.4877 | 0.14282 | -0.4877 | 0.14282 | Lewis, J., Luu, T.-H., Coath, C. D., Wehrs, H., Schwieters, J. B., & Elliott, T. (2022). Collision course; High-precision mass-independent and mass-dependent calcium isotope measurements using the prototype collision cell MC-ICPMS/MS, Proteus. Chemical Geology, 121185. https://doi.org/10.1016/j.chemgeo.2022.121185
| Reported rel to SRM915a | 61 | [6 empty] | 0.97 | 0.21 | 0.026888 | [13 empty] | -0.5587 | 0.25347 | -0.5587 | 0.25347 | Morgan, J. L. L., Gordon, G. W., Arrua, R. C., Skulan, J. L., Anbar, A. D., & Bullen, T. D. (2011). High-Precision Measurement of Variations in Calcium Isotope Ratios in Urine by Multiple Collector Inductively Coupled Plasma Mass Spectrometry. Analytical Chemistry, 83(18), 6956–6962. https://doi.org/10.1021/ac200361t
| Reported rel to SRM915a, converted from δ44/40Ca | 5 | [6 empty] | 0.95215 | 0.12695 | 0.056775 | [13 empty] | -0.54085 | 0.19043 | -0.54085 | 0.19043 | Müller, M. N., Kısakürek, B., Buhl, D., Gutperlet, R., Kolevica, A., Riebesell, U., Stoll, H., & Eisenhauer, A. (2011). Response of the coccolithophores Emiliania huxleyi and Coccolithus braarudii to changing seawater Mg2+ and Ca2+ concentrations: Mg/Ca, Sr/Ca ratios and δ44/40Ca, δ26/24Mg of coccolith calcite. Geochimica et Cosmochimica Acta, 75(8), 2088–2102. https://doi.org/10.1016/j.gca.2011.01.035
| Reported rel to SRM915a, converted from δ44/40Ca | 20 | [6 empty] | 0.92285 | 0.048828 | 0.010918 | [13 empty] | -0.51155 | 0.1501 | -0.51155 | 0.1501 | Farkaš, J., Böhm, F., Wallmann, K., Blenkinsop, J., Eisenhauer, A., van Geldern, R., Munnecke, A., Voigt, S., & Veizer, J. (2007). Calcium isotope record of Phanerozoic oceans: Implications for chemical evolution of seawater and its causative mechanisms. Geochimica et Cosmochimica Acta, 71(21), 5117–5134. https://doi.org/10.1016/j.gca.2007.09.004
| Reported rel to SRM915a, converted from δ44/40Ca | 19 | [6 empty] | 0.92773 | 0.014648 | 0.0033606 | [13 empty] | -0.51643 | 0.14269 | -0.51643 | 0.14269 | Huang, S., Farkaš, J., Yu, G., Petaev, M. I., & Jacobsen, S. B. (2012). Calcium isotopic ratios and rare earth element abundances in refractory inclusions from the Allende CV3 chondrite. Geochimica et Cosmochimica Acta, 77, 252–265. https://doi.org/10.1016/j.gca.2011.11.002
| Reported rel to SRM915a, converted from δ44/40Ca | 55 | [6 empty] | 0.9082 | 0.28 | 0.037755 | [13 empty] | -0.4969 | 0.31392 | -0.4969 | 0.31392 | Amini, M., Eisenhauer, A., Böhm, F., Fietzke, J., Bach, W., Garbe-Schönberg, D., Rosner, M., Bock, B., Lackschewitz, K. S., & Hauff, F. (2008). Calcium isotope (δ44/40Ca) fractionation along hydrothermal pathways, Logatchev field (Mid-Atlantic Ridge, 14°45′N). Geochimica et Cosmochimica Acta, 72(16), 4107–4122. https://doi.org/10.1016/j.gca.2008.05.055
| Reported rel to SRM915a, converted from δ44/40Ca | 4 | [6 empty] | 0.95215 | 0.043945 | 0.021973 | [13 empty] | -0.54085 | 0.14859 | -0.54085 | 0.14859 | Bern: Hippler, D., Schmitt, A., Gussone, N., Heuser, A., Stille, P., Eisenhauer, A., & Nägler, T. F. (2003). Calcium Isotopic Composition of Various Reference Materials and Seawater. Geostandards Newsletter, 27(1), 13–19. https://doi.org/10.1111/j.1751-908X.2003.tb00709.x
| Reported rel to SRM915a, converted from δ44/40Ca | 5 | [6 empty] | 0.88867 | 0.03418 | 0.015286 | [13 empty] | -0.47737 | 0.146 | -0.47737 | 0.146 | Kiel: Hippler, D., Schmitt, A., Gussone, N., Heuser, A., Stille, P., Eisenhauer, A., & Nägler, T. F. (2003). Calcium Isotopic Composition of Various Reference Materials and Seawater. Geostandards Newsletter, 27(1), 13–19. https://doi.org/10.1111/j.1751-908X.2003.tb00709.x
| Reported rel to SRM915a, converted from δ44/40Ca | 15 | [6 empty] | 0.92285 | 0.03418 | 0.0088252 | [13 empty] | -0.51155 | 0.146 | -0.51155 | 0.146 | Strasbourg: Hippler, D., Schmitt, A., Gussone, N., Heuser, A., Stille, P., Eisenhauer, A., & Nägler, T. F. (2003). Calcium Isotopic Composition of Various Reference Materials and Seawater. Geostandards Newsletter, 27(1), 13–19. https://doi.org/10.1111/j.1751-908X.2003.tb00709.x
| Reported rel to SRM915a, converted from δ44/40Ca | 29 | [6 empty] | 0.89355 | 0.53852 | 0.1 | [13 empty] | -0.48225 | 0.55691 | -0.48225 | 0.55691 | Böhm, F., Gussone, N., Eisenhauer, A., Dullo, W.-C., Reynaud, S., & Paytan, A. (2006). Calcium isotope fractionation in modern scleractinian corals. Geochimica et Cosmochimica Acta, 70(17), 4452–4462. https://doi.org/10.1016/j.gca.2006.06.1546
| Reported rel to SRM915a, converted from δ44/40Ca | 11 | [6 empty] | 0.86426 | 0.014648 | 0.0044167 | [13 empty] | -0.45296 | 0.14269 | -0.45296 | 0.14269 | Teichert, B. M. A., Gussone, N., & Torres, M. E. (2009). Controls on calcium isotope fractionation in sedimentary porewaters. Earth and Planetary Science Letters, 279(3–4), 373–382. https://doi.org/10.1016/j.epsl.2009.01.011
| Reported rel to SRM915a, converted from δ44/40Ca | 19 | [6 empty] | 0.91 | 0.05 | 0.011471 | [13 empty] | -0.4987 | 0.15049 | -0.4987 | 0.15049 | Gao, B., Su, B., Li, W., Yuan, M., Sun, J., Zhao, Y., & Liu, X. (2022). High-precision analysis of calcium isotopes using a Nu Sapphire collision cell (CC)-MC-ICP-MS. Journal of Analytical Atomic Spectrometry, 37(10), 2111–2121. https://doi.org/10.1039/D2JA00150K
| Reported rel to SRM915a, converted from δ44/40Ca | 784 | [6 empty] | 0.90876 | 0.15913 | 0.0056834 | [13 empty] | -0.49746 | 0.21324 | -0.49746 | 0.21324 | pulled from SRM915a reported above
All (but WIGL) | Converted from ICP Ca Lyon to SRM915a & Reported directly rel to SRM915a | 804 | [6 empty] | 0.90924 | 0.158 | 0.0055721 | [15 empty] | -0.49794 | 0.21239 | pulled from ICP Ca Lyon and SRM915a reported above
All (but ICP Ca Lyon) | Converted from WIGL to SRM915a & Reported directly rel to SRM915a | 816 | [6 empty] | 0.90816 | 0.15817 | 0.0055369 | [15 empty] | -0.49686 | 0.21252 | pulled from WIGL and SRM915a reported above
All | Converted from ICP Ca Lyon & WIGL to SRM915a & Reported directly rel to SRM915a | 836 | [6 empty] | 0.90863 | 0.1571 | 0.0054333 | [15 empty] | -0.49733 | 0.21172 | pulled from ICP Ca Lyon, WIGL and SRM915a reported above
| Measured rel to alpha-Ottawa | 7 | [9 empty] | 0.4113 | 0.14194 | 0.053648 | [14 empty] | this study
[14 empty] | All |  | 0.18687 |  | 0.20516 |  | 0.16442 |  | 0.17335 |  | 0.19307 |  | 0.21324 |  | 0.1571 | 2SD from original reference standard
[15 empty] | -0.4983 |  | -0.51298 |  | -0.013603 |  | 0.0014409 | 0.22405 | 0.015044 | 0.23963 | -0.49746 | 0.25616 | -0.49733 | 0.21172
[14 empty] | without approximation | -0.49785 | dy/z - 915a/ICP Ca Lyon | -0.51251 | dy/z - 915a/WIGL | -0.013598 | dy/z - Lyon/WIGL | 0.0014403 | dy/z - ICP Ca Lyon/alpha-Ottawa | 0.015038 | dy/z - WIGL/alpha-Ottawa | -0.49701 | dy/z - 915a/alpha-Ottawa | -0.49688 | dy/z - 915a/alpha-Ottawa
[14 empty] | without approximation | 0.49809 | dz/y - ICP Ca Lyon/915a | 0.51278 | dz/y - WIGL/915a | 0.013598 | dz/y - WIGL/Lyon | -0.0014403 | dz/y - alpha-Ottawa/ICP Ca Lyon | -0.015038 | dz/y - alpha-Ottawa/WIGL | 0.49726 | dz/y - alpha-Ottawa/915a | 0.49712 | dz/y - alpha-Ottawa/915a
[26 empty] | NRC mes rel to 915a | 0.90863 | 2 point calibration
[26 empty] | Δ alpha to 915a | 0.49733
[13 empty] | 2SD from Ottawa |  | mean | 2SD | mean | 2SD | mean | 2SD | mean | 2SD | mean | 2SD | mean | 2SD | mean | 2SD
[13 empty] | 0.15703 | Average pond per n replicate (SRM1486, IAPSO) | -0.53361 |  | -0.49394 |  | 0.022304 |  | 0.025096 | 0.34427 | -0.0062631 | 0.4125 | -0.50292 | 0.34389 | -0.50041 | 0.28473
[14 empty] | Average pond per standard (SRM1486, IAPSO) | -0.51662 |  | -0.49698 |  | 0.016574 |  | 0.013711 |  | -0.0028629 |  | -0.50294 |  | -0.49982
[14 empty] | without approximation | -0.51652 | dy/z - 915a/ICP Ca Lyon | -0.49687 | dy/z - 915a/WIGL | 0.016601 | dy/z - Lyon/WIGL | 0.013725 | dy/z - ICP Ca Lyon/alpha-Ottawa | -0.0028761 | dy/z - WIGL/alpha-Ottawa | -0.50284 | dy/z - 915a/alpha-Ottawa | -0.49972 | dy/z - 915a/alpha-Ottawa
[14 empty] | without approximation | 0.51679 | dz/y - ICP Ca Lyon/915a | 0.49712 | dz/y - WIGL/915a | -0.0166 | dz/y - WIGL/Lyon | -0.013724 | dz/y - alpha-Ottawa/ICP Ca Lyon | 0.0028765 | dz/y - alpha-Ottawa/WIGL | 0.50309 | dz/y - alpha-Ottawa/915a | 0.49997 | dz/y - alpha-Ottawa/915a
Note on B36: Outliers
Note on B37: Outliers

## TABLE S5
TABLE S5: Sr doping experiments (δCa values reported relative to alpha-Ottawa).
|  | uncorrected δCa mean values (‰) |  |  | Sr2+ corrected δCa mean values (‰) |  |  | uncorrected δCa 2SD values (‰) |  |  | Sr2+ corrected δCa 2SD values (‰) |  |  | Sr2+ corrected δCa 2SE values (‰) |  | Sr/Ca
ID | n | 44/42 | 43/42 | 44/43 | 44/42 | 43/42 | 44/43 | 44/42 | 43/42 | 44/43 | 44/42 | 43/42 | 44/43 | 44/42 | 43/42
Figure 5A: full 10^11ampl rotating
Sr/Ca 10-6 | 5 | -0.024516 | 0.076087 | -0.10052 | -0.07807 | -0.024687 | -0.05335 | 0.12492 | 0.34796 | 0.25869 | 0.27637 | 0.64437 | 0.38917 | 0.1236 | 0.28817 | 1e-06
Sr/Ca 10-5 | 5 | 0.015776 | 0.016618 | -0.00077544 | 0.038377 | 0.059628 | -0.02125 | 0.057169 | 0.12614 | 0.14739 | 0.13786 | 0.2588 | 0.17839 | 0.061654 | 0.11574 | 1e-05
Sr/Ca 10-4 | 5 | 0.16308 | 0.25976 | -0.096629 | -0.00705 | -0.061399 | 0.054393 | 0.10785 | 0.48231 | 0.40533 | 0.124 | 0.55052 | 0.44037 | 0.055454 | 0.2462 | 0.0001
Sr/Ca 10-3 | 5 | 1.7198 | 3.1567 | -1.4324 | 0.0076727 | -0.077267 | 0.084961 | 0.050553 | 0.50056 | 0.48488 | 0.10164 | 0.35493 | 0.41359 | 0.045456 | 0.15873 | 0.001
Sr/Ca 10-2 | 5 | 17.6489 | 33.1273 | -14.9821 | 0.038563 | -0.13467 | 0.17328 | 0.18203 | 0.33754 | 0.25864 | 0.37897 | 0.57858 | 0.27988 | 0.16948 | 0.25875 | 0.01
Sr/Ca 10-1 | 4 | 166.0194 | 311.4978 | -110.9253 | 1.0466 | -0.09608 | 1.1428 | 1.1832 | 2.0852 | 0.55585 | 0.11264 | 0.26045 | 0.33238 | 0.056321 | 0.13023 | 0.1
Figure 5B: hybrid 10^11 & 10^13 ampl (outdated gain calibration)
Sr/Ca 10-6 | 5 | 0.014426 | -0.0097245 | -0.0054509 | -0.0060404 | -0.051835 | 0.045806 | 0.074929 | 0.16771 | 0.15926 | 0.069273 | 0.22035 | 0.23409 | 0.03098 | 0.098543 | 1e-06
Sr/Ca 10-5 | 5 | -0.0058351 | -0.0021213 | 0.038505 | -0.033214 | -0.020879 | -0.012333 | 0.076921 | 0.10001 | 0.16229 | 0.076664 | 0.23139 | 0.17848 | 0.034285 | 0.10348 | 1e-05
Sr/Ca 10-4 | 5 | 0.1773 | 0.38605 | -0.20303 | -0.017535 | 0.021743 | -0.039261 | 0.077031 | 0.37871 | 0.34963 | 0.038841 | 0.31898 | 0.32413 | 0.01737 | 0.14265 | 0.0001
Sr/Ca 10-3 | 5 | 1.8194 | 3.4924 | -1.6429 | 0.028151 | 0.10676 | -0.078599 | 0.059401 | 0.42713 | 0.31292 | 0.053275 | 0.20356 | 0.19105 | 0.023825 | 0.091035 | 0.001
Sr/Ca 10-2 | 5 | 18.1382 | 34.1074 | -15.4984 | 0.23351 | 0.49821 | -0.26456 | 0.14858 | 0.46774 | 0.34625 | 0.045094 | 0.25017 | 0.26175 | 0.020167 | 0.11188 | 0.01
Sr/Ca 10-1 | 4 | 171.7127 | 322.2995 | -113.8674 | 2.3632 | 4.1645 | -1.7939 | 0.83921 | 1.7487 | 0.58277 | 0.16566 | 0.22779 | 0.22778 | 0.082832 | 0.1139 | 0.1
Figure 5C: hybrid 10^11 & 10^13 ampl (updated gain calibration)
Sr/Ca 10-5 | 4 | 0.0029617 | -0.1832 | 0.25143 | -0.0011304 | -0.045755 | 0.044611 | 0.10924 | 0.50148 | 0.44537 | 0.15182 | 0.30037 | 0.4214 | 0.07591 | 0.15018 | 1e-05
Sr/Ca 10-4 | 7 | 0.23276 | 0.4008 | -0.093893 | 0.011528 | 0.021246 | -0.0097351 | 0.086716 | 0.69483 | 0.90036 | 0.086941 | 0.20054 | 0.26792 | 0.032861 | 0.075798 | 0.0001
Sr/Ca 10-3 | 5 | 2.2306 | 4.1819 | -1.9196 | -0.056426 | -0.01363 | -0.04287 | 0.19237 | 0.53403 | 0.71355 | 0.1545 | 0.24855 | 0.26036 | 0.069096 | 0.11115 | 0.001
Sr/Ca 10-2 | 2 | 23.6103 | 44.4966 | -19.987 | -0.013781 | 0.040931 | -0.054732 | 1.8052 | 3.2933 | 1.398 | 0.041209 | 0.064222 | 0.023067 | 0.029139 | 0.045412 | 0.01
Hybrid 10^11 & 10^13 ampl (updated gain calibration)
CACB-1 (no chromatography) | 9 | 1.0355 | 2.035 | -0.98276 | -0.060224 | -0.064918 | 0.0047201 | 0.22962 | 0.71022 | 0.63875 | 0.25317 | 0.47869 | 0.42864 | 0.084389 | 0.15956 | 0.000489
Sr-spiked SRM1486 | 4 | 1.1628 | 3.5524 | -2.4066 | -0.96581 | -0.40451 | -0.56153 | 0.14461 | 0.12797 | 0.10209 | 0.065474 | 0.07119 | 0.091829 | 0.032737 | 0.035595 | 0.001