## S1
S1 Recommended values of reference zircon materials used in this study
Reference Material | Recommended Age (Ma), | 176Hf/177Hf | U (ppm) | Pb (ppm) | Source
91500 | 1065.4 ± 0.6 Ma | 0.282308 ± 0.000006 | 80 | 15 | 91500: Wiedenbeck, M., Allé, P., Corfu, F., Griffin, W. L., Meier, M., Oberli, F., von Quadt, A., Roddick, J. C., & Spiegel, W. (1995). Three natural zircon standards for U-Th-Pb, Lu-Hf trace element and REE analyses. Geostandards Newsletter, 19, 1–23; Blichert-Toft J. The Hf isotopic composition of zircon reference material 91500. (2008).Chemical Geology, 253(3-4): 252-257.;
Plešovice | 337.13 ± 0.37 Ma | 0.282482 ± 0.000013 | 755 | 39 | Plešovice: Sláma, J., Košler, J., Condon, D. J., Crowley, J. L., Gerdes, A., Hanchar, J. M., Horstwood, M. S. A., Morris, G. A., Nasdala, L., Norberg, N., Schaltegger, U., Schoene, B., Tubrett, M. N., & Whitehouse, M. J. (2008). Plešovice zircon - A new natural reference material for U–Pb and Hf isotopic microanalysis. Chemical Geology, 249(1–2), 1–35.
TANZ | 566.16 ± 0.77 Ma |  | 269 | 31 | TANZ: Hu, Z., Li, X.-H., Luo, T., Zhang, W., Crowley, J., Li, Q., Ling, X., Yang, C., Li, Y., Feng, L., Xia, X., Zhang, S.-B., Wang, Z., Guo, J., Xu, L., Lin, J., Liu, X., Bao, Z., Liu, Y., Zong, K., Chen, W., Hu, S. (2021) Tanz zircon megacrysts: a new zircon reference material for the microbeam determination of U–Pb ages and Zr–O isotopes. Journal of Analytical Atomic Spectrometry, 36, 2715–2734.
Penglai | 4.4 ± 0.1 Ma | 0.282906 ± 0.0000010 | 86.88 | 4.08 | Penglai: Li, X. H., Long, W. G., Li, Q. L., Liu, Y., Zheng, Y. F., Yang, Y. H., ... & Tao, H. (2010). Penglai zircon megacrysts: a potential new working reference material for microbeam determination of Hf–O isotopes and U–Pb age. Geostandards and Geoanalytical Research, 34(2), 117-134.
Qinghu | 159.5 ± 0.2 Ma | 0.283002 ± 0.000004 | 1042 |  | Qinghu: Li, X., Tang, G., Gong, B., Yang, Y., Hou, K., Hu, Z., ... & Li, W. (2013). Qinghu zircon: A working reference for microbeam analysis of U-Pb age and Hf and O isotopes. Chinese Science Bulletin, 58(36), 4647-4654.
MUN |  | 0.282135 ± 0.000007 |  |  | MUN: Fisher, C. M., Hanchar, J. M., Samson, S. D., Dhuime, B., Blichert-Toft, J., Vervoort, J. D., & Lam, R. (2011). Synthetic zircon doped with hafnium and rare earth elements: A reference material for in situ hafnium isotope analysis. Chemical Geology, 286(1-2), 32-47.

## S2
S2 A comparison of the technique between previous studies and this study
| Xie et al., 2008 | Yuan et al., 2008 | Fisher et al., 2014 | Craig et al., 2017 | From et al., 2018 | This Study
Laser | GeoLas CQ 193 nm | GeoLas 2005 193nm | New Wave 213nm | Analyte G2 193nm | RESOlution 193nm | RESOlution 193nm
ICP-MS | Agilent 7500a | Perkin Elmer Elan 6100DRC | Thermo Element 2 | Thermo Element XR for U-Pb; iCAP RQ for REE | Thermo Element-XR 2 | Thermo ICap Q
MC-ICP-MS | Neptune | Nu Plasma | Neptune | Neptune Plus | Neptune Plus | Neptune Plus
Spot size | 60um for 91500 | 44um for 91500 | 40 um for 91500 | 50 um for Plesovice | 33um for 91500 | 29 um for 91500
Frequnce | 8 HZ | 4-10 Hz | 10 Hz | 10 Hz | 10 Hz | 8-9Hz
Fluence | 15 J/cm2 | 15-20 J/cm2 | 9-10 J/cm2 | 4 J/cm2 | 5 J/cm2 | 7-8 J/cm2
Gas Line | 4:6 (Pb:Hf) of the ablation material via mass flow controllers | 4:6 (Pb:Hf) of the ablation material via mass flow controllers | 1:1 (Pb:Hf) of the gas line inner diameter | 3:2:5 (Pb:REE:Hf)of the ablation material via mass flow controllers | Not given | 4:6 (Pb:Hf) of the gas line inner diameter
Water vapour | No | No | No | No | No | Before chamber
RSE of U-Pb age | About 1.8% | About 1.8% | Not given | Not given | Not given | 1.5-2.0 %
SE of 176Hf/177Hf | About 0.000025 | About 0.000025 | About 0.000025 | About 0.000015 for Plesovice | Not given | 0.000020-0.000030
Hf isotope Data reduction scheme | VBA offline | Offline | Iolite (normalized to Plesovice in Fisher et al., 2017) | Iolite 3.31 | Iolite 3.32 (XBeta) | Iolite 4.10.5 (LCG)
References Fisher, C.M., Vervoort, J.D., DuFrane, S.A., 2014. Accurate Hf isotope determinations of complex zircons using the “laser ablation split stream” method. Geochemistry, Geophysics, Geosystems, 15 (1), 121–139. From, R.E., Camacho, A., Pearson, D.G., Luo, Y., 2018. U-Pb and Lu-Hf isotopes of the Archean orthogneiss complex on eastern Hall Peninsula, southern Baffin Island, Nunavut: Identification of exotic Paleo- to Mesoarchean crust beneath eastern Hall Peninsula. Precambrian Research, 305, 341–357. G. Craig, C. Bouman, N. Lloyd and J. B. Schwieters, Thermo Fisher Scientific, Bremen, Germany, D. A. Frick, Helmholtz Centre Potsdam, GFZ German Research Centre for Geosciences. Laser Ablation Split Stream (LASS) Between Three Inductively Coupled Plasma Mass Spectrometers for Zircon Petrochronology. Xie, L., Zhang, Y., Zhang, H., Sun, J., Wu, F., 2008. In situ simultaneous determination of trace elements, U-Pb and Lu-Hf isotopes in zircon and baddeleyite. Science Bulletin, 53 (10), 1565–1573. Yuan, H.-L., Gao, S., Dai, M.-N., Zong, C.-L., Günther, D., Fontaine, G.H., Liu, X.-M., Diwu, C., 2008. Simultaneous determinations of U–Pb age, Hf isotopes and trace element compositions of zircon by excimer laser-ablation quadrupole and multiple-collector ICP-MS. Chemical Geology, 247 (1-2), 100–118.

## S3
S3 Recommended and Measure values of reference glass materials used in this study
BHVO-2G | [6 empty] | BCR-2G
Element | Measured | Accepted | Diff | Variation | Minimum | Maximum | Measured | Accepted | Diff | Variation | Minimum | Maximum | Calibrant
| ppm | ppm | % | %RSD | ppm | ppm | ppm | ppm | % | %RSD | ppm | ppm
Ti | 16504.5 | 16300 | 1.25 | 5.84 | 16074.2 | 17079.7 | 13307.4 | 14100 | -5.62 | 6.48 | 12660.4 | 13791.3 | G_NIST610
Y | 26.2682 | 26 | 1.03 | 6.55 | 25.264 | 27.169 | 34.5448 | 35 | -1.3 | 11.52 | 32.7406 | 37.2105 | G_NIST610
Zr | 170 | 170 | 0 | 0 | 170 | 170 | 184 | 184 | 0 | 0 | 184 | 184 | G_NIST610
Nb | 18.0381 | 18.3 | -1.43 | 6.52 | 17.6052 | 18.9781 | 12.1881 | 12.5 | -2.5 | 13.13 | 10.9083 | 12.9464 | G_NIST610
La | 15.3494 | 15.2 | 0.98 | 17.26 | 13.555 | 16.5765 | 24.6844 | 24.7 | -0.06 | 11.06 | 22.9019 | 26.266 | G_NIST610
Ce | 38.5084 | 37.6 | 2.42 | 11.19 | 35.7926 | 40.7444 | 53.7343 | 53.3 | 0.81 | 8.38 | 51.4472 | 57.8303 | G_NIST610
Pr | 5.8177 | 5.35 | 8.74 | 10.45 | 5.352 | 6.1861 | 6.734 | 6.7 | 0.51 | 20.69 | 6.039 | 7.9797 | G_NIST610
Nd | 25.5275 | 24.5 | 4.19 | 20.29 | 22.9952 | 29.2546 | 27.4911 | 28.9 | -4.88 | 21.35 | 23.9417 | 31.4915 | G_NIST610
Sm | 6.5231 | 6.1 | 6.94 | 26.05 | 5.3422 | 7.6034 | 6.3414 | 6.59 | -3.77 | 28.62 | 5.3143 | 7.9965 | G_NIST610
Eu | 2.4172 | 2.07 | 16.77 | 23.14 | 2.0554 | 2.7247 | 1.9534 | 1.97 | -0.84 | 37.33 | 1.6228 | 2.6124 | G_NIST610
Gd | 6.2704 | 6.16 | 1.79 | 30.8 | 5.1986 | 7.4263 | 7.7529 | 6.71 | 15.54 | 23.8 | 6.3643 | 9.0254 | G_NIST610
Tb | 0.95274 | 0.92 | 3.56 | 28.67 | 0.74999 | 1.1341 | 1.0077 | 1.02 | -1.2 | 25.4 | 0.88428 | 1.1885 | G_NIST610
Dy | 5.5676 | 5.28 | 5.45 | 38.19 | 3.7533 | 6.3358 | 6.4657 | 6.44 | 0.4 | 7.33 | 6.1211 | 6.7486 | G_NIST610
Ho | 1.0345 | 0.98 | 5.56 | 24.17 | 0.90013 | 1.193 | 1.4503 | 1.27 | 14.2 | 17.8 | 1.279 | 1.6334 | G_NIST610
Er | 2.6795 | 2.56 | 4.67 | 27.8 | 2.1215 | 3.085 | 3.6125 | 3.7 | -2.36 | 17.16 | 3.1648 | 4.0569 | G_NIST610
Tm | 0.39462 | 0.34 | 16.06 | 55.94 | 0.29568 | 0.57779 | 0.5514 | 0.51 | 8.12 | 24.98 | 0.48678 | 0.67973 | G_NIST610
Yb | 2.0055 | 2.01 | -0.23 | 45.36 | 1.4691 | 2.4619 | 3.3022 | 3.39 | -2.59 | 47.63 | 2.5291 | 4.5139 | G_NIST610
Lu | 0.2698 | 0.279 | -3.3 | 54.12 | 0.14823 | 0.33814 | 0.51993 | 0.503 | 3.37 | 28.39 | 0.42348 | 0.63429 | G_NIST610
Hf | 4.8697 | 4.32 | 12.73 | 8.63 | 4.6541 | 5.1478 | 4.9996 | 4.84 | 3.3 | 23.6 | 3.926 | 5.6063 | G_NIST610
Ta | 1.1648 | 1.15 | 1.29 | 25.18 | 0.96547 | 1.3316 | 0.70766 | 0.78 | -9.27 | 16.42 | 0.61774 | 0.79244 | G_NIST610
Pb | 2.0149 | 1.7 | 18.5 | 29.3 | 1.6605 | 2.391 | 12.5109 | 11 | 13.74 | 5.47 | 11.9335 | 12.8241 | G_NIST610
Th | 1.2693 | 1.22 | 4.05 | 26.76 | 1.0881 | 1.5177 | 5.8864 | 5.9 | -0.23 | 9.74 | 5.4228 | 6.2505 | G_NIST610
U | 0.47254 | 0.403 | 17.25 | 22.62 | 0.41033 | 0.5548 | 1.7506 | 1.69 | 3.58 | 13.94 | 1.6221 | 1.9149 | G_NIST610

## S4
S4 LASS U-Pb dating results of the reference zircon materials
| 206Pb/238U | 2SE | 206Pb/238U age (Ma) | 2SE (Ma) | 207Pb/235U | 2SE | 207Pb/235U (Ma) | 2SE (Ma) | 208Pb/232Th | 2SE | 208Pb/232Th (Ma) | 2SE (Ma) | 207Pb/206Pb | 2SE | 207Pb/206Pb (Ma) | 2SE (Ma) | 238U/206Pb | 2SE | U/Th | 2SE | U (ppm) | 2SE (ppm) | Th(ppm) | 2SE (ppm) | Pb (ppm) | 2SE
Qinghu
QH - 1 | 0.025178 | 0.00058104 | 160.2929 | 3.6545 | 0.1716 | 0.016994 | 159.9556 | 14.6564 | 0.007492 | 0.00040389 | 150.8518 | 8.1015 | 0.049041 | 0.0049751 | 72.6154 | 231.2058 | 39.3359 | 0.93639 | 2.9555 | 0.029428 | 1661.2974 | 125.6143 | 575.2443 | 45.0179 | 40.4683 | 3.1761
QH - 2 | 0.025333 | 0.0010479 | 161.2465 | 6.5772 | 0.19773 | 0.035266 | 179.9423 | 29.6421 | 0.0084277 | 0.00085318 | 169.5748 | 17.0949 | 0.055347 | 0.010014 | 8.4741 | 556.7648 | 39.1351 | 1.7097 | 1.6947 | 0.054108 | 426.8018 | 38.7332 | 251.8784 | 28.4139 | 19.0342 | 1.9962
QH - 3 | 0.024879 | 0.0010496 | 158.3917 | 6.6053 | 0.18765 | 0.034319 | 171.245 | 29.2382 | 0.0073108 | 0.0006765 | 147.1926 | 13.5751 | 0.055116 | 0.011024 | -332.3611 | 668.2912 | 39.9982 | 1.511 | 1.5511 | 0.10193 | 486.0546 | 66.8095 | 303.6013 | 39.3919 | 21.0236 | 3.4518
QH - 4 | 0.024308 | 0.0015251 | 154.7692 | 9.5843 | 0.13571 | 0.038262 | 124.7249 | 33.6039 | 0.0077017 | 0.00072532 | 155.0301 | 14.5403 | 0.04048 | 0.011249 | -242.0778 | 703.9865 | 41.9988 | 2.458 | 1.3323 | 0.061039 | 297.5562 | 15.6664 | 224.9872 | 6.7683 | 16.6816 | 1.5068
QH - 5 | 0.025475 | 0.00086706 | 162.1482 | 5.4516 | 0.18785 | 0.036114 | 171.0799 | 30.6517 | 0.0075017 | 0.00052158 | 151.0388 | 10.4626 | 0.055291 | 0.011322 | 306.6392 | 435.7696 | 39.4337 | 1.3989 | 1.3568 | 0.078682 | 601.1709 | 46.1765 | 446.707 | 37.4271 | 30.5351 | 2.1821
QH - 6 | 0.025936 | 0.001208 | 165.031 | 7.5906 | 0.14087 | 0.032152 | 130.7162 | 28.4807 | 0.0086127 | 0.00094363 | 173.2676 | 18.9167 | 0.040664 | 0.010064 | -487.8186 | 547.4809 | 38.7955 | 1.8507 | 2.328 | 0.44187 | 432.2775 | 112.3152 | 157.5185 | 11.2541 | 12.2297 | 1.4431
QH - 7 | 0.02472 | 0.00087227 | 157.4019 | 5.4848 | 0.17666 | 0.032641 | 162.1332 | 27.6875 | 0.0076508 | 0.0008054 | 154 | 16.1581 | 0.051713 | 0.010065 | -144.6779 | 551.051 | 39.9533 | 1.5966 | 1.9097 | 0.068218 | 476.1683 | 53.2706 | 246.6694 | 23.3117 | 17.2388 | 2.0286
QH - 8 | 0.024682 | 0.00086096 | 157.1593 | 5.4122 | 0.18359 | 0.026607 | 169.0843 | 22.9168 | 0.0075589 | 0.00047757 | 152.1894 | 9.5796 | 0.053956 | 0.0076794 | 396.646 | 251.3605 | 40.4369 | 1.3462 | 1.6567 | 0.063706 | 623.9128 | 113.0678 | 403.0434 | 83.1901 | 27.8349 | 5.4535
QH - 9 | 0.02489 | 0.0011273 | 158.4553 | 7.0943 | 0.2013 | 0.04554 | 180.6053 | 37.4296 | 0.0084895 | 0.00069127 | 170.83 | 13.8589 | 0.058035 | 0.012968 | 44.5478 | 571.6919 | 39.736 | 1.6992 | 1.6099 | 0.060799 | 431.1647 | 49.0745 | 282.93 | 41.149 | 22.3957 | 2.6546
QH - 10 | 0.025257 | 0.00059734 | 160.7863 | 3.7567 | 0.17016 | 0.021418 | 158.2063 | 18.4548 | 0.0073248 | 0.00041415 | 147.4977 | 8.3099 | 0.049141 | 0.0062691 | -99.3646 | 345.3726 | 39.2962 | 0.95473 | 1.626 | 0.037545 | 1318.4033 | 97.6286 | 817.4611 | 47.6884 | 57.9972 | 4.2183
QH - 11 | 0.025063 | 0.0008226 | 159.5566 | 5.1737 | 0.19252 | 0.030488 | 176.1586 | 25.7021 | 0.0083738 | 0.00052887 | 168.5269 | 10.5916 | 0.055902 | 0.0090068 | 191.3213 | 380.1586 | 39.8682 | 1.352 | 1.9872 | 0.090758 | 1112.3331 | 46.3302 | 550.8004 | 15.7072 | 44.2355 | 3.4094
QH - 12 | 0.025189 | 0.0013498 | 160.3279 | 8.4877 | 0.14631 | 0.030924 | 135.8952 | 27.2398 | 0.0078112 | 0.00078347 | 157.2217 | 15.7082 | 0.040823 | 0.0083945 | -228.6644 | 393.9234 | 40.1904 | 2.3026 | 1.6678 | 0.055434 | 437.1988 | 35.6718 | 254.2725 | 19.6655 | 18.8917 | 2.1683
QH - 13 | 0.024885 | 0.00074511 | 158.4396 | 4.688 | 0.24179 | 0.035512 | 225.1863 | 33.4807 | 0.01064 | 0.0011197 | 213.8186 | 22.3834 | 0.069891 | 0.011261 | 803.4179 | 350.0812 | 40.009 | 1.251 | 1.6319 | 0.044891 | 726.2253 | 77.3313 | 459.2363 | 57.667 | 43.0948 | 3.2745
QH - 14 | 0.025365 | 0.00090629 | 161.4531 | 5.6992 | 0.14653 | 0.025392 | 136.847 | 22.528 | 0.007157 | 0.00057026 | 144.1172 | 11.4428 | 0.042223 | 0.007627 | -193.7244 | 342.3621 | 39.5864 | 1.2521 | 1.6919 | 0.097616 | 859.7434 | 161.8974 | 555.3159 | 126.245 | 36.3118 | 7.8757
QH - 15 | 0.02491 | 0.00087657 | 158.5951 | 5.5103 | 0.16217 | 0.024845 | 150.7359 | 21.8298 | 0.0078105 | 0.00079811 | 157.2031 | 15.9842 | 0.047923 | 0.007776 | 35.3339 | 355.1109 | 40.4304 | 1.3964 | 2.4984 | 0.059613 | 603.0146 | 84.4743 | 239.6179 | 36.8578 | 18.9365 | 2.5423
QH - 16 | 0.024928 | 0.0005915 | 158.7166 | 3.72 | 0.15289 | 0.020215 | 143.22 | 17.7297 | 0.0078131 | 0.00045276 | 157.2903 | 9.0762 | 0.044203 | 0.0058781 | -356.4399 | 439.0009 | 39.9238 | 0.953 | 1.7556 | 0.031752 | 998.1336 | 57.6041 | 562.6293 | 29.0405 | 42.4658 | 3.5234
QH - 17 | 0.025309 | 0.0011204 | 161.094 | 7.0384 | 0.26523 | 0.06579 | 228.7059 | 49.9131 | 0.010102 | 0.0015049 | 202.9812 | 30.0498 | 0.07247 | 0.015264 | 728.2238 | 448.121 | 39.8274 | 1.6833 | 1.3112 | 0.050028 | 485.2427 | 72.4077 | 357.5892 | 43.8669 | 31.3176 | 5.1635
QH - 18 | 0.026056 | 0.00092406 | 165.7972 | 5.804 | 0.20163 | 0.028716 | 184.215 | 24.018 | 0.0081657 | 0.00066062 | 164.3416 | 13.2423 | 0.056959 | 0.0088698 | 262.6208 | 379.8287 | 38.4859 | 1.3659 | 2.0062 | 0.020604 | 743.5959 | 58.5532 | 380.6547 | 29.8141 | 27.6077 | 2.5376
QH - 19 | 0.026025 | 0.00087916 | 165.6012 | 5.5202 | 0.18966 | 0.029248 | 173.9227 | 24.691 | 0.0076308 | 0.0006687 | 153.6135 | 13.3963 | 0.05392 | 0.0085023 | -92.6446 | 515.0715 | 38.6896 | 1.2798 | 1.5441 | 0.049158 | 558.0729 | 83.419 | 372.4812 | 59.6826 | 25.681 | 3.0013
QH - 20 | 0.026036 | 0.00084405 | 165.6768 | 5.3035 | 0.18101 | 0.021574 | 167.5859 | 18.3906 | 0.0079709 | 0.00053014 | 160.4487 | 10.6269 | 0.051087 | 0.0065077 | 6.1358 | 333.0599 | 38.6511 | 1.2884 | 2.14 | 0.030342 | 960.377 | 98.3458 | 447.2736 | 44.4209 | 33.3157 | 3.1569
QH - 21 | 0.024799 | 0.001052 | 157.8893 | 6.6135 | 0.16962 | 0.030465 | 156.401 | 25.9755 | 0.0070913 | 0.00048367 | 142.8075 | 9.707 | 0.050284 | 0.0095047 | -51.0185 | 505.3898 | 40.7818 | 1.6966 | 1.4833 | 0.049572 | 742.4187 | 83.1078 | 516.0995 | 66.9418 | 34.0122 | 4.2698
QH - 22 | 0.024274 | 0.0010835 | 154.582 | 6.8252 | 0.14741 | 0.032146 | 136.5138 | 27.9417 | 0.0078035 | 0.0006469 | 157.081 | 12.968 | 0.042983 | 0.0087227 | -301.9213 | 486.2833 | 41.2414 | 1.8052 | 2.002 | 0.17985 | 592.6449 | 84.6322 | 291.1509 | 19.8186 | 21.4072 | 2.2815
QH - 23 | 0.025832 | 0.001151 | 164.3763 | 7.2156 | 0.18771 | 0.028602 | 172.3349 | 24.3431 | 0.007661 | 0.00071878 | 154.2141 | 14.4169 | 0.052173 | 0.0088993 | -33.3659 | 434.6131 | 38.4325 | 1.8299 | 1.8102 | 0.079864 | 661.5432 | 78.2774 | 378.6778 | 62.6313 | 26.6454 | 4.6393
TANZ
TANZ - 1 | 0.092492 | 0.0029292 | 570.0719 | 17.2897 | 0.94789 | 0.1201 | 661.4522 | 63.1396 | 0.04601 | 0.0064957 | 906.0851 | 125.4018 | 0.073493 | 0.0097471 | 904.9181 | 263.8025 | 10.7358 | 0.30189 | 6.6467 | 0.19072 | 193.0778 | 15.8954 | 28.1739 | 2.2291 | 11.8799 | 1.7413
TANZ - 2 | 0.093251 | 0.0025942 | 574.5808 | 15.2705 | 0.76775 | 0.084267 | 581.0247 | 53.9559 | 0.034403 | 0.0052675 | 681.438 | 102.6789 | 0.062315 | 0.0073184 | 564.5586 | 261.1943 | 10.7083 | 0.28962 | 6.6521 | 0.23675 | 175.9284 | 13.4651 | 27.1123 | 2.4479 | 8.8993 | 1.4217
TANZ - 3 | 0.092057 | 0.0031124 | 567.4817 | 18.3337 | 0.78073 | 0.10381 | 571.3007 | 61.867 | 0.034607 | 0.0042738 | 686.2753 | 83.2156 | 0.062086 | 0.0087899 | 585.6907 | 300.338 | 10.8147 | 0.35209 | 6.5907 | 0.24274 | 191.8086 | 15.389 | 28.5286 | 2.7231 | 8.8665 | 1.3017
TANZ - 4 | 0.090085 | 0.0026502 | 555.8903 | 15.6662 | 0.76362 | 0.078342 | 568.1702 | 44.8045 | 0.036201 | 0.0041277 | 717.4896 | 80.4887 | 0.061689 | 0.0064375 | 583.4295 | 262.1929 | 11.0469 | 0.32702 | 6.8139 | 0.16395 | 216.9583 | 17.5073 | 32.6557 | 2.786 | 11.5454 | 1.6491
TANZ - 5 | 0.095125 | 0.0031898 | 585.5985 | 18.7118 | 0.93834 | 0.14782 | 653.0828 | 76.8823 | 0.030607 | 0.0064336 | 606.8274 | 125.3671 | 0.072486 | 0.011558 | 707.3424 | 425.1983 | 10.4686 | 0.32838 | 6.6628 | 0.18196 | 236.721 | 16.956 | 36.0934 | 3.0289 | 10.6023 | 2.456
TANZ - 6 | 0.094259 | 0.0028429 | 580.5003 | 16.7339 | 0.77385 | 0.10441 | 567.1093 | 62.4224 | 0.032512 | 0.0048597 | 644.8959 | 95.2809 | 0.058156 | 0.0078257 | 465.0368 | 290.8983 | 10.5775 | 0.31912 | 6.6252 | 0.19699 | 212.0567 | 16.7482 | 31.0837 | 2.5387 | 9.7095 | 1.636
TANZ - 7 | 0.089063 | 0.0023249 | 549.907 | 13.745 | 0.89086 | 0.1309 | 632.1815 | 70.4998 | 0.040161 | 0.0054398 | 794.2114 | 105.915 | 0.070867 | 0.011103 | 730.9766 | 355.3359 | 11.25 | 0.29001 | 6.8014 | 0.3079 | 212.0332 | 16.706 | 32.0807 | 3.4775 | 11.7653 | 1.7465
TANZ - 8 | 0.09474 | 0.0032131 | 583.2862 | 18.9128 | 1.0483 | 0.12098 | 713.664 | 60.7514 | 0.047098 | 0.0080824 | 925.4529 | 154.9225 | 0.077959 | 0.0086812 | 996.3494 | 256.3221 | 10.4418 | 0.40873 | 6.7102 | 0.19486 | 222.8124 | 21.6718 | 33.025 | 3.1122 | 16.0222 | 3.3279
TANZ - 9 | 0.091044 | 0.0024125 | 561.5823 | 14.2473 | 0.80448 | 0.11045 | 583.2918 | 65.0226 | 0.039264 | 0.0042413 | 777.0958 | 82.2487 | 0.06353 | 0.0085567 | 665.2835 | 285.924 | 10.9427 | 0.28998 | 6.2064 | 0.18012 | 221.1948 | 18.6931 | 36.0729 | 3.2612 | 12.2818 | 1.6713
Z_Plesovice
PLE - 1 | 0.054206 | 0.0014017 | 340.2437 | 8.5784 | 0.41004 | 0.048349 | 343.6849 | 35.6328 | 0.017923 | 0.0019713 | 358.7295 | 39.1366 | 0.054479 | 0.0065278 | 355.2524 | 245.6669 | 18.3215 | 0.49702 | 9.136 | 0.1826 | 653.5672 | 59.6621 | 73.3188 | 7.5444 | 11.8631 | 1.4947
PLE - 2 | 0.053551 | 0.0014483 | 336.2399 | 8.8644 | 0.41395 | 0.049154 | 346.9255 | 35.5177 | 0.018239 | 0.00275 | 364.7506 | 54.5066 | 0.055144 | 0.0065976 | 286.9391 | 292.7743 | 18.6908 | 0.51678 | 9.0783 | 0.25594 | 610.0138 | 56.5747 | 66.3017 | 6.9891 | 11.4986 | 2.1262
PLE - 3 | 0.052787 | 0.0023545 | 331.4951 | 14.4223 | 0.39282 | 0.050544 | 331.5219 | 37.1887 | 0.016873 | 0.0012012 | 338.1007 | 23.8532 | 0.054746 | 0.0063268 | 206.1322 | 326.8925 | 19.1251 | 0.89681 | 8.8802 | 0.21801 | 675.5961 | 78.4844 | 74.8048 | 9.2485 | 11.1512 | 1.2551
PLE - 4 | 0.052588 | 0.0014896 | 330.3409 | 9.119 | 0.39637 | 0.047098 | 334.383 | 34.308 | 0.018367 | 0.002555 | 367.3679 | 50.5926 | 0.054696 | 0.0069092 | 260.2442 | 288.0547 | 18.9176 | 0.53848 | 9.8141 | 0.23301 | 671.568 | 61.5986 | 69.3515 | 6.62 | 12.0506 | 2.0139
PLE - 5 | 0.054278 | 0.0014057 | 340.6878 | 8.596 | 0.38685 | 0.03312 | 329.6793 | 24.2336 | 0.015256 | 0.0017804 | 305.7837 | 35.3609 | 0.051745 | 0.0047858 | 153.9221 | 221.3692 | 18.2423 | 0.48278 | 6.3955 | 0.14411 | 1052.6717 | 81.8686 | 170.6372 | 15.1277 | 25.5467 | 3.1185
PLE - 6 | 0.055663 | 0.0012552 | 349.1635 | 7.6698 | 0.43011 | 0.025821 | 362.0088 | 18.348 | 0.017892 | 0.0012935 | 358.3255 | 25.6846 | 0.055709 | 0.0033114 | 397.0073 | 137.8647 | 17.8646 | 0.41909 | 7.7856 | 0.13544 | 2247.4507 | 203.0322 | 282.7417 | 29.0132 | 45.2395 | 3.8343
PLE - 7 | 0.053599 | 0.00093202 | 336.5596 | 5.7036 | 0.41415 | 0.024684 | 350.6172 | 17.7473 | 0.017484 | 0.00095187 | 350.2705 | 18.8941 | 0.053316 | 0.0033094 | 289.6909 | 147.7071 | 18.5238 | 0.32657 | 7.2956 | 0.15218 | 2332.562 | 252.1389 | 330.2826 | 40.7108 | 52.8621 | 6.5492
PLE - 8 | 0.055047 | 0.0010351 | 345.4053 | 6.3234 | 0.3962 | 0.035403 | 336.1658 | 25.3948 | 0.019349 | 0.0014251 | 387.1853 | 28.2378 | 0.049737 | 0.0043119 | 169.3045 | 214.3629 | 18.045 | 0.33956 | 9.2175 | 0.19209 | 1397.169 | 107.2923 | 151.1451 | 12.7368 | 29.4659 | 2.8274
PLE - 9 | 0.054076 | 0.0012007 | 339.4692 | 7.3427 | 0.41318 | 0.038676 | 348.2313 | 28.4013 | 0.017652 | 0.0018529 | 353.4213 | 36.7965 | 0.055247 | 0.0057561 | 361.5895 | 225.5015 | 18.3706 | 0.41042 | 8.9794 | 0.21721 | 842.1759 | 74.4589 | 98.529 | 9.7144 | 14.6483 | 1.6806
PLE - 10 | 0.054899 | 0.0017548 | 344.4581 | 10.7143 | 0.40711 | 0.039234 | 343.6937 | 27.9471 | 0.018188 | 0.0021435 | 363.9502 | 42.4592 | 0.053576 | 0.0055702 | 207.085 | 250.9114 | 18.2988 | 0.57383 | 8.5499 | 0.23477 | 682.561 | 46.8309 | 80.2589 | 5.1885 | 13.5484 | 1.6386
Z_91500
91500 - 1 | 0.17808 | 0.0076533 | 1055.3002 | 42.0478 | 1.7793 | 0.27063 | 994.2567 | 104.8465 | 0.053261 | 0.0062111 | 1045.8656 | 118.5478 | 0.070748 | 0.011217 | 786.7767 | 341.2989 | 5.6273 | 0.26692 | 2.6602 | 0.047969 | 83.5833 | 6.3251 | 32.3213 | 2.7135 | 16.1914 | 1.9089
91500 - 2 | 0.18056 | 0.0076292 | 1068.9288 | 41.5913 | 1.9584 | 0.25883 | 1118.82 | 86.3195 | 0.052774 | 0.0045933 | 1037.9048 | 88.3164 | 0.077999 | 0.0094404 | 1133.6668 | 229.656 | 5.5394 | 0.23597 | 2.6794 | 0.08293 | 73.9639 | 6.1846 | 28.2358 | 2.314 | 14.1132 | 1.592
91500 - 3 | 0.17829 | 0.006368 | 1056.8526 | 34.8243 | 2.0715 | 0.3015 | 1095.7463 | 104.8178 | 0.05536 | 0.0043457 | 1087.6215 | 83.3068 | 0.083489 | 0.01149 | 1220.9706 | 251.8041 | 5.6103 | 0.20448 | 2.7001 | 0.10253 | 79.6418 | 5.9091 | 29.5156 | 2.359 | 14.8022 | 1.2568
91500 - 4 | 0.18088 | 0.0069324 | 1070.8607 | 37.6039 | 1.8 | 0.24073 | 1011.54 | 94.024 | 0.054595 | 0.0062162 | 1107.3158 | 137.4869 | 0.072074 | 0.010265 | 795.8239 | 343.6224 | 5.5465 | 0.19995 | 2.6426 | 0.096616 | 84.5003 | 7.5236 | 31.2194 | 3.0103 | 15.8839 | 1.8597
91500 - 5 | 0.17773 | 0.0061081 | 1053.8144 | 33.467 | 1.8438 | 0.21945 | 1036.1721 | 77.0322 | 0.052463 | 0.0066047 | 1030.1429 | 126.5648 | 0.074018 | 0.0095476 | 859.0804 | 259.8816 | 5.6079 | 0.22053 | 2.6661 | 0.086435 | 82.6361 | 6.5961 | 30.433 | 2.3822 | 15.2108 | 2.2647
91500 - 6 | 0.18155 | 0.0062853 | 1074.6771 | 34.279 | 1.513 | 0.27328 | 884.397 | 112.0633 | 0.052031 | 0.0048126 | 1023.4344 | 92.057 | 0.059888 | 0.010764 | 288.9522 | 402.8497 | 5.5105 | 0.19409 | 2.6755 | 0.099223 | 76.9676 | 6.1158 | 29.2857 | 2.1534 | 14.5429 | 1.4334
91500 - 7 | 0.17643 | 0.0061241 | 1046.7145 | 33.5204 | 1.9224 | 0.21906 | 1063.4078 | 79.3454 | 0.056628 | 0.0063691 | 1110.2362 | 121.1841 | 0.081624 | 0.0095896 | 1131.7733 | 238.8024 | 5.6987 | 0.20028 | 2.6635 | 0.087165 | 79.9676 | 6.0411 | 29.9414 | 2.5814 | 14.9609 | 1.5523
91500 - 8 | 0.18013 | 0.0071001 | 1066.7215 | 38.7552 | 1.8894 | 0.21116 | 1054.4258 | 75.8674 | 0.056538 | 0.0050797 | 1109.7194 | 96.6196 | 0.077102 | 0.0086013 | 982.8255 | 238.7342 | 5.5672 | 0.22354 | 2.656 | 0.11532 | 84.9239 | 6.558 | 30.7991 | 2.4863 | 15.4489 | 1.4903
91500 - 9 | 0.18044 | 0.0061214 | 1068.6558 | 33.403 | 1.9199 | 0.22487 | 1086.2776 | 78.3504 | 0.057051 | 0.0061178 | 1118.6511 | 116.8448 | 0.07519 | 0.0092034 | 1079.0141 | 224.7034 | 5.5216 | 0.18701 | 2.6751 | 0.05898 | 82.7507 | 8.4121 | 30.0363 | 3.0685 | 15.5476 | 2.2259
91500 - 10 | 0.17854 | 0.0063091 | 1058.1828 | 34.4682 | 1.9163 | 0.24452 | 1079.7358 | 75.6888 | 0.050775 | 0.0044733 | 999.5318 | 85.7049 | 0.078478 | 0.010675 | 1034.0224 | 261.7483 | 5.5986 | 0.19872 | 2.6569 | 0.079171 | 75.8812 | 6.4129 | 29.2091 | 2.4982 | 14.0868 | 1.6335
91500 - 11 | 0.17784 | 0.007894 | 1053.9556 | 43.1152 | 1.8568 | 0.21895 | 1055.4481 | 93.118 | 0.05452 | 0.0045563 | 1071.3733 | 87.2049 | 0.078563 | 0.011013 | 1019.4742 | 275.9646 | 5.6429 | 0.25048 | 2.6576 | 0.10518 | 79.9221 | 6.7347 | 30.9838 | 2.7959 | 15.8018 | 1.5169
91500 - 12 | 0.18187 | 0.0079043 | 1075.9742 | 42.9289 | 1.8075 | 0.30714 | 999.6862 | 109.1467 | 0.050206 | 0.0062228 | 987.2104 | 119.2863 | 0.073015 | 0.013243 | 706.3465 | 391.9699 | 5.4921 | 0.23259 | 2.6596 | 0.092944 | 77.117 | 7.4432 | 29.6741 | 2.9448 | 14.325 | 1.8036
91500 - 13 | 0.17782 | 0.0069437 | 1054.1378 | 38.1431 | 1.8239 | 0.26514 | 1013.7956 | 102.3555 | 0.053692 | 0.0049838 | 1080.8173 | 81.8978 | 0.076841 | 0.012973 | 850.7396 | 382.7068 | 5.6359 | 0.24129 | 2.6994 | 0.073062 | 78.3862 | 5.9137 | 29.2684 | 2.3407 | 14.8085 | 1.3718
91500 - 14 | 0.1794 | 0.0069393 | 1062.7646 | 37.7165 | 1.7642 | 0.28234 | 976.4417 | 123.7592 | 0.055629 | 0.0050661 | 1092.2442 | 97.0143 | 0.0714 | 0.011402 | 953.8274 | 285.2616 | 5.5876 | 0.20817 | 2.6347 | 0.065808 | 82.7583 | 6.7963 | 30.9603 | 2.5192 | 15.583 | 1.6483
91500 - 15 | 0.17787 | 0.007013 | 1054.3641 | 38.353 | 2.086 | 0.22418 | 1120.92 | 75.2168 | 0.054733 | 0.0058968 | 1074.3761 | 112.9607 | 0.084876 | 0.010051 | 1152.4258 | 248.6009 | 5.6417 | 0.22441 | 2.703 | 0.094379 | 82.7643 | 6.7 | 29.8579 | 2.5776 | 15.1176 | 1.8478
91500 - 16 | 0.17954 | 0.0057276 | 1063.8377 | 31.1333 | 1.7926 | 0.24971 | 1004.209 | 99.3136 | 0.049631 | 0.0054139 | 976.7753 | 103.9384 | 0.069461 | 0.0096197 | 791.3846 | 320.7517 | 5.5494 | 0.16924 | 2.6424 | 0.097677 | 79.6652 | 6.2468 | 30.6159 | 2.5585 | 14.5333 | 1.6643
91500 - 17 | 0.18344 | 0.0065572 | 1084.9068 | 35.7012 | 1.6017 | 0.24955 | 933.6732 | 95.4305 | 0.060145 | 0.0060906 | 1177.7789 | 115.4413 | 0.060976 | 0.0095996 | 410.5011 | 345.6753 | 5.4649 | 0.19915 | 2.6911 | 0.099814 | 75.4589 | 6.388 | 28.6333 | 2.4595 | 15.0737 | 1.4694
91500 - 18 | 0.17458 | 0.0056775 | 1036.6716 | 31.046 | 1.6428 | 0.1839 | 982.0097 | 78.9563 | 0.052328 | 0.0047218 | 1029.191 | 90.6962 | 0.071552 | 0.0097454 | 721.7202 | 329.0688 | 5.7668 | 0.20466 | 2.6598 | 0.077943 | 83.8877 | 6.3494 | 31.1136 | 2.5441 | 15.6309 | 1.6331
91500 - 19 | 0.18203 | 0.0075942 | 1076.9427 | 41.4043 | 2.0383 | 0.32994 | 1083.0272 | 104.4411 | 0.048329 | 0.0046232 | 952.3538 | 89.1887 | 0.082996 | 0.014151 | 918.6891 | 399.1215 | 5.5489 | 0.23675 | 2.6798 | 0.090121 | 79.2986 | 5.9437 | 29.9017 | 2.5939 | 14.4745 | 1.4508
91500 - 20 | 0.18139 | 0.0069443 | 1073.6318 | 37.7089 | 1.813 | 0.21059 | 1027.4498 | 72.6814 | 0.05283 | 0.0063401 | 1037.4736 | 120.9622 | 0.072028 | 0.009458 | 796.3986 | 267.4012 | 5.4726 | 0.22322 | 2.643 | 0.074355 | 79.6087 | 6.0192 | 29.7355 | 2.2437 | 15.0879 | 1.8859
91500 - 21 | 0.17487 | 0.0077467 | 1037.6704 | 42.5617 | 1.8917 | 0.24257 | 1045.5647 | 90.2049 | 0.05652 | 0.0057274 | 1108.7685 | 109.3414 | 0.077266 | 0.0088712 | 1019.422 | 243.9222 | 5.7093 | 0.23107 | 2.7206 | 0.12763 | 84.8129 | 7.57 | 31.5071 | 3.4012 | 15.455 | 1.9513
91500 - 22 | 0.18353 | 0.0077367 | 1085.0883 | 41.9732 | 1.8429 | 0.26202 | 1024.314 | 96.2753 | 0.057923 | 0.0077637 | 1133.6371 | 147.6671 | 0.072043 | 0.0097767 | 820.2629 | 313.9276 | 5.4698 | 0.22526 | 2.7001 | 0.11265 | 77.4425 | 6.0805 | 29.2658 | 1.9269 | 14.7633 | 2.1729
91500 - 23 | 0.1771 | 0.0068622 | 1050.1839 | 37.5921 | 1.8327 | 0.29326 | 1008.9685 | 109.5672 | 0.053138 | 0.0064274 | 1043.2905 | 122.6981 | 0.076454 | 0.013205 | 788.8599 | 417.5828 | 5.6464 | 0.25078 | 2.6635 | 0.09003 | 78.7255 | 5.8605 | 30.0068 | 2.2258 | 14.7306 | 1.698
91500 - 24 | 0.17938 | 0.0075267 | 1062.5007 | 41.1235 | 1.9941 | 0.3014 | 1070.1618 | 104.9717 | 0.050929 | 0.00499 | 1002.1518 | 95.9335 | 0.07821 | 0.010559 | 1064.5706 | 310.923 | 5.5813 | 0.20808 | 2.6136 | 0.082178 | 82.2746 | 6.323 | 31.5165 | 2.6466 | 15.294 | 1.8083
91500 - 25 | 0.17861 | 0.0072128 | 1058.4062 | 39.4783 | 2.0053 | 0.27501 | 1084.9889 | 87.7582 | 0.054898 | 0.0054947 | 1077.971 | 105.064 | 0.081859 | 0.012336 | 997.4399 | 317.1348 | 5.6632 | 0.23775 | 2.7393 | 0.11135 | 81.7824 | 6.026 | 29.9861 | 2.1044 | 15.5888 | 1.753
91500 - 26 | 0.17973 | 0.006769 | 1064.595 | 37.0032 | 1.837 | 0.23239 | 1029.043 | 85.2049 | 0.053964 | 0.0060464 | 1059.5096 | 115.5372 | 0.074422 | 0.0094761 | 818.655 | 320.4449 | 5.553 | 0.18144 | 2.6814 | 0.082384 | 75.975 | 6.3411 | 28.6485 | 2.7135 | 14.237 | 1.554
91500 - 27 | 0.17954 | 0.0058687 | 1063.7884 | 32.1302 | 1.9777 | 0.32462 | 1057.8656 | 109.9759 | 0.056027 | 0.0071777 | 1097.8834 | 137.3595 | 0.078948 | 0.012728 | 1016.7733 | 397.178 | 5.5442 | 0.16209 | 2.6469 | 0.096744 | 79.4378 | 6.7235 | 30.3895 | 2.8203 | 15.2312 | 1.8269
91500 - 28 | 0.18091 | 0.0077416 | 1070.794 | 42.1933 | 1.8631 | 0.28491 | 1023.8735 | 104.0996 | 0.056665 | 0.0052322 | 1111.9382 | 100.0935 | 0.074516 | 0.011811 | 688.0642 | 417.9586 | 5.5618 | 0.24335 | 2.6312 | 0.086272 | 82.5313 | 6.3036 | 31.3319 | 2.6859 | 15.9529 | 1.4651
91500 - 29 | 0.17773 | 0.0064811 | 1053.7157 | 35.5156 | 1.8214 | 0.24164 | 1039.7488 | 100.2343 | 0.052896 | 0.005866 | 1039.1629 | 112.8746 | 0.073817 | 0.0098431 | 923.8536 | 316.7344 | 5.6343 | 0.21394 | 2.7104 | 0.098793 | 79.3685 | 5.9713 | 29.0859 | 2.4719 | 13.9339 | 1.663
Z_91500 (43 μm)
91500 - 01 | 0.17967 | 0.0037022 | 1064.9435 | 20.2658 | 1.939 | 0.15678 | 1085.3829 | 53.6497 | 0.053923 | 0.0039842 | 1060.5905 | 76.3879 | 0.076993 | 0.006676 | 1055.5026 | 177.4747 | 5.5663 | 0.11777 | 2.6598 | 0.048409 | 78.8232 | 6.3977 | 29.9624 | 2.4722 | 15.2994 | 1.5448
91500 - 02 | 0.17986 | 0.0049441 | 1065.8557 | 27.0349 | 1.8173 | 0.12693 | 1044.8085 | 46.8303 | 0.052302 | 0.0031916 | 1029.8112 | 61.1942 | 0.073222 | 0.0058524 | 964.1999 | 163.4648 | 5.573 | 0.15583 | 2.6782 | 0.065052 | 82.388 | 6.9603 | 30.2763 | 2.3026 | 14.8094 | 1.1611
91500 - 03 | 0.1794 | 0.0051087 | 1063.3093 | 27.9014 | 1.7644 | 0.17625 | 1019.7548 | 64.1836 | 0.051914 | 0.0031707 | 1022.3911 | 60.8377 | 0.072218 | 0.006822 | 917.7733 | 192.0897 | 5.5892 | 0.15858 | 2.6403 | 0.062396 | 79.6066 | 5.324 | 30.8494 | 2.32 | 15.0451 | 1.3164
91500 - 04 | 0.18125 | 0.0053107 | 1073.3907 | 28.8639 | 1.8382 | 0.16463 | 1048.1795 | 58.7455 | 0.051244 | 0.0035119 | 1009.3677 | 67.4631 | 0.073838 | 0.0073117 | 953.9676 | 197.645 | 5.5352 | 0.1553 | 2.6537 | 0.059166 | 78.7953 | 6.4415 | 29.5983 | 2.6283 | 14.1829 | 1.3661
91500 - 05 | 0.17885 | 0.0040029 | 1060.4488 | 21.8709 | 1.9307 | 0.1407 | 1084.1034 | 49.1773 | 0.053404 | 0.0038582 | 1050.7092 | 73.7836 | 0.078458 | 0.0062476 | 1103.672 | 161.4513 | 5.5986 | 0.12511 | 2.6639 | 0.055065 | 79.1713 | 6.3421 | 29.9621 | 2.6058 | 14.7853 | 1.2449
91500 - 06 | 0.17753 | 0.0047094 | 1053.1256 | 25.6591 | 1.8123 | 0.13047 | 1042.8941 | 46.7392 | 0.052622 | 0.0036418 | 1035.7872 | 69.9594 | 0.07416 | 0.0055324 | 997.2548 | 152.0175 | 5.6472 | 0.14268 | 2.6744 | 0.048032 | 79.5155 | 6.9517 | 29.4976 | 2.4337 | 14.6483 | 1.4534
91500 - 07 | 0.17622 | 0.0033082 | 1046.1529 | 18.1694 | 1.8722 | 0.14928 | 1062.7041 | 53.0048 | 0.053031 | 0.0034462 | 1043.7533 | 65.9985 | 0.076526 | 0.0059051 | 1054.53 | 169.3169 | 5.642 | 0.12972 | 2.6556 | 0.056299 | 81.6887 | 6.1808 | 31.1645 | 2.4466 | 15.3895 | 1.2779
91500 - 08 | 0.17897 | 0.0035734 | 1061.1851 | 19.5388 | 1.9262 | 0.10396 | 1086.052 | 37.1302 | 0.053098 | 0.0036915 | 1044.9356 | 70.9199 | 0.078359 | 0.0047894 | 1123.7327 | 126.7039 | 5.5929 | 0.11228 | 2.671 | 0.041407 | 81.4557 | 5.8819 | 30.4301 | 2.2233 | 15.0867 | 1.2939
91500 - 09 | 0.18001 | 0.0053363 | 1066.5822 | 29.0083 | 1.7358 | 0.13997 | 1012.8269 | 53.9821 | 0.05441 | 0.0036 | 1070.097 | 69.1866 | 0.070292 | 0.0059209 | 865.939 | 191.0622 | 5.5776 | 0.15626 | 2.6636 | 0.049062 | 83.1679 | 6.3643 | 31.2564 | 2.499 | 15.8176 | 1.3735
91500 - 10 | 0.18422 | 0.005704 | 1089.5011 | 30.9706 | 1.8553 | 0.12998 | 1058.5281 | 45.967 | 0.052469 | 0.003854 | 1032.7492 | 73.9118 | 0.073672 | 0.0057909 | 978.4765 | 160.9678 | 5.4548 | 0.16692 | 2.6687 | 0.040996 | 80.2289 | 9.7392 | 29.4898 | 3.0532 | 14.5299 | 1.9264
91500 - 11 | 0.17845 | 0.0049111 | 1058.1304 | 26.7439 | 1.8706 | 0.13917 | 1063.5206 | 48.0962 | 0.054127 | 0.0032803 | 1064.8351 | 62.7995 | 0.07642 | 0.0056566 | 1061.4974 | 147.6324 | 5.623 | 0.14784 | 2.6612 | 0.047474 | 78.011 | 5.9095 | 29.5969 | 2.2812 | 14.8159 | 1.1241
91500 - 12 | 0.18024 | 0.0041892 | 1068.0594 | 22.8461 | 1.8302 | 0.11949 | 1050.5575 | 43.6684 | 0.055279 | 0.0034161 | 1086.8616 | 65.4618 | 0.073957 | 0.0046822 | 1003.838 | 136.025 | 5.5608 | 0.12839 | 2.6705 | 0.049135 | 77.7471 | 5.6488 | 28.8387 | 2.178 | 14.7383 | 1.1243

## S5
S5 LASS Hf isotope compositions of the reference zircon materials
Sammple | 176Hf/177Hf | 2SE | 176Lu/177Hf | 2SE | 176Yb/177Hf | 2SE | 178Hf/177Hf | 2SE | 180Hf/177Hf | 2SE
MUNZirc
MUNZ - 1 | 0.28217 | 4.2614e-05 | 0.010791 | 8.8695e-06 | 0.4268 | 0.00064611 | 1.4673 | 0.000107 | 1.8865 | 0.00020798
MUNZ - 2 | 0.28215 | 5.2147e-05 | 0.0022132 | 3.2841e-06 | 0.069672 | 0.00023175 | 1.4671 | 8.2812e-05 | 1.8863 | 0.00018953
MUNZ - 3 | 0.28214 | 4.7251e-05 | 0.0022212 | 2.648e-06 | 0.069382 | 0.00014714 | 1.4673 | 8.8915e-05 | 1.8864 | 0.00020746
MUNZ - 4 | 0.28211 | 3.0728e-05 | 0.0042615 | 5.7687e-06 | 0.15691 | 0.00036385 | 1.4671 | 0.00010728 | 1.8864 | 0.00016763
MUNZ - 5 | 0.28216 | 3.2901e-05 | 0.005621 | 1.634e-05 | 0.20009 | 0.000496 | 1.4671 | 8.0367e-05 | 1.8865 | 0.00016952
MUNZ - 6 | 0.28212 | 4.4782e-05 | 0.0065808 | 1.765e-05 | 0.25258 | 0.0010882 | 1.4673 | 8.5724e-05 | 1.8866 | 0.00015959
MUNZ - 7 | 0.28217 | 3.3568e-05 | 0.0066175 | 7.1613e-06 | 0.24316 | 0.00038783 | 1.4672 | 6.0376e-05 | 1.8865 | 0.00012907
MUNZ - 8 | 0.28209 | 4.0136e-05 | 0.01117 | 1.1821e-05 | 0.44264 | 0.00083249 | 1.4673 | 8.6267e-05 | 1.8869 | 0.00018998
MUNZ - 9 | 0.28216 | 4.5655e-05 | 0.0019907 | 4.3978e-06 | 0.062534 | 0.00017364 | 1.4674 | 8.2991e-05 | 1.8865 | 0.00017869
Z_Qinghu
QH - 1 | 0.283 | 2.769e-05 | 0.0008263 | 1.079e-06 | 0.029453 | 7.7595e-05 | 1.4672 | 8.1346e-05 | 1.8865 | 0.000155
QH - 2 | 0.283 | 3.7522e-05 | 0.00062267 | 4.5696e-06 | 0.022263 | 0.00017693 | 1.4673 | 8.6766e-05 | 1.8866 | 0.00016179
QH - 4 | 0.283 | 4.7034e-05 | 0.001202 | 3.2435e-06 | 0.044054 | 0.00017358 | 1.4673 | 6.0406e-05 | 1.8864 | 0.00012827
QH - 5 | 0.283 | 3.4808e-05 | 0.0010711 | 2.4152e-05 | 0.039828 | 0.00093821 | 1.4672 | 6.0912e-05 | 1.8864 | 0.00015619
QH - 6 | 0.283 | 3.9178e-05 | 0.0006601 | 1.2571e-06 | 0.02362 | 8.1544e-05 | 1.4673 | 6.4257e-05 | 1.8864 | 0.00013502
QH - 7 | 0.283 | 5.3282e-05 | 0.00071096 | 3.0533e-06 | 0.024987 | 0.00012137 | 1.4672 | 7.2575e-05 | 1.8863 | 0.00016169
QH - 8 | 0.283 | 4.5271e-05 | 0.00070803 | 3.5906e-06 | 0.025139 | 0.00013154 | 1.4673 | 8.3468e-05 | 1.8863 | 0.00023571
QH - 9 | 0.283 | 5.1634e-05 | 0.00072861 | 4.5468e-06 | 0.025842 | 0.00015335 | 1.4672 | 0.00011615 | 1.8867 | 0.0001746
QH - 10 | 0.283 | 3.8718e-05 | 0.0010156 | 2.8355e-06 | 0.036909 | 8.1941e-05 | 1.4673 | 9.9538e-05 | 1.8865 | 0.00022972
QH - 11 | 0.283 | 4.2681e-05 | 0.00089798 | 4.1524e-06 | 0.032638 | 0.00014789 | 1.4673 | 6.915e-05 | 1.8863 | 0.00015639
QH - 12 | 0.283 | 4.589e-05 | 0.00093139 | 3.4717e-06 | 0.033586 | 0.00014508 | 1.4672 | 8.4819e-05 | 1.8865 | 0.00018233
QH - 13 | 0.283 | 4.1498e-05 | 0.00072111 | 6.9105e-06 | 0.025713 | 0.0002679 | 1.4671 | 8.0601e-05 | 1.8867 | 0.00022085
QH - 14 | 0.283 | 4.1633e-05 | 0.0007227 | 1.813e-05 | 0.026155 | 0.0007386 | 1.4673 | 8.8563e-05 | 1.8864 | 0.00017464
QH - 15 | 0.283 | 4.8517e-05 | 0.00052628 | 4.5185e-06 | 0.018588 | 0.00014489 | 1.4672 | 9.6721e-05 | 1.8864 | 0.0001919
QH - 16 | 0.283 | 3.4438e-05 | 0.00096258 | 3.5192e-06 | 0.034539 | 0.0001473 | 1.4672 | 6.8824e-05 | 1.8863 | 0.00015488
QH - 18 | 0.283 | 3.0473e-05 | 0.00077803 | 1.5038e-06 | 0.028054 | 0.00010298 | 1.4674 | 6.807e-05 | 1.8864 | 0.00014429
QH - 19 | 0.283 | 3.2015e-05 | 0.0010168 | 2.4667e-05 | 0.037232 | 0.00094907 | 1.4672 | 9.3489e-05 | 1.8864 | 0.00024377
QH - 20 | 0.28299 | 3.0918e-05 | 0.00073531 | 2.8094e-06 | 0.0262 | 0.00013172 | 1.4673 | 6.8157e-05 | 1.8864 | 0.00012324
QH - 21 | 0.28301 | 4.7035e-05 | 0.00099251 | 8.0046e-06 | 0.03612 | 0.00029225 | 1.4673 | 8.2461e-05 | 1.8867 | 0.00022378
QH - 22 | 0.28299 | 3.3736e-05 | 0.00054004 | 2.1603e-05 | 0.01938 | 0.00078843 | 1.4674 | 6.1783e-05 | 1.8864 | 0.00012672
QH - 23 | 0.283 | 3.3582e-05 | 0.0009748 | 4.3302e-05 | 0.035069 | 0.001694 | 1.4674 | 5.9068e-05 | 1.8866 | 0.00015171
Z_91500
91500 - 1 | 0.28227 | 4.1557e-05 | 0.00055894 | 1.3396e-06 | 0.019335 | 3.8346e-05 | 1.4673 | 7.6109e-05 | 1.8865 | 0.00017515
91500 - 2 | 0.28225 | 4.4355e-05 | 0.00045886 | 8.9948e-07 | 0.015775 | 3.6404e-05 | 1.4674 | 8.1372e-05 | 1.8866 | 0.00015317
91500 - 3 | 0.28223 | 4.0823e-05 | 0.00054428 | 2.0203e-06 | 0.018996 | 5.1259e-05 | 1.4673 | 7.3718e-05 | 1.8866 | 0.0001789
91500 - 4 | 0.28226 | 4.482e-05 | 0.0006123 | 1.4368e-06 | 0.021385 | 4.9235e-05 | 1.4673 | 7.7833e-05 | 1.8864 | 0.00015799
91500 - 5 | 0.28228 | 6.1536e-05 | 0.00060945 | 1.3328e-06 | 0.021439 | 6.5113e-05 | 1.4674 | 8.14e-05 | 1.8866 | 0.000153
91500 - 6 | 0.28226 | 5.2435e-05 | 0.00055328 | 1.2476e-06 | 0.019412 | 4.7402e-05 | 1.4674 | 9.1087e-05 | 1.8866 | 0.00017635
91500 - 7 | 0.28227 | 4.647e-05 | 0.00056398 | 9.4263e-07 | 0.019692 | 4.0856e-05 | 1.4674 | 8.2917e-05 | 1.8865 | 0.00019034
91500 - 8 | 0.28229 | 4.2306e-05 | 0.00057112 | 9.2744e-07 | 0.020117 | 3.8417e-05 | 1.4673 | 7.0874e-05 | 1.8866 | 0.00017143
91500 - 9 | 0.28231 | 4.2207e-05 | 0.00053137 | 1.3429e-06 | 0.018396 | 9.1397e-05 | 1.4673 | 7.4362e-05 | 1.8866 | 0.00017055
91500 - 10 | 0.28226 | 4.2226e-05 | 0.00046419 | 9.2814e-07 | 0.015873 | 3.0907e-05 | 1.4673 | 8.1847e-05 | 1.8866 | 0.00017978
91500 - 11 | 0.28232 | 4.9411e-05 | 0.00046248 | 9.7684e-07 | 0.015901 | 3.1725e-05 | 1.4674 | 7.9136e-05 | 1.8862 | 0.00018007
91500 - 12 | 0.28227 | 4.7291e-05 | 0.0004033 | 1.2074e-06 | 0.013934 | 5.9611e-05 | 1.4674 | 8.8058e-05 | 1.8864 | 0.00020032
91500 - 13 | 0.28225 | 4.3634e-05 | 0.00042449 | 2.2309e-06 | 0.014693 | 7.1651e-05 | 1.4673 | 7.8249e-05 | 1.8866 | 0.00019629
91500 - 14 | 0.28228 | 4.7591e-05 | 0.00046048 | 7.875e-07 | 0.016026 | 3.446e-05 | 1.4674 | 7.4876e-05 | 1.8865 | 0.00016737
91500 - 15 | 0.28224 | 4.0874e-05 | 0.00045943 | 1.0787e-06 | 0.016063 | 3.3861e-05 | 1.4674 | 8.1666e-05 | 1.8865 | 0.00015001
91500 - 16 | 0.28225 | 3.9052e-05 | 0.00045933 | 8.0912e-07 | 0.016099 | 3.3553e-05 | 1.4673 | 7.2888e-05 | 1.8869 | 0.00018094
91500 - 17 | 0.28227 | 3.9718e-05 | 0.00042581 | 8.5474e-07 | 0.014948 | 3.7512e-05 | 1.4673 | 8.0828e-05 | 1.8866 | 0.00018314
91500 - 18 | 0.28228 | 4.4843e-05 | 0.00046057 | 7.8311e-07 | 0.016383 | 3.5238e-05 | 1.4674 | 7.1294e-05 | 1.8865 | 0.00015428
91500 - 19 | 0.28233 | 5.3585e-05 | 0.00045511 | 8.4171e-07 | 0.016015 | 3.6133e-05 | 1.4672 | 8.1617e-05 | 1.8864 | 0.00021534
91500 - 20 | 0.28228 | 4.1672e-05 | 0.00046083 | 1.0574e-06 | 0.016274 | 3.9664e-05 | 1.4673 | 8.1291e-05 | 1.8865 | 0.00017721
91500 - 21 | 0.28231 | 4.0211e-05 | 0.00040945 | 3.7361e-06 | 0.014626 | 0.00015481 | 1.4673 | 7.3443e-05 | 1.8864 | 0.00016726
91500 - 22 | 0.28231 | 4.2354e-05 | 0.0003242 | 1.8132e-06 | 0.011247 | 6.9973e-05 | 1.4673 | 7.6871e-05 | 1.8865 | 0.00017175
91500 - 23 | 0.28225 | 4.4775e-05 | 0.00042228 | 4.4879e-06 | 0.014687 | 0.00015027 | 1.4674 | 8.645e-05 | 1.8864 | 0.00018997
91500 - 24 | 0.2823 | 4.3705e-05 | 0.00046056 | 8.752e-07 | 0.01617 | 3.5258e-05 | 1.4673 | 9.0381e-05 | 1.8863 | 0.00018388
91500 - 25 | 0.28226 | 4.483e-05 | 0.00042033 | 2.1772e-06 | 0.014941 | 8.9612e-05 | 1.4673 | 7.1805e-05 | 1.8866 | 0.00015833
91500 - 26 | 0.28227 | 4.4921e-05 | 0.0004282 | 1.1471e-06 | 0.014673 | 4.4333e-05 | 1.4672 | 7.3642e-05 | 1.8864 | 0.00014498
91500 - 27 | 0.28227 | 4.7195e-05 | 0.000459 | 8.0999e-07 | 0.015921 | 4.1921e-05 | 1.4674 | 8.6691e-05 | 1.8864 | 0.00017648
91500 - 28 | 0.2823 | 4.2093e-05 | 0.00046105 | 7.6068e-07 | 0.016383 | 5.0218e-05 | 1.4673 | 7.9354e-05 | 1.8867 | 0.00015461
91500 - 29 | 0.28228 | 5.1905e-05 | 0.00044213 | 1.5186e-06 | 0.01549 | 4.8233e-05 | 1.4674 | 8.86e-05 | 1.8865 | 0.000193
Z_Plesovice
PLE - 1 | 0.28249 | 3.2444e-05 | 0.00014542 | 6.1259e-07 | 0.0072839 | 3.3194e-05 | 1.4673 | 8.2679e-05 | 1.8867 | 0.00016115
PLE - 2 | 0.28247 | 3.6759e-05 | 0.00014588 | 4.3016e-07 | 0.0073573 | 3.0076e-05 | 1.4673 | 7.2386e-05 | 1.8865 | 0.00019133
PLE - 3 | 0.2825 | 3.34e-05 | 0.00026634 | 1.8456e-06 | 0.012983 | 6.364e-05 | 1.4672 | 5.9811e-05 | 1.8865 | 0.00012994
PLE - 4 | 0.28249 | 2.6643e-05 | 0.00019878 | 5.2334e-07 | 0.0096887 | 4.178e-05 | 1.4672 | 5.9811e-05 | 1.8865 | 0.00012994
PLE - 5 | 0.28251 | 3.1644e-05 | 0.00030165 | 1.2412e-06 | 0.015002 | 5.5035e-05 | 1.4674 | 9.06e-05 | 1.8864 | 0.000161
PLE - 6 | 0.28251 | 4.7794e-05 | 0.00027735 | 7.6761e-07 | 0.014191 | 3.5209e-05 | 1.4674 | 0.000106 | 1.886 | 0.000208
PLE - 7 | 0.28247 | 3.0995e-05 | 0.00019175 | 5.5229e-07 | 0.010104 | 2.2881e-05 | 1.4672 | 8.3112e-05 | 1.8864 | 0.00019098
PLE - 8 | 0.28251 | 3.5388e-05 | 0.00022481 | 6.1212e-07 | 0.011183 | 2.9585e-05 | 1.4673 | 7.4694e-05 | 1.8864 | 0.00015741
PLE - 9 | 0.28247 | 3.0899e-05 | 0.00014645 | 4.3374e-07 | 0.0071053 | 1.9766e-05 | 1.4672 | 8.1732e-05 | 1.8862 | 0.00018319
PLE - 10 | 0.28251 | 3.6694e-05 | 0.00016432 | 1.7337e-06 | 0.0080917 | 7.8821e-05 | 1.4672 | 6.5916e-05 | 1.8864 | 0.00015421
Z_Penglai
Penglai-1 | 0.28293 | 5.8185e-05 | 0.00020878 | 9.5036e-07 | 0.0079562 | 3.2815e-05 | 1.4675 | 0.00013036 | 1.8868 | 0.0002872
Penglai-2 | 0.2829 | 4.1027e-05 | 0.000166 | 2.8912e-06 | 0.0062705 | 9.724e-05 | 1.4673 | 8.8931e-05 | 1.8866 | 0.0001681
Penglai-3 | 0.28293 | 4.3429e-05 | 0.000207 | 1.3176e-06 | 0.0078217 | 6.6796e-05 | 1.4674 | 8.311e-05 | 1.8864 | 0.00017278
Penglai-4 | 0.28288 | 4.9078e-05 | 0.00019586 | 1.3411e-06 | 0.0074342 | 4.7692e-05 | 1.4672 | 8.2926e-05 | 1.8865 | 0.00020398
Penglai-5 | 0.2829 | 3.8305e-05 | 0.00020625 | 2.1347e-06 | 0.0079662 | 8.1598e-05 | 1.4673 | 7.9552e-05 | 1.8866 | 0.00015865
Penglai-6 | 0.28291 | 3.7099e-05 | 0.0002017 | 7.6457e-07 | 0.0077963 | 1.9204e-05 | 1.4672 | 8.4813e-05 | 1.8864 | 0.00015749
Z_91500 (43 μm)
91500 - 01 | 0.28226 | 2.5381e-05 | 0.0004457 | 4.5673e-07 | 0.014773 | 2.3884e-05 | 1.4673 | 5.0202e-05 | 1.8867 | 0.00010121
91500 - 02 | 0.2823 | 2.4659e-05 | 0.00044676 | 5.5757e-07 | 0.015111 | 3.0593e-05 | 1.4673 | 4.6946e-05 | 1.8866 | 0.00013687
91500 - 03 | 0.28229 | 2.4776e-05 | 0.00044688 | 5.1067e-07 | 0.015162 | 2.2991e-05 | 1.4674 | 5.6062e-05 | 1.8866 | 0.00012776
91500 - 04 | 0.2823 | 2.2595e-05 | 0.00044717 | 5.09e-07 | 0.015181 | 3.2118e-05 | 1.4673 | 4.668e-05 | 1.8866 | 0.00010381
91500 - 05 | 0.28227 | 2.5496e-05 | 0.00044782 | 5.2044e-07 | 0.015179 | 3.0147e-05 | 1.4673 | 5.4503e-05 | 1.8866 | 0.00011534
91500 - 06 | 0.28229 | 2.2984e-05 | 0.00043841 | 4.9909e-07 | 0.014857 | 3.9785e-05 | 1.4672 | 5.2284e-05 | 1.8866 | 0.000119
91500 - 07 | 0.28229 | 2.899e-05 | 0.00043734 | 4.6869e-07 | 0.014769 | 3.7895e-05 | 1.4673 | 5.6765e-05 | 1.8869 | 0.00012052
91500 - 08 | 0.2823 | 2.2077e-05 | 0.00043762 | 4.8581e-07 | 0.014801 | 2.3337e-05 | 1.4673 | 4.9153e-05 | 1.8866 | 0.00011595
91500 - 09 | 0.28227 | 2.4067e-05 | 0.00043887 | 4.8612e-07 | 0.014917 | 2.5295e-05 | 1.4673 | 4.8604e-05 | 1.8865 | 0.00011133
91500 - 10 | 0.28227 | 2.4866e-05 | 0.00043698 | 4.7868e-07 | 0.014997 | 3.6797e-05 | 1.4673 | 5.053e-05 | 1.8866 | 0.00011162
91500 - 11 | 0.28226 | 2.4307e-05 | 0.00043945 | 4.8484e-07 | 0.015036 | 3.3067e-05 | 1.4673 | 4.6242e-05 | 1.8866 | 0.00010979
91500 - 12 | 0.28227 | 2.299e-05 | 0.00043878 | 4.2874e-07 | 0.015017 | 2.1359e-05 | 1.4673 | 5.9421e-05 | 1.8867 | 0.00012989