Supporting Information

For

Self-assembly of tetrametallic square [Re(CO)3Br((-pz)]4 (pz = pyrazine) from [Re(CO)4Br(pz)].  A mechanistic approach

T. Rajendran,a Bala. Manimaran,a Fang-Yuan Lee,a Po-Jui Chen,a Su-Ching Lin,a Gene-Hsiang Lee,b Shie-Ming Peng,ab Yu-Ju Chen,*a and Kuang-Lieh Lu*a

# a Institute of Chemistry, Academia Sinica, Taipei, 115, Taiwan

b Department of Chemistry, National Taiwan University, Taipei, 107, Taiwan

# Contents

Experimental section for X-ray structure of 9

Elemental analysis data of 9

Table 1		Crystal data and structure refinement for 9

Table 2		Atomic positional parameters for 9

Table 3		Bond lengths (Å) and angles (() for 9

Table 4		Anisotropic thermal parameters for 9

Experimental section for X-ray structure of 9

Data collection of compound 9 were carried out on a Nonius Kappa CCD diffractometer with Mo radiation (( = 0.71073 Å) at 200(1) K.  A preliminary orientation matrix and unit cell parameters were determined from 20 frames; each frame corresponds to the 1 degree ( scan in 5 s, followed by spot integration and least-squares refinement.  Data were measured using ( scans, 2 degree per frame, 40 s per degree until two runs of different Phi angles had been collected.  The detector was put at the position of 2.5 cm.  Cell parameters were retrieved and refined using DENZO-SMN1 software on all reflections.  Data reduction was performed with the DENZO-SMN1 software.  Absorption corrections were applied with the program SORTAV.2  The structure was solved using the SHELXS-973 program and refined using SHELXL-974 program by full-matrix least squares on F2 values.  Hydrogen atoms were fixed at calculated positions and refined using a riding mode.  Detailed crystal data are listed in Table 1.

References:

- Z. Otwinowski, W. Minor, Methods Enzymol., 1997, 276, 307.

- R. H. Blessing, Acta Crystallogr., Sect. A, 1995, 51, 33.

- G. M. Sheldrick, SHELXS 97, Program for Crystal Structure Determination, University of Gottingen, 1997.

- G. M. Sheldrick, SHELXL 97, Program for Crystal Structure Refinement, University of Gottingen, 1997.

Elemental analysis data of 9

Calculated for 9 (C28H16N8O12Br4Re4)·1.5 acetone: C, 21.59; H, 1.39; N, 6.20. Found: C, 21.77; H, 1.52; N, 5.86.

Since the molecular square 9 contain large cavity the solvent molecules like acetone occupy inside the molecular cavity which could not be removed even after long time vacuum drying.  This is also evidenced from the X-ray structure of 9.  Therefore compound 9 always contain solvent acetone molecule in the solid state samples used for the elemental analysis.  The elemental analysis results matches with compound 9 with solvent acetone molecules.