# Supplementary data

ESI MS

Finnigan TSQ 700 triple quadrapole instrument equipped with a Finnigan API source in the nanoelectrospray mode. Typical conditions were spray voltage 0.8 kV, heated capillary 125C (-15V) and tubelens 60V. The ESI mass spectra of [Mn2(mgbpen)2(H2O)2](ClO4)2 (1) using ethanol as spray solvent is shown on the next page at various tubelens potentials.  The isotope distribution shows that the dimer, [Mn2(mgbpen)2]2+, is present under low energy conditions and the monomer, [Mn(mgbpen)]+, at high.  Both have the same m/z value but are doubly- and singly- charged respectively.

Tubelens 40V

Tubelens 50V

Tubelens 60V

Tubelens 70V

Tubelens 100V

Tubelens 80V

Tubelens 100V