{"text_format":"2","workbook":"xls","n_sheets":2,"sheets":["Chart1","JLV20110628_Ferrocenium02_CV"],"not_rendered":{"charts":1,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[{"sheet":"Chart1","index":0,"reason":"not_a_worksheet"}],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"JLV20110628_Ferrocenium02_CV","index":1,"n_rows":1140,"n_cols":3,"rows_kept":1140,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["       Experiment Type : Cyclic Voltammetry (CV)"]
["                 Title : CV Run for BAS-Epsilon"]
["        Data File Name : JLV20110628_Ferrocenium02"]
["Date & Time of the run : 6/1/2005 3:34:57 AM"]
[]
["    Display Convention : POLAROGRAPHIC"]
[" Number of data points : 1100"]
["   # of points to skip : 0"]
["     Initial Potential : 700 (mV)"]
[" Switching Potential 1 : 150 (mV)"]
[" Switching Potential 2 : 0 (mV)"]
["       Final Potential : 700 (mV)"]
["    Number of segments : 2"]
["             Scan rate : 40 (mV/s)"]
["    Current Full Scale : 1 uA"]
["                Filter : 10 Hz"]
["            Quiet Time : 10 (Sec)"]
["       Sample Interval : 1 mV"]
[]
["               Analyst : "]
["              Solution :"]
["              --------"]
["               Analyte : "]
["         Analyte Conc. : "]
["               Solvent : "]
["Supporting Electrolyte : "]
["            S.E. Conc. : "]
["                    pH : "]
["           Temperature : "]
["            Electrodes :"]
["            ----------"]
["         W.E. material : "]
["            W. E. area : "]
["        W. E. geometry : "]
["          W. E. radius : "]
["    W. E. conditioning : "]
["   Reference electrode : "]
["   Auxiliary electrode : "]
["Notes :"]
[]
[0.699,-5.80758e-08,-0.0580758]
[0.698,-4.95002e-08,-0.049500199999999994]
[0.697,-4.4892e-08,-0.044892]
[0.696,-4.20233e-08,-0.0420233]
[0.695,-3.97955e-08,-0.0397955]
[0.694,-3.78423e-08,-0.037842299999999995]
[0.693,-3.61638e-08,-0.0361638]
[0.692,-3.43022e-08,-0.034302200000000005]
[0.691,-3.29594e-08,-0.0329594]
[0.69,-3.15861e-08,-0.0315861]
[0.689,-3.02433e-08,-0.030243299999999997]
[0.688,-2.89921e-08,-0.0289921]
[0.687,-2.76798e-08,-0.0276798]
[0.686,-2.65506e-08,-0.0265506]
[0.685,-2.54825e-08,-0.0254825]
[0.684,-2.42618e-08,-0.0242618]
[0.683,-2.33157e-08,-0.023315699999999998]
[0.682,-2.24002e-08,-0.0224002]
[0.681,-2.14236e-08,-0.021423599999999998]
[0.68,-2.05081e-08,-0.020508099999999998]
[0.679,-1.96231e-08,-0.019623099999999997]
[0.678,-1.8738e-08,-0.018737999999999998]
[0.677,-1.79446e-08,-0.0179446]
[0.676,-1.70901e-08,-0.0170901]
[0.675,-1.63576e-08,-0.0163576]
[0.674,-1.55642e-08,-0.0155642]
[0.673,-1.47707e-08,-0.014770700000000001]
[0.672,-1.40993e-08,-0.0140993]
[0.671,-1.31837e-08,-0.0131837]
[0.67,-1.25734e-08,-0.0125734]
[0.669,-1.1963e-08,-0.011963]
[0.668,-1.12306e-08,-0.0112306]
[0.667,-1.06813e-08,-0.0106813]
[0.666,-9.94888e-09,-0.00994888]
[0.665,-9.27748e-09,-0.00927748]
[0.664,-8.66712e-09,-0.008667119999999999]
[0.663,-8.08728e-09,-0.00808728]
[0.662,-7.50743e-09,-0.007507430000000001]
[0.661,-6.86655e-09,-0.00686655]
[0.66,-6.34775e-09,-0.00634775]
[0.659,-5.70687e-09,-0.00570687]
[0.658,-5.00495e-09,-0.005004949999999999]
[0.657,-4.5777e-09,-0.0045777]
[0.656,-4.02838e-09,-0.00402838]
[0.655,-3.47905e-09,-0.00347905]
[0.654,-2.96025e-09,-0.0029602499999999998]
[0.653,-2.56351e-09,-0.00256351]
[0.652,-1.95315e-09,-0.00195315]
[0.651,-1.37331e-09,-0.00137331]
[0.65,-8.54505e-10,-0.0008545050000000001]
[0.649,-3.66216e-10,-0.00036621600000000005]
[0.648,6.1036e-11,6.103599999999999e-05]
[0.647,6.71396e-10,0.000671396]
[0.646,1.22072e-09,0.00122072]
[0.645,1.61745e-09,0.00161745]
[0.644,2.07522e-09,0.00207522]
[0.643,2.50247e-09,0.00250247]
[0.642,3.0518e-09,0.0030518000000000003]
[0.641,3.47905e-09,0.00347905]
[0.64,3.9063e-09,0.0039063]
[0.639,4.39459e-09,0.0043945899999999994]
[0.638,4.82185e-09,0.00482185]
[0.637,5.27962e-09,0.00527962]
[0.636,5.79842e-09,0.00579842]
[0.635,6.22568e-09,0.006225680000000001]
[0.634,6.68345e-09,0.00668345]
[0.633,7.23277e-09,0.0072327699999999995]
[0.632,7.69054e-09,0.00769054]
[0.631,8.08728e-09,0.00808728]
[0.63,8.60608e-09,0.00860608]
[0.629,9.03334e-09,0.009033339999999999]
[0.628,9.43007e-09,0.00943007]
[0.627,9.82681e-09,0.00982681]
[0.626,1.0315e-08,0.010315]
[0.625,1.08033e-08,0.0108033]
[0.624,1.11696e-08,0.0111696]
[0.623,1.16273e-08,0.0116273]
[0.622,1.20241e-08,0.0120241]
[0.621,1.25123e-08,0.012512299999999999]
[0.62,1.31227e-08,0.0131227]
[0.619,1.34889e-08,0.0134889]
[0.618,1.38551e-08,0.013855099999999999]
[0.617,1.42824e-08,0.0142824]
[0.616,1.47707e-08,0.014770700000000001]
[0.615,1.51979e-08,0.015197899999999999]
[0.614,1.56557e-08,0.015655699999999998]
[0.613,1.62355e-08,0.0162355]
[0.612,1.65712e-08,0.0165712]
[0.611,1.7029e-08,0.017029]
[0.61,1.74868e-08,0.0174868]
[0.609,1.78835e-08,0.0178835]
[0.608,1.83718e-08,0.0183718]
[0.607,1.89517e-08,0.018951700000000002]
[0.606,1.93484e-08,0.0193484]
[0.605,1.98062e-08,0.0198062]
[0.604,2.0386e-08,0.020386]
[0.603,2.07827e-08,0.020782699999999998]
[0.602,2.12405e-08,0.021240500000000002]
[0.601,2.17288e-08,0.021728800000000003]
[0.6,2.2156e-08,0.022156]
[0.599,2.27664e-08,0.0227664]
[0.598,2.32242e-08,0.0232242]
[0.597,2.3682e-08,0.023681999999999998]
[0.596,2.42008e-08,0.024200799999999998]
[0.595,2.47196e-08,0.0247196]
[0.594,2.5391e-08,0.025391]
[0.593,2.58793e-08,0.0258793]
[0.592,2.63065e-08,0.0263065]
[0.591,2.67643e-08,0.0267643]
[0.59,2.73441e-08,0.0273441]
[0.589,2.78934e-08,0.0278934]
[0.588,2.83817e-08,0.0283817]
[0.587,2.89311e-08,0.0289311]
[0.586,2.94804e-08,0.029480399999999997]
[0.585,3.00907e-08,0.030090699999999998]
[0.584,3.06095e-08,0.0306095]
[0.583,3.12809e-08,0.0312809]
[0.582,3.19218e-08,0.0319218]
[0.581,3.24711e-08,0.032471099999999996]
[0.58,3.30815e-08,0.0330815]
[0.579,3.36919e-08,0.033691900000000004]
[0.578,3.44243e-08,0.0344243]
[0.577,3.49431e-08,0.034943100000000005]
[0.576,3.5645e-08,0.035644999999999996]
[0.575,3.62554e-08,0.0362554]
[0.574,3.68657e-08,0.036865699999999994]
[0.573,3.75066e-08,0.0375066]
[0.572,3.83306e-08,0.0383306]
[0.571,3.89715e-08,0.0389715]
[0.57,3.96734e-08,0.039673400000000004]
[0.569,4.05279e-08,0.0405279]
[0.568,4.11383e-08,0.041138299999999996]
[0.567,4.19623e-08,0.0419623]
[0.566,4.26031e-08,0.0426031]
[0.565,4.34576e-08,0.043457600000000006]
[0.564,4.42511e-08,0.0442511]
[0.563,4.50141e-08,0.0450141]
[0.562,4.58381e-08,0.0458381]
[0.561,4.6601e-08,0.046601000000000004]
[0.56,4.7425e-08,0.047425]
[0.559,4.84016e-08,0.048401599999999996]
[0.558,4.93171e-08,0.0493171]
[0.557,5.01106e-08,0.050110600000000005]
[0.556,5.12703e-08,0.0512703]
[0.555,5.20943e-08,0.052094299999999996]
[0.554,5.30403e-08,0.0530403]
[0.553,5.40169e-08,0.0540169]
[0.552,5.49935e-08,0.0549935]
[0.551,5.60616e-08,0.0560616]
[0.55,5.71297e-08,0.0571297]
[0.549,5.82284e-08,0.0582284]
[0.548,5.9327e-08,0.059327]
[0.547,6.03646e-08,0.060364600000000004]
[0.546,6.15854e-08,0.0615854]
[0.545,6.2623e-08,0.062623]
[0.544,6.38742e-08,0.0638742]
[0.543,6.53391e-08,0.06533910000000001]
[0.542,6.65293e-08,0.0665293]
[0.541,6.7689e-08,0.067689]
[0.54,6.89707e-08,0.0689707]
[0.539,7.0344e-08,0.070344]
[0.538,7.17174e-08,0.0717174]
[0.537,7.30601e-08,0.0730601]
[0.536,7.4464e-08,0.074464]
[0.535,7.59899e-08,0.0759899]
[0.534,7.74547e-08,0.0774547]
[0.533,7.90722e-08,0.07907220000000001]
[0.532,8.07202e-08,0.08072019999999999]
[0.531,8.23376e-08,0.0823376]
[0.53,8.41382e-08,0.08413820000000001]
[0.529,8.57862e-08,0.08578619999999999]
[0.528,8.75562e-08,0.0875562]
[0.527,8.94178e-08,0.0894178]
[0.526,9.11573e-08,0.0911573]
[0.525,9.30189e-08,0.0930189]
[0.524,9.50331e-08,0.0950331]
[0.523,9.69253e-08,0.0969253]
[0.522,9.9031e-08,0.099031]
[0.521,1.01106e-07,0.101106]
[0.52,1.03212e-07,0.103212]
[0.519,1.0547e-07,0.10547000000000001]
[0.518,1.07667e-07,0.107667]
[0.517,1.10109e-07,0.110109]
[0.516,1.12458e-07,0.112458]
[0.515,1.14686e-07,0.114686]
[0.514,1.17189e-07,0.117189]
[0.513,1.19661e-07,0.119661]
[0.512,1.22194e-07,0.12219399999999998]
[0.511,1.24971e-07,0.12497099999999998]
[0.51,1.27626e-07,0.12762600000000002]
[0.509,1.30373e-07,0.130373]
[0.508,1.3318e-07,0.13318]
[0.507,1.35988e-07,0.13598800000000003]
[0.506,1.38918e-07,0.138918]
[0.505,1.42061e-07,0.142061]
[0.504,1.45265e-07,0.145265]
[0.503,1.48256e-07,0.148256]
[0.502,1.51338e-07,0.151338]
[0.501,1.54787e-07,0.154787]
[0.5,1.57961e-07,0.157961]
[0.499,1.61257e-07,0.161257]
[0.498,1.64858e-07,0.164858]
[0.497,1.68337e-07,0.16833700000000001]
[0.496,1.71908e-07,0.171908]
[0.495,1.756e-07,0.1756]
[0.494,1.79171e-07,0.179171]
[0.493,1.82925e-07,0.182925]
[0.492,1.87014e-07,0.187014]
[0.491,1.90951e-07,0.190951]
[0.49,1.94888e-07,0.19488799999999998]
[0.489,1.98794e-07,0.198794]
[0.488,2.02883e-07,0.202883]
[0.487,2.07034e-07,0.207034]
[0.486,2.11001e-07,0.211001]
[0.485,2.15121e-07,0.215121]
[0.484,2.19485e-07,0.219485]
[0.483,2.2388e-07,0.22388]
[0.482,2.28213e-07,0.228213]
[0.481,2.32791e-07,0.232791]
[0.48,2.37125e-07,0.237125]
[0.479,2.41947e-07,0.241947]
[0.478,2.46585e-07,0.246585]
[0.477,2.51102e-07,0.25110200000000005]
[0.476,2.5568e-07,0.25568]
[0.475,2.60257e-07,0.260257]
[0.474,2.64957e-07,0.264957]
[0.473,2.69626e-07,0.26962600000000003]
[0.472,2.74387e-07,0.274387]
[0.471,2.79118e-07,0.27911800000000003]
[0.47,2.84e-07,0.284]
[0.469,2.88761e-07,0.288761]
[0.468,2.93583e-07,0.293583]
[0.467,2.98161e-07,0.298161]
[0.466,3.03471e-07,0.303471]
[0.465,3.08049e-07,0.30804899999999996]
[0.464,3.12748e-07,0.31274799999999997]
[0.463,3.17631e-07,0.317631]
[0.462,3.22117e-07,0.322117]
[0.461,3.26909e-07,0.326909]
[0.46,3.31609e-07,0.33160900000000004]
[0.459,3.36247e-07,0.33624699999999996]
[0.458,3.40886e-07,0.340886]
[0.457,3.45403e-07,0.34540299999999996]
[0.456,3.49919e-07,0.34991900000000004]
[0.455,3.54436e-07,0.354436]
[0.454,3.58861e-07,0.358861]
[0.453,3.6353e-07,0.36352999999999996]
[0.452,3.67925e-07,0.367925]
[0.451,3.71984e-07,0.371984]
[0.45,3.76226e-07,0.376226]
[0.449,3.80193e-07,0.380193]
[0.448,3.84191e-07,0.38419099999999995]
[0.447,3.8822e-07,0.38822]
[0.446,3.92004e-07,0.392004]
[0.445,3.95757e-07,0.395757]
[0.444,3.99542e-07,0.399542]
[0.443,4.03112e-07,0.403112]
[0.442,4.06744e-07,0.406744]
[0.441,4.10223e-07,0.410223]
[0.44,4.13702e-07,0.413702]
[0.439,4.16754e-07,0.41675399999999996]
[0.438,4.19806e-07,0.419806]
[0.437,4.22766e-07,0.42276600000000003]
[0.436,4.25604e-07,0.425604]
[0.435,4.28351e-07,0.42835100000000004]
[0.434,4.30914e-07,0.43091399999999996]
[0.433,4.33295e-07,0.43329500000000004]
[0.432,4.35797e-07,0.435797]
[0.431,4.38239e-07,0.438239]
[0.43,4.40405e-07,0.440405]
[0.429,4.42511e-07,0.442511]
[0.428,4.44769e-07,0.444769]
[0.427,4.46692e-07,0.446692]
[0.426,4.48493e-07,0.448493]
[0.425,4.5011e-07,0.45011]
[0.424,4.51667e-07,0.451667]
[0.423,4.5307e-07,0.45307000000000003]
[0.422,4.54352e-07,0.454352]
[0.421,4.55603e-07,0.455603]
[0.42,4.56733e-07,0.456733]
[0.419,4.5777e-07,0.45777]
[0.418,4.58686e-07,0.458686]
[0.417,4.5954e-07,0.45954]
[0.416,4.60273e-07,0.460273]
[0.415,4.61188e-07,0.461188]
[0.414,4.61676e-07,0.461676]
[0.413,4.62073e-07,0.462073]
[0.412,4.62378e-07,0.462378]
[0.411,4.62623e-07,0.462623]
[0.41,4.62897e-07,0.462897]
[0.409,4.62592e-07,0.462592]
[0.408,4.62531e-07,0.46253099999999997]
[0.407,4.62623e-07,0.462623]
[0.406,4.62653e-07,0.462653]
[0.405,4.62653e-07,0.462653]
[0.404,4.62531e-07,0.46253099999999997]
[0.403,4.62226e-07,0.462226]
[0.402,4.62256e-07,0.462256]
[0.401,4.61829e-07,0.46182900000000005]
[0.4,4.61432e-07,0.461432]
[0.399,4.60975e-07,0.460975]
[0.398,4.60425e-07,0.46042500000000003]
[0.397,4.59906e-07,0.459906]
[0.396,4.59479e-07,0.459479]
[0.395,4.58686e-07,0.458686]
[0.394,4.58136e-07,0.458136]
[0.393,4.57526e-07,0.457526]
[0.392,4.56733e-07,0.456733]
[0.391,4.56031e-07,0.456031]
[0.39,4.55329e-07,0.45532900000000004]
[0.389,4.54657e-07,0.454657]
[0.388,4.53894e-07,0.453894]
[0.387,4.53009e-07,0.453009]
[0.386,4.52216e-07,0.452216]
[0.385,4.513e-07,0.45130000000000003]
[0.384,4.50507e-07,0.450507]
[0.383,4.49591e-07,0.449591]
[0.382,4.48676e-07,0.448676]
[0.381,4.47791e-07,0.447791]
[0.38,4.47058e-07,0.44705799999999996]
[0.379,4.46112e-07,0.446112]
[0.378,4.45227e-07,0.445227]
[0.377,4.44464e-07,0.444464]
[0.376,4.4364e-07,0.44364000000000003]
[0.375,4.42725e-07,0.44272500000000004]
[0.374,4.41901e-07,0.441901]
[0.373,4.40894e-07,0.44089399999999995]
[0.372,4.4007e-07,0.44007]
[0.371,4.39154e-07,0.439154]
[0.37,4.38422e-07,0.438422]
[0.369,4.37537e-07,0.437537]
[0.368,4.36652e-07,0.436652]
[0.367,4.35858e-07,0.43585799999999997]
[0.366,4.34943e-07,0.43494299999999997]
[0.365,4.3421e-07,0.43421000000000004]
[0.364,4.336e-07,0.43360000000000004]
[0.363,4.32745e-07,0.432745]
[0.362,4.31891e-07,0.431891]
[0.361,4.31128e-07,0.431128]
[0.36,4.30304e-07,0.43030399999999996]
[0.359,4.29602e-07,0.429602]
[0.358,4.28961e-07,0.42896100000000004]
[0.357,4.28229e-07,0.42822899999999997]
[0.356,4.27557e-07,0.427557]
[0.355,4.26733e-07,0.426733]
[0.354,4.26276e-07,0.42627600000000004]
[0.353,4.25482e-07,0.425482]
[0.352,4.2478e-07,0.42478000000000005]
[0.351,4.24383e-07,0.424383]
[0.35,4.23743e-07,0.423743]
[0.349,4.23102e-07,0.42310200000000003]
[0.348,4.22613e-07,0.42261299999999996]
[0.347,4.21972e-07,0.421972]
[0.346,4.21332e-07,0.421332]
[0.345,4.20843e-07,0.42084299999999997]
[0.344,4.20294e-07,0.420294]
[0.343,4.19836e-07,0.419836]
[0.342,4.19317e-07,0.419317]
[0.341,4.18921e-07,0.41892100000000004]
[0.34,4.18463e-07,0.418463]
[0.339,4.17975e-07,0.417975]
[0.338,4.17792e-07,0.417792]
[0.337,4.17303e-07,0.417303]
[0.336,4.16754e-07,0.41675399999999996]
[0.335,4.1651e-07,0.41651]
[0.334,4.16083e-07,0.416083]
[0.333,4.15716e-07,0.41571600000000003]
[0.332,4.1532e-07,0.41531999999999997]
[0.331,4.14984e-07,0.41498399999999996]
[0.33,4.14801e-07,0.41480100000000003]
[0.329,4.14435e-07,0.414435]
[0.328,4.14221e-07,0.414221]
[0.327,4.14007e-07,0.414007]
[0.326,4.13733e-07,0.413733]
[0.325,4.13641e-07,0.41364100000000004]
[0.324,4.13488e-07,0.41348799999999997]
[0.323,4.13214e-07,0.41321399999999997]
[0.322,4.13031e-07,0.41303100000000004]
[0.321,4.12848e-07,0.412848]
[0.32,4.12726e-07,0.41272600000000004]
[0.319,4.12603e-07,0.412603]
[0.318,4.1239e-07,0.41239]
[0.317,4.12237e-07,0.412237]
[0.316,4.12237e-07,0.412237]
[0.315,4.12054e-07,0.412054]
[0.314,4.12115e-07,0.412115]
[0.313,4.12115e-07,0.412115]
[0.312,4.11932e-07,0.411932]
[0.311,4.12024e-07,0.412024]
[0.31,4.11932e-07,0.411932]
[0.309,4.11902e-07,0.411902]
[0.308,4.11932e-07,0.411932]
[0.307,4.11932e-07,0.411932]
[0.306,4.12024e-07,0.412024]
[0.305,4.12024e-07,0.412024]
[0.304,4.12024e-07,0.412024]
[0.303,4.12146e-07,0.412146]
[0.302,4.12176e-07,0.41217600000000004]
[0.301,4.12237e-07,0.412237]
[0.3,4.12603e-07,0.412603]
[0.299,4.12481e-07,0.41248100000000004]
[0.298,4.12664e-07,0.412664]
[0.297,4.12787e-07,0.412787]
[0.296,4.12848e-07,0.412848]
[0.295,4.13031e-07,0.41303100000000004]
[0.294,4.13214e-07,0.41321399999999997]
[0.293,4.13244e-07,0.413244]
[0.292,4.13488e-07,0.41348799999999997]
[0.291,4.13702e-07,0.413702]
[0.29,4.13885e-07,0.413885]
[0.289,4.13977e-07,0.413977]
[0.288,4.1419e-07,0.41419]
[0.287,4.14618e-07,0.414618]
[0.286,4.14801e-07,0.41480100000000003]
[0.285,4.14862e-07,0.414862]
[0.284,4.15289e-07,0.41528899999999996]
[0.283,4.1535e-07,0.41535]
[0.282,4.15686e-07,0.415686]
[0.281,4.15838e-07,0.415838]
[0.28,4.16052e-07,0.41605200000000003]
[0.279,4.16388e-07,0.416388]
[0.278,4.16754e-07,0.41675399999999996]
[0.277,4.16998e-07,0.416998]
[0.276,4.17395e-07,0.41739499999999996]
[0.275,4.17608e-07,0.417608]
[0.274,4.18127e-07,0.418127]
[0.273,4.18463e-07,0.418463]
[0.272,4.18707e-07,0.418707]
[0.271,4.19012e-07,0.419012]
[0.27,4.19378e-07,0.419378]
[0.269,4.19653e-07,0.419653]
[0.268,4.20172e-07,0.420172]
[0.267,4.20447e-07,0.420447]
[0.266,4.20843e-07,0.42084299999999997]
[0.265,4.2121e-07,0.42121]
[0.264,4.21576e-07,0.421576]
[0.263,4.21942e-07,0.421942]
[0.262,4.22491e-07,0.422491]
[0.261,4.22919e-07,0.422919]
[0.26,4.23346e-07,0.423346]
[0.259,4.2362e-07,0.42362]
[0.258,4.24078e-07,0.424078]
[0.257,4.24567e-07,0.424567]
[0.256,4.24933e-07,0.424933]
[0.255,4.25421e-07,0.425421]
[0.254,4.25787e-07,0.425787]
[0.253,4.26276e-07,0.42627600000000004]
[0.252,4.26733e-07,0.426733]
[0.251,4.27222e-07,0.427222]
[0.25,4.27649e-07,0.427649]
[0.249,4.28351e-07,0.42835100000000004]
[0.248,4.28778e-07,0.428778]
[0.247,4.29266e-07,0.429266]
[0.246,4.29602e-07,0.429602]
[0.245,4.30182e-07,0.430182]
[0.244,4.30792e-07,0.430792]
[0.243,4.3128e-07,0.43128]
[0.242,4.31708e-07,0.431708]
[0.241,4.32257e-07,0.432257]
[0.24,4.32745e-07,0.432745]
[0.239,4.33356e-07,0.433356]
[0.238,4.33844e-07,0.43384399999999995]
[0.237,4.34363e-07,0.434363]
[0.236,4.35034e-07,0.435034]
[0.235,4.35584e-07,0.43558399999999997]
[0.234,4.36163e-07,0.43616299999999997]
[0.233,4.36774e-07,0.436774]
[0.232,4.3717e-07,0.43717]
[0.231,4.37811e-07,0.437811]
[0.23,4.383e-07,0.4383]
[0.229,4.38879e-07,0.438879]
[0.228,4.39459e-07,0.43945900000000004]
[0.227,4.401e-07,0.4401]
[0.226,4.4068e-07,0.44068]
[0.225,4.41229e-07,0.44122900000000004]
[0.224,4.41901e-07,0.441901]
[0.223,4.42694e-07,0.44269400000000003]
[0.222,4.43213e-07,0.44321299999999997]
[0.221,4.43854e-07,0.443854]
[0.22,4.44464e-07,0.444464]
[0.219,4.45136e-07,0.44513600000000003]
[0.218,4.45746e-07,0.44574600000000003]
[0.217,4.46417e-07,0.446417]
[0.216,4.46936e-07,0.446936]
[0.215,4.47638e-07,0.447638]
[0.214,4.48371e-07,0.448371]
[0.213,4.4892e-07,0.44892000000000004]
[0.212,4.49591e-07,0.449591]
[0.211,4.50324e-07,0.450324]
[0.21,4.51087e-07,0.451087]
[0.209,4.51667e-07,0.451667]
[0.208,4.52277e-07,0.452277]
[0.207,4.5307e-07,0.45307000000000003]
[0.206,4.53742e-07,0.453742]
[0.205,4.54383e-07,0.454383]
[0.204,4.55268e-07,0.455268]
[0.203,4.55939e-07,0.45593900000000004]
[0.202,4.5661e-07,0.45661]
[0.201,4.57282e-07,0.45728199999999997]
[0.2,4.57923e-07,0.45792299999999997]
[0.199,4.58655e-07,0.45865500000000003]
[0.198,4.59479e-07,0.459479]
[0.197,4.60212e-07,0.460212]
[0.196,4.60883e-07,0.460883]
[0.195,4.61554e-07,0.461554]
[0.194,4.62317e-07,0.462317]
[0.193,4.63019e-07,0.463019]
[0.192,4.63843e-07,0.463843]
[0.191,4.64637e-07,0.46463699999999997]
[0.19,4.65339e-07,0.465339]
[0.189,4.66071e-07,0.466071]
[0.188,4.66834e-07,0.466834]
[0.187,4.67597e-07,0.467597]
[0.186,4.68299e-07,0.468299]
[0.185,4.69245e-07,0.469245]
[0.184,4.69977e-07,0.469977]
[0.183,4.7074e-07,0.47074]
[0.182,4.71442e-07,0.47144199999999997]
[0.181,4.72297e-07,0.47229699999999997]
[0.18,4.73151e-07,0.473151]
[0.179,4.73914e-07,0.473914]
[0.178,4.74616e-07,0.474616]
[0.177,4.75501e-07,0.475501]
[0.176,4.76142e-07,0.47614199999999995]
[0.175,4.76966e-07,0.47696599999999995]
[0.174,4.7779e-07,0.47779000000000005]
[0.173,4.78583e-07,0.47858300000000004]
[0.172,4.79621e-07,0.47962099999999996]
[0.171,4.80323e-07,0.480323]
[0.17,4.81086e-07,0.48108599999999996]
[0.169,4.81879e-07,0.48187900000000006]
[0.168,4.82734e-07,0.48273400000000005]
[0.167,4.83649e-07,0.483649]
[0.166,4.84443e-07,0.484443]
[0.165,4.85236e-07,0.48523599999999995]
[0.164,4.86152e-07,0.48615200000000003]
[0.163,4.86945e-07,0.486945]
[0.162,4.87922e-07,0.48792199999999997]
[0.161,4.88685e-07,0.488685]
[0.16,4.89539e-07,0.48953899999999995]
[0.159,4.90485e-07,0.490485]
[0.158,4.9134e-07,0.49134]
[0.157,4.92195e-07,0.492195]
[0.156,4.9308e-07,0.49307999999999996]
[0.155,4.93873e-07,0.49387300000000006]
[0.154,4.9488e-07,0.49488]
[0.153,4.95674e-07,0.495674]
[0.152,4.96589e-07,0.49658899999999995]
[0.151,4.97444e-07,0.49744400000000005]
[0.15,4.98329e-07,0.498329]
[0.151,4.84107e-07,0.484107]
[0.152,4.67048e-07,0.46704799999999996]
[0.153,4.56855e-07,0.456855]
[0.154,4.49622e-07,0.44962199999999997]
[0.155,4.43488e-07,0.443488]
[0.156,4.3775e-07,0.43775000000000003]
[0.157,4.32501e-07,0.432501]
[0.158,4.27557e-07,0.427557]
[0.159,4.22827e-07,0.422827]
[0.16,4.18463e-07,0.418463]
[0.161,4.13916e-07,0.413916]
[0.162,4.09918e-07,0.409918]
[0.163,4.05951e-07,0.405951]
[0.164,4.02075e-07,0.40207499999999996]
[0.165,3.98474e-07,0.398474]
[0.166,3.95025e-07,0.39502499999999996]
[0.167,3.91424e-07,0.391424]
[0.168,3.88067e-07,0.388067]
[0.169,3.84832e-07,0.384832]
[0.17,3.81658e-07,0.381658]
[0.171,3.78545e-07,0.37854499999999996]
[0.172,3.75494e-07,0.375494]
[0.173,3.72472e-07,0.372472]
[0.174,3.69665e-07,0.369665]
[0.175,3.66918e-07,0.366918]
[0.176,3.64202e-07,0.36420199999999997]
[0.177,3.61455e-07,0.36145499999999997]
[0.178,3.58861e-07,0.358861]
[0.179,3.5645e-07,0.35645]
[0.18,3.54009e-07,0.354009]
[0.181,3.51476e-07,0.351476]
[0.182,3.49034e-07,0.349034]
[0.183,3.46715e-07,0.346715]
[0.184,3.44487e-07,0.344487]
[0.185,3.42198e-07,0.342198]
[0.186,3.39879e-07,0.33987900000000004]
[0.187,3.37712e-07,0.33771199999999996]
[0.188,3.35606e-07,0.335606]
[0.189,3.33623e-07,0.333623]
[0.19,3.31578e-07,0.331578]
[0.191,3.29503e-07,0.329503]
[0.192,3.2755e-07,0.32755]
[0.193,3.25719e-07,0.325719]
[0.194,3.23735e-07,0.323735]
[0.195,3.21934e-07,0.321934]
[0.196,3.20042e-07,0.320042]
[0.197,3.18303e-07,0.318303]
[0.198,3.16533e-07,0.316533]
[0.199,3.1461e-07,0.31461]
[0.2,3.13054e-07,0.313054]
[0.201,3.11406e-07,0.311406]
[0.202,3.09819e-07,0.30981899999999996]
[0.203,3.0811e-07,0.30811000000000005]
[0.204,3.06462e-07,0.306462]
[0.205,3.04936e-07,0.30493600000000004]
[0.206,3.0341e-07,0.30341]
[0.207,3.01884e-07,0.301884]
[0.208,3.00419e-07,0.300419]
[0.209,2.98832e-07,0.298832]
[0.21,2.97428e-07,0.29742799999999997]
[0.211,2.96025e-07,0.296025]
[0.212,2.94499e-07,0.294499]
[0.213,2.93125e-07,0.293125]
[0.214,2.91752e-07,0.291752]
[0.215,2.90348e-07,0.290348]
[0.216,2.89066e-07,0.289066]
[0.217,2.87846e-07,0.28784600000000005]
[0.218,2.86442e-07,0.28644200000000003]
[0.219,2.8516e-07,0.28515999999999997]
[0.22,2.83939e-07,0.283939]
[0.221,2.82658e-07,0.282658]
[0.222,2.81467e-07,0.281467]
[0.223,2.80216e-07,0.280216]
[0.224,2.78965e-07,0.27896499999999996]
[0.225,2.77714e-07,0.277714]
[0.226,2.76615e-07,0.276615]
[0.227,2.75516e-07,0.27551600000000004]
[0.228,2.74326e-07,0.274326]
[0.229,2.73136e-07,0.27313600000000005]
[0.23,2.72129e-07,0.272129]
[0.231,2.71e-07,0.27099999999999996]
[0.232,2.70023e-07,0.270023]
[0.233,2.68833e-07,0.268833]
[0.234,2.67765e-07,0.267765]
[0.235,2.66666e-07,0.266666]
[0.236,2.65568e-07,0.265568]
[0.237,2.6453e-07,0.26453]
[0.238,2.63492e-07,0.263492]
[0.239,2.62516e-07,0.26251599999999997]
[0.24,2.61478e-07,0.261478]
[0.241,2.60563e-07,0.260563]
[0.242,2.59586e-07,0.259586]
[0.243,2.5867e-07,0.25867]
[0.244,2.57633e-07,0.257633]
[0.245,2.56656e-07,0.256656]
[0.246,2.55771e-07,0.25577099999999997]
[0.247,2.54825e-07,0.25482499999999997]
[0.248,2.5394e-07,0.25394]
[0.249,2.53055e-07,0.253055]
[0.25,2.51895e-07,0.251895]
[0.251,2.51102e-07,0.25110200000000005]
[0.252,2.50278e-07,0.250278]
[0.253,2.49332e-07,0.24933200000000003]
[0.254,2.48538e-07,0.24853800000000004]
[0.255,2.47684e-07,0.24768400000000002]
[0.256,2.4689e-07,0.24689]
[0.257,2.45944e-07,0.245944]
[0.258,2.45059e-07,0.24505900000000003]
[0.259,2.44235e-07,0.24423499999999998]
[0.26,2.43411e-07,0.24341100000000002]
[0.261,2.42679e-07,0.24267900000000003]
[0.262,2.41855e-07,0.241855]
[0.263,2.40878e-07,0.240878]
[0.264,2.40146e-07,0.240146]
[0.265,2.39383e-07,0.23938299999999998]
[0.266,2.3859e-07,0.23859000000000002]
[0.267,2.37705e-07,0.237705]
[0.268,2.37033e-07,0.237033]
[0.269,2.36209e-07,0.236209]
[0.27,2.35507e-07,0.235507]
[0.271,2.34683e-07,0.234683]
[0.272,2.3392e-07,0.23392]
[0.273,2.33157e-07,0.233157]
[0.274,2.32425e-07,0.232425]
[0.275,2.31692e-07,0.231692]
[0.276,2.30807e-07,0.230807]
[0.277,2.30106e-07,0.230106]
[0.278,2.29465e-07,0.229465]
[0.279,2.2858e-07,0.22858]
[0.28,2.27847e-07,0.227847]
[0.281,2.27206e-07,0.227206]
[0.282,2.26504e-07,0.226504]
[0.283,2.25894e-07,0.225894]
[0.284,2.25101e-07,0.225101]
[0.285,2.24368e-07,0.22436799999999998]
[0.286,2.23636e-07,0.223636]
[0.287,2.22812e-07,0.222812]
[0.288,2.2211e-07,0.22211]
[0.289,2.21347e-07,0.22134700000000002]
[0.29,2.20706e-07,0.22070599999999999]
[0.291,2.20035e-07,0.220035]
[0.292,2.19363e-07,0.219363]
[0.293,2.186e-07,0.21860000000000002]
[0.294,2.1802e-07,0.21802]
[0.295,2.17288e-07,0.217288]
[0.296,2.16495e-07,0.21649500000000002]
[0.297,2.15884e-07,0.215884]
[0.298,2.15152e-07,0.21515199999999998]
[0.299,2.14511e-07,0.214511]
[0.3,2.13748e-07,0.213748]
[0.301,2.12985e-07,0.212985]
[0.302,2.12283e-07,0.212283]
[0.303,2.11673e-07,0.211673]
[0.304,2.11001e-07,0.211001]
[0.305,2.10299e-07,0.21029899999999999]
[0.306,2.09628e-07,0.209628]
[0.307,2.09018e-07,0.209018]
[0.308,2.08255e-07,0.208255]
[0.309,2.07583e-07,0.207583]
[0.31,2.06851e-07,0.206851]
[0.311,2.06118e-07,0.206118]
[0.312,2.05447e-07,0.205447]
[0.313,2.04745e-07,0.204745]
[0.314,2.03921e-07,0.203921]
[0.315,2.03311e-07,0.20331100000000002]
[0.316,2.02578e-07,0.202578]
[0.317,2.01907e-07,0.201907]
[0.318,2.01235e-07,0.201235]
[0.319,2.00503e-07,0.20050300000000001]
[0.32,1.99771e-07,0.199771]
[0.321,1.99038e-07,0.19903800000000002]
[0.322,1.98367e-07,0.198367]
[0.323,1.97756e-07,0.197756]
[0.324,1.96902e-07,0.196902]
[0.325,1.96108e-07,0.196108]
[0.326,1.95376e-07,0.195376]
[0.327,1.9446e-07,0.19446000000000002]
[0.328,1.9385e-07,0.19385]
[0.329,1.93026e-07,0.193026]
[0.33,1.92263e-07,0.19226300000000002]
[0.331,1.91531e-07,0.191531]
[0.332,1.90676e-07,0.190676]
[0.333,1.90005e-07,0.190005]
[0.334,1.89211e-07,0.18921100000000002]
[0.335,1.88357e-07,0.188357]
[0.336,1.87502e-07,0.187502]
[0.337,1.8677e-07,0.18677]
[0.338,1.85915e-07,0.185915]
[0.339,1.85e-07,0.185]
[0.34,1.83962e-07,0.183962]
[0.341,1.8323e-07,0.18323]
[0.342,1.82192e-07,0.182192]
[0.343,1.81307e-07,0.181307]
[0.344,1.80422e-07,0.180422]
[0.345,1.79507e-07,0.179507]
[0.346,1.7853e-07,0.17853]
[0.347,1.77645e-07,0.177645]
[0.348,1.76577e-07,0.176577]
[0.349,1.756e-07,0.1756]
[0.35,1.74593e-07,0.174593]
[0.351,1.73647e-07,0.173647]
[0.352,1.72549e-07,0.17254899999999998]
[0.353,1.71297e-07,0.171297]
[0.354,1.70412e-07,0.170412]
[0.355,1.69253e-07,0.169253]
[0.356,1.68093e-07,0.168093]
[0.357,1.66903e-07,0.166903]
[0.358,1.65835e-07,0.165835]
[0.359,1.64675e-07,0.16467500000000002]
[0.36,1.63393e-07,0.163393]
[0.361,1.62203e-07,0.162203]
[0.362,1.60921e-07,0.16092099999999998]
[0.363,1.59578e-07,0.159578]
[0.364,1.58297e-07,0.158297]
[0.365,1.56984e-07,0.15698399999999998]
[0.366,1.55428e-07,0.155428]
[0.367,1.54116e-07,0.154116]
[0.368,1.52712e-07,0.152712]
[0.369,1.51247e-07,0.151247]
[0.37,1.49691e-07,0.149691]
[0.371,1.48256e-07,0.148256]
[0.372,1.46547e-07,0.14654699999999998]
[0.373,1.45052e-07,0.145052]
[0.374,1.43404e-07,0.143404]
[0.375,1.41725e-07,0.14172500000000002]
[0.376,1.40016e-07,0.140016]
[0.377,1.38307e-07,0.13830699999999999]
[0.378,1.36354e-07,0.136354]
[0.379,1.34493e-07,0.134493]
[0.38,1.32814e-07,0.132814]
[0.381,1.30922e-07,0.130922]
[0.382,1.28908e-07,0.128908]
[0.383,1.26985e-07,0.126985]
[0.384,1.25001e-07,0.125001]
[0.385,1.22987e-07,0.12298699999999999]
[0.386,1.2079e-07,0.12079000000000001]
[0.387,1.18654e-07,0.118654]
[0.388,1.16456e-07,0.11645599999999999]
[0.389,1.14045e-07,0.114045]
[0.39,1.11818e-07,0.111818]
[0.391,1.09193e-07,0.109193]
[0.392,1.06752e-07,0.106752]
[0.393,1.04371e-07,0.104371]
[0.394,1.01808e-07,0.101808]
[0.395,9.92446e-08,0.0992446]
[0.396,9.66201e-08,0.0966201]
[0.397,9.38735e-08,0.0938735]
[0.398,9.10658e-08,0.0910658]
[0.399,8.82581e-08,0.0882581]
[0.4,8.54505e-08,0.0854505]
[0.401,8.25207e-08,0.0825207]
[0.402,7.94384e-08,0.07943839999999999]
[0.403,7.64171e-08,0.07641709999999999]
[0.404,7.30296e-08,0.0730296]
[0.405,6.99473e-08,0.0699473]
[0.406,6.67124e-08,0.0667124]
[0.407,6.33859e-08,0.06338590000000001]
[0.408,6.00595e-08,0.060059499999999995]
[0.409,5.6672e-08,0.056672]
[0.41,5.36507e-08,0.053650699999999996]
[0.411,5.02327e-08,0.0502327]
[0.412,4.64484e-08,0.0464484]
[0.413,4.26642e-08,0.0426642]
[0.414,3.88799e-08,0.0388799]
[0.415,3.49736e-08,0.0349736]
[0.416,3.12199e-08,0.0312199]
[0.417,2.70695e-08,0.0270695]
[0.418,2.30716e-08,0.0230716]
[0.419,1.91653e-08,0.0191653]
[0.42,1.49538e-08,0.014953799999999998]
[0.421,1.09864e-08,0.0109864]
[0.422,6.80552e-09,0.00680552]
[0.423,2.44144e-09,0.00244144]
[0.424,-1.70901e-09,-0.0017090100000000002]
[0.425,-6.07309e-09,-0.00607309]
[0.426,-1.04982e-08,-0.0104982]
[0.427,-1.48622e-08,-0.0148622]
[0.428,-1.93789e-08,-0.019378899999999998]
[0.429,-2.39261e-08,-0.023926100000000002]
[0.43,-2.85648e-08,-0.0285648]
[0.431,-3.31731e-08,-0.033173100000000004]
[0.432,-3.75982e-08,-0.0375982]
[0.433,-4.22064e-08,-0.042206400000000005]
[0.434,-4.68757e-08,-0.0468757]
[0.435,-5.15144e-08,-0.0515144]
[0.436,-5.60311e-08,-0.0560311]
[0.437,-6.05783e-08,-0.0605783]
[0.438,-6.53086e-08,-0.0653086]
[0.439,-7.00694e-08,-0.0700694]
[0.44,-7.47692e-08,-0.0747692]
[0.441,-7.953e-08,-0.07953]
[0.442,-8.43518e-08,-0.0843518]
[0.443,-8.91126e-08,-0.0891126]
[0.444,-9.38429e-08,-0.09384289999999999]
[0.445,-9.83901e-08,-0.09839010000000001]
[0.446,-1.03028e-07,-0.103028]
[0.447,-1.07667e-07,-0.107667]
[0.448,-1.12062e-07,-0.112062]
[0.449,-1.167e-07,-0.11670000000000001]
[0.45,-1.21187e-07,-0.12118700000000002]
[0.451,-1.25551e-07,-0.12555100000000002]
[0.452,-1.29976e-07,-0.129976]
[0.453,-1.34248e-07,-0.134248]
[0.454,-1.38551e-07,-0.138551]
[0.455,-1.43129e-07,-0.143129]
[0.456,-1.47158e-07,-0.147158]
[0.457,-1.51216e-07,-0.151216]
[0.458,-1.55214e-07,-0.155214]
[0.459,-1.5906e-07,-0.15906]
[0.46,-1.62966e-07,-0.162966]
[0.461,-1.66659e-07,-0.166659]
[0.462,-1.70412e-07,-0.170412]
[0.463,-1.73922e-07,-0.173922]
[0.464,-1.77462e-07,-0.177462]
[0.465,-1.80788e-07,-0.180788]
[0.466,-1.84145e-07,-0.184145]
[0.467,-1.87258e-07,-0.187258]
[0.468,-1.90615e-07,-0.19061499999999998]
[0.469,-1.93575e-07,-0.19357500000000002]
[0.47,-1.96322e-07,-0.196322]
[0.471,-1.99069e-07,-0.199069]
[0.472,-2.01724e-07,-0.201724]
[0.473,-2.04104e-07,-0.204104]
[0.474,-2.06546e-07,-0.206546]
[0.475,-2.08743e-07,-0.208743]
[0.476,-2.11001e-07,-0.211001]
[0.477,-2.12985e-07,-0.212985]
[0.478,-2.14938e-07,-0.214938]
[0.479,-2.1683e-07,-0.21683]
[0.48,-2.18478e-07,-0.218478]
[0.481,-2.2034e-07,-0.22034]
[0.482,-2.21805e-07,-0.221805]
[0.483,-2.23025e-07,-0.223025]
[0.484,-2.24399e-07,-0.224399]
[0.485,-2.25467e-07,-0.225467]
[0.486,-2.26413e-07,-0.226413]
[0.487,-2.27145e-07,-0.22714499999999999]
[0.488,-2.27908e-07,-0.227908]
[0.489,-2.28702e-07,-0.22870200000000002]
[0.49,-2.29434e-07,-0.229434]
[0.491,-2.29861e-07,-0.229861]
[0.492,-2.30411e-07,-0.230411]
[0.493,-2.30838e-07,-0.230838]
[0.494,-2.31204e-07,-0.23120400000000002]
[0.495,-2.31326e-07,-0.23132599999999998]
[0.496,-2.31326e-07,-0.23132599999999998]
[0.497,-2.31326e-07,-0.23132599999999998]
[0.498,-2.31204e-07,-0.23120400000000002]
[0.499,-2.31082e-07,-0.231082]
[0.5,-2.30838e-07,-0.230838]
[0.501,-2.30563e-07,-0.230563]
[0.502,-2.30136e-07,-0.23013599999999998]
[0.503,-2.29709e-07,-0.229709]
[0.504,-2.29251e-07,-0.22925099999999998]
[0.505,-2.28702e-07,-0.22870200000000002]
[0.506,-2.28244e-07,-0.228244]
[0.507,-2.27664e-07,-0.227664]
[0.508,-2.26932e-07,-0.22693200000000002]
[0.509,-2.26077e-07,-0.226077]
[0.51,-2.25345e-07,-0.22534500000000002]
[0.511,-2.24551e-07,-0.224551]
[0.512,-2.23666e-07,-0.223666]
[0.513,-2.22873e-07,-0.22287300000000002]
[0.514,-2.21927e-07,-0.221927]
[0.515,-2.21011e-07,-0.22101099999999999]
[0.516,-2.20096e-07,-0.22009599999999999]
[0.517,-2.19058e-07,-0.219058]
[0.518,-2.1799e-07,-0.21799000000000002]
[0.519,-2.17196e-07,-0.217196]
[0.52,-2.16159e-07,-0.216159]
[0.521,-2.14969e-07,-0.214969]
[0.522,-2.139e-07,-0.2139]
[0.523,-2.12863e-07,-0.212863]
[0.524,-2.11734e-07,-0.211734]
[0.525,-2.10666e-07,-0.210666]
[0.526,-2.09536e-07,-0.209536]
[0.527,-2.08407e-07,-0.20840699999999998]
[0.528,-2.07309e-07,-0.207309]
[0.529,-2.0621e-07,-0.20621]
[0.53,-2.05142e-07,-0.205142]
[0.531,-2.03982e-07,-0.203982]
[0.532,-2.03128e-07,-0.203128]
[0.533,-2.01907e-07,-0.201907]
[0.534,-2.00686e-07,-0.200686]
[0.535,-1.99771e-07,-0.199771]
[0.536,-1.9855e-07,-0.19854999999999998]
[0.537,-1.97543e-07,-0.19754300000000002]
[0.538,-1.96322e-07,-0.196322]
[0.539,-1.95193e-07,-0.195193]
[0.54,-1.94277e-07,-0.194277]
[0.541,-1.9327e-07,-0.19327]
[0.542,-1.92141e-07,-0.192141]
[0.543,-1.91226e-07,-0.191226]
[0.544,-1.90188e-07,-0.190188]
[0.545,-1.89333e-07,-0.189333]
[0.546,-1.88235e-07,-0.18823499999999999]
[0.547,-1.8738e-07,-0.18738]
[0.548,-1.86373e-07,-0.186373]
[0.549,-1.85366e-07,-0.185366]
[0.55,-1.8442e-07,-0.18442]
[0.551,-1.83535e-07,-0.183535]
[0.552,-1.82467e-07,-0.182467]
[0.553,-1.81704e-07,-0.181704]
[0.554,-1.80849e-07,-0.180849]
[0.555,-1.79934e-07,-0.179934]
[0.556,-1.79079e-07,-0.17907900000000002]
[0.557,-1.78286e-07,-0.178286]
[0.558,-1.77431e-07,-0.177431]
[0.559,-1.76638e-07,-0.176638]
[0.56,-1.75722e-07,-0.175722]
[0.561,-1.7499e-07,-0.17499]
[0.562,-1.74166e-07,-0.174166]
[0.563,-1.73342e-07,-0.173342]
[0.564,-1.7261e-07,-0.17261]
[0.565,-1.71908e-07,-0.171908]
[0.566,-1.71145e-07,-0.171145]
[0.567,-1.70443e-07,-0.170443]
[0.568,-1.69741e-07,-0.169741]
[0.569,-1.69039e-07,-0.16903900000000002]
[0.57,-1.68551e-07,-0.168551]
[0.571,-1.67727e-07,-0.16772700000000001]
[0.572,-1.67116e-07,-0.167116]
[0.573,-1.66506e-07,-0.166506]
[0.574,-1.65865e-07,-0.165865]
[0.575,-1.65285e-07,-0.165285]
[0.576,-1.64644e-07,-0.164644]
[0.577,-1.64126e-07,-0.164126]
[0.578,-1.63515e-07,-0.163515]
[0.579,-1.62935e-07,-0.162935]
[0.58,-1.62386e-07,-0.162386]
[0.581,-1.61837e-07,-0.161837]
[0.582,-1.61257e-07,-0.161257]
[0.583,-1.60891e-07,-0.160891]
[0.584,-1.60372e-07,-0.16037200000000001]
[0.585,-1.59761e-07,-0.159761]
[0.586,-1.59304e-07,-0.159304]
[0.587,-1.58876e-07,-0.158876]
[0.588,-1.58388e-07,-0.158388]
[0.589,-1.579e-07,-0.1579]
[0.59,-1.57412e-07,-0.157412]
[0.591,-1.57045e-07,-0.157045]
[0.592,-1.56618e-07,-0.156618]
[0.593,-1.56282e-07,-0.156282]
[0.594,-1.55764e-07,-0.15576399999999999]
[0.595,-1.55397e-07,-0.155397]
[0.596,-1.55153e-07,-0.155153]
[0.597,-1.54818e-07,-0.154818]
[0.598,-1.5439e-07,-0.15439]
[0.599,-1.54055e-07,-0.15405500000000003]
[0.6,-1.53688e-07,-0.153688]
[0.601,-1.53353e-07,-0.15335300000000002]
[0.602,-1.53078e-07,-0.153078]
[0.603,-1.52712e-07,-0.152712]
[0.604,-1.52529e-07,-0.152529]
[0.605,-1.52224e-07,-0.152224]
[0.606,-1.51857e-07,-0.15185700000000002]
[0.607,-1.51613e-07,-0.151613]
[0.608,-1.51369e-07,-0.151369]
[0.609,-1.51125e-07,-0.151125]
[0.61,-1.50881e-07,-0.15088100000000002]
[0.611,-1.50576e-07,-0.15057600000000002]
[0.612,-1.50392e-07,-0.150392]
[0.613,-1.50209e-07,-0.15020899999999998]
[0.614,-1.49904e-07,-0.14990399999999998]
[0.615,-1.49874e-07,-0.149874]
[0.616,-1.49599e-07,-0.14959899999999998]
[0.617,-1.49416e-07,-0.149416]
[0.618,-1.49172e-07,-0.149172]
[0.619,-1.4908e-07,-0.14908000000000002]
[0.62,-1.48928e-07,-0.148928]
[0.621,-1.48775e-07,-0.14877500000000002]
[0.622,-1.48683e-07,-0.148683]
[0.623,-1.48531e-07,-0.148531]
[0.624,-1.48256e-07,-0.148256]
[0.625,-1.48195e-07,-0.14819500000000002]
[0.626,-1.48134e-07,-0.148134]
[0.627,-1.47951e-07,-0.147951]
[0.628,-1.4792e-07,-0.14792]
[0.629,-1.47829e-07,-0.147829]
[0.63,-1.47707e-07,-0.14770699999999998]
[0.631,-1.47707e-07,-0.14770699999999998]
[0.632,-1.47585e-07,-0.147585]
[0.633,-1.47493e-07,-0.147493]
[0.634,-1.47585e-07,-0.147585]
[0.635,-1.47524e-07,-0.147524]
[0.636,-1.47432e-07,-0.14743199999999998]
[0.637,-1.47402e-07,-0.147402]
[0.638,-1.4731e-07,-0.14731]
[0.639,-1.47341e-07,-0.147341]
[0.64,-1.4731e-07,-0.14731]
[0.641,-1.47188e-07,-0.147188]
[0.642,-1.4728e-07,-0.14728]
[0.643,-1.47341e-07,-0.147341]
[0.644,-1.47402e-07,-0.147402]
[0.645,-1.47341e-07,-0.147341]
[0.646,-1.47341e-07,-0.147341]
[0.647,-1.47585e-07,-0.147585]
[0.648,-1.47524e-07,-0.147524]
[0.649,-1.47524e-07,-0.147524]
[0.65,-1.47646e-07,-0.147646]
[0.651,-1.47707e-07,-0.14770699999999998]
[0.652,-1.47798e-07,-0.147798]
[0.653,-1.4789e-07,-0.14789000000000002]
[0.654,-1.47951e-07,-0.147951]
[0.655,-1.48134e-07,-0.148134]
[0.656,-1.48195e-07,-0.14819500000000002]
[0.657,-1.48287e-07,-0.148287]
[0.658,-1.485e-07,-0.14850000000000002]
[0.659,-1.48561e-07,-0.148561]
[0.66,-1.48805e-07,-0.148805]
[0.661,-1.48928e-07,-0.148928]
[0.662,-1.4905e-07,-0.14905]
[0.663,-1.49294e-07,-0.149294]
[0.664,-1.49355e-07,-0.14935500000000002]
[0.665,-1.49629e-07,-0.14962899999999998]
[0.666,-1.49752e-07,-0.149752]
[0.667,-1.49904e-07,-0.14990399999999998]
[0.668,-1.50148e-07,-0.150148]
[0.669,-1.50362e-07,-0.150362]
[0.67,-1.50576e-07,-0.15057600000000002]
[0.671,-1.50728e-07,-0.150728]
[0.672,-1.50972e-07,-0.15097200000000002]
[0.673,-1.51461e-07,-0.151461]
[0.674,-1.51613e-07,-0.151613]
[0.675,-1.51735e-07,-0.151735]
[0.676,-1.52071e-07,-0.152071]
[0.677,-1.52285e-07,-0.152285]
[0.678,-1.5262e-07,-0.15262]
[0.679,-1.52986e-07,-0.15298599999999998]
[0.68,-1.53261e-07,-0.153261]
[0.681,-1.53536e-07,-0.153536]
[0.682,-1.5381e-07,-0.15381]
[0.683,-1.54238e-07,-0.15423800000000001]
[0.684,-1.54543e-07,-0.154543]
[0.685,-1.5497e-07,-0.15497]
[0.686,-1.55367e-07,-0.15536699999999998]
[0.687,-1.55733e-07,-0.155733]
[0.688,-1.56008e-07,-0.156008]
[0.689,-1.56435e-07,-0.15643500000000002]
[0.69,-1.56832e-07,-0.156832]
[0.691,-1.57167e-07,-0.157167]
[0.692,-1.57534e-07,-0.157534]
[0.693,-1.5793e-07,-0.15793000000000001]
[0.694,-1.58388e-07,-0.158388]
[0.695,-1.58876e-07,-0.158876]
[0.696,-1.59334e-07,-0.15933399999999998]
[0.697,-1.59731e-07,-0.15973099999999998]
[0.698,-1.60341e-07,-0.16034099999999998]
[0.699,-1.60769e-07,-0.160769]
[0.7,-1.61257e-07,-0.161257]