Supplemental File of Data from:

24-Hour Diffusive Sampling of Toxic VOCs in Air onto Carbopack X Solid Adsorbent followed by Thermal Desorption/GC/MS Analysis— Laboratory Studies

by William A. McClenny*, Karen D. Oliver+, Henry H. Jacumin, Jr.+, E. Hunter Daughtrey, Jr.+, and Donald Whitaker*

*National Exposure Research Laboratory, U.S. Environmental Protection Agency, Research Triangle Park, NC 27711

+ManTech Environmental Technology, Inc., Research Triangle Park, NC 27709

The information provided below is supplemental as indicated in the text of the manuscript at the four locations where the ESI footnote is cited. In all tables “area” denotes area counts of a GC peak.

Supplement Table 1.  Blank effects of extended conditioning and recovery after loading for typical tube at 22 Å 2 _C and 35% RH (first three columns of data obtained under different conditions than last two). Only data for 27 selected compounds (see main text) for use in exposure studies are shown.

| Amount of Conditioning: | None | 30 Min | 8 Hours | New Mass Spec Method | None | 24-Hour Exposure to 2 ppbv TO-14 + B | None |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Compound Name | 4-16-04 Area | 4-20-04 Area | 4-22-04 Area |  | 5-03-04 Area |  | 6-06-04 Area |
| 1,2-Dichloro-1,1,2,2-tetrafluoroethane | 31 | 12 | 6 |  | 38 |  | 62 |
| 1,3-Butadiene | 628 | 136 | 40 |  | 100 |  | 131 |
| Trichlorofluoromethane | 84 | 75 | 24 |  | 35 |  | 69 |
| 1,1-Dichloroethene | 7 | 9 | 8 |  | 3 |  | 88 |
| 3-Chloropropene | 167 | 32 | 16 |  | 11 |  | 83 |
| 1,1,2-Trichloro-1,2,2-trifluoroethane | 6 | 14 | 9 |  | 5 |  | 60 |
| 1,1-Dichloroethane | 20 | 14 | 15 |  | 4 |  | 10 |
| cis-1,2-Dichloroethene | 3 | 4 | 1 |  | 4 |  | 14 |
| 1,2-Dichloroethane | 128 | 11 | 4 |  | 4 |  | 148 |
| 1,1,1-Trichloroethane | 2 | 17 | 9 |  | 3 |  | 13 |
| Benzene | 66815 | 49078 | 33254 |  | 39333 |  | 61809 |
| Carbon tetrachloride | 6 | 9 | 4 |  | 7 |  | 29 |
| 1,2-Dichloropropane | 42 | 20 | 5 |  | 23 |  | 73 |
| Trichloroethene | 278 | 143 | 50 |  | 52 |  | 88 |
| 1,1,2-Trichloroethane | 11 | 2 | 4 |  | 4 |  | 22 |
| Toluene | 3417 | 896 | 498 |  | 715 |  | 1048 |
| Tetrachloroethene | 93 | 51 | 31 |  | 45 |  | 91 |
| Chlorobenzene | 537 | 227 | 150 |  | 222 |  | 473 |
| Ethylbenzene | 783 | 237 | 120 |  | 158 |  | 395 |
| m,p-Xylene | 1156 | 272 | 135 |  | 218 |  | 662 |
| Styrene | 4534 | 1887 | 834 |  | 1620 |  | 1663 |
| o-Xylene | 424 | 111 | 54 |  | 103 |  | 252 |
| 4-Ethyltoluene | 2292 | 45 | 16 |  | 17 |  | 523 |
| 1,3,5-Trimethylbenzene | 643 | 5 | 5 |  | 5 |  | 206 |
| m-Dichlorobenzene | 273 | 16 | 7 |  | 6 |  | 196 |
| p-Dichlorobenzene | 739 | 28 | 3 |  | 44 |  | 308 |
| o-Dichlorobenzene | 289 | 17 | 9 |  | 5 |  | 184 |

Supplement Table 2.  Effect of exposure of samples collected for 12 hours to 95 ppbv ozone in clean air for an additional 12 hours. Subtract effect of reverse diffusion as shown in last column from combined effect of ozone and reverse diffusion in next-to-last column to obtain effect of ozone only.

|  | 12 Hr Exposure to 4 ppbv TO-14+A+B at 65% RH |  |  |  |  | 12 Hr+12 Hr Exposure to 95 ppbv O3 at 65% RH |  |  |  |  | O3 & Rev | Reverse | Apparent |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Tube 23 | Tube 25 | Tube 27 | Tube 29 | Mean | Tube 24 | Tube 26 | Tube 28 | Tube 30 | Mean | Diffusion | Diffusion | Ozone |
| Compound Name | Area | Area | Area | Area | Area | Area | Area | Area | Area | Area | % Diff. | % Diff. | Effect % |
| Dichlorodifluoromethane | 27674 | 26245 | 26166 | 26033 | 26530 | 21537 | 21439 | 21091 | 20781 | 21212 | -20.0 | -19.0 | -1.0 |
| 1,2-Dichloro-1,1,2,2-tetrafluoroethane | 37581 | 35334 | 35433 | 35483 | 35958 | 32138 | 32071 | 31623 | 31201 | 31758 | -11.7 | -11.9 | 0.2 |
| Chloroethene | 8134 | 7527 | 7557 | 6990 | 7552 | 5468 | 5363 | 4933 | 4686 | 5113 | -32.3 | -32.1 | -0.2 |
| 1,3-Butadiene | 10633 | 9827 | 9397 | 9300 | 9789 | 9333 | 9144 | 8311 | 8126 | 8729 | -10.8 | -10.5 | -0.3 |
| Chloroethane | 2409 | 2792 | 2077 | 2893 | 2543 | 1503 | 1707 | 1380 | 1465 | 1514 | -40 | -13 | -27.0 |
| Trichlorofluoromethane | 35360 | 33963 | 34134 | 33493 | 34238 | 32830 | 33140 | 31972 | 31637 | 32395 | -5 | 0 | -5.8 |
| 1,1-Dichloroethene | 26102 | 23308 | 24888 | 22228 | 24132 | 23098 | 25057 | 23233 | 23264 | 23663 | -2 | -13 | 10.8 |
| Dichloromethane | 10453 | 11685 | 10391 | 10890 | 10855 | 8413 | 8459 | 7292 | 7500 | 7916 | -27 | -13 | -14.2 |
| 3-Chloropropene | 4665 | 5076 | 4267 | 5577 | 4896 | 4288 | 4736 | 3981 | 3748 | 4188 | -14 | -3 | -11.3 |
| 1,1,2-Trichloro-1,2,2-trifluoroethane | 31173 | 29126 | 29492 | 29382 | 29793 | 29698 | 29711 | 28974 | 28591 | 29244 | -2 | -3 | 1.4 |
| 1,1-Dichloroethane | 18105 | 17363 | 16042 | 17321 | 17208 | 16693 | 16544 | 15706 | 15196 | 16035 | -7 | -4 | -2.6 |
| cis-1,2-Dichloroethene | 22159 | 21789 | 21743 | 21977 | 21917 | 21448 | 21626 | 19469 | 19977 | 20630 | -6 | -5 | -0.8 |
| Trichloromethane | 21290 | 27265 | 26206 | 31514 | 26569 | 26665 | 25571 | 18565 | 20309 | 22778 | -14 | 114 | -128.5 |
| 1,2-Dichloroethane | 14097 | 13940 | 14702 | 13030 | 13942 | 14363 | 15050 | 13049 | 12991 | 13863 | -1 | -3 | 2.4 |
| 1,1,1-Trichloroethane | 26169 | 24790 | 23278 | 25876 | 25028 | 25509 | 23737 | 24372 | 23538 | 24289 | -3 | 1 | -4.0 |
| Benzene | 81256 | 75862 | 76962 | 79650 | 78433 | 79284 | 79031 | 78583 | 77012 | 78478 | 0 | -3 | 3.1 |
| Carbon tetrachloride | 21506 | 21142 | 20951 | 20382 | 20995 | 21609 | 20301 | 19624 | 18774 | 20077 | -4 | 2 | -6.1 |
| 1,2-Dichloropropane | 15183 | 14226 | 13510 | 13989 | 14227 | 14777 | 14018 | 13690 | 13183 | 13917 | -2 | -1 | -0.8 |
| Trichloroethene | 35742 | 32730 | 35592 | 31917 | 33995 | 35486 | 38554 | 34916 | 34937 | 35973 | 6 | -3 | 9.2 |
| cis-1,3-Dichloropropene | 8162 | 8450 | 7308 | 8396 | 8079 | 8644 | 6465 | 7318 | 6891 | 7330 | -9 | 13 | -22.5 |
| trans-1,3-Dichloropropene | 1278 | 1475 | 986 | 1212 | 1238 | 1405 | 629 | 1043 | 880 | 989 | -20 | 23 | -43.4 |
| 1,1,2-Trichloroethane | 20680 | 21348 | 20951 | 22017 | 21249 | 21583 | 19647 | 19256 | 18655 | 19785 | -7 | 7 | -13.6 |
| Toluene | 94565 | 89568 | 89783 | 91334 | 91313 | 92330 | 92250 | 90518 | 89336 | 91109 | 0 | -2 | 1.8 |
| Tetrachloroethene | 17141 | 16193 | 16245 | 16064 | 16411 | 16723 | 16764 | 16120 | 15844 | 16363 | 0 | -2 | 2.0 |
| Chlorobenzene | 56202 | 52787 | 52851 | 52613 | 53613 | 54777 | 54256 | 52296 | 51395 | 53181 | -1 | -3 | 2.4 |
| Ethylbenzene | 83741 | 79375 | 78594 | 79251 | 80240 | 81936 | 80453 | 78942 | 77696 | 79757 | -1 | -3 | 2.4 |
| m,p-Xylene | 147815 | 138560 | 137585 | 139086 | 140762 | 143082 | 139790 | 137873 | 136934 | 139420 | -1 | -3 | 2.1 |
| Styrene | 47788 | 40689 | 41696 | 47645 | 44455 | 43122 | 41285 | 45082 | 42769 | 43065 | -3 | -5 | 1.8 |
| o-Xylene | 71194 | 65836 | 66180 | 67975 | 67796 | 68213 | 66905 | 66375 | 66223 | 66929 | -1 | -3 | 1.8 |
| 4-Ethyltoluene | 47330 | 43848 | 37818 | 41335 | 42583 | 43433 | 35161 | 39308 | 40057 | 39490 | -7 | -2 | -5.0 |
| 1,3,5-Trimethylbenzene | 58659 | 54283 | 50268 | 53141 | 54088 | 55103 | 48630 | 50515 | 50854 | 51276 | -5 | -4 | -1.6 |
| 1,2,4-Trimethylbenzene | 41470 | 37173 | 30971 | 38040 | 36914 | 36002 | 26136 | 32214 | 34740 | 32273 | -13 | -6 | -6.2 |
| m-Dichlorobenzene | 27346 | 25938 | 25635 | 25984 | 26226 | 26774 | 25741 | 25634 | 25213 | 25841 | -1 | -2 | 1.0 |
| p-Dichlorobenzene | 27169 | 25952 | 25072 | 25906 | 26025 | 26494 | 24713 | 25119 | 25073 | 25350 | -3 | -2 | -0.7 |
| o-Dichlorobenzene | 24274 | 22213 | 22572 | 23779 | 23210 | 23123 | 22419 | 22951 | 23131 | 22906 | -1 | -2 | 0.6 |
| 1,2,4-Trichlorobenzene | 14195 | 13287 | 12265 | 15059 | 13702 | 12109 | 10529 | 11009 | 12234 | 11470 | -16 | -20 | 4.0 |
| Hexachlorobutadiene | 10320 | 9694 | 9070 | 10807 | 9973 | 9290 | 7375 | 8667 | 8432 | 8441 | -15 | -2 | -13.2 |

Supplement Table 3.  Linearity of response data at a nominal 0.5, 2, and 4 ppbv for a fixed time of 24 hours (35% and 75% RH at 22 Å 2 ºC).

| Compound Name | 500 pptv, 75% RH 10/10/2003 (n=7) |  | 500 pptv, 35% RH 10/14/2003 (n=7) |  | 500 pptv, 75% RH 10/28/2003 (n=7) |  | 2 ppbv, 75% RH 9/26/2003 (n=10) |  | 2 ppbv, 35% RH 10/2/2003 (n=5) |  | 2 ppbv, 75% RH 10/21/2003 (n=7) |  | 4 ppbv, 75% RH 10/23/2003 (n=7) |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | Mean | Std. Dev. | Mean | Std. Dev. | Mean | Std. Dev. | Mean | Std. Dev. | Mean | Std. Dev. | Mean | Std. Dev. | Mean | Std. Dev. |
| Dichlorodifluoromethane | 6734 | 141 | 7137 | 190 | 5953 | 154 | 16997 | 816 | 17980 | 559 | 15221 | 465 | 26498 | 670 |
| 1,2-Dichloro-1,1,2,2-tetrafluoroethane | 5637 | 149 | 5223 | 109 | 5308 | 175 | 21091 | 1197 | 22165 | 1474 | 21433 | 717 | 39323 | 3231 |
| Chloroethene | 1882 | 122 | 1285 | 108 | 1055 | 27 | 5604 | 629 | 8214 | 316 | 4418 | 156 | 12982 | 567 |
| 1,3-Butadiene | 1946 | 61 | 3648 | 211 | 2725 | 194 | 12193 | 646 | 8445 | 103 | 12167 | 505 | 15328 | 413 |
| Chloroethane | 1060 | 44 | 522 | 56 | 932 | 78 | 2974 | 321 | 2705 | 300 | 3679 | 291 | 7525 | 295 |
| Trichlorofluoromethane | 7843 | 144 | 8206 | 183 | 7690 | 152 | 20304 | 601 | 22308 | 740 | 22654 | 604 | 40064 | 938 |
| 1,1-Dichloroethene | 6031 | 379 | 5468 | 303 | 4629 | 206 | 27124 | 2815 | 21791 | 1625 | 20821 | 1097 | 38535 | 3541 |
| Dichloromethane | 2626 | 254 | 2944 | 313 | 2103 | 266 | 10602 | 1231 | 13227 | 1019 | 9997 | 808 | 23267 | 1195 |
| 3-Chloropropene | 630 | 91 | 529 | 88 | 776 | 109 | 2899 | 519 | 3323 | 332 | 3981 | 468 | 9739 | 1239 |
| 1,1,2-Trichloro-1,2,2-trifluoroethane | 4218 | 90 | 4473 | 149 | 4110 | 111 | 18139 | 571 | 18714 | 537 | 18335 | 382 | 34355 | 610 |
| 1,1-Dichloroethane | 3264 | 100 | 3121 | 206 | 3238 | 163 | 13097 | 737 | 12721 | 336 | 14089 | 566 | 26334 | 356 |
| cis-1,2-Dichloroethene | 4170 | 73 | 4357 | 107 | 4090 | 111 | 15863 | 1624 | 17480 | 396 | 17694 | 534 | 33638 | 556 |
| Trichloromethane | 1685 | 440 | 9296 | 740 | 17615 | 1901 | 3038 | 1467 | 20393 | 2154 | 15028 | 2002 | 25969 | 2850 |
| 1,2-Dichloroethane | 2363 | 138 | 2396 | 121 | 2474 | 169 | 10441 | 1308 | 10789 | 240 | 11760 | 352 | 22991 | 448 |
| 1,1,1-Trichloroethane | 3015 | 82 | 2558 | 227 | 3119 | 112 | 12747 | 605 | 11215 | 547 | 13952 | 532 | 26610 | 484 |
| Benzene | 20527 | 561 | 26653 | 1329 | 24457 | 1194 | 52755 | 2031 | 53462 | 962 | 58452 | 2504 | 99637 | 1706 |
| Carbon tetrachloride | 3170 | 128 | 2583 | 228 | 3509 | 64 | 13042 | 1413 | 10961 | 948 | 15314 | 333 | 28930 | 1440 |
| 1,2-Dichloropropane | 2455 | 108 | 2361 | 138 | 2417 | 89 | 10129 | 523 | 9496 | 271 | 10696 | 402 | 19795 | 284 |
| Trichloroethene | 7156 | 211 | 6875 | 1050 | 6200 | 94 | 26413 | 2948 | 27174 | 622 | 27104 | 583 | 52682 | 1107 |
| cis-1,3-Dichloropropene | 549 | 56 | 429 | 91 | 739 | 64 | 3065 | 565 | 2375 | 362 | 3995 | 248 | 8116 | 914 |
| trans-1,3-Dichloropropene | 41 | 7 | 42 | 12 | 77 | 13 | 338 | 91 | 272 | 89 | 594 | 91 | 1517 | 412 |
| 1,1,2-Trichloroethane | 1685 | 312 | 2777 | 242 | 2654 | 97 | 7125 | 2585 | 11654 | 1139 | 11761 | 584 | 22970 | 2682 |
| Toluene | 14171 | 312 | 14333 | 500 | 14614 | 616 | 59936 | 1883 | 58212 | 1593 | 59478 | 3068 | 114223 | 1983 |
| Tetrachloroethene | 3074 | 64 | 2961 | 60 | 2930 | 63 | 13115 | 355 | 12606 | 310 | 12950 | 260 | 24531 | 270 |
| Chlorobenzene | 9517 | 174 | 9386 | 210 | 9455 | 168 | 41373 | 1398 | 40646 | 1049 | 39952 | 962 | 79022 | 1390 |
| Ethylbenzene | 11998 | 309 | 12194 | 301 | 12084 | 318 | 55123 | 1733 | 54286 | 1358 | 54364 | 1464 | 108002 | 2042 |
| m,p-Xylene | 21843 | 506 | 21886 | 592 | 22111 | 980 | 104091 | 3220 | 103346 | 2693 | 100227 | 3549 | 204010 | 4381 |
| Styrene | 6488 | 509 | 7878 | 1373 | 8641 | 946 | 31417 | 951 | 30743 | 525 | 32986 | 1721 | 64101 | 3448 |
| o-Xylene | 10577 | 200 | 10709 | 289 | 10770 | 309 | 46550 | 6510 | 50641 | 1020 | 49030 | 2286 | 99444 | 2709 |
| 4-Ethyltoluene | 10690 | 269 | 9008 | 539 | 10939 | 1985 | 38508 | 1380 | 37476 | 2130 | 34466 | 1532 | 68035 | 4184 |
| 1,3,5-Trimethylbenzene | 11259 | 353 | 9910 | 400 | 11779 | 1688 | 45929 | 1248 | 45376 | 1855 | 42384 | 1549 | 86222 | 3242 |
| 1,2,4-Trimethylbenzene | 12019 | 686 | 9489 | 733 | 13481 | 2812 | 36409 | 1712 | 35808 | 3058 | 31598 | 2258 | 61158 | 5381 |
| m-Dichlorobenzene | 5437 | 124 | 4584 | 77 | 5690 | 640 | 22622 | 857 | 21294 | 516 | 20156 | 567 | 40938 | 670 |
| p-Dichlorobenzene | 6235 | 215 | 5048 | 162 | 6965 | 1100 | 23225 | 824 | 21808 | 651 | 20188 | 392 | 40214 | 968 |
| o-Dichlorobenzene | 5013 | 110 | 4375 | 89 | 5377 | 632 | 20497 | 644 | 19412 | 454 | 18818 | 434 | 36828 | 544 |
| 1,2,4-Trichlorobenzene | 10194 | 2053 | 9711 | 1904 | 11209 | 1178 | 18268 | 4605 | 19008 | 4109 | 14220 | 1626 | 20715 | 3380 |
| Hexachlorobutadiene | 1465 | 209 | 1398 | 114 | 2178 | 111 | 5806 | 460 | 5850 | 852 | 7724 | 391 | 13933 | 1820 |

Supplement Table 4.  Linearity of response to a nominal 2 ppbv for different exposure times up to 24 hours at 75% RH and 22 Å 2 ºC.

| Compound Name | 2 ppbv TO-14+Acrolein+1,3-Butadiene; 75% RH |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | 24 Hr Exp Tube 24 Area | 24 Hr Exp Tube 25 Area | 16 Hr Exp Tube 26 Area | 16 Hr Exp Tube 27 Area | 12 Hr Exp Tube 28 Area | 12 Hr Exp Tube 29 Area | 2 Hr Exp Tube 30 Area | 2 Hr Exp Tube 31 Area |
| Dichlorodifluoromethane | 44646 | 43419 | 32375 | 31171 | 24295 | 24507 | 5701 | 5444 |
| 1,2-Dichloro-1,1,2,2-tetrafluoroethane | 59238 | 57397 | 39418 | 38439 | 28470 | 28908 | 5174 | 5061 |
| Chloroethene | 19489 | 18576 | 13942 | 13540 | 10926 | 10572 | 2371 | 2243 |
| 1,3-Butadiene | 20306 | 19569 | 13839 | 13390 | 9684 | 9812 | 2104 | 1857 |
| Chloroethane | 10230 | 10243 | 7392 | 5919 | 4685 | 4765 | 1114 | 1406 |
| Trichlorofluoromethane | 79913 | 77102 | 52542 | 51038 | 37885 | 38178 | 6550 | 6275 |
| 1,1-Dichloroethene | 57878 | 50884 | 34727 | 35073 | 28175 | 27603 | 4294 | 3864 |
| Dichloromethane | 20567 | 20980 | 15505 | 12854 | 8353 | 8917 | 2102 | 2254 |
| 3-Chloropropene | 15121 | 16007 | 10264 | 9188 | 5607 | 6327 | 931 | 1267 |
| 1,1,2-Trichloro-1,2,2-trifluoroethane | 65399 | 63560 | 42945 | 42027 | 31030 | 31136 | 5105 | 4898 |
| 1,1-Dichloroethane | 6580 | 6446 | 4212 | 4021 | 2841 | 2989 | 410 | 434 |
| cis-1,2-Dichloroethene | 45826 | 45516 | 30257 | 29402 | 20966 | 21388 | 3612 | 3516 |
| Trichloromethane | 28605 | 37263 | 23762 | 25129 | 11707 | 12433 | 4681 | 4795 |
| 1,2-Dichloroethane | 46080 | 46619 | 28507 | 27838 | 18484 | 18926 | 2982 | 2927 |
| 1,1,1-Trichloroethane | 59033 | 59432 | 38135 | 37198 | 26156 | 26617 | 3817 | 4067 |
| Benzene | 166853 | 151564 | 128912 | 123065 | 95795 | 102337 | 48447 | 45953 |
| Carbon tetrachloride | 41821 | 42619 | 27699 | 26310 | 18065 | 18454 | 2727 | 2852 |
| 1,2-Dichloropropane | 24130 | 23741 | 15766 | 15256 | 10979 | 11015 | 1648 | 1663 |
| Trichloroethene | 69473 | 67793 | 43889 | 42861 | 32246 | 31710 | 5150 | 4710 |
| cis-1,3-Dichloropropene | 15628 | 18516 | 10524 | 9739 | 5589 | 5589 | 710 | 868 |
| trans-1,3-Dichloropropene | 2551 | 3623 | 1891 | 1611 | 632 | 751 | 82 | 102 |
| 1,1,2-Trichloroethane | 33931 | 37649 | 25173 | 23038 | 14075 | 14784 | 2749 | 2837 |
| Toluene | 162583 | 157036 | 107319 | 103594 | 77391 | 77925 | 14806 | 15705 |
| Tetrachloroethene | 34517 | 33373 | 22200 | 21539 | 15684 | 15857 | 2460 | 2343 |
| Chlorobenzene | 92377 | 89866 | 59519 | 58051 | 42545 | 42816 | 7052 | 6833 |
| Ethylbenzene | 172311 | 164514 | 112193 | 108361 | 80644 | 80931 | 14294 | 13818 |
| m,p-Xylene | 264438 | 251707 | 171140 | 166088 | 123499 | 123439 | 22220 | 20583 |
| Styrene | 84371 | 80712 | 56433 | 55341 | 46465 | 47401 | 10685 | 13075 |
| o-Xylene | 130665 | 124692 | 84563 | 82435 | 61254 | 61186 | 10871 | 10221 |
| 4-Ethyltoluene | 94872 | 86379 | 66568 | 64889 | 50260 | 50687 | 11215 | 8192 |
| 1,3,5-Trimethylbenzene | 93469 | 87873 | 63932 | 62887 | 49781 | 49008 | 9692 | 8570 |
| 1,2,4-Trimethylbenzene | 76217 | 69000 | 57406 | 59174 | 51190 | 47722 | 16696 | 16801 |
| m-Dichlorobenzene | 43338 | 42019 | 28344 | 27644 | 20551 | 20476 | 3488 | 3200 |
| p-Dichlorobenzene | 42764 | 41115 | 28541 | 27762 | 20902 | 20700 | 3692 | 3331 |
| o-Dichlorobenzene | 40310 | 39061 | 26245 | 25765 | 19241 | 19128 | 3231 | 2936 |
| 1,2,4-Trichlorobenzene | 11202 | 26888 | 11168 | 15485 | 19266 | 10529 | 11328 | 11016 |
| Hexachlorobutadiene | 12784 | 13544 | 9273 | 10536 | 7856 | 7237 | 1294 | 984 |

Supplement Table 5.  Comparison of system response to 8 hours of diffusive sampling at 3 ppbv and 24 hours at 1 ppbv (22 _C and 75% RH—six replicates used.

| Compound Name | 8 Hours of 3 ppbv |  | 24 Hours of 1 ppbv |  | % Diff. of Means |
| --- | --- | --- | --- | --- | --- |
|  | Mean Area | Std. Dev. | Mean Area | Std. Dev. |  |
| Dichlorodifluoromethane | 26434 | 826 | 28450 | 1159 | -7 |
| 1,2-Dichloro-1,1,2,2-tetrafluoroethane | 30809 | 886 | 29918 | 1197 | 3 |
| Chloroethene | 9308 | 345 | 6230 | 290 | 40 |
| 1,3-Butadiene | 7751 | 239 | 6701 | 174 | 15 |
| Chloroethane | 4175 | 532 | 3560 | 347 | 16 |
| Trichlorofluoromethane | 33793 | 724 | 41866 | 1253 | -21 |
| 1,1-Dichloroethene | 19980 | 629 | 17189 | 926 | 15 |
| Dichloromethane | 11737 | 1214 | 9910 | 1409 | 17 |
| 3-Chloropropene | 4981 | 632 | 3876 | 377 | 25 |
| 1,1,2-Trichloro-1,2,2-trifluoroethane | 26825 | 779 | 27183 | 729 | -1 |
| 1,1-Dichloroethane | 3068 | 121 | 3120 | 143 | -2 |
| cis-1,2-Dichloroethene | 18769 | 641 | 18183 | 329 | 3 |
| Trichloromethane | 28764 | 4587 | 29628 | 6179 | -3 |
| 1,2-Dichloroethane | 17252 | 833 | 16469 | 810 | 5 |
| 1,1,1-Trichloroethane | 22902 | 919 | 25256 | 726 | -10 |
| Benzene | 87249 | 4899 | 115431 | 6681 | -28 |
| Carbon tetrachloride | 17168 | 316 | 17966 | 520 | -5 |
| 1,2-Dichloropropane | 8383 | 254 | 7612 | 210 | 10 |
| Trichloroethene | 25656 | 1440 | 24884 | 777 | 3 |
| cis-1,3-Dichloropropene | 6581 | 313 | 7167 | 280 | -9 |
| trans-1,3-Dichloropropene | 1043 | 215 | 1255 | 98 | -18 |
| 1,1,2-Trichloroethane | 15982 | 656 | 15312 | 717 | 4 |
| Toluene | 67605 | 2075 | 69802 | 2052 | -3 |
| Tetrachloroethene | 14133 | 410 | 13972 | 424 | 1 |
| Chlorobenzene | 38886 | 1247 | 38264 | 936 | 2 |
| Ethylbenzene | 71120 | 1888 | 71604 | 2390 | -1 |
| m,p-Xylene | 109702 | 3305 | 109353 | 3559 | 0 |
| Styrene | 37022 | 2651 | 35503 | 2593 | 4 |
| o-Xylene | 54324 | 1555 | 54086 | 1606 | 0 |
| 4-Ethyltoluene | 42367 | 3764 | 39201 | 3342 | 8 |
| 1,3,5-Trimethylbenzene | 42727 | 2858 | 38956 | 1946 | 9 |
| 1,2,4-Trimethylbenzene | 37176 | 4205 | 33958 | 2858 | 9 |
| m-Dichlorobenzene | 17166 | 660 | 16038 | 393 | 7 |
| p-Dichlorobenzene | 17359 | 713 | 16150 | 440 | 7 |
| o-Dichlorobenzene | 16002 | 695 | 14962 | 353 | 7 |
| 1,2,4-Trichlorobenzene | 10484 | 2031 | 8806 | 1756 | 17 |
| Hexachlorobutadiene | 6617 | 746 | 5998 | 268 | 10 |