{"text_format":"2","workbook":"xls","n_sheets":4,"sheets":["Table S1","Table S2","Table S3","Table S4"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Table S1","index":0,"n_rows":69,"n_cols":10,"rows_kept":69,"cut":false,"hidden":false,"merged":[[3,2,3,9],[3,1,4,1]],"flags":["formulas_cached_only"]}
[]
[null,"Table S1.  TGM Mass concentrations measured during the Italian field trial"]
[]
[null,"Date","Concentration / ng m-3"]
[null,null,"Instrument 1","Instrument 2","Instrument 3","Instrument 4","Instrument 5","Instrument 6","Instrument 7","Instrument 8"]
[null,"2006-11-06",2.3727826086956525,2.3185498452258115,2.581922260144104,3.06845190241436,1.1142857142857145,0.4265306122448979,1.5714780026417563,0.9715314167960984]
[null,"2006-11-07",2.08125974025974,2.021401208043805,2.0218704778157006,2.7446349829351515,0.9182926829268284,0.32439024390243926,1.4547526828028225,1.0492084754685742]
[null,"2006-11-08",2.0220845070422535,1.8958629124004556,2.0605928191126277,2.5535682593856666,0.8081081081081077,0.8729729729729729,1.4283206154222436,1.201966742520967]
[null,"2006-11-09",2.1736623376623383,1.8993532423208184,2.222015017064847,2.736249317406144,1.028,0.6639999999999996,1.5239667864336768,1.1064845226894038]
[null,"2006-11-10",4.032776315789475,4.37251228668942,4.295929863481227,5.16059180887372,2.173170731707317,1.3780487804878048,4.145238770335492,3.3662778026843427]
[null,"2006-11-11",2.538000000000001,2.501830034129693,2.603622696245733,3.1528039249146764,1.4670731707317066,0.928048780487805,2.0779937752053375,1.8116971908176351]
[null,"2006-11-12",1.9171184210526315,1.7665868600682595,1.9036126279863481,2.308054607508532,1.15,0.7048780487804883,1.3509361575506886,1.0763763655698249]
[null,"2006-11-13",1.9155,1.916001975929585,1.9692054310728593,2.4689181777711826,1.1492753623188419,0.7420289855072466,1.509269820879418,1.2652892868466592]
[null,"2006-11-14",2.22609090909091,"N/A",2.2626087633005425,2.783499723951015,1.3256097560975606,0.8487804878048775,1.663910165477313,1.1813652151872855]
[null,"2006-11-15",2.1276710526315785,1.4461999354303103,2.1500979522184305,2.6472547781569964,1.1743902439024385,0.7524390243902442,1.567165070459877,1.1523946817381043]
[null,"2006-11-16",1.9537631578947368,1.885410409556315,1.924596757679182,2.388663667390629,1.0609756097560978,0.7036585365853655,1.4525460817099576,1.1389167802310325]
[null,"2006-11-17",2.4029436619718316,2.463766650897172,2.26762922254172,3.0025080409556324,1.2947368421052643,0.8118421052631574,1.4279865437922032,1.0890656871695326]
[null,"2006-11-18",2.3512307692307695,2.5509154464384003,2.395904436860068,2.7278104095563136,1.7146341463414636,0.9134146341463402,1.4760484304218053,1.1318352217296803]
[null,"2006-11-19","N/A",2.838881019761213,2.4867291808873735,2.9795467576791808,2.090243902439025,0.8219512195121946,1.5238342920803778,1.1173193176372846]
[null,"2006-11-20",2.6611463414634144,2.4721916286966614,2.264991377761809,2.72369902030594,1.263636363636364,"N/A",1.40849478803964,1.0651759233523255]
[null,"2006-11-21",2.434064935064935,2.2737665529010225,2.228909897610919,2.6407059726962463,1.2512195121951217,"N/A",1.4137688262313273,1.1272654453683626]
[null,"2006-11-22",2.1545921052631574,1.985026791808874,2.03577337883959,2.38554880546075,1.118292682926829,"N/A",1.3355512472080222,1.2524345054105968]
[null,"2006-11-23",2.150135593220339,2.133268029727919,2.0821183990071352,2.4590074775054296,1.14,0.7153846153846164,1.569849076404481,1.3063093485852417]
[null,"2006-11-24",2.2782857142857145,2.275157508532426,2.2294622866894205,2.6175788395904434,1.1756097560975602,0.7170731707317077,1.5455295901988508,1.084759379692412]
[null,"2006-11-25",2.07432894736842,2.0822938566552915,2.0127860068259373,2.348851535836177,1.1012195121951212,0.6573170731707327,1.3929110716918855,0.993413516993588]
[null,"2006-11-26",2.0350657894736837,1.9384597269624566,1.9709308873720153,2.2631180887372007,1.0548780487804887,0.9536585365853666,1.3961078075580424,1.0599398297430995]
[null,"2006-11-27",2.0892597402597395,2.045522802397141,2.0496088632988574,2.442706251939188,1.0721518987341763,"N/A",1.5042119662903337,1.0893101207724334]
[null,"2006-11-28",2.129407894736842,2.0531703071672354,1.8143585324232088,2.486576109215017,1.007228915662651,"N/A",1.4315782205120484,0.986167183395871]
[null,"2006-11-29",2.2886883116883117,2.593512591089382,2.452027730375426,2.7724225552752633,1.1329268292682932,3.489024390243902,1.5576067353461884,0.989832574315547]
[null,"2006-11-30",2.9859253731343283,2.8630275045171643,3.017642720386247,3.504808873720137,1.3085365853658533,0.7963414634146337,1.8176420839150764,1.009041015650791]
[null,"2006-12-01",2.2692894736842106,2.0809761092150163,2.461665554105602,2.873921918557696,1.1474358974358971,0.8128205128205129,1.803620981073798,1.033332137725442]
[null,"2006-12-02",2.186519480519481,2.03708447098976,2.332566040955632,2.750458361774744,1.0841463414634143,0.6853658536585372,1.7885905724591245,1.01424278973274]
[null,"2006-12-03",2.0896184210526325,1.9805505546075082,2.228623720136519,2.641251706484641,1.0317073170731714,0.6560975609756103,1.622907984292278,0.8865611380582896]
[null,"2006-12-04",2.0481052631578947,2.170224985881602,2.2097334691973374,2.6437771257396805,1.0841463414634145,0.6512195121951215,1.7964333498997898,1.3500027209051582]
[null,"2006-12-05",2.5463733333333325,2.913482314613713,3.196786647110259,3.6949139378286127,1.425609756097561,0.8317073170731709,2.0876558422811797,1.8147502589165385]
[null,"2006-12-06",2.0841052631578947,2.2314988054607507,2.3856353242320814,3.0019730450163196,1.103896103896103,0.6766233766233773,1.63416823515608,1.3898675433785252]
[null,"2006-12-07",1.9418857142857142,2.0608164368600677,2.1595660341296923,2.6989022252559725,1.077027027027027,0.6513513513513519,1.5530250767630502,1.0864615974824]
[null,"2006-12-08",1.9619605263157895,2.108196245733789,2.1356959044368606,2.7139141638225253,1.1,0.6804878048780497,1.4708318653114134,0.8813626634306765]
[null,"2006-12-09",1.783805194805195,1.8592750853242321,1.9388723549488052,2.4321824232081917,1.004878048780487,0.6085365853658546,1.4730197228458,0.9905915966728992]
[null,"2006-12-10",2.0313947368421057,2.1650457337883946,2.1623836177474387,2.7115981228668935,1.1585365853658525,0.6695121951219518,1.628184345494678,1.0388966827553283]
[null,"2006-12-11",1.9888400000000002,2.3650727281655914,2.231264050875341,2.7950915296307786,1.1756097560975614,0.703658536585366,1.6102526887603266,0.9494747203100241]
[null,"2006-12-12",1.7982763157894741,2.2305670648464164,2.1090947098976103,2.636153754266212,1.1658536585365848,1.129268292682927,1.6484720455332744,1.0531325518477632]
[null,"2006-12-13",1.974694444444444,1.9166850735921503,1.9335219176621175,2.3976379319539256,1.069333333333333,"N/A",1.6492050569397656,1.1383001085296596]
[null,"2006-12-14",2.482519480519481,2.6029039249146755,2.4146257679180887,2.9855032423208177,1.1703703703703698,"N/A",2.601164694031,1.992425122314105]
[null,"2006-12-15",2.3191052631578954,2.061343003412969,2.0404601820250283,2.521436518771329,1.0371794871794873,"N/A",1.573757626869401,1.1186447311846002]
[null,"2006-12-16",2.3651447368421055,2.139389590443685,2.0517793515358362,2.5543602389078504,1.0158536585365856,"N/A",1.4678432456560795,0.9776541744404004]
[null,"2006-12-17",2.2760129870129866,2.0814686006825927,2.003874573378839,2.4869687713310595,1.0219512195121945,"N/A",1.4498862047248526,0.9725150527462219]
[null,"2006-12-18",2.298184210526315,2.119052986961966,2.0330982394971384,2.4733557345250072,1.0195121951219506,"N/A",1.4819155108430735,0.9609572421971534]
[null,"2006-12-19",2.363967213114754,2.1358417988355742,2.09800121208255,4.260649548658735,1.1171875,"N/A",1.5563331983241813,0.951863838541059]
[null,"2006-12-20",2.284697368421052,2.335810011376565,2.06060409556314,3.4093621132203205,1.15301204819277,"N/A",1.7729005819184105,1.2075012728897951]
[null,"2006-12-21",2.7142337662337663,3.4573100682593862,2.8829119453924914,3.579068600682595,1.4346153846153848,"N/A",3.2896480558419365,2.620883675716802]
[null,"2006-12-22",4.604578947368422,6.015996245733787,4.777664630860427,6.029694775914897,2.38375,7.29625,5.329608152405955,4.363573751624035]
[null,"2006-12-23",2.408631578947368,2.6614305460750853,2.4771522184300343,3.054105972696248,1.1804878048780498,4.158536585365853,2.50128973775645,1.9849843894781536]
[null,"2006-12-24",2.222103896103897,2.2296885665529014,2.2458276450511945,2.748335324232081,1.1195121951219515,2.5280487804878042,2.4012019548671555,1.9292577498782164]
[null,"2006-12-25",2.169407894736842,2.1613387372013646,2.139662457337883,2.6126073378839587,0.9743902439024391,2.264634146341462,2.159435809522337,1.6913831662619383]
[null,"2006-12-26",2.0540394736842096,1.9411817406143357,1.959982935153584,2.3921774744027298,1.0085365853658534,1.7146341463414654,1.8635156875734125,1.433695010179526]
[null,"2006-12-27",3.5266027397260276,1.9132831201313072,1.9303282006508458,2.262165870307166,0.9493506493506495,1.1402597402597392,1.588724404199173,1.1510278416705695]
[null,"2006-12-28",3.690666666666666,1.924806701830594,1.94189385665529,2.2776465870307163,0.9204819277108435,1.471084337349397,1.6109753995892138,1.0887301632050397]
[null,"2006-12-29",2.434388888888889,2.406539590443686,2.3207728668941985,2.716942320819113,1.1285714285714281,1.5597402597402596,1.8589707639306416,1.1093088559486117]
[null,"2006-12-30",2.2432077922077918,2.047067406143345,2.029823549488056,2.4046029010238907,1.0060975609756098,1.0451219512195125,1.727466842222771,1.1002080379612778]
[null,"2006-12-31",2.165526315789474,1.9421267918088736,1.957500511945392,2.2963146757679187,0.8865853658536579,0.8560975609756096,1.6846347932892127,1.1194058803847695]
[null,"2007-01-01",2.169631578947368,1.8509293515358356,1.984514334470989,2.3227827645051193,0.9585365853658536,0.8219512195121954,1.7738698669311834,1.1497936328669591]
[null,"2007-01-02",2.530746666666667,2.357443865636789,2.446463624932638,2.876598527034308,1.14625,0.785,2.6346927469732733,1.9437043304619142]
[null,"2007-01-03",2.0784799999999994,1.977652730375426,1.899865699658703,2.2713040955631403,1.040243902439024,0.6024390243902444,1.795224832865275,1.3195392482375845]
[null,"2007-01-04",2.1938947368421053,2.070560580204778,1.9236317406143353,2.30569457555733,1.0524390243902435,0.7268292682926832,1.701103484571561,1.0790310162613779]
[null,"2007-01-05",2.440617647058825,2.5466585023087744,2.3199879276788997,2.8022136245733784,1.5253521126760563,1.03943661971831,2.409610026725843,1.7516258714575061]
[null,"2007-01-06",2.055142857142858,1.9368158703071674,1.8635278156996582,2.225688737201365,1.4853658536585375,1.3182926829268293,1.4099193224137259,"N/A"]
[null,"2007-01-07",1.97375,1.8438813993174077,1.7880701365187708,2.0586209897610925,1.4512195121951232,1.7634146341463417,1.3955496441474249,"N/A"]
[null,"2007-01-08",1.834793103448276,1.787096416382253,1.6352047781569967,1.9287030716723546,1.424137931034482,1.7633333333333334,1.3647054065300368,"N/A"]

{"sheet":"Table S2","index":1,"n_rows":84,"n_cols":9,"rows_kept":84,"cut":false,"hidden":false,"merged":[[3,2,3,8],[3,1,4,1]],"flags":["formulas_cached_only"]}
[]
[null,"Table S2.  TGM Mass concentrations measured during the Spanish field trial"]
[]
[null,"Date","Concentration / ng m-3"]
[null,null,"Instrument 1","Instrument 2","Instrument 3","Instrument 4","Instrument 5","Instrument 6","Instrument 7"]
[null,"2007-02-27","N/A",5.74138566552901,4.804054607508532,4.62,3.26,3.4992553044226256,"N/A"]
[null,"2007-02-28","N/A",3.964556313993174,6.034883959044369,4.32,3.1,3.2776799617212853,"N/A"]
[null,"2007-03-01","N/A",3.8266587030716726,5.755361774744027,3.99,2.87,3.025550733896571,"N/A"]
[null,"2007-03-02","N/A",3.5378191126279868,5.322102389078498,3.75,2.56,2.921809023949721,"N/A"]
[null,"2007-03-03","N/A",3.750255972696246,5.792631399317406,4.08,2.76,3.109307564114143,"N/A"]
[null,"2007-03-04","N/A",5.591375426621161,8.117324232081911,6.08,4.24,4.784482267200867,"N/A"]
[null,"2007-03-05","N/A",3.0179078498293515,4.460242320819113,3.73,2.45,2.396004365747515,"N/A"]
[null,"2007-03-06","N/A",4.1099078498293515,6.333040955631399,3.96,2.65,2.418048847406666,2.0049655026413604]
[null,"2007-03-07","N/A",7.259191126279864,4.547825938566554,3.09,2.4,2.107800344614611,5.173691754963136]
[null,"2007-03-08",3.15,5.357508532423208,3.6375153583617745,2.73,1.63,2.237924834675799,2.7296661660619614]
[null,"2007-03-09",3.77,3.4036484641638225,5.198180887372014,3.57,2.19,2.9675981986986306,3.048806122379235]
[null,"2007-03-10",3.84,3.4688703071672355,5.4525460750853245,3.55,2.3,3.0337182304590105,2.9352730693381552]
[null,"2007-03-11",3.97,3.9421945392491464,6.08519795221843,4.18,2.79,3.5530359413136217,3.4463442104979722]
[null,"2007-03-12",5.085,5.665914675767918,8.283174061433447,6.4,4.42,5.436575831118451,5.234472640370552]
[null,"2007-03-13",6.259,4.627023890784983,6.875313993174061,4.86,2.91,4.405162848553863,4.236239267449731]
[null,"2007-03-14",3.986,3.400853242320819,5.015559726962457,3.99,2.39,3.4391627290661617,3.388586806579895]
[null,"2007-03-15",4.725,4.206808873720136,6.128058020477815,4.94,3.01,4.329298964824463,4.117891608831866]
[null,"2007-03-16",6.02,5.613737201365188,7.903023890784982,6.91,5.04,5.919340776344471,5.688638264035661]
[null,"2007-03-17",7.1,5.105938566552902,9.281068259385666,7.87,5.14,7.0867984091173,6.7334680041043296]
[null,"2007-03-18",3.983,3.112013651877133,4.3297986348122866,3.89,2.51,3.2809251894061577,3.1517072127156998]
[null,"2007-03-19",2.6,2.122505119453925,2.8501945392491472,2.75,1.52,2.335761328529115,2.2667040370769507]
[null,"2007-03-20",1.832,1.9566552901023893,2.5762627986348123,2.24,1.29,2.1559689470627035,2.090883092057037]
[null,"2007-03-21",1.765,1.8867747440273035,2.488679180887372,2.15,1.24,2.117465621406532,2.0930333257749183]
[null,"2007-03-22",2.089,2.0367849829351536,2.7048430034129693,2.41,1.39,2.254567805682312,2.1797525511439755]
[null,"2007-03-23",2.64,2.2622662116040955,3.0402696245733787,2.7,1.52,2.505509745103433,2.419287749826594]
[null,"2007-03-24",2.803,2.195180887372014,2.9470955631399316,2.63,1.5,2.4977961838233216,2.4070599142885154]
[null,"2007-03-25",2.611,2.105733788395904,2.7691331058020476,2.42,1.4,2.408689699382003,2.2923377393271096]
[null,"2007-03-26",4.629,5.868102389078499,6.278068259385666,5.08,3.48,4.3755285070868375,4.13528336709492]
[null,"2007-03-27",2.918,3.8844266211604093,4.617706484641638,4.12,2.66,3.5884192713013463,3.4874949792959957]
[null,"2007-03-28",2.826,2.681549488054608,3.7353481228668945,"N/A","N/A",2.8341490211855866,2.8606554508801283]
[null,"2007-03-29","N/A",2.8380819112627984,4.054935153583617,"N/A","N/A",2.617273419389022,2.745093749173137]
[null,"2007-03-30","N/A",1.9454744027303754,3.6552184300341297,"N/A","N/A",2.488656343987752,2.5372154921631225]
[null,"2007-03-31","N/A","N/A",4.327935153583617,"N/A","N/A",2.7979694676725044,2.7633763906176445]
[null,"2007-04-01","N/A",2.323761092150171,4.404337883959045,"N/A","N/A",3.0268555176328187,2.9777713741036376]
[null,"2007-04-02","N/A",3.5713617747440276,5.746044368600682,"N/A","N/A",4.05906494358201,3.9907339508131674]
[null,"2007-04-03","N/A",2.7980170648464164,4.384771331058021,"N/A","N/A",3.1014384380528472,5.25719236876499]
[null,"2007-04-04",1.546,2.609805460750853,3.607699658703072,"N/A","N/A",2.5450053847998766,2.995980338986415]
[null,"2007-04-05",1.579,"N/A","N/A","N/A","N/A",2.4579989392305475,2.493696019260866]
[null,"2007-04-06",2.92,"N/A","N/A","N/A","N/A",4.616204769155425,4.565253281637154]
[null,"2007-04-07",1.747,"N/A","N/A","N/A","N/A",2.7556218710377878,2.750537697843991]
[null,"2007-04-08",1.655,"N/A","N/A","N/A","N/A",2.652827253165934,2.653843662075193]
[null,"2007-04-09",2.1,4.254327645051195,5.5792627986348124,"N/A","N/A",3.7683010299318105,3.7255257209433954]
[null,"2007-04-10","N/A",4.248737201365187,5.5606279863481225,"N/A","N/A",4.110963775995751,4.074331425516581]
[null,"2007-04-11","N/A",4.443470989761092,4.994129692832765,"N/A","N/A",3.3614543604367526,3.4419255405805416]
[null,"2007-04-12",2.258,4.032573378839591,5.56621843003413,"N/A","N/A",3.5775452803033274,3.5286215841624275]
[null,"2007-04-13",2.514,4.968972696245734,6.394535836177475,"N/A","N/A",4.045428440611407,3.9793598856767987]
[null,"2007-04-14",1.79,1.0230511945392493,4.159290102389079,"N/A","N/A",2.7891189211672485,2.764777519673425]
[null,"2007-04-15",2.125,"N/A",5.043511945392492,"N/A","N/A",3.372998119862533,3.329311698430579]
[null,"2007-04-16",2.013,2.7859044368600685,4.839460750853243,"N/A","N/A",3.2537410487290823,3.223237226397247]
[null,"2007-04-17",1.352,"N/A",3.5191843003412973,"N/A","N/A",2.4692354950784656,2.481479638029268]
[null,"2007-04-18","N/A",1.891433447098976,3.950580204778157,"N/A","N/A",2.7226325581086064,2.7093762947170665]
[null,"2007-04-19","N/A","N/A",6.473733788395904,3.24,2.83,4.765677528236172,4.772805678385244]
[null,"2007-04-20",2.107,3.5872013651877133,4.4658327645051195,3.46,2.67,3.142883517734295,3.3071706107067693]
[null,"2007-04-21",2.109,3.113877133105802,4.254327645051195,3.05,2.26,3.0375586880034495,3.1333742976250347]
[null,"2007-04-22",3.574,5.956617747440273,7.855505119453923,5.07,3.83,5.8131635718085715,5.901580570190975]
[null,"2007-04-23",4.576,8.300877133105802,9.380764505119453,6.42,4.72,6.831120392399672,6.911188420737887]
[null,"2007-04-24",2.595,"N/A",5.021150170648465,3.27,2.32,3.8760747584483517,3.96130781596397]
[null,"2007-04-25",2.62,"N/A",4.087546075085323,2.9,1.99,3.046716254755706,3.208732269640708]
[null,"2007-04-26",1.887,"N/A",2.762610921501706,1.58,1.21,2.2138833261869353,2.278157358237524]
[null,"2007-04-27",1.514,3.5769522184300344,2.7840409556313994,1.17,1.05,2.158703390815282,2.880647119158695]
[null,"2007-04-28",1.48,2.4719078498293516,3.1176040955631397,1.2,1.57,2.1639155588197814,4.765693843391359]
[null,"2007-04-29","N/A",2.339600682593857,3.001136518771331,1.28,1.49,2.1919035104730358,4.628366625586812]
[null,"2007-04-30","N/A",2.77379180887372,3.4763242320819114,2.05,3.4,3.2107959177473755,"N/A"]
[null,"2007-05-01","N/A",2.268788395904437,2.733726962457338,1.58,2.72,2.235364246532983,"N/A"]
[null,"2007-05-02","N/A",2.314443686006826,2.6796860068259387,2.25,2.3,2.1134352876311837,4.367088877999437]
[null,"2007-05-03","N/A",2.634962457337884,4.1704709897610925,2.47,3.86,3.312403383498874,"N/A"]
[null,"2007-05-04",2.205,2.4877474402730373,4.634477815699658,2.14,1.84,3.4343323424006735,"N/A"]
[null,"2007-05-05",2.379,2.907962457337884,4.750013651877133,2.13,1.6,3.637547273903672,2.9527129547385673]
[null,"2007-05-06",2.306,3.0057952218430035,5.0174232081911265,1.94,1.45,3.8204407122563704,2.874475206109913]
[null,"2007-05-07",2.134,2.962003412969283,4.625160409556314,1.7,1.32,3.4952968218515728,2.7698195163858688]
[null,"2007-05-08",3.918,5.683617747440273,7.252668941979523,4.64,3.05,5.639214349208206,4.637364736898424]
[null,"2007-05-09",4.823,7.145518771331057,8.169501706484642,3.8,2.86,6.4520740752201995,5.15556281223107]
[null,"2007-05-10",5.342,"N/A",6.272477815699658,3.91,2.85,5.425838671130058,4.4554873732032405]
[null,"2007-05-11",3.047,"N/A",3.691556313993174,2.1,1.49,3.2311174108976752,2.5472991663900855]
[null,"2007-05-12",4.123,"N/A",4.89536518771331,3.43,2.49,4.389442520464766,3.671077737601667]
[null,"2007-05-13",2.764,"N/A",3.108286689419795,2.17,1.66,2.8754912807674278,2.2851519047512174]
[null,"2007-05-14",2.3,"N/A",2.552969283276451,0.9,0.78,2.215042753382683,2.0443422109201643]
[null,"2007-05-15",5.348,"N/A",6.025566552901024,2.97,2.53,5.303909712228259,4.938122835522862]
[null,"2007-05-16",8.235,"N/A",10.419655290102389,5.81,4.52,7.925382328616939,7.197872873836204]

{"sheet":"Table S3","index":2,"n_rows":62,"n_cols":10,"rows_kept":62,"cut":false,"hidden":false,"merged":[[3,2,3,9],[3,1,4,1]],"flags":["formulas_cached_only"]}
[]
[null,"Table S3.  TGM Mass concentrations measured during the Swedish field trial"]
[]
[null,"Date","Concentration / ng m-3"]
[null,null,"Instrument 1","Instrument 2","Instrument 3","Instrument 4","Instrument 5","Instrument 6","Instrument 7","Instrument 8"]
[null,"2007-06-11",1.06,1.715,1.606,1.34,0.717,1.073,1.42,"N/A"]
[null,"2007-06-12",1.366,1.814,1.673,1.572,0.885,1.286,1.721,"N/A"]
[null,"2007-06-13",1.511,1.817,1.763,1.707,1.113,1.418,1.829,"N/A"]
[null,"2007-06-14",1.633,2.018,2.136,2.095,1.48,1.774,1.554,1.673]
[null,"2007-06-15",1.334,1.606,1.545,1.429,1.085,1.327,1.353,1.473]
[null,"2007-06-16",1.307,1.612,"N/A",1.354,1.198,1.435,1.297,1.406]
[null,"2007-06-17",1.177,1.464,"N/A",1.348,1.146,1.391,1.352,1.39]
[null,"2007-06-18",1.067,1.362,"N/A",1.253,1.024,1.233,1.357,1.32]
[null,"2007-06-19",1.059,1.243,1.228,1.218,0.995,1.171,1.414,1.296]
[null,"2007-06-20",1.3,1.729,1.723,1.65,1.216,1.426,1.9,1.767]
[null,"2007-06-21",1.485,1.845,1.569,1.486,1.035,1.368,1.949,1.686]
[null,"2007-06-22",1.653,1.978,1.615,1.46,1.157,1.489,2.025,1.791]
[null,"2007-06-23",1.404,1.739,1.483,1.353,0.977,1.26,1.847,1.581]
[null,"2007-06-24","N/A","N/A","N/A","N/A",0.798,1.082,1.831,1.594]
[null,"2007-06-25","N/A","N/A","N/A","N/A",0.879,1.168,1.812,1.529]
[null,"2007-06-26",1.083,1.371,1.247,1.213,0.781,1.159,1.852,1.569]
[null,"2007-06-27",1.338,1.551,1.368,1.387,1.486,1.539,1.816,1.496]
[null,"2007-06-28",1.95,2.238,1.709,1.749,"N/A",2.172,2.177,1.929]
[null,"2007-06-29",1.684,2.059,1.674,1.717,"N/A",2.095,2.144,1.64]
[null,"2007-06-30",1.181,1.366,1.245,1.302,"N/A",1.651,1.727,1.095]
[null,"2007-07-01",1.024,1.212,1.142,1.183,"N/A",1.54,1.507,0.982]
[null,"2007-07-02",1.132,1.229,1.207,1.249,"N/A",1.596,1.613,1.015]
[null,"2007-07-03",1.258,1.321,1.318,1.343,1.767,1.653,1.632,1.215]
[null,"2007-07-04",1.363,1.347,1.56,1.36,1.705,1.646,1.236,1.477]
[null,"2007-07-05",1.298,1.298,1.45,1.393,1.79,1.673,1.188,1.433]
[null,"2007-07-06",1.162,1.129,1.459,1.344,1.651,1.542,1.297,1.525]
[null,"2007-07-07",1.363,1.327,1.843,1.763,2.004,1.882,1.776,2.129]
[null,"2007-07-08",1.449,1.43,1.987,1.927,2.13,2.027,1.965,2.274]
[null,"2007-07-09",1.645,1.485,1.763,1.72,1.873,1.824,1.743,2.041]
[null,"2007-07-10",1.689,1.519,1.621,1.573,1.695,1.656,1.642,1.827]
[null,"2007-07-11",1.854,1.741,1.652,1.62,1.756,1.716,1.705,1.876]
[null,"2007-07-12",1.489,1.614,1.47,1.435,1.533,1.537,1.5,1.721]
[null,"2007-07-13",1.362,1.492,1.469,1.451,1.478,1.519,1.584,1.722]
[null,"2007-07-14",1.386,1.487,1.512,1.508,1.57,1.584,1.711,1.874]
[null,"2007-07-15",1.124,1.382,1.388,1.406,1.156,1.274,1.527,1.854]
[null,"2007-07-16",1.26,1.394,1.321,1.325,1.179,1.271,1.48,1.788]
[null,"2007-07-17",1.556,1.665,1.423,1.433,1.285,1.396,1.618,2.008]
[null,"2007-07-18",1.704,1.915,1.481,1.508,1.105,1.376,1.704,2.11]
[null,"2007-07-19",1.445,1.728,1.432,1.487,0.878,1.073,1.658,1.948]
[null,"2007-07-20",1.188,1.462,1.295,1.34,0.915,1.115,1.491,1.683]
[null,"2007-07-21",1.114,1.371,1.276,1.295,1.072,1.265,1.396,1.602]
[null,"2007-07-22",1.04,1.255,1.17,1.184,1.022,1.204,1.314,1.527]
[null,"2007-07-23",1.298,1.43,1.355,1.323,1.107,1.306,1.442,1.687]
[null,"2007-07-24",1.267,1.322,1.306,1.177,0.97,1.172,1.277,1.501]
[null,"2007-07-25",1.3,1.39,1.451,1.315,0.985,1.151,1.377,1.662]
[null,"2007-07-26",1.457,1.597,1.655,1.514,1.033,1.24,1.558,1.912]
[null,"2007-07-27",1.44,1.587,1.641,1.53,0.896,1.109,1.561,1.993]
[null,"2007-07-28","N/A",1.504,"N/A","N/A",1.001,1.169,1.583,1.895]
[null,"2007-07-29","N/A",1.527,"N/A","N/A",0.877,1.135,1.558,1.812]
[null,"2007-07-30",1.213,"N/A",1.378,1.332,1.063,1.189,1.453,1.628]
[null,"2007-07-31",1.123,1.416,1.489,1.426,"N/A",1.259,1.411,1.639]
[null,"2007-08-01",1.163,1.394,1.559,1.506,"N/A",1.261,1.498,1.63]
[null,"2007-08-02",1.13,1.455,1.581,1.506,"N/A",1.21,1.555,1.702]
[null,"2007-08-03",1.068,1.411,1.501,1.414,"N/A",0.99,1.459,1.632]
[null,"2007-08-04",1.121,1.445,1.441,1.344,"N/A",1.101,1.393,1.553]
[null,"2007-08-05",1.118,1.522,1.397,1.327,"N/A",1.137,1.384,1.618]
[null,"2007-08-06",1.087,1.552,1.332,1.242,"N/A",0.929,1.3,1.557]

{"sheet":"Table S4","index":3,"n_rows":68,"n_cols":10,"rows_kept":68,"cut":false,"hidden":false,"merged":[[3,2,3,9],[3,1,4,1]],"flags":["formulas_cached_only"]}
[]
[null,"Table S4.  TGM Mass concentrations measured during the Belgian field trial"]
[]
[null,"Date","Concentration / ng m-3"]
[null,null,"Instrument 1","Instrument 2","Instrument 3","Instrument 4","Instrument 5","Instrument 6","Instrument 7","Instrument 8"]
[null,"2007-09-21",3.582,4.5,"N/A",4.099658703071673,"N/A",5.8,3.1181267038220466,6.566259971174799]
[null,"2007-09-22",45.6,55.4,"N/A",41.36928327645051,"N/A",46.1,41.670219738080874,41.249965839214106]
[null,"2007-09-23",56.7,76.1,"N/A",51.52525597269624,"N/A",90.7,47.41309945088919,46.89692515381226]
[null,"2007-09-24",4.5,5.4,"N/A",4.19283276450512,4.8,4.8,3.594840951138529,9.66102182872121]
[null,"2007-09-25",3.4,4,"N/A",2.88839590443686,3.8,3.4,3.390108643416657,9.299539246362686]
[null,"2007-09-26",2.9,3.5,"N/A",2.4225255972696247,3.7,3.4,2.216984184516002,5.938521764291009]
[null,"2007-09-27",4.4,5.1,3.0747440273037543,3.633788395904437,5.2,4.5,2.155968129759139,2.378829795346411]
[null,"2007-09-28",54.8,72.7,43.97815699658703,47.23924914675768,50.6,44.8,41.27995686852858,37.25405128818729]
[null,"2007-09-29",3.7,5.3,3.167918088737201,3.2610921501706485,5.6,5.5,1.6282531355895034,1.914848224317634]
[null,"2007-09-30",22,31,17.516723549488056,18.541638225255973,20.7,18.3,18.54736327156737,16.213651402068724]
[null,"2007-10-01",39.7,46.4,34.753924914675764,40.06484641638225,50.7,45.6,34.676587939018525,31.69082482702331]
[null,"2007-10-02","N/A","N/A",51.61843003412969,62.42662116040955,59,53.8,45.0766424313836,40.55219848288415]
[null,"2007-10-03","N/A","N/A",36.89692832764506,44.909897610921504,62,60.5,32.16741906063385,29.487559338012375]
[null,"2007-10-04","N/A","N/A",4.845051194539249,5.404095563139931,6.9,6.9,2.323373876009205,2.501217232346192]
[null,"2007-10-05",24.5,"N/A",39.598976109215016,47.51877133105802,39.4,37.4,33.87699606480782,31.067280179545044]
[null,"2007-10-06",35.8,"N/A",50.87303754266212,61.02901023890785,58.6,54.1,45.83490418473827,42.51186887563153]
[null,"2007-10-07",63.6,"N/A",78.63890784982935,96.99419795221843,110.8,100.7,72.61660866854412,66.55260981742039]
[null,"2007-10-08",18.1,"N/A",22.268600682593856,27.113651877133105,32.1,29.1,18.633159391233605,17.10009952667558]
[null,"2007-10-09",77.1,"N/A",92.14914675767918,113.02013651877134,131.2,119.5,86.43366129909326,77.86093841688506]
[null,"2007-10-10",61.4,"N/A",69.13515358361775,83.57713310580206,75.6,68.2,60.07989904168124,55.91039067439243]
[null,"2007-10-11",5.2,"N/A",6.335836177474402,7.547098976109214,10.9,11.14,3.916810990023428,4.0446321687261415]
[null,"2007-10-12",4.2,"N/A",4.751877133105802,5.683617747440273,8.1,8.39,2.960405644425136,3.218479660794247]
[null,"2007-10-13",129.1,"N/A",91.03105802047783,110.69078498293514,90.8,81.71,84.96257462257472,75.99726357493284]
[null,"2007-10-14",248,"N/A",233.68054607508535,287.0692832764505,290.6,264.1,216.7752078917282,193.27896301176844]
[null,"2007-10-15",27.4,"N/A",18.914334470989765,23.10716723549488,25.7,23.34,16.961656307489296,15.766587759457153]
[null,"2007-10-16",4.2,2.7,3.726962457337884,4.379180887372014,4.3,3.72,2.532338679295785,2.7352242939006643]
[null,"2007-10-17",4.6,3.6,4.006484641638225,4.658703071672355,4.62,4.1,2.680047993601434,2.864608991386942]
[null,"2007-10-18",2.4,2,2.23617747440273,2.608873720136519,2.61,2.32,1.2399350684265953,1.4825881963790009]
[null,"2007-10-19",4,3.2,3.4474402730375426,4.099658703071673,4.76,4.72,2.229871801081511,2.4338362656540653]
[null,"2007-10-20",40.7,28.8,31.213310580204777,38.01501706484642,36.34,33.78,27.872637542895948,25.164994516034163]
[null,"2007-10-21",8.2,5.7,5.77679180887372,6.801706484641638,7.34,7,4.617559896126691,4.478468662192947]
[null,"2007-10-22",216.5,128.3,141.81092150170647,168.64505119453923,172.33,164.1,120.9964198554657,127.42140532517945]
[null,"2007-10-23",46.6,51.1,59.817747440273045,61.40170648464164,60.35,57.41,45.80910745270988,"N/A"]
[null,"2007-10-24",72.8,63.8,72.30307167235495,79.38430034129694,62.63,57.6,51.33404234446934,"N/A"]
[null,"2007-10-25",57.2,54.7,61.960750853242324,67.17849829351536,73.63,73.45,46.64422381152796,"N/A"]
[null,"2007-10-26",67.1,61.8,65.22184300341297,73.51433447098977,61.77,59.73,"N/A","N/A"]
[null,"2007-10-27",2.5,3.6,"N/A",3.9133105802047785,4.12,3.71,"N/A","N/A"]
[null,"2007-10-28",2.4,3.3,"N/A",3.5406143344709893,3.35,2.97,"N/A","N/A"]
[null,"2007-10-29",3.1,4.2,"N/A",4.006484641638225,4.59,4.54,"N/A","N/A"]
[null,"2007-10-30",3,4.1,"N/A",3.820136518771331,4.17,4.1154,"N/A","N/A"]
[null,"2007-10-31",7.3,8.9,"N/A",9.224232081911264,13.63,14.9,"N/A","N/A"]
[null,"2007-11-01",3.9,5.7,"N/A",5.124573378839591,6.22,6.48,"N/A","N/A"]
[null,"2007-11-02",2.8,4.2,"N/A",3.633788395904437,4.08,4.15,"N/A","N/A"]
[null,"2007-11-03",2.7,4.4,"N/A",3.5406143344709893,3.58,3.54,"N/A","N/A"]
[null,"2007-11-04",7.9,8.5,"N/A",9.31740614334471,7.81,8.05,"N/A","N/A"]
[null,"2007-11-05",8.6,10.1,"N/A",9.503754266211605,10.27,10.61,"N/A","N/A"]
[null,"2007-11-06",2.2,5.1,2.3293515358361776,2.7020477815699655,2.52,2.44,"N/A",2.2248091603307882]
[null,"2007-11-07",2.3,3.4,2.143003412969283,2.5156996587030718,2.28,2.06,1.7343410650188429,1.7503405895365742]
[null,"2007-11-08",2.3,2.1,2.23617747440273,2.5156996587030718,2.25,2.05,1.6041351507879573,1.850249942614449]
[null,"2007-11-09",2.3,2.1,2.143003412969283,2.5156996587030718,2.54,2.476,1.587408540976094,1.8002419784969421]
[null,"2007-11-10",2.8,2.4,2.5156996587030718,2.88839590443686,2.85,2.62,1.843146265585175,2.3308529523641734]
[null,"2007-11-11",2.3,2,2.0498293515358363,2.4225255972696247,2.32,2.1,1.39478720369231,1.7620266860431035]
[null,"2007-11-12",2.2,1.9,2.143003412969283,2.5156996587030718,2.3,2.14,1.418420120167619,1.910568558834667]
[null,"2007-11-13",1.8,1.8,2.3293515358361776,2.795221843003413,2.52,2.41,1.6057076160011337,1.9307058540438249]
[null,"2007-11-14",2.5,2.6,3.167918088737201,3.820136518771331,3.9,4.02,2.313233909377773,2.8374771932895126]
[null,"2007-11-15",4,4.1,4.938225255972696,5.77679180887372,6.1,6.44,3.841889388039043,4.147673798405448]
[null,"2007-11-16",3.9,3.9,4.379180887372014,5.310921501706485,7.39,8.7,3.3867544235473925,3.819075689606439]
[null,"2007-11-17",4.7,4.6,4.751877133105802,5.77679180887372,8.12,9.51,3.7997652314140278,4.2490353700769585]
[null,"2007-11-18",78.8,58.4,61.77440273037542,74.81877133105802,72.66,72.98,57.38166683535449,56.00186291813269]
[null,"2007-11-19",117.1,81,86.4655290102389,103.98225255972696,91.9,86.94,81.20750465667987,75.61904501204206]
[null,"2007-11-20",158.2,105.4,110.59761092150171,133.33208191126278,119.78,113.55,105.09443192776182,102.25030733653792]
[null,"2007-11-21",92,61.4,71.74402730375427,86.4655290102389,71.9,65.64,82.94702058739495,82.58653432183061]
[null,"2007-11-22",90,58.6,55.71808873720136,59.25870307167235,54.58,53.29,57.65909361067034,55.998179437456535]