# This journal © The Royal Society of Chemistry 2007

# Electronic supplementary material

# The x value for the standard addition curve, calculated as the mass of the spiked analyte per mass of sample, is listed in the third column of Table 2.  The y value for the standard addition curve, calculated as the Be/Y intensity ratio multiplied by mass of internal standard per mass of sample is listed in the fourth column of Table 2.

# Table 2.  Internal standard adjusted spike concentration and Be emission intensity

| Identification | Sample (bottle #) | X (adjusted spike, μg/g) | Y (adjusted intensity) |
| --- | --- | --- | --- |
| S0 - 1 | SRM 699, 1 | 0 | 0.1552 |
| S0 - 2 | SRM 699, 1 | 0 | 0.1519 |
| S1 | SRM 699, 2 | 2.373 | 0.2861 |
| S2 | SRM 699, 3 | 4.044 | 0.3815 |
| S3 | SRM 699, 4 | 6.089 | 0.4992 |
| S4 | SRM 699, 5 | 8.585 | 0.6145 |
| S5 | SRM 699, 6 | 9.562 | 0.6713 |
| Control1 | ST1-5000A | 0 | 0.5590 |
| Control2 | ST1-5000A | 0 | 0.5726 |

# Table 3. Definition of terms and the value for each term in equations 1 and 2.

| Term | Definition | XL Function* | Value |
| --- | --- | --- | --- |
| N | Number of observations | COUNT | 7 |
| m | Slope of the standard addition curve (from linear regression) | LINEST | 0.05414 g/μg |
| b | y intercept of the standard addition curve (from linear regression) | LINEST | 0.1571 |
| c | Mass fraction of Be in SRM 699 | LINEST | 2.902 μg/g |
|  | Average of the x values of the data points for the regression curve | AVERAGE | 4.379 μg/g |
|  | Average of the y values of the data points for the regression curve | AVERAGE | 0.3942 |
| sy | Standard uncertainty of y estimate: | LINEST | 0.007514 |
| sb | Standard uncertainty of b estimate | LINEST | 0.004483 |
| sm | Standard uncertainty of m estimate | LINEST | 0.0007922 g/μg |
| sxx | , calculated as (N-1) multiplied by the square of the standard deviation of x values of the data points for the regression curve | STDEV | 89.97 (μg/g)2 |

* XL Function:  The Microsoft Excel function used to calculate the value of the term.