{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":1,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":58,"n_cols":20,"rows_kept":58,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
["Table A2: Synthetic fluid inclusion Pb isotope ratios acquired during this study, based on averages of isotope ratios calculated from 0.2 s data readouts and not corrected for amplifier response"]
[]
[]
[null,"FI chip","FI size","Ablation",null,"208Pb/206Pb","1 SE","# of ","207Pb/206Pb","1 SE","# of ","206Pb/204Pb","1 SE","# of ","207Pb/204Pb","1 SE","# of ","208Pb/204Pb","1 SE","# of "]
[null,"number","(µm)","quality",null,"final","abs","readings","final","abs","readings","final","abs","readings","final","abs","readings","final","abs","readings"]
[]
[]
["SRM 981 reference values (Baker et al., 2004)",{"$nulls":4},2.1678,null,null,0.91489,null,null,16.942,null,null,15.5,null,null,36.725]
[]
[]
["NU Plasma 1700"]
[]
["August 30, 2005"]
["Pb-Tl_FI-1_Aug30-05","A2",30,"+++",null,2.168785563351647,0.0010365912309084659,"51 of 52",0.9147168134114612,0.00029565490198629486,"50 of 52",16.977518169732257,0.016724948176434013,"49 of 52",15.526371745603546,0.01804169828701374,"49 of 52",36.794894069528354,0.04368742315492114,"49 of 52"]
["Pb-Tl_FI-2_Aug30-05","A2",50,"+++",null,2.16526628808693,0.0015269162711991984,"60 of 64",0.9139073626896114,0.00038462238980727987,"60 of 64",16.941330629299966,0.008794255750157774,"62 of 64",15.482888931171022,0.0113062966309312,"62 of 64",36.681804682312034,0.03770254760257535,"60 of 64"]
["Pb-Tl_FI-3_Aug30-05","A3",50,"++(+)",null,2.1666499957769947,0.0007054696602374651,"118 of 123",0.9145774963863639,0.00019712267035567756,"118 of 123",16.936761421017117,0.006646359339832397,"115 of 123",15.495192848819531,0.006881736825395701,"116 of 123",36.70867777322435,0.01888523663262201,"117 of 123"]
["Pb-Tl_FI-4_Aug30-05","A3",50,"++",null,2.1665222033283156,0.0008182961190191983,"102 of 107",0.9145086125361582,0.00022021546744782917,"100 of 107",16.93214990404893,0.005828486699275947,"103 of 107",15.489406634045952,0.006092800508902788,"102 of 107",36.692662346860125,0.017846191904261358,"101 of 107"]
["Pb-Tl_FI-5_Aug30-05","A3",35,"+++",null,2.1727783729429695,0.0018701940410860076,"41 of 43",0.9159041138687387,0.00045412305417312217,"41 of 43",16.840099446918515,0.012939169243467477,"40 of 43",15.433108079746248,0.013999097384736463,"41 of 43",36.58611256074392,0.04322639033246335,"40 of 43"]
["Pb-Tl_FI-6_Aug30-05","A3",50,"++",null,2.1697386351006216,0.0012818246519275668,"66 of 68",0.9153900393821189,0.00032405054578969435,"67 of 68",16.908320970171456,0.008446299940813142,"65 of 68",15.475469015300407,0.009636909969174153,"64 of 68",36.67432540505502,0.029265286852816028,"67 of 68"]
["Pb-Tl_FI-7_Aug30-05","A3",50,"++",null,2.1668396652119837,0.0007952474756007659,"89 of 95",0.9145198203614371,0.0002282036300194237,"89 of 95",16.923386668243925,0.005951097332100766,"88 of 95",15.477659275763294,0.006359497351324668,"88 of 95",36.67297117101973,0.019407493251076328,"89 of 95"]
["Pb-Tl_FI-8_Aug30-05","A3",40,"exploded",null,2.163524612830817,0.0035175705384461976,"40 of 41",0.9138941230912309,0.0008353597501763794,"40 of 41",16.92256131549746,0.022949915386211286,"39 of 41",15.468637265748793,0.028355233639546784,"39 of 41",36.626486628949394,0.08862844736666906,"39 of 41"]
[null,null,null,"average",null,2.16808296054278,null,null,0.9147891798051271,null,null,16.922795315633167,null,null,15.48287093292143,null,null,36.687349715534786]
[null,null,null,"2stdev",null,0.005115374516232085,null,null,0.0013122578226639104,null,null,0.08433730734151983,null,null,0.05564864382574916,null,null,0.12303111335955638]
[null,null,null,"(%)",null,0.2359399805878023,null,null,0.14344920683730147,null,null,0.4983651091236067,null,null,0.3594207047700871,null,null,0.33535023465448216]
[]
[]
[]
["NU Plasma"]
[]
["August 23, 2003"]
["FI_Pb_Tl_1","B1","20","+++",null,2.1689346316894342,0.0033450699960201774,"35 of 37",0.9148092490079112,0.00159483283687426,"37 of 37",16.867235447737066,0.35827432783250973,"36 of 37",15.423462035273497,0.33750389901710826,"36 of 37",36.5616289868065,0.7833979515030989,"36 of 37"]
["FI_Pb_Tl_2","B1","40","+++",null,2.1658963946600482,0.001251985653746428,"49 of 51",0.91405353597355,0.0005642344871343751,"47 of 51",16.773189991097414,0.10940711339454352,"48 of 51",15.297851890278345,0.0932950754444813,"47 of 51",36.341070340218806,0.23759547416710877,"48 of 51"]
["FI_Pb_Tl_3","B1","80","+++",null,2.1615772712678427,0.0021158242316345493,"26 of 28",0.913863646455377,0.0014440407020914173,"26 of 28",16.964799657638075,0.06586081988062936,"27 of 28",15.469770783103673,0.05953838523867982,"27 of 28",36.67053691418749,0.1530547952545431,"27 of 28"]
["FI_Pb_Tl_4","B1","40","exploded",null,2.15906384758914,0.0030091224218674125,"25 of 26",0.9098612985045825,0.0018630137798402186,"25 of 26",16.92595509937725,0.09425840793458694,"24 of 26",15.428337036435986,0.08911910653012015,"24 of 26",36.55929424585853,0.21691422738304145,"24 of 26"]
["FI_Pb_Tl_5","A2","90","+++",null,2.165154990858926,0.0005448606934379393,"135 of 143",0.913567634147312,0.00031745505187534675,"133 of 143",16.965578015230275,0.007863197577985672,"137 of 143",15.499500796278998,0.006708504412076607,"134 of 143",36.73243695403639,0.02015636168944331,"137 of 143"]
["FI_Pb_Tl_6","A2","90","+++",null,2.1662614531067916,0.0003802758781676247,"205 of 221",0.9139285319586522,0.00019220882295752537,"205 of 221",16.973914427982557,0.004856135088201139,"213 of 221",15.520081785465493,0.004220296533744375,"208 of 221",36.77441363691374,0.011704775498229219,"214 of 221"]
["FI_Pb_Tl_7","A2","60","+++",null,2.1657107597049476,0.0004421139350419372,"137 of 144",0.9137687776221327,0.0001779709006350137,"137 of 144",16.97012640987635,0.009061662053683963,"139 of 144",15.50655933996358,0.008806923701149234,"136 of 144",36.75192234908238,0.021898295108937486,"137 of 144"]
["FI_Pb_Tl_8","A2","50","+++",null,2.163678393322834,0.0008415827713316765,"30 of 32",0.91387190818471,0.0004685309732587749,"31 of 32",16.995263598978145,0.02211927047446422,"31 of 32",15.497548854302517,0.01824429576190065,"31 of 32",36.757651400041986,0.05204039811139322,"31 of 32"]
[null,null,null,"average",null,2.165316270658689,null,null,0.9139804690499493,null,null,16.930015364077125,null,null,15.459253640666585,null,null,36.655665797326755]
[null,null,null,"2stdev",null,0.006111957209087728,null,null,0.003003066203265952,null,null,0.14893516467970397,null,null,0.14599957045537199,null,null,0.29839778029574143]
[null,null,null,"(%)",null,0.28226625790921855,null,null,0.3285700630329151,null,null,0.8797107473140359,null,null,0.9444153893129129,null,null,0.8140563642892641]
[]
["August 23, 2003"]
["FI_Pb_1","C3","20","+++",null,2.1651681429158893,0.0019497757248191654,"9 of 9",0.914954362613868,0.0015060275542413141,"8 of 9",16.92933358755991,0.05812670942537762,"8 of 9",15.540480620023832,0.09928906184402433,"9 of 9",36.80623029106661,0.19889637293068127,"8 of 9"]
["FI_Pb_2","C3","25","+++",null,2.163900286228506,0.0011662655366000924,"34 of 36",0.9128616270241989,0.000690931521749231,"33 of 36",16.99488750766251,0.27794318986961725,"35 of 36",15.424171156856861,0.23713012705207473,"34 of 36",36.78481309348129,0.6000186389221983,"35 of 36"]
["FI_Pb_3","C1","20","++",null,2.164841156641281,0.0009149822821970013,"18 of 18",0.914174340931477,0.0011057032073526372,"17 of 18",16.97419379573561,0.02246086416655459,"17 of 18",15.501570122784516,0.0206857119461099,"17 of 18",36.75349001135392,0.043321999876558256,"16 of 18"]
["FI_Pb_4","C1","60","exploded",null,2.164215887536512,0.00243338139258747,"17 of 17",0.9110177041057059,0.003088744303194649,"16 of 17",17.07856105419366,0.1191745245330914,"16 of 17",15.517973777727022,0.10877456791994279,"17 of 17",36.94311394723875,0.24632900669448216,"16 of 17"]
["FI_Pb_5","C1","50","++",null,2.1664407010615467,0.0005320222085265534,"144 of 152",0.914759221145481,0.0002714281639298126,"146 of 152",17.070533040046563,0.07448712458478217,"145 of 152",15.617373515372238,0.0682024617135936,"145 of 152",36.983911309732655,0.1574694714091948,"146 of 152"]
["FI_Pb_6","C1","25","+++",null,2.164954829266064,0.001546033674249797,"12 of 12",0.914561871556995,0.0014993655888530112,"11 of 12",16.889243032523794,0.06859272839945363,"12 of 12",15.402985072183387,0.0338795523509419,"11 of 12",36.56458233434563,0.1382347454329927,"12 of 12"]
["FI_Pb_7","C1","45","++",null,2.166948442039022,0.0007005689825294087,"28 of 29",0.914301609673732,0.000544096775822109,"29 of 29",16.97724860165688,0.07053404683565792,"27 of 29",15.538820886991685,0.06231136487745868,"27 of 29",36.78866582118835,0.14776916165247575,"27 of 29"]
[null,null,null,"average",null,2.165375593025385,null,null,0.914268838824292,null,null,16.972573260864213,null,null,15.504233562368753,null,null,36.780282143528076]
[null,null,null,"2stdev",null,0.0022433081341721754,null,null,0.001493059864864205,null,null,0.12306786808962383,null,null,0.15994779305870782,null,null,0.26754167567124887]
[null,null,null,"(%)",null,0.10359903110563401,null,null,0.1633064369539502,null,null,0.725098464434953,null,null,1.0316394706986782,null,null,0.7274051749446027]
[]
[]
["Notes:    ","\"Ablation quality\" refers to the quality of fluid inclusion ablation as observed on monitor screen (+++ = excellent, ++ = acceptable, + = poor)"]
[null,"1 SE abs refers to the 1 standard deviation of the mean calculated from n readings"]
[null,"Values in italics were rejected from the data set due to uncontrolled fluid inclusion ablation (\"exploded\")"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}