Supplementary Data

Paper Ref.: B206927J   (Web Password: 798182)

Calculation of Abraham descriptors from experimental data from seven HPLC systems; evaluation of five different methods of calculation. A comparison with water/solvent partitions.

Andreas M. Zissimos,*a Michael H. Abraham,a Chau M. Du,b Klara Valko,c Chris Bevan,c Derek Reynolds,d John Woode and Kin Y. Tamf

a Department of Chemistry, University College London, 20 Gordon Street, London, UK WC1H   OAJ, E-mail: a.zissimos@ucl.ac.uk; fax +44-020-7679-7463

b p-ION INC, 5 Constitution Way, Woburn, MA 01801, USA

c Hit Generation Sciences and Analytical Technologies Unit, GlaxoSmithkline Medicines Research Centre, Stevenage, Herts SG1 2NY, UK.

d REYTEK Ltd, 11C Rothsday rd, Bedford, Bedfordshire, MK40 3PP.

e Statistical Sciences, GlaxoSmithKline, NFSP, Third Ave, Harlow, Essex, CM19 5AN, UK

f AstraZeneca Pharmaceuticals, Mereside, Alderley Park, Macclesfield, Cheshire SK10 4TG, UK.

Table S1 The linear gradient program used.

| Time | Mobile phase P1 | Mobile phase P2 |
| --- | --- | --- |
| 0 min | 100% | 0% |
| 2.5 min | 0% | 100% |
| 3.0 min | 0% | 100% |
| 3.2 min | 100% | 0% |
| 5.0 min | 100% | 0% |

Table S2 The seven HPLC column systems used and the organic mobile phase (P2) used in each case.

| System | HPLC column | Mobile phase P2 |
| --- | --- | --- |
| C18, AcN | Luna C18(2) 4.6 x 50 mm 5 μm (Phenomenex) | Acetonitrile |
| C18, MeOH | Luna C18(2) 4.6 x 50 mm 5 μm (Phenomenex) | Methanol |
| C18, TFE | Luna C18(2) 4.6 x 50 mm 5 μm (Phenomenex) | 2,2,2-trifluoroethanol (TFE) |
| FO, TFE | Perfluorooctyl silica 4.6 x 50 mm 5 μm (ES Industries) | 2,2,2-trifluoroethanol (TFE) |
| PLRP, AcN | PLRP-S-100 4.6 x 50 mm (Polymer Laboratories) | Acetonitrile |
| DCN,MeOH | Develosil CN 4.6 x 50 mm 5 μm (Phenomenex) | Methanol |
| DCN,AcN | Develosil CN 4.6 x 50 mm 5 μm (Phenomenex) | Acetonitrile |

Table S3 Gradient retention times for the calibration mixture on all seven systems

|  | tR C18 AcN | CHI C18 AcN | tR C18 MeOH | CHI C18 MeOH | tR C18 TFE | CHI C18 TFE | tR FO TFE | CHI FO TFE | tR PLRP AcN | CHI PLRP AcN | tR DCN MeOH | CHI DCN MeOH | tR DCN AcN | CHI DCN AcN |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Octanophenone | 3.22 | 120.45 | 3.20 | 98.09 | 3.64 | 121.92 | 2.79 | 79.67 | 3.39 | 109.38 | 2.55 | 61.09 | 2.389 | 59.51 |
| Heptanophenone | 3.08 | 113.13 | 3.11 | 94.91 | 3.43 | 112.27 | 2.72 | 77.65 | 3.29 | 104.85 | 2.46 | 58.22 | 2.327 | 57.22 |
| Hexanophenone | 2.93 | 105.07 | 3.01 | 91.30 | 3.24 | 103.50 | 2.65 | 75.64 | 3.16 | 99.78 | 2.34 | 54.52 | 2.245 | 54.20 |
| Valerophenone | 2.76 | 96.28 | 2.89 | 86.91 | 3.04 | 94.40 | 2.57 | 73.33 | 3.02 | 93.79 | 2.19 | 49.67 | 2.133 | 50.06 |
| Butyrophenone | 2.58 | 86.81 | 2.74 | 81.67 | 2.83 | 84.43 | 2.48 | 70.73 | 2.86 | 87.01 | 1.99 | 43.13 | 1.975 | 44.23 |
| Propiophenone | 2.38 | 76.46 | 2.57 | 75.65 | 2.61 | 74.08 | 2.38 | 67.85 | 2.67 | 79.26 | 1.74 | 35.19 | 1.756 | 36.15 |
| Acetophenone | 2.11 | 62.59 | 2.34 | 67.65 | 2.34 | 61.74 | 2.26 | 64.39 | 2.38 | 66.98 | 1.42 | 24.86 | 1.448 | 24.78 |
| Acetanilide | 1.71 | 41.19 | 2.09 | 58.59 | 1.77 | 35.34 | 1.86 | 52.86 | 1.78 | 41.98 | 1.19 | 17.42 | 1.205 | 15.82 |
| Paracetamol | 1.31 | 20.48 | 1.57 | 40.43 | 1.29 | 13.12 | 1.30 | 36.71 | 1.33 | 23.08 | 0.96 | 10.18 | 0.98 | 7.51 |

Table S4 The equations of 7 HPLC columns obtained from Training set 2

| No | HPLC System | coefficient |  |  |  |  |  | stats |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | c | e | s | a | b | v | N | r2 | SE | F |
| 1 | C18,AcN | 38.030 | 6.011 | -19.643 | -20.768 | -62.738 | 70.485 | 40 | 0.951 | 6.261 | 131.7 |
|  |  | 3.164 | 5.160 | 3.119 | 3.388 | 4.505 | 4.171 |  |  |  |  |
| 2 | C18,MeOH | 43.726 | 6.512 | -13.964 | -5.362 | -42.992 | 52.129 | 40 | 0.889 | 6.381 | 54.4 |
|  |  | 3.224 | 5.260 | 3.178 | 3.453 | 4.591 | 4.251 |  |  |  |  |
| 3 | C18,TFE | 51.064 | 7.829 | -14.829 | -20.748 | -26.528 | 38.677 | 40 | 0.956 | 3.629 | 146.6 |
|  |  | 1.834 | 2.991 | 1.808 | 1.964 | 2.611 | 2.417 |  |  |  |  |
| 4 | FO,TFE | 47.106 | 0.444 | -2.370 | -23.397 | -21.970 | 25.774 | 40 | 0.859 | 5.950 | 41.3 |
|  |  | 3.006 | 4.904 | 2.964 | 3.219 | 4.281 | 3.963 |  |  |  |  |
| 5 | PLRP,AcN | 48.389 | 9.137 | -15.225 | -29.705 | -55.976 | 54.107 | 40 | 0.956 | 5.464 | 146.0 |
|  |  | 2.761 | 4.504 | 2.722 | 2.957 | 3.931 | 3.640 |  |  |  |  |
| 6 | DCN,MeOH | -4.699 | 9.305 | -11.319 | 3.276 | -43.201 | 53.601 | 40 | 0.922 | 5.302 | 80.5 |
|  |  | 2.679 | 4.370 | 2.641 | 2.869 | 3.815 | 3.532 |  |  |  |  |
| 7 | DCN,AcN | -0.086 | 9.348 | -12.866 | -0.627 | -45.254 | 51.894 | 40 | 0.921 | 5.181 | 79.0 |
|  |  | 2.618 | 4.271 | 2.581 | 2.804 | 3.728 | 3.451 |  |  |  |  |

- Table S5 The equations of 7 HPLC columns obtained from Training set 3

| No | HPLC System | Coefficient |  |  |  |  |  | stats |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | c | e | s | a | b | V | N | r2 | SE | F |
| 1 | C18,AcN | 37.165 | 7.341 | -19.007 | -21.315 | -65.917 | 71.265 | 40 | 0.945 | 6.224 | 116.5 |
|  |  | 3.041 | 5.061 | 2.757 | 3.531 | 4.139 | 3.978 |  |  |  |  |
| 2 | C18,MeOH | 40.191 | 6.574 | -14.333 | -6.442 | -45.377 | 55.914 | 40 | 0.881 | 6.579 | 50.1 |
|  |  | 3.214 | 5.350 | 2.914 | 3.733 | 4.376 | 4.205 |  |  |  |  |
| 3 | C18,TFE | 48.532 | 4.333 | -15.113 | -19.209 | -26.502 | 42.384 | 40 | 0.953 | 3.681 | 137.4 |
|  |  | 1.798 | 2.993 | 1.630 | 2.088 | 2.448 | 2.352 |  |  |  |  |
| 4 | FO,TFE | 42.007 | -3.589 | -7.206 | -19.507 | -21.312 | 35.985 | 40 | 0.870 | 6.004 | 45.4 |
|  |  | 2.933 | 4.883 | 2.660 | 3.407 | 3.993 | 3.838 |  |  |  |  |
| 5 | PLRP,AcN | 48.356 | 15.466 | -14.789 | -30.898 | -57.357 | 50.635 | 40 | 0.967 | 4.246 | 200.6 |
|  |  | 2.074 | 3.453 | 1.881 | 2.409 | 2.824 | 2.714 |  |  |  |  |
| 6 | DCN,MeOH | -10.485 | 6.441 | -10.778 | 7.280 | -49.438 | 60.367 | 40 | 0.911 | 5.927 | 69.3 |
|  |  | 2.896 | 4.820 | 2.625 | 3.363 | 3.942 | 3.788 |  |  |  |  |
| 7 | DCN,AcN | -5.746 | 8.173 | -12.903 | 2.660 | -49.609 | 57.321 | 40 | 0.875 | 6.641 | 47.7 |
|  |  | 3.245 | 5.401 | 2.942 | 3.768 | 4.417 | 4.245 |  |  |  |  |